# FACADE FACADE

# Concrete Concrete

## Cracks

|  | Old | New |
| --- | --- | --- |
| BS | Concrete BS EN 197-1:2011 Cement. Composition, specifications and conformity criteria for common cements BS ISO 3310-2:2013 Test sieves. Technical requirements and testing. Test sieves of perforated metal plate/ BS 410-1:2000, ISO 3310-1:2000 Test sieves. Technical requirements and testing. Test sieves of metal wire cloth BS 812-103.2:1989. Testing aggregates. Method for determination of particle size distribution. Sedimentation test/ BS 812-121:1989. Testing aggregates. Method for determination of soundness/ BS 812-119:1985. Testing aggregates. Method for determination of acid-soluble material in fine aggregate/ BS 812-112:1990. Testing aggregates. Method for determination of aggregate impact value (AIV)/ BS 812-114:1989. Testing aggregates. Method for determination of the polished-stone value/ BS 812-110:1990. Testing aggregates. Methods for determination of aggregate crushing value (ACV)/ BS 812-111:1990. Testing aggregates. Methods for determination of ten per cent fines value (TFV)/ BS 812-109:1990. Testing aggregates. Methods for determination of moisture content/ BS 812-104:1994. Testing aggregates. Method for qualitative and quantitative petrographic examination of aggregates/ BS 812-123:1999. Testing aggregates. Method for determination of alkali-silica reactivity. Concrete prism method/ BS 812-2:1995. Testing aggregates. Methods for determination of density/BS EN 932-5:2012 Tests for general properties of aggregates. Common equipment and calibration/ BS 812-124:2009. Testing aggregates. Method for determination of frost heave/ . BS EN 12620:2002+A1:2008 Aggregates for concrete BS EN 12878:2014 Pigments for the colouring of building materials based on cement and/or lime. Specifications and methods of test BS EN 13139:2002 Aggregates for mortar BS EN 13139:2002 Aggregates for mortar/ 15/30313572 DC. BS ISO 1920-2. Testing of concrete. Part 2. Properties of fresh concrete/ BS 1881-207:1992. Testing concrete. Recommendations for the assessment of concrete strength by near-to-surface tests/ BS 1881-124:2015. Testing concrete. Methods for analysis of hardened/ BS 1881-125:2013. Testing concrete. Methods for mixing and sampling fresh concrete in the laboratory/ BS 1881-130:2013. Testing concrete. Method for temperature-matched curing of concrete specimens/ BS 1881-113:2011. Testing concrete. Method for making and curing no-fines test cubes/ BS 1881-119:2011. Testing concrete. Method for determination of compressive strength using portions of beams broken in flexure (equivalent cube method)/ BS 1881-122:2011. Testing concrete. Method for determination of water absorption/ BS 1881-129:2011. Testing concrete. Method for determination of density of partially compacted semi-dry fresh concrete/ BS 1881-131:1998. Testing concrete. Methods for testing cement in a reference concrete/ BS 1881-208:1996. Testing concrete. Recommendations for the determination of the initial surface absorption of concrete/ BS 1881-209:1990. Testing concrete. Recommendations for the measurement of dynamic modulus of elasticity/ BS 1881-204:1988. Testing concrete. Recommendations on the use of electromagnetic covermeters/ BS 1881-206:1986. Testing concrete. Recommendations for determination of strain in concrete/ BS 1881-121:1983. Testing concrete. Method for determination of static modulus of elasticity in compression/ BS EN 12504-2:2012. Testing concrete in structures. Non-destructive testing. Determination of rebound number/ BS 1881-204:1988 Testing concrete. Recommendations on the use of electromagnetic covermeters/ BS 1881-206:1986 Testing concrete. Recommendations for determination of strain in concrete. BS 1881-204:1988 Testing concrete. Recommendations on the use of electromagnetic covermeters BS 1881-206:1986 Testing concrete. Recommendations for determination of strain in concrete BS 4550-6:1978 Methods of testing cement. Standard sand for mortar cubes BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar/ BS EN 998-2:2010 Specification for mortar for masonry. Masonry mortar BS EN 934-3:2009+A1:2012 Admixtures for concrete, mortar and grout. Admixtures for masonry mortar. Definitions, requirements, conformity and marking and labelling/ BS EN 480-4:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of bleeding of concrete/ BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity/BS EN 480-11:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of air void characteristics in hardened concrete/BS EN 480-12:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of the alkali content of admixtures/BS EN 480-1:2006+A1:2011 Admixtures for concrete, mortar and grout. Test methods. Reference concrete and reference mortar for testing/BS EN 934-2:2009+A1:2012 Admixtures for concrete, mortar and grout . Concrete admixtures. Definitions, requirements, conformity, marking and labelling/BS EN 480-8:2012 Admixtures for concrete, mortar and grout. Test methods. Determination of the conventional dry material content/BS EN 480-10:2009 Admixtures for concrete, mortar and grout. Test methods. Determination of water soluble chloride content/BS EN 480-6:2005 Admixtures for concrete, mortar and grout. Test methods. Infrared analysis/BS EN 480-5:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of capillary absorption/BS EN 480-2:2006 Admixtures for concrete, mortar and grout. Test methods. Determination of setting time/ BS EN 206:2013 Concrete. Specification, performance, production and conformity/ BS 8500-1:2015 Concrete. Complementary British Standard to BS EN 206. Method of specifying and guidance for the specifier/ BS 8500-2:2015 Concrete. Complementary British Standard to BS EN 206. Specification for constituent materials and concrete PD 6697:2010 Recommendations for the design of masonry structures to BS EN 1996-1-1 and BS EN 1996-2/ BS EN 1996-3:2006 Eurocode 6. Design of masonry structures. Simplified calculation methods for unreinforced masonry structures/ BS EN 1996-2:2006 Eurocode 6. Design of masonry structures. Design considerations, selection of materials and execution of masonry/ BS EN 1996-1-2:2005 Eurocode 6. Design of masonry structures. General rules. Structural fire design BS EN 998-2:2010 Specification for mortar for masonry. Masonry mortar/ BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar BS EN 13791:2007 Assessment of in-situ compressive strength in structures and pre-cast concrete components/ BS 6089:2010 Assessment of in-situ compressive strength in structures and precast concrete components. Complementary guidance to that given in BS EN 13791/ BS 8221-1:2012 Code of practice for cleaning and surface repair of buildings. Cleaning of natural stone, brick, terracotta and concrete BS 6319-3:1990 Testing of resin and polymer/cement compositions for use in construction. Methods for measurement of modulus of elasticity in flexure and flexural strength BS 6319-12:1992 Testing of resin and polymer/cement compositions for use in construction. Methods for measurement of unrestrained linear shrinkage and coefficient of thermal expansion BS 6949:1991- Specification for bitumen-based coatings for cold application excluding use in contact with potable water BS ISO 15686-1:2011 Buildings and constructed assets. Service life planning. General principles and framework/BS ISO 15686-3:2002 Buildings and constructed assets. Service life planning. Performance audits and reviews/BS ISO 15686-2:2012 Buildings and constructed assets. Service life planning. Service life prediction procedures/BS 7543:2015 Guide to durability of buildings and building elements, products and components/; BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles; BS 7543:2015 Guide to durability of buildings and building elements, products and components/BS ISO 15686-1:2011 Buildings and constructed assets. Service life planning. General principles and framework/BS ISO 15686-3:2002 Buildings and constructed assets. Service life planning. Performance audits and reviews/BS ISO 15686-2:2012 Buildings and constructed assets. Service life planning. Service life prediction procedures BS EN 1992-1-1:2004+A1:2014 Eurocode 2: Design of concrete structures. General rules and rules for buildings PD 6678:2005 Guide to the specification of masonry mortar BS EN 480-1:2014 Admixtures for concrete, mortar and grout. Test methods. Reference concrete and reference mortar for testing BS EN 480-2:2006 Admixtures for concrete, mortar and grout. Test methods. Determination of setting time BS EN 480-4:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of bleeding of concrete BS EN 480-5:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of capillary absorption BS EN 480-6:2005 Admixtures for concrete, mortar and grout. Test methods. Infrared analysis BS EN 480-8:2012 Admixtures for concrete, mortar and grout. Test methods. Determination of the conventional dry material content BS EN 480-10:2009 Admixtures for concrete, mortar and grout. Test methods. Determination of water soluble chloride content BS EN 480-11:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of air void characteristics in hardened concrete BS EN 480-12:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of the alkali content of admixtures BS EN 934-2:2009+A1:2012 Admixtures for concrete, mortar and grout. Concrete admixtures. Definitions, requirements, conformity, marking and labelling BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity BS EN 934-3:2009+A1:2012 Admixtures for concrete, mortar and grout. Admixtures for masonry mortar. Definitions, requirements, conformity and marking and labelling BS EN 934-2:2009+A1:2012 Admixtures for concrete, mortar and grout. Concrete admixtures. Definitions, requirements, conformity, marking and labelling BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity Reinforcement BS 4449:2005+A2:2009 Steel for the reinforcement of concrete. Weldable reinforcing steel. Bar, coil and decoiled product. Specification BS 4482:2005 Steel wire for the reinforcement of concrete products. Specification BS 4483:2005 Steel fabric for the reinforcement of concrete. Specification BS 6744:2001+A2:2009 Stainless steel bars for the reinforcement of and use in concrete. Requirements and test methods | Concrete BS EN 13139:2002 Aggregates for mortar BS EN 12504-2:2012 Testing concrete in structures. Non-destructive testing. Determination of rebound number BS 4550-6:1978 Methods of testing cement. Standard sand for mortar cubess BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity Reinforcement |
| ASTM | Concrete ASTM C150 / C150M - 15 Standard Specification for Portland CementASTM C150 / C150M - 15 Standard Specification for Portland Cement ASTM C33 / C33M - 13 Standard Specification for Concrete Aggregates ASTM C94 / C94M - 15b Standard Specification for Ready-Mixed Concrete ASTM C597 - 09 Standard Test Method for Pulse Velocity Through ConcreteASTM C597 - 09 Standard Test Method for Pulse Velocity Through Concrete ASTM C136 / C136M - 14 Standard Test Method for Sieve Analysis of Fine and Coarse AggregatesASTM C136 / C136M - 14 Standard Test Method for Sieve Analysis of Fine and Coarse Aggregates ASTM C642 - 13 Standard Test Method for Density, Absorption, and Voids in Hardened ConcreteASTM C642 - 13 Standard Test Method for Density, Absorption, and Voids in Hardened Concrete ASTM C805 / C805M - 13a Standard Test Method for Rebound Number of Hardened ConcreteASTM C805 / C805M - 13a Standard Test Method for Rebound Number of Hardened Concrete ASTM C1077 - 15a Standard Practice for Agencies Testing Concrete and Concrete Aggregates for Use in Construction and Criteria for Testing Agency Evaluation ASTM C387 / C387M - 15 Standard Specification for Packaged, Dry, Combined Materials for Concrete and High Strength Mortar Reinforcement ASTM A1022 / A1022M - 15a Standard Specification for Deformed and Plain Stainless Steel Wire and Welded Wire for Concrete Reinforcement ASTM A1064 / A1064M - 16 Standard Specification for Carbon-Steel Wire and Welded Wire Reinforcement, Plain and Deformed, for Concrete ASTM A933/A933M-14 Standard Specification for Vinyl-Coated Steel Wire and Welded Wire Reinforcement | Concrete ASTM C150 / C150M - 15 Standard Specification for Portland Cement ASTM C33 / C33M - 13 Standard Specification for Concrete Aggregates ASTM C94 / C94M - 15a Standard Specification for Ready-Mixed Concrete ASTM C597 - 09 Standard Test Method for Pulse Velocity Through Concrete ASTM C136 / C136M - 14 Standard Test Method for Sieve Analysis of Fine and Coarse Aggregates ASTM C642 - 13 Standard Test Method for Density, Absorption, and Voids in Hardened Concrete ASTM C805 / C805M - 13a Standard Test Method for Rebound Number of Hardened Concrete ASTM C1077 - 15a Standard Practice for Agencies Testing Concrete and Concrete Aggregates for Use in Construction and Criteria for Testing Agency Evaluation ASTM C387 / C387M - 15 Standard Specification for Packaged, Dry, Combined Materials for Concrete and High Strength Mortar Reinforcement ASTM A1022 / A1022M - 15 Standard Specification for Deformed and Plain Stainless Steel Wire and Welded Wire for Concrete Reinforcement ASTM A1064 / A1064M - 15 Standard Specification for Carbon-Steel Wire and Welded Wire Reinforcement, Plain and Deformed, for Concrete ASTM A1064 / A1064M - 15 Standard Specification for Carbon-Steel Wire and Welded Wire Reinforcement, Plain and Deformed, for Concrete ASTM A933 / A933M - 14 Standard Specification for Vinyl-Coated Steel Wire and Welded Wire Reinforcement |
| AS | Concrete AS 1012.2:2014 Methods of testing concrete - Preparing concrete mixes in the laboratory AS 1012.3.1:2014 Methods of testing concrete - Determination of properties related to the consistency of concrete - Slump test AS 1012.3.2-1998 (R2014) Methods of testing concrete - Determination of properties related to the consistency of concrete - Compacting factor test AS 1012.1:2014 Methods of testing concrete - Sampling of concrete AS 1012.11-2000 (R2014) Methods of testing concrete - Determination of the modulus of rupture AS 1012.8.4:2015 Methods of testing concrete - Method for making and curing concrete - Drying shrinkage specimens prepared in the field or in the laboratory/ AS 1012.13:2015 Methods of testing concrete - Determination of the drying shrinkage of concrete for samples prepared in the field or in the laboratory AS 1012.21-1999 (R2014) Methods of testing concrete - Determination of water absorption and apparent volume of permeable voids in hardened concreteAS 1012.21-1999 (R2014) Methods of testing concrete - Determination of water absorption and apparent volume of permeable voids in hardened concrete. AS 1478.1-2000 Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 2758.1:2014 Aggregates and rock for engineering purposes - Concrete aggregates AS 3600-2009 Concrete structures CIA Z9-1999 CIA Curing of ConcreteCIA Z9-1999 CIA Curing of Concrete HB 84-2006 Guide to Concrete Repair and ProtectionHB 84-2006 Guide to Concrete Repair and Protection Reinforcement AS/NZS 4671:2001 Steel reinforcing materials | Concrete AS 1012.2:2014 Methods of testing concrete - Preparing concrete mixes in the laboratory AS 1012.3.1:2014 Methods of testing concrete - Determination of properties related to the consistency of concrete - Slump test AS 1012.3.2-1998 (R2014) Methods of testing concrete - Determination of properties related to the consistency of concrete - Compacting factor test AS 1012.1:2014 Methods of testing concrete - Sampling of concrete AS 1012.11-2000 (R2014) Methods of testing concrete - Determination of the modulus of rupture AS 1012.13:2015 Methods of testing concrete - Determination of the drying shrinkage of concrete for samples prepared in the field or in the laboratory AS 1012.21-1999 (R2014) Methods of testing concrete - Determination of water absorption and apparent volume of permeable voids in hardened concrete AS 1478.1-2000 Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 2758.1:2014 Aggregates and rock for engineering purposes-Concrete aggregates AS 3600-2009 Concrete structures CIA Z9-1999 CIA Curing of ConcreteCIA Z9-1999 CIA Curing of Concrete HB 84-2006 Guide to Concrete Repair and Protection Reinforcement AS/NZS 4671:2001 Steel reinforcing materials AS/NZS 4671:2001/Amdt 1:2003 Steel reinforcing materials |
| SS | Concrete SS EN 197 - 1 : 2014 Cement - Part 1 : Composition, specifications and conformity criteria for common cement/ SS EN 197 - 2 : 2014 Cement - Part 2 : Conformity evaluation SS EN 12620: 2008 Specification for aggregates for concrete CP 65 - 1 : 1999 Code of practice for structural use of concrete - Design and construction/ CP 65 - 2 : 1996 Code of practice for structural use of concrete - Special circumstances SS 509 - 1 : 2015 Code of practice for cleaning and surface repair of buildings – Part 1 : Cleaning of natural stone, brick, terracotta, concrete and rendered finishes/ SS 509 - 2 : 2005 (2015) Code of practice for cleaning and surface repair of buildings - Surface repair of natural stones, brick, terracotta and rendered finishes SS EN 12620 : 2008 Specification for aggregates for concrete SS 78 - A21 : 1987 (2013) Testing concrete - Method for determination of static modules of elasticity in compression/ SS 78 - A24 : 1991 (2013) Testing concrete - Methods of analysis of hardened concrete/ SS 78 - B1 : 1992 (2013) Testing concrete - Guide to the use of non-destructive methods of test for hardened concrete/ SS 78 - B4 : 1992 (2013) Testing concrete - Recommendations for the use of electromagnetic covermeters/ SS 78 - B6 : 1992 (2013) Testing concrete - Recommendations for determination of strain in concrete/ SS 78 - B7 : 1992 (2013) Testing concrete - Recommendations for assessment of concrete strength by the near-to-surface tests/ SS 78 - B9 : 1992 (2013) Testing concrete - Recommendations for the measurement of dynamic modulus of elasticity Reinforcement SS 560 : 2010 Specification for steel for the reinforcement of concrete – Weldable reinforcing steel – Bar, coil and decoiled product SS 561 : 2010 Specification for steel fabric for the reinforcement of concrete SS 2 - 3 : 1987 Steel for the reinforcement of concrete - Plain and ribbed bars (steel grades 250 and 460) SS 18: Part 1 Cold-reduced steel wire for the reinforcement of concrete and the manufacture of welded fabric -steel grade 500 SS 18: Part 2 Cold-reduced steel wire for the reinforcement of concrete and the manufacture of welded fabric -steel grade 485 SS 32: Part 1 Welded steel fabric for the reinforcement of concrete-steel grades 300 and 500 SS 32: Part 2 Welded steel fabric for the reinforcement of concrete-steel grade 485 | Concrete SS EN 197 - 1 : 2014 Cement - Part 1 : Composition, specifications and conformity criteria for common cement SS EN 197 - 2 : 2014 Cement - Part 2 : Conformity evaluation SS EN 12620 : 2008 Specification for aggregates for concrete SS CP 65 Code of Practice for Structural Use of Concrete-Design and Construction SS 509:Part 1:2005 Code of practice for cleaning and surface repair of buildings. Part 2, Surface repair of natural stones, brick, terracotta and rendered finishes/ Reinforcement |
| ISO | Concrete ISO 1920-1:2004 Testing of concrete -- Part 1: Sampling of fresh concrete/ ISO 1920-3:2004 Testing of concrete - Part 3: Making and curing test specimens ISO 1920-1:2004 Testing of concrete - Part 1: Sampling of fresh concrete ISO 3766:2003 Construction drawings -- Simplified representation of concrete reinforcement ISO 1920-4:2005 Testing of concrete -- Part 4: Strength of hardened concrete ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 4635:2011 Rubber, vulcanized -- Preformed joint seals for use between concrete paving sections of highways -- Specification ISO 6274:1982 Concrete -- Sieve analysis of aggregates ISO 1920-5:2004 Testing of concrete -- Part 5: Properties of hardened concrete other than strength ISO 6782:1982 Aggregates for concrete -- Determination of bulk density ISO 6783:1982 Coarse aggregates for concrete -- Determination of particle density and water absorption -- Hydrostatic balance method ISO 1920-10:2010 Testing of concrete -- Part 10: Determination of static modulus of elasticity in compression ISO 7033:1987 Fine and coarse aggregates for concrete -- Determination of the particle mass-per-volume and water absorption -- Pycnometer method ISO 7728:1985 Typical horizontal joints between an external wall of prefabricated ordinary concrete components and a concrete floor -- Properties. characteristics and classification criteria ISO 7729:1985 Typical vertical joints between two prefabricated ordinary concrete external wall components -- Properties, characteristics and classification criteria ISO 7844:1985 Grooved vertical joints with connecting bars and concrete infill between large reinforced concrete panels -- Laboratory mechanical tests -- Effect of tangential loading ISO 7845:1985 Horizontal joints between load-bearing walls and concrete floors -- Laboratory mechanical tests -- Effect of vertical loading and of moments transmitted by the floors Reinforcement ISO 6934-1:1991 Steel for the prestressing of concrete -- Part 1: General requirements ISO 6934-2:1991 Steel for the prestressing of concrete -- Part 2: Cold-drawn wire ISO 6934-3:1991 Steel for the prestressing of concrete -- Part 3: Quenched and tempered wire ISO 6934-4:1991 Steel for the prestressing of concrete -- Part 4: Strand ISO 6934-5:1991 Steel for the prestressing of concrete -- Part 5: Hot-rolled steel bars with or without subsequent processing ISO 6935-1:2007 Steel for the reinforcement of concrete -- Part 1: Plain bars ISO 6935-2:2015 Steel for the reinforcement of concrete -- Part 2: Ribbed bars ISO 6935-3:1992 Steel for the reinforcement of concrete -- Part 3: Welded fabric ISO 10144:1991 Certification scheme for steel bars and wires for the reinforcement of concrete structures ISO 10544:1992 Cold-reduced steel wire for the reinforcement of concrete and the manufacture of welded fabric ISO 11082:1992 Certification scheme for welded fabric for the reinforcement of concrete structures ISO 14654:1999 Epoxy-coated steel for the reinforcement of concrete ISO 14655:1999 Epoxy-coated strand for the prestressing of concrete ISO 14656:1999 Epoxy powder and sealing material for the coating of steel for the reinforcement of concrete ISO 15630-1:2010 Steel for the reinforcement and prestressing of concrete -- Test methods -- Part 1: Reinforcing bars, wire rod and wire ISO 15630-2:2010 Steel for the reinforcement and prestressing of concrete -- Test methods -- Part 2: Welded fabric ISO 15630-3:2010 Steel for the reinforcement and prestressing of concrete -- Test methods -- Part 3: Prestressing steel | Concrete ISO 6782:1982 Aggregates for concrete -- Determination of bulk density Reinforcement |

## Corrosion of Reinforcement Bars

| BS | Concrete BS EN 197-1:2011 Cement. Composition, specifications and conformity criteria for common cements BS ISO 3310-2:2013 Test sieves. Technical requirements and testing. Test sieves of perforated metal plate/ BS 410-1:2000, ISO 3310-1:2000 Test sieves. Technical requirements and testing. Test sieves of metal wire cloth BS 812-103.2:1989. Testing aggregates. Method for determination of particle size distribution. Sedimentation testBS 812-121:1989. Testing aggregates. Method for determination of soundness/ BS 812-119:1985. Testing aggregates. Method for determination of acid-soluble material in fine aggregate/ BS 812-112:1990. Testing aggregates. Method for determination of aggregate impact value (AIV)/ BS 812-114:1989. Testing aggregates. Method for determination of the polished-stone value/ BS 812-110:1990. Testing aggregates. Methods for determination of aggregate crushing value (ACV)/ BS 812-111:1990. Testing aggregates. Methods for determination of ten per cent fines value (TFV)/ BS 812-109:1990. Testing aggregates. Methods for determination of moisture content/ BS 812-104:1994. Testing aggregates. Method for qualitative and quantitative petrographic examination of aggregates/ BS 812-123:1999. Testing aggregates. Method for determination of alkali-silica reactivity. Concrete prism method/ BS 812-2:1995. Testing aggregates. Methods for determination of density/BS EN 932-5:2012 Tests for general properties of aggregates. Common equipment and calibration/ BS 812-124:2009. Testing aggregates. Method for determination of frost heave/ . BS EN 12620:2002+A1:2008 Aggregates for concrete BS EN 12878:2014 Pigments for the colouring of building materials based on cement and/or lime. Specifications and methods of test BS EN 13139:2002 Aggregates for mortar BS EN 13139:2002 Aggregates for mortar/ 15/30313572 DC. BS ISO 1920-2. Testing of concrete. Part 2. Properties of fresh concrete/ BS 1881-207:1992. Testing concrete. Recommendations for the assessment of concrete strength by near-to-surface tests/ BS 1881-124:2015. Testing concrete. Methods for analysis of hardened/ BS 1881-125:2013. Testing concrete. Methods for mixing and sampling fresh concrete in the laboratory/ BS 1881-130:2013. Testing concrete. Method for temperature-matched curing of concrete specimens/ BS 1881-113:2011. Testing concrete. Method for making and curing no-fines test cubes/ BS 1881-119:2011. Testing concrete. Method for determination of compressive strength using portions of beams broken in flexure (equivalent cube method)/ BS 1881-122:2011. Testing concrete. Method for determination of water absorption/ BS 1881-129:2011. Testing concrete. Method for determination of density of partially compacted semi-dry fresh concrete/ BS 1881-131:1998. Testing concrete. Methods for testing cement in a reference concrete/ BS 1881-208:1996. Testing concrete. Recommendations for the determination of the initial surface absorption of concrete/ BS 1881-209:1990. Testing concrete. Recommendations for the measurement of dynamic modulus of elasticity/ BS 1881-204:1988. Testing concrete. Recommendations on the use of electromagnetic covermeters/ BS 1881-206:1986. Testing concrete. Recommendations for determination of strain in concrete/ BS 1881-121:1983. Testing concrete. Method for determination of static modulus of elasticity in compression/ BS EN 12504-2:2012. Testing concrete in structures. Non-destructive testing. Determination of rebound number/ BS 1881-204:1988 Testing concrete. Recommendations on the use of electromagnetic covermeters/ BS 1881-206:1986 Testing concrete. Recommendations for determination of strain in concrete. BS 1881-204:1988 Testing concrete. Recommendations on the use of electromagnetic covermeters BS 1881-206:1986 Testing concrete. Recommendations for determination of strain in concrete BS 4550-6:1978 Methods of testing cement. Standard sand for mortar cubess BS EN 998-1:2003-Specification for mortar for masonry. Rendering and plastering mortar/ BS EN 998-2:2003-Specification for mortar for masonry. Masonry mortar BS EN 934-3:2009+A1:2012 Admixtures for concrete, mortar and grout. Admixtures for masonry mortar. Definitions, requirements, conformity and marking and labelling/ BS EN 480-4:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of bleeding of concrete/ BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity/BS EN 480-11:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of air void characteristics in hardened concrete/BS EN 480-12:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of the alkali content of admixtures/BS EN 480-1:2006+A1:2011 Admixtures for concrete, mortar and grout. Test methods. Reference concrete and reference mortar for testing/BS EN 934-2:2009+A1:2012 Admixtures for concrete, mortar and grout . Concrete admixtures. Definitions, requirements, conformity, marking and labelling/BS EN 480-8:2012 Admixtures for concrete, mortar and grout. Test methods. Determination of the conventional dry material content/BS EN 480-10:2009 Admixtures for concrete, mortar and grout. Test methods. Determination of water soluble chloride content/BS EN 480-6:2005 Admixtures for concrete, mortar and grout. Test methods. Infrared analysis/BS EN 480-5:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of capillary absorption/BS EN 480-2:2006 Admixtures for concrete, mortar and grout. Test methods. Determination of setting time/ BS EN 206:2013 Concrete. Specification, performance, production and conformity/ BS 8500-1:2015 Concrete. Complementary British Standard to BS EN 206. Method of specifying and guidance for the specifier/ BS 8500-2:2015 Concrete. Complementary British Standard to BS EN 206. Specification for constituent materials and concrete PD 6697:2010 Recommendations for the design of masonry structures to BS EN 1996-1-1 and BS EN 1996-2/ BS EN 1996-3:2006 Eurocode 6. Design of masonry structures. Simplified calculation methods for unreinforced masonry structures/ BS EN 1996-2:2006 Eurocode 6. Design of masonry structures. Design considerations, selection of materials and execution of masonry/ BS EN 1996-1-2:2005 Eurocode 6. Design of masonry structures. General rules. Structural fire design BS EN 998-2:2010 Specification for mortar for masonry. Masonry mortar/ BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar BS EN 13791:2007 Assessment of in-situ compressive strength in structures and pre-cast concrete components/ BS 6089:2010 Assessment of in-situ compressive strength in structures and precast concrete components. Complementary guidance to that given in BS EN 13791/ BS 8221-1:2012 Code of practice for cleaning and surface repair of buildings. Cleaning of natural stone, brick, terracotta and concrete BS 6319-3:1990 Testing of resin and polymer/cement compositions for use in construction. Methods for measurement of modulus of elasticity in flexure and flexural strength BS 6319-12:1992 Testing of resin and polymer/cement compositions for use in construction. Methods for measurement of unrestrained linear shrinkage and coefficient of thermal expansion BS 6949:1991- Specification for bitumen-based coatings for cold application excluding use in contact with potable water BS ISO 15686-1:2011 Buildings and constructed assets. Service life planning. General principles and framework/BS ISO 15686-3:2002 Buildings and constructed assets. Service life planning. Performance audits and reviews/BS ISO 15686-2:2012 Buildings and constructed assets. Service life planning. Service life prediction procedures/BS 7543:2015 Guide to durability of buildings and building elements, products and components/; BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles; BS 7543:2015 Guide to durability of buildings and building elements, products and components/BS ISO 15686-1:2011 Buildings and constructed assets. Service life planning. General principles and frameworkBS ISO 15686-3:2002 Buildings and constructed assets. Service life planning. Performance audits and reviewsBS ISO 15686-2:2012 Buildings and constructed assets. Service life planning. Service life prediction procedures BS EN 1992-1-1:2004+A1:2014 Eurocode 2: Design of concrete structures. General rules and rules for buildings PD 6678:2005 Guide to the specification of masonry mortar BS EN 480-1:2014 Admixtures for concrete, mortar and grout. Test methods. Reference concrete and reference mortar for testing BS EN 480-2:2006 Admixtures for concrete, mortar and grout. Test methods. Determination of setting time BS EN 480-4:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of bleeding of concrete BS EN 480-5:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of capillary absorption BS EN 480-6:2005 Admixtures for concrete, mortar and grout. Test methods. Infrared analysis BS EN 480-8:2012 Admixtures for concrete, mortar and grout. Test methods. Determination of the conventional dry material content BS EN 480-10:2009 Admixtures for concrete, mortar and grout. Test methods. Determination of water soluble chloride content BS EN 480-11:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of air void characteristics in hardened concrete BS EN 480-12:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of the alkali content of admixtures BS EN 934-2:2009+A1:2012 Admixtures for concrete, mortar and grout. Concrete admixtures. Definitions, requirements, conformity, marking and labelling BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity BS EN 934-3:2009+A1:2012 Admixtures for concrete, mortar and grout. Admixtures for masonry mortar. Definitions, requirements, conformity and marking and labelling BS EN 934-2:2009+A1:2012 Admixtures for concrete, mortar and grout. Concrete admixtures. Definitions, requirements, conformity, marking and labelling BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity Reinforcement BS 4449:2005+A2:2009 Steel for the reinforcement of concrete. Weldable reinforcing steel. Bar, coil and decoiled product. Specification BS 4482:2005 Steel wire for the reinforcement of concrete products. Specification BS 4483:2005 Steel fabric for the reinforcement of concrete. Specification BS 6744:2001+A2:2009 Stainless steel bars for the reinforcement of and use in concrete. Requirements and test methods |
| --- | --- |
| ASTM | Concrete ASTM C150 / C150M - 15 Standard Specification for Portland CementASTM C150 / C150M - 15 Standard Specification for Portland Cement ASTM C33 / C33M - 13 Standard Specification for Concrete Aggregates ASTM C94 / C94M - 15b Standard Specification for Ready-Mixed Concrete ASTM C597 - 09 Standard Test Method for Pulse Velocity Through ConcreteASTM C597 - 09 Standard Test Method for Pulse Velocity Through Concrete ASTM C136 / C136M - 14 Standard Test Method for Sieve Analysis of Fine and Coarse AggregatesASTM C136 / C136M - 14 Standard Test Method for Sieve Analysis of Fine and Coarse Aggregates ASTM C642 - 13 Standard Test Method for Density, Absorption, and Voids in Hardened ConcreteASTM C642 - 13 Standard Test Method for Density, Absorption, and Voids in Hardened Concrete ASTM C805 / C805M - 13a Standard Test Method for Rebound Number of Hardened ConcreteASTM C805 / C805M - 13a Standard Test Method for Rebound Number of Hardened Concrete ASTM C1077 - 15a Standard Practice for Agencies Testing Concrete and Concrete Aggregates for Use in Construction and Criteria for Testing Agency Evaluation ASTM C387 / C387M - 15 Standard Specification for Packaged, Dry, Combined Materials for Concrete and High Strength Mortar Reinforcement ASTM A1022 / A1022M - 15a Standard Specification for Deformed and Plain Stainless Steel Wire and Welded Wire for Concrete Reinforcement ASTM A1064 / A1064M - 16 Standard Specification for Carbon-Steel Wire and Welded Wire Reinforcement, Plain and Deformed, for Concrete ASTM A933/A933M-14 Standard Specification for Vinyl-Coated Steel Wire and Welded Wire Reinforcement |
| AS | Concrete AS 1012.2:2014 Methods of testing concrete - Preparing concrete mixes in the laboratory AS 1012.3.1:2014 Methods of testing concrete - Determination of properties related to the consistency of concrete - Slump test AS 1012.3.2-1998 (R2014) Methods of testing concrete - Determination of properties related to the consistency of concrete - Compacting factor test AS 1012.1:2014 Methods of testing concrete - Sampling of concrete AS 1012.11-2000 (R2014) Methods of testing concrete - Determination of the modulus of rupture AS 1012.8.4:2015 Methods of testing concrete - Method for making and curing concrete - Drying shrinkage specimens prepared in the field or in the laboratory/ AS 1012.13:2015 Methods of testing concrete - Determination of the drying shrinkage of concrete for samples prepared in the field or in the laboratory AS 1012.21-1999 (R2014) Methods of testing concrete - Determination of water absorption and apparent volume of permeable voids in hardened concreteAS 1012.21-1999 (R2014) Methods of testing concrete - Determination of water absorption and apparent volume of permeable voids in hardened concrete. AS 1478.1-2000 Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 2758.1:2014 Aggregates and rock for engineering purposes - Concrete aggregates AS 3600-2009 Concrete structures CIA Z9-1999 CIA Curing of ConcreteCIA Z9-1999 CIA Curing of Concrete HB 84-2006 Guide to Concrete Repair and ProtectionHB 84-2006 Guide to Concrete Repair and Protection Reinforcement AS/NZS 4671:2001 Steel reinforcing materials |
| SS | Concrete SS EN 197 - 1 : 2014 Cement - Part 1 : Composition, specifications and conformity criteria for common cement/ SS EN 197 - 2 : 2014 Cement - Part 2 : Conformity evaluation SS EN 12620: 2008 Specification for aggregates for concrete CP 65 - 1 : 1999 Code of practice for structural use of concrete - Design and construction/ CP 65 - 2 : 1996 Code of practice for structural use of concrete - Special circumstances SS 509 - 1 : 2015 Code of practice for cleaning and surface repair of buildings – Part 1 : Cleaning of natural stone, brick, terracotta, concrete and rendered finishes/ SS 509 - 2 : 2005 (2015) Code of practice for cleaning and surface repair of buildings - Surface repair of natural stones, brick, terracotta and rendered finishes SS EN 12620 : 2008 Specification for aggregates for concrete SS 78 - A21 : 1987 (2013) Testing concrete - Method for determination of static modules of elasticity in compression/ SS 78 - A24 : 1991 (2013) Testing concrete - Methods of analysis of hardened concrete/ SS 78 - B1 : 1992 (2013) Testing concrete - Guide to the use of non-destructive methods of test for hardened concrete/ SS 78 - B4 : 1992 (2013) Testing concrete - Recommendations for the use of electromagnetic covermeters/ SS 78 - B6 : 1992 (2013) Testing concrete - Recommendations for determination of strain in concrete/ SS 78 - B7 : 1992 (2013) Testing concrete - Recommendations for assessment of concrete strength by the near-to-surface tests/ SS 78 - B9 : 1992 (2013) Testing concrete - Recommendations for the measurement of dynamic modulus of elasticity Reinforcement SS 560 : 2010 Specification for steel for the reinforcement of concrete – Weldable reinforcing steel – Bar, coil and decoiled product SS 561 : 2010 Specification for steel fabric for the reinforcement of concrete SS 2 - 3 : 1987 Steel for the reinforcement of concrete - Plain and ribbed bars (steel grades 250 and 460) SS 18: Part 1 Cold-reduced steel wire for the reinforcement of concrete and the manufacture of welded fabric -steel grade 500 SS 18: Part 2 Cold-reduced steel wire for the reinforcement of concrete and the manufacture of welded fabric -steel grade 485 SS 32: Part 1 Welded steel fabric for the reinforcement of concrete-steel grades 300 and 500 SS 32: Part 2 Welded steel fabric for the reinforcement of concrete-steel grade 485 |
| ISO | Concrete ISO 1920-1:2004 Testing of concrete -- Part 1: Sampling of fresh concrete/ ISO 1920-3:2004 Testing of concrete - Part 3: Making and curing test specimens ISO 1920-1:2004 Testing of concrete - Part 1: Sampling of fresh concrete ISO 3766:2003 Construction drawings -- Simplified representation of concrete reinforcement ISO 1920-4:2005 Testing of concrete -- Part 4: Strength of hardened concrete ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 4635:2011 Rubber, vulcanized -- Preformed joint seals for use between concrete paving sections of highways -- Specification ISO 6274:1982 Concrete -- Sieve analysis of aggregates ISO 1920-5:2004 Testing of concrete -- Part 5: Properties of hardened concrete other than strength ISO 6782:1982 Aggregates for concrete -- Determination of bulk density ISO 6783:1982 Coarse aggregates for concrete -- Determination of particle density and water absorption -- Hydrostatic balance method ISO 1920-10:2010 Testing of concrete -- Part 10: Determination of static modulus of elasticity in compression ISO 7033:1987 Fine and coarse aggregates for concrete -- Determination of the particle mass-per-volume and water absorption -- Pycnometer method ISO 7728:1985 Typical horizontal joints between an external wall of prefabricated ordinary concrete components and a concrete floor -- Properties. characteristics and classification criteria ISO 7729:1985 Typical vertical joints between two prefabricated ordinary concrete external wall components -- Properties, characteristics and classification criteria ISO 7844:1985 Grooved vertical joints with connecting bars and concrete infill between large reinforced concrete panels -- Laboratory mechanical tests -- Effect of tangential loading ISO 7845:1985 Horizontal joints between load-bearing walls and concrete floors -- Laboratory mechanical tests -- Effect of vertical loading and of moments transmitted by the floors Reinforcement ISO 6934-1:1991 Steel for the prestressing of concrete -- Part 1: General requirements ISO 6934-2:1991 Steel for the prestressing of concrete -- Part 2: Cold-drawn wire ISO 6934-3:1991 Steel for the prestressing of concrete -- Part 3: Quenched and tempered wire ISO 6934-4:1991 Steel for the prestressing of concrete -- Part 4: Strand ISO 6934-5:1991 Steel for the prestressing of concrete -- Part 5: Hot-rolled steel bars with or without subsequent processing ISO 6935-1:2007 Steel for the reinforcement of concrete -- Part 1: Plain bars ISO 6935-2:2015 Steel for the reinforcement of concrete -- Part 2: Ribbed bars ISO 6935-3:1992 Steel for the reinforcement of concrete -- Part 3: Welded fabric ISO 10144:1991 Certification scheme for steel bars and wires for the reinforcement of concrete structures ISO 10544:1992 Cold-reduced steel wire for the reinforcement of concrete and the manufacture of welded fabric ISO 11082:1992 Certification scheme for welded fabric for the reinforcement of concrete structures ISO 14654:1999 Epoxy-coated steel for the reinforcement of concrete ISO 14655:1999 Epoxy-coated strand for the prestressing of concrete ISO 14656:1999 Epoxy powder and sealing material for the coating of steel for the reinforcement of concrete ISO 15630-1:2010 Steel for the reinforcement and prestressing of concrete -- Test methods -- Part 1: Reinforcing bars, wire rod and wire ISO 15630-2:2010 Steel for the reinforcement and prestressing of concrete -- Test methods -- Part 2: Welded fabric ISO 15630-3:2010 Steel for the reinforcement and prestressing of concrete -- Test methods -- Part 3: Prestressing steel |

## Dampness and Condensation

| BS | Concrete BS EN 197-1:2011 Cement. Composition, specifications and conformity criteria for common cements BS ISO 3310-2:2013 Test sieves. Technical requirements and testing. Test sieves of perforated metal plate/ BS 410-1:2000, ISO 3310-1:2000 Test sieves. Technical requirements and testing. Test sieves of metal wire cloth BS 812-103.2:1989. Testing aggregates. Method for determination of particle size distribution. Sedimentation testBS 812-121:1989. Testing aggregates. Method for determination of soundness/ BS 812-119:1985. Testing aggregates. Method for determination of acid-soluble material in fine aggregate/ BS 812-112:1990. Testing aggregates. Method for determination of aggregate impact value (AIV)/ BS 812-114:1989. Testing aggregates. Method for determination of the polished-stone value/ BS 812-110:1990. Testing aggregates. Methods for determination of aggregate crushing value (ACV)/ BS 812-111:1990. Testing aggregates. Methods for determination of ten per cent fines value (TFV)/ BS 812-109:1990. Testing aggregates. Methods for determination of moisture content/ BS 812-104:1994. Testing aggregates. Method for qualitative and quantitative petrographic examination of aggregates/ BS 812-123:1999. Testing aggregates. Method for determination of alkali-silica reactivity. Concrete prism method/ BS 812-2:1995. Testing aggregates. Methods for determination of density/BS EN 932-5:2012 Tests for general properties of aggregates. Common equipment and calibration/ BS 812-124:2009. Testing aggregates. Method for determination of frost heave/ . BS EN 12620:2002+A1:2008 Aggregates for concrete BS EN 12878:2014 Pigments for the colouring of building materials based on cement and/or lime. Specifications and methods of test BS EN 13139:2002 Aggregates for mortar BS EN 13139:2002 Aggregates for mortar/ 15/30313572 DC. BS ISO 1920-2. Testing of concrete. Part 2. Properties of fresh concrete/ BS 1881-207:1992. Testing concrete. Recommendations for the assessment of concrete strength by near-to-surface tests/ BS 1881-124:2015. Testing concrete. Methods for analysis of hardened/ BS 1881-125:2013. Testing concrete. Methods for mixing and sampling fresh concrete in the laboratory/ BS 1881-130:2013. Testing concrete. Method for temperature-matched curing of concrete specimens/ BS 1881-113:2011. Testing concrete. Method for making and curing no-fines test cubes/ BS 1881-119:2011. Testing concrete. Method for determination of compressive strength using portions of beams broken in flexure (equivalent cube method)/ BS 1881-122:2011. Testing concrete. Method for determination of water absorption/ BS 1881-129:2011. Testing concrete. Method for determination of density of partially compacted semi-dry fresh concrete/ BS 1881-131:1998. Testing concrete. Methods for testing cement in a reference concrete/ BS 1881-208:1996. Testing concrete. Recommendations for the determination of the initial surface absorption of concrete/ BS 1881-209:1990. Testing concrete. Recommendations for the measurement of dynamic modulus of elasticity/ BS 1881-204:1988. Testing concrete. Recommendations on the use of electromagnetic covermeters/ BS 1881-206:1986. Testing concrete. Recommendations for determination of strain in concrete/ BS 1881-121:1983. Testing concrete. Method for determination of static modulus of elasticity in compression/ BS EN 12504-2:2012. Testing concrete in structures. Non-destructive testing. Determination of rebound number/ BS 1881-204:1988 Testing concrete. Recommendations on the use of electromagnetic covermeters/ BS 1881-206:1986 Testing concrete. Recommendations for determination of strain in concrete. BS 1881-204:1988 Testing concrete. Recommendations on the use of electromagnetic covermeters BS 1881-206:1986 Testing concrete. Recommendations for determination of strain in concrete BS 4550-6:1978 Methods of testing cement. Standard sand for mortar cubess BS EN 998-1:2003-Specification for mortar for masonry. Rendering and plastering mortar/ BS EN 998-2:2003-Specification for mortar for masonry. Masonry mortar ; BS EN 934-3:2009+A1:2012 Admixtures for concrete, mortar and grout. Admixtures for masonry mortar. Definitions, requirements, conformity and marking and labelling/ BS EN 480-4:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of bleeding of concrete/ BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity/BS EN 480-11:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of air void characteristics in hardened concrete/BS EN 480-12:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of the alkali content of admixtures/BS EN 480-1:2006+A1:2011 Admixtures for concrete, mortar and grout. Test methods. Reference concrete and reference mortar for testing/BS EN 934-2:2009+A1:2012 Admixtures for concrete, mortar and grout. Concrete admixtures. Definitions, requirements, conformity, marking and labelling/BS EN 480-8:2012 Admixtures for concrete, mortar and grout. Test methods. Determination of the conventional dry material content/BS EN 480-10:2009 Admixtures for concrete, mortar and grout. Test methods. Determination of water soluble chloride content/BS EN 480-6:2005 Admixtures for concrete, mortar and grout. Test methods. Infrared analysis/BS EN 480-5:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of capillary absorption/BS EN 480-2:2006 Admixtures for concrete, mortar and grout. Test methods. Determination of setting time/ BS EN 206:2013 Concrete. Specification, performance, production and conformity/ BS 8500-1:2015 Concrete. Complementary British Standard to BS EN 206. Method of specifying and guidance for the specifier/ BS 8500-2:2015 Concrete. Complementary British Standard to BS EN 206. Specification for constituent materials and concrete PD 6697:2010 Recommendations for the design of masonry structures to BS EN 1996-1-1 and BS EN 1996-2/ BS EN 1996-3:2006 Eurocode 6. Design of masonry structures. Simplified calculation methods for unreinforced masonry structures/ BS EN 1996-2:2006 Eurocode 6. Design of masonry structures. Design considerations, selection of materials and execution of masonry/ BS EN 1996-1-2:2005 Eurocode 6. Design of masonry structures. General rules. Structural fire design BS EN 998-2:2010 Specification for mortar for masonry. Masonry mortar/ BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar BS EN 13791:2007 Assessment of in-situ compressive strength in structures and pre-cast concrete components/ BS 6089:2010 Assessment of in-situ compressive strength in structures and precast concrete components. Complementary guidance to that given in BS EN 13791/ BS 8221-1:2012 Code of practice for cleaning and surface repair of buildings. Cleaning of natural stone, brick, terracotta and concrete BS 6319-3:1990 Testing of resin and polymer/cement compositions for use in construction. Methods for measurement of modulus of elasticity in flexure and flexural strength BS 6319-12:1992 Testing of resin and polymer/cement compositions for use in construction. Methods for measurement of unrestrained linear shrinkage and coefficient of thermal expansion BS 6949:1991- Specification for bitumen-based coatings for cold application excluding use in contact with potable water BS ISO 15686-1:2011 Buildings and constructed assets. Service life planning. General principles and framework/BS ISO 15686-3:2002 Buildings and constructed assets. Service life planning. Performance audits and reviews/BS ISO 15686-2:2012 Buildings and constructed assets. Service life planning. Service life prediction procedures/BS 7543:2015 Guide to durability of buildings and building elements, products and components/; BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles; BS 7543:2015 Guide to durability of buildings and building elements, products and components/BS ISO 15686-1:2011 Buildings and constructed assets. Service life planning. General principles and frameworkBS ISO 15686-3:2002 Buildings and constructed assets. Service life planning. Performance audits and reviewsBS ISO 15686-2:2012 Buildings and constructed assets. Service life planning. Service life prediction procedures BS EN 1992-1-1:2004+A1:2014 Eurocode 2: Design of concrete structures. General rules and rules for buildings PD 6678:2005 Guide to the specification of masonry mortar BS EN 480-1:2014 Admixtures for concrete, mortar and grout. Test methods. Reference concrete and reference mortar for testing BS EN 480-2:2006 Admixtures for concrete, mortar and grout. Test methods. Determination of setting time BS EN 480-4:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of bleeding of concrete BS EN 480-5:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of capillary absorption BS EN 480-6:2005 Admixtures for concrete, mortar and grout. Test methods. Infrared analysis BS EN 480-8:2012 Admixtures for concrete, mortar and grout. Test methods. Determination of the conventional dry material content BS EN 480-10:2009 Admixtures for concrete, mortar and grout. Test methods. Determination of water soluble chloride content BS EN 480-11:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of air void characteristics in hardened concrete BS EN 480-12:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of the alkali content of admixtures BS EN 934-2:2009+A1:2012 Admixtures for concrete, mortar and grout. Concrete admixtures. Definitions, requirements, conformity, marking and labelling BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity BS EN 934-3:2009+A1:2012 Admixtures for concrete, mortar and grout. Admixtures for masonry mortar. Definitions, requirements, conformity and marking and labelling BS EN 934-2:2009+A1:2012 Admixtures for concrete, mortar and grout. Concrete admixtures. Definitions, requirements, conformity, marking and labelling BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity Reinforcement BS 4449:2005+A2:2009 Steel for the reinforcement of concrete. Weldable reinforcing steel. Bar, coil and decoiled product. Specification BS 4482:2005 Steel wire for the reinforcement of concrete products. Specification BS 4483:2005 Steel fabric for the reinforcement of concrete. Specification BS 6744:2001+A2:2009 Stainless steel bars for the reinforcement of and use in concrete. Requirements and test methods Plastering BS EN 13914-1:2016 Design, preparation and application of external rendering and internal plastering. External rendering BS EN 13279-1:2008 Gypsum binders and gypsum plasters. Definitions and requirements/ BS EN 13279-2:2014 Gypsum binders and gypsum plasters. Test methods BS EN 13139:2002 Aggregates for mortar BS EN 13658-1:2005 Metal lath and beads. Definitions, requirements and test methods. Internal plastering/ BS EN 13658-2:2005 Metal lath and beads. Definitions, requirements and test methods. External rendering BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar BS EN 13914-1:2016 Design, preparation and application of external rendering and internal plastering. External rendering |
| --- | --- |
| ASTM | Concrete ASTM C150 / C150M - 15 Standard Specification for Portland CementASTM C150 / C150M - 15 Standard Specification for Portland Cement ASTM C33 / C33M - 13 Standard Specification for Concrete Aggregates ASTM C94 / C94M - 15b Standard Specification for Ready-Mixed Concrete ASTM C597 - 09 Standard Test Method for Pulse Velocity Through Concrete ASTM C136 / C136M - 14 Standard Test Method for Sieve Analysis of Fine and Coarse Aggregates ASTM C642 - 13 Standard Test Method for Density, Absorption, and Voids in Hardened Concrete ASTM C805 / C805M - 13a Standard Test Method for Rebound Number of Hardened Concrete ASTM C1077 - 15a Standard Practice for Agencies Testing Concrete and Concrete Aggregates for Use in Construction and Criteria for Testing Agency Evaluation ASTM C387 / C387M - 15 Standard Specification for Packaged, Dry, Combined Materials for Concrete and High Strength Mortar Reinforcement ASTM A1022 / A1022M - 15a Standard Specification for Deformed and Plain Stainless Steel Wire and Welded Wire for Concrete Reinforcement ASTM A1064 / A1064M - 16 Standard Specification for Carbon-Steel Wire and Welded Wire Reinforcement, Plain and Deformed, for Concrete ASTM A933/A933M-14 Standard Specification for Vinyl-Coated Steel Wire and Welded Wire Reinforcement Plastering ASTM C926 - 16 Standard Specification for Application of Portland Cement-Based Plaster ASTM C1328 / C1328M - 12 Standard Specification for Plastic (Stucco) Cement ASTM C897 - 15 Standard Specification for Aggregate for Job-Mixed Portland Cement-Based PlastersASTM C897 - 15 Standard Specification for Aggregate for Job-Mixed Portland Cement-Based Plasters ASTM E96 / E96M - 15 Standard Test Methods for Water Vapor Transmission of Materials ASTM C1506 - 16a Standard Test Method for Water Retention of Hydraulic Cement-Based Mortars and Plasters ASTM C1063 - 16 Standard Specification for Installation of Lathing and Furring to Receive Interior and Exterior Portland Cement-Based Plaster ASTM C926 - 16 Standard Specification for Application of Portland Cement-Based Plaster ASTM C897 - 15 Standard Specification for Aggregate for Job-Mixed Portland Cement-Based Plasters ASTM C847 - 14a Standard Specification for Metal Lath ASTM C150 / C150M - 15 Standard Specification for Portland Cement ASTM F710 - 11 Standard Practice for Preparing Concrete Floors to Receive Resilient Flooring ASTM E119 - 15 Standard Test Methods for Fire Tests of Building Construction and Materials ASTM C932 - 06(2013) Standard Specification for Surface-Applied Bonding Compounds for Exterior Plastering ASTM C40 / C40M - 11 Standard Test Method for Organic Impurities in Fine Aggregates for Concrete |
| AS | Concrete AS 1012.2:2014 Methods of testing concrete - Preparing concrete mixes in the laboratory AS 1012.3.1:2014 Methods of testing concrete - Determination of properties related to the consistency of concrete - Slump test AS 1012.3.2-1998 (R2014) Methods of testing concrete - Determination of properties related to the consistency of concrete - Compacting factor test AS 1012.1:2014 Methods of testing concrete - Sampling of concrete AS 1012.11-2000 (R2014) Methods of testing concrete - Determination of the modulus of rupture AS 1012.8.4:2015 Methods of testing concrete - Method for making and curing concrete - Drying shrinkage specimens prepared in the field or in the laboratory/ AS 1012.13:2015 Methods of testing concrete - Determination of the drying shrinkage of concrete for samples prepared in the field or in the laboratory AS 1012.21-1999 (R2014) Methods of testing concrete - Determination of water absorption and apparent volume of permeable voids in hardened concreteAS 1012.21-1999 (R2014) Methods of testing concrete - Determination of water absorption and apparent volume of permeable voids in hardened concrete. AS 1478.1-2000 Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 2758.1:2014 Aggregates and rock for engineering purposes - Concrete aggregates AS 3600-2009 Concrete structures CIA Z9-1999 CIA Curing of ConcreteCIA Z9-1999 CIA Curing of Concrete HB 84-2006 Guide to Concrete Repair and ProtectionHB 84-2006 Guide to Concrete Repair and Protection Reinforcement AS/NZS 4671:2001 Steel reinforcing materials Plastering AS 2185-1978 Fibrous plaster products AS 2592-1983 Gypsum plaster for building purposes DR 99462 Fibre reinforced gypsum plaster |
| SS | Concrete SS EN 197 - 1 : 2014 Cement - Part 1 : Composition, specifications and conformity criteria for common cement/ SS EN 197 - 2 : 2014 Cement - Part 2 : Conformity evaluation SS EN 12620: 2008 Specification for aggregates for concrete CP 65 - 1 : 1999 Code of practice for structural use of concrete - Design and construction/ CP 65 - 2 : 1996 Code of practice for structural use of concrete - Special circumstances SS 509 - 1 : 2015 Code of practice for cleaning and surface repair of buildings – Part 1 : Cleaning of natural stone, brick, terracotta, concrete and rendered finishes/ SS 509 - 2 : 2005 (2015) Code of practice for cleaning and surface repair of buildings - Surface repair of natural stones, brick, terracotta and rendered finishes SS EN 12620 : 2008 Specification for aggregates for concrete SS 78 - A21 : 1987 (2013) Testing concrete - Method for determination of static modules of elasticity in compression/ SS 78 - A24 : 1991 (2013) Testing concrete - Methods of analysis of hardened concrete/ SS 78 - B1 : 1992 (2013) Testing concrete - Guide to the use of non-destructive methods of test for hardened concrete/ SS 78 - B4 : 1992 (2013) Testing concrete - Recommendations for the use of electromagnetic covermeters/ SS 78 - B6 : 1992 (2013) Testing concrete - Recommendations for determination of strain in concrete/ SS 78 - B7 : 1992 (2013) Testing concrete - Recommendations for assessment of concrete strength by the near-to-surface tests/ SS 78 - B9 : 1992 (2013) Testing concrete - Recommendations for the measurement of dynamic modulus of elasticity Reinforcement SS 560 : 2010 Specification for steel for the reinforcement of concrete – Weldable reinforcing steel – Bar, coil and decoiled product SS 561 : 2010 Specification for steel fabric for the reinforcement of concrete SS 2 - 3 : 1987 Steel for the reinforcement of concrete - Plain and ribbed bars (steel grades 250 and 460) SS 18: Part 1 Cold-reduced steel wire for the reinforcement of concrete and the manufacture of welded fabric -steel grade 500 SS 18: Part 2 Cold-reduced steel wire for the reinforcement of concrete and the manufacture of welded fabric -steel grade 485 SS 32: Part 1 Welded steel fabric for the reinforcement of concrete-steel grades 300 and 500 SS 32: Part 2 Welded steel fabric for the reinforcement of concrete-steel grade 485 Plastering CP 56 : 1991 Code of practice for internal plastering |
| ISO | Concrete ISO 1920-1:2004 Testing of concrete -- Part 1: Sampling of fresh concrete/ ISO 1920-3:2004 Testing of concrete - Part 3: Making and curing test specimens ISO 3766:2003 Construction drawings -- Simplified representation of concrete reinforcement ISO 1920-4:2005 Testing of concrete -- Part 4: Strength of hardened concrete ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 4635:2011 Rubber, vulcanized -- Preformed joint seals for use between concrete paving sections of highways -- Specification ISO 6274:1982 Concrete -- Sieve analysis of aggregates ISO 1920-5:2004 Testing of concrete -- Part 5: Properties of hardened concrete other than strength ISO 6782:1982 Aggregates for concrete -- Determination of bulk density ISO 6783:1982 Coarse aggregates for concrete -- Determination of particle density and water absorption -- Hydrostatic balance method ISO 1920-10:2010 Testing of concrete -- Part 10: Determination of static modulus of elasticity in compression ISO 7033:1987 Fine and coarse aggregates for concrete -- Determination of the particle mass-per-volume and water absorption -- Pycnometer method ISO 7728:1985 Typical horizontal joints between an external wall of prefabricated ordinary concrete components and a concrete floor -- Properties. characteristics and classification criteria ISO 7729:1985 Typical vertical joints between two prefabricated ordinary concrete external wall components -- Properties, characteristics and classification criteria ISO 7844:1985 Grooved vertical joints with connecting bars and concrete infill between large reinforced concrete panels -- Laboratory mechanical tests -- Effect of tangential loading ISO 7845:1985 Horizontal joints between load-bearing walls and concrete floors -- Laboratory mechanical tests -- Effect of vertical loading and of moments transmitted by the floors Reinforcement ISO 6934-1:1991 Steel for the prestressing of concrete -- Part 1: General requirements ISO 6934-2:1991 Steel for the prestressing of concrete -- Part 2: Cold-drawn wire ISO 6934-3:1991 Steel for the prestressing of concrete -- Part 3: Quenched and tempered wire ISO 6934-4:1991 Steel for the prestressing of concrete -- Part 4: Strand ISO 6934-5:1991 Steel for the prestressing of concrete -- Part 5: Hot-rolled steel bars with or without subsequent processing ISO 6935-1:2007 Steel for the reinforcement of concrete -- Part 1: Plain bars ISO 6935-2:2015 Steel for the reinforcement of concrete -- Part 2: Ribbed bars ISO 6935-3:1992 Steel for the reinforcement of concrete -- Part 3: Welded fabric ISO 10144:1991 Certification scheme for steel bars and wires for the reinforcement of concrete structures ISO 10544:1992 Cold-reduced steel wire for the reinforcement of concrete and the manufacture of welded fabric ISO 11082:1992 Certification scheme for welded fabric for the reinforcement of concrete structures ISO 14654:1999 Epoxy-coated steel for the reinforcement of concrete ISO 14655:1999 Epoxy-coated strand for the prestressing of concrete ISO 14656:1999 Epoxy powder and sealing material for the coating of steel for the reinforcement of concrete ISO 15630-1:2010 Steel for the reinforcement and prestressing of concrete -- Test methods -- Part 1: Reinforcing bars, wire rod and wire ISO 15630-2:2010 Steel for the reinforcement and prestressing of concrete -- Test methods -- Part 2: Welded fabric ISO 15630-3:2010 Steel for the reinforcement and prestressing of concrete -- Test methods -- Part 3: Prestressing steel |

## Alkali Silica reaction

| BS | Concrete BS EN 197-1:2011 Cement. Composition, specifications and conformity criteria for common cements BS ISO 3310-2:2013 Test sieves. Technical requirements and testing. Test sieves of perforated metal plate/ BS 410-1:2000, ISO 3310-1:2000 Test sieves. Technical requirements and testing. Test sieves of metal wire cloth BS 812-103.2:1989. Testing aggregates. Method for determination of particle size distribution. Sedimentation testBS 812-121:1989. Testing aggregates. Method for determination of soundness/ BS 812-119:1985. Testing aggregates. Method for determination of acid-soluble material in fine aggregate/ BS 812-112:1990. Testing aggregates. Method for determination of aggregate impact value (AIV)/ BS 812-114:1989. Testing aggregates. Method for determination of the polished-stone value/ BS 812-110:1990. Testing aggregates. Methods for determination of aggregate crushing value (ACV)/ BS 812-111:1990. Testing aggregates. Methods for determination of ten per cent fines value (TFV)/ BS 812-109:1990. Testing aggregates. Methods for determination of moisture content/ BS 812-104:1994. Testing aggregates. Method for qualitative and quantitative petrographic examination of aggregates/ BS 812-123:1999. Testing aggregates. Method for determination of alkali-silica reactivity. Concrete prism method/ BS 812-2:1995. Testing aggregates. Methods for determination of density/BS EN 932-5:2012 Tests for general properties of aggregates. Common equipment and calibration/ BS 812-124:2009. Testing aggregates. Method for determination of frost heave/ . BS EN 12620:2002+A1:2008 Aggregates for concrete BS EN 12878:2014 Pigments for the colouring of building materials based on cement and/or lime. Specifications and methods of test BS EN 13139:2002 Aggregates for mortar BS EN 13139:2002 Aggregates for mortar/ 15/30313572 DC. BS ISO 1920-2. Testing of concrete. Part 2. Properties of fresh concrete/ BS 1881-207:1992. Testing concrete. Recommendations for the assessment of concrete strength by near-to-surface tests/ BS 1881-124:2015. Testing concrete. Methods for analysis of hardened/ BS 1881-125:2013. Testing concrete. Methods for mixing and sampling fresh concrete in the laboratory/ BS 1881-130:2013. Testing concrete. Method for temperature-matched curing of concrete specimens/ BS 1881-113:2011. Testing concrete. Method for making and curing no-fines test cubes/ BS 1881-119:2011. Testing concrete. Method for determination of compressive strength using portions of beams broken in flexure (equivalent cube method)/ BS 1881-122:2011. Testing concrete. Method for determination of water absorption/ BS 1881-129:2011. Testing concrete. Method for determination of density of partially compacted semi-dry fresh concrete/ BS 1881-131:1998. Testing concrete. Methods for testing cement in a reference concrete/ BS 1881-208:1996. Testing concrete. Recommendations for the determination of the initial surface absorption of concrete/ BS 1881-209:1990. Testing concrete. Recommendations for the measurement of dynamic modulus of elasticity/ BS 1881-204:1988. Testing concrete. Recommendations on the use of electromagnetic covermeters/ BS 1881-206:1986. Testing concrete. Recommendations for determination of strain in concrete/ BS 1881-121:1983. Testing concrete. Method for determination of static modulus of elasticity in compression/ BS EN 12504-2:2012. Testing concrete in structures. Non-destructive testing. Determination of rebound number/ BS 1881-204:1988 Testing concrete. Recommendations on the use of electromagnetic covermeters/ BS 1881-206:1986 Testing concrete. Recommendations for determination of strain in concrete. BS 1881-204:1988 Testing concrete. Recommendations on the use of electromagnetic covermeters BS 1881-206:1986 Testing concrete. Recommendations for determination of strain in concrete BS 4550-6:1978 Methods of testing cement. Standard sand for mortar cubess BS EN 998-1:2003-Specification for mortar for masonry. Rendering and plastering mortar/ BS EN 998-2:2003-Specification for mortar for masonry. Masonry mortar ; BS EN 934-3:2009+A1:2012 Admixtures for concrete, mortar and grout. Admixtures for masonry mortar. Definitions, requirements, conformity and marking and labelling/ BS EN 480-4:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of bleeding of concrete/ BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity/BS EN 480-11:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of air void characteristics in hardened concrete/BS EN 480-12:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of the alkali content of admixtures/BS EN 480-1:2006+A1:2011 Admixtures for concrete, mortar and grout. Test methods. Reference concrete and reference mortar for testing/BS EN 934-2:2009+A1:2012 Admixtures for concrete, mortar and grout . Concrete admixtures. Definitions, requirements, conformity, marking and labelling/BS EN 480-8:2012 Admixtures for concrete, mortar and grout. Test methods. Determination of the conventional dry material content/BS EN 480-10:2009 Admixtures for concrete, mortar and grout. Test methods. Determination of water soluble chloride content/BS EN 480-6:2005 Admixtures for concrete, mortar and grout. Test methods. Infrared analysis/BS EN 480-5:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of capillary absorption/BS EN 480-2:2006 Admixtures for concrete, mortar and grout. Test methods. Determination of setting time/ BS EN 206:2013 Concrete. Specification, performance, production and conformity/ BS 8500-1:2015 Concrete. Complementary British Standard to BS EN 206. Method of specifying and guidance for the specifier/ BS 8500-2:2015 Concrete. Complementary British Standard to BS EN 206. Specification for constituent materials and concrete PD 6697:2010 Recommendations for the design of masonry structures to BS EN 1996-1-1 and BS EN 1996-2/ BS EN 1996-3:2006 Eurocode 6. Design of masonry structures. Simplified calculation methods for unreinforced masonry structures/ BS EN 1996-2:2006 Eurocode 6. Design of masonry structures. Design considerations, selection of materials and execution of masonry/ BS EN 1996-1-2:2005 Eurocode 6. Design of masonry structures. General rules. Structural fire design BS EN 998-2:2010 Specification for mortar for masonry. Masonry mortar/ BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar BS EN 13791:2007 Assessment of in-situ compressive strength in structures and pre-cast concrete components/ BS 6089:2010 Assessment of in-situ compressive strength in structures and precast concrete components. Complementary guidance to that given in BS EN 13791/ BS 8221-1:2012 Code of practice for cleaning and surface repair of buildings. Cleaning of natural stone, brick, terracotta and concrete BS 6319-3:1990 Testing of resin and polymer/cement compositions for use in construction. Methods for measurement of modulus of elasticity in flexure and flexural strength BS 6319-12:1992 Testing of resin and polymer/cement compositions for use in construction. Methods for measurement of unrestrained linear shrinkage and coefficient of thermal expansion BS 6949:1991- Specification for bitumen-based coatings for cold application excluding use in contact with potable water BS ISO 15686-1:2011 Buildings and constructed assets. Service life planning. General principles and framework/BS ISO 15686-3:2002 Buildings and constructed assets. Service life planning. Performance audits and reviews/BS ISO 15686-2:2012 Buildings and constructed assets. Service life planning. Service life prediction procedures/BS 7543:2015 Guide to durability of buildings and building elements, products and components/; BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles; BS 7543:2015 Guide to durability of buildings and building elements, products and components/BS ISO 15686-1:2011 Buildings and constructed assets. Service life planning. General principles and frameworkBS ISO 15686-3:2002 Buildings and constructed assets. Service life planning. Performance audits and reviewsBS ISO 15686-2:2012 Buildings and constructed assets. Service life planning. Service life prediction procedures BS EN 1992-1-1:2004+A1:2014 Eurocode 2: Design of concrete structures. General rules and rules for buildings PD 6678:2005 Guide to the specification of masonry mortar BS EN 480-1:2014 Admixtures for concrete, mortar and grout. Test methods. Reference concrete and reference mortar for testing BS EN 480-2:2006 Admixtures for concrete, mortar and grout. Test methods. Determination of setting time BS EN 480-4:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of bleeding of concrete BS EN 480-5:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of capillary absorption BS EN 480-6:2005 Admixtures for concrete, mortar and grout. Test methods. Infrared analysis BS EN 480-8:2012 Admixtures for concrete, mortar and grout. Test methods. Determination of the conventional dry material content BS EN 480-10:2009 Admixtures for concrete, mortar and grout. Test methods. Determination of water soluble chloride content BS EN 480-11:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of air void characteristics in hardened concrete BS EN 480-12:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of the alkali content of admixtures BS EN 934-2:2009+A1:2012 Admixtures for concrete, mortar and grout. Concrete admixtures. Definitions, requirements, conformity, marking and labelling BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity BS EN 934-3:2009+A1:2012 Admixtures for concrete, mortar and grout. Admixtures for masonry mortar. Definitions, requirements, conformity and marking and labelling BS EN 934-2:2009+A1:2012 Admixtures for concrete, mortar and grout. Concrete admixtures. Definitions, requirements, conformity, marking and labelling BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity Reinforcement BS 4449:2005+A2:2009 Steel for the reinforcement of concrete. Weldable reinforcing steel. Bar, coil and decoiled product. Specification BS 4482:2005 Steel wire for the reinforcement of concrete products. Specification BS 4483:2005 Steel fabric for the reinforcement of concrete. Specification BS 6744:2001+A2:2009 Stainless steel bars for the reinforcement of and use in concrete. Requirements and test methods |
| --- | --- |
| ASTM | Concrete ASTM C150 / C150M - 15 Standard Specification for Portland CementASTM C150 / C150M - 15 Standard Specification for Portland Cement ASTM C33 / C33M - 13 Standard Specification for Concrete Aggregates ASTM C94 / C94M - 15b Standard Specification for Ready-Mixed Concrete ASTM C1077 - 15a Standard Practice for Agencies Testing Concrete and Concrete Aggregates for Use in Construction and Criteria for Testing Agency Evaluation ASTM C597 - 09 Standard Test Method for Pulse Velocity Through Concrete ASTM C136 / C136M - 14 Standard Test Method for Sieve Analysis of Fine and Coarse Aggregates ASTM C642 - 13 Standard Test Method for Density, Absorption, and Voids in Hardened Concrete ASTM C805 / C805M - 13a Standard Test Method for Rebound Number of Hardened Concrete ASTM C1077 - 15a Standard Practice for Agencies Testing Concrete and Concrete Aggregates for Use in Construction and Criteria for Testing Agency Evaluation ASTM C387 / C387M - 15 Standard Specification for Packaged, Dry, Combined Materials for Concrete and High Strength Mortar Reinforcement ASTM A1022 / A1022M - 15a Standard Specification for Deformed and Plain Stainless Steel Wire and Welded Wire for Concrete Reinforcement ASTM A1064 / A1064M - 16 Standard Specification for Carbon-Steel Wire and Welded Wire Reinforcement, Plain and Deformed, for Concrete ASTM A933/A933M-14 Standard Specification for Vinyl-Coated Steel Wire and Welded Wire Reinforcement |
| AS | Concrete AS 1012.2:2014 Methods of testing concrete - Preparing concrete mixes in the laboratory AS 1012.3.1:2014 Methods of testing concrete - Determination of properties related to the consistency of concrete - Slump test AS 1012.3.2-1998 (R2014) Methods of testing concrete - Determination of properties related to the consistency of concrete - Compacting factor test AS 1012.1:2014 Methods of testing concrete - Sampling of concrete AS 1012.11-2000 (R2014) Methods of testing concrete - Determination of the modulus of rupture AS 1012.8.4:2015 Methods of testing concrete - Method for making and curing concrete - Drying shrinkage specimens prepared in the field or in the laboratory/ AS 1012.13:2015 Methods of testing concrete - Determination of the drying shrinkage of concrete for samples prepared in the field or in the laboratory AS 1012.21-1999 (R2014) Methods of testing concrete - Determination of water absorption and apparent volume of permeable voids in hardened concreteAS 1012.21-1999 (R2014) Methods of testing concrete - Determination of water absorption and apparent volume of permeable voids in hardened concrete. AS 1478.1-2000 Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 2758.1:2014 Aggregates and rock for engineering purposes - Concrete aggregates AS 3600-2009 Concrete structures CIA Z9-1999 CIA Curing of ConcreteCIA Z9-1999 CIA Curing of Concrete HB 84-2006 Guide to Concrete Repair and ProtectionHB 84-2006 Guide to Concrete Repair and Protection Reinforcement AS/NZS 4671:2001 Steel reinforcing materials |
| SS | Concrete SS EN 197 - 1 : 2014 Cement - Part 1 : Composition, specifications and conformity criteria for common cement/ SS EN 197 - 2 : 2014 Cement - Part 2 : Conformity evaluation SS EN 12620: 2008 Specification for aggregates for concrete CP 65 - 1 : 1999 Code of practice for structural use of concrete - Design and construction/ CP 65 - 2 : 1996 Code of practice for structural use of concrete - Special circumstances SS 509 - 1 : 2015 Code of practice for cleaning and surface repair of buildings – Part 1 : Cleaning of natural stone, brick, terracotta, concrete and rendered finishes/ SS 509 - 2 : 2005 (2015) Code of practice for cleaning and surface repair of buildings - Surface repair of natural stones, brick, terracotta and rendered finishes SS EN 12620 : 2008 Specification for aggregates for concrete SS 78 - A21 : 1987 (2013) Testing concrete - Method for determination of static modules of elasticity in compression/ SS 78 - A24 : 1991 (2013) Testing concrete - Methods of analysis of hardened concrete/ SS 78 - B1 : 1992 (2013) Testing concrete - Guide to the use of non-destructive methods of test for hardened concrete/ SS 78 - B4 : 1992 (2013) Testing concrete - Recommendations for the use of electromagnetic covermeters/ SS 78 - B6 : 1992 (2013) Testing concrete - Recommendations for determination of strain in concrete/ SS 78 - B7 : 1992 (2013) Testing concrete - Recommendations for assessment of concrete strength by the near-to-surface tests/ SS 78 - B9 : 1992 (2013) Testing concrete - Recommendations for the measurement of dynamic modulus of elasticity Reinforcement SS 560 : 2010 Specification for steel for the reinforcement of concrete – Weldable reinforcing steel – Bar, coil and decoiled product SS 561 : 2010 Specification for steel fabric for the reinforcement of concrete SS 2 - 3 : 1987 Steel for the reinforcement of concrete - Plain and ribbed bars (steel grades 250 and 460) SS 18: Part 1 Cold-reduced steel wire for the reinforcement of concrete and the manufacture of welded fabric -steel grade 500 SS 18: Part 2 Cold-reduced steel wire for the reinforcement of concrete and the manufacture of welded fabric -steel grade 485 SS 32: Part 1 Welded steel fabric for the reinforcement of concrete-steel grades 300 and 500 SS 32: Part 2 Welded steel fabric for the reinforcement of concrete-steel grade 485 |
| ISO | Concrete ISO 1920-1:2004 Testing of concrete -- Part 1: Sampling of fresh concrete/ ISO 1920-3:2004 Testing of concrete - Part 3: Making and curing test specimens ISO 1920-1:2004 Testing of concrete - Part 1: Sampling of fresh concrete ISO 3766:2003 Construction drawings -- Simplified representation of concrete reinforcement ISO 1920-4:2005 Testing of concrete -- Part 4: Strength of hardened concrete ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 4635:2011 Rubber, vulcanized -- Preformed joint seals for use between concrete paving sections of highways -- Specification ISO 6274:1982 Concrete -- Sieve analysis of aggregates ISO 1920-5:2004 Testing of concrete -- Part 5: Properties of hardened concrete other than strength ISO 6782:1982 Aggregates for concrete -- Determination of bulk density ISO 6783:1982 Coarse aggregates for concrete -- Determination of particle density and water absorption -- Hydrostatic balance method ISO 1920-10:2010 Testing of concrete -- Part 10: Determination of static modulus of elasticity in compression ISO 7033:1987 Fine and coarse aggregates for concrete -- Determination of the particle mass-per-volume and water absorption -- Pycnometer method ISO 7728:1985 Typical horizontal joints between an external wall of prefabricated ordinary concrete components and a concrete floor -- Properties. characteristics and classification criteria ISO 7729:1985 Typical vertical joints between two prefabricated ordinary concrete external wall components -- Properties, characteristics and classification criteria ISO 7844:1985 Grooved vertical joints with connecting bars and concrete infill between large reinforced concrete panels -- Laboratory mechanical tests -- Effect of tangential loading ISO 7845:1985 Horizontal joints between load-bearing walls and concrete floors -- Laboratory mechanical tests -- Effect of vertical loading and of moments transmitted by the floors Reinforcement ISO 6934-1:1991 Steel for the prestressing of concrete -- Part 1: General requirements ISO 6934-2:1991 Steel for the prestressing of concrete -- Part 2: Cold-drawn wire ISO 6934-3:1991 Steel for the prestressing of concrete -- Part 3: Quenched and tempered wire ISO 6934-4:1991 Steel for the prestressing of concrete -- Part 4: Strand ISO 6934-5:1991 Steel for the prestressing of concrete -- Part 5: Hot-rolled steel bars with or without subsequent processing ISO 6935-1:2007 Steel for the reinforcement of concrete -- Part 1: Plain bars ISO 6935-2:2015 Steel for the reinforcement of concrete -- Part 2: Ribbed bars ISO 6935-3:1992 Steel for the reinforcement of concrete -- Part 3: Welded fabric ISO 10144:1991 Certification scheme for steel bars and wires for the reinforcement of concrete structures ISO 10544:1992 Cold-reduced steel wire for the reinforcement of concrete and the manufacture of welded fabric ISO 11082:1992 Certification scheme for welded fabric for the reinforcement of concrete structures ISO 14654:1999 Epoxy-coated steel for the reinforcement of concrete ISO 14655:1999 Epoxy-coated strand for the prestressing of concrete ISO 14656:1999 Epoxy powder and sealing material for the coating of steel for the reinforcement of concrete ISO 15630-1:2010 Steel for the reinforcement and prestressing of concrete -- Test methods -- Part 1: Reinforcing bars, wire rod and wire ISO 15630-2:2010 Steel for the reinforcement and prestressing of concrete -- Test methods -- Part 2: Welded fabric ISO 15630-3:2010 Steel for the reinforcement and prestressing of concrete -- Test methods -- Part 3: Prestressing steel |

## Chloride Attack

| BS | Concrete BS EN 197-1:2011 Cement. Composition, specifications and conformity criteria for common cements BS ISO 3310-2:2013 Test sieves. Technical requirements and testing. Test sieves of perforated metal plate/ BS 410-1:2000, ISO 3310-1:2000 Test sieves. Technical requirements and testing. Test sieves of metal wire cloth BS 812-103.2:1989. Testing aggregates. Method for determination of particle size distribution. Sedimentation testBS 812-121:1989. Testing aggregates. Method for determination of soundness/ BS 812-119:1985. Testing aggregates. Method for determination of acid-soluble material in fine aggregate/ BS 812-112:1990. Testing aggregates. Method for determination of aggregate impact value (AIV)/ BS 812-114:1989. Testing aggregates. Method for determination of the polished-stone value/ BS 812-110:1990. Testing aggregates. Methods for determination of aggregate crushing value (ACV)/ BS 812-111:1990. Testing aggregates. Methods for determination of ten per cent fines value (TFV)/ BS 812-109:1990. Testing aggregates. Methods for determination of moisture content/ BS 812-104:1994. Testing aggregates. Method for qualitative and quantitative petrographic examination of aggregates/ BS 812-123:1999. Testing aggregates. Method for determination of alkali-silica reactivity. Concrete prism method/ BS 812-2:1995. Testing aggregates. Methods for determination of density/BS EN 932-5:2012 Tests for general properties of aggregates. Common equipment and calibration/ BS 812-124:2009. Testing aggregates. Method for determination of frost heave/ . BS EN 12620:2002+A1:2008 Aggregates for concrete BS EN 12878:2014 Pigments for the colouring of building materials based on cement and/or lime. Specifications and methods of test BS EN 13139:2002 Aggregates for mortar BS EN 13139:2002 Aggregates for mortar/ 15/30313572 DC. BS ISO 1920-2. Testing of concrete. Part 2. Properties of fresh concrete/ BS 1881-207:1992. Testing concrete. Recommendations for the assessment of concrete strength by near-to-surface tests/ BS 1881-124:2015. Testing concrete. Methods for analysis of hardened/ BS 1881-125:2013. Testing concrete. Methods for mixing and sampling fresh concrete in the laboratory/ BS 1881-130:2013. Testing concrete. Method for temperature-matched curing of concrete specimens/ BS 1881-113:2011. Testing concrete. Method for making and curing no-fines test cubes/ BS 1881-119:2011. Testing concrete. Method for determination of compressive strength using portions of beams broken in flexure (equivalent cube method)/ BS 1881-122:2011. Testing concrete. Method for determination of water absorption/ BS 1881-129:2011. Testing concrete. Method for determination of density of partially compacted semi-dry fresh concrete/ BS 1881-131:1998. Testing concrete. Methods for testing cement in a reference concrete/ BS 1881-208:1996. Testing concrete. Recommendations for the determination of the initial surface absorption of concrete/ BS 1881-209:1990. Testing concrete. Recommendations for the measurement of dynamic modulus of elasticity/ BS 1881-204:1988. Testing concrete. Recommendations on the use of electromagnetic covermeters/ BS 1881-206:1986. Testing concrete. Recommendations for determination of strain in concrete/ BS 1881-121:1983. Testing concrete. Method for determination of static modulus of elasticity in compression/ BS EN 12504-2:2012. Testing concrete in structures. Non-destructive testing. Determination of rebound number/ BS 1881-204:1988 Testing concrete. Recommendations on the use of electromagnetic covermeters/ BS 1881-206:1986 Testing concrete. Recommendations for determination of strain in concrete. BS 1881-204:1988 Testing concrete. Recommendations on the use of electromagnetic covermeters BS 1881-206:1986 Testing concrete. Recommendations for determination of strain in concrete BS 4550-6:1978 Methods of testing cement. Standard sand for mortar cubess BS EN 998-1:2003-Specification for mortar for masonry. Rendering and plastering mortar/ BS EN 998-2:2003-Specification for mortar for masonry. Masonry mortar ; BS EN 934-3:2009+A1:2012 Admixtures for concrete, mortar and grout. Admixtures for masonry mortar. Definitions, requirements, conformity and marking and labelling/ BS EN 480-4:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of bleeding of concrete/ BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity/BS EN 480-11:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of air void characteristics in hardened concrete/BS EN 480-12:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of the alkali content of admixtures/BS EN 480-1:2006+A1:2011 Admixtures for concrete, mortar and grout. Test methods. Reference concrete and reference mortar for testing/BS EN 934-2:2009+A1:2012 Admixtures for concrete, mortar and grout . Concrete admixtures. Definitions, requirements, conformity, marking and labelling/BS EN 480-8:2012 Admixtures for concrete, mortar and grout. Test methods. Determination of the conventional dry material content/BS EN 480-10:2009 Admixtures for concrete, mortar and grout. Test methods. Determination of water soluble chloride content/BS EN 480-6:2005 Admixtures for concrete, mortar and grout. Test methods. Infrared analysis/BS EN 480-5:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of capillary absorption/BS EN 480-2:2006 Admixtures for concrete, mortar and grout. Test methods. Determination of setting time/ BS EN 206:2013 Concrete. Specification, performance, production and conformity/ BS 8500-1:2015 Concrete. Complementary British Standard to BS EN 206. Method of specifying and guidance for the specifier/ BS 8500-2:2015 Concrete. Complementary British Standard to BS EN 206. Specification for constituent materials and concrete PD 6697:2010 Recommendations for the design of masonry structures to BS EN 1996-1-1 and BS EN 1996-2/ BS EN 1996-3:2006 Eurocode 6. Design of masonry structures. Simplified calculation methods for unreinforced masonry structures/ BS EN 1996-2:2006 Eurocode 6. Design of masonry structures. Design considerations, selection of materials and execution of masonry/ BS EN 1996-1-2:2005 Eurocode 6. Design of masonry structures. General rules. Structural fire design BS EN 998-2:2010 Specification for mortar for masonry. Masonry mortar/ BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar BS EN 13791:2007 Assessment of in-situ compressive strength in structures and pre-cast concrete components/ BS 6089:2010 Assessment of in-situ compressive strength in structures and precast concrete components. Complementary guidance to that given in BS EN 13791/ BS 8221-1:2012 Code of practice for cleaning and surface repair of buildings. Cleaning of natural stone, brick, terracotta and concrete BS 6319-3:1990 Testing of resin and polymer/cement compositions for use in construction. Methods for measurement of modulus of elasticity in flexure and flexural strength BS 6319-12:1992 Testing of resin and polymer/cement compositions for use in construction. Methods for measurement of unrestrained linear shrinkage and coefficient of thermal expansion BS 6949:1991- Specification for bitumen-based coatings for cold application excluding use in contact with potable water BS ISO 15686-1:2011 Buildings and constructed assets. Service life planning. General principles and framework/BS ISO 15686-3:2002 Buildings and constructed assets. Service life planning. Performance audits and reviews/BS ISO 15686-2:2012 Buildings and constructed assets. Service life planning. Service life prediction procedures/BS 7543:2015 Guide to durability of buildings and building elements, products and components/; BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles; BS 7543:2015 Guide to durability of buildings and building elements, products and components/BS ISO 15686-1:2011 Buildings and constructed assets. Service life planning. General principles and frameworkBS ISO 15686-3:2002 Buildings and constructed assets. Service life planning. Performance audits and reviewsBS ISO 15686-2:2012 Buildings and constructed assets. Service life planning. Service life prediction procedures BS EN 1992-1-1:2004+A1:2014 Eurocode 2: Design of concrete structures. General rules and rules for buildings PD 6678:2005 Guide to the specification of masonry mortar BS EN 480-1:2014 Admixtures for concrete, mortar and grout. Test methods. Reference concrete and reference mortar for testing BS EN 480-2:2006 Admixtures for concrete, mortar and grout. Test methods. Determination of setting time BS EN 480-4:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of bleeding of concrete BS EN 480-5:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of capillary absorption BS EN 480-6:2005 Admixtures for concrete, mortar and grout. Test methods. Infrared analysis BS EN 480-8:2012 Admixtures for concrete, mortar and grout. Test methods. Determination of the conventional dry material content BS EN 480-10:2009 Admixtures for concrete, mortar and grout. Test methods. Determination of water soluble chloride content BS EN 480-11:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of air void characteristics in hardened concrete BS EN 480-12:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of the alkali content of admixtures BS EN 934-2:2009+A1:2012 Admixtures for concrete, mortar and grout. Concrete admixtures. Definitions, requirements, conformity, marking and labelling BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity BS EN 934-3:2009+A1:2012 Admixtures for concrete, mortar and grout. Admixtures for masonry mortar. Definitions, requirements, conformity and marking and labelling BS EN 934-2:2009+A1:2012 Admixtures for concrete, mortar and grout. Concrete admixtures. Definitions, requirements, conformity, marking and labelling BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity Reinforcement BS 4449:2005+A2:2009 Steel for the reinforcement of concrete. Weldable reinforcing steel. Bar, coil and decoiled product. Specification BS 4482:2005 Steel wire for the reinforcement of concrete products. Specification BS 4483:2005 Steel fabric for the reinforcement of concrete. Specification BS 6744:2001+A2:2009 Stainless steel bars for the reinforcement of and use in concrete. Requirements and test methods |
| --- | --- |
| ASTM | Concrete ASTM C150 / C150M - 15 Standard Specification for Portland CementASTM C150 / C150M - 15 Standard Specification for Portland Cement ASTM C33 / C33M - 13 Standard Specification for Concrete Aggregates ASTM C94 / C94M - 15b Standard Specification for Ready-Mixed Concrete ASTM C597 - 09 Standard Test Method for Pulse Velocity Through ConcreteASTM C597 - 09 Standard Test Method for Pulse Velocity Through Concrete ASTM C136 / C136M - 14 Standard Test Method for Sieve Analysis of Fine and Coarse AggregatesASTM C136 / C136M - 14 Standard Test Method for Sieve Analysis of Fine and Coarse Aggregates ASTM C642 - 13 Standard Test Method for Density, Absorption, and Voids in Hardened ConcreteASTM C642 - 13 Standard Test Method for Density, Absorption, and Voids in Hardened Concrete ASTM C805 / C805M - 13a Standard Test Method for Rebound Number of Hardened ConcreteASTM C805 / C805M - 13a Standard Test Method for Rebound Number of Hardened Concrete ASTM C1077 - 15a Standard Practice for Agencies Testing Concrete and Concrete Aggregates for Use in Construction and Criteria for Testing Agency Evaluation ASTM C387 / C387M - 15 Standard Specification for Packaged, Dry, Combined Materials for Concrete and High Strength Mortar Reinforcement ASTM A1022 / A1022M - 15a Standard Specification for Deformed and Plain Stainless Steel Wire and Welded Wire for Concrete Reinforcement ASTM A1064 / A1064M - 16 Standard Specification for Carbon-Steel Wire and Welded Wire Reinforcement, Plain and Deformed, for Concrete ASTM A933/A933M-14 Standard Specification for Vinyl-Coated Steel Wire and Welded Wire Reinforcement |
| AS | Concrete AS 1012.2:2014 Methods of testing concrete - Preparing concrete mixes in the laboratory AS 1012.3.1:2014 Methods of testing concrete - Determination of properties related to the consistency of concrete - Slump test AS 1012.3.2-1998 (R2014) Methods of testing concrete - Determination of properties related to the consistency of concrete - Compacting factor test AS 1012.1:2014 Methods of testing concrete - Sampling of concrete AS 1012.11-2000 (R2014) Methods of testing concrete - Determination of the modulus of rupture AS 1012.8.4:2015 Methods of testing concrete - Method for making and curing concrete - Drying shrinkage specimens prepared in the field or in the laboratory/ AS 1012.13:2015 Methods of testing concrete - Determination of the drying shrinkage of concrete for samples prepared in the field or in the laboratory AS 1012.21-1999 (R2014) Methods of testing concrete - Determination of water absorption and apparent volume of permeable voids in hardened concreteAS 1012.21-1999 (R2014) Methods of testing concrete - Determination of water absorption and apparent volume of permeable voids in hardened concrete. AS 1478.1-2000 Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 2758.1:2014 Aggregates and rock for engineering purposes - Concrete aggregates AS 3600-2009 Concrete structures CIA Z9-1999 CIA Curing of ConcreteCIA Z9-1999 CIA Curing of Concrete HB 84-2006 Guide to Concrete Repair and ProtectionHB 84-2006 Guide to Concrete Repair and Protection Reinforcement AS/NZS 4671:2001 Steel reinforcing materials |
| SS | Concrete SS EN 197 - 1 : 2014 Cement - Part 1 : Composition, specifications and conformity criteria for common cement/ SS EN 197 - 2 : 2014 Cement - Part 2 : Conformity evaluation SS EN 12620: 2008 Specification for aggregates for concrete CP 65 - 1 : 1999 Code of practice for structural use of concrete - Design and construction/ CP 65 - 2 : 1996 Code of practice for structural use of concrete - Special circumstances SS 509 - 1 : 2015 Code of practice for cleaning and surface repair of buildings – Part 1 : Cleaning of natural stone, brick, terracotta, concrete and rendered finishes/ SS 509 - 2 : 2005 (2015) Code of practice for cleaning and surface repair of buildings - Surface repair of natural stones, brick, terracotta and rendered finishes SS EN 12620 : 2008 Specification for aggregates for concrete SS 78 - A21 : 1987 (2013) Testing concrete - Method for determination of static modules of elasticity in compression/ SS 78 - A24 : 1991 (2013) Testing concrete - Methods of analysis of hardened concrete/ SS 78 - B1 : 1992 (2013) Testing concrete - Guide to the use of non-destructive methods of test for hardened concrete/ SS 78 - B4 : 1992 (2013) Testing concrete - Recommendations for the use of electromagnetic covermeters/ SS 78 - B6 : 1992 (2013) Testing concrete - Recommendations for determination of strain in concrete/ SS 78 - B7 : 1992 (2013) Testing concrete - Recommendations for assessment of concrete strength by the near-to-surface tests/ SS 78 - B9 : 1992 (2013) Testing concrete - Recommendations for the measurement of dynamic modulus of elasticity Reinforcement SS 560 : 2010 Specification for steel for the reinforcement of concrete – Weldable reinforcing steel – Bar, coil and decoiled product SS 561 : 2010 Specification for steel fabric for the reinforcement of concrete SS 2 - 3 : 1987 Steel for the reinforcement of concrete - Plain and ribbed bars (steel grades 250 and 460) SS 18: Part 1 Cold-reduced steel wire for the reinforcement of concrete and the manufacture of welded fabric -steel grade 500 SS 18: Part 2 Cold-reduced steel wire for the reinforcement of concrete and the manufacture of welded fabric -steel grade 485 SS 32: Part 1 Welded steel fabric for the reinforcement of concrete-steel grades 300 and 500 SS 32: Part 2 Welded steel fabric for the reinforcement of concrete-steel grade 485 |
| ISO | Concrete ISO 1920-1:2004 Testing of concrete -- Part 1: Sampling of fresh concrete/ ISO 1920-3:2004 Testing of concrete - Part 3: Making and curing test specimens ISO 1920-1:2004 Testing of concrete - Part 1: Sampling of fresh concrete ISO 3766:2003 Construction drawings -- Simplified representation of concrete reinforcement ISO 1920-4:2005 Testing of concrete -- Part 4: Strength of hardened concrete ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 4635:2011 Rubber, vulcanized -- Preformed joint seals for use between concrete paving sections of highways -- Specification ISO 6274:1982 Concrete -- Sieve analysis of aggregates ISO 1920-5:2004 Testing of concrete -- Part 5: Properties of hardened concrete other than strength ISO 6782:1982 Aggregates for concrete -- Determination of bulk density ISO 6783:1982 Coarse aggregates for concrete -- Determination of particle density and water absorption -- Hydrostatic balance method ISO 1920-10:2010 Testing of concrete -- Part 10: Determination of static modulus of elasticity in compression ISO 7033:1987 Fine and coarse aggregates for concrete -- Determination of the particle mass-per-volume and water absorption -- Pycnometer method ISO 7728:1985 Typical horizontal joints between an external wall of prefabricated ordinary concrete components and a concrete floor -- Properties. characteristics and classification criteria ISO 7729:1985 Typical vertical joints between two prefabricated ordinary concrete external wall components -- Properties, characteristics and classification criteria ISO 7844:1985 Grooved vertical joints with connecting bars and concrete infill between large reinforced concrete panels -- Laboratory mechanical tests -- Effect of tangential loading ISO 7845:1985 Horizontal joints between load-bearing walls and concrete floors -- Laboratory mechanical tests -- Effect of vertical loading and of moments transmitted by the floors Reinforcement ISO 6934-1:1991 Steel for the prestressing of concrete -- Part 1: General requirements ISO 6934-2:1991 Steel for the prestressing of concrete -- Part 2: Cold-drawn wire ISO 6934-3:1991 Steel for the prestressing of concrete -- Part 3: Quenched and tempered wire ISO 6934-4:1991 Steel for the prestressing of concrete -- Part 4: Strand ISO 6934-5:1991 Steel for the prestressing of concrete -- Part 5: Hot-rolled steel bars with or without subsequent processing ISO 6935-1:2007 Steel for the reinforcement of concrete -- Part 1: Plain bars ISO 6935-2:2015 Steel for the reinforcement of concrete -- Part 2: Ribbed bars ISO 6935-3:1992 Steel for the reinforcement of concrete -- Part 3: Welded fabric ISO 10144:1991 Certification scheme for steel bars and wires for the reinforcement of concrete structures ISO 10544:1992 Cold-reduced steel wire for the reinforcement of concrete and the manufacture of welded fabric ISO 11082:1992 Certification scheme for welded fabric for the reinforcement of concrete structures ISO 14654:1999 Epoxy-coated steel for the reinforcement of concrete ISO 14655:1999 Epoxy-coated strand for the prestressing of concrete ISO 14656:1999 Epoxy powder and sealing material for the coating of steel for the reinforcement of concrete ISO 15630-1:2010 Steel for the reinforcement and prestressing of concrete -- Test methods -- Part 1: Reinforcing bars, wire rod and wire ISO 15630-2:2010 Steel for the reinforcement and prestressing of concrete -- Test methods -- Part 2: Welded fabric ISO 15630-3:2010 Steel for the reinforcement and prestressing of concrete -- Test methods -- Part 3: Prestressing steel |

## Sulphate Attack

| BS | Concrete BS EN 197-1:2011 Cement. Composition, specifications and conformity criteria for common cements BS ISO 3310-2:2013 Test sieves. Technical requirements and testing. Test sieves of perforated metal plate/ BS 410-1:2000, ISO 3310-1:2000 Test sieves. Technical requirements and testing. Test sieves of metal wire cloth BS 812-103.2:1989. Testing aggregates. Method for determination of particle size distribution. Sedimentation testBS 812-121:1989. Testing aggregates. Method for determination of soundness/ BS 812-119:1985. Testing aggregates. Method for determination of acid-soluble material in fine aggregate/ BS 812-112:1990. Testing aggregates. Method for determination of aggregate impact value (AIV)/ BS 812-114:1989. Testing aggregates. Method for determination of the polished-stone value/ BS 812-110:1990. Testing aggregates. Methods for determination of aggregate crushing value (ACV)/ BS 812-111:1990. Testing aggregates. Methods for determination of ten per cent fines value (TFV)/ BS 812-109:1990. Testing aggregates. Methods for determination of moisture content/ BS 812-104:1994. Testing aggregates. Method for qualitative and quantitative petrographic examination of aggregates/ BS 812-123:1999. Testing aggregates. Method for determination of alkali-silica reactivity. Concrete prism method/ BS 812-2:1995. Testing aggregates. Methods for determination of density/BS EN 932-5:2012 Tests for general properties of aggregates. Common equipment and calibration/ BS 812-124:2009. Testing aggregates. Method for determination of frost heave/ . BS EN 12620:2002+A1:2008 Aggregates for concrete BS EN 12878:2014 Pigments for the colouring of building materials based on cement and/or lime. Specifications and methods of test BS EN 13139:2002 Aggregates for mortar BS EN 13139:2002 Aggregates for mortar/ 15/30313572 DC. BS ISO 1920-2. Testing of concrete. Part 2. Properties of fresh concrete/ BS 1881-207:1992. Testing concrete. Recommendations for the assessment of concrete strength by near-to-surface tests/ BS 1881-124:2015. Testing concrete. Methods for analysis of hardened/ BS 1881-125:2013. Testing concrete. Methods for mixing and sampling fresh concrete in the laboratory/ BS 1881-130:2013. Testing concrete. Method for temperature-matched curing of concrete specimens/ BS 1881-113:2011. Testing concrete. Method for making and curing no-fines test cubes/ BS 1881-119:2011. Testing concrete. Method for determination of compressive strength using portions of beams broken in flexure (equivalent cube method)/ BS 1881-122:2011. Testing concrete. Method for determination of water absorption/ BS 1881-129:2011. Testing concrete. Method for determination of density of partially compacted semi-dry fresh concrete/ BS 1881-131:1998. Testing concrete. Methods for testing cement in a reference concrete/ BS 1881-208:1996. Testing concrete. Recommendations for the determination of the initial surface absorption of concrete/ BS 1881-209:1990. Testing concrete. Recommendations for the measurement of dynamic modulus of elasticity/ BS 1881-204:1988. Testing concrete. Recommendations on the use of electromagnetic covermeters/ BS 1881-206:1986. Testing concrete. Recommendations for determination of strain in concrete/ BS 1881-121:1983. Testing concrete. Method for determination of static modulus of elasticity in compression/ BS EN 12504-2:2012. Testing concrete in structures. Non-destructive testing. Determination of rebound number/ BS 1881-204:1988 Testing concrete. Recommendations on the use of electromagnetic covermeters/ BS 1881-206:1986 Testing concrete. Recommendations for determination of strain in concrete. BS 1881-204:1988 Testing concrete. Recommendations on the use of electromagnetic covermeters BS 1881-206:1986 Testing concrete. Recommendations for determination of strain in concrete BS 4550-6:1978 Methods of testing cement. Standard sand for mortar cubess BS EN 998-1:2003-Specification for mortar for masonry. Rendering and plastering mortar/ BS EN 998-2:2003-Specification for mortar for masonry. Masonry mortar ; BS EN 934-3:2009+A1:2012 Admixtures for concrete, mortar and grout. Admixtures for masonry mortar. Definitions, requirements, conformity and marking and labelling/ BS EN 480-4:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of bleeding of concrete/ BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity/BS EN 480-11:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of air void characteristics in hardened concrete/BS EN 480-12:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of the alkali content of admixtures/BS EN 480-1:2006+A1:2011 Admixtures for concrete, mortar and grout. Test methods. Reference concrete and reference mortar for testing/BS EN 934-2:2009+A1:2012 Admixtures for concrete, mortar and grout . Concrete admixtures. Definitions, requirements, conformity, marking and labelling/BS EN 480-8:2012 Admixtures for concrete, mortar and grout. Test methods. Determination of the conventional dry material content/BS EN 480-10:2009 Admixtures for concrete, mortar and grout. Test methods. Determination of water soluble chloride content/BS EN 480-6:2005 Admixtures for concrete, mortar and grout. Test methods. Infrared analysis/BS EN 480-5:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of capillary absorption/BS EN 480-2:2006 Admixtures for concrete, mortar and grout. Test methods. Determination of setting time/ BS EN 206:2013 Concrete. Specification, performance, production and conformity/ BS 8500-1:2015 Concrete. Complementary British Standard to BS EN 206. Method of specifying and guidance for the specifier/ BS 8500-2:2015 Concrete. Complementary British Standard to BS EN 206. Specification for constituent materials and concrete PD 6697:2010 Recommendations for the design of masonry structures to BS EN 1996-1-1 and BS EN 1996-2/ BS EN 1996-3:2006 Eurocode 6. Design of masonry structures. Simplified calculation methods for unreinforced masonry structures/ BS EN 1996-2:2006 Eurocode 6. Design of masonry structures. Design considerations, selection of materials and execution of masonry/ BS EN 1996-1-2:2005 Eurocode 6. Design of masonry structures. General rules. Structural fire design BS EN 998-2:2010 Specification for mortar for masonry. Masonry mortar/ BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar BS EN 13791:2007 Assessment of in-situ compressive strength in structures and pre-cast concrete components/ BS 6089:2010 Assessment of in-situ compressive strength in structures and precast concrete components. Complementary guidance to that given in BS EN 13791/ BS 8221-1:2012 Code of practice for cleaning and surface repair of buildings. Cleaning of natural stone, brick, terracotta and concrete BS 6319-3:1990 Testing of resin and polymer/cement compositions for use in construction. Methods for measurement of modulus of elasticity in flexure and flexural strength BS 6319-12:1992 Testing of resin and polymer/cement compositions for use in construction. Methods for measurement of unrestrained linear shrinkage and coefficient of thermal expansion BS 6949:1991- Specification for bitumen-based coatings for cold application excluding use in contact with potable water BS ISO 15686-1:2011 Buildings and constructed assets. Service life planning. General principles and framework/BS ISO 15686-3:2002 Buildings and constructed assets. Service life planning. Performance audits and reviews/BS ISO 15686-2:2012 Buildings and constructed assets. Service life planning. Service life prediction procedures/BS 7543:2015 Guide to durability of buildings and building elements, products and components/; BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles; BS 7543:2015 Guide to durability of buildings and building elements, products and components/BS ISO 15686-1:2011 Buildings and constructed assets. Service life planning. General principles and frameworkBS ISO 15686-3:2002 Buildings and constructed assets. Service life planning. Performance audits and reviewsBS ISO 15686-2:2012 Buildings and constructed assets. Service life planning. Service life prediction procedures BS EN 1992-1-1:2004+A1:2014 Eurocode 2: Design of concrete structures. General rules and rules for buildings PD 6678:2005 Guide to the specification of masonry mortar BS EN 480-1:2014 Admixtures for concrete, mortar and grout. Test methods. Reference concrete and reference mortar for testing BS EN 480-2:2006 Admixtures for concrete, mortar and grout. Test methods. Determination of setting time BS EN 480-4:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of bleeding of concrete BS EN 480-5:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of capillary absorption BS EN 480-6:2005 Admixtures for concrete, mortar and grout. Test methods. Infrared analysis BS EN 480-8:2012 Admixtures for concrete, mortar and grout. Test methods. Determination of the conventional dry material content BS EN 480-10:2009 Admixtures for concrete, mortar and grout. Test methods. Determination of water soluble chloride content BS EN 480-11:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of air void characteristics in hardened concrete BS EN 480-12:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of the alkali content of admixtures BS EN 934-2:2009+A1:2012 Admixtures for concrete, mortar and grout. Concrete admixtures. Definitions, requirements, conformity, marking and labelling BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity BS EN 934-3:2009+A1:2012 Admixtures for concrete, mortar and grout. Admixtures for masonry mortar. Definitions, requirements, conformity and marking and labelling BS EN 934-2:2009+A1:2012 Admixtures for concrete, mortar and grout. Concrete admixtures. Definitions, requirements, conformity, marking and labelling BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity Reinforcement BS 4449:2005+A2:2009 Steel for the reinforcement of concrete. Weldable reinforcing steel. Bar, coil and decoiled product. Specification BS 4482:2005 Steel wire for the reinforcement of concrete products. Specification BS 4483:2005 Steel fabric for the reinforcement of concrete. Specification BS 6744:2001+A2:2009 Stainless steel bars for the reinforcement of and use in concrete. Requirements and test methods |
| --- | --- |
| ASTM | Concrete ASTM C150 / C150M - 15 Standard Specification for Portland CementASTM C150 / C150M - 15 Standard Specification for Portland Cement ASTM C33 / C33M - 13 Standard Specification for Concrete Aggregates ASTM C94 / C94M - 15b Standard Specification for Ready-Mixed Concrete ASTM C597 - 09 Standard Test Method for Pulse Velocity Through ConcreteASTM C597 - 09 Standard Test Method for Pulse Velocity Through Concrete ASTM C136 / C136M - 14 Standard Test Method for Sieve Analysis of Fine and Coarse Aggregates ASTM C642 - 13 Standard Test Method for Density, Absorption, and Voids in Hardened Concrete ASTM C805 / C805M - 13a Standard Test Method for Rebound Number of Hardened Concrete ASTM C1077 - 15a Standard Practice for Agencies Testing Concrete and Concrete Aggregates for Use in Construction and Criteria for Testing Agency Evaluation ASTM C387 / C387M - 15 Standard Specification for Packaged, Dry, Combined Materials for Concrete and High Strength Mortar Reinforcement ASTM A1022 / A1022M - 15a Standard Specification for Deformed and Plain Stainless Steel Wire and Welded Wire for Concrete Reinforcement ASTM A1064 / A1064M - 16 Standard Specification for Carbon-Steel Wire and Welded Wire Reinforcement, Plain and Deformed, for Concrete ASTM A933/A933M-14 Standard Specification for Vinyl-Coated Steel Wire and Welded Wire Reinforcement |
| AS | Concrete AS 1012.2:2014 Methods of testing concrete - Preparing concrete mixes in the laboratory AS 1012.3.1:2014 Methods of testing concrete - Determination of properties related to the consistency of concrete - Slump test AS 1012.3.2-1998 (R2014) Methods of testing concrete - Determination of properties related to the consistency of concrete - Compacting factor test AS 1012.1:2014 Methods of testing concrete - Sampling of concrete AS 1012.11-2000 (R2014) Methods of testing concrete - Determination of the modulus of rupture AS 1012.8.4:2015 Methods of testing concrete - Method for making and curing concrete - Drying shrinkage specimens prepared in the field or in the laboratory/ AS 1012.13:2015 Methods of testing concrete - Determination of the drying shrinkage of concrete for samples prepared in the field or in the laboratory AS 1012.21-1999 (R2014) Methods of testing concrete - Determination of water absorption and apparent volume of permeable voids in hardened concreteAS 1012.21-1999 (R2014) Methods of testing concrete - Determination of water absorption and apparent volume of permeable voids in hardened concrete. AS 1478.1-2000 Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 2758.1:2014 Aggregates and rock for engineering purposes - Concrete aggregates AS 3600-2009 Concrete structures CIA Z9-1999 CIA Curing of ConcreteCIA Z9-1999 CIA Curing of Concrete HB 84-2006 Guide to Concrete Repair and ProtectionHB 84-2006 Guide to Concrete Repair and Protection Reinforcement AS/NZS 4671:2001 Steel reinforcing materials |
| SS | Concrete SS EN 197 - 1 : 2014 Cement - Part 1 : Composition, specifications and conformity criteria for common cement/ SS EN 197 - 2 : 2014 Cement - Part 2 : Conformity evaluation SS EN 12620: 2008 Specification for aggregates for concrete CP 65 - 1 : 1999 Code of practice for structural use of concrete - Design and construction/ CP 65 - 2 : 1996 Code of practice for structural use of concrete - Special circumstances SS 509 - 1 : 2015 Code of practice for cleaning and surface repair of buildings – Part 1 : Cleaning of natural stone, brick, terracotta, concrete and rendered finishes/ SS 509 - 2 : 2005 (2015) Code of practice for cleaning and surface repair of buildings - Surface repair of natural stones, brick, terracotta and rendered finishes SS EN 12620 : 2008 Specification for aggregates for concrete SS 78 - A21 : 1987 (2013) Testing concrete - Method for determination of static modules of elasticity in compression/ SS 78 - A24 : 1991 (2013) Testing concrete - Methods of analysis of hardened concrete/ SS 78 - B1 : 1992 (2013) Testing concrete - Guide to the use of non-destructive methods of test for hardened concrete/ SS 78 - B4 : 1992 (2013) Testing concrete - Recommendations for the use of electromagnetic covermeters/ SS 78 - B6 : 1992 (2013) Testing concrete - Recommendations for determination of strain in concrete/ SS 78 - B7 : 1992 (2013) Testing concrete - Recommendations for assessment of concrete strength by the near-to-surface tests/ SS 78 - B9 : 1992 (2013) Testing concrete - Recommendations for the measurement of dynamic modulus of elasticity Reinforcement SS 560 : 2010 Specification for steel for the reinforcement of concrete – Weldable reinforcing steel – Bar, coil and decoiled product SS 561 : 2010 Specification for steel fabric for the reinforcement of concrete SS 2 - 3 : 1987 Steel for the reinforcement of concrete - Plain and ribbed bars (steel grades 250 and 460) SS 18: Part 1 Cold-reduced steel wire for the reinforcement of concrete and the manufacture of welded fabric -steel grade 500 SS 18: Part 2 Cold-reduced steel wire for the reinforcement of concrete and the manufacture of welded fabric -steel grade 485 SS 32: Part 1 Welded steel fabric for the reinforcement of concrete-steel grades 300 and 500 SS 32: Part 2 Welded steel fabric for the reinforcement of concrete-steel grade 485 |
| ISO | Concrete ISO 1920-1:2004 Testing of concrete -- Part 1: Sampling of fresh concrete/ ISO 1920-3:2004 Testing of concrete - Part 3: Making and curing test specimens ISO 1920-1:2004 Testing of concrete - Part 1: Sampling of fresh concrete ISO 3766:2003 Construction drawings -- Simplified representation of concrete reinforcement ISO 1920-4:2005 Testing of concrete -- Part 4: Strength of hardened concrete ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 4635:2011 Rubber, vulcanized -- Preformed joint seals for use between concrete paving sections of highways -- Specification ISO 6274:1982 Concrete -- Sieve analysis of aggregates ISO 1920-5:2004 Testing of concrete -- Part 5: Properties of hardened concrete other than strength ISO 6782:1982 Aggregates for concrete -- Determination of bulk density ISO 6783:1982 Coarse aggregates for concrete -- Determination of particle density and water absorption -- Hydrostatic balance method ISO 1920-10:2010 Testing of concrete -- Part 10: Determination of static modulus of elasticity in compression ISO 7033:1987 Fine and coarse aggregates for concrete -- Determination of the particle mass-per-volume and water absorption -- Pycnometer method ISO 7728:1985 Typical horizontal joints between an external wall of prefabricated ordinary concrete components and a concrete floor -- Properties. characteristics and classification criteria ISO 7729:1985 Typical vertical joints between two prefabricated ordinary concrete external wall components -- Properties, characteristics and classification criteria ISO 7844:1985 Grooved vertical joints with connecting bars and concrete infill between large reinforced concrete panels -- Laboratory mechanical tests -- Effect of tangential loading ISO 7845:1985 Horizontal joints between load-bearing walls and concrete floors -- Laboratory mechanical tests -- Effect of vertical loading and of moments transmitted by the floors Reinforcement ISO 6934-1:1991 Steel for the prestressing of concrete -- Part 1: General requirements ISO 6934-2:1991 Steel for the prestressing of concrete -- Part 2: Cold-drawn wire ISO 6934-3:1991 Steel for the prestressing of concrete -- Part 3: Quenched and tempered wire ISO 6934-4:1991 Steel for the prestressing of concrete -- Part 4: Strand ISO 6934-5:1991 Steel for the prestressing of concrete -- Part 5: Hot-rolled steel bars with or without subsequent processing ISO 6935-1:2007 Steel for the reinforcement of concrete -- Part 1: Plain bars ISO 6935-2:2015 Steel for the reinforcement of concrete -- Part 2: Ribbed bars ISO 6935-3:1992 Steel for the reinforcement of concrete -- Part 3: Welded fabric ISO 10144:1991 Certification scheme for steel bars and wires for the reinforcement of concrete structures ISO 10544:1992 Cold-reduced steel wire for the reinforcement of concrete and the manufacture of welded fabric ISO 11082:1992 Certification scheme for welded fabric for the reinforcement of concrete structures ISO 14654:1999 Epoxy-coated steel for the reinforcement of concrete ISO 14655:1999 Epoxy-coated strand for the prestressing of concrete ISO 14656:1999 Epoxy powder and sealing material for the coating of steel for the reinforcement of concrete ISO 15630-1:2010 Steel for the reinforcement and prestressing of concrete -- Test methods -- Part 1: Reinforcing bars, wire rod and wire ISO 15630-2:2010 Steel for the reinforcement and prestressing of concrete -- Test methods -- Part 2: Welded fabric ISO 15630-3:2010 Steel for the reinforcement and prestressing of concrete -- Test methods -- Part 3: Prestressing steel |

## Biological staining

| BS | Concrete BS EN 197-1:2011 Cement. Composition, specifications and conformity criteria for common cements BS ISO 3310-2:2013 Test sieves. Technical requirements and testing. Test sieves of perforated metal plate/ BS 410-1:2000, ISO 3310-1:2000 Test sieves. Technical requirements and testing. Test sieves of metal wire cloth BS 812-103.2:1989. Testing aggregates. Method for determination of particle size distribution. Sedimentation testBS 812-121:1989. Testing aggregates. Method for determination of soundness/ BS 812-119:1985. Testing aggregates. Method for determination of acid-soluble material in fine aggregate/ BS 812-112:1990. Testing aggregates. Method for determination of aggregate impact value (AIV)/ BS 812-114:1989. Testing aggregates. Method for determination of the polished-stone value/ BS 812-110:1990. Testing aggregates. Methods for determination of aggregate crushing value (ACV)/ BS 812-111:1990. Testing aggregates. Methods for determination of ten per cent fines value (TFV)/ BS 812-109:1990. Testing aggregates. Methods for determination of moisture content/ BS 812-104:1994. Testing aggregates. Method for qualitative and quantitative petrographic examination of aggregates/ BS 812-123:1999. Testing aggregates. Method for determination of alkali-silica reactivity. Concrete prism method/ BS 812-2:1995. Testing aggregates. Methods for determination of density/BS EN 932-5:2012 Tests for general properties of aggregates. Common equipment and calibration/ BS 812-124:2009. Testing aggregates. Method for determination of frost heave/ . BS EN 12620:2002+A1:2008 Aggregates for concrete BS EN 12878:2014 Pigments for the colouring of building materials based on cement and/or lime. Specifications and methods of test BS EN 13139:2002 Aggregates for mortar BS EN 13139:2002 Aggregates for mortar/ 15/30313572 DC. BS ISO 1920-2. Testing of concrete. Part 2. Properties of fresh concrete/ BS 1881-207:1992. Testing concrete. Recommendations for the assessment of concrete strength by near-to-surface tests/ BS 1881-124:2015. Testing concrete. Methods for analysis of hardened/ BS 1881-125:2013. Testing concrete. Methods for mixing and sampling fresh concrete in the laboratory/ BS 1881-130:2013. Testing concrete. Method for temperature-matched curing of concrete specimens/ BS 1881-113:2011. Testing concrete. Method for making and curing no-fines test cubes/ BS 1881-119:2011. Testing concrete. Method for determination of compressive strength using portions of beams broken in flexure (equivalent cube method)/ BS 1881-122:2011. Testing concrete. Method for determination of water absorption/ BS 1881-129:2011. Testing concrete. Method for determination of density of partially compacted semi-dry fresh concrete/ BS 1881-131:1998. Testing concrete. Methods for testing cement in a reference concrete/ BS 1881-208:1996. Testing concrete. Recommendations for the determination of the initial surface absorption of concrete/ BS 1881-209:1990. Testing concrete. Recommendations for the measurement of dynamic modulus of elasticity/ BS 1881-204:1988. Testing concrete. Recommendations on the use of electromagnetic covermeters/ BS 1881-206:1986. Testing concrete. Recommendations for determination of strain in concrete/ BS 1881-121:1983. Testing concrete. Method for determination of static modulus of elasticity in compression/ BS EN 12504-2:2012. Testing concrete in structures. Non-destructive testing. Determination of rebound number/ BS 1881-204:1988 Testing concrete. Recommendations on the use of electromagnetic covermeters/ BS 1881-206:1986 Testing concrete. Recommendations for determination of strain in concrete. BS 1881-204:1988 Testing concrete. Recommendations on the use of electromagnetic covermeters BS 1881-206:1986 Testing concrete. Recommendations for determination of strain in concrete BS 4550-6:1978 Methods of testing cement. Standard sand for mortar cubess BS EN 998-1:2003-Specification for mortar for masonry. Rendering and plastering mortar/ BS EN 998-2:2003-Specification for mortar for masonry. Masonry mortar ; BS EN 934-3:2009+A1:2012 Admixtures for concrete, mortar and grout. Admixtures for masonry mortar. Definitions, requirements, conformity and marking and labelling/ BS EN 480-4:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of bleeding of concrete/ BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity/BS EN 480-11:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of air void characteristics in hardened concrete/BS EN 480-12:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of the alkali content of admixtures/BS EN 480-1:2006+A1:2011 Admixtures for concrete, mortar and grout. Test methods. Reference concrete and reference mortar for testing/BS EN 934-2:2009+A1:2012 Admixtures for concrete, mortar and grout . Concrete admixtures. Definitions, requirements, conformity, marking and labelling/BS EN 480-8:2012 Admixtures for concrete, mortar and grout. Test methods. Determination of the conventional dry material content/BS EN 480-10:2009 Admixtures for concrete, mortar and grout. Test methods. Determination of water soluble chloride content/BS EN 480-6:2005 Admixtures for concrete, mortar and grout. Test methods. Infrared analysis/BS EN 480-5:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of capillary absorption/BS EN 480-2:2006 Admixtures for concrete, mortar and grout. Test methods. Determination of setting time/ BS EN 206:2013 Concrete. Specification, performance, production and conformity/ BS 8500-1:2015 Concrete. Complementary British Standard to BS EN 206. Method of specifying and guidance for the specifier/ BS 8500-2:2015 Concrete. Complementary British Standard to BS EN 206. Specification for constituent materials and concrete PD 6697:2010 Recommendations for the design of masonry structures to BS EN 1996-1-1 and BS EN 1996-2/ BS EN 1996-3:2006 Eurocode 6. Design of masonry structures. Simplified calculation methods for unreinforced masonry structures/ BS EN 1996-2:2006 Eurocode 6. Design of masonry structures. Design considerations, selection of materials and execution of masonry/ BS EN 1996-1-2:2005 Eurocode 6. Design of masonry structures. General rules. Structural fire design BS EN 998-2:2010 Specification for mortar for masonry. Masonry mortar/ BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar BS EN 13791:2007 Assessment of in-situ compressive strength in structures and pre-cast concrete components/ BS 6089:2010 Assessment of in-situ compressive strength in structures and precast concrete components. Complementary guidance to that given in BS EN 13791/ BS 8221-1:2012 Code of practice for cleaning and surface repair of buildings. Cleaning of natural stone, brick, terracotta and concrete BS 6319-3:1990 Testing of resin and polymer/cement compositions for use in construction. Methods for measurement of modulus of elasticity in flexure and flexural strength BS 6319-12:1992 Testing of resin and polymer/cement compositions for use in construction. Methods for measurement of unrestrained linear shrinkage and coefficient of thermal expansion BS 6949:1991- Specification for bitumen-based coatings for cold application excluding use in contact with potable water BS ISO 15686-1:2011 Buildings and constructed assets. Service life planning. General principles and framework/BS ISO 15686-3:2002 Buildings and constructed assets. Service life planning. Performance audits and reviews/BS ISO 15686-2:2012 Buildings and constructed assets. Service life planning. Service life prediction procedures/BS 7543:2015 Guide to durability of buildings and building elements, products and components/; BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles; BS 7543:2015 Guide to durability of buildings and building elements, products and components/BS ISO 15686-1:2011 Buildings and constructed assets. Service life planning. General principles and frameworkBS ISO 15686-3:2002 Buildings and constructed assets. Service life planning. Performance audits and reviewsBS ISO 15686-2:2012 Buildings and constructed assets. Service life planning. Service life prediction procedures BS EN 1992-1-1:2004+A1:2014 Eurocode 2: Design of concrete structures. General rules and rules for buildings PD 6678:2005 Guide to the specification of masonry mortar BS EN 480-1:2014 Admixtures for concrete, mortar and grout. Test methods. Reference concrete and reference mortar for testing BS EN 480-2:2006 Admixtures for concrete, mortar and grout. Test methods. Determination of setting time BS EN 480-4:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of bleeding of concrete BS EN 480-5:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of capillary absorption BS EN 480-6:2005 Admixtures for concrete, mortar and grout. Test methods. Infrared analysis BS EN 480-8:2012 Admixtures for concrete, mortar and grout. Test methods. Determination of the conventional dry material content BS EN 480-10:2009 Admixtures for concrete, mortar and grout. Test methods. Determination of water soluble chloride content BS EN 480-11:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of air void characteristics in hardened concrete BS EN 480-12:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of the alkali content of admixtures BS EN 934-2:2009+A1:2012 Admixtures for concrete, mortar and grout. Concrete admixtures. Definitions, requirements, conformity, marking and labelling BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity BS EN 934-3:2009+A1:2012 Admixtures for concrete, mortar and grout. Admixtures for masonry mortar. Definitions, requirements, conformity and marking and labelling BS EN 934-2:2009+A1:2012 Admixtures for concrete, mortar and grout. Concrete admixtures. Definitions, requirements, conformity, marking and labelling BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity Reinforcement BS 4449:2005+A2:2009 Steel for the reinforcement of concrete. Weldable reinforcing steel. Bar, coil and decoiled product. Specification BS 4482:2005 Steel wire for the reinforcement of concrete products. Specification BS 4483:2005 Steel fabric for the reinforcement of concrete. Specification BS 6744:2001+A2:2009 Stainless steel bars for the reinforcement of and use in concrete. Requirements and test methods |
| --- | --- |
| ASTM | Concrete ASTM C150 / C150M - 15 Standard Specification for Portland CementASTM C150 / C150M - 15 Standard Specification for Portland Cement ASTM C33 / C33M - 13 Standard Specification for Concrete Aggregates ASTM C94 / C94M - 15b Standard Specification for Ready-Mixed Concrete ASTM C597 - 09 Standard Test Method for Pulse Velocity Through Concrete ASTM C136 / C136M - 14 Standard Test Method for Sieve Analysis of Fine and Coarse Aggregates ASTM C642 - 13 Standard Test Method for Density, Absorption, and Voids in Hardened Concrete ASTM C805 / C805M - 13a Standard Test Method for Rebound Number of Hardened Concrete ASTM C1077 - 15a Standard Practice for Agencies Testing Concrete and Concrete Aggregates for Use in Construction and Criteria for Testing Agency Evaluation ASTM C387 / C387M - 15 Standard Specification for Packaged, Dry, Combined Materials for Concrete and High Strength Mortar Reinforcement ASTM A1022 / A1022M - 15a Standard Specification for Deformed and Plain Stainless Steel Wire and Welded Wire for Concrete Reinforcement ASTM A1064 / A1064M - 16 Standard Specification for Carbon-Steel Wire and Welded Wire Reinforcement, Plain and Deformed, for Concrete ASTM A933/A933M-14 Standard Specification for Vinyl-Coated Steel Wire and Welded Wire Reinforcement |
| AS | Concrete AS 1012.2:2014 Methods of testing concrete - Preparing concrete mixes in the laboratory AS 1012.3.1:2014 Methods of testing concrete - Determination of properties related to the consistency of concrete - Slump test AS 1012.3.2-1998 (R2014) Methods of testing concrete - Determination of properties related to the consistency of concrete - Compacting factor test AS 1012.1:2014 Methods of testing concrete - Sampling of concrete AS 1012.11-2000 (R2014) Methods of testing concrete - Determination of the modulus of rupture AS 1012.8.4:2015 Methods of testing concrete - Method for making and curing concrete - Drying shrinkage specimens prepared in the field or in the laboratory/ AS 1012.13:2015 Methods of testing concrete - Determination of the drying shrinkage of concrete for samples prepared in the field or in the laboratory AS 1012.21-1999 (R2014) Methods of testing concrete - Determination of water absorption and apparent volume of permeable voids in hardened concreteAS 1012.21-1999 (R2014) Methods of testing concrete - Determination of water absorption and apparent volume of permeable voids in hardened concrete. AS 1478.1-2000 Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 2758.1:2014 Aggregates and rock for engineering purposes - Concrete aggregates AS 3600-2009 Concrete structures CIA Z9-1999 CIA Curing of ConcreteCIA Z9-1999 CIA Curing of Concrete HB 84-2006 Guide to Concrete Repair and ProtectionHB 84-2006 Guide to Concrete Repair and Protection Reinforcement AS/NZS 4671:2001 Steel reinforcing materials |
| SS | Concrete SS EN 197 - 1 : 2014 Cement - Part 1 : Composition, specifications and conformity criteria for common cement/ SS EN 197 - 2 : 2014 Cement - Part 2 : Conformity evaluation SS EN 12620: 2008 Specification for aggregates for concrete CP 65 - 1 : 1999 Code of practice for structural use of concrete - Design and construction/ CP 65 - 2 : 1996 Code of practice for structural use of concrete - Special circumstances SS 509 - 1 : 2015 Code of practice for cleaning and surface repair of buildings – Part 1 : Cleaning of natural stone, brick, terracotta, concrete and rendered finishes/ SS 509 - 2 : 2005 (2015) Code of practice for cleaning and surface repair of buildings - Surface repair of natural stones, brick, terracotta and rendered finishes SS EN 12620 : 2008 Specification for aggregates for concrete SS 78 - A21 : 1987 (2013) Testing concrete - Method for determination of static modules of elasticity in compression/ SS 78 - A24 : 1991 (2013) Testing concrete - Methods of analysis of hardened concrete/ SS 78 - B1 : 1992 (2013) Testing concrete - Guide to the use of non-destructive methods of test for hardened concrete/ SS 78 - B4 : 1992 (2013) Testing concrete - Recommendations for the use of electromagnetic covermeters/ SS 78 - B6 : 1992 (2013) Testing concrete - Recommendations for determination of strain in concrete/ SS 78 - B7 : 1992 (2013) Testing concrete - Recommendations for assessment of concrete strength by the near-to-surface tests/ SS 78 - B9 : 1992 (2013) Testing concrete - Recommendations for the measurement of dynamic modulus of elasticity Reinforcement SS 560 : 2010 Specification for steel for the reinforcement of concrete – Weldable reinforcing steel – Bar, coil and decoiled product SS 561 : 2010 Specification for steel fabric for the reinforcement of concrete SS 2 - 3 : 1987 Steel for the reinforcement of concrete - Plain and ribbed bars (steel grades 250 and 460) SS 18: Part 1 Cold-reduced steel wire for the reinforcement of concrete and the manufacture of welded fabric -steel grade 500 SS 18: Part 2 Cold-reduced steel wire for the reinforcement of concrete and the manufacture of welded fabric -steel grade 485 SS 32: Part 1 Welded steel fabric for the reinforcement of concrete-steel grades 300 and 500 SS 32: Part 2 Welded steel fabric for the reinforcement of concrete-steel grade 485 |
| ISO | Concrete ISO 1920-1:2004 Testing of concrete -- Part 1: Sampling of fresh concrete/ ISO 1920-3:2004 Testing of concrete - Part 3: Making and curing test specimens ISO 1920-1:2004 Testing of concrete - Part 1: Sampling of fresh concrete ISO 3766:2003 Construction drawings -- Simplified representation of concrete reinforcement ISO 1920-4:2005 Testing of concrete -- Part 4: Strength of hardened concrete ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 4635:2011 Rubber, vulcanized -- Preformed joint seals for use between concrete paving sections of highways -- Specification ISO 6274:1982 Concrete -- Sieve analysis of aggregates ISO 1920-5:2004 Testing of concrete -- Part 5: Properties of hardened concrete other than strength ISO 6782:1982 Aggregates for concrete -- Determination of bulk density ISO 6783:1982 Coarse aggregates for concrete -- Determination of particle density and water absorption -- Hydrostatic balance method ISO 1920-10:2010 Testing of concrete -- Part 10: Determination of static modulus of elasticity in compression ISO 7033:1987 Fine and coarse aggregates for concrete -- Determination of the particle mass-per-volume and water absorption -- Pycnometer method ISO 7728:1985 Typical horizontal joints between an external wall of prefabricated ordinary concrete components and a concrete floor -- Properties. characteristics and classification criteria ISO 7729:1985 Typical vertical joints between two prefabricated ordinary concrete external wall components -- Properties, characteristics and classification criteria ISO 7844:1985 Grooved vertical joints with connecting bars and concrete infill between large reinforced concrete panels -- Laboratory mechanical tests -- Effect of tangential loading ISO 7845:1985 Horizontal joints between load-bearing walls and concrete floors -- Laboratory mechanical tests -- Effect of vertical loading and of moments transmitted by the floors Reinforcement ISO 6934-1:1991 Steel for the prestressing of concrete -- Part 1: General requirements ISO 6934-2:1991 Steel for the prestressing of concrete -- Part 2: Cold-drawn wire ISO 6934-3:1991 Steel for the prestressing of concrete -- Part 3: Quenched and tempered wire ISO 6934-4:1991 Steel for the prestressing of concrete -- Part 4: Strand ISO 6934-5:1991 Steel for the prestressing of concrete -- Part 5: Hot-rolled steel bars with or without subsequent processing ISO 6935-1:2007 Steel for the reinforcement of concrete -- Part 1: Plain bars ISO 6935-2:2015 Steel for the reinforcement of concrete -- Part 2: Ribbed bars ISO 6935-3:1992 Steel for the reinforcement of concrete -- Part 3: Welded fabric ISO 10144:1991 Certification scheme for steel bars and wires for the reinforcement of concrete structures ISO 10544:1992 Cold-reduced steel wire for the reinforcement of concrete and the manufacture of welded fabric ISO 11082:1992 Certification scheme for welded fabric for the reinforcement of concrete structures ISO 14654:1999 Epoxy-coated steel for the reinforcement of concrete ISO 14655:1999 Epoxy-coated strand for the prestressing of concrete ISO 14656:1999 Epoxy powder and sealing material for the coating of steel for the reinforcement of concrete ISO 15630-1:2010 Steel for the reinforcement and prestressing of concrete -- Test methods -- Part 1: Reinforcing bars, wire rod and wire ISO 15630-2:2010 Steel for the reinforcement and prestressing of concrete -- Test methods -- Part 2: Welded fabric ISO 15630-3:2010 Steel for the reinforcement and prestressing of concrete -- Test methods -- Part 3: Prestressing steel |

# Brick Wall

## Cracking of brick wall (Differential thermal expansion and contraction)

| BS | Masonry BS EN 459-1:2015 Building lime. Definitions, specifications and conformity criteriaBS EN 459-1:2015 Building lime. Definitions, specifications and conformity criteria BS EN 772-3:1998 Methods of test for masonry units. Determination of net volume and percentage of voids of clay masonry units by hydrostatic weighing/ BS EN 772-7:1998 Methods of test for masonry units. Determination of water absorption of clay masonry damp proof course units by boiling in water/ BS EN 771-1:2011 Specification for masonry units. Clay masonry units PD 6697:2010 Recommendations for the design of masonry structures to BS EN 1996-1-1 and BS EN 1996-2/ BS EN 1996-3:2006 Eurocode 6. Design of masonry structures. Simplified calculation methods for unreinforced masonry structures/ BS EN 1996-2:2006 Eurocode 6. Design of masonry structures. Design considerations, selection of materials and execution of masonry/ BS EN 1996-1-1:2005+A1:2012 Eurocode 6. Design of masonry structures. General rules for reinforced and unreinforced masonry structures PD 6697:2010 Recommendations for the design of masonry structures to BS EN 1996-1-1 and BS EN 1996-2/ BS EN 1996-3:2006 Eurocode 6. Design of masonry structures. Simplified calculation methods for unreinforced masonry structures/ BS EN 1996-2:2006 Eurocode 6. Design of masonry structures. Design considerations, selection of materials and execution of masonry/ BS EN 1996-1-2:2005 Eurocode 6. Design of masonry structures. General rules. Structural fire design BS 6100-6:2008 Building and civil engineering. Vocabulary. Construction parts BS EN 772-1:2011+A1:2015 Methods of test for masonry units. Determination of compressive strength BS EN 772-2:1998 Methods of test for masonry units. Determination of percentage area of voids in masonry units (by paper indentation) BS EN 772-5:2016 Methods of test for masonry units. Determination of the active soluble salts content of clay masonry units BS EN 772-7:1998 Methods of test for masonry units. Determination of water absorption of clay masonry damp proof course units by boiling in water BS EN 772-19:2000 Methods of test for masonry units. Determination of moisture expansion of large horizontally perforated clay masonry units BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS 8221-1:2012 Code of practice for cleaning and surface repair of buildings. Cleaning of natural stone, brick, terracotta and concrete BS 8221-2:2000 Code of practice for cleaning and surface repair of buildings. Surface repair of natural stones, brick and terracotta Mortar BS EN 413-2:2005 Masonry cement. Test methods BS EN 772-1:2011+A1:2015 Methods of test for masonry units. Determination of compressive strength BS EN 772-5:2016 Methods of test for masonry units. Determination of the active soluble salts content of clay masonry units BS EN 772-16:2011 Methods of test for masonry units. Determination of dimensions BS EN 998-2:2010 Specification for mortar for masonry. Masonry mortar BS EN 1015-1:1999 Methods of test for mortar for masonry. Determination of particle size distribution (by sieve analysis) BS EN 1015-2:1999 Methods of test for mortar for masonry. Bulk sampling of mortars and preparation of test mortars BS EN 1015-3:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by flow table) BS EN 1015-4:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by plunger penetration) BS EN 1015-6:1999 Methods of test for mortar for masonry. Determination of bulk density of fresh mortar BS EN 1015-7:1999 Methods of test for mortar for masonry. Determination of air content of fresh mortar BS EN 1015-9:1999 Methods of test for mortar for masonry. Determination of workable life and correction time of fresh mortar BS EN 1015-10:1999 Methods of test for mortar for masonry. Determination of dry bulk density of hardened mortar BS EN 1015-11:1999 Methods of test for mortar for masonry. Determination of flexural and compressive strength of hardened mortar BS EN 1015-12:2000 Methods of test for mortar for masonry. Determination of adhesive strength of hardened rendering and plastering mortars on substrates BS EN 1015-17:2000 Methods of test for mortar for masonry. Determination of water-soluble chloride content of fresh mortars BS EN 1052-1:1999 Methods of test for masonry. Determination of compressive strength BS EN 1052-2:2016 Methods of test for masonry. Determination of flexural strength BS EN 13139:2002 Aggregates for mortar BS EN 13139:2002 Aggregates for mortar BS EN 845-1:2013 Specification for ancillary components for masonry. Wall ties, tension straps, hangers and brackets BS EN 13055-1:2002 Lightweight aggregates. Lightweight aggregates for concrete, mortar and grout BS EN 998-2:2010 Specification for mortar for masonry . Masonry mortar/ BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar BS EN 413-1:2011 Masonry cement. Composition, specifications and conformity criteria Sealants BS EN ISO 11600:2003+A1:2011 Building construction. Jointing products. Classification and requirements for sealants BS 4255-1:1986 Rubber used in preformed gaskets for weather exclusion from buildings. Specification for non-cellular gaskets BS 6213:2000+A1:2010 Selection of construction sealants. Guide Waterproofing for masonry BS 8215:1991 Code of practice for design and installation of damp-proof courses in masonry construction BS EN 772-7:1998 Methods of test for masonry units. Determination of water absorption of clay masonry damp proof course units by boiling in water BS EN 1052-4:2000 Methods of test for masonry. Determination of shear strength including damp proof course |
| --- | --- |
| ASTM | Masonry ASTM C216 - 15 Standard Specification for Facing Brick (Solid Masonry Units Made from Clay or Shale) ASTM C62 - 13a Standard Specification for Building Brick (Solid Masonry Units Made From Clay or Shale) ASTM C652 - 15 Standard Specification for Hollow Brick (Hollow Masonry Units Made From Clay or Shale) ASTM C212 - 14 Standard Specification for Structural Clay Facing Tile ASTM C34 - 13 Standard Specification for Structural Clay Load-Bearing Wall Tile. ASTM C67 - 14 Standard Test Methods for Sampling and Testing Brick and Structural Clay Tile. ASTM C91 / C91M - 12 Standard Specification for Masonry Cement ASTM C207 - 06(2011) Standard Specification for Hydrated Lime for Masonry Purposes ASTM E518 / E518M - 15 Standard Test Methods for Flexural Bond Strength of Masonry ASTM C1072 - 13e1 Standard Test Methods for Measurement of Masonry Flexural Bond Strength ASTM C67 - 14 Standard Test Methods for Sampling and Testing Brick and Structural Clay Tile ASTM C73 - 14 Standard Specification for Calcium Silicate Brick (Sand-Lime Brick) ASTM C126 - 15 Standard Specification for Ceramic Glazed Structural Clay Facing Tile, Facing Brick, and Solid Masonry Units Mortar ASTM C144 - 11 Standard Specification for Aggregate for Masonry Mortar ASTM C270 - 14a Standard Specification for Mortar for Unit Masonry ASTM C476 - 10 Standard Specification for Grout for Masonry. ASTM C1019 - 16 Standard Test Method for Sampling and Testing Grout ASTM C150 / C150M - 15 Standard Specification for Portland Cement ASTM C595 / C595M - 15e1 Standard Specification for Blended Hydraulic Cements ASTM C109 / C109M - 16 Standard Test Method for Compressive Strength of Hydraulic Cement Mortars (Using 2-in. or [50-mm] Cube Specimens) ASTM C780 - 15a Standard Test Method for Preconstruction and Construction Evaluation of Mortars for Plain and Reinforced Unit Masonry. ASTM C979 / C979M - 16 Standard Specification for Pigments for Integrally Colored Concrete ASTM C780 - 15a Standard Test Method for Preconstruction and Construction Evaluation of Mortars for Plain and Reinforced Unit Masonry ASTM C896 - 15 Standard Terminology Relating to Clay Products ASTM C1006 - 07(2013) Standard Test Method for Splitting Tensile Strength of Masonry Units ASTM C1019 - 16 Standard Test Method for Sampling and Testing Grout ASTM C1088 - 14 Standard Specification for Thin Veneer Brick Units Made From Clay or Shale ASTM C1093 - 15a Standard Practice for Accreditation of Testing Agencies for Masonry ASTM C1106 - 00(2012) Standard Test Methods for Chemical Resistance and Physical Properties of Carbon Brick ASTM C1148 - 92a(2014) Standard Test Method for Measuring the Drying Shrinkage of Masonry Mortar ASTM C1180 - 10 Standard Terminology of Mortar and Grout for Unit Masonry ASTM C1218 / C1218M - 15 Standard Test Method for Water-Soluble Chloride in Mortar and Concrete ASTM C1324 - 15 Standard Test Method for Examination and Analysis of Hardened Masonry Mortar ASTM C1384 - 12a Standard Specification for Admixtures for Masonry Mortars ASTM C1400 - 11 Standard Guide for Reduction of Efflorescence Potential in New Masonry Walls ASTM C1403 - 15 Standard Test Method for Rate of Water Absorption of Masonry Mortars Sealants ASTM C509 - 06(2015) Standard Specification for Elastomeric Cellular Preformed Gasket and Sealing Material ASTM C717 - 14a Standard Terminology of Building Seals and Sealants Waterproofing for masonry ASTM D5095 - 91(2013) Standard Test Method for Determination of the Nonvolatile Content in Silanes, Siloxanes and Silane-Siloxane Blends Used in Masonry Water Repellent Treatments ASTM D6532 - 00(2014) Standard Test Method for Evaluation of the Effect of Clear Water Repellent Treatments on Water Absorption of Hydraulic Cement Mortar Specimens ASTM C898 / C898M - 09 Standard Guide for Use of High Solids Content, Cold Liquid-Applied Elastomeric Waterproofing Membrane With Separate Wearing Course |
| AS | Masonry AS 1617.1-2003 (R2013) Refractory bricks and shapes - Fireclay AS 1618-2003 (R2013) Dimensions and preferred sizes for refractory bricks AS/NZS 2699.1:2000 Built-in components for masonry construction - Wall ties AS/NZS 2699.2:2000 Built-in components for masonry construction, - Connectors and accessories AS 4773.2-2010 Masonry in small buildings - Construction/ AS 4773.1-2010 Masonry in small buildings - Design/ AS 3700-2011 Masonry structures AS 4517.1-2006 Blanks for superabrasive cutting-off wheels - Manually guided cutting-off in building and civil engineering/ AS 4517.2-2006 Blanks for superabrasive cutting-off wheels - Hand-held cutting-off in building and civil engineering AS/NZS 4524.10:1998 Bonded abrasive products - Dimensions - Honing stones and superfinishings AS/NZS 4284:2008 Testing of building facades Mortar AS 1478.1-2000 Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 2350.12-2006 Methods of testing portland, blended and masonry cements - Preparation of a standard mortar and moulding of specimens AS 1316-2003 Masonry cement AS/NZS 2350.11:2006 Methods of testing portland, blended and masonry cements - Compressive strength AS/NZS 2350.16:2006 Methods of testing portland, blended and masonry cements - Determination of air content of masonry cementAS/NZS 2350.16:2006 AS/NZS 2350.16:2006 Methods of testing portland, blended and masonry cements - Determination of air content of masonry cement AS/NZS 2350.17:2001 Methods of testing portland, blended and masonry cements - Determination of soundness of masonry cements AS/NZS 2350.18:2006 Methods of testing portland, blended and masonry cements - Determination of water retention of masonry cement AS 2701-2001 Methods of sampling and testing mortar for masonry construction Waterproofing for masonry AS 4654.1-2012 Waterproofing membranes for external above-ground use - Materials AS 4654.2-2012 Waterproofing membranes for external above-ground use - Design and installation |
| SS | Masonry SS EN 197 - 1 : 2014 Cement - Part 1 : Composition, specifications and conformity criteria for common cement/ SS EN 197 - 2 : 2014 Cement - Part 2 : Conformity evaluation SS EN 12620 : 2008 Specification for aggregates for concrete SS 509 - 1 : 2015 Code of practice for cleaning and surface repair of buildings – Part 1 : Cleaning of natural stone, brick, terracotta, concrete and rendered finishes/ SS 509 - 2 : 2005 (2015) Code of practice for cleaning and surface repair of buildings - Surface repair of natural stones, brick, terracotta and rendered finishes Mortar SS EN 934 - 1 : 2008 (2015) Admixtures for concrete, mortar and grout - Common requirements/ SS EN 934 - 2 : 2015 Admixtures for concrete, mortar and grout - Part 2 : Definitions, requirements – Concrete admixtures – Definitions, requirements, conformity, marking and labelling/ SS EN 934 - 6 : 2008 (2015) Admixtures for concrete, mortar and grout - Sampling, conformity control and evaluation of conformity |
| ISO | Masonry ISO 9652-4:2000 Masonry - Part 4: Test methods ISO 9652-5:2000 Masonry - Part 5: Vocabulary ISO 12678-1:1996 Refractory products - Measurement of dimensions and external defects of refractory bricks - Part 1: Dimensions and conformity to drawings ISO 12678-2:1996 Refractory products - Measurement of dimensions and external defects of refractory bricks - Part 2: Corner and edge defects and other surface imperfections Sealant ISO 10563:2005 Building construction - Sealants - Determination of change in mass and volume ISO 10590:2005 Building construction - Sealants - Determination of tensile properties of sealants at maintained extension after immersion in water ISO 10591:2005 Building construction -- Sealants -- Determination of adhesion/cohesion properties of sealants after immersion in water ISO 11431:2002 Building construction -- Jointing products -- Determination of adhesion/cohesion properties of sealants after exposure to heat, water and artificial light through glass ISO 11432:2005 Building construction -- Sealants -- Determination of resistance to compression ISO 11600:2002 Building construction -- Jointing products -- Classification and requirements for sealants ISO 13638:1996 Building construction - Sealants - Determination of resistance to prolonged exposure to water ISO 8340:2005 Building construction -- Sealants -- Determination of tensile properties at maintained extension ISO 8394-1:2010 Building construction -- Jointing products -- Part 1: Determination of extrudability of sealants ISO 9047:2001 Building construction - Jointing products - Determination of adhesion/cohesion properties of sealants at variable temperatures Waterproofing for masonry ISO 7783:2011 Paints and varnishes -- Determination of water-vapour transmission properties -- Cup method |

## Staining ("Moustache" staining)

| BS | Masonry BS EN 459-1:2015 Building lime. Definitions, specifications and conformity criteriaBS EN 459-1:2015 Building lime. Definitions, specifications and conformity criteria BS EN 772-3:1998 Methods of test for masonry units. Determination of net volume and percentage of voids of clay masonry units by hydrostatic weighing/ BS EN 772-7:1998 Methods of test for masonry units. Determination of water absorption of clay masonry damp proof course units by boiling in water/ BS EN 771-1:2011 Specification for masonry units. Clay masonry units PD 6697:2010 Recommendations for the design of masonry structures to BS EN 1996-1-1 and BS EN 1996-2/ BS EN 1996-3:2006 Eurocode 6. Design of masonry structures. Simplified calculation methods for unreinforced masonry structures/ BS EN 1996-2:2006 Eurocode 6. Design of masonry structures. Design considerations, selection of materials and execution of masonry/ BS EN 1996-1-1:2005+A1:2012 Eurocode 6. Design of masonry structures. General rules for reinforced and unreinforced masonry structures PD 6697:2010 Recommendations for the design of masonry structures to BS EN 1996-1-1 and BS EN 1996-2/ BS EN 1996-3:2006 Eurocode 6. Design of masonry structures. Simplified calculation methods for unreinforced masonry structures/ BS EN 1996-2:2006 Eurocode 6. Design of masonry structures. Design considerations, selection of materials and execution of masonry/ BS EN 1996-1-2:2005 Eurocode 6. Design of masonry structures. General rules. Structural fire design BS 6100-6:2008 Building and civil engineering. Vocabulary. Construction parts BS EN 772-1:2011+A1:2015 Methods of test for masonry units. Determination of compressive strength BS EN 772-2:1998 Methods of test for masonry units. Determination of percentage area of voids in masonry units (by paper indentation) BS EN 772-5:2016 Methods of test for masonry units. Determination of the active soluble salts content of clay masonry units BS EN 772-7:1998 Methods of test for masonry units. Determination of water absorption of clay masonry damp proof course units by boiling in water BS EN 772-19:2000 Methods of test for masonry units. Determination of moisture expansion of large horizontally perforated clay masonry units BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS 8221-1:2012 Code of practice for cleaning and surface repair of buildings. Cleaning of natural stone, brick, terracotta and concrete BS 8221-2:2000 Code of practice for cleaning and surface repair of buildings. Surface repair of natural stones, brick and terracotta Mortar BS EN 413-2:2005 Masonry cement. Test methods BS EN 772-1:2011+A1:2015 Methods of test for masonry units. Determination of compressive strength BS EN 772-5:2016 Methods of test for masonry units. Determination of the active soluble salts content of clay masonry units BS EN 772-16:2011 Methods of test for masonry units. Determination of dimensions BS EN 998-2:2010 Specification for mortar for masonry. Masonry mortar BS EN 1015-1:1999 Methods of test for mortar for masonry. Determination of particle size distribution (by sieve analysis) BS EN 1015-2:1999 Methods of test for mortar for masonry. Bulk sampling of mortars and preparation of test mortars BS EN 1015-3:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by flow table) BS EN 1015-4:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by plunger penetration) BS EN 1015-6:1999 Methods of test for mortar for masonry. Determination of bulk density of fresh mortar BS EN 1015-7:1999 Methods of test for mortar for masonry. Determination of air content of fresh mortar BS EN 1015-9:1999 Methods of test for mortar for masonry. Determination of workable life and correction time of fresh mortar BS EN 1015-10:1999 Methods of test for mortar for masonry. Determination of dry bulk density of hardened mortar BS EN 1015-11:1999 Methods of test for mortar for masonry. Determination of flexural and compressive strength of hardened mortar BS EN 1015-12:2000 Methods of test for mortar for masonry. Determination of adhesive strength of hardened rendering and plastering mortars on substrates BS EN 1015-17:2000 Methods of test for mortar for masonry. Determination of water-soluble chloride content of fresh mortars BS EN 1052-1:1999 Methods of test for masonry. Determination of compressive strength BS EN 1052-2:2016 Methods of test for masonry. Determination of flexural strength BS EN 13139:2002 Aggregates for mortar BS EN 13139:2002 Aggregates for mortar BS EN 845-1:2013 Specification for ancillary components for masonry. Wall ties, tension straps, hangers and brackets BS EN 13055-1:2002 Lightweight aggregates. Lightweight aggregates for concrete, mortar and grout BS EN 998-2:2010 Specification for mortar for masonry . Masonry mortar/ BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar BS EN 413-1:2011 Masonry cement. Composition, specifications and conformity criteria Sealants BS EN ISO 11600:2003+A1:2011 Building construction. Jointing products. Classification and requirements for sealants BS 4255-1:1986 Rubber used in preformed gaskets for weather exclusion from buildings. Specification for non-cellular gaskets BS 6213:2000+A1:2010 Selection of construction sealants. Guide Waterproofing for masonry BS 8215:1991 Code of practice for design and installation of damp-proof courses in masonry construction BS EN 772-7:1998 Methods of test for masonry units. Determination of water absorption of clay masonry damp proof course units by boiling in water BS EN 1052-4:2000 Methods of test for masonry. Determination of shear strength including damp proof course |
| --- | --- |
| ASTM | Masonry ASTM C216 - 15 Standard Specification for Facing Brick (Solid Masonry Units Made from Clay or Shale) ASTM C62 - 13a Standard Specification for Building Brick (Solid Masonry Units Made From Clay or Shale) ASTM C652 - 15 Standard Specification for Hollow Brick (Hollow Masonry Units Made From Clay or Shale) ASTM C212 - 14 Standard Specification for Structural Clay Facing Tile ASTM C34 - 13 Standard Specification for Structural Clay Load-Bearing Wall Tile. ASTM C67 - 14 Standard Test Methods for Sampling and Testing Brick and Structural Clay Tile. ASTM C91 / C91M - 12 Standard Specification for Masonry Cement ASTM C207 - 06(2011) Standard Specification for Hydrated Lime for Masonry Purposes ASTM E518 / E518M - 15 Standard Test Methods for Flexural Bond Strength of Masonry ASTM C1072 - 13e1 Standard Test Methods for Measurement of Masonry Flexural Bond Strength ASTM C67 - 14 Standard Test Methods for Sampling and Testing Brick and Structural Clay Tile ASTM C73 - 14 Standard Specification for Calcium Silicate Brick (Sand-Lime Brick) ASTM C126 - 15 Standard Specification for Ceramic Glazed Structural Clay Facing Tile, Facing Brick, and Solid Masonry Units Mortar ASTM C144 - 11 Standard Specification for Aggregate for Masonry Mortar ASTM C270 - 14a Standard Specification for Mortar for Unit Masonry ASTM C476 - 10 Standard Specification for Grout for Masonry. ASTM C1019 - 16 Standard Test Method for Sampling and Testing Grout ASTM C150 / C150M - 15 Standard Specification for Portland Cement ASTM C595 / C595M - 15e1 Standard Specification for Blended Hydraulic Cements ASTM C109 / C109M - 16 Standard Test Method for Compressive Strength of Hydraulic Cement Mortars (Using 2-in. or [50-mm] Cube Specimens) ASTM C780 - 15a Standard Test Method for Preconstruction and Construction Evaluation of Mortars for Plain and Reinforced Unit Masonry. ASTM C979 / C979M - 16 Standard Specification for Pigments for Integrally Colored Concrete ASTM C780 - 15a Standard Test Method for Preconstruction and Construction Evaluation of Mortars for Plain and Reinforced Unit Masonry ASTM C896 - 15 Standard Terminology Relating to Clay Products ASTM C1006 - 07(2013) Standard Test Method for Splitting Tensile Strength of Masonry Units ASTM C1019 - 16 Standard Test Method for Sampling and Testing Grout ASTM C1088 - 14 Standard Specification for Thin Veneer Brick Units Made From Clay or Shale ASTM C1093 - 15a Standard Practice for Accreditation of Testing Agencies for Masonry ASTM C1106 - 00(2012) Standard Test Methods for Chemical Resistance and Physical Properties of Carbon Brick ASTM C1148 - 92a(2014) Standard Test Method for Measuring the Drying Shrinkage of Masonry Mortar ASTM C1180 - 10 Standard Terminology of Mortar and Grout for Unit Masonry ASTM C1218 / C1218M - 15 Standard Test Method for Water-Soluble Chloride in Mortar and Concrete ASTM C1324 - 15 Standard Test Method for Examination and Analysis of Hardened Masonry Mortar ASTM C1384 - 12a Standard Specification for Admixtures for Masonry Mortars ASTM C1400 - 11 Standard Guide for Reduction of Efflorescence Potential in New Masonry Walls ASTM C1403 - 15 Standard Test Method for Rate of Water Absorption of Masonry Mortars Sealants ASTM C509 - 06(2015) Standard Specification for Elastomeric Cellular Preformed Gasket and Sealing Material ASTM C717 - 14a Standard Terminology of Building Seals and Sealants Waterproofing for masonry ASTM D5095 - 91(2013) Standard Test Method for Determination of the Nonvolatile Content in Silanes, Siloxanes and Silane-Siloxane Blends Used in Masonry Water Repellent Treatments ASTM D6532 - 00(2014) Standard Test Method for Evaluation of the Effect of Clear Water Repellent Treatments on Water Absorption of Hydraulic Cement Mortar Specimens ASTM C898 / C898M - 09 Standard Guide for Use of High Solids Content, Cold Liquid-Applied Elastomeric Waterproofing Membrane With Separate Wearing Course |
| AS | Masonry AS 1617.1-2003 (R2013) Refractory bricks and shapes - Fireclay AS 1618-2003 (R2013) Dimensions and preferred sizes for refractory bricks AS/NZS 2699.1:2000 Built-in components for masonry construction - Wall ties AS/NZS 2699.2:2000 Built-in components for masonry construction, - Connectors and accessories AS 4773.2-2010 Masonry in small buildings - Construction/ AS 4773.1-2010 Masonry in small buildings - Design/ AS 3700-2011 Masonry structures AS 4517.1-2006 Blanks for superabrasive cutting-off wheels - Manually guided cutting-off in building and civil engineering/ AS 4517.2-2006 Blanks for superabrasive cutting-off wheels - Hand-held cutting-off in building and civil engineering AS/NZS 4524.10:1998 Bonded abrasive products - Dimensions - Honing stones and superfinishings AS/NZS 4284:2008 Testing of building facades Mortar AS 1478.1-2000 Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 2350.12-2006 Methods of testing portland, blended and masonry cements - Preparation of a standard mortar and moulding of specimens AS 1316-2003 Masonry cement AS/NZS 2350.11:2006 Methods of testing portland, blended and masonry cements - Compressive strength AS/NZS 2350.16:2006 Methods of testing portland, blended and masonry cements - Determination of air content of masonry cement AS/NZS 2350.17:2001 Methods of testing portland, blended and masonry cements - Determination of soundness of masonry cements AS/NZS 2350.18:2006 Methods of testing portland, blended and masonry cements - Determination of water retention of masonry cement AS 2701-2001 Methods of sampling and testing mortar for masonry construction Waterproofing for masonry AS 4654.1-2012 Waterproofing membranes for external above-ground use - Materials AS 4654.2-2012 Waterproofing membranes for external above-ground use - Design and installation |
| SS | Masonry SS EN 197 - 1 : 2014 Cement - Part 1 : Composition, specifications and conformity criteria for common cement/ SS EN 197 - 2 : 2014 Cement - Part 2 : Conformity evaluation SS EN 12620 : 2008 Specification for aggregates for concrete SS 509 - 1 : 2015 Code of practice for cleaning and surface repair of buildings – Part 1 : Cleaning of natural stone, brick, terracotta, concrete and rendered finishes/ SS 509 - 2 : 2005 (2015) Code of practice for cleaning and surface repair of buildings - Surface repair of natural stones, brick, terracotta and rendered finishes Mortar SS EN 934 - 1 : 2008 (2015) Admixtures for concrete, mortar and grout - Common requirements/ SS EN 934 - 2 : 2015 Admixtures for concrete, mortar and grout - Part 2 : Definitions, requirements – Concrete admixtures – Definitions, requirements, conformity, marking and labelling/ SS EN 934 - 6 : 2008 (2015) Admixtures for concrete, mortar and grout - Sampling, conformity control and evaluation of conformity |
| ISO | Masonry ISO 9652-4:2000 Masonry - Part 4: Test methods ISO 9652-5:2000 Masonry - Part 5: Vocabulary ISO 12678-1:1996 Refractory products - Measurement of dimensions and external defects of refractory bricks - Part 1: Dimensions and conformity to drawings ISO 12678-2:1996 Refractory products - Measurement of dimensions and external defects of refractory bricks - Part 2: Corner and edge defects and other surface imperfections Sealant ISO 10563:2005 Building construction - Sealants - Determination of change in mass and volume ISO 10590:2005 Building construction - Sealants - Determination of tensile properties of sealants at maintained extension after immersion in water ISO 10591:2005 Building construction -- Sealants -- Determination of adhesion/cohesion properties of sealants after immersion in water ISO 11431:2002 Building construction -- Jointing products -- Determination of adhesion/cohesion properties of sealants after exposure to heat, water and artificial light through glass ISO 11432:2005 Building construction -- Sealants -- Determination of resistance to compression ISO 11600:2002 Building construction -- Jointing products -- Classification and requirements for sealants ISO 13638:1996 Building construction - Sealants - Determination of resistance to prolonged exposure to water ISO 8340:2005 Building construction -- Sealants -- Determination of tensile properties at maintained extension ISO 8394-1:2010 Building construction -- Jointing products -- Part 1: Determination of extrudability of sealants ISO 9047:2001 Building construction - Jointing products - Determination of adhesion/cohesion properties of sealants at variable temperatures Waterproofing for masonry ISO 7783:2011 Paints and varnishes -- Determination of water-vapour transmission properties -- Cup method |

## Staining (Incompatible materials)

| BS | Masonry BS EN 459-1:2015 Building lime. Definitions, specifications and conformity criteriaBS EN 459-1:2015 Building lime. Definitions, specifications and conformity criteria BS EN 772-3:1998 Methods of test for masonry units. Determination of net volume and percentage of voids of clay masonry units by hydrostatic weighing/ BS EN 772-7:1998 Methods of test for masonry units. Determination of water absorption of clay masonry damp proof course units by boiling in water/ BS EN 771-1:2011 Specification for masonry units. Clay masonry units PD 6697:2010 Recommendations for the design of masonry structures to BS EN 1996-1-1 and BS EN 1996-2/ BS EN 1996-3:2006 Eurocode 6. Design of masonry structures. Simplified calculation methods for unreinforced masonry structures/ BS EN 1996-2:2006 Eurocode 6. Design of masonry structures. Design considerations, selection of materials and execution of masonry/ BS EN 1996-1-1:2005+A1:2012 Eurocode 6. Design of masonry structures. General rules for reinforced and unreinforced masonry structures PD 6697:2010 Recommendations for the design of masonry structures to BS EN 1996-1-1 and BS EN 1996-2/ BS EN 1996-3:2006 Eurocode 6. Design of masonry structures. Simplified calculation methods for unreinforced masonry structures/ BS EN 1996-2:2006 Eurocode 6. Design of masonry structures. Design considerations, selection of materials and execution of masonry/ BS EN 1996-1-2:2005 Eurocode 6. Design of masonry structures. General rules. Structural fire design BS 6100-6:2008 Building and civil engineering. Vocabulary. Construction parts BS EN 772-1:2011+A1:2015 Methods of test for masonry units. Determination of compressive strength BS EN 772-2:1998 Methods of test for masonry units. Determination of percentage area of voids in masonry units (by paper indentation) BS EN 772-5:2016 Methods of test for masonry units. Determination of the active soluble salts content of clay masonry units BS EN 772-7:1998 Methods of test for masonry units. Determination of water absorption of clay masonry damp proof course units by boiling in water BS EN 772-19:2000 Methods of test for masonry units. Determination of moisture expansion of large horizontally perforated clay masonry units BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS 8221-1:2012 Code of practice for cleaning and surface repair of buildings. Cleaning of natural stone, brick, terracotta and concrete BS 8221-2:2000 Code of practice for cleaning and surface repair of buildings. Surface repair of natural stones, brick and terracotta Mortar BS EN 413-2:2005 Masonry cement. Test methods BS EN 772-1:2011+A1:2015 Methods of test for masonry units. Determination of compressive strength BS EN 772-5:2016 Methods of test for masonry units. Determination of the active soluble salts content of clay masonry units BS EN 772-16:2011 Methods of test for masonry units. Determination of dimensions BS EN 998-2:2010 Specification for mortar for masonry. Masonry mortar BS EN 1015-1:1999 Methods of test for mortar for masonry. Determination of particle size distribution (by sieve analysis) BS EN 1015-2:1999 Methods of test for mortar for masonry. Bulk sampling of mortars and preparation of test mortars BS EN 1015-3:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by flow table) BS EN 1015-4:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by plunger penetration) BS EN 1015-6:1999 Methods of test for mortar for masonry. Determination of bulk density of fresh mortar BS EN 1015-7:1999 Methods of test for mortar for masonry. Determination of air content of fresh mortar BS EN 1015-9:1999 Methods of test for mortar for masonry. Determination of workable life and correction time of fresh mortar BS EN 1015-10:1999 Methods of test for mortar for masonry. Determination of dry bulk density of hardened mortar BS EN 1015-11:1999 Methods of test for mortar for masonry. Determination of flexural and compressive strength of hardened mortar BS EN 1015-12:2000 Methods of test for mortar for masonry. Determination of adhesive strength of hardened rendering and plastering mortars on substrates BS EN 1015-17:2000 Methods of test for mortar for masonry. Determination of water-soluble chloride content of fresh mortars BS EN 1052-1:1999 Methods of test for masonry. Determination of compressive strength BS EN 1052-2:2016 Methods of test for masonry. Determination of flexural strength BS EN 13139:2002 Aggregates for mortar BS EN 13139:2002 Aggregates for mortar BS EN 845-1:2013 Specification for ancillary components for masonry. Wall ties, tension straps, hangers and brackets BS EN 13055-1:2002 Lightweight aggregates. Lightweight aggregates for concrete, mortar and grout BS EN 998-2:2010 Specification for mortar for masonry . Masonry mortar/ BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar BS EN 413-1:2011 Masonry cement. Composition, specifications and conformity criteria Sealants BS EN ISO 11600:2003+A1:2011 Building construction. Jointing products. Classification and requirements for sealants BS 4255-1:1986 Rubber used in preformed gaskets for weather exclusion from buildings. Specification for non-cellular gaskets BS 6213:2000+A1:2010 Selection of construction sealants. Guide Waterproofing for masonry BS 8215:1991 Code of practice for design and installation of damp-proof courses in masonry construction BS EN 772-7:1998 Methods of test for masonry units. Determination of water absorption of clay masonry damp proof course units by boiling in water BS EN 1052-4:2000 Methods of test for masonry. Determination of shear strength including damp proof course |
| --- | --- |
| ASTM | Masonry ASTM C216 - 15 Standard Specification for Facing Brick (Solid Masonry Units Made from Clay or Shale) ASTM C62 - 13a Standard Specification for Building Brick (Solid Masonry Units Made From Clay or Shale) ASTM C652 - 15 Standard Specification for Hollow Brick (Hollow Masonry Units Made From Clay or Shale) ASTM C212 - 14 Standard Specification for Structural Clay Facing Tile ASTM C34 - 13 Standard Specification for Structural Clay Load-Bearing Wall Tile. ASTM C67 - 14 Standard Test Methods for Sampling and Testing Brick and Structural Clay Tile. ASTM C91 / C91M - 12 Standard Specification for Masonry Cement ASTM C207 - 06(2011) Standard Specification for Hydrated Lime for Masonry Purposes ASTM E518 / E518M - 15 Standard Test Methods for Flexural Bond Strength of Masonry ASTM C1072 - 13e1 Standard Test Methods for Measurement of Masonry Flexural Bond Strength ASTM C67 - 14 Standard Test Methods for Sampling and Testing Brick and Structural Clay Tile ASTM C73 - 14 Standard Specification for Calcium Silicate Brick (Sand-Lime Brick) ASTM C126 - 15 Standard Specification for Ceramic Glazed Structural Clay Facing Tile, Facing Brick, and Solid Masonry Units Mortar ASTM C144 - 11 Standard Specification for Aggregate for Masonry Mortar ASTM C270 - 14a Standard Specification for Mortar for Unit Masonry ASTM C476 - 10 Standard Specification for Grout for Masonry. ASTM C1019 - 16 Standard Test Method for Sampling and Testing Grout ASTM C150 / C150M - 15 Standard Specification for Portland Cement ASTM C595 / C595M - 15e1 Standard Specification for Blended Hydraulic Cements ASTM C109 / C109M - 16 Standard Test Method for Compressive Strength of Hydraulic Cement Mortars (Using 2-in. or [50-mm] Cube Specimens) ASTM C780 - 15a Standard Test Method for Preconstruction and Construction Evaluation of Mortars for Plain and Reinforced Unit Masonry. ASTM C979 / C979M - 16 Standard Specification for Pigments for Integrally Colored Concrete ASTM C780 - 15a Standard Test Method for Preconstruction and Construction Evaluation of Mortars for Plain and Reinforced Unit Masonry ASTM C896 - 15 Standard Terminology Relating to Clay Products ASTM C1006 - 07(2013) Standard Test Method for Splitting Tensile Strength of Masonry Units ASTM C1019 - 16 Standard Test Method for Sampling and Testing Grout ASTM C1088 - 14 Standard Specification for Thin Veneer Brick Units Made From Clay or Shale ASTM C1093 - 15a Standard Practice for Accreditation of Testing Agencies for Masonry ASTM C1106 - 00(2012) Standard Test Methods for Chemical Resistance and Physical Properties of Carbon Brick ASTM C1148 - 92a(2014) Standard Test Method for Measuring the Drying Shrinkage of Masonry Mortar ASTM C1180 - 10 Standard Terminology of Mortar and Grout for Unit Masonry ASTM C1218 / C1218M - 15 Standard Test Method for Water-Soluble Chloride in Mortar and Concrete ASTM C1324 - 15 Standard Test Method for Examination and Analysis of Hardened Masonry Mortar ASTM C1384 - 12a Standard Specification for Admixtures for Masonry Mortars ASTM C1400 - 11 Standard Guide for Reduction of Efflorescence Potential in New Masonry Walls ASTM C1403 - 15 Standard Test Method for Rate of Water Absorption of Masonry Mortars Sealants ASTM C509 - 06(2015) Standard Specification for Elastomeric Cellular Preformed Gasket and Sealing Material ASTM C717 - 14a Standard Terminology of Building Seals and Sealants Waterproofing for masonry ASTM D5095 - 91(2013) Standard Test Method for Determination of the Nonvolatile Content in Silanes, Siloxanes and Silane-Siloxane Blends Used in Masonry Water Repellent Treatments ASTM D6532 - 00(2014) Standard Test Method for Evaluation of the Effect of Clear Water Repellent Treatments on Water Absorption of Hydraulic Cement Mortar Specimens ASTM C898 / C898M - 09 Standard Guide for Use of High Solids Content, Cold Liquid-Applied Elastomeric Waterproofing Membrane With Separate Wearing Course |
| AS | Masonry AS 1617.1-2003 (R2013) Refractory bricks and shapes - Fireclay AS 1618-2003 (R2013) Dimensions and preferred sizes for refractory bricks AS/NZS 2699.1:2000 Built-in components for masonry construction - Wall ties AS/NZS 2699.2:2000 Built-in components for masonry construction, - Connectors and accessories AS 4773.2-2010 Masonry in small buildings - Construction/ AS 4773.1-2010 Masonry in small buildings - Design/ AS 3700-2011 Masonry structures AS 4517.1-2006 Blanks for superabrasive cutting-off wheels - Manually guided cutting-off in building and civil engineering/ AS 4517.2-2006 Blanks for superabrasive cutting-off wheels - Hand-held cutting-off in building and civil engineering AS/NZS 4524.10:1998 Bonded abrasive products - Dimensions - Honing stones and superfinishings AS/NZS 4284:2008 Testing of building facades Mortar AS 1478.1-2000 Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 2350.12-2006 Methods of testing portland, blended and masonry cements - Preparation of a standard mortar and moulding of specimens AS 1316-2003 Masonry cement AS/NZS 2350.11:2006 Methods of testing portland, blended and masonry cements - Compressive strength AS/NZS 2350.16:2006 Methods of testing portland, blended and masonry cements - Determination of air content of masonry cement AS/NZS 2350.17:2001 Methods of testing portland, blended and masonry cements - Determination of soundness of masonry cements AS/NZS 2350.18:2006 Methods of testing portland, blended and masonry cements - Determination of water retention of masonry cement AS 2701-2001 Methods of sampling and testing mortar for masonry construction Waterproofing for masonry AS 4654.1-2012 Waterproofing membranes for external above-ground use - Materials AS 4654.2-2012 Waterproofing membranes for external above-ground use - Design and installation |
| SS | Masonry SS EN 197 - 1 : 2014 Cement - Part 1 : Composition, specifications and conformity criteria for common cement/ SS EN 197 - 2 : 2014 Cement - Part 2 : Conformity evaluation SS EN 12620 : 2008 Specification for aggregates for concrete SS 509 - 1 : 2015 Code of practice for cleaning and surface repair of buildings – Part 1 : Cleaning of natural stone, brick, terracotta, concrete and rendered finishes/ SS 509 - 2 : 2005 (2015) Code of practice for cleaning and surface repair of buildings - Surface repair of natural stones, brick, terracotta and rendered finishes Mortar SS EN 934 - 1 : 2008 (2015) Admixtures for concrete, mortar and grout - Common requirements/ SS EN 934 - 2 : 2015 Admixtures for concrete, mortar and grout - Part 2 : Definitions, requirements – Concrete admixtures – Definitions, requirements, conformity, marking and labelling/ SS EN 934 - 6 : 2008 (2015) Admixtures for concrete, mortar and grout - Sampling, conformity control and evaluation of conformity |
| ISO | Masonry ISO 9652-4:2000 Masonry - Part 4: Test methods ISO 9652-5:2000 Masonry - Part 5: Vocabulary ISO 12678-1:1996 Refractory products - Measurement of dimensions and external defects of refractory bricks - Part 1: Dimensions and conformity to drawings ISO 12678-2:1996 Refractory products - Measurement of dimensions and external defects of refractory bricks - Part 2: Corner and edge defects and other surface imperfections Sealant ISO 10563:2005 Building construction - Sealants - Determination of change in mass and volume ISO 10590:2005 Building construction - Sealants - Determination of tensile properties of sealants at maintained extension after immersion in water ISO 10591:2005 Building construction -- Sealants -- Determination of adhesion/cohesion properties of sealants after immersion in water ISO 11431:2002 Building construction -- Jointing products -- Determination of adhesion/cohesion properties of sealants after exposure to heat, water and artificial light through glass ISO 11432:2005 Building construction -- Sealants -- Determination of resistance to compression ISO 11600:2002 Building construction -- Jointing products -- Classification and requirements for sealants ISO 13638:1996 Building construction - Sealants - Determination of resistance to prolonged exposure to water ISO 8340:2005 Building construction -- Sealants -- Determination of tensile properties at maintained extension ISO 8394-1:2010 Building construction -- Jointing products -- Part 1: Determination of extrudability of sealants ISO 9047:2001 Building construction - Jointing products - Determination of adhesion/cohesion properties of sealants at variable temperatures Waterproofing for masonry ISO 7783:2011 Paints and varnishes -- Determination of water-vapour transmission properties -- Cup method |

## Water Penetration - Dampness from construction moisture

| BS | Masonry BS EN 459-1:2015 Building lime. Definitions, specifications and conformity criteriaBS EN 459-1:2015 Building lime. Definitions, specifications and conformity criteria BS EN 772-3:1998 Methods of test for masonry units. Determination of net volume and percentage of voids of clay masonry units by hydrostatic weighing/ BS EN 772-7:1998 Methods of test for masonry units. Determination of water absorption of clay masonry damp proof course units by boiling in water/ BS EN 771-1:2011 Specification for masonry units. Clay masonry units PD 6697:2010 Recommendations for the design of masonry structures to BS EN 1996-1-1 and BS EN 1996-2/ BS EN 1996-3:2006 Eurocode 6. Design of masonry structures. Simplified calculation methods for unreinforced masonry structures/ BS EN 1996-2:2006 Eurocode 6. Design of masonry structures. Design considerations, selection of materials and execution of masonry/ BS EN 1996-1-1:2005+A1:2012 Eurocode 6. Design of masonry structures. General rules for reinforced and unreinforced masonry structures PD 6697:2010 Recommendations for the design of masonry structures to BS EN 1996-1-1 and BS EN 1996-2/ BS EN 1996-3:2006 Eurocode 6. Design of masonry structures. Simplified calculation methods for unreinforced masonry structures/ BS EN 1996-2:2006 Eurocode 6. Design of masonry structures. Design considerations, selection of materials and execution of masonry/ BS EN 1996-1-2:2005 Eurocode 6. Design of masonry structures. General rules. Structural fire design BS 6100-6:2008 Building and civil engineering. Vocabulary. Construction parts BS EN 772-1:2011+A1:2015 Methods of test for masonry units. Determination of compressive strength BS EN 772-2:1998 Methods of test for masonry units. Determination of percentage area of voids in masonry units (by paper indentation) BS EN 772-5:2016 Methods of test for masonry units. Determination of the active soluble salts content of clay masonry units BS EN 772-7:1998 Methods of test for masonry units. Determination of water absorption of clay masonry damp proof course units by boiling in water BS EN 772-19:2000 Methods of test for masonry units. Determination of moisture expansion of large horizontally perforated clay masonry units BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS 8221-1:2012 Code of practice for cleaning and surface repair of buildings. Cleaning of natural stone, brick, terracotta and concrete BS 8221-2:2000 Code of practice for cleaning and surface repair of buildings. Surface repair of natural stones, brick and terracotta Mortar BS EN 413-2:2005 Masonry cement. Test methods BS EN 772-1:2011+A1:2015 Methods of test for masonry units. Determination of compressive strength BS EN 772-5:2016 Methods of test for masonry units. Determination of the active soluble salts content of clay masonry units BS EN 772-16:2011 Methods of test for masonry units. Determination of dimensions BS EN 998-2:2010 Specification for mortar for masonry. Masonry mortar BS EN 1015-1:1999 Methods of test for mortar for masonry. Determination of particle size distribution (by sieve analysis) BS EN 1015-2:1999 Methods of test for mortar for masonry. Bulk sampling of mortars and preparation of test mortars BS EN 1015-3:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by flow table) BS EN 1015-4:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by plunger penetration) BS EN 1015-6:1999 Methods of test for mortar for masonry. Determination of bulk density of fresh mortar BS EN 1015-7:1999 Methods of test for mortar for masonry. Determination of air content of fresh mortar BS EN 1015-9:1999 Methods of test for mortar for masonry. Determination of workable life and correction time of fresh mortar BS EN 1015-10:1999 Methods of test for mortar for masonry. Determination of dry bulk density of hardened mortar BS EN 1015-11:1999 Methods of test for mortar for masonry. Determination of flexural and compressive strength of hardened mortar BS EN 1015-12:2000 Methods of test for mortar for masonry. Determination of adhesive strength of hardened rendering and plastering mortars on substrates BS EN 1015-17:2000 Methods of test for mortar for masonry. Determination of water-soluble chloride content of fresh mortars BS EN 1052-1:1999 Methods of test for masonry. Determination of compressive strength BS EN 1052-2:2016 Methods of test for masonry. Determination of flexural strength BS EN 13139:2002 Aggregates for mortar BS EN 13139:2002 Aggregates for mortar BS EN 845-1:2013 Specification for ancillary components for masonry. Wall ties, tension straps, hangers and brackets BS EN 13055-1:2002 Lightweight aggregates. Lightweight aggregates for concrete, mortar and grout BS EN 998-2:2010 Specification for mortar for masonry . Masonry mortar/ BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar BS EN 413-1:2011 Masonry cement. Composition, specifications and conformity criteria Sealants BS EN ISO 11600:2003+A1:2011 Building construction. Jointing products. Classification and requirements for sealants BS 4255-1:1986 Rubber used in preformed gaskets for weather exclusion from buildings. Specification for non-cellular gaskets BS 6213:2000+A1:2010 Selection of construction sealants. Guide Waterproofing for masonry BS 8215:1991 Code of practice for design and installation of damp-proof courses in masonry construction BS EN 772-7:1998 Methods of test for masonry units. Determination of water absorption of clay masonry damp proof course units by boiling in water BS EN 1052-4:2000 Methods of test for masonry. Determination of shear strength including damp proof course |
| --- | --- |
| ASTM | Masonry ASTM C216 - 15 Standard Specification for Facing Brick (Solid Masonry Units Made from Clay or Shale) ASTM C62 - 13a Standard Specification for Building Brick (Solid Masonry Units Made From Clay or Shale) ASTM C652 - 15 Standard Specification for Hollow Brick (Hollow Masonry Units Made From Clay or Shale) ASTM C212 - 14 Standard Specification for Structural Clay Facing Tile ASTM C34 - 13 Standard Specification for Structural Clay Load-Bearing Wall Tile. ASTM C67 - 14 Standard Test Methods for Sampling and Testing Brick and Structural Clay Tile. ASTM C91 / C91M - 12 Standard Specification for Masonry Cement ASTM C207 - 06(2011) Standard Specification for Hydrated Lime for Masonry Purposes ASTM E518 / E518M - 15 Standard Test Methods for Flexural Bond Strength of Masonry ASTM C1072 - 13e1 Standard Test Methods for Measurement of Masonry Flexural Bond Strength ASTM C67 - 14 Standard Test Methods for Sampling and Testing Brick and Structural Clay Tile ASTM C73 - 14 Standard Specification for Calcium Silicate Brick (Sand-Lime Brick) ASTM C126 - 15 Standard Specification for Ceramic Glazed Structural Clay Facing Tile, Facing Brick, and Solid Masonry Units Mortar ASTM C144 - 11 Standard Specification for Aggregate for Masonry Mortar ASTM C270 - 14a Standard Specification for Mortar for Unit Masonry ASTM C476 - 10 Standard Specification for Grout for Masonry. ASTM C1019 - 16 Standard Test Method for Sampling and Testing Grout ASTM C150 / C150M - 15 Standard Specification for Portland Cement ASTM C595 / C595M - 15e1 Standard Specification for Blended Hydraulic Cements ASTM C109 / C109M - 16 Standard Test Method for Compressive Strength of Hydraulic Cement Mortars (Using 2-in. or [50-mm] Cube Specimens) ASTM C780 - 15a Standard Test Method for Preconstruction and Construction Evaluation of Mortars for Plain and Reinforced Unit Masonry. ASTM C979 / C979M - 16 Standard Specification for Pigments for Integrally Colored Concrete ASTM C780 - 15a Standard Test Method for Preconstruction and Construction Evaluation of Mortars for Plain and Reinforced Unit Masonry ASTM C896 - 15 Standard Terminology Relating to Clay Products ASTM C1006 - 07(2013) Standard Test Method for Splitting Tensile Strength of Masonry Units ASTM C1019 - 16 Standard Test Method for Sampling and Testing Grout ASTM C1088 - 14 Standard Specification for Thin Veneer Brick Units Made From Clay or Shale ASTM C1093 - 15a Standard Practice for Accreditation of Testing Agencies for Masonry ASTM C1106 - 00(2012) Standard Test Methods for Chemical Resistance and Physical Properties of Carbon Brick ASTM C1148 - 92a(2014) Standard Test Method for Measuring the Drying Shrinkage of Masonry Mortar ASTM C1180 - 10 Standard Terminology of Mortar and Grout for Unit Masonry ASTM C1218 / C1218M - 15 Standard Test Method for Water-Soluble Chloride in Mortar and Concrete ASTM C1324 - 15 Standard Test Method for Examination and Analysis of Hardened Masonry Mortar ASTM C1384 - 12a Standard Specification for Admixtures for Masonry Mortars ASTM C1400 - 11 Standard Guide for Reduction of Efflorescence Potential in New Masonry Walls ASTM C1403 - 15 Standard Test Method for Rate of Water Absorption of Masonry Mortars Sealants ASTM C509 - 06(2015) Standard Specification for Elastomeric Cellular Preformed Gasket and Sealing Material ASTM C717 - 14a Standard Terminology of Building Seals and Sealants Waterproofing for masonry ASTM D5095 - 91(2013) Standard Test Method for Determination of the Nonvolatile Content in Silanes, Siloxanes and Silane-Siloxane Blends Used in Masonry Water Repellent Treatments ASTM D6532 - 00(2014) Standard Test Method for Evaluation of the Effect of Clear Water Repellent Treatments on Water Absorption of Hydraulic Cement Mortar Specimens ASTM C898 / C898M - 09 Standard Guide for Use of High Solids Content, Cold Liquid-Applied Elastomeric Waterproofing Membrane With Separate Wearing Course |
| AS | Masonry AS 1617.1-2003 (R2013) Refractory bricks and shapes - Fireclay AS 1618-2003 (R2013) Dimensions and preferred sizes for refractory bricks AS/NZS 2699.1:2000 Built-in components for masonry construction - Wall ties AS/NZS 2699.2:2000 Built-in components for masonry construction, - Connectors and accessories AS 4773.2-2010 Masonry in small buildings - Construction/ AS 4773.1-2010 Masonry in small buildings - Design/ AS 3700-2011 Masonry structures AS 4517.1-2006 Blanks for superabrasive cutting-off wheels - Manually guided cutting-off in building and civil engineering/ AS 4517.2-2006 Blanks for superabrasive cutting-off wheels - Hand-held cutting-off in building and civil engineering AS/NZS 4524.10:1998 Bonded abrasive products - Dimensions - Honing stones and superfinishings AS/NZS 4284:2008 Testing of building facades Mortar AS 1478.1-2000 Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 2350.12-2006 Methods of testing portland, blended and masonry cements - Preparation of a standard mortar and moulding of specimens AS 1316-2003 Masonry cement AS/NZS 2350.11:2006 Methods of testing portland, blended and masonry cements - Compressive strength AS/NZS 2350.16:2006 Methods of testing portland, blended and masonry cements - Determination of air content of masonry cement AS/NZS 2350.17:2001 Methods of testing portland, blended and masonry cements - Determination of soundness of masonry cements AS/NZS 2350.18:2006 Methods of testing portland, blended and masonry cements - Determination of water retention of masonry cement AS 2701-2001 Methods of sampling and testing mortar for masonry construction Waterproofing for masonry AS 4654.1-2012 Waterproofing membranes for external above-ground use - Materials AS 4654.2-2012 Waterproofing membranes for external above-ground use - Design and installation |
| SS | Masonry SS EN 197 - 1 : 2014 Cement - Part 1 : Composition, specifications and conformity criteria for common cement/ SS EN 197 - 2 : 2014 Cement - Part 2 : Conformity evaluation SS EN 12620 : 2008 Specification for aggregates for concrete SS 509 - 1 : 2015 Code of practice for cleaning and surface repair of buildings – Part 1 : Cleaning of natural stone, brick, terracotta, concrete and rendered finishes/ SS 509 - 2 : 2005 (2015) Code of practice for cleaning and surface repair of buildings - Surface repair of natural stones, brick, terracotta and rendered finishes Mortar SS EN 934 - 1 : 2008 (2015) Admixtures for concrete, mortar and grout - Common requirements/ SS EN 934 - 2 : 2015 Admixtures for concrete, mortar and grout - Part 2 : Definitions, requirements – Concrete admixtures – Definitions, requirements, conformity, marking and labelling/ SS EN 934 - 6 : 2008 (2015) Admixtures for concrete, mortar and grout - Sampling, conformity control and evaluation of conformity |
| ISO | Masonry ISO 9652-4:2000 Masonry - Part 4: Test methods ISO 9652-5:2000 Masonry - Part 5: Vocabulary ISO 12678-1:1996 Refractory products - Measurement of dimensions and external defects of refractory bricks - Part 1: Dimensions and conformity to drawings ISO 12678-2:1996 Refractory products - Measurement of dimensions and external defects of refractory bricks - Part 2: Corner and edge defects and other surface imperfections Sealant ISO 10563:2005 Building construction - Sealants - Determination of change in mass and volume ISO 10590:2005 Building construction - Sealants - Determination of tensile properties of sealants at maintained extension after immersion in water ISO 10591:2005 Building construction -- Sealants -- Determination of adhesion/cohesion properties of sealants after immersion in water ISO 11431:2002 Building construction -- Jointing products -- Determination of adhesion/cohesion properties of sealants after exposure to heat, water and artificial light through glass ISO 11432:2005 Building construction -- Sealants -- Determination of resistance to compression ISO 11600:2002 Building construction -- Jointing products -- Classification and requirements for sealants ISO 13638:1996 Building construction - Sealants - Determination of resistance to prolonged exposure to water ISO 8340:2005 Building construction -- Sealants -- Determination of tensile properties at maintained extension ISO 8394-1:2010 Building construction -- Jointing products -- Part 1: Determination of extrudability of sealants ISO 9047:2001 Building construction - Jointing products - Determination of adhesion/cohesion properties of sealants at variable temperatures Waterproofing for masonry ISO 7783:2011 Paints and varnishes -- Determination of water-vapour transmission properties -- Cup method |

## Water penetration - through motar joints

| BS | Masonry BS EN 459-1:2015 Building lime. Definitions, specifications and conformity criteriaBS EN 459-1:2015 Building lime. Definitions, specifications and conformity criteria BS EN 772-3:1998 Methods of test for masonry units. Determination of net volume and percentage of voids of clay masonry units by hydrostatic weighing/ BS EN 772-7:1998 Methods of test for masonry units. Determination of water absorption of clay masonry damp proof course units by boiling in water/ BS EN 771-1:2011 Specification for masonry units. Clay masonry units PD 6697:2010 Recommendations for the design of masonry structures to BS EN 1996-1-1 and BS EN 1996-2/ BS EN 1996-3:2006 Eurocode 6. Design of masonry structures. Simplified calculation methods for unreinforced masonry structures/ BS EN 1996-2:2006 Eurocode 6. Design of masonry structures. Design considerations, selection of materials and execution of masonry/ BS EN 1996-1-1:2005+A1:2012 Eurocode 6. Design of masonry structures. General rules for reinforced and unreinforced masonry structures PD 6697:2010 Recommendations for the design of masonry structures to BS EN 1996-1-1 and BS EN 1996-2/ BS EN 1996-3:2006 Eurocode 6. Design of masonry structures. Simplified calculation methods for unreinforced masonry structures/ BS EN 1996-2:2006 Eurocode 6. Design of masonry structures. Design considerations, selection of materials and execution of masonry/ BS EN 1996-1-2:2005 Eurocode 6. Design of masonry structures. General rules. Structural fire design BS 6100-6:2008 Building and civil engineering. Vocabulary. Construction parts BS EN 772-1:2011+A1:2015 Methods of test for masonry units. Determination of compressive strength BS EN 772-2:1998 Methods of test for masonry units. Determination of percentage area of voids in masonry units (by paper indentation) BS EN 772-5:2016 Methods of test for masonry units. Determination of the active soluble salts content of clay masonry units BS EN 772-7:1998 Methods of test for masonry units. Determination of water absorption of clay masonry damp proof course units by boiling in water BS EN 772-19:2000 Methods of test for masonry units. Determination of moisture expansion of large horizontally perforated clay masonry units BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS 8221-1:2012 Code of practice for cleaning and surface repair of buildings. Cleaning of natural stone, brick, terracotta and concrete BS 8221-2:2000 Code of practice for cleaning and surface repair of buildings. Surface repair of natural stones, brick and terracotta Mortar BS EN 413-2:2005 Masonry cement. Test methods BS EN 772-1:2011+A1:2015 Methods of test for masonry units. Determination of compressive strength BS EN 772-5:2016 Methods of test for masonry units. Determination of the active soluble salts content of clay masonry units BS EN 772-16:2011 Methods of test for masonry units. Determination of dimensions BS EN 998-2:2010 Specification for mortar for masonry. Masonry mortar BS EN 1015-1:1999 Methods of test for mortar for masonry. Determination of particle size distribution (by sieve analysis) BS EN 1015-2:1999 Methods of test for mortar for masonry. Bulk sampling of mortars and preparation of test mortars BS EN 1015-3:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by flow table) BS EN 1015-4:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by plunger penetration) BS EN 1015-6:1999 Methods of test for mortar for masonry. Determination of bulk density of fresh mortar BS EN 1015-7:1999 Methods of test for mortar for masonry. Determination of air content of fresh mortar BS EN 1015-9:1999 Methods of test for mortar for masonry. Determination of workable life and correction time of fresh mortar BS EN 1015-10:1999 Methods of test for mortar for masonry. Determination of dry bulk density of hardened mortar BS EN 1015-11:1999 Methods of test for mortar for masonry. Determination of flexural and compressive strength of hardened mortar BS EN 1015-12:2000 Methods of test for mortar for masonry. Determination of adhesive strength of hardened rendering and plastering mortars on substrates BS EN 1015-17:2000 Methods of test for mortar for masonry. Determination of water-soluble chloride content of fresh mortars BS EN 1052-1:1999 Methods of test for masonry. Determination of compressive strength BS EN 1052-2:2016 Methods of test for masonry. Determination of flexural strength BS EN 13139:2002 Aggregates for mortar BS EN 13139:2002 Aggregates for mortar BS EN 845-1:2013 Specification for ancillary components for masonry. Wall ties, tension straps, hangers and brackets BS EN 13055-1:2002 Lightweight aggregates. Lightweight aggregates for concrete, mortar and grout BS EN 998-2:2010 Specification for mortar for masonry . Masonry mortar/ BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar BS EN 413-1:2011 Masonry cement. Composition, specifications and conformity criteria Sealants BS EN ISO 11600:2003+A1:2011 Building construction. Jointing products. Classification and requirements for sealants BS 4255-1:1986 Rubber used in preformed gaskets for weather exclusion from buildings. Specification for non-cellular gaskets BS 6213:2000+A1:2010 Selection of construction sealants. Guide Waterproofing for masonry BS 8215:1991 Code of practice for design and installation of damp-proof courses in masonry construction BS EN 772-7:1998 Methods of test for masonry units. Determination of water absorption of clay masonry damp proof course units by boiling in water BS EN 1052-4:2000 Methods of test for masonry. Determination of shear strength including damp proof course |
| --- | --- |
| ASTM | Masonry ASTM C216 - 15 Standard Specification for Facing Brick (Solid Masonry Units Made from Clay or Shale) ASTM C62 - 13a Standard Specification for Building Brick (Solid Masonry Units Made From Clay or Shale) ASTM C652 - 15 Standard Specification for Hollow Brick (Hollow Masonry Units Made From Clay or Shale) ASTM C212 - 14 Standard Specification for Structural Clay Facing Tile ASTM C34 - 13 Standard Specification for Structural Clay Load-Bearing Wall Tile. ASTM C67 - 14 Standard Test Methods for Sampling and Testing Brick and Structural Clay Tile. ASTM C91 / C91M - 12 Standard Specification for Masonry Cement ASTM C207 - 06(2011) Standard Specification for Hydrated Lime for Masonry Purposes ASTM E518 / E518M - 15 Standard Test Methods for Flexural Bond Strength of Masonry ASTM C1072 - 13e1 Standard Test Methods for Measurement of Masonry Flexural Bond Strength ASTM C67 - 14 Standard Test Methods for Sampling and Testing Brick and Structural Clay Tile ASTM C73 - 14 Standard Specification for Calcium Silicate Brick (Sand-Lime Brick) ASTM C126 - 15 Standard Specification for Ceramic Glazed Structural Clay Facing Tile, Facing Brick, and Solid Masonry Units Mortar ASTM C144 - 11 Standard Specification for Aggregate for Masonry Mortar ASTM C270 - 14a Standard Specification for Mortar for Unit Masonry ASTM C476 - 10 Standard Specification for Grout for Masonry. ASTM C1019 - 16 Standard Test Method for Sampling and Testing Grout ASTM C150 / C150M - 15 Standard Specification for Portland Cement ASTM C595 / C595M - 15e1 Standard Specification for Blended Hydraulic Cements ASTM C109 / C109M - 16 Standard Test Method for Compressive Strength of Hydraulic Cement Mortars (Using 2-in. or [50-mm] Cube Specimens) ASTM C780 - 15a Standard Test Method for Preconstruction and Construction Evaluation of Mortars for Plain and Reinforced Unit Masonry. ASTM C979 / C979M - 16 Standard Specification for Pigments for Integrally Colored Concrete ASTM C780 - 15a Standard Test Method for Preconstruction and Construction Evaluation of Mortars for Plain and Reinforced Unit Masonry ASTM C896 - 15 Standard Terminology Relating to Clay Products ASTM C1006 - 07(2013) Standard Test Method for Splitting Tensile Strength of Masonry Units ASTM C1019 - 16 Standard Test Method for Sampling and Testing Grout ASTM C1088 - 14 Standard Specification for Thin Veneer Brick Units Made From Clay or Shale ASTM C1093 - 15a Standard Practice for Accreditation of Testing Agencies for Masonry ASTM C1106 - 00(2012) Standard Test Methods for Chemical Resistance and Physical Properties of Carbon Brick ASTM C1148 - 92a(2014) Standard Test Method for Measuring the Drying Shrinkage of Masonry Mortar ASTM C1180 - 10 Standard Terminology of Mortar and Grout for Unit Masonry ASTM C1218 / C1218M - 15 Standard Test Method for Water-Soluble Chloride in Mortar and Concrete ASTM C1324 - 15 Standard Test Method for Examination and Analysis of Hardened Masonry Mortar ASTM C1384 - 12a Standard Specification for Admixtures for Masonry Mortars ASTM C1400 - 11 Standard Guide for Reduction of Efflorescence Potential in New Masonry Walls ASTM C1403 - 15 Standard Test Method for Rate of Water Absorption of Masonry Mortars Sealants ASTM C509 - 06(2015) Standard Specification for Elastomeric Cellular Preformed Gasket and Sealing Material ASTM C717 - 14a Standard Terminology of Building Seals and Sealants Waterproofing for masonry ASTM D5095 - 91(2013) Standard Test Method for Determination of the Nonvolatile Content in Silanes, Siloxanes and Silane-Siloxane Blends Used in Masonry Water Repellent Treatments ASTM D6532 - 00(2014) Standard Test Method for Evaluation of the Effect of Clear Water Repellent Treatments on Water Absorption of Hydraulic Cement Mortar Specimens ASTM C898 / C898M - 09 Standard Guide for Use of High Solids Content, Cold Liquid-Applied Elastomeric Waterproofing Membrane With Separate Wearing Course |
| AS | Masonry AS 1617.1-2003 (R2013) Refractory bricks and shapes - Fireclay AS 1618-2003 (R2013) Dimensions and preferred sizes for refractory bricks AS/NZS 2699.1:2000 Built-in components for masonry construction - Wall ties AS/NZS 2699.2:2000 Built-in components for masonry construction, - Connectors and accessories AS 4773.2-2010 Masonry in small buildings - Construction/ AS 4773.1-2010 Masonry in small buildings - Design/ AS 3700-2011 Masonry structures AS 4517.1-2006 Blanks for superabrasive cutting-off wheels - Manually guided cutting-off in building and civil engineering/ AS 4517.2-2006 Blanks for superabrasive cutting-off wheels - Hand-held cutting-off in building and civil engineering AS/NZS 4524.10:1998 Bonded abrasive products - Dimensions - Honing stones and superfinishings AS/NZS 4284:2008 Testing of building facades Mortar AS 1478.1-2000 Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 2350.12-2006 Methods of testing portland, blended and masonry cements - Preparation of a standard mortar and moulding of specimens AS 1316-2003 Masonry cement AS/NZS 2350.11:2006 Methods of testing portland, blended and masonry cements - Compressive strength AS/NZS 2350.16:2006 Methods of testing portland, blended and masonry cements - Determination of air content of masonry cement AS/NZS 2350.17:2001 Methods of testing portland, blended and masonry cements - Determination of soundness of masonry cements AS/NZS 2350.18:2006 Methods of testing portland, blended and masonry cements - Determination of water retention of masonry cement AS 2701-2001 Methods of sampling and testing mortar for masonry construction Waterproofing for masonry AS 4654.1-2012 Waterproofing membranes for external above-ground use - Materials AS 4654.2-2012 Waterproofing membranes for external above-ground use - Design and installation |
| SS | Masonry SS EN 197 - 1 : 2014 Cement - Part 1 : Composition, specifications and conformity criteria for common cement/ SS EN 197 - 2 : 2014 Cement - Part 2 : Conformity evaluation SS EN 12620 : 2008 Specification for aggregates for concrete SS 509 - 1 : 2015 Code of practice for cleaning and surface repair of buildings – Part 1 : Cleaning of natural stone, brick, terracotta, concrete and rendered finishes/ SS 509 - 2 : 2005 (2015) Code of practice for cleaning and surface repair of buildings - Surface repair of natural stones, brick, terracotta and rendered finishes Mortar SS EN 934 - 1 : 2008 (2015) Admixtures for concrete, mortar and grout - Common requirements/ SS EN 934 - 2 : 2015 Admixtures for concrete, mortar and grout - Part 2 : Definitions, requirements – Concrete admixtures – Definitions, requirements, conformity, marking and labelling/ SS EN 934 - 6 : 2008 (2015) Admixtures for concrete, mortar and grout - Sampling, conformity control and evaluation of conformity |
| ISO | Masonry ISO 9652-4:2000 Masonry - Part 4: Test methods ISO 9652-5:2000 Masonry - Part 5: Vocabulary ISO 12678-1:1996 Refractory products - Measurement of dimensions and external defects of refractory bricks - Part 1: Dimensions and conformity to drawings ISO 12678-2:1996 Refractory products - Measurement of dimensions and external defects of refractory bricks - Part 2: Corner and edge defects and other surface imperfections Sealant ISO 10563:2005 Building construction - Sealants - Determination of change in mass and volume ISO 10590:2005 Building construction - Sealants - Determination of tensile properties of sealants at maintained extension after immersion in water ISO 10591:2005 Building construction -- Sealants -- Determination of adhesion/cohesion properties of sealants after immersion in water ISO 11431:2002 Building construction -- Jointing products -- Determination of adhesion/cohesion properties of sealants after exposure to heat, water and artificial light through glass ISO 11432:2005 Building construction -- Sealants -- Determination of resistance to compression ISO 11600:2002 Building construction -- Jointing products -- Classification and requirements for sealants ISO 13638:1996 Building construction - Sealants - Determination of resistance to prolonged exposure to water ISO 8340:2005 Building construction -- Sealants -- Determination of tensile properties at maintained extension ISO 8394-1:2010 Building construction -- Jointing products -- Part 1: Determination of extrudability of sealants ISO 9047:2001 Building construction - Jointing products - Determination of adhesion/cohesion properties of sealants at variable temperatures Waterproofing for masonry ISO 7783:2011 Paints and varnishes -- Determination of water-vapour transmission properties -- Cup method |

## Water Penetration - Deterioration of waterproofing coating

| BS | Masonry BS EN 459-1:2015 Building lime. Definitions, specifications and conformity criteriaBS EN 459-1:2015 Building lime. Definitions, specifications and conformity criteria BS EN 772-3:1998 Methods of test for masonry units. Determination of net volume and percentage of voids of clay masonry units by hydrostatic weighing/ BS EN 772-7:1998 Methods of test for masonry units. Determination of water absorption of clay masonry damp proof course units by boiling in water/ BS EN 771-1:2011 Specification for masonry units. Clay masonry units PD 6697:2010 Recommendations for the design of masonry structures to BS EN 1996-1-1 and BS EN 1996-2/ BS EN 1996-3:2006 Eurocode 6. Design of masonry structures. Simplified calculation methods for unreinforced masonry structures/ BS EN 1996-2:2006 Eurocode 6. Design of masonry structures. Design considerations, selection of materials and execution of masonry/ BS EN 1996-1-1:2005+A1:2012 Eurocode 6. Design of masonry structures. General rules for reinforced and unreinforced masonry structures PD 6697:2010 Recommendations for the design of masonry structures to BS EN 1996-1-1 and BS EN 1996-2/ BS EN 1996-3:2006 Eurocode 6. Design of masonry structures. Simplified calculation methods for unreinforced masonry structures/ BS EN 1996-2:2006 Eurocode 6. Design of masonry structures. Design considerations, selection of materials and execution of masonry/ BS EN 1996-1-2:2005 Eurocode 6. Design of masonry structures. General rules. Structural fire design BS 6100-6:2008 Building and civil engineering. Vocabulary. Construction parts BS EN 772-1:2011+A1:2015 Methods of test for masonry units. Determination of compressive strength BS EN 772-2:1998 Methods of test for masonry units. Determination of percentage area of voids in masonry units (by paper indentation) BS EN 772-5:2016 Methods of test for masonry units. Determination of the active soluble salts content of clay masonry units BS EN 772-7:1998 Methods of test for masonry units. Determination of water absorption of clay masonry damp proof course units by boiling in water BS EN 772-19:2000 Methods of test for masonry units. Determination of moisture expansion of large horizontally perforated clay masonry units BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS 8221-1:2012 Code of practice for cleaning and surface repair of buildings. Cleaning of natural stone, brick, terracotta and concrete BS 8221-2:2000 Code of practice for cleaning and surface repair of buildings. Surface repair of natural stones, brick and terracotta Mortar BS EN 413-2:2005 Masonry cement. Test methods BS EN 772-1:2011+A1:2015 Methods of test for masonry units. Determination of compressive strength BS EN 772-5:2016 Methods of test for masonry units. Determination of the active soluble salts content of clay masonry units BS EN 772-16:2011 Methods of test for masonry units. Determination of dimensions BS EN 998-2:2010 Specification for mortar for masonry. Masonry mortar BS EN 1015-1:1999 Methods of test for mortar for masonry. Determination of particle size distribution (by sieve analysis) BS EN 1015-2:1999 Methods of test for mortar for masonry. Bulk sampling of mortars and preparation of test mortars BS EN 1015-3:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by flow table) BS EN 1015-4:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by plunger penetration) BS EN 1015-6:1999 Methods of test for mortar for masonry. Determination of bulk density of fresh mortar BS EN 1015-7:1999 Methods of test for mortar for masonry. Determination of air content of fresh mortar BS EN 1015-9:1999 Methods of test for mortar for masonry. Determination of workable life and correction time of fresh mortar BS EN 1015-10:1999 Methods of test for mortar for masonry. Determination of dry bulk density of hardened mortar BS EN 1015-11:1999 Methods of test for mortar for masonry. Determination of flexural and compressive strength of hardened mortar BS EN 1015-12:2000 Methods of test for mortar for masonry. Determination of adhesive strength of hardened rendering and plastering mortars on substrates BS EN 1015-17:2000 Methods of test for mortar for masonry. Determination of water-soluble chloride content of fresh mortars BS EN 1052-1:1999 Methods of test for masonry. Determination of compressive strength BS EN 1052-2:2016 Methods of test for masonry. Determination of flexural strength BS EN 13139:2002 Aggregates for mortar BS EN 13139:2002 Aggregates for mortar BS EN 845-1:2013 Specification for ancillary components for masonry. Wall ties, tension straps, hangers and brackets BS EN 13055-1:2002 Lightweight aggregates. Lightweight aggregates for concrete, mortar and grout BS EN 998-2:2010 Specification for mortar for masonry . Masonry mortar/ BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar BS EN 413-1:2011 Masonry cement. Composition, specifications and conformity criteria Sealants BS EN ISO 11600:2003+A1:2011 Building construction. Jointing products. Classification and requirements for sealants BS 4255-1:1986 Rubber used in preformed gaskets for weather exclusion from buildings. Specification for non-cellular gaskets BS 6213:2000+A1:2010 Selection of construction sealants. Guide Waterproofing for masonry BS 8215:1991 Code of practice for design and installation of damp-proof courses in masonry construction BS EN 772-7:1998 Methods of test for masonry units. Determination of water absorption of clay masonry damp proof course units by boiling in water BS EN 1052-4:2000 Methods of test for masonry. Determination of shear strength including damp proof course |
| --- | --- |
| ASTM | Masonry ASTM C216 - 15 Standard Specification for Facing Brick (Solid Masonry Units Made from Clay or Shale) ASTM C62 - 13a Standard Specification for Building Brick (Solid Masonry Units Made From Clay or Shale) ASTM C652 - 15 Standard Specification for Hollow Brick (Hollow Masonry Units Made From Clay or Shale) ASTM C212 - 14 Standard Specification for Structural Clay Facing Tile ASTM C34 - 13 Standard Specification for Structural Clay Load-Bearing Wall Tile. ASTM C67 - 14 Standard Test Methods for Sampling and Testing Brick and Structural Clay Tile. ASTM C91 / C91M - 12 Standard Specification for Masonry Cement ASTM C207 - 06(2011) Standard Specification for Hydrated Lime for Masonry Purposes ASTM E518 / E518M - 15 Standard Test Methods for Flexural Bond Strength of Masonry ASTM C1072 - 13e1 Standard Test Methods for Measurement of Masonry Flexural Bond Strength ASTM C67 - 14 Standard Test Methods for Sampling and Testing Brick and Structural Clay Tile ASTM C73 - 14 Standard Specification for Calcium Silicate Brick (Sand-Lime Brick) ASTM C126 - 15 Standard Specification for Ceramic Glazed Structural Clay Facing Tile, Facing Brick, and Solid Masonry Units Mortar ASTM C144 - 11 Standard Specification for Aggregate for Masonry Mortar ASTM C270 - 14a Standard Specification for Mortar for Unit Masonry ASTM C476 - 10 Standard Specification for Grout for Masonry. ASTM C1019 - 16 Standard Test Method for Sampling and Testing Grout ASTM C150 / C150M - 15 Standard Specification for Portland Cement ASTM C595 / C595M - 15e1 Standard Specification for Blended Hydraulic Cements ASTM C109 / C109M - 16 Standard Test Method for Compressive Strength of Hydraulic Cement Mortars (Using 2-in. or [50-mm] Cube Specimens) ASTM C780 - 15a Standard Test Method for Preconstruction and Construction Evaluation of Mortars for Plain and Reinforced Unit Masonry. ASTM C979 / C979M - 16 Standard Specification for Pigments for Integrally Colored Concrete ASTM C780 - 15a Standard Test Method for Preconstruction and Construction Evaluation of Mortars for Plain and Reinforced Unit Masonry ASTM C896 - 15 Standard Terminology Relating to Clay Products ASTM C1006 - 07(2013) Standard Test Method for Splitting Tensile Strength of Masonry Units ASTM C1019 - 16 Standard Test Method for Sampling and Testing Grout ASTM C1088 - 14 Standard Specification for Thin Veneer Brick Units Made From Clay or Shale ASTM C1093 - 15a Standard Practice for Accreditation of Testing Agencies for Masonry ASTM C1106 - 00(2012) Standard Test Methods for Chemical Resistance and Physical Properties of Carbon Brick ASTM C1148 - 92a(2014) Standard Test Method for Measuring the Drying Shrinkage of Masonry Mortar ASTM C1180 - 10 Standard Terminology of Mortar and Grout for Unit Masonry ASTM C1218 / C1218M - 15 Standard Test Method for Water-Soluble Chloride in Mortar and Concrete ASTM C1324 - 15 Standard Test Method for Examination and Analysis of Hardened Masonry Mortar ASTM C1384 - 12a Standard Specification for Admixtures for Masonry Mortars ASTM C1400 - 11 Standard Guide for Reduction of Efflorescence Potential in New Masonry Walls ASTM C1403 - 15 Standard Test Method for Rate of Water Absorption of Masonry Mortars Sealants ASTM C509 - 06(2015) Standard Specification for Elastomeric Cellular Preformed Gasket and Sealing Material ASTM C717 - 14a Standard Terminology of Building Seals and Sealants Waterproofing for masonry ASTM D5095 - 91(2013) Standard Test Method for Determination of the Nonvolatile Content in Silanes, Siloxanes and Silane-Siloxane Blends Used in Masonry Water Repellent Treatments ASTM D6532 - 00(2014) Standard Test Method for Evaluation of the Effect of Clear Water Repellent Treatments on Water Absorption of Hydraulic Cement Mortar Specimens ASTM C898 / C898M - 09 Standard Guide for Use of High Solids Content, Cold Liquid-Applied Elastomeric Waterproofing Membrane With Separate Wearing Course |
| AS | Masonry AS 1617.1-2003 (R2013) Refractory bricks and shapes - Fireclay AS 1618-2003 (R2013) Dimensions and preferred sizes for refractory bricks AS/NZS 2699.1:2000 Built-in components for masonry construction - Wall ties AS/NZS 2699.2:2000 Built-in components for masonry construction, - Connectors and accessories AS 4773.2-2010 Masonry in small buildings - Construction/ AS 4773.1-2010 Masonry in small buildings - Design/ AS 3700-2011 Masonry structures AS 4517.1-2006 Blanks for superabrasive cutting-off wheels - Manually guided cutting-off in building and civil engineering/ AS 4517.2-2006 Blanks for superabrasive cutting-off wheels - Hand-held cutting-off in building and civil engineering AS/NZS 4524.10:1998 Bonded abrasive products - Dimensions - Honing stones and superfinishings AS/NZS 4284:2008 Testing of building facades Mortar AS 1478.1-2000 Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 2350.12-2006 Methods of testing portland, blended and masonry cements - Preparation of a standard mortar and moulding of specimens AS 1316-2003 Masonry cement AS/NZS 2350.11:2006 Methods of testing portland, blended and masonry cements - Compressive strength AS/NZS 2350.16:2006 Methods of testing portland, blended and masonry cements - Determination of air content of masonry cement AS/NZS 2350.17:2001 Methods of testing portland, blended and masonry cements - Determination of soundness of masonry cements AS/NZS 2350.18:2006 Methods of testing portland, blended and masonry cements - Determination of water retention of masonry cement AS 2701-2001 Methods of sampling and testing mortar for masonry construction Waterproofing for masonry AS 4654.1-2012 Waterproofing membranes for external above-ground use - Materials AS 4654.2-2012 Waterproofing membranes for external above-ground use - Design and installation |
| SS | Masonry SS EN 197 - 1 : 2014 Cement - Part 1 : Composition, specifications and conformity criteria for common cement/ SS EN 197 - 2 : 2014 Cement - Part 2 : Conformity evaluation SS EN 12620 : 2008 Specification for aggregates for concrete SS 509 - 1 : 2015 Code of practice for cleaning and surface repair of buildings – Part 1 : Cleaning of natural stone, brick, terracotta, concrete and rendered finishes/ SS 509 - 2 : 2005 (2015) Code of practice for cleaning and surface repair of buildings - Surface repair of natural stones, brick, terracotta and rendered finishes Mortar SS EN 934 - 1 : 2008 (2015) Admixtures for concrete, mortar and grout - Common requirements/ SS EN 934 - 2 : 2015 Admixtures for concrete, mortar and grout - Part 2 : Definitions, requirements – Concrete admixtures – Definitions, requirements, conformity, marking and labelling/ SS EN 934 - 6 : 2008 (2015) Admixtures for concrete, mortar and grout - Sampling, conformity control and evaluation of conformity |
| ISO | Masonry ISO 9652-4:2000 Masonry - Part 4: Test methods ISO 9652-5:2000 Masonry - Part 5: Vocabulary ISO 12678-1:1996 Refractory products - Measurement of dimensions and external defects of refractory bricks - Part 1: Dimensions and conformity to drawings ISO 12678-2:1996 Refractory products - Measurement of dimensions and external defects of refractory bricks - Part 2: Corner and edge defects and other surface imperfections Sealant ISO 10563:2005 Building construction - Sealants - Determination of change in mass and volume ISO 10590:2005 Building construction - Sealants - Determination of tensile properties of sealants at maintained extension after immersion in water ISO 10591:2005 Building construction -- Sealants -- Determination of adhesion/cohesion properties of sealants after immersion in water ISO 11431:2002 Building construction -- Jointing products -- Determination of adhesion/cohesion properties of sealants after exposure to heat, water and artificial light through glass ISO 11432:2005 Building construction -- Sealants -- Determination of resistance to compression ISO 11600:2002 Building construction -- Jointing products -- Classification and requirements for sealants ISO 13638:1996 Building construction - Sealants - Determination of resistance to prolonged exposure to water ISO 8340:2005 Building construction -- Sealants -- Determination of tensile properties at maintained extension ISO 8394-1:2010 Building construction -- Jointing products -- Part 1: Determination of extrudability of sealants ISO 9047:2001 Building construction - Jointing products - Determination of adhesion/cohesion properties of sealants at variable temperatures Waterproofing for masonry ISO 7783:2011 Paints and varnishes -- Determination of water-vapour transmission properties -- Cup method |

## Corrosion - Attack from acidic rain (Corrosion of General Surface)

| BS | Masonry BS EN 459-1:2015 Building lime. Definitions, specifications and conformity criteriaBS EN 459-1:2015 Building lime. Definitions, specifications and conformity criteria BS EN 772-3:1998 Methods of test for masonry units. Determination of net volume and percentage of voids of clay masonry units by hydrostatic weighing/ BS EN 772-7:1998 Methods of test for masonry units. Determination of water absorption of clay masonry damp proof course units by boiling in water/ BS EN 771-1:2011 Specification for masonry units. Clay masonry units PD 6697:2010 Recommendations for the design of masonry structures to BS EN 1996-1-1 and BS EN 1996-2/ BS EN 1996-3:2006 Eurocode 6. Design of masonry structures. Simplified calculation methods for unreinforced masonry structures/ BS EN 1996-2:2006 Eurocode 6. Design of masonry structures. Design considerations, selection of materials and execution of masonry/ BS EN 1996-1-1:2005+A1:2012 Eurocode 6. Design of masonry structures. General rules for reinforced and unreinforced masonry structures PD 6697:2010 Recommendations for the design of masonry structures to BS EN 1996-1-1 and BS EN 1996-2/ BS EN 1996-3:2006 Eurocode 6. Design of masonry structures. Simplified calculation methods for unreinforced masonry structures/ BS EN 1996-2:2006 Eurocode 6. Design of masonry structures. Design considerations, selection of materials and execution of masonry/ BS EN 1996-1-2:2005 Eurocode 6. Design of masonry structures. General rules. Structural fire design BS 6100-6:2008 Building and civil engineering. Vocabulary. Construction parts BS EN 772-1:2011+A1:2015 Methods of test for masonry units. Determination of compressive strength BS EN 772-2:1998 Methods of test for masonry units. Determination of percentage area of voids in masonry units (by paper indentation) BS EN 772-5:2016 Methods of test for masonry units. Determination of the active soluble salts content of clay masonry units BS EN 772-7:1998 Methods of test for masonry units. Determination of water absorption of clay masonry damp proof course units by boiling in water BS EN 772-19:2000 Methods of test for masonry units. Determination of moisture expansion of large horizontally perforated clay masonry units BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS 8221-1:2012 Code of practice for cleaning and surface repair of buildings. Cleaning of natural stone, brick, terracotta and concrete BS 8221-2:2000 Code of practice for cleaning and surface repair of buildings. Surface repair of natural stones, brick and terracotta Mortar BS EN 413-2:2005 Masonry cement. Test methods BS EN 772-1:2011+A1:2015 Methods of test for masonry units. Determination of compressive strength BS EN 772-5:2016 Methods of test for masonry units. Determination of the active soluble salts content of clay masonry units BS EN 772-16:2011 Methods of test for masonry units. Determination of dimensions BS EN 998-2:2010 Specification for mortar for masonry. Masonry mortar BS EN 1015-1:1999 Methods of test for mortar for masonry. Determination of particle size distribution (by sieve analysis) BS EN 1015-2:1999 Methods of test for mortar for masonry. Bulk sampling of mortars and preparation of test mortars BS EN 1015-3:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by flow table) BS EN 1015-4:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by plunger penetration) BS EN 1015-6:1999 Methods of test for mortar for masonry. Determination of bulk density of fresh mortar BS EN 1015-7:1999 Methods of test for mortar for masonry. Determination of air content of fresh mortar BS EN 1015-9:1999 Methods of test for mortar for masonry. Determination of workable life and correction time of fresh mortar BS EN 1015-10:1999 Methods of test for mortar for masonry. Determination of dry bulk density of hardened mortar BS EN 1015-11:1999 Methods of test for mortar for masonry. Determination of flexural and compressive strength of hardened mortar BS EN 1015-12:2000 Methods of test for mortar for masonry. Determination of adhesive strength of hardened rendering and plastering mortars on substrates BS EN 1015-17:2000 Methods of test for mortar for masonry. Determination of water-soluble chloride content of fresh mortars BS EN 1052-1:1999 Methods of test for masonry. Determination of compressive strength BS EN 1052-2:2016 Methods of test for masonry. Determination of flexural strength BS EN 13139:2002 Aggregates for mortar BS EN 13139:2002 Aggregates for mortar BS EN 845-1:2013 Specification for ancillary components for masonry. Wall ties, tension straps, hangers and brackets BS EN 13055-1:2002 Lightweight aggregates. Lightweight aggregates for concrete, mortar and grout BS EN 998-2:2010 Specification for mortar for masonry . Masonry mortar/ BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar BS EN 413-1:2011 Masonry cement. Composition, specifications and conformity criteria Sealants BS EN ISO 11600:2003+A1:2011 Building construction. Jointing products. Classification and requirements for sealants BS 4255-1:1986 Rubber used in preformed gaskets for weather exclusion from buildings. Specification for non-cellular gaskets BS 6213:2000+A1:2010 Selection of construction sealants. Guide Waterproofing for masonry BS 8215:1991 Code of practice for design and installation of damp-proof courses in masonry construction BS EN 772-7:1998 Methods of test for masonry units. Determination of water absorption of clay masonry damp proof course units by boiling in water BS EN 1052-4:2000 Methods of test for masonry. Determination of shear strength including damp proof course |
| --- | --- |
| ASTM | Masonry ASTM C216 - 15 Standard Specification for Facing Brick (Solid Masonry Units Made from Clay or Shale) ASTM C62 - 13a Standard Specification for Building Brick (Solid Masonry Units Made From Clay or Shale) ASTM C652 - 15 Standard Specification for Hollow Brick (Hollow Masonry Units Made From Clay or Shale) ASTM C212 - 14 Standard Specification for Structural Clay Facing Tile ASTM C34 - 13 Standard Specification for Structural Clay Load-Bearing Wall Tile. ASTM C67 - 14 Standard Test Methods for Sampling and Testing Brick and Structural Clay Tile. ASTM C91 / C91M - 12 Standard Specification for Masonry Cement ASTM C207 - 06(2011) Standard Specification for Hydrated Lime for Masonry Purposes ASTM E518 / E518M - 15 Standard Test Methods for Flexural Bond Strength of Masonry ASTM C1072 - 13e1 Standard Test Methods for Measurement of Masonry Flexural Bond Strength ASTM C67 - 14 Standard Test Methods for Sampling and Testing Brick and Structural Clay Tile ASTM C73 - 14 Standard Specification for Calcium Silicate Brick (Sand-Lime Brick) ASTM C126 - 15 Standard Specification for Ceramic Glazed Structural Clay Facing Tile, Facing Brick, and Solid Masonry Units Mortar ASTM C144 - 11 Standard Specification for Aggregate for Masonry Mortar ASTM C270 - 14a Standard Specification for Mortar for Unit Masonry ASTM C476 - 10 Standard Specification for Grout for Masonry. ASTM C1019 - 16 Standard Test Method for Sampling and Testing Grout ASTM C150 / C150M - 15 Standard Specification for Portland Cement ASTM C595 / C595M - 15e1 Standard Specification for Blended Hydraulic Cements ASTM C109 / C109M - 16 Standard Test Method for Compressive Strength of Hydraulic Cement Mortars (Using 2-in. or [50-mm] Cube Specimens) ASTM C780 - 15a Standard Test Method for Preconstruction and Construction Evaluation of Mortars for Plain and Reinforced Unit Masonry. ASTM C979 / C979M - 16 Standard Specification for Pigments for Integrally Colored Concrete ASTM C780 - 15a Standard Test Method for Preconstruction and Construction Evaluation of Mortars for Plain and Reinforced Unit Masonry ASTM C896 - 15 Standard Terminology Relating to Clay Products ASTM C1006 - 07(2013) Standard Test Method for Splitting Tensile Strength of Masonry Units ASTM C1019 - 16 Standard Test Method for Sampling and Testing Grout ASTM C1088 - 14 Standard Specification for Thin Veneer Brick Units Made From Clay or Shale ASTM C1093 - 15a Standard Practice for Accreditation of Testing Agencies for Masonry ASTM C1106 - 00(2012) Standard Test Methods for Chemical Resistance and Physical Properties of Carbon Brick ASTM C1148 - 92a(2014) Standard Test Method for Measuring the Drying Shrinkage of Masonry Mortar ASTM C1180 - 10 Standard Terminology of Mortar and Grout for Unit Masonry ASTM C1218 / C1218M - 15 Standard Test Method for Water-Soluble Chloride in Mortar and Concrete ASTM C1324 - 15 Standard Test Method for Examination and Analysis of Hardened Masonry Mortar ASTM C1384 - 12a Standard Specification for Admixtures for Masonry Mortars ASTM C1400 - 11 Standard Guide for Reduction of Efflorescence Potential in New Masonry Walls ASTM C1403 - 15 Standard Test Method for Rate of Water Absorption of Masonry Mortars Sealants ASTM C509 - 06(2015) Standard Specification for Elastomeric Cellular Preformed Gasket and Sealing Material ASTM C717 - 14a Standard Terminology of Building Seals and Sealants Waterproofing for masonry ASTM D5095 - 91(2013) Standard Test Method for Determination of the Nonvolatile Content in Silanes, Siloxanes and Silane-Siloxane Blends Used in Masonry Water Repellent Treatments ASTM D6532 - 00(2014) Standard Test Method for Evaluation of the Effect of Clear Water Repellent Treatments on Water Absorption of Hydraulic Cement Mortar Specimens ASTM C898 / C898M - 09 Standard Guide for Use of High Solids Content, Cold Liquid-Applied Elastomeric Waterproofing Membrane With Separate Wearing Course |
| AS | Masonry AS 1617.1-2003 (R2013) Refractory bricks and shapes - Fireclay AS 1618-2003 (R2013) Dimensions and preferred sizes for refractory bricks AS/NZS 2699.1:2000 Built-in components for masonry construction - Wall ties AS/NZS 2699.2:2000 Built-in components for masonry construction, - Connectors and accessories AS 4773.2-2010 Masonry in small buildings - Construction/ AS 4773.1-2010 Masonry in small buildings - Design/ AS 3700-2011 Masonry structures AS 4517.1-2006 Blanks for superabrasive cutting-off wheels - Manually guided cutting-off in building and civil engineering/ AS 4517.2-2006 Blanks for superabrasive cutting-off wheels - Hand-held cutting-off in building and civil engineering AS/NZS 4524.10:1998 Bonded abrasive products - Dimensions - Honing stones and superfinishings AS/NZS 4284:2008 Testing of building facades Mortar AS 1478.1-2000 Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 2350.12-2006 Methods of testing portland, blended and masonry cements - Preparation of a standard mortar and moulding of specimens AS 1316-2003 Masonry cement AS/NZS 2350.11:2006 Methods of testing portland, blended and masonry cements - Compressive strength AS/NZS 2350.16:2006 Methods of testing portland, blended and masonry cements - Determination of air content of masonry cement AS/NZS 2350.17:2001 Methods of testing portland, blended and masonry cements - Determination of soundness of masonry cements AS/NZS 2350.18:2006 Methods of testing portland, blended and masonry cements - Determination of water retention of masonry cement AS 2701-2001 Methods of sampling and testing mortar for masonry construction Waterproofing for masonry AS 4654.1-2012 Waterproofing membranes for external above-ground use - Materials AS 4654.2-2012 Waterproofing membranes for external above-ground use - Design and installation |
| SS | Masonry SS EN 197 - 1 : 2014 Cement - Part 1 : Composition, specifications and conformity criteria for common cement/ SS EN 197 - 2 : 2014 Cement - Part 2 : Conformity evaluation SS EN 12620 : 2008 Specification for aggregates for concrete SS 509 - 1 : 2015 Code of practice for cleaning and surface repair of buildings – Part 1 : Cleaning of natural stone, brick, terracotta, concrete and rendered finishes/ SS 509 - 2 : 2005 (2015) Code of practice for cleaning and surface repair of buildings - Surface repair of natural stones, brick, terracotta and rendered finishes Mortar SS EN 934 - 1 : 2008 (2015) Admixtures for concrete, mortar and grout - Common requirements/ SS EN 934 - 2 : 2015 Admixtures for concrete, mortar and grout - Part 2 : Definitions, requirements – Concrete admixtures – Definitions, requirements, conformity, marking and labelling/ SS EN 934 - 6 : 2008 (2015) Admixtures for concrete, mortar and grout - Sampling, conformity control and evaluation of conformity |
| ISO | Masonry ISO 9652-4:2000 Masonry - Part 4: Test methods ISO 9652-5:2000 Masonry - Part 5: Vocabulary ISO 12678-1:1996 Refractory products - Measurement of dimensions and external defects of refractory bricks - Part 1: Dimensions and conformity to drawings ISO 12678-2:1996 Refractory products - Measurement of dimensions and external defects of refractory bricks - Part 2: Corner and edge defects and other surface imperfections Sealant ISO 10563:2005 Building construction - Sealants - Determination of change in mass and volume ISO 10590:2005 Building construction - Sealants - Determination of tensile properties of sealants at maintained extension after immersion in water ISO 10591:2005 Building construction -- Sealants -- Determination of adhesion/cohesion properties of sealants after immersion in water ISO 11431:2002 Building construction -- Jointing products -- Determination of adhesion/cohesion properties of sealants after exposure to heat, water and artificial light through glass ISO 11432:2005 Building construction -- Sealants -- Determination of resistance to compression ISO 11600:2002 Building construction -- Jointing products -- Classification and requirements for sealants ISO 13638:1996 Building construction - Sealants - Determination of resistance to prolonged exposure to water ISO 8340:2005 Building construction -- Sealants -- Determination of tensile properties at maintained extension ISO 8394-1:2010 Building construction -- Jointing products -- Part 1: Determination of extrudability of sealants ISO 9047:2001 Building construction - Jointing products - Determination of adhesion/cohesion properties of sealants at variable temperatures Waterproofing for masonry ISO 7783:2011 Paints and varnishes -- Determination of water-vapour transmission properties -- Cup method |

## Efflorescence

| BS | Masonry BS EN 459-1:2015 Building lime. Definitions, specifications and conformity criteriaBS EN 459-1:2015 Building lime. Definitions, specifications and conformity criteria BS EN 772-3:1998 Methods of test for masonry units. Determination of net volume and percentage of voids of clay masonry units by hydrostatic weighing/ BS EN 772-7:1998 Methods of test for masonry units. Determination of water absorption of clay masonry damp proof course units by boiling in water/ BS EN 771-1:2011 Specification for masonry units. Clay masonry units PD 6697:2010 Recommendations for the design of masonry structures to BS EN 1996-1-1 and BS EN 1996-2/ BS EN 1996-3:2006 Eurocode 6. Design of masonry structures. Simplified calculation methods for unreinforced masonry structures/ BS EN 1996-2:2006 Eurocode 6. Design of masonry structures. Design considerations, selection of materials and execution of masonry/ BS EN 1996-1-1:2005+A1:2012 Eurocode 6. Design of masonry structures. General rules for reinforced and unreinforced masonry structures PD 6697:2010 Recommendations for the design of masonry structures to BS EN 1996-1-1 and BS EN 1996-2/ BS EN 1996-3:2006 Eurocode 6. Design of masonry structures. Simplified calculation methods for unreinforced masonry structures/ BS EN 1996-2:2006 Eurocode 6. Design of masonry structures. Design considerations, selection of materials and execution of masonry/ BS EN 1996-1-2:2005 Eurocode 6. Design of masonry structures. General rules. Structural fire design BS 6100-6:2008 Building and civil engineering. Vocabulary. Construction parts BS EN 772-1:2011+A1:2015 Methods of test for masonry units. Determination of compressive strength BS EN 772-2:1998 Methods of test for masonry units. Determination of percentage area of voids in masonry units (by paper indentation) BS EN 772-5:2016 Methods of test for masonry units. Determination of the active soluble salts content of clay masonry units BS EN 772-7:1998 Methods of test for masonry units. Determination of water absorption of clay masonry damp proof course units by boiling in water BS EN 772-19:2000 Methods of test for masonry units. Determination of moisture expansion of large horizontally perforated clay masonry units BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS 8221-1:2012 Code of practice for cleaning and surface repair of buildings. Cleaning of natural stone, brick, terracotta and concrete BS 8221-2:2000 Code of practice for cleaning and surface repair of buildings. Surface repair of natural stones, brick and terracotta Mortar BS EN 413-2:2005 Masonry cement. Test methods BS EN 772-1:2011+A1:2015 Methods of test for masonry units. Determination of compressive strength BS EN 772-5:2016 Methods of test for masonry units. Determination of the active soluble salts content of clay masonry units BS EN 772-16:2011 Methods of test for masonry units. Determination of dimensions BS EN 998-2:2010 Specification for mortar for masonry. Masonry mortar BS EN 1015-1:1999 Methods of test for mortar for masonry. Determination of particle size distribution (by sieve analysis) BS EN 1015-2:1999 Methods of test for mortar for masonry. Bulk sampling of mortars and preparation of test mortars BS EN 1015-3:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by flow table) BS EN 1015-4:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by plunger penetration) BS EN 1015-6:1999 Methods of test for mortar for masonry. Determination of bulk density of fresh mortar BS EN 1015-7:1999 Methods of test for mortar for masonry. Determination of air content of fresh mortar BS EN 1015-9:1999 Methods of test for mortar for masonry. Determination of workable life and correction time of fresh mortar BS EN 1015-10:1999 Methods of test for mortar for masonry. Determination of dry bulk density of hardened mortar BS EN 1015-11:1999 Methods of test for mortar for masonry. Determination of flexural and compressive strength of hardened mortar BS EN 1015-12:2000 Methods of test for mortar for masonry. Determination of adhesive strength of hardened rendering and plastering mortars on substrates BS EN 1015-17:2000 Methods of test for mortar for masonry. Determination of water-soluble chloride content of fresh mortars BS EN 1052-1:1999 Methods of test for masonry. Determination of compressive strength BS EN 1052-2:2016 Methods of test for masonry. Determination of flexural strength BS EN 13139:2002 Aggregates for mortar BS EN 13139:2002 Aggregates for mortar BS EN 845-1:2013 Specification for ancillary components for masonry. Wall ties, tension straps, hangers and brackets BS EN 13055-1:2002 Lightweight aggregates. Lightweight aggregates for concrete, mortar and grout BS EN 998-2:2010 Specification for mortar for masonry . Masonry mortar/ BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar BS EN 413-1:2011 Masonry cement. Composition, specifications and conformity criteria Sealants BS EN ISO 11600:2003+A1:2011 Building construction. Jointing products. Classification and requirements for sealants BS 4255-1:1986 Rubber used in preformed gaskets for weather exclusion from buildings. Specification for non-cellular gaskets BS 6213:2000+A1:2010 Selection of construction sealants. Guide Waterproofing for masonry BS 8215:1991 Code of practice for design and installation of damp-proof courses in masonry construction BS EN 772-7:1998 Methods of test for masonry units. Determination of water absorption of clay masonry damp proof course units by boiling in water BS EN 1052-4:2000 Methods of test for masonry. Determination of shear strength including damp proof course |
| --- | --- |
| ASTM | Masonry ASTM C216 - 15 Standard Specification for Facing Brick (Solid Masonry Units Made from Clay or Shale) ASTM C62 - 13a Standard Specification for Building Brick (Solid Masonry Units Made From Clay or Shale) ASTM C652 - 15 Standard Specification for Hollow Brick (Hollow Masonry Units Made From Clay or Shale) ASTM C212 - 14 Standard Specification for Structural Clay Facing Tile ASTM C34 - 13 Standard Specification for Structural Clay Load-Bearing Wall Tile. ASTM C67 - 14 Standard Test Methods for Sampling and Testing Brick and Structural Clay Tile. ASTM C91 / C91M - 12 Standard Specification for Masonry Cement ASTM C207 - 06(2011) Standard Specification for Hydrated Lime for Masonry Purposes ASTM E518 / E518M - 15 Standard Test Methods for Flexural Bond Strength of Masonry ASTM C1072 - 13e1 Standard Test Methods for Measurement of Masonry Flexural Bond Strength ASTM C67 - 14 Standard Test Methods for Sampling and Testing Brick and Structural Clay Tile ASTM C73 - 14 Standard Specification for Calcium Silicate Brick (Sand-Lime Brick) ASTM C126 - 15 Standard Specification for Ceramic Glazed Structural Clay Facing Tile, Facing Brick, and Solid Masonry Units Mortar ASTM C144 - 11 Standard Specification for Aggregate for Masonry Mortar ASTM C270 - 14a Standard Specification for Mortar for Unit Masonry ASTM C476 - 10 Standard Specification for Grout for Masonry. ASTM C1019 - 16 Standard Test Method for Sampling and Testing Grout ASTM C150 / C150M - 15 Standard Specification for Portland Cement ASTM C595 / C595M - 15e1 Standard Specification for Blended Hydraulic Cements ASTM C109 / C109M - 16 Standard Test Method for Compressive Strength of Hydraulic Cement Mortars (Using 2-in. or [50-mm] Cube Specimens) ASTM C780 - 15a Standard Test Method for Preconstruction and Construction Evaluation of Mortars for Plain and Reinforced Unit Masonry. ASTM C979 / C979M - 16 Standard Specification for Pigments for Integrally Colored Concrete ASTM C780 - 15a Standard Test Method for Preconstruction and Construction Evaluation of Mortars for Plain and Reinforced Unit Masonry ASTM C896 - 15 Standard Terminology Relating to Clay Products ASTM C1006 - 07(2013) Standard Test Method for Splitting Tensile Strength of Masonry Units ASTM C1019 - 16 Standard Test Method for Sampling and Testing Grout ASTM C1088 - 14 Standard Specification for Thin Veneer Brick Units Made From Clay or Shale ASTM C1093 - 15a Standard Practice for Accreditation of Testing Agencies for Masonry ASTM C1106 - 00(2012) Standard Test Methods for Chemical Resistance and Physical Properties of Carbon Brick ASTM C1148 - 92a(2014) Standard Test Method for Measuring the Drying Shrinkage of Masonry Mortar ASTM C1180 - 10 Standard Terminology of Mortar and Grout for Unit Masonry ASTM C1218 / C1218M - 15 Standard Test Method for Water-Soluble Chloride in Mortar and Concrete ASTM C1324 - 15 Standard Test Method for Examination and Analysis of Hardened Masonry Mortar ASTM C1384 - 12a Standard Specification for Admixtures for Masonry Mortars ASTM C1400 - 11 Standard Guide for Reduction of Efflorescence Potential in New Masonry Walls ASTM C1403 - 15 Standard Test Method for Rate of Water Absorption of Masonry Mortars Sealants ASTM C509 - 06(2015) Standard Specification for Elastomeric Cellular Preformed Gasket and Sealing Material ASTM C717 - 14a Standard Terminology of Building Seals and Sealants Waterproofing for masonry ASTM D5095 - 91(2013) Standard Test Method for Determination of the Nonvolatile Content in Silanes, Siloxanes and Silane-Siloxane Blends Used in Masonry Water Repellent Treatments ASTM D6532 - 00(2014) Standard Test Method for Evaluation of the Effect of Clear Water Repellent Treatments on Water Absorption of Hydraulic Cement Mortar Specimens ASTM C898 / C898M - 09 Standard Guide for Use of High Solids Content, Cold Liquid-Applied Elastomeric Waterproofing Membrane With Separate Wearing Course |
| AS | Masonry AS 1617.1-2003 (R2013) Refractory bricks and shapes - Fireclay AS 1618-2003 (R2013) Dimensions and preferred sizes for refractory bricks AS/NZS 2699.1:2000 Built-in components for masonry construction - Wall ties AS/NZS 2699.2:2000 Built-in components for masonry construction, - Connectors and accessories AS 4773.2-2010 Masonry in small buildings - Construction/ AS 4773.1-2010 Masonry in small buildings - Design/ AS 3700-2011 Masonry structures AS 4517.1-2006 Blanks for superabrasive cutting-off wheels - Manually guided cutting-off in building and civil engineering/ AS 4517.2-2006 Blanks for superabrasive cutting-off wheels - Hand-held cutting-off in building and civil engineering AS/NZS 4524.10:1998 Bonded abrasive products - Dimensions - Honing stones and superfinishings AS/NZS 4284:2008 Testing of building facades Mortar AS 1478.1-2000 Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 2350.12-2006 Methods of testing portland, blended and masonry cements - Preparation of a standard mortar and moulding of specimens AS 1316-2003 Masonry cement AS/NZS 2350.11:2006 Methods of testing portland, blended and masonry cements - Compressive strength AS/NZS 2350.16:2006 Methods of testing portland, blended and masonry cements - Determination of air content of masonry cement AS/NZS 2350.17:2001 Methods of testing portland, blended and masonry cements - Determination of soundness of masonry cements AS/NZS 2350.18:2006 Methods of testing portland, blended and masonry cements - Determination of water retention of masonry cement AS 2701-2001 Methods of sampling and testing mortar for masonry construction Waterproofing for masonry AS 4654.1-2012 Waterproofing membranes for external above-ground use - Materials AS 4654.2-2012 Waterproofing membranes for external above-ground use - Design and installation |
| SS | Masonry SS EN 197 - 1 : 2014 Cement - Part 1 : Composition, specifications and conformity criteria for common cement/ SS EN 197 - 2 : 2014 Cement - Part 2 : Conformity evaluation SS EN 12620 : 2008 Specification for aggregates for concrete SS 509 - 1 : 2015 Code of practice for cleaning and surface repair of buildings – Part 1 : Cleaning of natural stone, brick, terracotta, concrete and rendered finishes/ SS 509 - 2 : 2005 (2015) Code of practice for cleaning and surface repair of buildings - Surface repair of natural stones, brick, terracotta and rendered finishes Mortar SS EN 934 - 1 : 2008 (2015) Admixtures for concrete, mortar and grout - Common requirements/ SS EN 934 - 2 : 2015 Admixtures for concrete, mortar and grout - Part 2 : Definitions, requirements – Concrete admixtures – Definitions, requirements, conformity, marking and labelling/ SS EN 934 - 6 : 2008 (2015) Admixtures for concrete, mortar and grout - Sampling, conformity control and evaluation of conformity |
| ISO | Masonry ISO 9652-4:2000 Masonry - Part 4: Test methods ISO 9652-5:2000 Masonry - Part 5: Vocabulary ISO 12678-1:1996 Refractory products - Measurement of dimensions and external defects of refractory bricks - Part 1: Dimensions and conformity to drawings ISO 12678-2:1996 Refractory products - Measurement of dimensions and external defects of refractory bricks - Part 2: Corner and edge defects and other surface imperfections Sealant ISO 10563:2005 Building construction - Sealants - Determination of change in mass and volume ISO 10590:2005 Building construction - Sealants - Determination of tensile properties of sealants at maintained extension after immersion in water ISO 10591:2005 Building construction -- Sealants -- Determination of adhesion/cohesion properties of sealants after immersion in water ISO 11431:2002 Building construction -- Jointing products -- Determination of adhesion/cohesion properties of sealants after exposure to heat, water and artificial light through glass ISO 11432:2005 Building construction -- Sealants -- Determination of resistance to compression ISO 11600:2002 Building construction -- Jointing products -- Classification and requirements for sealants ISO 13638:1996 Building construction - Sealants - Determination of resistance to prolonged exposure to water ISO 8340:2005 Building construction -- Sealants -- Determination of tensile properties at maintained extension ISO 8394-1:2010 Building construction -- Jointing products -- Part 1: Determination of extrudability of sealants ISO 9047:2001 Building construction - Jointing products - Determination of adhesion/cohesion properties of sealants at variable temperatures Waterproofing for masonry ISO 7783:2011 Paints and varnishes -- Determination of water-vapour transmission properties -- Cup method |

## Efflorescence - Scumming

| BS | Masonry BS EN 459-1:2015 Building lime. Definitions, specifications and conformity criteriaBS EN 459-1:2015 Building lime. Definitions, specifications and conformity criteria BS EN 772-3:1998 Methods of test for masonry units. Determination of net volume and percentage of voids of clay masonry units by hydrostatic weighing/ BS EN 772-7:1998 Methods of test for masonry units. Determination of water absorption of clay masonry damp proof course units by boiling in water/ BS EN 771-1:2011 Specification for masonry units. Clay masonry units PD 6697:2010 Recommendations for the design of masonry structures to BS EN 1996-1-1 and BS EN 1996-2/ BS EN 1996-3:2006 Eurocode 6. Design of masonry structures. Simplified calculation methods for unreinforced masonry structures/ BS EN 1996-2:2006 Eurocode 6. Design of masonry structures. Design considerations, selection of materials and execution of masonry/ BS EN 1996-1-1:2005+A1:2012 Eurocode 6. Design of masonry structures. General rules for reinforced and unreinforced masonry structures PD 6697:2010 Recommendations for the design of masonry structures to BS EN 1996-1-1 and BS EN 1996-2/ BS EN 1996-3:2006 Eurocode 6. Design of masonry structures. Simplified calculation methods for unreinforced masonry structures/ BS EN 1996-2:2006 Eurocode 6. Design of masonry structures. Design considerations, selection of materials and execution of masonry/ BS EN 1996-1-2:2005 Eurocode 6. Design of masonry structures. General rules. Structural fire design BS 6100-6:2008 Building and civil engineering. Vocabulary. Construction parts BS EN 772-1:2011+A1:2015 Methods of test for masonry units. Determination of compressive strength BS EN 772-2:1998 Methods of test for masonry units. Determination of percentage area of voids in masonry units (by paper indentation) BS EN 772-5:2016 Methods of test for masonry units. Determination of the active soluble salts content of clay masonry units BS EN 772-7:1998 Methods of test for masonry units. Determination of water absorption of clay masonry damp proof course units by boiling in water BS EN 772-19:2000 Methods of test for masonry units. Determination of moisture expansion of large horizontally perforated clay masonry units BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS 8221-1:2012 Code of practice for cleaning and surface repair of buildings. Cleaning of natural stone, brick, terracotta and concrete BS 8221-2:2000 Code of practice for cleaning and surface repair of buildings. Surface repair of natural stones, brick and terracotta Mortar BS EN 413-2:2005 Masonry cement. Test methods BS EN 772-1:2011+A1:2015 Methods of test for masonry units. Determination of compressive strength BS EN 772-5:2016 Methods of test for masonry units. Determination of the active soluble salts content of clay masonry units BS EN 772-16:2011 Methods of test for masonry units. Determination of dimensions BS EN 998-2:2010 Specification for mortar for masonry. Masonry mortar BS EN 1015-1:1999 Methods of test for mortar for masonry. Determination of particle size distribution (by sieve analysis) BS EN 1015-2:1999 Methods of test for mortar for masonry. Bulk sampling of mortars and preparation of test mortars BS EN 1015-3:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by flow table) BS EN 1015-4:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by plunger penetration) BS EN 1015-6:1999 Methods of test for mortar for masonry. Determination of bulk density of fresh mortar BS EN 1015-7:1999 Methods of test for mortar for masonry. Determination of air content of fresh mortar BS EN 1015-9:1999 Methods of test for mortar for masonry. Determination of workable life and correction time of fresh mortar BS EN 1015-10:1999 Methods of test for mortar for masonry. Determination of dry bulk density of hardened mortar BS EN 1015-11:1999 Methods of test for mortar for masonry. Determination of flexural and compressive strength of hardened mortar BS EN 1015-12:2000 Methods of test for mortar for masonry. Determination of adhesive strength of hardened rendering and plastering mortars on substrates BS EN 1015-17:2000 Methods of test for mortar for masonry. Determination of water-soluble chloride content of fresh mortars BS EN 1052-1:1999 Methods of test for masonry. Determination of compressive strength BS EN 1052-2:2016 Methods of test for masonry. Determination of flexural strength BS EN 13139:2002 Aggregates for mortar BS EN 13139:2002 Aggregates for mortar BS EN 845-1:2013 Specification for ancillary components for masonry. Wall ties, tension straps, hangers and brackets BS EN 13055-1:2002 Lightweight aggregates. Lightweight aggregates for concrete, mortar and grout BS EN 998-2:2010 Specification for mortar for masonry . Masonry mortar/ BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar BS EN 413-1:2011 Masonry cement. Composition, specifications and conformity criteria Sealants BS EN ISO 11600:2003+A1:2011 Building construction. Jointing products. Classification and requirements for sealants BS 4255-1:1986 Rubber used in preformed gaskets for weather exclusion from buildings. Specification for non-cellular gaskets BS 6213:2000+A1:2010 Selection of construction sealants. Guide Waterproofing for masonry BS 8215:1991 Code of practice for design and installation of damp-proof courses in masonry construction BS EN 772-7:1998 Methods of test for masonry units. Determination of water absorption of clay masonry damp proof course units by boiling in water BS EN 1052-4:2000 Methods of test for masonry. Determination of shear strength including damp proof course |
| --- | --- |
| ASTM | Masonry ASTM C216 - 15 Standard Specification for Facing Brick (Solid Masonry Units Made from Clay or Shale) ASTM C62 - 13a Standard Specification for Building Brick (Solid Masonry Units Made From Clay or Shale) ASTM C652 - 15 Standard Specification for Hollow Brick (Hollow Masonry Units Made From Clay or Shale) ASTM C212 - 14 Standard Specification for Structural Clay Facing Tile ASTM C34 - 13 Standard Specification for Structural Clay Load-Bearing Wall Tile. ASTM C67 - 14 Standard Test Methods for Sampling and Testing Brick and Structural Clay Tile. ASTM C91 / C91M - 12 Standard Specification for Masonry Cement ASTM C207 - 06(2011) Standard Specification for Hydrated Lime for Masonry Purposes ASTM E518 / E518M - 15 Standard Test Methods for Flexural Bond Strength of Masonry ASTM C1072 - 13e1 Standard Test Methods for Measurement of Masonry Flexural Bond Strength ASTM C67 - 14 Standard Test Methods for Sampling and Testing Brick and Structural Clay Tile ASTM C73 - 14 Standard Specification for Calcium Silicate Brick (Sand-Lime Brick) ASTM C126 - 15 Standard Specification for Ceramic Glazed Structural Clay Facing Tile, Facing Brick, and Solid Masonry Units Mortar ASTM C144 - 11 Standard Specification for Aggregate for Masonry Mortar ASTM C270 - 14a Standard Specification for Mortar for Unit Masonry ASTM C476 - 10 Standard Specification for Grout for Masonry. ASTM C1019 - 16 Standard Test Method for Sampling and Testing Grout ASTM C150 / C150M - 15 Standard Specification for Portland Cement ASTM C595 / C595M - 15e1 Standard Specification for Blended Hydraulic Cements ASTM C109 / C109M - 16 Standard Test Method for Compressive Strength of Hydraulic Cement Mortars (Using 2-in. or [50-mm] Cube Specimens) ASTM C780 - 15a Standard Test Method for Preconstruction and Construction Evaluation of Mortars for Plain and Reinforced Unit Masonry. ASTM C979 / C979M - 16 Standard Specification for Pigments for Integrally Colored Concrete ASTM C780 - 15a Standard Test Method for Preconstruction and Construction Evaluation of Mortars for Plain and Reinforced Unit Masonry ASTM C896 - 15 Standard Terminology Relating to Clay Products ASTM C1006 - 07(2013) Standard Test Method for Splitting Tensile Strength of Masonry Units ASTM C1019 - 16 Standard Test Method for Sampling and Testing Grout ASTM C1088 - 14 Standard Specification for Thin Veneer Brick Units Made From Clay or Shale ASTM C1093 - 15a Standard Practice for Accreditation of Testing Agencies for Masonry ASTM C1106 - 00(2012) Standard Test Methods for Chemical Resistance and Physical Properties of Carbon Brick ASTM C1148 - 92a(2014) Standard Test Method for Measuring the Drying Shrinkage of Masonry Mortar ASTM C1180 - 10 Standard Terminology of Mortar and Grout for Unit Masonry ASTM C1218 / C1218M - 15 Standard Test Method for Water-Soluble Chloride in Mortar and Concrete ASTM C1324 - 15 Standard Test Method for Examination and Analysis of Hardened Masonry Mortar ASTM C1384 - 12a Standard Specification for Admixtures for Masonry Mortars ASTM C1400 - 11 Standard Guide for Reduction of Efflorescence Potential in New Masonry Walls ASTM C1403 - 15 Standard Test Method for Rate of Water Absorption of Masonry Mortars Sealants ASTM C509 - 06(2015) Standard Specification for Elastomeric Cellular Preformed Gasket and Sealing Material ASTM C717 - 14a Standard Terminology of Building Seals and Sealants Waterproofing for masonry ASTM D5095 - 91(2013) Standard Test Method for Determination of the Nonvolatile Content in Silanes, Siloxanes and Silane-Siloxane Blends Used in Masonry Water Repellent Treatments ASTM D6532 - 00(2014) Standard Test Method for Evaluation of the Effect of Clear Water Repellent Treatments on Water Absorption of Hydraulic Cement Mortar Specimens ASTM C898 / C898M - 09 Standard Guide for Use of High Solids Content, Cold Liquid-Applied Elastomeric Waterproofing Membrane With Separate Wearing Course |
| AS | Masonry AS 1617.1-2003 (R2013) Refractory bricks and shapes - Fireclay AS 1618-2003 (R2013) Dimensions and preferred sizes for refractory bricks AS/NZS 2699.1:2000 Built-in components for masonry construction - Wall ties AS/NZS 2699.2:2000 Built-in components for masonry construction, - Connectors and accessories AS 4773.2-2010 Masonry in small buildings - Construction/ AS 4773.1-2010 Masonry in small buildings - Design/ AS 3700-2011 Masonry structures AS 4517.1-2006 Blanks for superabrasive cutting-off wheels - Manually guided cutting-off in building and civil engineering/ AS 4517.2-2006 Blanks for superabrasive cutting-off wheels - Hand-held cutting-off in building and civil engineering AS/NZS 4524.10:1998 Bonded abrasive products - Dimensions - Honing stones and superfinishings AS/NZS 4284:2008 Testing of building facades Mortar AS 1478.1-2000 Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 2350.12-2006 Methods of testing portland, blended and masonry cements - Preparation of a standard mortar and moulding of specimens AS 1316-2003 Masonry cement AS/NZS 2350.11:2006 Methods of testing portland, blended and masonry cements - Compressive strength AS/NZS 2350.16:2006 Methods of testing portland, blended and masonry cements - Determination of air content of masonry cement AS/NZS 2350.17:2001 Methods of testing portland, blended and masonry cements - Determination of soundness of masonry cements AS/NZS 2350.18:2006 Methods of testing portland, blended and masonry cements - Determination of water retention of masonry cement AS 2701-2001 Methods of sampling and testing mortar for masonry construction Waterproofing for masonry AS 4654.1-2012 Waterproofing membranes for external above-ground use - Materials AS 4654.2-2012 Waterproofing membranes for external above-ground use - Design and installation |
| SS | Masonry SS EN 197 - 1 : 2014 Cement - Part 1 : Composition, specifications and conformity criteria for common cement/ SS EN 197 - 2 : 2014 Cement - Part 2 : Conformity evaluation SS EN 12620 : 2008 Specification for aggregates for concrete SS 509 - 1 : 2015 Code of practice for cleaning and surface repair of buildings – Part 1 : Cleaning of natural stone, brick, terracotta, concrete and rendered finishes/ SS 509 - 2 : 2005 (2015) Code of practice for cleaning and surface repair of buildings - Surface repair of natural stones, brick, terracotta and rendered finishes Mortar SS EN 934 - 1 : 2008 (2015) Admixtures for concrete, mortar and grout - Common requirements/ SS EN 934 - 2 : 2015 Admixtures for concrete, mortar and grout - Part 2 : Definitions, requirements – Concrete admixtures – Definitions, requirements, conformity, marking and labelling/ SS EN 934 - 6 : 2008 (2015) Admixtures for concrete, mortar and grout - Sampling, conformity control and evaluation of conformity |
| ISO | Masonry ISO 9652-4:2000 Masonry - Part 4: Test methods ISO 9652-5:2000 Masonry - Part 5: Vocabulary ISO 12678-1:1996 Refractory products - Measurement of dimensions and external defects of refractory bricks - Part 1: Dimensions and conformity to drawings ISO 12678-2:1996 Refractory products - Measurement of dimensions and external defects of refractory bricks - Part 2: Corner and edge defects and other surface imperfections Sealant ISO 10563:2005 Building construction - Sealants - Determination of change in mass and volume ISO 10590:2005 Building construction - Sealants - Determination of tensile properties of sealants at maintained extension after immersion in water ISO 10591:2005 Building construction -- Sealants -- Determination of adhesion/cohesion properties of sealants after immersion in water ISO 11431:2002 Building construction -- Jointing products -- Determination of adhesion/cohesion properties of sealants after exposure to heat, water and artificial light through glass ISO 11432:2005 Building construction -- Sealants -- Determination of resistance to compression ISO 11600:2002 Building construction -- Jointing products -- Classification and requirements for sealants ISO 13638:1996 Building construction - Sealants - Determination of resistance to prolonged exposure to water ISO 8340:2005 Building construction -- Sealants -- Determination of tensile properties at maintained extension ISO 8394-1:2010 Building construction -- Jointing products -- Part 1: Determination of extrudability of sealants ISO 9047:2001 Building construction - Jointing products - Determination of adhesion/cohesion properties of sealants at variable temperatures Waterproofing for masonry ISO 7783:2011 Paints and varnishes -- Determination of water-vapour transmission properties -- Cup method |

## Efflorescence - Leaching of coloured compounds

| BS | Masonry BS EN 459-1:2015 Building lime. Definitions, specifications and conformity criteriaBS EN 459-1:2015 Building lime. Definitions, specifications and conformity criteria BS EN 772-3:1998 Methods of test for masonry units. Determination of net volume and percentage of voids of clay masonry units by hydrostatic weighing/ BS EN 772-7:1998 Methods of test for masonry units. Determination of water absorption of clay masonry damp proof course units by boiling in water/ BS EN 771-1:2011 Specification for masonry units. Clay masonry units PD 6697:2010 Recommendations for the design of masonry structures to BS EN 1996-1-1 and BS EN 1996-2/ BS EN 1996-3:2006 Eurocode 6. Design of masonry structures. Simplified calculation methods for unreinforced masonry structures/ BS EN 1996-2:2006 Eurocode 6. Design of masonry structures. Design considerations, selection of materials and execution of masonry/ BS EN 1996-1-1:2005+A1:2012 Eurocode 6. Design of masonry structures. General rules for reinforced and unreinforced masonry structures PD 6697:2010 Recommendations for the design of masonry structures to BS EN 1996-1-1 and BS EN 1996-2/ BS EN 1996-3:2006 Eurocode 6. Design of masonry structures. Simplified calculation methods for unreinforced masonry structures/ BS EN 1996-2:2006 Eurocode 6. Design of masonry structures. Design considerations, selection of materials and execution of masonry/ BS EN 1996-1-2:2005 Eurocode 6. Design of masonry structures. General rules. Structural fire design BS 6100-6:2008 Building and civil engineering. Vocabulary. Construction parts BS EN 772-1:2011+A1:2015 Methods of test for masonry units. Determination of compressive strength BS EN 772-2:1998 Methods of test for masonry units. Determination of percentage area of voids in masonry units (by paper indentation) BS EN 772-5:2016 Methods of test for masonry units. Determination of the active soluble salts content of clay masonry units BS EN 772-7:1998 Methods of test for masonry units. Determination of water absorption of clay masonry damp proof course units by boiling in water BS EN 772-19:2000 Methods of test for masonry units. Determination of moisture expansion of large horizontally perforated clay masonry units BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS 8221-1:2012 Code of practice for cleaning and surface repair of buildings. Cleaning of natural stone, brick, terracotta and concrete BS 8221-2:2000 Code of practice for cleaning and surface repair of buildings. Surface repair of natural stones, brick and terracotta Mortar BS EN 413-2:2005 Masonry cement. Test methods BS EN 772-1:2011+A1:2015 Methods of test for masonry units. Determination of compressive strength BS EN 772-5:2016 Methods of test for masonry units. Determination of the active soluble salts content of clay masonry units BS EN 772-16:2011 Methods of test for masonry units. Determination of dimensions BS EN 998-2:2010 Specification for mortar for masonry. Masonry mortar BS EN 1015-1:1999 Methods of test for mortar for masonry. Determination of particle size distribution (by sieve analysis) BS EN 1015-2:1999 Methods of test for mortar for masonry. Bulk sampling of mortars and preparation of test mortars BS EN 1015-3:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by flow table) BS EN 1015-4:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by plunger penetration) BS EN 1015-6:1999 Methods of test for mortar for masonry. Determination of bulk density of fresh mortar BS EN 1015-7:1999 Methods of test for mortar for masonry. Determination of air content of fresh mortar BS EN 1015-9:1999 Methods of test for mortar for masonry. Determination of workable life and correction time of fresh mortar BS EN 1015-10:1999 Methods of test for mortar for masonry. Determination of dry bulk density of hardened mortar BS EN 1015-11:1999 Methods of test for mortar for masonry. Determination of flexural and compressive strength of hardened mortar BS EN 1015-12:2000 Methods of test for mortar for masonry. Determination of adhesive strength of hardened rendering and plastering mortars on substrates BS EN 1015-17:2000 Methods of test for mortar for masonry. Determination of water-soluble chloride content of fresh mortars BS EN 1052-1:1999 Methods of test for masonry. Determination of compressive strength BS EN 1052-2:2016 Methods of test for masonry. Determination of flexural strength BS EN 13139:2002 Aggregates for mortar BS EN 13139:2002 Aggregates for mortar BS EN 845-1:2013 Specification for ancillary components for masonry. Wall ties, tension straps, hangers and brackets BS EN 13055-1:2002 Lightweight aggregates. Lightweight aggregates for concrete, mortar and grout BS EN 998-2:2010 Specification for mortar for masonry . Masonry mortar/ BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar BS EN 413-1:2011 Masonry cement. Composition, specifications and conformity criteria Sealants BS EN ISO 11600:2003+A1:2011 Building construction. Jointing products. Classification and requirements for sealants BS 4255-1:1986 Rubber used in preformed gaskets for weather exclusion from buildings. Specification for non-cellular gaskets BS 6213:2000+A1:2010 Selection of construction sealants. Guide Waterproofing for masonry BS 8215:1991 Code of practice for design and installation of damp-proof courses in masonry construction BS EN 772-7:1998 Methods of test for masonry units. Determination of water absorption of clay masonry damp proof course units by boiling in water BS EN 1052-4:2000 Methods of test for masonry. Determination of shear strength including damp proof course |
| --- | --- |
| ASTM | Masonry ASTM C216 - 15 Standard Specification for Facing Brick (Solid Masonry Units Made from Clay or Shale) ASTM C62 - 13a Standard Specification for Building Brick (Solid Masonry Units Made From Clay or Shale) ASTM C652 - 15 Standard Specification for Hollow Brick (Hollow Masonry Units Made From Clay or Shale) ASTM C212 - 14 Standard Specification for Structural Clay Facing Tile ASTM C34 - 13 Standard Specification for Structural Clay Load-Bearing Wall Tile. ASTM C67 - 14 Standard Test Methods for Sampling and Testing Brick and Structural Clay Tile. ASTM C91 / C91M - 12 Standard Specification for Masonry Cement ASTM C207 - 06(2011) Standard Specification for Hydrated Lime for Masonry Purposes ASTM E518 / E518M - 15 Standard Test Methods for Flexural Bond Strength of Masonry ASTM C1072 - 13e1 Standard Test Methods for Measurement of Masonry Flexural Bond Strength ASTM C67 - 14 Standard Test Methods for Sampling and Testing Brick and Structural Clay Tile ASTM C73 - 14 Standard Specification for Calcium Silicate Brick (Sand-Lime Brick) ASTM C126 - 15 Standard Specification for Ceramic Glazed Structural Clay Facing Tile, Facing Brick, and Solid Masonry Units Mortar ASTM C144 - 11 Standard Specification for Aggregate for Masonry Mortar ASTM C270 - 14a Standard Specification for Mortar for Unit Masonry ASTM C476 - 10 Standard Specification for Grout for Masonry. ASTM C1019 - 16 Standard Test Method for Sampling and Testing Grout ASTM C150 / C150M - 15 Standard Specification for Portland Cement ASTM C595 / C595M - 15e1 Standard Specification for Blended Hydraulic Cements ASTM C109 / C109M - 16 Standard Test Method for Compressive Strength of Hydraulic Cement Mortars (Using 2-in. or [50-mm] Cube Specimens) ASTM C780 - 15a Standard Test Method for Preconstruction and Construction Evaluation of Mortars for Plain and Reinforced Unit Masonry. ASTM C979 / C979M - 16 Standard Specification for Pigments for Integrally Colored Concrete ASTM C780 - 15a Standard Test Method for Preconstruction and Construction Evaluation of Mortars for Plain and Reinforced Unit Masonry ASTM C896 - 15 Standard Terminology Relating to Clay Products ASTM C1006 - 07(2013) Standard Test Method for Splitting Tensile Strength of Masonry Units ASTM C1019 - 16 Standard Test Method for Sampling and Testing Grout ASTM C1088 - 14 Standard Specification for Thin Veneer Brick Units Made From Clay or Shale ASTM C1093 - 15a Standard Practice for Accreditation of Testing Agencies for Masonry ASTM C1106 - 00(2012) Standard Test Methods for Chemical Resistance and Physical Properties of Carbon Brick ASTM C1148 - 92a(2014) Standard Test Method for Measuring the Drying Shrinkage of Masonry Mortar ASTM C1180 - 10 Standard Terminology of Mortar and Grout for Unit Masonry ASTM C1218 / C1218M - 15 Standard Test Method for Water-Soluble Chloride in Mortar and Concrete ASTM C1324 - 15 Standard Test Method for Examination and Analysis of Hardened Masonry Mortar ASTM C1384 - 12a Standard Specification for Admixtures for Masonry Mortars ASTM C1400 - 11 Standard Guide for Reduction of Efflorescence Potential in New Masonry Walls ASTM C1403 - 15 Standard Test Method for Rate of Water Absorption of Masonry Mortars Sealants ASTM C509 - 06(2015) Standard Specification for Elastomeric Cellular Preformed Gasket and Sealing Material ASTM C717 - 14a Standard Terminology of Building Seals and Sealants Waterproofing for masonry ASTM D5095 - 91(2013) Standard Test Method for Determination of the Nonvolatile Content in Silanes, Siloxanes and Silane-Siloxane Blends Used in Masonry Water Repellent Treatments ASTM D6532 - 00(2014) Standard Test Method for Evaluation of the Effect of Clear Water Repellent Treatments on Water Absorption of Hydraulic Cement Mortar Specimens ASTM C898 / C898M - 09 Standard Guide for Use of High Solids Content, Cold Liquid-Applied Elastomeric Waterproofing Membrane With Separate Wearing Course |
| AS | Masonry AS 1617.1-2003 (R2013) Refractory bricks and shapes - Fireclay AS 1618-2003 (R2013) Dimensions and preferred sizes for refractory bricks AS/NZS 2699.1:2000 Built-in components for masonry construction - Wall ties AS/NZS 2699.2:2000 Built-in components for masonry construction, - Connectors and accessories AS 4773.2-2010 Masonry in small buildings - Construction/ AS 4773.1-2010 Masonry in small buildings - Design/ AS 3700-2011 Masonry structures AS 4517.1-2006 Blanks for superabrasive cutting-off wheels - Manually guided cutting-off in building and civil engineering/ AS 4517.2-2006 Blanks for superabrasive cutting-off wheels - Hand-held cutting-off in building and civil engineering AS/NZS 4524.10:1998 Bonded abrasive products - Dimensions - Honing stones and superfinishings AS/NZS 4284:2008 Testing of building facades Mortar AS 1478.1-2000 Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 2350.12-2006 Methods of testing portland, blended and masonry cements - Preparation of a standard mortar and moulding of specimens AS 1316-2003 Masonry cement AS/NZS 2350.11:2006 Methods of testing portland, blended and masonry cements - Compressive strength AS/NZS 2350.16:2006 Methods of testing portland, blended and masonry cements - Determination of air content of masonry cement AS/NZS 2350.17:2001 Methods of testing portland, blended and masonry cements - Determination of soundness of masonry cements AS/NZS 2350.18:2006 Methods of testing portland, blended and masonry cements - Determination of water retention of masonry cement AS 2701-2001 Methods of sampling and testing mortar for masonry construction Waterproofing for masonry AS 4654.1-2012 Waterproofing membranes for external above-ground use - Materials AS 4654.2-2012 Waterproofing membranes for external above-ground use - Design and installation |
| SS | Masonry SS EN 197 - 1 : 2014 Cement - Part 1 : Composition, specifications and conformity criteria for common cement/ SS EN 197 - 2 : 2014 Cement - Part 2 : Conformity evaluation SS EN 12620 : 2008 Specification for aggregates for concrete SS 509 - 1 : 2015 Code of practice for cleaning and surface repair of buildings – Part 1 : Cleaning of natural stone, brick, terracotta, concrete and rendered finishes/ SS 509 - 2 : 2005 (2015) Code of practice for cleaning and surface repair of buildings - Surface repair of natural stones, brick, terracotta and rendered finishes Mortar SS EN 934 - 1 : 2008 (2015) Admixtures for concrete, mortar and grout - Common requirements/ SS EN 934 - 2 : 2015 Admixtures for concrete, mortar and grout - Part 2 : Definitions, requirements – Concrete admixtures – Definitions, requirements, conformity, marking and labelling/ SS EN 934 - 6 : 2008 (2015) Admixtures for concrete, mortar and grout - Sampling, conformity control and evaluation of conformity |
| ISO | Masonry ISO 9652-4:2000 Masonry - Part 4: Test methods ISO 9652-5:2000 Masonry - Part 5: Vocabulary ISO 12678-1:1996 Refractory products - Measurement of dimensions and external defects of refractory bricks - Part 1: Dimensions and conformity to drawings ISO 12678-2:1996 Refractory products - Measurement of dimensions and external defects of refractory bricks - Part 2: Corner and edge defects and other surface imperfections Sealant ISO 10563:2005 Building construction - Sealants - Determination of change in mass and volume ISO 10590:2005 Building construction - Sealants - Determination of tensile properties of sealants at maintained extension after immersion in water ISO 10591:2005 Building construction -- Sealants -- Determination of adhesion/cohesion properties of sealants after immersion in water ISO 11431:2002 Building construction -- Jointing products -- Determination of adhesion/cohesion properties of sealants after exposure to heat, water and artificial light through glass ISO 11432:2005 Building construction -- Sealants -- Determination of resistance to compression ISO 11600:2002 Building construction -- Jointing products -- Classification and requirements for sealants ISO 13638:1996 Building construction - Sealants - Determination of resistance to prolonged exposure to water ISO 8340:2005 Building construction -- Sealants -- Determination of tensile properties at maintained extension ISO 8394-1:2010 Building construction -- Jointing products -- Part 1: Determination of extrudability of sealants ISO 9047:2001 Building construction - Jointing products - Determination of adhesion/cohesion properties of sealants at variable temperatures Waterproofing for masonry ISO 7783:2011 Paints and varnishes -- Determination of water-vapour transmission properties -- Cup method |

## Efflorescence - Lime leaching

| BS | Masonry BS EN 459-1:2015 Building lime. Definitions, specifications and conformity criteriaBS EN 459-1:2015 Building lime. Definitions, specifications and conformity criteria BS EN 772-3:1998 Methods of test for masonry units. Determination of net volume and percentage of voids of clay masonry units by hydrostatic weighing/ BS EN 772-7:1998 Methods of test for masonry units. Determination of water absorption of clay masonry damp proof course units by boiling in water/ BS EN 771-1:2011 Specification for masonry units. Clay masonry units PD 6697:2010 Recommendations for the design of masonry structures to BS EN 1996-1-1 and BS EN 1996-2/ BS EN 1996-3:2006 Eurocode 6. Design of masonry structures. Simplified calculation methods for unreinforced masonry structures/ BS EN 1996-2:2006 Eurocode 6. Design of masonry structures. Design considerations, selection of materials and execution of masonry/ BS EN 1996-1-1:2005+A1:2012 Eurocode 6. Design of masonry structures. General rules for reinforced and unreinforced masonry structures PD 6697:2010 Recommendations for the design of masonry structures to BS EN 1996-1-1 and BS EN 1996-2/ BS EN 1996-3:2006 Eurocode 6. Design of masonry structures. Simplified calculation methods for unreinforced masonry structures/ BS EN 1996-2:2006 Eurocode 6. Design of masonry structures. Design considerations, selection of materials and execution of masonry/ BS EN 1996-1-2:2005 Eurocode 6. Design of masonry structures. General rules. Structural fire design BS 6100-6:2008 Building and civil engineering. Vocabulary. Construction parts BS EN 772-1:2011+A1:2015 Methods of test for masonry units. Determination of compressive strength BS EN 772-2:1998 Methods of test for masonry units. Determination of percentage area of voids in masonry units (by paper indentation) BS EN 772-5:2016 Methods of test for masonry units. Determination of the active soluble salts content of clay masonry units BS EN 772-7:1998 Methods of test for masonry units. Determination of water absorption of clay masonry damp proof course units by boiling in water BS EN 772-19:2000 Methods of test for masonry units. Determination of moisture expansion of large horizontally perforated clay masonry units BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS 8221-1:2012 Code of practice for cleaning and surface repair of buildings. Cleaning of natural stone, brick, terracotta and concrete BS 8221-2:2000 Code of practice for cleaning and surface repair of buildings. Surface repair of natural stones, brick and terracotta Mortar BS EN 413-2:2005 Masonry cement. Test methods BS EN 772-1:2011+A1:2015 Methods of test for masonry units. Determination of compressive strength BS EN 772-5:2016 Methods of test for masonry units. Determination of the active soluble salts content of clay masonry units BS EN 772-16:2011 Methods of test for masonry units. Determination of dimensions BS EN 998-2:2010 Specification for mortar for masonry. Masonry mortar BS EN 1015-1:1999 Methods of test for mortar for masonry. Determination of particle size distribution (by sieve analysis) BS EN 1015-2:1999 Methods of test for mortar for masonry. Bulk sampling of mortars and preparation of test mortars BS EN 1015-3:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by flow table) BS EN 1015-4:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by plunger penetration) BS EN 1015-6:1999 Methods of test for mortar for masonry. Determination of bulk density of fresh mortar BS EN 1015-7:1999 Methods of test for mortar for masonry. Determination of air content of fresh mortar BS EN 1015-9:1999 Methods of test for mortar for masonry. Determination of workable life and correction time of fresh mortar BS EN 1015-10:1999 Methods of test for mortar for masonry. Determination of dry bulk density of hardened mortar BS EN 1015-11:1999 Methods of test for mortar for masonry. Determination of flexural and compressive strength of hardened mortar BS EN 1015-12:2000 Methods of test for mortar for masonry. Determination of adhesive strength of hardened rendering and plastering mortars on substrates BS EN 1015-17:2000 Methods of test for mortar for masonry. Determination of water-soluble chloride content of fresh mortars BS EN 1052-1:1999 Methods of test for masonry. Determination of compressive strength BS EN 1052-2:2016 Methods of test for masonry. Determination of flexural strength BS EN 13139:2002 Aggregates for mortar BS EN 13139:2002 Aggregates for mortar BS EN 845-1:2013 Specification for ancillary components for masonry. Wall ties, tension straps, hangers and brackets BS EN 13055-1:2002 Lightweight aggregates. Lightweight aggregates for concrete, mortar and grout BS EN 998-2:2010 Specification for mortar for masonry . Masonry mortar/ BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar BS EN 413-1:2011 Masonry cement. Composition, specifications and conformity criteria Sealants BS EN ISO 11600:2003+A1:2011 Building construction. Jointing products. Classification and requirements for sealants BS 4255-1:1986 Rubber used in preformed gaskets for weather exclusion from buildings. Specification for non-cellular gaskets BS 6213:2000+A1:2010 Selection of construction sealants. Guide Waterproofing for masonry BS 8215:1991 Code of practice for design and installation of damp-proof courses in masonry construction BS EN 772-7:1998 Methods of test for masonry units. Determination of water absorption of clay masonry damp proof course units by boiling in water BS EN 1052-4:2000 Methods of test for masonry. Determination of shear strength including damp proof course |
| --- | --- |
| ASTM | Masonry ASTM C216 - 15 Standard Specification for Facing Brick (Solid Masonry Units Made from Clay or Shale) ASTM C62 - 13a Standard Specification for Building Brick (Solid Masonry Units Made From Clay or Shale) ASTM C652 - 15 Standard Specification for Hollow Brick (Hollow Masonry Units Made From Clay or Shale) ASTM C212 - 14 Standard Specification for Structural Clay Facing Tile ASTM C34 - 13 Standard Specification for Structural Clay Load-Bearing Wall Tile. ASTM C67 - 14 Standard Test Methods for Sampling and Testing Brick and Structural Clay Tile. ASTM C91 / C91M - 12 Standard Specification for Masonry Cement ASTM C207 - 06(2011) Standard Specification for Hydrated Lime for Masonry Purposes ASTM E518 / E518M - 15 Standard Test Methods for Flexural Bond Strength of Masonry ASTM C1072 - 13e1 Standard Test Methods for Measurement of Masonry Flexural Bond Strength ASTM C67 - 14 Standard Test Methods for Sampling and Testing Brick and Structural Clay Tile ASTM C73 - 14 Standard Specification for Calcium Silicate Brick (Sand-Lime Brick) ASTM C126 - 15 Standard Specification for Ceramic Glazed Structural Clay Facing Tile, Facing Brick, and Solid Masonry Units Mortar ASTM C144 - 11 Standard Specification for Aggregate for Masonry Mortar ASTM C270 - 14a Standard Specification for Mortar for Unit Masonry ASTM C476 - 10 Standard Specification for Grout for Masonry. ASTM C1019 - 16 Standard Test Method for Sampling and Testing Grout ASTM C150 / C150M - 15 Standard Specification for Portland Cement ASTM C595 / C595M - 15e1 Standard Specification for Blended Hydraulic Cements ASTM C109 / C109M - 16 Standard Test Method for Compressive Strength of Hydraulic Cement Mortars (Using 2-in. or [50-mm] Cube Specimens) ASTM C780 - 15a Standard Test Method for Preconstruction and Construction Evaluation of Mortars for Plain and Reinforced Unit Masonry. ASTM C979 / C979M - 16 Standard Specification for Pigments for Integrally Colored Concrete ASTM C780 - 15a Standard Test Method for Preconstruction and Construction Evaluation of Mortars for Plain and Reinforced Unit Masonry ASTM C896 - 15 Standard Terminology Relating to Clay Products ASTM C1006 - 07(2013) Standard Test Method for Splitting Tensile Strength of Masonry Units ASTM C1019 - 16 Standard Test Method for Sampling and Testing Grout ASTM C1088 - 14 Standard Specification for Thin Veneer Brick Units Made From Clay or Shale ASTM C1093 - 15a Standard Practice for Accreditation of Testing Agencies for Masonry ASTM C1106 - 00(2012) Standard Test Methods for Chemical Resistance and Physical Properties of Carbon Brick ASTM C1148 - 92a(2014) Standard Test Method for Measuring the Drying Shrinkage of Masonry Mortar ASTM C1180 - 10 Standard Terminology of Mortar and Grout for Unit Masonry ASTM C1218 / C1218M - 15 Standard Test Method for Water-Soluble Chloride in Mortar and Concrete ASTM C1324 - 15 Standard Test Method for Examination and Analysis of Hardened Masonry Mortar ASTM C1384 - 12a Standard Specification for Admixtures for Masonry Mortars ASTM C1400 - 11 Standard Guide for Reduction of Efflorescence Potential in New Masonry Walls ASTM C1403 - 15 Standard Test Method for Rate of Water Absorption of Masonry Mortars Sealants ASTM C509 - 06(2015) Standard Specification for Elastomeric Cellular Preformed Gasket and Sealing Material ASTM C717 - 14a Standard Terminology of Building Seals and Sealants Waterproofing for masonry ASTM D5095 - 91(2013) Standard Test Method for Determination of the Nonvolatile Content in Silanes, Siloxanes and Silane-Siloxane Blends Used in Masonry Water Repellent Treatments ASTM D6532 - 00(2014) Standard Test Method for Evaluation of the Effect of Clear Water Repellent Treatments on Water Absorption of Hydraulic Cement Mortar Specimens ASTM C898 / C898M - 09 Standard Guide for Use of High Solids Content, Cold Liquid-Applied Elastomeric Waterproofing Membrane With Separate Wearing Course |
| AS | Masonry AS 1617.1-2003 (R2013) Refractory bricks and shapes - Fireclay AS 1618-2003 (R2013) Dimensions and preferred sizes for refractory bricks AS/NZS 2699.1:2000 Built-in components for masonry construction - Wall ties AS/NZS 2699.2:2000 Built-in components for masonry construction, - Connectors and accessories AS 4773.2-2010 Masonry in small buildings - Construction/ AS 4773.1-2010 Masonry in small buildings - Design/ AS 3700-2011 Masonry structures AS 4517.1-2006 Blanks for superabrasive cutting-off wheels - Manually guided cutting-off in building and civil engineering/ AS 4517.2-2006 Blanks for superabrasive cutting-off wheels - Hand-held cutting-off in building and civil engineering AS/NZS 4524.10:1998 Bonded abrasive products - Dimensions - Honing stones and superfinishings AS/NZS 4284:2008 Testing of building facades Mortar AS 1478.1-2000 Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 2350.12-2006 Methods of testing portland, blended and masonry cements - Preparation of a standard mortar and moulding of specimens AS 1316-2003 Masonry cement AS/NZS 2350.11:2006 Methods of testing portland, blended and masonry cements - Compressive strength AS/NZS 2350.16:2006 Methods of testing portland, blended and masonry cements - Determination of air content of masonry cement AS/NZS 2350.17:2001 Methods of testing portland, blended and masonry cements - Determination of soundness of masonry cements AS/NZS 2350.18:2006 Methods of testing portland, blended and masonry cements - Determination of water retention of masonry cement AS 2701-2001 Methods of sampling and testing mortar for masonry construction Waterproofing for masonry AS 4654.1-2012 Waterproofing membranes for external above-ground use - Materials AS 4654.2-2012 Waterproofing membranes for external above-ground use - Design and installation |
| SS | Masonry SS EN 197 - 1 : 2014 Cement - Part 1 : Composition, specifications and conformity criteria for common cement/ SS EN 197 - 2 : 2014 Cement - Part 2 : Conformity evaluation SS EN 12620 : 2008 Specification for aggregates for concrete SS 509 - 1 : 2015 Code of practice for cleaning and surface repair of buildings – Part 1 : Cleaning of natural stone, brick, terracotta, concrete and rendered finishes/ SS 509 - 2 : 2005 (2015) Code of practice for cleaning and surface repair of buildings - Surface repair of natural stones, brick, terracotta and rendered finishes Mortar SS EN 934 - 1 : 2008 (2015) Admixtures for concrete, mortar and grout - Common requirements/ SS EN 934 - 2 : 2015 Admixtures for concrete, mortar and grout - Part 2 : Definitions, requirements – Concrete admixtures – Definitions, requirements, conformity, marking and labelling/ SS EN 934 - 6 : 2008 (2015) Admixtures for concrete, mortar and grout - Sampling, conformity control and evaluation of conformity |
| ISO | Masonry ISO 9652-4:2000 Masonry - Part 4: Test methods ISO 9652-5:2000 Masonry - Part 5: Vocabulary ISO 12678-1:1996 Refractory products - Measurement of dimensions and external defects of refractory bricks - Part 1: Dimensions and conformity to drawings ISO 12678-2:1996 Refractory products - Measurement of dimensions and external defects of refractory bricks - Part 2: Corner and edge defects and other surface imperfections Sealant ISO 10563:2005 Building construction - Sealants - Determination of change in mass and volume ISO 10590:2005 Building construction - Sealants - Determination of tensile properties of sealants at maintained extension after immersion in water ISO 10591:2005 Building construction -- Sealants -- Determination of adhesion/cohesion properties of sealants after immersion in water ISO 11431:2002 Building construction -- Jointing products -- Determination of adhesion/cohesion properties of sealants after exposure to heat, water and artificial light through glass ISO 11432:2005 Building construction -- Sealants -- Determination of resistance to compression ISO 11600:2002 Building construction -- Jointing products -- Classification and requirements for sealants ISO 13638:1996 Building construction - Sealants - Determination of resistance to prolonged exposure to water ISO 8340:2005 Building construction -- Sealants -- Determination of tensile properties at maintained extension ISO 8394-1:2010 Building construction -- Jointing products -- Part 1: Determination of extrudability of sealants ISO 9047:2001 Building construction - Jointing products - Determination of adhesion/cohesion properties of sealants at variable temperatures Waterproofing for masonry ISO 7783:2011 Paints and varnishes -- Determination of water-vapour transmission properties -- Cup method |

## Efflorescence - Brown stains

| BS | Masonry BS EN 459-1:2015 Building lime. Definitions, specifications and conformity criteriaBS EN 459-1:2015 Building lime. Definitions, specifications and conformity criteria BS EN 772-3:1998 Methods of test for masonry units. Determination of net volume and percentage of voids of clay masonry units by hydrostatic weighing/ BS EN 772-7:1998 Methods of test for masonry units. Determination of water absorption of clay masonry damp proof course units by boiling in water/ BS EN 771-1:2011 Specification for masonry units. Clay masonry units PD 6697:2010 Recommendations for the design of masonry structures to BS EN 1996-1-1 and BS EN 1996-2/ BS EN 1996-3:2006 Eurocode 6. Design of masonry structures. Simplified calculation methods for unreinforced masonry structures/ BS EN 1996-2:2006 Eurocode 6. Design of masonry structures. Design considerations, selection of materials and execution of masonry/ BS EN 1996-1-1:2005+A1:2012 Eurocode 6. Design of masonry structures. General rules for reinforced and unreinforced masonry structures PD 6697:2010 Recommendations for the design of masonry structures to BS EN 1996-1-1 and BS EN 1996-2/ BS EN 1996-3:2006 Eurocode 6. Design of masonry structures. Simplified calculation methods for unreinforced masonry structures/ BS EN 1996-2:2006 Eurocode 6. Design of masonry structures. Design considerations, selection of materials and execution of masonry/ BS EN 1996-1-2:2005 Eurocode 6. Design of masonry structures. General rules. Structural fire design BS 6100-6:2008 Building and civil engineering. Vocabulary. Construction parts BS EN 772-1:2011+A1:2015 Methods of test for masonry units. Determination of compressive strength BS EN 772-2:1998 Methods of test for masonry units. Determination of percentage area of voids in masonry units (by paper indentation) BS EN 772-5:2016 Methods of test for masonry units. Determination of the active soluble salts content of clay masonry units BS EN 772-7:1998 Methods of test for masonry units. Determination of water absorption of clay masonry damp proof course units by boiling in water BS EN 772-19:2000 Methods of test for masonry units. Determination of moisture expansion of large horizontally perforated clay masonry units BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS 8221-1:2012 Code of practice for cleaning and surface repair of buildings. Cleaning of natural stone, brick, terracotta and concrete BS 8221-2:2000 Code of practice for cleaning and surface repair of buildings. Surface repair of natural stones, brick and terracotta Mortar BS EN 413-2:2005 Masonry cement. Test methods BS EN 772-1:2011+A1:2015 Methods of test for masonry units. Determination of compressive strength BS EN 772-5:2016 Methods of test for masonry units. Determination of the active soluble salts content of clay masonry units BS EN 772-16:2011 Methods of test for masonry units. Determination of dimensions BS EN 998-2:2010 Specification for mortar for masonry. Masonry mortar BS EN 1015-1:1999 Methods of test for mortar for masonry. Determination of particle size distribution (by sieve analysis) BS EN 1015-2:1999 Methods of test for mortar for masonry. Bulk sampling of mortars and preparation of test mortars BS EN 1015-3:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by flow table) BS EN 1015-4:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by plunger penetration) BS EN 1015-6:1999 Methods of test for mortar for masonry. Determination of bulk density of fresh mortar BS EN 1015-7:1999 Methods of test for mortar for masonry. Determination of air content of fresh mortar BS EN 1015-9:1999 Methods of test for mortar for masonry. Determination of workable life and correction time of fresh mortar BS EN 1015-10:1999 Methods of test for mortar for masonry. Determination of dry bulk density of hardened mortar BS EN 1015-11:1999 Methods of test for mortar for masonry. Determination of flexural and compressive strength of hardened mortar BS EN 1015-12:2000 Methods of test for mortar for masonry. Determination of adhesive strength of hardened rendering and plastering mortars on substrates BS EN 1015-17:2000 Methods of test for mortar for masonry. Determination of water-soluble chloride content of fresh mortars BS EN 1052-1:1999 Methods of test for masonry. Determination of compressive strength BS EN 1052-2:2016 Methods of test for masonry. Determination of flexural strength BS EN 13139:2002 Aggregates for mortar BS EN 13139:2002 Aggregates for mortar BS EN 845-1:2013 Specification for ancillary components for masonry. Wall ties, tension straps, hangers and brackets BS EN 13055-1:2002 Lightweight aggregates. Lightweight aggregates for concrete, mortar and grout BS EN 998-2:2010 Specification for mortar for masonry . Masonry mortar/ BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar BS EN 413-1:2011 Masonry cement. Composition, specifications and conformity criteria Sealants BS EN ISO 11600:2003+A1:2011 Building construction. Jointing products. Classification and requirements for sealants BS 4255-1:1986 Rubber used in preformed gaskets for weather exclusion from buildings. Specification for non-cellular gaskets BS 6213:2000+A1:2010 Selection of construction sealants. Guide Waterproofing for masonry BS 8215:1991 Code of practice for design and installation of damp-proof courses in masonry construction BS EN 772-7:1998 Methods of test for masonry units. Determination of water absorption of clay masonry damp proof course units by boiling in water BS EN 1052-4:2000 Methods of test for masonry. Determination of shear strength including damp proof course |
| --- | --- |
| ASTM | Masonry ASTM C216 - 15 Standard Specification for Facing Brick (Solid Masonry Units Made from Clay or Shale) ASTM C62 - 13a Standard Specification for Building Brick (Solid Masonry Units Made From Clay or Shale) ASTM C652 - 15 Standard Specification for Hollow Brick (Hollow Masonry Units Made From Clay or Shale) ASTM C212 - 14 Standard Specification for Structural Clay Facing Tile ASTM C34 - 13 Standard Specification for Structural Clay Load-Bearing Wall Tile. ASTM C67 - 14 Standard Test Methods for Sampling and Testing Brick and Structural Clay Tile. ASTM C91 / C91M - 12 Standard Specification for Masonry Cement ASTM C207 - 06(2011) Standard Specification for Hydrated Lime for Masonry Purposes ASTM E518 / E518M - 15 Standard Test Methods for Flexural Bond Strength of Masonry ASTM C1072 - 13e1 Standard Test Methods for Measurement of Masonry Flexural Bond Strength ASTM C67 - 14 Standard Test Methods for Sampling and Testing Brick and Structural Clay Tile ASTM C73 - 14 Standard Specification for Calcium Silicate Brick (Sand-Lime Brick) ASTM C126 - 15 Standard Specification for Ceramic Glazed Structural Clay Facing Tile, Facing Brick, and Solid Masonry Units Mortar ASTM C144 - 11 Standard Specification for Aggregate for Masonry Mortar ASTM C270 - 14a Standard Specification for Mortar for Unit Masonry ASTM C476 - 10 Standard Specification for Grout for Masonry. ASTM C1019 - 16 Standard Test Method for Sampling and Testing Grout ASTM C150 / C150M - 15 Standard Specification for Portland Cement ASTM C595 / C595M - 15e1 Standard Specification for Blended Hydraulic Cements ASTM C109 / C109M - 16 Standard Test Method for Compressive Strength of Hydraulic Cement Mortars (Using 2-in. or [50-mm] Cube Specimens) ASTM C780 - 15a Standard Test Method for Preconstruction and Construction Evaluation of Mortars for Plain and Reinforced Unit Masonry. ASTM C979 / C979M - 16 Standard Specification for Pigments for Integrally Colored Concrete ASTM C780 - 15a Standard Test Method for Preconstruction and Construction Evaluation of Mortars for Plain and Reinforced Unit Masonry ASTM C896 - 15 Standard Terminology Relating to Clay Products ASTM C1006 - 07(2013) Standard Test Method for Splitting Tensile Strength of Masonry Units ASTM C1019 - 16 Standard Test Method for Sampling and Testing Grout ASTM C1088 - 14 Standard Specification for Thin Veneer Brick Units Made From Clay or Shale ASTM C1093 - 15a Standard Practice for Accreditation of Testing Agencies for Masonry ASTM C1106 - 00(2012) Standard Test Methods for Chemical Resistance and Physical Properties of Carbon Brick ASTM C1148 - 92a(2014) Standard Test Method for Measuring the Drying Shrinkage of Masonry Mortar ASTM C1180 - 10 Standard Terminology of Mortar and Grout for Unit Masonry ASTM C1218 / C1218M - 15 Standard Test Method for Water-Soluble Chloride in Mortar and Concrete ASTM C1324 - 15 Standard Test Method for Examination and Analysis of Hardened Masonry Mortar ASTM C1384 - 12a Standard Specification for Admixtures for Masonry Mortars ASTM C1400 - 11 Standard Guide for Reduction of Efflorescence Potential in New Masonry Walls ASTM C1403 - 15 Standard Test Method for Rate of Water Absorption of Masonry Mortars Sealants ASTM C509 - 06(2015) Standard Specification for Elastomeric Cellular Preformed Gasket and Sealing Material ASTM C717 - 14a Standard Terminology of Building Seals and Sealants Waterproofing for masonry ASTM D5095 - 91(2013) Standard Test Method for Determination of the Nonvolatile Content in Silanes, Siloxanes and Silane-Siloxane Blends Used in Masonry Water Repellent Treatments ASTM D6532 - 00(2014) Standard Test Method for Evaluation of the Effect of Clear Water Repellent Treatments on Water Absorption of Hydraulic Cement Mortar Specimens ASTM C898 / C898M - 09 Standard Guide for Use of High Solids Content, Cold Liquid-Applied Elastomeric Waterproofing Membrane With Separate Wearing Course |
| AS | Masonry AS 1617.1-2003 (R2013) Refractory bricks and shapes - Fireclay AS 1618-2003 (R2013) Dimensions and preferred sizes for refractory bricks AS/NZS 2699.1:2000 Built-in components for masonry construction - Wall ties AS/NZS 2699.2:2000 Built-in components for masonry construction, - Connectors and accessories AS 4773.2-2010 Masonry in small buildings - Construction/ AS 4773.1-2010 Masonry in small buildings - Design/ AS 3700-2011 Masonry structures AS 4517.1-2006 Blanks for superabrasive cutting-off wheels - Manually guided cutting-off in building and civil engineering/ AS 4517.2-2006 Blanks for superabrasive cutting-off wheels - Hand-held cutting-off in building and civil engineering AS/NZS 4524.10:1998 Bonded abrasive products - Dimensions - Honing stones and superfinishings AS/NZS 4284:2008 Testing of building facades Mortar AS 1478.1-2000 Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 2350.12-2006 Methods of testing portland, blended and masonry cements - Preparation of a standard mortar and moulding of specimens AS 1316-2003 Masonry cement AS/NZS 2350.11:2006 Methods of testing portland, blended and masonry cements - Compressive strength AS/NZS 2350.16:2006 Methods of testing portland, blended and masonry cements - Determination of air content of masonry cement AS/NZS 2350.17:2001 Methods of testing portland, blended and masonry cements - Determination of soundness of masonry cements AS/NZS 2350.18:2006 Methods of testing portland, blended and masonry cements - Determination of water retention of masonry cement AS 2701-2001 Methods of sampling and testing mortar for masonry construction Waterproofing for masonry AS 4654.1-2012 Waterproofing membranes for external above-ground use - Materials AS 4654.2-2012 Waterproofing membranes for external above-ground use - Design and installation |
| SS | Masonry SS EN 197 - 1 : 2014 Cement - Part 1 : Composition, specifications and conformity criteria for common cement/ SS EN 197 - 2 : 2014 Cement - Part 2 : Conformity evaluation SS EN 12620 : 2008 Specification for aggregates for concrete SS 509 - 1 : 2015 Code of practice for cleaning and surface repair of buildings – Part 1 : Cleaning of natural stone, brick, terracotta, concrete and rendered finishes/ SS 509 - 2 : 2005 (2015) Code of practice for cleaning and surface repair of buildings - Surface repair of natural stones, brick, terracotta and rendered finishes Mortar SS EN 934 - 1 : 2008 (2015) Admixtures for concrete, mortar and grout - Common requirements/ SS EN 934 - 2 : 2015 Admixtures for concrete, mortar and grout - Part 2 : Definitions, requirements – Concrete admixtures – Definitions, requirements, conformity, marking and labelling/ SS EN 934 - 6 : 2008 (2015) Admixtures for concrete, mortar and grout - Sampling, conformity control and evaluation of conformity |
| ISO | Masonry ISO 9652-4:2000 Masonry - Part 4: Test methods ISO 9652-5:2000 Masonry - Part 5: Vocabulary ISO 12678-1:1996 Refractory products - Measurement of dimensions and external defects of refractory bricks - Part 1: Dimensions and conformity to drawings ISO 12678-2:1996 Refractory products - Measurement of dimensions and external defects of refractory bricks - Part 2: Corner and edge defects and other surface imperfections Sealant ISO 10563:2005 Building construction - Sealants - Determination of change in mass and volume ISO 10590:2005 Building construction - Sealants - Determination of tensile properties of sealants at maintained extension after immersion in water ISO 10591:2005 Building construction -- Sealants -- Determination of adhesion/cohesion properties of sealants after immersion in water ISO 11431:2002 Building construction -- Jointing products -- Determination of adhesion/cohesion properties of sealants after exposure to heat, water and artificial light through glass ISO 11432:2005 Building construction -- Sealants -- Determination of resistance to compression ISO 11600:2002 Building construction -- Jointing products -- Classification and requirements for sealants ISO 13638:1996 Building construction - Sealants - Determination of resistance to prolonged exposure to water ISO 8340:2005 Building construction -- Sealants -- Determination of tensile properties at maintained extension ISO 8394-1:2010 Building construction -- Jointing products -- Part 1: Determination of extrudability of sealants ISO 9047:2001 Building construction - Jointing products - Determination of adhesion/cohesion properties of sealants at variable temperatures Waterproofing for masonry ISO 7783:2011 Paints and varnishes -- Determination of water-vapour transmission properties -- Cup method |

## Rising dampness from ground

| BS | Masonry BS EN 459-1:2015 Building lime. Definitions, specifications and conformity criteriaBS EN 459-1:2015 Building lime. Definitions, specifications and conformity criteria BS EN 772-3:1998 Methods of test for masonry units. Determination of net volume and percentage of voids of clay masonry units by hydrostatic weighing/ BS EN 772-7:1998 Methods of test for masonry units. Determination of water absorption of clay masonry damp proof course units by boiling in water/ BS EN 771-1:2011 Specification for masonry units. Clay masonry units PD 6697:2010 Recommendations for the design of masonry structures to BS EN 1996-1-1 and BS EN 1996-2/ BS EN 1996-3:2006 Eurocode 6. Design of masonry structures. Simplified calculation methods for unreinforced masonry structures/ BS EN 1996-2:2006 Eurocode 6. Design of masonry structures. Design considerations, selection of materials and execution of masonry/ BS EN 1996-1-1:2005+A1:2012 Eurocode 6. Design of masonry structures. General rules for reinforced and unreinforced masonry structures PD 6697:2010 Recommendations for the design of masonry structures to BS EN 1996-1-1 and BS EN 1996-2/ BS EN 1996-3:2006 Eurocode 6. Design of masonry structures. Simplified calculation methods for unreinforced masonry structures/ BS EN 1996-2:2006 Eurocode 6. Design of masonry structures. Design considerations, selection of materials and execution of masonry/ BS EN 1996-1-2:2005 Eurocode 6. Design of masonry structures. General rules. Structural fire design BS 6100-6:2008 Building and civil engineering. Vocabulary. Construction parts BS EN 772-1:2011+A1:2015 Methods of test for masonry units. Determination of compressive strength BS EN 772-2:1998 Methods of test for masonry units. Determination of percentage area of voids in masonry units (by paper indentation) BS EN 772-5:2016 Methods of test for masonry units. Determination of the active soluble salts content of clay masonry units BS EN 772-7:1998 Methods of test for masonry units. Determination of water absorption of clay masonry damp proof course units by boiling in water BS EN 772-19:2000 Methods of test for masonry units. Determination of moisture expansion of large horizontally perforated clay masonry units BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS 8221-1:2012 Code of practice for cleaning and surface repair of buildings. Cleaning of natural stone, brick, terracotta and concrete BS 8221-2:2000 Code of practice for cleaning and surface repair of buildings. Surface repair of natural stones, brick and terracotta Mortar BS EN 413-2:2005 Masonry cement. Test methods BS EN 772-1:2011+A1:2015 Methods of test for masonry units. Determination of compressive strength BS EN 772-5:2016 Methods of test for masonry units. Determination of the active soluble salts content of clay masonry units BS EN 772-16:2011 Methods of test for masonry units. Determination of dimensions BS EN 998-2:2010 Specification for mortar for masonry. Masonry mortar BS EN 1015-1:1999 Methods of test for mortar for masonry. Determination of particle size distribution (by sieve analysis) BS EN 1015-2:1999 Methods of test for mortar for masonry. Bulk sampling of mortars and preparation of test mortars BS EN 1015-3:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by flow table) BS EN 1015-4:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by plunger penetration) BS EN 1015-6:1999 Methods of test for mortar for masonry. Determination of bulk density of fresh mortar BS EN 1015-7:1999 Methods of test for mortar for masonry. Determination of air content of fresh mortar BS EN 1015-9:1999 Methods of test for mortar for masonry. Determination of workable life and correction time of fresh mortar BS EN 1015-10:1999 Methods of test for mortar for masonry. Determination of dry bulk density of hardened mortar BS EN 1015-11:1999 Methods of test for mortar for masonry. Determination of flexural and compressive strength of hardened mortar BS EN 1015-12:2000 Methods of test for mortar for masonry. Determination of adhesive strength of hardened rendering and plastering mortars on substrates BS EN 1015-17:2000 Methods of test for mortar for masonry. Determination of water-soluble chloride content of fresh mortars BS EN 1052-1:1999 Methods of test for masonry. Determination of compressive strength BS EN 1052-2:2016 Methods of test for masonry. Determination of flexural strength BS EN 13139:2002 Aggregates for mortar BS EN 13139:2002 Aggregates for mortar BS EN 845-1:2013 Specification for ancillary components for masonry. Wall ties, tension straps, hangers and brackets BS EN 13055-1:2002 Lightweight aggregates. Lightweight aggregates for concrete, mortar and grout BS EN 998-2:2010 Specification for mortar for masonry . Masonry mortar/ BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar BS EN 413-1:2011 Masonry cement. Composition, specifications and conformity criteria Sealants BS EN ISO 11600:2003+A1:2011 Building construction. Jointing products. Classification and requirements for sealants BS 4255-1:1986 Rubber used in preformed gaskets for weather exclusion from buildings. Specification for non-cellular gaskets BS 6213:2000+A1:2010 Selection of construction sealants. Guide Waterproofing for masonry BS 8215:1991 Code of practice for design and installation of damp-proof courses in masonry construction BS EN 772-7:1998 Methods of test for masonry units. Determination of water absorption of clay masonry damp proof course units by boiling in water BS EN 1052-4:2000 Methods of test for masonry. Determination of shear strength including damp proof course |
| --- | --- |
| ASTM | Masonry ASTM C216 - 15 Standard Specification for Facing Brick (Solid Masonry Units Made from Clay or Shale) ASTM C62 - 13a Standard Specification for Building Brick (Solid Masonry Units Made From Clay or Shale) ASTM C652 - 15 Standard Specification for Hollow Brick (Hollow Masonry Units Made From Clay or Shale) ASTM C212 - 14 Standard Specification for Structural Clay Facing Tile ASTM C34 - 13 Standard Specification for Structural Clay Load-Bearing Wall Tile. ASTM C67 - 14 Standard Test Methods for Sampling and Testing Brick and Structural Clay Tile. ASTM C91 / C91M - 12 Standard Specification for Masonry Cement ASTM C207 - 06(2011) Standard Specification for Hydrated Lime for Masonry Purposes ASTM E518 / E518M - 15 Standard Test Methods for Flexural Bond Strength of Masonry ASTM C1072 - 13e1 Standard Test Methods for Measurement of Masonry Flexural Bond Strength ASTM C67 - 14 Standard Test Methods for Sampling and Testing Brick and Structural Clay Tile ASTM C73 - 14 Standard Specification for Calcium Silicate Brick (Sand-Lime Brick) ASTM C126 - 15 Standard Specification for Ceramic Glazed Structural Clay Facing Tile, Facing Brick, and Solid Masonry Units Mortar ASTM C144 - 11 Standard Specification for Aggregate for Masonry Mortar ASTM C270 - 14a Standard Specification for Mortar for Unit Masonry ASTM C476 - 10 Standard Specification for Grout for Masonry. ASTM C1019 - 16 Standard Test Method for Sampling and Testing Grout ASTM C150 / C150M - 15 Standard Specification for Portland Cement ASTM C595 / C595M - 15e1 Standard Specification for Blended Hydraulic Cements ASTM C109 / C109M - 16 Standard Test Method for Compressive Strength of Hydraulic Cement Mortars (Using 2-in. or [50-mm] Cube Specimens) ASTM C780 - 15a Standard Test Method for Preconstruction and Construction Evaluation of Mortars for Plain and Reinforced Unit Masonry. ASTM C979 / C979M - 16 Standard Specification for Pigments for Integrally Colored Concrete ASTM C780 - 15a Standard Test Method for Preconstruction and Construction Evaluation of Mortars for Plain and Reinforced Unit Masonry ASTM C896 - 15 Standard Terminology Relating to Clay Products ASTM C1006 - 07(2013) Standard Test Method for Splitting Tensile Strength of Masonry Units ASTM C1019 - 16 Standard Test Method for Sampling and Testing Grout ASTM C1088 - 14 Standard Specification for Thin Veneer Brick Units Made From Clay or Shale ASTM C1093 - 15a Standard Practice for Accreditation of Testing Agencies for Masonry ASTM C1106 - 00(2012) Standard Test Methods for Chemical Resistance and Physical Properties of Carbon Brick ASTM C1148 - 92a(2014) Standard Test Method for Measuring the Drying Shrinkage of Masonry Mortar ASTM C1180 - 10 Standard Terminology of Mortar and Grout for Unit Masonry ASTM C1218 / C1218M - 15 Standard Test Method for Water-Soluble Chloride in Mortar and Concrete ASTM C1324 - 15 Standard Test Method for Examination and Analysis of Hardened Masonry Mortar ASTM C1384 - 12a Standard Specification for Admixtures for Masonry Mortars ASTM C1400 - 11 Standard Guide for Reduction of Efflorescence Potential in New Masonry Walls ASTM C1403 - 15 Standard Test Method for Rate of Water Absorption of Masonry Mortars Sealants ASTM C509 - 06(2015) Standard Specification for Elastomeric Cellular Preformed Gasket and Sealing Material ASTM C717 - 14a Standard Terminology of Building Seals and Sealants Waterproofing for masonry ASTM D5095 - 91(2013) Standard Test Method for Determination of the Nonvolatile Content in Silanes, Siloxanes and Silane-Siloxane Blends Used in Masonry Water Repellent Treatments ASTM D6532 - 00(2014) Standard Test Method for Evaluation of the Effect of Clear Water Repellent Treatments on Water Absorption of Hydraulic Cement Mortar Specimens ASTM C898 / C898M - 09 Standard Guide for Use of High Solids Content, Cold Liquid-Applied Elastomeric Waterproofing Membrane With Separate Wearing Course |
| AS | Masonry AS 1617.1-2003 (R2013) Refractory bricks and shapes - Fireclay AS 1618-2003 (R2013) Dimensions and preferred sizes for refractory bricks AS/NZS 2699.1:2000 Built-in components for masonry construction - Wall ties AS/NZS 2699.2:2000 Built-in components for masonry construction, - Connectors and accessories AS 4773.2-2010 Masonry in small buildings - Construction/ AS 4773.1-2010 Masonry in small buildings - Design/ AS 3700-2011 Masonry structures AS 4517.1-2006 Blanks for superabrasive cutting-off wheels - Manually guided cutting-off in building and civil engineering/ AS 4517.2-2006 Blanks for superabrasive cutting-off wheels - Hand-held cutting-off in building and civil engineering AS/NZS 4524.10:1998 Bonded abrasive products - Dimensions - Honing stones and superfinishings AS/NZS 4284:2008 Testing of building facades Mortar AS 1478.1-2000 Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 2350.12-2006 Methods of testing portland, blended and masonry cements - Preparation of a standard mortar and moulding of specimens AS 1316-2003 Masonry cement AS/NZS 2350.11:2006 Methods of testing portland, blended and masonry cements - Compressive strength AS/NZS 2350.16:2006 Methods of testing portland, blended and masonry cements - Determination of air content of masonry cement AS/NZS 2350.17:2001 Methods of testing portland, blended and masonry cements - Determination of soundness of masonry cements AS/NZS 2350.18:2006 Methods of testing portland, blended and masonry cements - Determination of water retention of masonry cement AS 2701-2001 Methods of sampling and testing mortar for masonry construction Waterproofing for masonry AS 4654.1-2012 Waterproofing membranes for external above-ground use - Materials AS 4654.2-2012 Waterproofing membranes for external above-ground use - Design and installation |
| SS | Masonry SS EN 197 - 1 : 2014 Cement - Part 1 : Composition, specifications and conformity criteria for common cement/ SS EN 197 - 2 : 2014 Cement - Part 2 : Conformity evaluation SS EN 12620 : 2008 Specification for aggregates for concrete SS 509 - 1 : 2015 Code of practice for cleaning and surface repair of buildings – Part 1 : Cleaning of natural stone, brick, terracotta, concrete and rendered finishes/ SS 509 - 2 : 2005 (2015) Code of practice for cleaning and surface repair of buildings - Surface repair of natural stones, brick, terracotta and rendered finishes Mortar SS EN 934 - 1 : 2008 (2015) Admixtures for concrete, mortar and grout - Common requirements/ SS EN 934 - 2 : 2015 Admixtures for concrete, mortar and grout - Part 2 : Definitions, requirements – Concrete admixtures – Definitions, requirements, conformity, marking and labelling/ SS EN 934 - 6 : 2008 (2015) Admixtures for concrete, mortar and grout - Sampling, conformity control and evaluation of conformity |
| ISO | Masonry ISO 9652-4:2000 Masonry - Part 4: Test methods ISO 9652-5:2000 Masonry - Part 5: Vocabulary ISO 12678-1:1996 Refractory products - Measurement of dimensions and external defects of refractory bricks - Part 1: Dimensions and conformity to drawings ISO 12678-2:1996 Refractory products - Measurement of dimensions and external defects of refractory bricks - Part 2: Corner and edge defects and other surface imperfections Sealant ISO 10563:2005 Building construction - Sealants - Determination of change in mass and volume ISO 10590:2005 Building construction - Sealants - Determination of tensile properties of sealants at maintained extension after immersion in water ISO 10591:2005 Building construction -- Sealants -- Determination of adhesion/cohesion properties of sealants after immersion in water ISO 11431:2002 Building construction -- Jointing products -- Determination of adhesion/cohesion properties of sealants after exposure to heat, water and artificial light through glass ISO 11432:2005 Building construction -- Sealants -- Determination of resistance to compression ISO 11600:2002 Building construction -- Jointing products -- Classification and requirements for sealants ISO 13638:1996 Building construction - Sealants - Determination of resistance to prolonged exposure to water ISO 8340:2005 Building construction -- Sealants -- Determination of tensile properties at maintained extension ISO 8394-1:2010 Building construction -- Jointing products -- Part 1: Determination of extrudability of sealants ISO 9047:2001 Building construction - Jointing products - Determination of adhesion/cohesion properties of sealants at variable temperatures Waterproofing for masonry ISO 7783:2011 Paints and varnishes -- Determination of water-vapour transmission properties -- Cup method |

## Biological Attack - Fungus growth

| BS | Masonry BS EN 459-1:2015 Building lime. Definitions, specifications and conformity criteriaBS EN 459-1:2015 Building lime. Definitions, specifications and conformity criteria BS EN 772-3:1998 Methods of test for masonry units. Determination of net volume and percentage of voids of clay masonry units by hydrostatic weighing/ BS EN 772-7:1998 Methods of test for masonry units. Determination of water absorption of clay masonry damp proof course units by boiling in water/ BS EN 771-1:2011 Specification for masonry units. Clay masonry units PD 6697:2010 Recommendations for the design of masonry structures to BS EN 1996-1-1 and BS EN 1996-2/ BS EN 1996-3:2006 Eurocode 6. Design of masonry structures. Simplified calculation methods for unreinforced masonry structures/ BS EN 1996-2:2006 Eurocode 6. Design of masonry structures. Design considerations, selection of materials and execution of masonry/ BS EN 1996-1-1:2005+A1:2012 Eurocode 6. Design of masonry structures. General rules for reinforced and unreinforced masonry structures PD 6697:2010 Recommendations for the design of masonry structures to BS EN 1996-1-1 and BS EN 1996-2/ BS EN 1996-3:2006 Eurocode 6. Design of masonry structures. Simplified calculation methods for unreinforced masonry structures/ BS EN 1996-2:2006 Eurocode 6. Design of masonry structures. Design considerations, selection of materials and execution of masonry/ BS EN 1996-1-2:2005 Eurocode 6. Design of masonry structures. General rules. Structural fire design BS 6100-6:2008 Building and civil engineering. Vocabulary. Construction parts BS EN 772-1:2011+A1:2015 Methods of test for masonry units. Determination of compressive strength BS EN 772-2:1998 Methods of test for masonry units. Determination of percentage area of voids in masonry units (by paper indentation) BS EN 772-5:2016 Methods of test for masonry units. Determination of the active soluble salts content of clay masonry units BS EN 772-7:1998 Methods of test for masonry units. Determination of water absorption of clay masonry damp proof course units by boiling in water BS EN 772-19:2000 Methods of test for masonry units. Determination of moisture expansion of large horizontally perforated clay masonry units BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS 8221-1:2012 Code of practice for cleaning and surface repair of buildings. Cleaning of natural stone, brick, terracotta and concrete BS 8221-2:2000 Code of practice for cleaning and surface repair of buildings. Surface repair of natural stones, brick and terracotta Mortar BS EN 413-2:2005 Masonry cement. Test methods BS EN 772-1:2011+A1:2015 Methods of test for masonry units. Determination of compressive strength BS EN 772-5:2016 Methods of test for masonry units. Determination of the active soluble salts content of clay masonry units BS EN 772-16:2011 Methods of test for masonry units. Determination of dimensions BS EN 998-2:2010 Specification for mortar for masonry. Masonry mortar BS EN 1015-1:1999 Methods of test for mortar for masonry. Determination of particle size distribution (by sieve analysis) BS EN 1015-2:1999 Methods of test for mortar for masonry. Bulk sampling of mortars and preparation of test mortars BS EN 1015-3:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by flow table) BS EN 1015-4:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by plunger penetration) BS EN 1015-6:1999 Methods of test for mortar for masonry. Determination of bulk density of fresh mortar BS EN 1015-7:1999 Methods of test for mortar for masonry. Determination of air content of fresh mortar BS EN 1015-9:1999 Methods of test for mortar for masonry. Determination of workable life and correction time of fresh mortar BS EN 1015-10:1999 Methods of test for mortar for masonry. Determination of dry bulk density of hardened mortar BS EN 1015-11:1999 Methods of test for mortar for masonry. Determination of flexural and compressive strength of hardened mortar BS EN 1015-12:2000 Methods of test for mortar for masonry. Determination of adhesive strength of hardened rendering and plastering mortars on substrates BS EN 1015-17:2000 Methods of test for mortar for masonry. Determination of water-soluble chloride content of fresh mortars BS EN 1052-1:1999 Methods of test for masonry. Determination of compressive strength BS EN 1052-2:2016 Methods of test for masonry. Determination of flexural strength BS EN 13139:2002 Aggregates for mortar BS EN 13139:2002 Aggregates for mortar BS EN 845-1:2013 Specification for ancillary components for masonry. Wall ties, tension straps, hangers and brackets BS EN 13055-1:2002 Lightweight aggregates. Lightweight aggregates for concrete, mortar and grout BS EN 998-2:2010 Specification for mortar for masonry . Masonry mortar/ BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar BS EN 413-1:2011 Masonry cement. Composition, specifications and conformity criteria Sealants BS EN ISO 11600:2003+A1:2011 Building construction. Jointing products. Classification and requirements for sealants BS 4255-1:1986 Rubber used in preformed gaskets for weather exclusion from buildings. Specification for non-cellular gaskets BS 6213:2000+A1:2010 Selection of construction sealants. Guide Waterproofing for masonry BS 8215:1991 Code of practice for design and installation of damp-proof courses in masonry construction BS EN 772-7:1998 Methods of test for masonry units. Determination of water absorption of clay masonry damp proof course units by boiling in water BS EN 1052-4:2000 Methods of test for masonry. Determination of shear strength including damp proof course |
| --- | --- |
| ASTM | Masonry ASTM C216 - 15 Standard Specification for Facing Brick (Solid Masonry Units Made from Clay or Shale) ASTM C62 - 13a Standard Specification for Building Brick (Solid Masonry Units Made From Clay or Shale) ASTM C652 - 15 Standard Specification for Hollow Brick (Hollow Masonry Units Made From Clay or Shale) ASTM C212 - 14 Standard Specification for Structural Clay Facing Tile ASTM C34 - 13 Standard Specification for Structural Clay Load-Bearing Wall Tile. ASTM C67 - 14 Standard Test Methods for Sampling and Testing Brick and Structural Clay Tile. ASTM C91 / C91M - 12 Standard Specification for Masonry Cement ASTM C207 - 06(2011) Standard Specification for Hydrated Lime for Masonry Purposes ASTM E518 / E518M - 15 Standard Test Methods for Flexural Bond Strength of Masonry ASTM C1072 - 13e1 Standard Test Methods for Measurement of Masonry Flexural Bond Strength ASTM C67 - 14 Standard Test Methods for Sampling and Testing Brick and Structural Clay Tile ASTM C73 - 14 Standard Specification for Calcium Silicate Brick (Sand-Lime Brick) ASTM C126 - 15 Standard Specification for Ceramic Glazed Structural Clay Facing Tile, Facing Brick, and Solid Masonry Units Mortar ASTM C144 - 11 Standard Specification for Aggregate for Masonry Mortar ASTM C270 - 14a Standard Specification for Mortar for Unit Masonry ASTM C476 - 10 Standard Specification for Grout for Masonry. ASTM C1019 - 16 Standard Test Method for Sampling and Testing Grout ASTM C150 / C150M - 15 Standard Specification for Portland Cement ASTM C595 / C595M - 15e1 Standard Specification for Blended Hydraulic Cements ASTM C109 / C109M - 16 Standard Test Method for Compressive Strength of Hydraulic Cement Mortars (Using 2-in. or [50-mm] Cube Specimens) ASTM C780 - 15a Standard Test Method for Preconstruction and Construction Evaluation of Mortars for Plain and Reinforced Unit Masonry. ASTM C979 / C979M - 16 Standard Specification for Pigments for Integrally Colored Concrete ASTM C780 - 15a Standard Test Method for Preconstruction and Construction Evaluation of Mortars for Plain and Reinforced Unit Masonry ASTM C896 - 15 Standard Terminology Relating to Clay Products ASTM C1006 - 07(2013) Standard Test Method for Splitting Tensile Strength of Masonry Units ASTM C1019 - 16 Standard Test Method for Sampling and Testing Grout ASTM C1088 - 14 Standard Specification for Thin Veneer Brick Units Made From Clay or Shale ASTM C1093 - 15a Standard Practice for Accreditation of Testing Agencies for Masonry ASTM C1106 - 00(2012) Standard Test Methods for Chemical Resistance and Physical Properties of Carbon Brick ASTM C1148 - 92a(2014) Standard Test Method for Measuring the Drying Shrinkage of Masonry Mortar ASTM C1180 - 10 Standard Terminology of Mortar and Grout for Unit Masonry ASTM C1218 / C1218M - 15 Standard Test Method for Water-Soluble Chloride in Mortar and Concrete ASTM C1324 - 15 Standard Test Method for Examination and Analysis of Hardened Masonry Mortar ASTM C1384 - 12a Standard Specification for Admixtures for Masonry Mortars ASTM C1400 - 11 Standard Guide for Reduction of Efflorescence Potential in New Masonry Walls ASTM C1403 - 15 Standard Test Method for Rate of Water Absorption of Masonry Mortars Sealants ASTM C509 - 06(2015) Standard Specification for Elastomeric Cellular Preformed Gasket and Sealing Material ASTM C717 - 14a Standard Terminology of Building Seals and Sealants Waterproofing for masonry ASTM D5095 - 91(2013) Standard Test Method for Determination of the Nonvolatile Content in Silanes, Siloxanes and Silane-Siloxane Blends Used in Masonry Water Repellent Treatments ASTM D6532 - 00(2014) Standard Test Method for Evaluation of the Effect of Clear Water Repellent Treatments on Water Absorption of Hydraulic Cement Mortar Specimens ASTM C898 / C898M - 09 Standard Guide for Use of High Solids Content, Cold Liquid-Applied Elastomeric Waterproofing Membrane With Separate Wearing Course |
| AS | Masonry AS 1617.1-2003 (R2013) Refractory bricks and shapes - Fireclay AS 1618-2003 (R2013) Dimensions and preferred sizes for refractory bricks AS/NZS 2699.1:2000 Built-in components for masonry construction - Wall ties AS/NZS 2699.2:2000 Built-in components for masonry construction, - Connectors and accessories AS 4773.2-2010 Masonry in small buildings - Construction/ AS 4773.1-2010 Masonry in small buildings - Design/ AS 3700-2011 Masonry structures AS 4517.1-2006 Blanks for superabrasive cutting-off wheels - Manually guided cutting-off in building and civil engineering/ AS 4517.2-2006 Blanks for superabrasive cutting-off wheels - Hand-held cutting-off in building and civil engineering AS/NZS 4524.10:1998 Bonded abrasive products - Dimensions - Honing stones and superfinishings AS/NZS 4284:2008 Testing of building facades Mortar AS 1478.1-2000 Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 2350.12-2006 Methods of testing portland, blended and masonry cements - Preparation of a standard mortar and moulding of specimens AS 1316-2003 Masonry cement AS/NZS 2350.11:2006 Methods of testing portland, blended and masonry cements - Compressive strength AS/NZS 2350.16:2006 Methods of testing portland, blended and masonry cements - Determination of air content of masonry cement AS/NZS 2350.17:2001 Methods of testing portland, blended and masonry cements - Determination of soundness of masonry cements AS/NZS 2350.18:2006 Methods of testing portland, blended and masonry cements - Determination of water retention of masonry cement AS 2701-2001 Methods of sampling and testing mortar for masonry construction Waterproofing for masonry AS 4654.1-2012 Waterproofing membranes for external above-ground use - Materials AS 4654.2-2012 Waterproofing membranes for external above-ground use - Design and installation |
| SS | Masonry SS EN 197 - 1 : 2014 Cement - Part 1 : Composition, specifications and conformity criteria for common cement/ SS EN 197 - 2 : 2014 Cement - Part 2 : Conformity evaluation SS EN 12620 : 2008 Specification for aggregates for concrete SS 509 - 1 : 2015 Code of practice for cleaning and surface repair of buildings – Part 1 : Cleaning of natural stone, brick, terracotta, concrete and rendered finishes/ SS 509 - 2 : 2005 (2015) Code of practice for cleaning and surface repair of buildings - Surface repair of natural stones, brick, terracotta and rendered finishes Mortar SS EN 934 - 1 : 2008 (2015) Admixtures for concrete, mortar and grout - Common requirements/ SS EN 934 - 2 : 2015 Admixtures for concrete, mortar and grout - Part 2 : Definitions, requirements – Concrete admixtures – Definitions, requirements, conformity, marking and labelling/ SS EN 934 - 6 : 2008 (2015) Admixtures for concrete, mortar and grout - Sampling, conformity control and evaluation of conformity |
| ISO | Masonry ISO 9652-4:2000 Masonry - Part 4: Test methods ISO 9652-5:2000 Masonry - Part 5: Vocabulary ISO 12678-1:1996 Refractory products - Measurement of dimensions and external defects of refractory bricks - Part 1: Dimensions and conformity to drawings ISO 12678-2:1996 Refractory products - Measurement of dimensions and external defects of refractory bricks - Part 2: Corner and edge defects and other surface imperfections Sealant ISO 10563:2005 Building construction - Sealants - Determination of change in mass and volume ISO 10590:2005 Building construction - Sealants - Determination of tensile properties of sealants at maintained extension after immersion in water ISO 10591:2005 Building construction -- Sealants -- Determination of adhesion/cohesion properties of sealants after immersion in water ISO 11431:2002 Building construction -- Jointing products -- Determination of adhesion/cohesion properties of sealants after exposure to heat, water and artificial light through glass ISO 11432:2005 Building construction -- Sealants -- Determination of resistance to compression ISO 11600:2002 Building construction -- Jointing products -- Classification and requirements for sealants ISO 13638:1996 Building construction - Sealants - Determination of resistance to prolonged exposure to water ISO 8340:2005 Building construction -- Sealants -- Determination of tensile properties at maintained extension ISO 8394-1:2010 Building construction -- Jointing products -- Part 1: Determination of extrudability of sealants ISO 9047:2001 Building construction - Jointing products - Determination of adhesion/cohesion properties of sealants at variable temperatures Waterproofing for masonry ISO 7783:2011 Paints and varnishes -- Determination of water-vapour transmission properties -- Cup method |

## Sealant Deterioration - Incorrect sealant selection

| BS | Masonry BS EN 459-1:2015 Building lime. Definitions, specifications and conformity criteriaBS EN 459-1:2015 Building lime. Definitions, specifications and conformity criteria BS EN 772-3:1998 Methods of test for masonry units. Determination of net volume and percentage of voids of clay masonry units by hydrostatic weighing/ BS EN 772-7:1998 Methods of test for masonry units. Determination of water absorption of clay masonry damp proof course units by boiling in water/ BS EN 771-1:2011 Specification for masonry units. Clay masonry units PD 6697:2010 Recommendations for the design of masonry structures to BS EN 1996-1-1 and BS EN 1996-2/ BS EN 1996-3:2006 Eurocode 6. Design of masonry structures. Simplified calculation methods for unreinforced masonry structures/ BS EN 1996-2:2006 Eurocode 6. Design of masonry structures. Design considerations, selection of materials and execution of masonry/ BS EN 1996-1-1:2005+A1:2012 Eurocode 6. Design of masonry structures. General rules for reinforced and unreinforced masonry structures PD 6697:2010 Recommendations for the design of masonry structures to BS EN 1996-1-1 and BS EN 1996-2/ BS EN 1996-3:2006 Eurocode 6. Design of masonry structures. Simplified calculation methods for unreinforced masonry structures/ BS EN 1996-2:2006 Eurocode 6. Design of masonry structures. Design considerations, selection of materials and execution of masonry/ BS EN 1996-1-2:2005 Eurocode 6. Design of masonry structures. General rules. Structural fire design BS 6100-6:2008 Building and civil engineering. Vocabulary. Construction parts BS EN 772-1:2011+A1:2015 Methods of test for masonry units. Determination of compressive strength BS EN 772-2:1998 Methods of test for masonry units. Determination of percentage area of voids in masonry units (by paper indentation) BS EN 772-5:2016 Methods of test for masonry units. Determination of the active soluble salts content of clay masonry units BS EN 772-7:1998 Methods of test for masonry units. Determination of water absorption of clay masonry damp proof course units by boiling in water BS EN 772-19:2000 Methods of test for masonry units. Determination of moisture expansion of large horizontally perforated clay masonry units BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS 8221-1:2012 Code of practice for cleaning and surface repair of buildings. Cleaning of natural stone, brick, terracotta and concrete BS 8221-2:2000 Code of practice for cleaning and surface repair of buildings. Surface repair of natural stones, brick and terracotta Mortar BS EN 413-2:2005 Masonry cement. Test methods BS EN 772-1:2011+A1:2015 Methods of test for masonry units. Determination of compressive strength BS EN 772-5:2016 Methods of test for masonry units. Determination of the active soluble salts content of clay masonry units BS EN 772-16:2011 Methods of test for masonry units. Determination of dimensions BS EN 998-2:2010 Specification for mortar for masonry. Masonry mortar BS EN 1015-1:1999 Methods of test for mortar for masonry. Determination of particle size distribution (by sieve analysis) BS EN 1015-2:1999 Methods of test for mortar for masonry. Bulk sampling of mortars and preparation of test mortars BS EN 1015-3:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by flow table) BS EN 1015-4:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by plunger penetration) BS EN 1015-6:1999 Methods of test for mortar for masonry. Determination of bulk density of fresh mortar BS EN 1015-7:1999 Methods of test for mortar for masonry. Determination of air content of fresh mortar BS EN 1015-9:1999 Methods of test for mortar for masonry. Determination of workable life and correction time of fresh mortar BS EN 1015-10:1999 Methods of test for mortar for masonry. Determination of dry bulk density of hardened mortar BS EN 1015-11:1999 Methods of test for mortar for masonry. Determination of flexural and compressive strength of hardened mortar BS EN 1015-12:2000 Methods of test for mortar for masonry. Determination of adhesive strength of hardened rendering and plastering mortars on substrates BS EN 1015-17:2000 Methods of test for mortar for masonry. Determination of water-soluble chloride content of fresh mortars BS EN 1052-1:1999 Methods of test for masonry. Determination of compressive strength BS EN 1052-2:2016 Methods of test for masonry. Determination of flexural strength BS EN 13139:2002 Aggregates for mortar BS EN 13139:2002 Aggregates for mortar BS EN 845-1:2013 Specification for ancillary components for masonry. Wall ties, tension straps, hangers and brackets BS EN 13055-1:2002 Lightweight aggregates. Lightweight aggregates for concrete, mortar and grout BS EN 998-2:2010 Specification for mortar for masonry . Masonry mortar/ BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar BS EN 413-1:2011 Masonry cement. Composition, specifications and conformity criteria Sealants BS EN ISO 11600:2003+A1:2011 Building construction. Jointing products. Classification and requirements for sealants BS 4255-1:1986 Rubber used in preformed gaskets for weather exclusion from buildings. Specification for non-cellular gaskets BS 6213:2000+A1:2010 Selection of construction sealants. Guide Waterproofing for masonry BS 8215:1991 Code of practice for design and installation of damp-proof courses in masonry construction BS EN 772-7:1998 Methods of test for masonry units. Determination of water absorption of clay masonry damp proof course units by boiling in water BS EN 1052-4:2000 Methods of test for masonry. Determination of shear strength including damp proof course |
| --- | --- |
| ASTM | Masonry ASTM C216 - 15 Standard Specification for Facing Brick (Solid Masonry Units Made from Clay or Shale) ASTM C62 - 13a Standard Specification for Building Brick (Solid Masonry Units Made From Clay or Shale) ASTM C652 - 15 Standard Specification for Hollow Brick (Hollow Masonry Units Made From Clay or Shale) ASTM C212 - 14 Standard Specification for Structural Clay Facing Tile ASTM C34 - 13 Standard Specification for Structural Clay Load-Bearing Wall Tile. ASTM C67 - 14 Standard Test Methods for Sampling and Testing Brick and Structural Clay Tile. ASTM C91 / C91M - 12 Standard Specification for Masonry Cement ASTM C207 - 06(2011) Standard Specification for Hydrated Lime for Masonry Purposes ASTM E518 / E518M - 15 Standard Test Methods for Flexural Bond Strength of Masonry ASTM C1072 - 13e1 Standard Test Methods for Measurement of Masonry Flexural Bond Strength ASTM C67 - 14 Standard Test Methods for Sampling and Testing Brick and Structural Clay Tile ASTM C73 - 14 Standard Specification for Calcium Silicate Brick (Sand-Lime Brick) ASTM C126 - 15 Standard Specification for Ceramic Glazed Structural Clay Facing Tile, Facing Brick, and Solid Masonry Units Mortar ASTM C144 - 11 Standard Specification for Aggregate for Masonry Mortar ASTM C270 - 14a Standard Specification for Mortar for Unit Masonry ASTM C476 - 10 Standard Specification for Grout for Masonry. ASTM C1019 - 16 Standard Test Method for Sampling and Testing Grout ASTM C150 / C150M - 15 Standard Specification for Portland Cement ASTM C595 / C595M - 15e1 Standard Specification for Blended Hydraulic Cements ASTM C109 / C109M - 16 Standard Test Method for Compressive Strength of Hydraulic Cement Mortars (Using 2-in. or [50-mm] Cube Specimens) ASTM C780 - 15a Standard Test Method for Preconstruction and Construction Evaluation of Mortars for Plain and Reinforced Unit Masonry. ASTM C979 / C979M - 16 Standard Specification for Pigments for Integrally Colored Concrete ASTM C780 - 15a Standard Test Method for Preconstruction and Construction Evaluation of Mortars for Plain and Reinforced Unit Masonry ASTM C896 - 15 Standard Terminology Relating to Clay Products ASTM C1006 - 07(2013) Standard Test Method for Splitting Tensile Strength of Masonry Units ASTM C1019 - 16 Standard Test Method for Sampling and Testing Grout ASTM C1088 - 14 Standard Specification for Thin Veneer Brick Units Made From Clay or Shale ASTM C1093 - 15a Standard Practice for Accreditation of Testing Agencies for Masonry ASTM C1106 - 00(2012) Standard Test Methods for Chemical Resistance and Physical Properties of Carbon Brick ASTM C1148 - 92a(2014) Standard Test Method for Measuring the Drying Shrinkage of Masonry Mortar ASTM C1180 - 10 Standard Terminology of Mortar and Grout for Unit Masonry ASTM C1218 / C1218M - 15 Standard Test Method for Water-Soluble Chloride in Mortar and Concrete ASTM C1324 - 15 Standard Test Method for Examination and Analysis of Hardened Masonry Mortar ASTM C1384 - 12a Standard Specification for Admixtures for Masonry Mortars ASTM C1400 - 11 Standard Guide for Reduction of Efflorescence Potential in New Masonry Walls ASTM C1403 - 15 Standard Test Method for Rate of Water Absorption of Masonry Mortars Sealants ASTM C509 - 06(2015) Standard Specification for Elastomeric Cellular Preformed Gasket and Sealing Material ASTM C717 - 14a Standard Terminology of Building Seals and Sealants Waterproofing for masonry ASTM D5095 - 91(2013) Standard Test Method for Determination of the Nonvolatile Content in Silanes, Siloxanes and Silane-Siloxane Blends Used in Masonry Water Repellent Treatments ASTM D6532 - 00(2014) Standard Test Method for Evaluation of the Effect of Clear Water Repellent Treatments on Water Absorption of Hydraulic Cement Mortar Specimens ASTM C898 / C898M - 09 Standard Guide for Use of High Solids Content, Cold Liquid-Applied Elastomeric Waterproofing Membrane With Separate Wearing Course |
| AS | Masonry AS 1617.1-2003 (R2013) Refractory bricks and shapes - Fireclay AS 1618-2003 (R2013) Dimensions and preferred sizes for refractory bricks AS/NZS 2699.1:2000 Built-in components for masonry construction - Wall ties AS/NZS 2699.2:2000 Built-in components for masonry construction, - Connectors and accessories AS 4773.2-2010 Masonry in small buildings - Construction/ AS 4773.1-2010 Masonry in small buildings - Design/ AS 3700-2011 Masonry structures AS 4517.1-2006 Blanks for superabrasive cutting-off wheels - Manually guided cutting-off in building and civil engineering/ AS 4517.2-2006 Blanks for superabrasive cutting-off wheels - Hand-held cutting-off in building and civil engineering AS/NZS 4524.10:1998 Bonded abrasive products - Dimensions - Honing stones and superfinishings AS/NZS 4284:2008 Testing of building facades Mortar AS 1478.1-2000 Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 2350.12-2006 Methods of testing portland, blended and masonry cements - Preparation of a standard mortar and moulding of specimens AS 1316-2003 Masonry cement AS/NZS 2350.11:2006 Methods of testing portland, blended and masonry cements - Compressive strength AS/NZS 2350.16:2006 Methods of testing portland, blended and masonry cements - Determination of air content of masonry cement AS/NZS 2350.17:2001 Methods of testing portland, blended and masonry cements - Determination of soundness of masonry cements AS/NZS 2350.18:2006 Methods of testing portland, blended and masonry cements - Determination of water retention of masonry cement AS 2701-2001 Methods of sampling and testing mortar for masonry construction Waterproofing for masonry AS 4654.1-2012 Waterproofing membranes for external above-ground use - Materials AS 4654.2-2012 Waterproofing membranes for external above-ground use - Design and installation |
| SS | Masonry SS EN 197 - 1 : 2014 Cement - Part 1 : Composition, specifications and conformity criteria for common cement/ SS EN 197 - 2 : 2014 Cement - Part 2 : Conformity evaluation SS EN 12620 : 2008 Specification for aggregates for concrete SS 509 - 1 : 2015 Code of practice for cleaning and surface repair of buildings – Part 1 : Cleaning of natural stone, brick, terracotta, concrete and rendered finishes/ SS 509 - 2 : 2005 (2015) Code of practice for cleaning and surface repair of buildings - Surface repair of natural stones, brick, terracotta and rendered finishes Mortar SS EN 934 - 1 : 2008 (2015) Admixtures for concrete, mortar and grout - Common requirements/ SS EN 934 - 2 : 2015 Admixtures for concrete, mortar and grout - Part 2 : Definitions, requirements – Concrete admixtures – Definitions, requirements, conformity, marking and labelling/ SS EN 934 - 6 : 2008 (2015) Admixtures for concrete, mortar and grout - Sampling, conformity control and evaluation of conformity |
| ISO | Masonry ISO 9652-4:2000 Masonry - Part 4: Test methods ISO 9652-5:2000 Masonry - Part 5: Vocabulary ISO 12678-1:1996 Refractory products - Measurement of dimensions and external defects of refractory bricks - Part 1: Dimensions and conformity to drawings ISO 12678-2:1996 Refractory products - Measurement of dimensions and external defects of refractory bricks - Part 2: Corner and edge defects and other surface imperfections Sealant ISO 10563:2005 Building construction - Sealants - Determination of change in mass and volume ISO 10590:2005 Building construction - Sealants - Determination of tensile properties of sealants at maintained extension after immersion in water ISO 10591:2005 Building construction -- Sealants -- Determination of adhesion/cohesion properties of sealants after immersion in water ISO 11431:2002 Building construction -- Jointing products -- Determination of adhesion/cohesion properties of sealants after exposure to heat, water and artificial light through glass ISO 11432:2005 Building construction -- Sealants -- Determination of resistance to compression ISO 11600:2002 Building construction -- Jointing products -- Classification and requirements for sealants ISO 13638:1996 Building construction - Sealants - Determination of resistance to prolonged exposure to water ISO 8340:2005 Building construction -- Sealants -- Determination of tensile properties at maintained extension ISO 8394-1:2010 Building construction -- Jointing products -- Part 1: Determination of extrudability of sealants ISO 9047:2001 Building construction - Jointing products - Determination of adhesion/cohesion properties of sealants at variable temperatures Waterproofing for masonry ISO 7783:2011 Paints and varnishes -- Determination of water-vapour transmission properties -- Cup method |

# Plaster Wall

## Cracking Due To Differential Movements of Structures

## Cracking Due To Stress At Openings

## Cracking Due To A Change In Backing Wall Materials

## Cracking Due To Movement In Adjacent Apron

## Delamination of Plaster

## Crazing

| BS | Plaster BS ISO 15686-1:2011 Buildings and constructed assets. Service life planning. General principles and framework/BS ISO 15686-3:2002 Buildings and constructed assets. Service life planning. Performance audits and reviews/BS ISO 15686-2:2012 Buildings and constructed assets. Service life planning. Service life prediction procedures/BS 7543:2015 Guide to durability of buildings and building elements, products and components/ BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS EN 13914-1:2016 Design, preparation and application of external rendering and internal plastering. External rendering BS EN 197-1:2011 Cement. Composition, specifications and conformity criteria for common cements BS EN 459-1:2015 Building lime. Definitions, specifications and conformity criteria BS EN 13279-1:2008 Gypsum binders and gypsum plasters. Definitions and requirements/ BS EN 13279-2:2014 Gypsum binders and gypsum plasters. Test methods BS EN 13139:2002 Aggregates for mortar BS EN 13658-1:2005 Metal lath and beads. Definitions, requirements and test methods. Internal plastering/ BS EN 13658-2:2005 Metal lath and beads. Definitions, requirements and test methods. External rendering BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS EN 1015-10:1999 Methods of test for mortar for masonry. Determination of dry bulk density of hardened mortar/ BS EN 1015-9:1999 Methods of test for mortar for masonry. Determination of workable life and correction time of fresh mortar/ BS EN 1015-6:1999 Methods of test for mortar for masonry. Determination of bulk density of fresh mortar/ BS EN 1015-3:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by flow table)/ BS EN 1015-2:1999 Methods of test for mortar for masonry. Bulk sampling of mortars and preparation of test mortars/ BS EN 1015-1:1999 Methods of test for mortar for masonry. Determination of particle size distribution (by sieve analysis)/ BS EN 1015-19:1999 Methods of test for mortar for masonry. Determination of water vapour permeability of hardened rendering and plastering mortars/ BS EN 1015-4:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by plunger penetration)/ BS EN 1015-7:1999 Methods of test for mortar for masonry. Determination of air content of fresh mortar BS 4551:2005+A2:2013 Mortar. Methods of test for mortar and screed. Chemical analysis and physical testing BS EN1015-12:2000 Methods of test for mortar masonry. Determination of adhesive strength of hardened rendering and plastering mortars on substrates BS EN1015-19:1999 Methods of test for mortar for masonry. Determination of water vapour permeability of hardened rendering and plastering mortars BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar BS EN 1015-18:2002 Methods of test for mortar for masonry. Determination of water absorption coefficient due to capillary action of hardened mortar BS EN 1015-21:2002 Methods of test for mortar for masonry. Determination of the compatibility of one-coat rendering mortars with substrates BS EN 13658-2:2005 Metal lath and beads. Definitions, requirements and test methods. External rendering BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar BS EN 13914-1:2016 Design, preparation and application of external rendering and internal plastering. External rendering |
| --- | --- |
| ASTM | Plaster ASTM C926 - 16 Standard Specification for Application of Portland Cement-Based Plaster ASTM C1328 / C1328M - 12 Standard Specification for Plastic (Stucco) Cement ASTM C897 - 15 Standard Specification for Aggregate for Job-Mixed Portland Cement-Based PlastersASTM C897 - 15 Standard Specification for Aggregate for Job-Mixed Portland Cement-Based Plasters ASTM E96 / E96M - 15 Standard Test Methods for Water Vapor Transmission of Materials ASTM C1506 - 16a Standard Test Method for Water Retention of Hydraulic Cement-Based Mortars and Plasters ASTM C1063 - 16 Standard Specification for Installation of Lathing and Furring to Receive Interior and Exterior Portland Cement-Based Plaster ASTM C926 - 16 Standard Specification for Application of Portland Cement-Based Plaster ASTM C897 - 15 Standard Specification for Aggregate for Job-Mixed Portland Cement-Based Plasters ASTM C847 - 14a Standard Specification for Metal Lath ASTM C150 / C150M - 15 Standard Specification for Portland Cement ASTM F710 - 11 Standard Practice for Preparing Concrete Floors to Receive Resilient Flooring ASTM E119 - 15 Standard Test Methods for Fire Tests of Building Construction and Materials ASTM C932 - 06(2013) Standard Specification for Surface-Applied Bonding Compounds for Exterior Plastering ASTM C40 / C40M - 11 Standard Test Method for Organic Impurities in Fine Aggregates for Concrete ASTM D75 / D75M - 14 Standard Practice for Sampling Aggregates ASTM C136 / C136M - 14 Standard Test Method for Sieve Analysis of Fine and Coarse Aggregates |
| AS | Plaster AS 5101.3.1-2008 Methods for preparation and testing of stabilized materials - Lime or cement content of uncured stabilized pavement materials (EDTA method) AS 1141.1:2015 Methods for sampling and testing aggregates - Definitions DR AS 1141.11.1-2009 Amd 2:2015 Methods for sampling and testing aggregates - Particle size distribution - Sieving method |
| SS | SS CP 82:1999- Code of practice- waterproofing of reinforced concrete buildings SS 566 : 2011 Specification for steel for the reinforcement of concrete – Plain bars SS 18 - 1 : 1999 Cold-reduced steel wire for the reinforcement of concrete and the manufacture of welded fabric - Steel grade 500 SS 580 : 2012 Code of practice for formwork SS EN 197 - 1 : 2014 Cement - Part 1 : Composition, specifications and conformity criteria for common cement/ SS EN 197 - 2 : 2014 Cement - Part 2 : Conformity evaluation SS EN 12620 : 2008 Specification for aggregates for concrete SS 32 Series - Welded steel fabric for the reinforcement of concrete SS EN 206 : 2014 Concrete. Specification, performance, production and conformity/ SS 544 series - Concrete - Complementary Singapore Standard to SS EN 206-1 SS EN 934 - 1 : 2008 (2015) Admixtures for concrete, mortar and grout - Common requirements/ SS EN 934 - 2 : 2015 Admixtures for concrete, mortar and grout - Part 2 : Definitions, requirements – Concrete admixtures – Definitions, requirements, conformity, marking and labelling/ SS EN 934 - 6 : 2008 (2015) Admixtures for concrete, mortar and grout - Sampling, conformity control and evaluation of conformity SS 542 : 2008 Code of practice for painting of buildings SS 5 Series - Methods of test for paints, varnishes and related materials SS 7 : 1998 Paint - Finishing, gloss enamel SS 34 : 1998 Undercoat paint for gloss enamel SS 150 : 1998 Emulsion paints for decorative purposes CP 82 : 1999 Code of practice for waterproofing of reinforced concrete buildings |
| ISO | Plaster ISO 6274:1982 Concrete; Sieve analysis of aggregates |

## Cracking Close To Floor Level Of Room Internally

## Cracking Along Conduit Installed Beneath Plastering

## Cracking Due To Plastic Settlement Of Concrete

## Biological attack - Organic Growth At Damp Areas

## Biological attack - Organic Growth Over Wide Areas

| BS | Plaster BS ISO 15686-1:2011 Buildings and constructed assets. Service life planning. General principles and framework/BS ISO 15686-3:2002 Buildings and constructed assets. Service life planning. Performance audits and reviews/BS ISO 15686-2:2012 Buildings and constructed assets. Service life planning. Service life prediction procedures/BS 7543:2015 Guide to durability of buildings and building elements, products and components/ BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS EN 13914-1:2016 Design, preparation and application of external rendering and internal plastering. External rendering BS EN 197-1:2011 Cement. Composition, specifications and conformity criteria for common cements BS EN 459-1:2015 Building lime. Definitions, specifications and conformity criteria BS EN 13279-1:2008 Gypsum binders and gypsum plasters. Definitions and requirements/ BS EN 13279-2:2014 Gypsum binders and gypsum plasters. Test methods BS EN 13139:2002 Aggregates for mortar BS EN 13658-1:2005 Metal lath and beads. Definitions, requirements and test methods. Internal plastering/ BS EN 13658-2:2005 Metal lath and beads. Definitions, requirements and test methods. External rendering BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS EN 1015-10:1999 Methods of test for mortar for masonry. Determination of dry bulk density of hardened mortar/ BS EN 1015-9:1999 Methods of test for mortar for masonry. Determination of workable life and correction time of fresh mortar/ BS EN 1015-6:1999 Methods of test for mortar for masonry. Determination of bulk density of fresh mortar/ BS EN 1015-3:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by flow table)/ BS EN 1015-2:1999 Methods of test for mortar for masonry. Bulk sampling of mortars and preparation of test mortars/ BS EN 1015-1:1999 Methods of test for mortar for masonry. Determination of particle size distribution (by sieve analysis)/ BS EN 1015-19:1999 Methods of test for mortar for masonry. Determination of water vapour permeability of hardened rendering and plastering mortars/ BS EN 1015-4:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by plunger penetration)/ BS EN 1015-7:1999 Methods of test for mortar for masonry. Determination of air content of fresh mortar BS 4551:2005+A2:2013 Mortar. Methods of test for mortar and screed. Chemical analysis and physical testing BS EN1015-12:2000 Methods of test for mortar masonry. Determination of adhesive strength of hardened rendering and plastering mortars on substrates BS EN1015-19:1999 Methods of test for mortar for masonry. Determination of water vapour permeability of hardened rendering and plastering mortars BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar BS EN 1015-18:2002 Methods of test for mortar for masonry. Determination of water absorption coefficient due to capillary action of hardened mortar BS EN 1015-21:2002 Methods of test for mortar for masonry. Determination of the compatibility of one-coat rendering mortars with substrates BS EN 13658-2:2005 Metal lath and beads. Definitions, requirements and test methods. External rendering BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar BS EN 13914-1:2016 Design, preparation and application of external rendering and internal plastering. External rendering |
| --- | --- |
| ASTM | Plaster ASTM C926 - 16 Standard Specification for Application of Portland Cement-Based Plaster ASTM C1328 / C1328M - 12 Standard Specification for Plastic (Stucco) Cement ASTM C897 - 15 Standard Specification for Aggregate for Job-Mixed Portland Cement-Based PlastersASTM C897 - 15 Standard Specification for Aggregate for Job-Mixed Portland Cement-Based Plasters ASTM E96 / E96M - 15 Standard Test Methods for Water Vapor Transmission of Materials ASTM C1506 - 16a Standard Test Method for Water Retention of Hydraulic Cement-Based Mortars and Plasters ASTM C1063 - 16 Standard Specification for Installation of Lathing and Furring to Receive Interior and Exterior Portland Cement-Based Plaster ASTM C926 - 16 Standard Specification for Application of Portland Cement-Based Plaster ASTM C897 - 15 Standard Specification for Aggregate for Job-Mixed Portland Cement-Based Plasters ASTM C847 - 14a Standard Specification for Metal Lath ASTM C150 / C150M - 15 Standard Specification for Portland Cement ASTM F710 - 11 Standard Practice for Preparing Concrete Floors to Receive Resilient Flooring ASTM E119 - 15 Standard Test Methods for Fire Tests of Building Construction and Materials ASTM C932 - 06(2013) Standard Specification for Surface-Applied Bonding Compounds for Exterior Plastering ASTM C40 / C40M - 11 Standard Test Method for Organic Impurities in Fine Aggregates for Concrete ASTM D75 / D75M - 14 Standard Practice for Sampling Aggregates ASTM C136 / C136M - 14 Standard Test Method for Sieve Analysis of Fine and Coarse Aggregates |
| AS | Plaster AS 5101.3.1-2008 Methods for preparation and testing of stabilized materials - Lime or cement content of uncured stabilized pavement materials (EDTA method) AS 1141.1:2015 Methods for sampling and testing aggregates - Definitions DR AS 1141.11.1-2009 Amd 2:2015 Methods for sampling and testing aggregates - Particle size distribution - Sieving method |
| SS | CP 56 : 1991 Code of practice for internal plastering SS EN 197 series - Cement SS EN 12620 : 2008 Specification for aggregates for concrete |
| ISO | Plaster ISO 6274:1982 Concrete; Sieve analysis of aggregates |

## Staining From Ledges And Over Wide Areas

## Staining  - Rust Staining From Fixtures

## Staining From Cracks

| BS | Plaster BS ISO 15686-1:2011 Buildings and constructed assets. Service life planning. General principles and framework/BS ISO 15686-3:2002 Buildings and constructed assets. Service life planning. Performance audits and reviews/BS ISO 15686-2:2012 Buildings and constructed assets. Service life planning. Service life prediction procedures/BS 7543:2015 Guide to durability of buildings and building elements, products and components/ BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS EN 13914-1:2016 Design, preparation and application of external rendering and internal plastering. External rendering BS EN 197-1:2011 Cement. Composition, specifications and conformity criteria for common cements BS EN 459-1:2015 Building lime. Definitions, specifications and conformity criteria BS EN 13279-1:2008 Gypsum binders and gypsum plasters. Definitions and requirements/ BS EN 13279-2:2014 Gypsum binders and gypsum plasters. Test methods BS EN 13139:2002 Aggregates for mortar BS EN 13658-1:2005 Metal lath and beads. Definitions, requirements and test methods. Internal plastering/ BS EN 13658-2:2005 Metal lath and beads. Definitions, requirements and test methods. External rendering BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS EN 1015-10:1999 Methods of test for mortar for masonry. Determination of dry bulk density of hardened mortar/ BS EN 1015-9:1999 Methods of test for mortar for masonry. Determination of workable life and correction time of fresh mortar/ BS EN 1015-6:1999 Methods of test for mortar for masonry. Determination of bulk density of fresh mortar/ BS EN 1015-3:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by flow table)/ BS EN 1015-2:1999 Methods of test for mortar for masonry. Bulk sampling of mortars and preparation of test mortars/ BS EN 1015-1:1999 Methods of test for mortar for masonry. Determination of particle size distribution (by sieve analysis)/ BS EN 1015-19:1999 Methods of test for mortar for masonry. Determination of water vapour permeability of hardened rendering and plastering mortars/ BS EN 1015-4:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by plunger penetration)/ BS EN 1015-7:1999 Methods of test for mortar for masonry. Determination of air content of fresh mortar BS 4551:2005+A2:2013 Mortar. Methods of test for mortar and screed. Chemical analysis and physical testing Masonry BS EN1015-12:2000 Methods of test for mortar masonry. Determination of adhesive strength of hardened rendering and plastering mortars on substrates BS EN1015-19:1999 Methods of test for mortar for masonry. Determination of water vapour permeability of hardened rendering and plastering mortars BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar BS EN 1015-18:2002 Methods of test for mortar for masonry. Determination of water absorption coefficient due to capillary action of hardened mortar BS EN 1015-21:2002 Methods of test for mortar for masonry. Determination of the compatibility of one-coat rendering mortars with substrates BS EN 13658-2:2005 Metal lath and beads. Definitions, requirements and test methods. External rendering BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar R BS EN 13914-1:2016 Design, preparation and application of external rendering and internal plastering. External rendering |
| --- | --- |
| ASTM | Plaster ASTM C926 - 16 Standard Specification for Application of Portland Cement-Based Plaster ASTM C1328 / C1328M - 12 Standard Specification for Plastic (Stucco) Cement ASTM C897 - 15 Standard Specification for Aggregate for Job-Mixed Portland Cement-Based PlastersASTM C897 - 15 Standard Specification for Aggregate for Job-Mixed Portland Cement-Based Plasters ASTM E96 / E96M - 15 Standard Test Methods for Water Vapor Transmission of Materials ASTM C1506 - 16a Standard Test Method for Water Retention of Hydraulic Cement-Based Mortars and Plasters ASTM C1063 - 16 Standard Specification for Installation of Lathing and Furring to Receive Interior and Exterior Portland Cement-Based Plaster ASTM C926 - 16 Standard Specification for Application of Portland Cement-Based Plaster ASTM C897 - 15 Standard Specification for Aggregate for Job-Mixed Portland Cement-Based Plasters ASTM C847 - 14a Standard Specification for Metal Lath ASTM C150 / C150M - 15 Standard Specification for Portland Cement ASTM F710 - 11 Standard Practice for Preparing Concrete Floors to Receive Resilient Flooring ASTM E119 - 15 Standard Test Methods for Fire Tests of Building Construction and Materials ASTM C932 - 06(2013) Standard Specification for Surface-Applied Bonding Compounds for Exterior Plastering ASTM C40 / C40M - 11 Standard Test Method for Organic Impurities in Fine Aggregates for Concrete ASTM D75 / D75M - 14 Standard Practice for Sampling Aggregates ASTM C136 / C136M - 14 Standard Test Method for Sieve Analysis of Fine and Coarse Aggregates |
| AS | Plaster AS 5101.3.1-2008 Methods for preparation and testing of stabilized materials - Lime or cement content of uncured stabilized pavement materials (EDTA method) AS 1141.1:2015 Methods for sampling and testing aggregates - Definitions DR AS 1141.11.1-2009 Amd 2:2015 Methods for sampling and testing aggregates - Particle size distribution - Sieving method |
| SS | Plaster CP 56 : 1991 Code of practice for internal plastering Concrete SS EN 197 series - Cement SS EN 12620 : 2008 Specification for aggregates for concrete |
| ISO | Plaster ISO 6274:1982 Concrete; Sieve analysis of aggregates |

## Efflorescence

## Localized Formation Of Efflorescence

| BS | Plaster BS ISO 15686-1:2011 Buildings and constructed assets. Service life planning. General principles and framework/BS ISO 15686-3:2002 Buildings and constructed assets. Service life planning. Performance audits and reviews/BS ISO 15686-2:2012 Buildings and constructed assets. Service life planning. Service life prediction procedures/BS 7543:2015 Guide to durability of buildings and building elements, products and components/ BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS EN 13914-1:2016 Design, preparation and application of external rendering and internal plastering. External rendering BS EN 197-1:2011 Cement. Composition, specifications and conformity criteria for common cements BS EN 459-1:2015 Building lime. Definitions, specifications and conformity criteria BS EN 13279-1:2008 Gypsum binders and gypsum plasters. Definitions and requirements/ BS EN 13279-2:2014 Gypsum binders and gypsum plasters. Test methods BS EN 13139:2002 Aggregates for mortar BS EN 13658-1:2005 Metal lath and beads. Definitions, requirements and test methods. Internal plastering/ BS EN 13658-2:2005 Metal lath and beads. Definitions, requirements and test methods. External rendering BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS EN 1015-10:1999 Methods of test for mortar for masonry. Determination of dry bulk density of hardened mortar/ BS EN 1015-9:1999 Methods of test for mortar for masonry. Determination of workable life and correction time of fresh mortar/ BS EN 1015-6:1999 Methods of test for mortar for masonry. Determination of bulk density of fresh mortar/ BS EN 1015-3:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by flow table)/ BS EN 1015-2:1999 Methods of test for mortar for masonry. Bulk sampling of mortars and preparation of test mortars/ BS EN 1015-1:1999 Methods of test for mortar for masonry. Determination of particle size distribution (by sieve analysis)/ BS EN 1015-19:1999 Methods of test for mortar for masonry. Determination of water vapour permeability of hardened rendering and plastering mortars/ BS EN 1015-4:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by plunger penetration)/ BS EN 1015-7:1999 Methods of test for mortar for masonry. Determination of air content of fresh mortar BS 4551:2005+A2:2013 Mortar. Methods of test for mortar and screed. Chemical analysis and physical testing BS EN 13658-2:2005 Metal lath and beads. Definitions, requirements and test methods. External rendering BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar BS EN 13914-1:2016 Design, preparation and application of external rendering and internal plastering. External rendering |
| --- | --- |
| ASTM | Plaster ASTM C926 - 16 Standard Specification for Application of Portland Cement-Based Plaster ASTM C1328 / C1328M - 12 Standard Specification for Plastic (Stucco) Cement ASTM C897 - 15 Standard Specification for Aggregate for Job-Mixed Portland Cement-Based PlastersASTM C897 - 15 Standard Specification for Aggregate for Job-Mixed Portland Cement-Based Plasters ASTM E96 / E96M - 15 Standard Test Methods for Water Vapor Transmission of Materials ASTM C1506 - 16a Standard Test Method for Water Retention of Hydraulic Cement-Based Mortars and Plasters ASTM C1063 - 16 Standard Specification for Installation of Lathing and Furring to Receive Interior and Exterior Portland Cement-Based Plaster ASTM C926 - 16 Standard Specification for Application of Portland Cement-Based Plaster ASTM C897 - 15 Standard Specification for Aggregate for Job-Mixed Portland Cement-Based Plasters ASTM C847 - 14a Standard Specification for Metal Lath ASTM C150 / C150M - 15 Standard Specification for Portland Cement ASTM F710 - 11 Standard Practice for Preparing Concrete Floors to Receive Resilient Flooring ASTM E119 - 15 Standard Test Methods for Fire Tests of Building Construction and Materials ASTM C932 - 06(2013) Standard Specification for Surface-Applied Bonding Compounds for Exterior Plastering ASTM C40 / C40M - 11 Standard Test Method for Organic Impurities in Fine Aggregates for Concrete ASTM D75 / D75M - 14 Standard Practice for Sampling Aggregates ASTM C136 / C136M - 14 Standard Test Method for Sieve Analysis of Fine and Coarse Aggregates |
| AS | Plaster AS 5101.3.1-2008 Methods for preparation and testing of stabilized materials - Lime or cement content of uncured stabilized pavement materials (EDTA method) AS 1141.1:2015 Methods for sampling and testing aggregates - Definitions DR AS 1141.11.1-2009 Amd 2:2015 Methods for sampling and testing aggregates - Particle size distribution - Sieving method |
| SS | Plaster CP 56 : 1991 Code of practice for internal plastering Concrete SS EN 197 series - Cement SS EN 12620 : 2008 Specification for aggregates for concrete |
| ISO | Plaster ISO 6274:1982 Concrete; Sieve analysis of aggregates |

# Painted Wall

## Biological attack - Fungus Growth At Densely Vegetated Areas

## Biological attack - Fungus Growth At High Moisture Concentration Regions

## Biological attack - Fungus Growth Close To The Ground

## Staining

## Blistering

## Peeling & Flaking

## Discolouration

| BS | Paints BS EN ISO 6270-1:2001, BS 3900-F9:2001 Paints and varnishes. Determination of resistance to humidity. Continuous condensation BS EN ISO 4618:2014 Paints and varnishes. Terms and definitions BS 6150:2006+A1:2014 Painting of buildings. Code of practice BS 2992:1970 Specification for painters’ and decorators’ brushes for local authorities and public institutions (excluding quality of fillings) BS 3416:1991 Specification for bitumen-based coatings for cold application, suitable for use in contact with potable water BS 3483-A1:1983, ISO 787/1-1982-Methods for testing pigments for paints. Comparison of colour BS 3483-C7:1980, ISO 787/22-1980-Methods for testing pigments for paints. Comparison of resistance to bleeding BS 3900-B4:1986, ISO 6503-1984-Methods of test for paints. Tests involving chemical examination of liquid paints and dried paint films. Determination of total lead in paints and similar materials BS 3900-F2:1973-Methods of test for paint. Durability tests on paint films. Determination of resistance to humidity (cyclic condensation) BS 3900-F6:1976-Methods of test for paint. Durability tests on paint films. Notes for guidance on the conduct of natural weathering test BS EN ISO 11998:2006 Paints and varnishes. Determination of wet-scrub resistance and cleanability of coatings BS EN ISO 4628-2:2016 Paints and varnishes. Evaluation of degradation of coatings. Designation of quantity and size of defects, and of intensity of uniform changes in appearance. Assessment of degree of blistering BS EN ISO 4628-5:2016 Paints and varnishes. Evaluation of degradation of coatings. Designation of quantity and size of defects, and of intensity of uniform changes in appearance. Assessment of degree of flaking BS 6949:1991-Specification for bitumen-based coatings for cold application excluding use in contact with potable water BS 7664:2000-Specification for undercoat and finishing paints BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS EN ISO 6270-1:2001, BS 3900-F9:2001 Paints and varnishes. Determination of resistance to humidity. Continuous condensation BS EN ISO 4618:2014 Paints and varnishes. Terms and definitions BS 6150:2006+A1:2014 Painting of buildings. Code of practice BS 2992:1970 Specification for painters’ and decorators’ brushes for local authorities and public institutions (excluding quality of fillings) BS 3416:1991 Specification for bitumen-based coatings for cold application, suitable for use in contact with potable water BS 3483-A1:1983, ISO 787/1-1982-Methods for testing pigments for paints. Comparison of colour BS 3483-C7:1980, ISO 787/22-1980-Methods for testing pigments for paints. Comparison of resistance to bleeding BS 3900-B4:1986, ISO 6503-1984-Methods of test for paints. Tests involving chemical examination of liquid paints and dried paint films. Determination of total lead in paints and similar materials BS 3900-F2:1973-Methods of test for paint. Durability tests on paint films. Determination of resistance to humidity (cyclic condensation) BS 3900-F6:1976-Methods of test for paint. Durability tests on paint films. Notes for guidance on the conduct of natural weathering test BS EN ISO 11998:2006 Paints and varnishes. Determination of wet-scrub resistance and cleanability of coatings BS EN ISO 4628-2:2016 Paints and varnishes. Evaluation of degradation of coatings. Designation of quantity and size of defects, and of intensity of uniform changes in appearance. Assessment of degree of blistering BS EN ISO 4628-5:2016 Paints and varnishes. Evaluation of degradation of coatings. Designation of quantity and size of defects, and of intensity of uniform changes in appearance. Assessment of degree of flaking BS 4800:2011 Schedule of paint colours for building purposes BS 6949:1991-Specification for bitumen-based coatings for cold application excluding use in contact with potable water BS 7664:2000-Specification for undercoat and finishing paints Waterproofing for masonry |
| --- | --- |
| ASTM | Paints ASTM D5098 - 16 Standard Specification for Artists’ Acrylic Dispersion Paints ASTM D4258 - 05(2012) Standard Practice for Surface Cleaning Concrete for Coating ASTM D1640 / D1640M - 14 Standard Test Methods for Drying, Curing, or Film Formation of Organic Coatings ASTM D279 - 02(2012) Standard Test Methods for Bleeding of Pigments ASTM D2574 - 06(2012) Standard Test Method for Resistance of Emulsion Paints in the Container to Attack by Microorganisms ASTM D5324 - 10 Standard Guide for Testing Water-Borne Architectural Coatings ASTM D5146 - 10 Standard Guide to Testing Solvent-Borne Architectural Coatings ASTM E1907-06a Standard Guide to Methods of Evaluating Moisture Conditions of Concrete Floors to Receive Resilient Floor Coverings (Withdrawn 2008) ASTM D6237 - 09(2015) Standard Guide for Painting Inspectors (Concrete and Masonry Substrates) Waterproofing for masonry ASTM D5095 - 91(2013) Standard Test Method for Determination of the Nonvolatile Content in Silanes, Siloxanes and Silane-Siloxane Blends Used in Masonry Water Repellent Treatments ASTM D6532 - 00(2014) Standard Test Method for Evaluation of the Effect of Clear Water Repellent Treatments on Water Absorption of Hydraulic Cement Mortar Specimens ASTM C898 / C898M - 09 Standard Guide for Use of High Solids Content, Cold Liquid-Applied Elastomeric Waterproofing Membrane With Separate Wearing Course |
| AS | Paints AS/NZS 2310:2002 Glossary of paint and painting terms AS/NZS 2311:2009 Guide to the painting of buildings AS 3730.0-2006 Guide to the properties of paints for buildings - General information on the specification, purchasing and testing of paints AS 3730.100-2006 Guide to the properties of paints for buildings - Introduction and list of guides HB 73.1-2005 Handbook of Australian Paint Standards - General HB 73.2-2005 Handbook of Australian Paint Standards - Test methods AS/NZS 1580.101.1:1999 (R2013) Paints and related materials - Methods of test - - Conditions of test - Temperature, humidity and airflow control AS/NZS 1580.107.2:1995 Paints and related materials - Methods of test - - Determination of wet film thickness from wet film mass AS 1580.408.5-2006 Paints and related materials - Methods of test - Adhesion - Pull-off test AS/NZS 1580.481.1.10:1998 (R2013) Paints and related materials - Methods of test - Coatings - Exposed to weathering - Degree of flaking and peeling AS/NZS 1580.481.1.13:1998 (Reconfirmed 2013) Methods of test for paints and related materials - Exposed to weathering - Degree of fungal or algal growth AS/NZS 1580.481.1.9:1998 (R2013) Paints and related materials - Methods of test - Coatings - Exposed to weathering - Degree of blistering |
| SS | Paints SS 542 : 2008 Code of practice for painting of buildings SS 5 Series - Methods of test for paints, varnishes and related materials SS 7 : 1998 Paint - Finishing, gloss enamel SS 34 : 1998 Undercoat paint for gloss enamel SS 150 : 1998 Emulsion paints for decorative purposes CP 82 : 1999 Code of practice for waterproofing of reinforced concrete buildings SS 345: 1990 Algae resistant emulsion paint for decorative purposes |
| ISO | Paints ISO 1513:2010 Paints and varnishes -- Examination and preparation of test samples ISO 1514:2004 Paints and varnishes -- Standard panels for testing ISO 1516:2002 Determination of flash/no flash -- Closed cup equilibrium method ISO 9117-3:2010 Paints and varnishes -- Drying tests -- Part 3: Surface-drying test using ballotini ISO 1518-1:2011 Paints and varnishes -- Determination of scratch resistance -- Part 1: Constant-loading method ISO 1519:2011 Paints and varnishes -- Bend test (cylindrical mandrel) ISO 1520:2006 - Paints and varnishes -- Cupping test ISO 1522:2006 Paints and varnishes -- Pendulum damping test ISO 1523:2002 Determination of flash point -- Closed cup equilibrium method ISO 1524:2013 Paints, varnishes and printing inks -- Determination of fineness of grind ISO 2409:2013 Paints and varnishes -- Cross-cut test ISO 2431:2011 Paints and varnishes -- Determination of flow time by use of flow cups ISO 2808:2007 Paints and varnishes -- Determination of film thickness ISO 2810:2004 Paints and varnishes -- Natural weathering of coatings -- Exposure and assessment ISO 2811-1:2016 Paints and varnishes -- Determination of density -- Part 1: Pycnometer method ISO 2811-2:2011 Paints and varnishes -- Determination of density -- Part 2: Immersed body (plummet) method ISO 2811-3:2011 Paints and varnishes -- Determination of density -- Part 3: Oscillation method ISO 2811-4:2011 Paints and varnishes -- Determination of density -- Part 4: Pressure cup method ISO 2812-1:2007 Paints and varnishes -- Determination of resistance to liquids -- Part 1: Immersion in liquids other than water ISO 2812-2:2007 Paints and varnishes -- Determination of resistance to liquids -- Part 2: Water immersion method ISO 2813:2014 Paints and varnishes -- Determination of gloss value at 20 degrees, 60 degrees and 85 degrees BS EN ISO 2814:2006, BS 3900-D4:2006 Paints and varnishes. Comparison of contrast ratio (hiding power) of paints of the same type and colour ISO 2815:2003 Paints and varnishes -- Buchholz indentation test ISO 2884-1:1999 Paints and varnishes -- Determination of viscosity using rotary viscometers -- Part 1: Cone-and-plate viscometer operated at a high rate of shear ISO 3231: 1993 Paints and varnishes -- Determination of resistance to humid atmospheres containing sulfur dioxide ISO 3233-1:2013 Paints and varnishes -- Determination of the percentage volume of non-volatile matter -- Part 1: Method using a coated test panel to determine non-volatile matter and to determine dry film density by the Archimedes principle ISO 3248: 1998 Paints and varnishes -- Determination of the effect of heat ISO 3251:2008 Paints, varnishes and plastics -- Determination of non-volatile-matter content ISO 4618:2014 Paints and varnishes -- Terms and definitions ISO 4618:2014 Paints and varnishes -- Terms and definitions ISO 4624:2016 Paints and varnishes -- Pull-off test for adhesion ISO 4628-1:2016 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 1: General introduction and designation system ISO 4628-2:2003 Paints and varnishes - Evaluation of degradation of coatings - Designation of quantity and size of defects, and of intensity of uniform changes in appearance - Part 2: Assessment of degree of blistering ISO 4628-3:2016 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 3: Assessment of degree of rusting ISO 4628-4:2016 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 4: Assessment of degree of cracking ISO 4628-5:2016 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 5: Assessment of degree of flaking ISO 4628-6:2011 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 6: Assessment of degree of chalking by tape method ISO 6270-1: 1998 Paints and varnishes -- Determination of resistance to humidity -- Part 1: Continuous condensation ISO 6272-1:2011 Paints and varnishes -- Rapid-deformation (impact resistance) tests -- Part 1: Falling-weight test, large-area indenter/ ISO 6272-2:2011 Paints and varnishes -- Rapid-deformation (impact resistance) tests -- Part 2: Falling-weight test, small-area indenter ISO 6503: 1984 Paints and varnishes -- Determination of total lead -- Flame atomic absorption spectrometric method ISO 6504-1: 1983 Paints and varnishes -- Determination of hiding power -- Part 1: Kubelka-Munk method for white and light-coloured paints ISO 6504-3:2006 Paints and varnishes -- Determination of hiding power -- Part 3: Determination of contrast ratio of light-coloured paints at a fixed spreading rate ISO 6713: 1984 Paints and varnishes -- Preparation of acid extracts from paints in liquid or powder form ISO 6744-1: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 1: General methods of test ISO 6744-2: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 2: Determination of phthalic anhydride content ISO 6744-3: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 3: Determination of unsaponifiable matter content ISO 6744-4: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 4: Determination of fatty acid content ISO 6860:2006 Paints and varnishes -- Bend test (conical mandrel) ISO 7142:2007 Binders for paints and varnishes -- Epoxy resins -- General methods of test ISO 7143:2007 Binders for paints and varnishes -- Methods of test for characterizing water-based binders ISO 7783:2011 Paints and varnishes -- Determination of water-vapour transmission properties -- Cup method ISO 7784-1:2016 Paints and varnishes -- Determination of resistance to abrasion -- Part 1: Method with abrasive-paper covered wheels and rotating test specimen ISO 7784-2:2016 Paints and varnishes -- Determination of resistance to abrasion -- Part 2: Method with abrasive rubber wheels and rotating test specimen ISO 7784-3:2016 Paints and varnishes -- Determination of resistance to abrasion -- Part 3: Method with abrasive-paper covered wheel and linearly reciprocating test specimen ISO 8501-1:2007 Preparation of steel substrates before application of paints and related products -- Visual assessment of surface cleanliness -- Part 1: Rust grades and preparation grades of uncoated steel substrates and of steel substrates after overall ISO 9514:2005 Paints and varnishes -- Determination of the pot life of multicomponent coating systems -- Preparation and conditioning of samples and guidelines for testing ISO 11503:1995 Paints and varnishes -- Determination of resistance to humidity (intermittent condensation) ISO 16474-1:2013 Paints and varnishes -- Methods of exposure to laboratory light sources -- Part 1: General guidance ISO 11668:1997 Binders for paints and varnishes -- Chlorinated polymerization resins -- General methods of test ISO 11890-1:2007 Paints and varnishes -- Determination of volatile organic compound (VOC) content -- Part 1: Difference method ISO 11890-2:2013 Paints and varnishes -- Determination of volatile organic compound (VOC) content -- Part 2: Gas-chromatographic method ISO 11908: 1996 Binders for paints and varnishes -- Amino resins -- General methods of test ISO 11909:2007 Binders for paints and varnishes -- Polyisocyanate resins -- General methods of test ISO 11997-1:2005 Paints and varnishes -- Determination of resistance to cyclic corrosion conditions -- Part 1: Wet (salt fog)/dry/humidity ISO 11997-2:2013 Paints and varnishes -- Determination of resistance to cyclic corrosion conditions -- Part 2: Wet (salt fog)/dry/humidity/UV light ISO 11998:2006 Paints and varnishes -- Determination of wet-scrub resistance and cleanability of coatings ISO 12137:2011 Paints and varnishes -- Determination of mar resistance ISO 1518-2:2011 Paints and varnishes -- Determination of scratch resistance -- Part 2: Variable-loading method ISO 14680-1:2000 Paints and varnishes -- Determination of pigment content -- Part 1: Centrifuge method ISO 14680-2: 2000 Paints and varnishes -- Determination of pigment content -- Part 2: Ashing method ISO 14680-3: 2000 Paints and varnishes -- Determination of pigment content -- Part 3: Filtration method ISO 15184:2012 Paints and varnishes -- Determination of film hardness by pencil test ISO 14654:1999 Epoxy-coated steel for the reinforcement of concrete ISO 14656:1999 Epoxy powder and sealing material for the coating of steel for the reinforcement of concrete Waterproofing ISO 7783:2011 Paints and varnishes -- Determination of water-vapour transmission properties -- Cup method |

## Alligatoring

| BS | BS EN ISO 4618:2014 Paints and varnishes. Terms and definitionsBS EN ISO 4618:2014 Paints and varnishes. Terms and definitions BS ISO 15686-1:2011 Buildings and constructed assets. Service life planning. General principles and framework/BS ISO 15686-3:2002 Buildings and constructed assets. Service life planning. Performance audits and reviews/BS ISO 15686-2:2012 Buildings and constructed assets. Service life planning. Service life prediction procedures/BS 7543:2015 Guide to durability of buildings and building elements, products and components/ BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles Plaster: BS EN 13914-1:2016 Design, preparation and application of external rendering and internal plastering. External rendering BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS EN1015-12:2000 Methods of test for mortar masonry. Determination of adhesive strength of hardened rendering and plastering mortars on substrates BS EN1015-19:1999 Methods of test for mortar for masonry. Determination of water vapour permeability of hardened rendering and plastering mortars BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar BS EN 1015-18:2002 Methods of test for mortar for masonry. Determination of water absorption coefficient due to capillary action of hardened mortar BS EN 1015-21:2002 Methods of test for mortar for masonry. Determination of the compatibility of one-coat rendering mortars with substrates BS EN 13658-2:2005 Metal lath and beads. Definitions, requirements and test methods. External rendering BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar BS EN 13914-1:2016 Design, preparation and application of external rendering and internal plastering. External rendering BS EN ISO 6270-1:2001, BS 3900-F9:2001: Paints and varnishes. Determination of resistance to humidity. Continuous condensation |
| --- | --- |
| ASTM | ASTM D2832 - 92(2011) Nonvolatile Content of Paint and Related Coatings ASTM D3924 - 80(2011) Standard Specification for Standard Environment for Conditioning and Testing Paint, Varnish, Lacquer, and Related Materials ASTM D822 / D822M - 13 Standard Practice for Filtered Open-Flame Carbon-Arc Exposures of Paint and Related Coatings ASTM D3168 - 85(2011) Standard Practice for Qualitative Identification of Polymers in Emulsion Paints ASTM D3960 - 05(2013) Standard Practice for Determining Volatile Organic Compound (VOC)Content of Paints and Related Coatings ASTM D3258 - 04(2014) Standard Test Method for Porosity of White or Near White Paint Films by Staining ASTM D4451 - 02(2014) Standard Test Method for Pigment Content of Paints by Low-Temperature Ashing ASTM D3723 - 05(2011) Standard Test Method for Pigment Content of Water-Emulsion Paints by Low-Temperature Ashing |
| AS | AS 3730.22-2006 Guide to the properties of paints for buildings - Concrete and masonry sealer - Solvent-borne - Interior/exterior AS 1580.0-2004 Paints and related materials - Methods of test - Introduction and list of methods AS 1580.408.2-2004 Paints and related materials - Methods of test - Adhesion - Knife test AS/NZS 1580.457.1:1996 (R2013) Paints and related materials - Methods of test - - Resistance to natural weathering AS 1580.481.0-2003 (R2013) Paints and related materials - Methods of test - Coatings - Guide to assessing paint systems exposed to weathering conditionsAS 1580.481.0-2003 (R2013) Paints and related materials - Methods of test - Coatings - Guide to assessing paint systems exposed to weathering conditions |
| SS | SS 5 - F5 : 2003 (2013) Methods of test for paints, varnishes and related materials - Washability (wet abrasion) of emulsion paintSS 5 - F5 : 2003 (2013) Methods of test for paints, varnishes and related materials - Washability (wet abrasion) of emulsion paint SS 542 : 2008 Code of practice for painting of buildings |
| ISO | ISO 7783:2011 Paints and varnishes -- Determination of water-vapour transmission properties -- Cup method |

## Chalking

| BS | BS EN ISO 4618:2014 Paints and varnishes. Terms and definitionsBS EN ISO 4618:2014 Paints and varnishes. Terms and definitions |
| --- | --- |
| ASTM | ASTM D2832 - 92(2011) Nonvolatile Content of Paint and Related Coatings ASTM D3924 - 80(2011) Standard Specification for Standard Environment for Conditioning and Testing Paint, Varnish, Lacquer, and Related Materials ASTM D822 / D822M - 13 Standard Practice for Filtered Open-Flame Carbon-Arc Exposures of Paint and Related Coatings ASTM D3168 - 85(2011) Standard Practice for Qualitative Identification of Polymers in Emulsion Paints ASTM D3960 - 05(2013) Standard Practice for Determining Volatile Organic Compound (VOC)Content of Paints and Related Coatings ASTM D3258 - 04(2014) Standard Test Method for Porosity of White or Near White Paint Films by Staining ASTM D4451 - 02(2014) Standard Test Method for Pigment Content of Paints by Low-Temperature Ashing ASTM D3723 - 05(2011) Standard Test Method for Pigment Content of Water-Emulsion Paints by Low-Temperature Ashing ASTM D3723 - 05(2011) Standard Test Method for Pigment Content of Water-Emulsion Paints by Low-Temperature Ashing |
| AS | AS 3730.22-2006 Guide to the properties of paints for buildings - Concrete and masonry sealer - Solvent-borne - Interior/exterior AS 1580.0-2004 Paints and related materials - Methods of test - Introduction and list of methods AS 1580.408.2-2004 Paints and related materials - Methods of test - Adhesion - Knife test AS/NZS 1580.457.1:1996 (R2013) Paints and related materials - Methods of test - - Resistance to natural weathering AS 1580.481.0-2003 (R2013) Paints and related materials - Methods of test - Coatings - Guide to assessing paint systems exposed to weathering conditionsAS 1580.481.0-2003 (R2013) Paints and related materials - Methods of test - Coatings - Guide to assessing paint systems exposed to weathering conditions AS/NZS 1580.481.1.11:1998 (R2013) Paints and related materials - Methods of test - Coatings - Exposed to weathering - Degree of chalking |
| SS | SS 5 - F5 : 2003 (2013) Methods of test for paints, varnishes and related materials - Washability (wet abrasion) of emulsion paint SS 542 : 2008 Code of practice for painting of buildings |
| ISO | ISO 7783:2011 Paints and varnishes -- Determination of water-vapour transmission properties -- Cup method |

## Yellowing

| BS | BS EN ISO 4618:2014 Paints and varnishes. Terms and definitions |
| --- | --- |
| ASTM | ASTM D2832 - 92(2011) Nonvolatile Content of Paint and Related Coatings ASTM D3924 - 80(2011) Standard Specification for Standard Environment for Conditioning and Testing Paint, Varnish, Lacquer, and Related Materials ASTM D822 / D822M - 13 Standard Practice for Filtered Open-Flame Carbon-Arc Exposures of Paint and Related Coatings ASTM D3168 - 85(2011) Standard Practice for Qualitative Identification of Polymers in Emulsion Paints ASTM D3960 - 05(2013) Standard Practice for Determining Volatile Organic Compound (VOC)Content of Paints and Related Coatings ASTM D3258 - 04(2014) Standard Test Method for Porosity of White or Near White Paint Films by Staining ASTM D4451 - 02(2014) Standard Test Method for Pigment Content of Paints by Low-Temperature Ashing ASTM D3723 - 05(2011) Standard Test Method for Pigment Content of Water-Emulsion Paints by Low-Temperature Ashing ASTM D3723 - 05(2011) Standard Test Method for Pigment Content of Water-Emulsion Paints by Low-Temperature Ashing |
| AS | AS 3730.22-2006 Guide to the properties of paints for buildings - Concrete and masonry sealer - Solvent-borne - Interior/exterior AS 1580.0-2004 Paints and related materials - Methods of test - Introduction and list of methods AS 1580.408.2-2004 Paints and related materials - Methods of test - Adhesion - Knife test AS/NZS 1580.457.1:1996 (R2013) Paints and related materials - Methods of test - - Resistance to natural weathering AS 1580.481.0-2003 (R2013) Paints and related materials - Methods of test - Coatings - Guide to assessing paint systems exposed to weathering conditions |
| SS | SS 5 - F5 : 2003 (2013) Methods of test for paints, varnishes and related materials - Washability (wet abrasion) of emulsion paint SS 542 : 2008 Code of practice for painting of buildings |
| ISO | ISO 7783:2011 Paints and varnishes -- Determination of water-vapour transmission properties -- Cup method |

## Bittiness

| BS | BS EN ISO 4618:2014 Paints and varnishes. Terms and definitionsBS EN ISO 4618:2014 Paints and varnishes. Terms and definitions BS EN ISO 6270-1:2001, BS 3900-F9:2001 Paints and varnishes. Determination of resistance to humidity. Continuous condensation. |
| --- | --- |
| ASTM | ASTM D2832 - 92(2011) Nonvolatile Content of Paint and Related Coatings ASTM D3924 - 80(2011) Standard Specification for Standard Environment for Conditioning and Testing Paint, Varnish, Lacquer, and Related Materials ASTM D822 / D822M - 13 Standard Practice for Filtered Open-Flame Carbon-Arc Exposures of Paint and Related Coatings ASTM D3168 - 85(2011) Standard Practice for Qualitative Identification of Polymers in Emulsion Paints ASTM D3960 - 05(2013) Standard Practice for Determining Volatile Organic Compound (VOC)Content of Paints and Related Coatings ASTM D3258 - 04(2014) Standard Test Method for Porosity of White or Near White Paint Films by Staining ASTM D4451 - 02(2014) Standard Test Method for Pigment Content of Paints by Low-Temperature Ashing ASTM D3723 - 05(2011) Standard Test Method for Pigment Content of Water-Emulsion Paints by Low-Temperature Ashing |
| AS | AS 3730.22-2006 Guide to the properties of paints for buildings - Concrete and masonry sealer - Solvent-borne - Interior/exterior AS 1580.0-2004 Paints and related materials - Methods of test - Introduction and list of methods AS 1580.408.2-2004 Paints and related materials - Methods of test - Adhesion - Knife test AS/NZS 1580.457.1:1996 (R2013) Paints and related materials - Methods of test - - Resistance to natural weathering AS 1580.481.0-2003 (R2013) Paints and related materials - Methods of test - Coatings - Guide to assessing paint systems exposed to weathering conditions |
| SS | SS 5 - F5 : 2003 (2013) Methods of test for paints, varnishes and related materials - Washability (wet abrasion) of emulsion paint SS 542 : 2008 Code of practice for painting of buildings |
| ISO | ISO 7783:2011 Paints and varnishes -- Determination of water-vapour transmission properties -- Cup method |

## Saponification

| BS | BS EN ISO 4618:2014 Paints and varnishes. Terms and definitions. |
| --- | --- |
| ASTM | ASTM D2832 - 92(2011) Nonvolatile Content of Paint and Related Coatings ASTM D3924 - 80(2011) Standard Specification for Standard Environment for Conditioning and Testing Paint, Varnish, Lacquer, and Related Materials ASTM D822 / D822M - 13 Standard Practice for Filtered Open-Flame Carbon-Arc Exposures of Paint and Related Coatings ASTM D3168 - 85(2011) Standard Practice for Qualitative Identification of Polymers in Emulsion Paints ASTM D3960 - 05(2013) Standard Practice for Determining Volatile Organic Compound (VOC)Content of Paints and Related Coatings ASTM D3258 - 04(2014) Standard Test Method for Porosity of White or Near White Paint Films by Staining ASTM D4451 - 02(2014) Standard Test Method for Pigment Content of Paints by Low-Temperature Ashing ASTM D3723 - 05(2011) Standard Test Method for Pigment Content of Water-Emulsion Paints by Low-Temperature Ashing ASTM D3723 - 05(2011) Standard Test Method for Pigment Content of Water-Emulsion Paints by Low-Temperature Ashing ASTM D3258 - 04(2014) Standard Test Method for Porosity of White or Near White Paint Films by Staining |
| AS | AS 3730.22-2006 Guide to the properties of paints for buildings - Concrete and masonry sealer - Solvent-borne - Interior/exterior AS 1580.0-2004 Paints and related materials - Methods of test - Introduction and list of methods AS 1580.408.2-2004 Paints and related materials - Methods of test - Adhesion - Knife test AS/NZS 1580.457.1:1996 (R2013) Paints and related materials - Methods of test - - Resistance to natural weathering AS 1580.481.0-2003 (R2013) Paints and related materials - Methods of test - Coatings - Guide to assessing paint systems exposed to weathering conditionsAS 1580.481.0-2003 (R2013) Paints and related materials - Methods of test - Coatings - Guide to assessing paint systems exposed to weathering conditions |
| SS | SS 5 - F5 : 2003 (2013) Methods of test for paints, varnishes and related materials - Washability (wet abrasion) of emulsion paint SS 542 : 2008 Code of practice for painting of buildings |
| ISO | *Nil* |

# Precast - Surface Defects

## Blistering

## Peeling

| BS | Concrete #### BS EN 12350-1:2009 Testing fresh concrete. Sampling #### BS EN 12390-1:2012 Testing hardened concrete. Shape, dimensions and other requirements for specimens and moulds #### BS EN 12504-2:2012 Testing concrete in structures. Non-destructive testing. Determination of rebound number #### BS EN 1881:2006 Products and systems for the protection and repair of concrete structures. Test methods. Testing of anchoring products by the pull-out method BS 1881-122:2011 Testing concrete. Method for determination of water absorption BS 1881-208:1996 Testing concrete. Recommendations for the determination of the initial surface absorption of concrete BS EN 206:2013 Concrete. Specification, performance, production and conformity BS 5642-1:1978+A1:2014 Sills, copings and cappings. Specification for window sills of precast concrete, cast stone, clayware, slate and natural stone BS 8221-2:2000 Code of practice for cleaning and surface repair of buildings. Surface repair of natural stones, brick and terracotta/ BS 8221-1:2012 Code of practice for cleaning and surface repair of buildings. Cleaning of natural stone, brick, terracotta and concrete BS 6073-2:2008 Precast concrete masonry units. Guide for specifying precast concrete masonry units BS 6093:2006+A1:2013 Design of joints and jointing in building construction. Guide BS 8297:2000 Code of practice for Design and installation of non-loadbearing precast concrete cladding BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS EN 1992-1-1:2004+A1:2014 Eurocode 2: Design of concrete structures. General rules and rules for buildings BS EN 1169:1999 Precast concrete products. General rules for factory production control of glass-fibre reinforced cementBS EN 1170-1:1998 Precast concrete products. Test method for glass-fibre reinforced cement. Measuring the consistency of the matrix. ‘Slump test’ method / BS EN 1170-2:1998 Precast concrete products. Test method for glass-fibre reinforced cement. Measuring the fibre content in fresh GRC, ‘Wash out test’ / BS EN 1170-3:1998 Precast concrete products. Test method for glass-fibre reinforced cement. Measuring the fibre content of sprayed GRC / BS EN 1170-4:1998 PRECAST CONCRETE PRODUCTS. TEST METHOD FOR GLASS-FIBRE REINFORCED CEMENT. MEASURING BENDING STRENGTH. ‘SIMPLIFIED BENDING TEST’ METHOD / BS EN 1170-5:1998 PRECAST CONCRETE PRODUCTS. TEST METHOD FOR GLASS-FIBRE REINFORCED CEMENT. MEASURING BENDING STRENGTH, “COMPLETE BENDING TEST” METHOD / BS EN 1170-6:1998 PRECAST CONCRETE PRODUCTS. TEST METHOD FOR GLASS-FIBRE REINFORCED CEMENT. DETERMINATION OF THE ABSORPTION OF WATER BY IMMERSION AND DETERMINATION OF THE DRY DENSITY / BS EN 1170-7:1998 PRECAST CONCRETE PRODUCTS. TEST METHOD FOR GLASS-FIBRE REINFORCED CEMENT. MEASUREMENT OF EXTREMES OF DIMENSIONAL VARIATIONS DUE TO MOISTURE CONTENT / BS EN 1170-8:2008 TEST METHOD FOR GLASS-FIBRE REINFORCED CEMENT. CYCLIC WEATHERING TYPE TESTBS EN 1170-1:1998 Precast concrete products. Test method for glass-fibre reinforced cement. Measuring the consistency of the matrix. ‘Slump test’ method/ BS EN 1170-2:1998 Precast concrete products. Test method for glass-fibre reinforced cement. Measuring the fibre content in fresh GRC, ‘Wash out test’/ BS EN 1170-3:1998 Precast concrete products. Test method for glass-fibre reinforced cement. Measuring the fibre content of sprayed GRC/ BS EN 1170-4:1998 Precast concrete products. Test method for glass-fibre reinforced cement. Measuring bending strength. ‘Simplified bending test’ method/ BS EN 1170-4:1998 Precast concrete products. Test method for glass-fibre reinforced cement. Measuring bending strength. ‘Simplified bending test’ methodBS EN 1170-5:1998 Precast concrete products. Test method for glass-fibre reinforced cement. Measuring bending strength, “complete bending test” method/ BS EN 1170-6:1998 Precast concrete products. Test method for glass-fibre reinforced cement. Determination of the absorption of water by immersion and determination of the dry density/ BS EN 1170-7:1998 Precast concrete products. Test method for glass-fibre reinforced cement. Measurement of extremes of dimensional variations due to moisture content/ BS EN 1169:1999 Precast concrete products. General rules for factory production control of glass-fibre reinforced cement BS EN 1992-1-1:2004+A1:2014 Eurocode 2: Design of concrete structures. General rules and rules for buildings BS EN 13369:2013 Common rules for precast concrete products Paint BS EN ISO 4618:2014 Paints and varnishes. Terms and definitionsBS EN ISO 4618:2014 Paints and varnishes. Terms and definitions BS EN ISO 6270-1:2001, BS 3900-F9:2001 Paints and varnishes. Determination of resistance to humidity. Continuous condensation BS EN ISO 4628-2:2016 Paints and varnishes. Evaluation of degradation of coatings. Designation of quantity and size of defects, and of intensity of uniform changes in appearance. Assessment of degree of blistering |
| --- | --- |
| ASTM | Concrete ASTM C150 / C150M - 15 Standard Specification for Portland CementASTM C150 / C150M - 15 Standard Specification for Portland Cement ASTM C33 / C33M - 13 Standard Specification for Concrete Aggregates ASTM C597 - 09 Standard Test Method for Pulse Velocity Through Concrete ASTM C136 / C136M - 14 Standard Test Method for Sieve Analysis of Fine and Coarse Aggregates ASTM C642 - 13 Standard Test Method for Density, Absorption, and Voids in Hardened Concrete ASTM C805 / C805M - 13a Standard Test Method for Rebound Number of Hardened Concrete ASTM C1386-07 Standard Specification for Precast Autoclaved Aerated Concrete (AAC) Wall Construction Units (Withdrawn 2013) ASTM C990 - 09(2014) Standard Specification for Joints for Concrete Pipe, Manholes, and Precast Box Sections Using Preformed Flexible Joint Sealants ASTM C990M - 09(2014) Standard Specification for Joints for Concrete Pipe, Manholes, and Precast Box Sections Using Preformed Flexible Joint Sealants (Metric) ASTM C915 - 79(2010) Standard Specification for Precast Reinforced Concrete Crib Wall Members ASTM C825 - 06(2011) Standard Specification for Precast Concrete Barriers ASTM C901 - 10 Standard Specification for Prefabricated Masonry Panels ASTM C367 / C367M - 09 Standard Test Methods for Strength Properties of Prefabricated Architectural Acoustical Tile or Lay-In Ceiling Panels ASTM D7116-05 Standard Specification for Joint Sealants, Hot Applied, Jet Fuel Resistant Types, for Portland Cement Concrete Pavements (Withdrawn 2012) ASTM C1077 - 16 Standard Practice for Agencies Testing Concrete and Concrete Aggregates for Use in Construction and Criteria for Testing Agency Evaluation ASTM E1857 - 97(2013)e1 Standard Guide for Selection of Cleaning Techniques for Masonry, Concrete, and Stucco Surfaces ASTM D6489 - 99(2012) Standard Test Method for Determining the Water Absorption of Hardened Concrete Treated With a Water Repellent Coating ASTM D6237 - 09(2015) Standard Guide for Painting Inspectors (Concrete and Masonry Substrates) ASTM D4258 - 05(2012) Standard Practice for Surface Cleaning Concrete for Coating ASTM D6690 - 15 Standard Specification for Joint and Crack Sealants, Hot Applied, for Concrete and Asphalt Pavements ASTM C1451 - 11 Standard Practice for Determining Uniformity of Ingredients of Concrete From a Single Source ASTM C1293 - 08b(2015) Standard Test Method for Determination of Length Change of Concrete Due to Alkali-Silica Reaction ASTM C1218 / C1218M - 15 Standard Test Method for Water-Soluble Chloride in Mortar and Concrete ASTM C1209-05e1 Standard Terminology of Concrete Masonry Units and Related Units (Withdrawn 2009) ASTM C1074 - 11 Standard Practice for Estimating Concrete Strength by the Maturity Method ASTM C1064 / C1064M - 12 Standard Test Method for Temperature of Freshly Mixed Hydraulic-Cement Concrete ASTM C1059 / C1059M - 13 Standard Specification for Latex Agents for Bonding Fresh To Hardened Concrete ASTM C939 / C939M - 16 Standard Test Method for Flow of Grout for Preplaced-Aggregate Concrete (Flow Cone Method) ASTM C905 - 01(2012) Standard Test Methods for Apparent Density of Chemical-Resistant Mortars, Grouts, Monolithic Surfacings, and Polymer Concretes ASTM C900 - 15 Standard Test Method for Pullout Strength of Hardened Concrete ASTM C856 - 14 Standard Practice for Petrographic Examination of Hardened Concrete ASTM C823 / C823M - 12 Standard Practice for Examination and Sampling of Hardened Concrete in Constructions ASTM C579 - 01(2012) Standard Test Methods for Compressive Strength of Chemical-Resistant Mortars, Grouts, Monolithic Surfacings, and Polymer Concretes ASTM C567 / C567M - 14 Standard Test Method for Determining Density of Structural Lightweight Concrete ASTM C512 / C512M - 15 Standard Test Method for Creep of Concrete in Compression ASTM C490 / C490M - 11e1 Standard Practice for Use of Apparatus for the Determination of Length Change of Hardened Cement Paste, Mortar, and Concrete Reinforcement ASTM A934 / A934M - 16 Standard Specification for Epoxy-Coated Prefabricated Steel Reinforcing Bars ASTM C330 / C330M - 14 Standard Specification for Lightweight Aggregates for Structural Concrete ASTM C129 - 14a Standard Specification for Nonloadbearing Concrete Masonry UnitsASTM A1064 / A1064M - 16 Standard Specification for Carbon-Steel Wire and Welded Wire Reinforcement, Plain and Deformed, for ConcreteASTM A1064 / A1064M - 16 Standard Specification for Carbon-Steel Wire and Welded Wire Reinforcement, Plain and Deformed, for Concrete/ ASTM C129 - 14a Standard Specification for Nonloadbearing Concrete Masonry Units Paint ASTM D2832 - 92(2011) Nonvolatile Content of Paint and Related Coatings ASTM D3924 - 80(2011) Standard Specification for Standard Environment for Conditioning and Testing Paint, Varnish, Lacquer, and Related Materials ASTM D822 / D822M - 13 Standard Practice for Filtered Open-Flame Carbon-Arc Exposures of Paint and Related Coatings ASTM D3168 - 85(2016) Standard Practice for Qualitative Identification of Polymers in Emulsion Paints ASTM D3960 - 05(2013) Standard Practice for Determining Volatile Organic Compound (VOC)Content of Paints and Related Coatings ASTM D3258 - 04(2014) Standard Test Method for Porosity of White or Near White Paint Films by Staining ASTM D4451 - 02(2014) Standard Test Method for Pigment Content of Paints by Low-Temperature Ashing ASTM D3723 - 05(2011) Standard Test Method for Pigment Content of Water-Emulsion Paints by Low-Temperature Ashing ASTM D3723 - 05(2011) Standard Test Method for Pigment Content of Water-Emulsion Paints by Low-Temperature Ashing ASTM D3258 - 04(2014) Standard Test Method for Porosity of White or Near White Paint Films by Staining ASTM D714 - 02(2009) Standard Test Method for Evaluating Degree of Blistering of Paints |
| AS | Concrete AS 1012.2:2014 Methods of testing concrete - Preparing concrete mixes in the laboratory AS 1012.3.1:2014 Methods of testing concrete - Determination of properties related to the consistency of concrete - Slump test AS 1012.3.2-1998 (R2014) Methods of testing concrete - Determination of properties related to the consistency of concrete - Compacting factor test AS 1012.1:2014 Methods of testing concrete - Sampling of concrete AS 1012.11-2000 (R2014) Methods of testing concrete - Determination of the modulus of rupture AS 1012.8.4:2015 Methods of testing concrete - Method for making and curing concrete - Drying shrinkage specimens prepared in the field or in the laboratory/ AS 1012.13:2015 Methods of testing concrete - Determination of the drying shrinkage of concrete for samples prepared in the field or in the laboratory AS 1012.21-1999 (R2014) Methods of testing concrete - Determination of water absorption and apparent volume of permeable voids in hardened concreteAS 1012.21-1999 (R2014) Methods of testing concrete - Determination of water absorption and apparent volume of permeable voids in hardened concrete. AS 1478.1-2000 Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 2758.1:2014 Aggregates and rock for engineering purposes - Concrete aggregates AS 3600-2009 Concrete structures CIA Z9-1999 CIA Curing of ConcreteCIA Z9-1999 CIA Curing of Concrete HB 84-2006 Guide to Concrete Repair and ProtectionHB 84-2006 Guide to Concrete Repair and Protection AS 1597.2-2013 Precast reinforced concrete box culverts - Large culverts (exceeding 1200 mm span or 1200 mm height and up to and including 4200 mm span and 4200 mm height) AS 1597.2-2013 Precast reinforced concrete box culverts - Large culverts (exceeding 1200 mm span or 1200 mm height and up to and including 4200 mm span and 4200 mm height) AS 3850.1:2015 Prefabricated concrete elements - General requirements AS 3850.2:2015 Prefabricated concrete elements - Building construction AS 3850-2003 Tilt-up concrete construction AS 1478.2-2005 Chemical admixtures for concrete, mortar and grout - Methods of sampling and testing admixtures for concrete, mortar and grout AS 2832.5-2002 Cathodic protection of metals - Steel in concrete structures AS 1012.1:2014 Methods of testing concrete - Sampling of concrete AS 1012.18-1996 (R2014) Methods of testing concrete - Determination of setting time of fresh concrete, mortar and grout by penetration resistance AS 1012.21-1999 (R2014) Methods of testing concrete - Determination of water absorption and apparent volume of permeable voids in hardened concrete AS 1012.3.1:2014 Methods of testing concrete - Determination of properties related to the consistency of concrete - Slump test AS 1012.3.2-1998 (R2014) Methods of testing concrete - Determination of properties related to the consistency of concrete - Compacting factor test AS 1012.3.3-1998 (R2014) Methods of testing concrete - Determination of properties related to the consistency of concrete - Vebe test AS 1012.3.4-1998 (R2014) Methods of testing concrete - Determination of properties related to the consistency of concrete - Compactibility index AS 1012.4.1:2014 Methods of testing concrete - Determination of air content of freshly mixed concrete - Measuring reduction in concrete volume with increased air pressure AS 1012.8.1:2014 Methods of testing concrete - Method for making and curing concrete - Compression and indirect tensile test specimens AS 1012.9-1999 Methods of testing concrete - Determination of the compressive strength of concrete specimens AS/NZS 4671:2001 Steel reinforcing materials AS 1302-1991/Amdt 1-1992 Steel reinforcing bars for concrete AS 1379-2007 Specification and supply of concrete AS 1379 Supp 1-2008 Specification and supply of concrete - Commentary (Supplement 1 to AS 1379 - 2007) AS 1418.15-1994/Amdt 1-1995 Cranes (including hoists and winches) - Concrete placing equipment AS 1478.1-2000 Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 3600-2009 Concrete structures AS 3600-2009 Supp 1:2014 Concrete structures - Commentary (Supplement to AS 3600-2009) AS 3600 Supp1-1994/Amdt 1-1996 Concrete structures - Commentary AS 3730.22-2006 Guide to the properties of paints for buildings - Concrete and masonry sealer - Solvent-borne - Interior/exterior AS/NZS 4548.5:1999 (R2013) Guide to long-life coatings for concrete and masonry - Guidelines to methods of test AS 1379-2007/Amdt 2-2015 Specification and supply of concrete CIA Concrete 1999 CIA Our Concrete Environment CIA CPN24-2005 Design of Joints in Concrete Structures HB 124-2007 Design and Construction of Concrete Masonry Buildings (CD-ROM) (Withdrawn) HB 64-2002 Guide to concrete construction HB 67-1995 Concrete practice on building sites HB 84-2006 Guide to Concrete Repair and Protection HB 64-2002 Guide to concrete construction CIA Z5-2010 Shotcreting in Australia CIA Z7/01-2014 Durability Planning/ CIA Z7/04-2014 Good Practice Through Design, Concrete Supply and Construction/ CIA Z7/07-2015 Performance Tests to Assess Concrete Durability CIA Z9-1999 CIA Curing of Concrete Reinforcement AS/NZS 4671:2001 Steel reinforcing materials Paint AS/NZS 2310:2002 Glossary of paint and painting terms AS/NZS 2311:2009 Guide to the painting of buildings AS 3730.0-2006 Guide to the properties of paints for buildings - General information on the specification, purchasing and testing of paints AS 3730.100-2006 Guide to the properties of paints for buildings - Introduction and list of guides HB 73.1-2005 Handbook of Australian Paint Standards - General HB 73.2-2005 Handbook of Australian Paint Standards - Test methods AS/NZS 1580.101.1:1999 (R2013) Paints and related materials - Methods of test - - Conditions of test - Temperature, humidity and airflow control AS/NZS 1580.107.2:1995 Paints and related materials - Methods of test - - Determination of wet film thickness from wet film mass AS 1580.408.5-2006 Paints and related materials - Methods of test - Adhesion - Pull-off test AS/NZS 1580.481.1.10:1998 (R2013) Paints and related materials - Methods of test - Coatings - Exposed to weathering - Degree of flaking and peeling AS/NZS 1580.481.1.13:1998 (Reconfirmed 2013) Methods of test for paints and related materials - Exposed to weathering - Degree of fungal or algal growth AS/NZS 1580.481.1.9:1998 (R2013) Paints and related materials - Methods of test - Coatings - Exposed to weathering - Degree of blistering |
| SS | Concrete SS EN 197 - 1 : 2014 Cement - Part 1 : Composition, specifications and conformity criteria for common cement/ SS EN 197 - 2 : 2014 Cement - Part 2 : Conformity evaluation SS EN 12620: 2008 Specification for aggregates for concrete CP 65 - 1 : 1999 Code of practice for structural use of concrete - Design and construction/ CP 65 - 2 : 1996 Code of practice for structural use of concrete - Special circumstances SS 509 - 1 : 2015 Code of practice for cleaning and surface repair of buildings – Part 1 : Cleaning of natural stone, brick, terracotta, concrete and rendered finishes/ SS 509 - 2 : 2005 (2015) Code of practice for cleaning and surface repair of buildings - Surface repair of natural stones, brick, terracotta and rendered finishes SS EN 12620 : 2008 Specification for aggregates for concrete CP 81 : 1999 Code of practice for precast concrete slab and wall panels SS 76 : 1972 Precast concrete blocks (Withdrawn) SS 271 : 1983 Concrete masonry units (for non-loadbearing applications) SS 78 - A21 : 1987 (2013) Testing concrete - Method for determination of static modules of elasticity in compression/ SS 78 - A24 : 1991 (2013) Testing concrete - Methods of analysis of hardened concrete/ SS 78 - B1 : 1992 (2013) Testing concrete - Guide to the use of non-destructive methods of test for hardened concrete/ SS 78 - B4 : 1992 (2013) Testing concrete - Recommendations for the use of electromagnetic covermeters/ SS 78 - B6 : 1992 (2013) Testing concrete - Recommendations for determination of strain in concrete/ SS 78 - B7 : 1992 (2013) Testing concrete - Recommendations for assessment of concrete strength by the near-to-surface tests/ SS 78 - B9 : 1992 (2013) Testing concrete - Recommendations for the measurement of dynamic modulus of elasticity SS 78 - 5 : 1972 Testing concrete - Methods of testing hardened concrete for other than strength (Withdrawn - 11 Oct 2012) SS 78 - A1 : 1987 Testing concrete - Method of sampling fresh concrete on site (Withdrawn - 24 Jun 2011) SS 78 - A11 : 1987 Testing concrete - Method of normal curing of test specimens (27oC method) (Withdrawn - 24 Jun 2011) SS 78 - A15 : 1987 Testing concrete - Methods for determination of density of hardened concrete (Withdrawn - 24 Jun 2011) SS 78 - A16 : 1987 Testing concrete - Method for determination of compressive strength of concrete (Withdrawn - 24 Jun 2011) SS 78 - A17 : 1987 Testing concrete - Method for determination of tensile splitting strength (Withdrawn - 24 Jun 2011) SS 78 - A18 : 1987 Testing concrete - Method for determination of flexural strength (SS 78 - A18 : 1987) SS 78 - A19 : 1987 Testing concrete - Method for determination of compressive strength using portions of beams broken in flexure (Withdrawn - 11 Oct 2012) SS 78 - A2 : 1987 Testing concrete - Method for determination of slump SS 78 - A22 : 1987 Testing concrete - Method for determination of water absorption (Withdrawn - 11 Oct 2012) SS 78 - A24 : 1991 (2013) Testing concrete - Methods of analysis of hardened concrete SS 78 - A6 : 1987 Testing concrete - Method for determination of air content of fresh concrete (Withdrawn - 24 Jun 2011) SS 78 - B1 : 1992 (2013) Testing concrete - Guide to the use of non-destructive methods of test for hardened concrete. Reinforcement SS 560 : 2010 Specification for steel for the reinforcement of concrete – Weldable reinforcing steel – Bar, coil and decoiled product SS 561 : 2010 Specification for steel fabric for the reinforcement of concrete SS 2 - 3 : 1987 Steel for the reinforcement of concrete - Plain and ribbed bars (steel grades 250 and 460) SS 18: Part 1 Cold-reduced steel wire for the reinforcement of concrete and the manufacture of welded fabric -steel grade 500 SS 18: Part 2 Cold-reduced steel wire for the reinforcement of concrete and the manufacture of welded fabric -steel grade 485 SS 32: Part 1 Welded steel fabric for the reinforcement of concrete-steel grades 300 and 500 SS 32: Part 2 Welded steel fabric for the reinforcement of concrete-steel grade 485 Paints SS 542 : 2008 Code of practice for painting of buildings SS 5 Series - Methods of test for paints, varnishes and related materials SS 7 : 1998 Paint - Finishing, gloss enamel SS 34 : 1998 Undercoat paint for gloss enamel SS 150 : 1998 Emulsion paints for decorative purposes CP 82 : 1999 Code of practice for waterproofing of reinforced concrete buildings SS 345: 1990 Algae resistant emulsion paint for decorative purposes |
| ISO | Concrete ISO 9882:1993 Performance standards in building -- Performance test for precast concrete floors -- Behaviour under non-concentrated load ISO 9883:1993 Performance standards in building -- Performance test for precast concrete floors -- Behaviour under concentrated load ISO 10144:1991 Certification scheme for steel bars and wires for the reinforcement of concrete structures ISO 1920-3:2004 Testing of concrete -- Part 3: Making and curing test specimens ISO 1920-1:2004 Testing of concrete -- Part 1: Sampling of fresh concrete ISO 1920-4:2005 Testing of concrete -- Part 4: Strength of hardened concrete ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 1920-5:2004 Testing of concrete -- Part 5: Properties of hardened concrete other than strength ISO 6783:1982 Coarse aggregates for concrete -- Determination of particle density and water absorption -- Hydrostatic balance method Reinforcement ISO 6934-1:1991 Steel for the prestressing of concrete -- Part 1: General requirements ISO 6935-1:2007 Steel for the reinforcement of concrete -- Part 1: Plain bars ISO 6935-2:2015 Steel for the reinforcement of concrete -- Part 2: Ribbed bars ISO 7033:1987 Fine and coarse aggregates for concrete -- Determination of the particle mass-per-volume and water absorption -- Pycnometer method ISO 7729:1985 Typical vertical joints between two prefabricated ordinary concrete external wall components -- Properties, characteristics and classification criteria ISO 7783:2011 Paints and varnishes -- Determination of water-vapour transmission properties -- Cup method ISO 7845:1985 Horizontal joints between load-bearing walls and concrete floors -- Laboratory mechanical tests -- Effect of vertical loading and of moments transmitted by the floors ISO 9882:1993 Performance standards in building -- Performance test for precast concrete floors -- Behaviour under non-concentrated load ISO 9883:1993 Performance standards in building -- Performance test for precast concrete floors -- Behaviour under concentrated load Paints ISO 1513:2010 Paints and varnishes -- Examination and preparation of test samples ISO 1514:2004 Paints and varnishes -- Standard panels for testing ISO 1516:2002 Determination of flash/no flash -- Closed cup equilibrium method ISO 9117-3:2010 Paints and varnishes -- Drying tests -- Part 3: Surface-drying test using ballotini ISO 1518-1:2011 Paints and varnishes -- Determination of scratch resistance -- Part 1: Constant-loading method ISO 1519:2011 Paints and varnishes -- Bend test (cylindrical mandrel) ISO 1520:2006 - Paints and varnishes -- Cupping test ISO 1522:2006 Paints and varnishes -- Pendulum damping test ISO 1523:2002 Determination of flash point -- Closed cup equilibrium method ISO 1524:2013 Paints, varnishes and printing inks -- Determination of fineness of grind ISO 2409:2013 Paints and varnishes -- Cross-cut test ISO 2431:2011 Paints and varnishes -- Determination of flow time by use of flow cups ISO 2808:2007 Paints and varnishes -- Determination of film thickness ISO 2810:2004 Paints and varnishes -- Natural weathering of coatings -- Exposure and assessment ISO 2811-1:2016 Paints and varnishes -- Determination of density -- Part 1: Pycnometer method ISO 2811-2:2011 Paints and varnishes -- Determination of density -- Part 2: Immersed body (plummet) method ISO 2811-3:2011 Paints and varnishes -- Determination of density -- Part 3: Oscillation method ISO 2811-4:2011 Paints and varnishes -- Determination of density -- Part 4: Pressure cup method ISO 2812-1:2007 Paints and varnishes -- Determination of resistance to liquids -- Part 1: Immersion in liquids other than water ISO 2812-2:2007 Paints and varnishes -- Determination of resistance to liquids -- Part 2: Water immersion method ISO 2813:2014 Paints and varnishes -- Determination of gloss value at 20 degrees, 60 degrees and 85 degrees BS EN ISO 2814:2006, BS 3900-D4:2006 Paints and varnishes. Comparison of contrast ratio (hiding power) of paints of the same type and colour ISO 2815:2003 Paints and varnishes -- Buchholz indentation test ISO 2884-1:1999 Paints and varnishes -- Determination of viscosity using rotary viscometers -- Part 1: Cone-and-plate viscometer operated at a high rate of shear ISO 3231: 1993 Paints and varnishes -- Determination of resistance to humid atmospheres containing sulfur dioxide ISO 3233-1:2013 Paints and varnishes -- Determination of the percentage volume of non-volatile matter -- Part 1: Method using a coated test panel to determine non-volatile matter and to determine dry film density by the Archimedes principle ISO 3248: 1998 Paints and varnishes -- Determination of the effect of heat ISO 3251:2008 Paints, varnishes and plastics -- Determination of non-volatile-matter content ISO 4618:2014 Paints and varnishes -- Terms and definitions ISO 4618:2014 Paints and varnishes -- Terms and definitions ISO 4624:2016 Paints and varnishes -- Pull-off test for adhesion ISO 4628-1:2016 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 1: General introduction and designation system ISO 4628-2:2003 Paints and varnishes - Evaluation of degradation of coatings - Designation of quantity and size of defects, and of intensity of uniform changes in appearance - Part 2: Assessment of degree of blistering ISO 4628-3:2016 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 3: Assessment of degree of rusting ISO 4628-4:2016 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 4: Assessment of degree of cracking ISO 4628-5:2016 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 5: Assessment of degree of flaking ISO 4628-6:2011 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 6: Assessment of degree of chalking by tape method ISO 6270-1: 1998 Paints and varnishes -- Determination of resistance to humidity -- Part 1: Continuous condensation ISO 6272-1:2011 Paints and varnishes -- Rapid-deformation (impact resistance) tests -- Part 1: Falling-weight test, large-area indenter/ ISO 6272-2:2011 Paints and varnishes -- Rapid-deformation (impact resistance) tests -- Part 2: Falling-weight test, small-area indenter ISO 6503: 1984 Paints and varnishes -- Determination of total lead -- Flame atomic absorption spectrometric method ISO 6504-1: 1983 Paints and varnishes -- Determination of hiding power -- Part 1: Kubelka-Munk method for white and light-coloured paints ISO 6504-3:2006 Paints and varnishes -- Determination of hiding power -- Part 3: Determination of contrast ratio of light-coloured paints at a fixed spreading rate ISO 6713: 1984 Paints and varnishes -- Preparation of acid extracts from paints in liquid or powder form ISO 6744-1: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 1: General methods of test ISO 6744-2: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 2: Determination of phthalic anhydride content ISO 6744-3: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 3: Determination of unsaponifiable matter content ISO 6744-4: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 4: Determination of fatty acid content ISO 6860:2006 Paints and varnishes -- Bend test (conical mandrel) ISO 7142:2007 Binders for paints and varnishes -- Epoxy resins -- General methods of test ISO 7143:2007 Binders for paints and varnishes -- Methods of test for characterizing water-based binders ISO 7783:2011 Paints and varnishes -- Determination of water-vapour transmission properties -- Cup method ISO 7784-1:2016 Paints and varnishes -- Determination of resistance to abrasion -- Part 1: Method with abrasive-paper covered wheels and rotating test specimen ISO 7784-2:2016 Paints and varnishes -- Determination of resistance to abrasion -- Part 2: Method with abrasive rubber wheels and rotating test specimen ISO 7784-3:2016 Paints and varnishes -- Determination of resistance to abrasion -- Part 3: Method with abrasive-paper covered wheel and linearly reciprocating test specimen ISO 8501-1:2007 Preparation of steel substrates before application of paints and related products -- Visual assessment of surface cleanliness -- Part 1: Rust grades and preparation grades of uncoated steel substrates and of steel substrates after overall ISO 9514:2005 Paints and varnishes -- Determination of the pot life of multicomponent coating systems -- Preparation and conditioning of samples and guidelines for testing ISO 11503:1995 Paints and varnishes -- Determination of resistance to humidity (intermittent condensation) ISO 16474-1:2013 Paints and varnishes -- Methods of exposure to laboratory light sources -- Part 1: General guidance ISO 11668:1997 Binders for paints and varnishes -- Chlorinated polymerization resins -- General methods of test ISO 11890-1:2007 Paints and varnishes -- Determination of volatile organic compound (VOC) content -- Part 1: Difference method ISO 11890-2:2013 Paints and varnishes -- Determination of volatile organic compound (VOC) content -- Part 2: Gas-chromatographic method ISO 11908: 1996 Binders for paints and varnishes -- Amino resins -- General methods of test ISO 11909:2007 Binders for paints and varnishes -- Polyisocyanate resins -- General methods of test ISO 11997-1:2005 Paints and varnishes -- Determination of resistance to cyclic corrosion conditions -- Part 1: Wet (salt fog)/dry/humidity ISO 11997-2:2013 Paints and varnishes -- Determination of resistance to cyclic corrosion conditions -- Part 2: Wet (salt fog)/dry/humidity/UV light ISO 11998:2006 Paints and varnishes -- Determination of wet-scrub resistance and cleanability of coatings ISO 12137:2011 Paints and varnishes -- Determination of mar resistance ISO 1518-2:2011 Paints and varnishes -- Determination of scratch resistance -- Part 2: Variable-loading method ISO 14680-1:2000 Paints and varnishes -- Determination of pigment content -- Part 1: Centrifuge method ISO 14680-2: 2000 Paints and varnishes -- Determination of pigment content -- Part 2: Ashing method ISO 14680-3: 2000 Paints and varnishes -- Determination of pigment content -- Part 3: Filtration method ISO 15184:2012 Paints and varnishes -- Determination of film hardness by pencil test ISO 14654:1999 Epoxy-coated steel for the reinforcement of concrete ISO 14656:1999 Epoxy powder and sealing material for the coating of steel for the reinforcement of concrete |

## Cracking

## Efflorescence

## Spalling

## Staining

| BS | Concrete #### BS EN 12350-1:2009 Testing fresh concrete. Sampling #### BS EN 12390-1:2012 Testing hardened concrete. Shape, dimensions and other requirements for specimens and moulds #### BS EN 12504-2:2012 Testing concrete in structures. Non-destructive testing. Determination of rebound number #### BS EN 1881:2006 Products and systems for the protection and repair of concrete structures. Test methods. Testing of anchoring products by the pull-out method BS 1881-122:2011 Testing concrete. Method for determination of water absorption BS 1881-208:1996 Testing concrete. Recommendations for the determination of the initial surface absorption of concrete BS EN 206:2013 Concrete. Specification, performance, production and conformity BS 5642-1:1978+A1:2014 Sills, copings and cappings. Specification for window sills of precast concrete, cast stone, clayware, slate and natural stone BS 8221-2:2000 Code of practice for cleaning and surface repair of buildings. Surface repair of natural stones, brick and terracotta/ BS 8221-1:2012 Code of practice for cleaning and surface repair of buildings. Cleaning of natural stone, brick, terracotta and concrete BS 6073-2:2008 Precast concrete masonry units. Guide for specifying precast concrete masonry units BS 6093:2006+A1:2013 Design of joints and jointing in building construction. Guide BS 8297:2000 Code of practice for Design and installation of non-loadbearing precast concrete cladding BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS EN 1992-1-1:2004+A1:2014 Eurocode 2: Design of concrete structures. General rules and rules for buildings BS EN 1169:1999 Precast concrete products. General rules for factory production control of glass-fibre reinforced cementBS EN 1170-1:1998 Precast concrete products. Test method for glass-fibre reinforced cement. Measuring the consistency of the matrix. ‘Slump test’ method / BS EN 1170-2:1998 Precast concrete products. Test method for glass-fibre reinforced cement. Measuring the fibre content in fresh GRC, ‘Wash out test’ / BS EN 1170-3:1998 Precast concrete products. Test method for glass-fibre reinforced cement. Measuring the fibre content of sprayed GRC / BS EN 1170-4:1998 PRECAST CONCRETE PRODUCTS. TEST METHOD FOR GLASS-FIBRE REINFORCED CEMENT. MEASURING BENDING STRENGTH. ‘SIMPLIFIED BENDING TEST’ METHOD / BS EN 1170-5:1998 PRECAST CONCRETE PRODUCTS. TEST METHOD FOR GLASS-FIBRE REINFORCED CEMENT. MEASURING BENDING STRENGTH, “COMPLETE BENDING TEST” METHOD / BS EN 1170-6:1998 PRECAST CONCRETE PRODUCTS. TEST METHOD FOR GLASS-FIBRE REINFORCED CEMENT. DETERMINATION OF THE ABSORPTION OF WATER BY IMMERSION AND DETERMINATION OF THE DRY DENSITY / BS EN 1170-7:1998 PRECAST CONCRETE PRODUCTS. TEST METHOD FOR GLASS-FIBRE REINFORCED CEMENT. MEASUREMENT OF EXTREMES OF DIMENSIONAL VARIATIONS DUE TO MOISTURE CONTENT / BS EN 1170-8:2008 TEST METHOD FOR GLASS-FIBRE REINFORCED CEMENT. CYCLIC WEATHERING TYPE TESTBS EN 1170-1:1998 Precast concrete products. Test method for glass-fibre reinforced cement. Measuring the consistency of the matrix. ‘Slump test’ method/ BS EN 1170-2:1998 Precast concrete products. Test method for glass-fibre reinforced cement. Measuring the fibre content in fresh GRC, ‘Wash out test’/ BS EN 1170-3:1998 Precast concrete products. Test method for glass-fibre reinforced cement. Measuring the fibre content of sprayed GRC/ BS EN 1170-4:1998 Precast concrete products. Test method for glass-fibre reinforced cement. Measuring bending strength. ‘Simplified bending test’ method/ BS EN 1170-4:1998 Precast concrete products. Test method for glass-fibre reinforced cement. Measuring bending strength. ‘Simplified bending test’ methodBS EN 1170-5:1998 Precast concrete products. Test method for glass-fibre reinforced cement. Measuring bending strength, “complete bending test” method/ BS EN 1170-6:1998 Precast concrete products. Test method for glass-fibre reinforced cement. Determination of the absorption of water by immersion and determination of the dry density/ BS EN 1170-7:1998 Precast concrete products. Test method for glass-fibre reinforced cement. Measurement of extremes of dimensional variations due to moisture content/ BS EN 1169:1999 Precast concrete products. General rules for factory production control of glass-fibre reinforced cement BS EN 1992-1-1:2004+A1:2014 Eurocode 2: Design of concrete structures. General rules and rules for buildings BS EN 13369:2013 Common rules for precast concrete products |
| --- | --- |
| ASTM | Concrete ASTM C150 / C150M - 15 Standard Specification for Portland CementASTM C150 / C150M - 15 Standard Specification for Portland Cement ASTM C33 / C33M - 13 Standard Specification for Concrete Aggregates ASTM C597 - 09 Standard Test Method for Pulse Velocity Through Concrete ASTM C136 / C136M - 14 Standard Test Method for Sieve Analysis of Fine and Coarse Aggregates ASTM C642 - 13 Standard Test Method for Density, Absorption, and Voids in Hardened Concrete ASTM C805 / C805M - 13a Standard Test Method for Rebound Number of Hardened Concrete ASTM C1386-07 Standard Specification for Precast Autoclaved Aerated Concrete (AAC) Wall Construction Units (Withdrawn 2013) ASTM C990 - 09(2014) Standard Specification for Joints for Concrete Pipe, Manholes, and Precast Box Sections Using Preformed Flexible Joint Sealants ASTM C990M - 09(2014) Standard Specification for Joints for Concrete Pipe, Manholes, and Precast Box Sections Using Preformed Flexible Joint Sealants (Metric) ASTM C915 - 79(2010) Standard Specification for Precast Reinforced Concrete Crib Wall Members ASTM C825 - 06(2011) Standard Specification for Precast Concrete Barriers ASTM C901 - 10 Standard Specification for Prefabricated Masonry Panels ASTM C367 / C367M - 09 Standard Test Methods for Strength Properties of Prefabricated Architectural Acoustical Tile or Lay-In Ceiling Panels ASTM D7116-05 Standard Specification for Joint Sealants, Hot Applied, Jet Fuel Resistant Types, for Portland Cement Concrete Pavements (Withdrawn 2012) ASTM C1077 - 16 Standard Practice for Agencies Testing Concrete and Concrete Aggregates for Use in Construction and Criteria for Testing Agency Evaluation ASTM E1857 - 97(2013)e1 Standard Guide for Selection of Cleaning Techniques for Masonry, Concrete, and Stucco Surfaces ASTM D6489 - 99(2012) Standard Test Method for Determining the Water Absorption of Hardened Concrete Treated With a Water Repellent Coating ASTM D6237 - 09(2015) Standard Guide for Painting Inspectors (Concrete and Masonry Substrates) ASTM D4258 - 05(2012) Standard Practice for Surface Cleaning Concrete for Coating ASTM D6690 - 15 Standard Specification for Joint and Crack Sealants, Hot Applied, for Concrete and Asphalt Pavements ASTM C1451 - 11 Standard Practice for Determining Uniformity of Ingredients of Concrete From a Single Source ASTM C1293 - 08b(2015) Standard Test Method for Determination of Length Change of Concrete Due to Alkali-Silica Reaction ASTM C1218 / C1218M - 15 Standard Test Method for Water-Soluble Chloride in Mortar and Concrete ASTM C1209-05e1 Standard Terminology of Concrete Masonry Units and Related Units (Withdrawn 2009) ASTM C1074 - 11 Standard Practice for Estimating Concrete Strength by the Maturity Method ASTM C1064 / C1064M - 12 Standard Test Method for Temperature of Freshly Mixed Hydraulic-Cement Concrete ASTM C1059 / C1059M - 13 Standard Specification for Latex Agents for Bonding Fresh To Hardened Concrete ASTM C939 / C939M - 16 Standard Test Method for Flow of Grout for Preplaced-Aggregate Concrete (Flow Cone Method) ASTM C905 - 01(2012) Standard Test Methods for Apparent Density of Chemical-Resistant Mortars, Grouts, Monolithic Surfacings, and Polymer Concretes ASTM C900 - 15 Standard Test Method for Pullout Strength of Hardened Concrete ASTM C856 - 14 Standard Practice for Petrographic Examination of Hardened Concrete ASTM C823 / C823M - 12 Standard Practice for Examination and Sampling of Hardened Concrete in Constructions ASTM C579 - 01(2012) Standard Test Methods for Compressive Strength of Chemical-Resistant Mortars, Grouts, Monolithic Surfacings, and Polymer Concretes ASTM C567 / C567M - 14 Standard Test Method for Determining Density of Structural Lightweight Concrete ASTM C512 / C512M - 15 Standard Test Method for Creep of Concrete in Compression ASTM C490 / C490M - 11e1 Standard Practice for Use of Apparatus for the Determination of Length Change of Hardened Cement Paste, Mortar, and Concrete Reinforcement ASTM A934 / A934M - 16 Standard Specification for Epoxy-Coated Prefabricated Steel Reinforcing Bars ASTM C330 / C330M - 14 Standard Specification for Lightweight Aggregates for Structural Concrete ASTM C129 - 14a Standard Specification for Nonloadbearing Concrete Masonry UnitsASTM A1064 / A1064M - 16 Standard Specification for Carbon-Steel Wire and Welded Wire Reinforcement, Plain and Deformed, for ConcreteASTM A1064 / A1064M - 16 Standard Specification for Carbon-Steel Wire and Welded Wire Reinforcement, Plain and Deformed, for Concrete/ ASTM C129 - 14a Standard Specification for Nonloadbearing Concrete Masonry Units |
| AS | Concrete AS 1012.2:2014 Methods of testing concrete - Preparing concrete mixes in the laboratory AS 1012.3.1:2014 Methods of testing concrete - Determination of properties related to the consistency of concrete - Slump test AS 1012.3.2-1998 (R2014) Methods of testing concrete - Determination of properties related to the consistency of concrete - Compacting factor test AS 1012.1:2014 Methods of testing concrete - Sampling of concrete AS 1012.11-2000 (R2014) Methods of testing concrete - Determination of the modulus of rupture AS 1012.8.4:2015 Methods of testing concrete - Method for making and curing concrete - Drying shrinkage specimens prepared in the field or in the laboratory/ AS 1012.13:2015 Methods of testing concrete - Determination of the drying shrinkage of concrete for samples prepared in the field or in the laboratory AS 1012.21-1999 (R2014) Methods of testing concrete - Determination of water absorption and apparent volume of permeable voids in hardened concreteAS 1012.21-1999 (R2014) Methods of testing concrete - Determination of water absorption and apparent volume of permeable voids in hardened concrete. AS 1478.1-2000 Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 2758.1:2014 Aggregates and rock for engineering purposes - Concrete aggregates AS 3600-2009 Concrete structures CIA Z9-1999 CIA Curing of ConcreteCIA Z9-1999 CIA Curing of Concrete HB 84-2006 Guide to Concrete Repair and ProtectionHB 84-2006 Guide to Concrete Repair and Protection AS 1597.2-2013 Precast reinforced concrete box culverts - Large culverts (exceeding 1200 mm span or 1200 mm height and up to and including 4200 mm span and 4200 mm height)AS 1597.2-2013 Precast reinforced concrete box culverts - Large culverts (exceeding 1200 mm span or 1200 mm height and up to and including 4200 mm span and 4200 mm height) AS 1597.2-2013 Precast reinforced concrete box culverts - Large culverts (exceeding 1200 mm span or 1200 mm height and up to and including 4200 mm span and 4200 mm height) AS 3850.1:2015 Prefabricated concrete elements - General requirements AS 3850.2:2015 Prefabricated concrete elements - Building construction AS 3850-2003 Tilt-up concrete construction AS 1478.2-2005 Chemical admixtures for concrete, mortar and grout - Methods of sampling and testing admixtures for concrete, mortar and grout AS 2832.5-2002 Cathodic protection of metals - Steel in concrete structures AS 1012.1:2014 Methods of testing concrete - Sampling of concrete AS 1012.18-1996 (R2014) Methods of testing concrete - Determination of setting time of fresh concrete, mortar and grout by penetration resistance AS 1012.21-1999 (R2014) Methods of testing concrete - Determination of water absorption and apparent volume of permeable voids in hardened concrete AS 1012.3.1:2014 Methods of testing concrete - Determination of properties related to the consistency of concrete - Slump test AS 1012.3.2-1998 (R2014) Methods of testing concrete - Determination of properties related to the consistency of concrete - Compacting factor test AS 1012.3.3-1998 (R2014) Methods of testing concrete - Determination of properties related to the consistency of concrete - Vebe test AS 1012.3.4-1998 (R2014) Methods of testing concrete - Determination of properties related to the consistency of concrete - Compactibility index AS 1012.4.1:2014 Methods of testing concrete - Determination of air content of freshly mixed concrete - Measuring reduction in concrete volume with increased air pressure AS 1012.8.1:2014 Methods of testing concrete - Method for making and curing concrete - Compression and indirect tensile test specimens AS 1012.9-1999 Methods of testing concrete - Determination of the compressive strength of concrete specimens AS/NZS 4671:2001 Steel reinforcing materials AS 1302-1991/Amdt 1-1992 Steel reinforcing bars for concrete AS 1379-2007 Specification and supply of concrete AS 1379 Supp 1-2008 Specification and supply of concrete - Commentary (Supplement 1 to AS 1379 - 2007) AS 1418.15-1994/Amdt 1-1995 Cranes (including hoists and winches) - Concrete placing equipment AS 1478.1-2000 Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 3600-2009 Concrete structures AS 3600-2009 Supp 1:2014 Concrete structures - Commentary (Supplement to AS 3600-2009) AS 3600 Supp1-1994/Amdt 1-1996 Concrete structures - Commentary AS 3730.22-2006 Guide to the properties of paints for buildings - Concrete and masonry sealer - Solvent-borne - Interior/exterior AS/NZS 4548.5:1999 (R2013) Guide to long-life coatings for concrete and masonry - Guidelines to methods of test AS 1379-2007/Amdt 2-2015 Specification and supply of concrete CIA Concrete 1999 CIA Our Concrete Environment CIA CPN24-2005 Design of Joints in Concrete Structures HB 124-2007 Design and Construction of Concrete Masonry Buildings (CD-ROM) (Withdrawn) HB 64-2002 Guide to concrete construction HB 67-1995 Concrete practice on building sites HB 84-2006 Guide to Concrete Repair and Protection HB 64-2002 Guide to concrete construction CIA Z5-2010 Shotcreting in Australia CIA Z7/01-2014 Durability Planning/ CIA Z7/04-2014 Good Practice Through Design, Concrete Supply and Construction/ CIA Z7/07-2015 Performance Tests to Assess Concrete Durability CIA Z9-1999 CIA Curing of Concrete Reinforcement AS/NZS 4671:2001 Steel reinforcing materials |
| SS | Concrete SS EN 197 - 1 : 2014 Cement - Part 1 : Composition, specifications and conformity criteria for common cement/ SS EN 197 - 2 : 2014 Cement - Part 2 : Conformity evaluation SS EN 12620: 2008 Specification for aggregates for concrete CP 65 - 1 : 1999 Code of practice for structural use of concrete - Design and construction/ CP 65 - 2 : 1996 Code of practice for structural use of concrete - Special circumstances SS 509 - 1 : 2015 Code of practice for cleaning and surface repair of buildings – Part 1 : Cleaning of natural stone, brick, terracotta, concrete and rendered finishes/ SS 509 - 2 : 2005 (2015) Code of practice for cleaning and surface repair of buildings - Surface repair of natural stones, brick, terracotta and rendered finishes SS EN 12620 : 2008 Specification for aggregates for concrete CP 81 : 1999 Code of practice for precast concrete slab and wall panels SS 76 : 1972 Precast concrete blocks (Withdrawn) SS 271 : 1983 Concrete masonry units (for non-loadbearing applications) SS 78 - A21 : 1987 (2013) Testing concrete - Method for determination of static modules of elasticity in compression/ SS 78 - A24 : 1991 (2013) Testing concrete - Methods of analysis of hardened concrete/ SS 78 - B1 : 1992 (2013) Testing concrete - Guide to the use of non-destructive methods of test for hardened concrete/ SS 78 - B4 : 1992 (2013) Testing concrete - Recommendations for the use of electromagnetic covermeters/ SS 78 - B6 : 1992 (2013) Testing concrete - Recommendations for determination of strain in concrete/ SS 78 - B7 : 1992 (2013) Testing concrete - Recommendations for assessment of concrete strength by the near-to-surface tests/ SS 78 - B9 : 1992 (2013) Testing concrete - Recommendations for the measurement of dynamic modulus of elasticity SS 78 - 5 : 1972 Testing concrete - Methods of testing hardened concrete for other than strength (Withdrawn - 11 Oct 2012) SS 78 - A1 : 1987 Testing concrete - Method of sampling fresh concrete on site (Withdrawn - 24 Jun 2011) SS 78 - A11 : 1987 Testing concrete - Method of normal curing of test specimens (27oC method) (Withdrawn - 24 Jun 2011) SS 78 - A15 : 1987 Testing concrete - Methods for determination of density of hardened concrete (Withdrawn - 24 Jun 2011) SS 78 - A16 : 1987 Testing concrete - Method for determination of compressive strength of concrete (Withdrawn - 24 Jun 2011) SS 78 - A17 : 1987 Testing concrete - Method for determination of tensile splitting strength (Withdrawn - 24 Jun 2011) SS 78 - A18 : 1987 Testing concrete - Method for determination of flexural strength (SS 78 - A18 : 1987) SS 78 - A19 : 1987 Testing concrete - Method for determination of compressive strength using portions of beams broken in flexure (Withdrawn - 11 Oct 2012) SS 78 - A2 : 1987 Testing concrete - Method for determination of slump SS 78 - A22 : 1987 Testing concrete - Method for determination of water absorption (Withdrawn - 11 Oct 2012) SS 78 - A24 : 1991 (2013) Testing concrete - Methods of analysis of hardened concrete SS 78 - A6 : 1987 Testing concrete - Method for determination of air content of fresh concrete (Withdrawn - 24 Jun 2011) SS 78 - B1 : 1992 (2013) Testing concrete - Guide to the use of non-destructive methods of test for hardened concrete. Reinforcement SS 560 : 2010 Specification for steel for the reinforcement of concrete – Weldable reinforcing steel – Bar, coil and decoiled product SS 561 : 2010 Specification for steel fabric for the reinforcement of concrete SS 2 - 3 : 1987 Steel for the reinforcement of concrete - Plain and ribbed bars (steel grades 250 and 460) SS 18: Part 1 Cold-reduced steel wire for the reinforcement of concrete and the manufacture of welded fabric -steel grade 500 SS 18: Part 2 Cold-reduced steel wire for the reinforcement of concrete and the manufacture of welded fabric -steel grade 485 SS 32: Part 1 Welded steel fabric for the reinforcement of concrete-steel grades 300 and 500 SS 32: Part 2 Welded steel fabric for the reinforcement of concrete-steel grade 485 |
| ISO | Concrete ISO 9882:1993 Performance standards in building -- Performance test for precast concrete floors -- Behaviour under non-concentrated load ISO 9883:1993 Performance standards in building -- Performance test for precast concrete floors -- Behaviour under concentrated load ISO 10144:1991 Certification scheme for steel bars and wires for the reinforcement of concrete structures ISO 1920-3:2004 Testing of concrete -- Part 3: Making and curing test specimens ISO 1920-1:2004 Testing of concrete -- Part 1: Sampling of fresh concrete ISO 1920-4:2005 Testing of concrete -- Part 4: Strength of hardened concrete ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 1920-5:2004 Testing of concrete -- Part 5: Properties of hardened concrete other than strength ISO 6783:1982 Coarse aggregates for concrete -- Determination of particle density and water absorption -- Hydrostatic balance method Reinforcement ISO 6934-1:1991 Steel for the prestressing of concrete -- Part 1: General requirements ISO 6935-1:2007 Steel for the reinforcement of concrete -- Part 1: Plain bars ISO 6935-2:2015 Steel for the reinforcement of concrete -- Part 2: Ribbed bars ISO 7033:1987 Fine and coarse aggregates for concrete -- Determination of the particle mass-per-volume and water absorption -- Pycnometer method ISO 7729:1985 Typical vertical joints between two prefabricated ordinary concrete external wall components -- Properties, characteristics and classification criteria ISO 7783:2011 Paints and varnishes -- Determination of water-vapour transmission properties -- Cup method ISO 7845:1985 Horizontal joints between load-bearing walls and concrete floors -- Laboratory mechanical tests -- Effect of vertical loading and of moments transmitted by the floors ISO 9882:1993 Performance standards in building -- Performance test for precast concrete floors -- Behaviour under non-concentrated load ISO 9883:1993 Performance standards in building -- Performance test for precast concrete floors -- Behaviour under concentrated load |

## Tile Delamination due to Defective Construction

| BS | Concrete BS EN 12350-1:2009 Testing fresh concrete. Sampling BS EN 12390-1:2012 Testing hardened concrete. Shape, dimensions and other requirements for specimens and moulds BS EN 12504-2:2012 Testing concrete in structures. Non-destructive testing. Determination of rebound number BS EN 1881:2006 Products and systems for the protection and repair of concrete structures. Test methods. Testing of anchoring products by the pull-out method BS 1881-122:2011 Testing concrete. Method for determination of water absorption BS 1881-208:1996 Testing concrete. Recommendations for the determination of the initial surface absorption of concrete BS EN 206:2013 Concrete. Specification, performance, production and conformity BS 5642-1:1978+A1:2014 Sills, copings and cappings. Specification for window sills of precast concrete, cast stone, clayware, slate and natural stone BS 8221-2:2000 Code of practice for cleaning and surface repair of buildings. Surface repair of natural stones, brick and terracotta/ BS 8221-1:2012 Code of practice for cleaning and surface repair of buildings. Cleaning of natural stone, brick, terracotta and concrete BS 6073-2:2008 Precast concrete masonry units. Guide for specifying precast concrete masonry units BS 6093:2006+A1:2013 Design of joints and jointing in building construction. Guide BS 8297:2000 Code of practice for Design and installation of non-loadbearing precast concrete cladding BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS EN 1992-1-1:2004+A1:2014 Eurocode 2: Design of concrete structures. General rules and rules for buildings BS EN 1169:1999 Precast concrete products. General rules for factory production control of glass-fibre reinforced cementBS EN 1170-1:1998 Precast concrete products. Test method for glass-fibre reinforced cement. Measuring the consistency of the matrix. ‘Slump test’ method / BS EN 1170-2:1998 Precast concrete products. Test method for glass-fibre reinforced cement. Measuring the fibre content in fresh GRC, ‘Wash out test’ / BS EN 1170-3:1998 Precast concrete products. Test method for glass-fibre reinforced cement. Measuring the fibre content of sprayed GRC / BS EN 1170-4:1998 PRECAST CONCRETE PRODUCTS. TEST METHOD FOR GLASS-FIBRE REINFORCED CEMENT. MEASURING BENDING STRENGTH. ‘SIMPLIFIED BENDING TEST’ METHOD / BS EN 1170-5:1998 PRECAST CONCRETE PRODUCTS. TEST METHOD FOR GLASS-FIBRE REINFORCED CEMENT. MEASURING BENDING STRENGTH, “COMPLETE BENDING TEST” METHOD / BS EN 1170-6:1998 PRECAST CONCRETE PRODUCTS. TEST METHOD FOR GLASS-FIBRE REINFORCED CEMENT. DETERMINATION OF THE ABSORPTION OF WATER BY IMMERSION AND DETERMINATION OF THE DRY DENSITY / BS EN 1170-7:1998 PRECAST CONCRETE PRODUCTS. TEST METHOD FOR GLASS-FIBRE REINFORCED CEMENT. MEASUREMENT OF EXTREMES OF DIMENSIONAL VARIATIONS DUE TO MOISTURE CONTENT / BS EN 1170-8:2008 TEST METHOD FOR GLASS-FIBRE REINFORCED CEMENT. CYCLIC WEATHERING TYPE TESTBS EN 1170-1:1998 Precast concrete products. Test method for glass-fibre reinforced cement. Measuring the consistency of the matrix. ‘Slump test’ method/ BS EN 1170-2:1998 Precast concrete products. Test method for glass-fibre reinforced cement. Measuring the fibre content in fresh GRC, ‘Wash out test’/ BS EN 1170-3:1998 Precast concrete products. Test method for glass-fibre reinforced cement. Measuring the fibre content of sprayed GRC/ BS EN 1170-4:1998 Precast concrete products. Test method for glass-fibre reinforced cement. Measuring bending strength. ‘Simplified bending test’ method/ BS EN 1170-4:1998 Precast concrete products. Test method for glass-fibre reinforced cement. Measuring bending strength. ‘Simplified bending test’ methodBS EN 1170-5:1998 Precast concrete products. Test method for glass-fibre reinforced cement. Measuring bending strength, “complete bending test” method/ BS EN 1170-6:1998 Precast concrete products. Test method for glass-fibre reinforced cement. Determination of the absorption of water by immersion and determination of the dry density/ BS EN 1170-7:1998 Precast concrete products. Test method for glass-fibre reinforced cement. Measurement of extremes of dimensional variations due to moisture content/ BS EN 1169:1999 Precast concrete products. General rules for factory production control of glass-fibre reinforced cement BS EN 1992-1-1:2004+A1:2014 Eurocode 2: Design of concrete structures. General rules and rules for buildings BS EN 13369:2013 Common rules for precast concrete products Reinforcement BS 4449:2005+A2:2009 Steel for the reinforcement of concrete. Weldable reinforcing steel. Bar, coil and decoiled product. Specification BS 4482:2005 Steel wire for the reinforcement of concrete products. Specification BS 4483:2005 Steel fabric for the reinforcement of concrete. Specification BS 6744:2001+A2:2009 Stainless steel bars for the reinforcement of and use in concrete. Requirements and test methods Tile BS 5385-3:2014 Wall and floor tiling. Design and installation of internal and external ceramic and mosaic floor tiling in normal conditions. Code of practice |
| --- | --- |
| ASTM | Concrete ASTM C150 / C150M - 15 Standard Specification for Portland CementASTM C150 / C150M - 15 Standard Specification for Portland Cement ASTM C33 / C33M - 13 Standard Specification for Concrete Aggregates ASTM C597 - 09 Standard Test Method for Pulse Velocity Through Concrete ASTM C136 / C136M - 14 Standard Test Method for Sieve Analysis of Fine and Coarse Aggregates ASTM C642 - 13 Standard Test Method for Density, Absorption, and Voids in Hardened Concrete ASTM C805 / C805M - 13a Standard Test Method for Rebound Number of Hardened Concrete ASTM C1386-07 Standard Specification for Precast Autoclaved Aerated Concrete (AAC) Wall Construction Units (Withdrawn 2013) ASTM C990 - 09(2014) Standard Specification for Joints for Concrete Pipe, Manholes, and Precast Box Sections Using Preformed Flexible Joint Sealants ASTM C990M - 09(2014) Standard Specification for Joints for Concrete Pipe, Manholes, and Precast Box Sections Using Preformed Flexible Joint Sealants (Metric) ASTM C915 - 79(2010) Standard Specification for Precast Reinforced Concrete Crib Wall Members ASTM C825 - 06(2011) Standard Specification for Precast Concrete Barriers ASTM C901 - 10 Standard Specification for Prefabricated Masonry Panels ASTM C367 / C367M - 09 Standard Test Methods for Strength Properties of Prefabricated Architectural Acoustical Tile or Lay-In Ceiling Panels ASTM D7116-05 Standard Specification for Joint Sealants, Hot Applied, Jet Fuel Resistant Types, for Portland Cement Concrete Pavements (Withdrawn 2012) ASTM C1077 - 16 Standard Practice for Agencies Testing Concrete and Concrete Aggregates for Use in Construction and Criteria for Testing Agency Evaluation ASTM E1857 - 97(2013)e1 Standard Guide for Selection of Cleaning Techniques for Masonry, Concrete, and Stucco Surfaces ASTM D6489 - 99(2012) Standard Test Method for Determining the Water Absorption of Hardened Concrete Treated With a Water Repellent Coating ASTM D6237 - 09(2015) Standard Guide for Painting Inspectors (Concrete and Masonry Substrates) ASTM D4258 - 05(2012) Standard Practice for Surface Cleaning Concrete for Coating ASTM D6690 - 15 Standard Specification for Joint and Crack Sealants, Hot Applied, for Concrete and Asphalt Pavements ASTM C1451 - 11 Standard Practice for Determining Uniformity of Ingredients of Concrete From a Single Source ASTM C1293 - 08b(2015) Standard Test Method for Determination of Length Change of Concrete Due to Alkali-Silica Reaction ASTM C1218 / C1218M - 15 Standard Test Method for Water-Soluble Chloride in Mortar and Concrete ASTM C1209-05e1 Standard Terminology of Concrete Masonry Units and Related Units (Withdrawn 2009) ASTM C1074 - 11 Standard Practice for Estimating Concrete Strength by the Maturity Method ASTM C1064 / C1064M - 12 Standard Test Method for Temperature of Freshly Mixed Hydraulic-Cement Concrete ASTM C1059 / C1059M - 13 Standard Specification for Latex Agents for Bonding Fresh To Hardened Concrete ASTM C939 / C939M - 16 Standard Test Method for Flow of Grout for Preplaced-Aggregate Concrete (Flow Cone Method) ASTM C905 - 01(2012) Standard Test Methods for Apparent Density of Chemical-Resistant Mortars, Grouts, Monolithic Surfacings, and Polymer Concretes ASTM C900 - 15 Standard Test Method for Pullout Strength of Hardened Concrete ASTM C856 - 14 Standard Practice for Petrographic Examination of Hardened Concrete ASTM C823 / C823M - 12 Standard Practice for Examination and Sampling of Hardened Concrete in Constructions ASTM C579 - 01(2012) Standard Test Methods for Compressive Strength of Chemical-Resistant Mortars, Grouts, Monolithic Surfacings, and Polymer Concretes ASTM C567 / C567M - 14 Standard Test Method for Determining Density of Structural Lightweight Concrete ASTM C512 / C512M - 15 Standard Test Method for Creep of Concrete in Compression ASTM C490 / C490M - 11e1 Standard Practice for Use of Apparatus for the Determination of Length Change of Hardened Cement Paste, Mortar, and Concrete Reinforcement ASTM A934 / A934M - 16 Standard Specification for Epoxy-Coated Prefabricated Steel Reinforcing Bars ASTM C330 / C330M - 14 Standard Specification for Lightweight Aggregates for Structural Concrete ASTM C129 - 14a Standard Specification for Nonloadbearing Concrete Masonry UnitsASTM A1064 / A1064M - 16 Standard Specification for Carbon-Steel Wire and Welded Wire Reinforcement, Plain and Deformed, for ConcreteASTM A1064 / A1064M - 16 Standard Specification for Carbon-Steel Wire and Welded Wire Reinforcement, Plain and Deformed, for Concrete/ ASTM C129 - 14a Standard Specification for Nonloadbearing Concrete Masonry Units Tile ASTM D5343 - 06(2012)e1 Standard Guide for Evaluating Cleaning Performance of Ceramic Tile Cleaners ASTM C482 - 02(2014) Standard Test Method for Bond Strength of Ceramic Tile to Portland Cement Paste ASTM C648 - 04(2014) Standard Test Method for Breaking Strength of Ceramic Tile ASTM C1243 - 93(2015) Standard Test Method for Relative Resistance to Deep Abrasive Wear of Unglazed Ceramic Tile by Rotating Disc ASTM C650 - 04(2014) Standard Test Method for Resistance of Ceramic Tile to Chemical Substances ASTM C485 - 09 Standard Test Method for Measuring Warpage of Ceramic Tile ASTM C920 - 14a Standard Specification for Elastomeric Joint Sealants |
| AS | Concrete AS 1012.2:2014 Methods of testing concrete - Preparing concrete mixes in the laboratory AS 1012.3.1:2014 Methods of testing concrete - Determination of properties related to the consistency of concrete - Slump test AS 1012.3.2-1998 (R2014) Methods of testing concrete - Determination of properties related to the consistency of concrete - Compacting factor test AS 1012.1:2014 Methods of testing concrete - Sampling of concrete AS 1012.11-2000 (R2014) Methods of testing concrete - Determination of the modulus of rupture AS 1012.8.4:2015 Methods of testing concrete - Method for making and curing concrete - Drying shrinkage specimens prepared in the field or in the laboratory/ AS 1012.13:2015 Methods of testing concrete - Determination of the drying shrinkage of concrete for samples prepared in the field or in the laboratory AS 1012.21-1999 (R2014) Methods of testing concrete - Determination of water absorption and apparent volume of permeable voids in hardened concreteAS 1012.21-1999 (R2014) Methods of testing concrete - Determination of water absorption and apparent volume of permeable voids in hardened concrete. AS 1478.1-2000 Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 2758.1:2014 Aggregates and rock for engineering purposes - Concrete aggregates AS 3600-2009 Concrete structures CIA Z9-1999 CIA Curing of ConcreteCIA Z9-1999 CIA Curing of Concrete HB 84-2006 Guide to Concrete Repair and ProtectionHB 84-2006 Guide to Concrete Repair and Protection AS 1597.2-2013 Precast reinforced concrete box culverts - Large culverts (exceeding 1200 mm span or 1200 mm height and up to and including 4200 mm span and 4200 mm height)AS 1597.2-2013 Precast reinforced concrete box culverts - Large culverts (exceeding 1200 mm span or 1200 mm height and up to and including 4200 mm span and 4200 mm height) AS 1597.2-2013 Precast reinforced concrete box culverts - Large culverts (exceeding 1200 mm span or 1200 mm height and up to and including 4200 mm span and 4200 mm height) AS 3850.1:2015 Prefabricated concrete elements - General requirements AS 3850.2:2015 Prefabricated concrete elements - Building construction AS 3850-2003 Tilt-up concrete construction AS 1478.2-2005 Chemical admixtures for concrete, mortar and grout - Methods of sampling and testing admixtures for concrete, mortar and grout AS 2832.5-2002 Cathodic protection of metals - Steel in concrete structures AS 1012.1:2014 Methods of testing concrete - Sampling of concrete AS 1012.18-1996 (R2014) Methods of testing concrete - Determination of setting time of fresh concrete, mortar and grout by penetration resistance AS 1012.21-1999 (R2014) Methods of testing concrete - Determination of water absorption and apparent volume of permeable voids in hardened concrete AS 1012.3.1:2014 Methods of testing concrete - Determination of properties related to the consistency of concrete - Slump test AS 1012.3.2-1998 (R2014) Methods of testing concrete - Determination of properties related to the consistency of concrete - Compacting factor test AS 1012.3.3-1998 (R2014) Methods of testing concrete - Determination of properties related to the consistency of concrete - Vebe test AS 1012.3.4-1998 (R2014) Methods of testing concrete - Determination of properties related to the consistency of concrete - Compactibility index AS 1012.4.1:2014 Methods of testing concrete - Determination of air content of freshly mixed concrete - Measuring reduction in concrete volume with increased air pressure AS 1012.8.1:2014 Methods of testing concrete - Method for making and curing concrete - Compression and indirect tensile test specimens AS 1012.9-1999 Methods of testing concrete - Determination of the compressive strength of concrete specimens AS/NZS 4671:2001 Steel reinforcing materials AS 1302-1991/Amdt 1-1992 Steel reinforcing bars for concrete AS 1379-2007 Specification and supply of concrete AS 1379 Supp 1-2008 Specification and supply of concrete - Commentary (Supplement 1 to AS 1379 - 2007) AS 1418.15-1994/Amdt 1-1995 Cranes (including hoists and winches) - Concrete placing equipment AS 1478.1-2000 Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 3600-2009 Concrete structures AS 3600-2009 Supp 1:2014 Concrete structures - Commentary (Supplement to AS 3600-2009) AS 3600 Supp1-1994/Amdt 1-1996 Concrete structures - Commentary AS 3730.22-2006 Guide to the properties of paints for buildings - Concrete and masonry sealer - Solvent-borne - Interior/exterior AS/NZS 4548.5:1999 (R2013) Guide to long-life coatings for concrete and masonry - Guidelines to methods of test AS 1379-2007/Amdt 2-2015 Specification and supply of concrete CIA Concrete 1999 CIA Our Concrete Environment CIA CPN24-2005 Design of Joints in Concrete Structures HB 124-2007 Design and Construction of Concrete Masonry Buildings (CD-ROM) (Withdrawn) HB 64-2002 Guide to concrete construction HB 67-1995 Concrete practice on building sites HB 84-2006 Guide to Concrete Repair and Protection HB 64-2002 Guide to concrete construction CIA Z5-2010 Shotcreting in Australia CIA Z7/01-2014 Durability Planning/ CIA Z7/04-2014 Good Practice Through Design, Concrete Supply and Construction/ CIA Z7/07-2015 Performance Tests to Assess Concrete Durability CIA Z9-1999 CIA Curing of Concrete Reinforcement AS/NZS 4671:2001 Steel reinforcing materials Tile AS 3958.2-1992 Ceramic tiles - Guide to the selection of a ceramic tiling system AS 4459.10-1999 Methods of sampling and testing ceramic tiles - Determination of moisture expansion AS 4459.14-1999 Methods of sampling and testing ceramic tiles - Determination of resistance to stains AS 4459.13-1999 Methods of sampling and testing ceramic tiles - Determination of chemical resistance AS 4459.8-1997 Methods of sampling and testing ceramic tiles - Determination of linear thermal expansion AS 4459.2-1999 Methods of sampling and testing ceramic tiles - Determination of dimensions and surface quality AS 4459.3-1999 Methods of sampling and testing ceramic tiles - Determination of water absorption, apparent porosity, apparent relative density and bulk density |
| SS | Concrete SS EN 197 - 1 : 2014 Cement - Part 1 : Composition, specifications and conformity criteria for common cement/ SS EN 197 - 2 : 2014 Cement - Part 2 : Conformity evaluation SS EN 12620: 2008 Specification for aggregates for concrete CP 65 - 1 : 1999 Code of practice for structural use of concrete - Design and construction/ CP 65 - 2 : 1996 Code of practice for structural use of concrete - Special circumstances SS 509 - 1 : 2015 Code of practice for cleaning and surface repair of buildings – Part 1 : Cleaning of natural stone, brick, terracotta, concrete and rendered finishes/ SS 509 - 2 : 2005 (2015) Code of practice for cleaning and surface repair of buildings - Surface repair of natural stones, brick, terracotta and rendered finishes SS EN 12620 : 2008 Specification for aggregates for concrete CP 81 : 1999 Code of practice for precast concrete slab and wall panels SS 76 : 1972 Precast concrete blocks (Withdrawn) SS 271 : 1983 Concrete masonry units (for non-loadbearing applications) SS 78 - A21 : 1987 (2013) Testing concrete - Method for determination of static modules of elasticity in compression/ SS 78 - A24 : 1991 (2013) Testing concrete - Methods of analysis of hardened concrete/ SS 78 - B1 : 1992 (2013) Testing concrete - Guide to the use of non-destructive methods of test for hardened concrete/ SS 78 - B4 : 1992 (2013) Testing concrete - Recommendations for the use of electromagnetic covermeters/ SS 78 - B6 : 1992 (2013) Testing concrete - Recommendations for determination of strain in concrete/ SS 78 - B7 : 1992 (2013) Testing concrete - Recommendations for assessment of concrete strength by the near-to-surface tests/ SS 78 - B9 : 1992 (2013) Testing concrete - Recommendations for the measurement of dynamic modulus of elasticity SS 78 - 5 : 1972 Testing concrete - Methods of testing hardened concrete for other than strength (Withdrawn - 11 Oct 2012) SS 78 - A1 : 1987 Testing concrete - Method of sampling fresh concrete on site (Withdrawn - 24 Jun 2011) SS 78 - A11 : 1987 Testing concrete - Method of normal curing of test specimens (27oC method) (Withdrawn - 24 Jun 2011) SS 78 - A15 : 1987 Testing concrete - Methods for determination of density of hardened concrete (Withdrawn - 24 Jun 2011) SS 78 - A16 : 1987 Testing concrete - Method for determination of compressive strength of concrete (Withdrawn - 24 Jun 2011) SS 78 - A17 : 1987 Testing concrete - Method for determination of tensile splitting strength (Withdrawn - 24 Jun 2011) SS 78 - A18 : 1987 Testing concrete - Method for determination of flexural strength (SS 78 - A18 : 1987) SS 78 - A19 : 1987 Testing concrete - Method for determination of compressive strength using portions of beams broken in flexure (Withdrawn - 11 Oct 2012) SS 78 - A2 : 1987 Testing concrete - Method for determination of slump SS 78 - A22 : 1987 Testing concrete - Method for determination of water absorption (Withdrawn - 11 Oct 2012) SS 78 - A24 : 1991 (2013) Testing concrete - Methods of analysis of hardened concrete SS 78 - A6 : 1987 Testing concrete - Method for determination of air content of fresh concrete (Withdrawn - 24 Jun 2011) SS 78 - B1 : 1992 (2013) Testing concrete - Guide to the use of non-destructive methods of test for hardened concrete. Reinforcement SS 560 : 2010 Specification for steel for the reinforcement of concrete – Weldable reinforcing steel – Bar, coil and decoiled product SS 561 : 2010 Specification for steel fabric for the reinforcement of concrete SS 2 - 3 : 1987 Steel for the reinforcement of concrete - Plain and ribbed bars (steel grades 250 and 460) SS 18: Part 1 Cold-reduced steel wire for the reinforcement of concrete and the manufacture of welded fabric -steel grade 500 SS 18: Part 2 Cold-reduced steel wire for the reinforcement of concrete and the manufacture of welded fabric -steel grade 485 SS 32: Part 1 Welded steel fabric for the reinforcement of concrete-steel grades 300 and 500 SS 32: Part 2 Welded steel fabric for the reinforcement of concrete-steel grade 485 Tile SS 301: 1985 Singapore Standard for Ceramic Tile SS CP68: 1997 Ceramic Wall and Floor Tiling |
| ISO | Concrete ISO 9882:1993 Performance standards in building -- Performance test for precast concrete floors -- Behaviour under non-concentrated load ISO 9883:1993 Performance standards in building -- Performance test for precast concrete floors -- Behaviour under concentrated load ISO 10144:1991 Certification scheme for steel bars and wires for the reinforcement of concrete structures ISO 1920-3:2004 Testing of concrete -- Part 3: Making and curing test specimens ISO 1920-1:2004 Testing of concrete -- Part 1: Sampling of fresh concrete ISO 1920-4:2005 Testing of concrete -- Part 4: Strength of hardened concrete ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 1920-5:2004 Testing of concrete -- Part 5: Properties of hardened concrete other than strength ISO 6783:1982 Coarse aggregates for concrete -- Determination of particle density and water absorption -- Hydrostatic balance method Reinforcement ISO 6934-1:1991 Steel for the prestressing of concrete -- Part 1: General requirements ISO 6935-1:2007 Steel for the reinforcement of concrete -- Part 1: Plain bars ISO 6935-2:2015 Steel for the reinforcement of concrete -- Part 2: Ribbed bars ISO 7033:1987 Fine and coarse aggregates for concrete -- Determination of the particle mass-per-volume and water absorption -- Pycnometer method ISO 7729:1985 Typical vertical joints between two prefabricated ordinary concrete external wall components -- Properties, characteristics and classification criteria ISO 7783:2011 Paints and varnishes -- Determination of water-vapour transmission properties -- Cup method ISO 7845:1985 Horizontal joints between load-bearing walls and concrete floors -- Laboratory mechanical tests -- Effect of vertical loading and of moments transmitted by the floors ISO 9882:1993 Performance standards in building -- Performance test for precast concrete floors -- Behaviour under non-concentrated load ISO 9883:1993 Performance standards in building -- Performance test for precast concrete floors -- Behaviour under concentrated load Tile ISO 10545-2:1995 Ceramic tiles -- Part 2: Determination of dimensions and surface quality ISO 10545-3:1995 Ceramic tiles -- Part 3: Determination of water absorption, apparent porosity, apparent relative density and bulk density ISO 10545-4:2014 Ceramic tiles -- Part 4: Determination of modulus of rupture and breaking strength |

# Precast - Performance Defects

## Water Penetration

| BS | BS 3811:1993 Glossary of terms used in terotechnology (Withdrawn)BS 3811:1993 Glossary of terms used in terotechnology (Withdrawn) BS 7543:2015 Guide to durability of buildings and building elements, products and components BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS EN 12350-1:2009 Testing fresh concrete. Sampling BS EN 12390-1:2012 Testing hardened concrete. Shape, dimensions and other requirements for specimens and moulds BS EN 12504-2:2012 Testing concrete in structures. Non-destructive testing. Determination of rebound number BS EN 1881:2006 Products and systems for the protection and repair of concrete structures. Test methods. Testing of anchoring products by the pull-out method PD 6697:2010 Recommendations for the design of masonry structures to BS EN 1996-1-1 and BS EN 1996-2/ BS EN 1996-3:2006 Eurocode 6. Design of masonry structures. Simplified calculation methods for unreinforced masonry structures/ BS EN 1996-2:2006 Eurocode 6. Design of masonry structures. Design considerations, selection of materials and execution of masonry/ BS EN 1996-1-2:2005 Eurocode 6. Design of masonry structures. General rules. Structural fire design BS 8221-1:2012 Code of practice for cleaning and surface repair of buildings. Cleaning of natural stone, brick, terracotta and concrete BS 8110: Design for Precast Facade BS 1881-122:2011 Testing concrete. Method for determination of water absorption BS 1881-208:1996 Testing concrete. Recommendations for the determination of the initial surface absorption of concrete BS 5642-1:1978+A1:2014 Sills, copings and cappings. Specification for window sills of precast concrete, cast stone, clayware, slate and natural stone BS 6073-2:2008 Precast concrete masonry units. Guide for specifying precast concrete masonry units BS 6093:2006+A1:2013 Design of joints and jointing in building construction. Guide BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS EN 1992-1-1:2004+A1:2014 Eurocode 2: Design of concrete structures. General rules and rules for buildings BS 8297:2000 Code of practice for Design and installation of non-loadbearing precast concrete cladding BS EN 1169:1999 Precast concrete products. General rules for factory production control of glass-fibre reinforced cement BS EN 1170-1:1998 Precast concrete products. Test method for glass-fibre reinforced cement. Measuring the consistency of the matrix. ‘Slump test’ method / BS EN 1170-2:1998 Precast concrete products. Test method for glass-fibre reinforced cement. Measuring the fibre content in fresh GRC, ‘Wash out test’ / BS EN 1170-3:1998 Precast concrete products. Test method for glass-fibre reinforced cement. Measuring the fibre content of sprayed GRC / BS EN 1170-4:1998 PRECAST CONCRETE PRODUCTS. TEST METHOD FOR GLASS-FIBRE REINFORCED CEMENT. MEASURING BENDING STRENGTH. ‘SIMPLIFIED BENDING TEST’ METHOD / BS EN 1170-5:1998 PRECAST CONCRETE PRODUCTS. TEST METHOD FOR GLASS-FIBRE REINFORCED CEMENT. MEASURING BENDING STRENGTH, “COMPLETE BENDING TEST” METHOD / BS EN 1170-6:1998 PRECAST CONCRETE PRODUCTS. TEST METHOD FOR GLASS-FIBRE REINFORCED CEMENT. DETERMINATION OF THE ABSORPTION OF WATER BY IMMERSION AND DETERMINATION OF THE DRY DENSITY / BS EN 1170-7:1998 PRECAST CONCRETE PRODUCTS. TEST METHOD FOR GLASS-FIBRE REINFORCED CEMENT. MEASUREMENT OF EXTREMES OF DIMENSIONAL VARIATIONS DUE TO MOISTURE CONTENT / BS EN 1170-8:2008 TEST METHOD FOR GLASS-FIBRE REINFORCED CEMENT. CYCLIC WEATHERING TYPE TEST BS EN 1992-1-1:2004+A1:2014 Eurocode 2: Design of concrete structures. General rules and rules for buildings BS EN 13369:2013 Common rules for precast concrete products BS EN 206:2013 Concrete. Specification, performance, production and conformity BS 5531:1988 Code of practice for safety in erecting structural frames (Withdrawn) BS 8221-2:2000 Code of practice for cleaning and surface repair of buildings. Surface repair of natural stones, brick and terracotta/ BS 8221-1:2012 Code of practice for cleaning and surface repair of buildings. Cleaning of natural stone, brick, terracotta and concrete BS EN 1992-1-1:2004+A1:2014 Eurocode 2: Design of concrete structures. General rules and rules for buildings BS 8297:2000 Code of practice for Design and installation of non-loadbearing precast concrete cladding CP 110 : Part 1 : 1972 Code of practice for the structural use of concrete. Design, materials and workmanship. CP 116:1969 The structural use of precast concrete (Withdrawn) |
| --- | --- |
| ASTM | ASTM C150 / C150M - 15 Standard Specification for Portland CementASTM C150 / C150M - 15 Standard Specification for Portland Cement ASTM C33 / C33M - 13 Standard Specification for Concrete Aggregates ASTM C597 - 09 Standard Test Method for Pulse Velocity Through Concrete ASTM C136 / C136M - 14 Standard Test Method for Sieve Analysis of Fine and Coarse Aggregates ASTM C642 - 13 Standard Test Method for Density, Absorption, and Voids in Hardened Concrete ASTM C805 / C805M - 13a Standard Test Method for Rebound Number of Hardened Concrete ASTM C1504 - 16 Standard Specification for Manufacture of Precast Reinforced Concrete Three-Sided Structures for Culverts and Storm Drains ASTM C1504M - 16 Standard Specification for Manufacture of Precast Reinforced Concrete Three-Sided Structures for Culverts and Storm Drains (Metric) ASTM C1479 - 13 Standard Practice for Installation of Precast Concrete Sewer, Storm Drain, and Culvert Pipe Using Standard Installations ASTM C1433 - 16a Standard Specification for Precast Reinforced Concrete Monolithic Box Sections for Culverts, Storm Drains, and Sewers ASTM C1433M - 16a Standard Specification for Precast Reinforced Concrete Monolithic Box Sections for Culverts, Storm Drains, and Sewers (Metric) ASTM C1386-07 Standard Specification for Precast Autoclaved Aerated Concrete (AAC) Wall Construction Units (Withdrawn 2013) ASTM C1227 - 13 Standard Specification for Precast Concrete Septic Tanks ASTM C1103 - 14 Standard Practice for Joint Acceptance Testing of Installed Precast Concrete Pipe Sewer Lines ASTM C1103M - 14 Standard Practice for Joint Acceptance Testing of Installed Precast Concrete Pipe Sewer Lines (Metric) ASTM C1037 - 08(2015) Standard Practice for Inspection of Underground Precast Concrete Utility Structures ASTM C990 - 09(2014) Standard Specification for Joints for Concrete Pipe, Manholes, and Precast Box Sections Using Preformed Flexible Joint Sealants ASTM C990M - 09(2014) Standard Specification for Joints for Concrete Pipe, Manholes, and Precast Box Sections Using Preformed Flexible Joint Sealants (Metric) ASTM C969 - 02(2009) Standard Practice for Infiltration and Exfiltration Acceptance Testing of Installed Precast Concrete Pipe Sewer Lines ASTM C969M - 02(2009) Standard Practice for Infiltration and Exfiltration Acceptance Testing of Installed Precast Concrete Pipe Sewer Lines (Metric) ASTM C915 - 79(2010) Standard Specification for Precast Reinforced Concrete Crib Wall Members ASTM C913 - 08 Standard Specification for Precast Concrete Water and Wastewater Structures ASTM C891 - 11 Standard Practice for Installation of Underground Precast Concrete Utility Structures ASTM C890 - 13 Standard Practice for Minimum Structural Design Loading for Monolithic or Sectional Precast Concrete Water and Wastewater Structures ASTM C877 - 08 Standard Specification for External Sealing Bands for Concrete Pipe, Manholes, and Precast Box Sections ASTM C877M - 02(2009) Standard Specification for External Sealing Bands for Concrete Pipe, Manholes, and Precast Box Sections (Metric) ASTM C858 - 10e1 Standard Specification for Underground Precast Concrete Utility Structures ASTM C857 - 14 Standard Practice for Minimum Structural Design Loading for Underground Precast Concrete Utility Structures ASTM C825 - 06(2011) Standard Specification for Precast Concrete Barriers ASTM C478 - 15a Standard Specification for Circular Precast Reinforced Concrete Manhole Sections ASTM C478M - 15a Standard Specification for Circular Precast Reinforced Concrete Manhole Sections (Metric) ASTM C901 - 10 Standard Specification for Prefabricated Masonry Panels ASTM C367 / C367M - 09 Standard Test Methods for Strength Properties of Prefabricated Architectural Acoustical Tile or Lay-In Ceiling Panels ASTM A934 / A934M - 16 Standard Specification for Epoxy-Coated Prefabricated Steel Reinforcing Bars ASTM D7116-05 Standard Specification for Joint Sealants, Hot Applied, Jet Fuel Resistant Types, for Portland Cement Concrete Pavements (Withdrawn 2012) ASTM C1077 - 16 Standard Practice for Agencies Testing Concrete and Concrete Aggregates for Use in Construction and Criteria for Testing Agency Evaluation ASTM E1857 - 97(2013)e1 Standard Guide for Selection of Cleaning Techniques for Masonry, Concrete, and Stucco Surfaces ASTM D6489 - 99(2012) Standard Test Method for Determining the Water Absorption of Hardened Concrete Treated With a Water Repellent Coating ASTM D6237 - 09(2015) Standard Guide for Painting Inspectors (Concrete and Masonry Substrates) ASTM D4258 - 05(2012) Standard Practice for Surface Cleaning Concrete for Coating ASTM D6690 - 15 Standard Specification for Joint and Crack Sealants, Hot Applied, for Concrete and Asphalt Pavements ASTM C1451 - 11 Standard Practice for Determining Uniformity of Ingredients of Concrete From a Single Source ASTM C1293 - 08b(2015) Standard Test Method for Determination of Length Change of Concrete Due to Alkali-Silica Reaction ASTM C1218 / C1218M - 15 Standard Test Method for Water-Soluble Chloride in Mortar and Concrete ASTM C1209-05e1 Standard Terminology of Concrete Masonry Units and Related Units (Withdrawn 2009) ASTM C1074 - 11 Standard Practice for Estimating Concrete Strength by the Maturity Method ASTM C1064 / C1064M - 12 Standard Test Method for Temperature of Freshly Mixed Hydraulic-Cement Concrete ASTM C1059 / C1059M - 13 Standard Specification for Latex Agents for Bonding Fresh To Hardened Concrete ASTM C939 / C939M - 16 Standard Test Method for Flow of Grout for Preplaced-Aggregate Concrete (Flow Cone Method) ASTM C905 - 01(2012) Standard Test Methods for Apparent Density of Chemical-Resistant Mortars, Grouts, Monolithic Surfacings, and Polymer Concretes ASTM C900 - 15 Standard Test Method for Pullout Strength of Hardened Concrete ASTM C856 - 14 Standard Practice for Petrographic Examination of Hardened Concrete ASTM C823 / C823M - 12 Standard Practice for Examination and Sampling of Hardened Concrete in Constructions ASTM C579 - 01(2012) Standard Test Methods for Compressive Strength of Chemical-Resistant Mortars, Grouts, Monolithic Surfacings, and Polymer Concretes ASTM C567 / C567M - 14 Standard Test Method for Determining Density of Structural Lightweight Concrete ASTM C512 / C512M - 15 Standard Test Method for Creep of Concrete in Compression ASTM C490 / C490M - 11e1 Standard Practice for Use of Apparatus for the Determination of Length Change of Hardened Cement Paste, Mortar, and Concrete ASTM C330 / C330M - 14 Standard Specification for Lightweight Aggregates for Structural Concrete ASTM C129 - 14a Standard Specification for Nonloadbearing Concrete Masonry Units ASTM A1064 / A1064M - 16 Standard Specification for Carbon-Steel Wire and Welded Wire Reinforcement, Plain and Deformed, for Concrete |
| AS | ASAS 1597.2-2013 Precast reinforced concrete box culverts - Large culverts (exceeding 1200 mm span or 1200 mm height and up to and including 4200 mm span and 4200 mm height)AS 1597.2-2013 Precast reinforced concrete box culverts - Large culverts (exceeding 1200 mm span or 1200 mm height and up to and including 4200 mm span and 4200 mm height) AS 1597.2-2013 Precast reinforced concrete box culverts - Large culverts (exceeding 1200 mm span or 1200 mm height and up to and including 4200 mm span and 4200 mm height) AS 3850.1:2015 Prefabricated concrete elements - General requirements AS 3850.2:2015 Prefabricated concrete elements - Building construction AS 3850-2003 Tilt-up concrete construction AS 1478.2-2005 Chemical admixtures for concrete, mortar and grout - Methods of sampling and testing admixtures for concrete, mortar and grout AS 2832.5-2002 Cathodic protection of metals - Steel in concrete structures AS 1012.1:2014 Methods of testing concrete - Sampling of concrete AS 1012.18-1996 (R2014) Methods of testing concrete - Determination of setting time of fresh concrete, mortar and grout by penetration resistance AS 1012.21-1999 (R2014) Methods of testing concrete - Determination of water absorption and apparent volume of permeable voids in hardened concrete AS 1012.3.1:2014 Methods of testing concrete - Determination of properties related to the consistency of concrete - Slump test AS 1012.3.2-1998 (R2014) Methods of testing concrete - Determination of properties related to the consistency of concrete - Compacting factor test AS 1012.3.3-1998 (R2014) Methods of testing concrete - Determination of properties related to the consistency of concrete - Vebe test AS 1012.3.4-1998 (R2014) Methods of testing concrete - Determination of properties related to the consistency of concrete - Compactibility index AS 1012.4.1:2014 Methods of testing concrete - Determination of air content of freshly mixed concrete - Measuring reduction in concrete volume with increased air pressure AS 1012.8.1:2014 Methods of testing concrete - Method for making and curing concrete - Compression and indirect tensile test specimens AS 1012.9-1999 Methods of testing concrete - Determination of the compressive strength of concrete specimens AS/NZS 4671:2001 Steel reinforcing materials AS 1302-1991/Amdt 1-1992 Steel reinforcing bars for concrete AS 1379-2007 Specification and supply of concrete AS 1379 Supp 1-2008 Specification and supply of concrete - Commentary (Supplement 1 to AS 1379 - 2007) AS 1418.15-1994/Amdt 1-1995 Cranes (including hoists and winches) - Concrete placing equipment AS 1478.1-2000 Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 3600-2009 Concrete structures AS 3600-2009 Supp 1:2014 Concrete structures - Commentary (Supplement to AS 3600-2009) AS 3600 Supp1-1994/Amdt 1-1996 Concrete structures - Commentary AS 3730.22-2006 Guide to the properties of paints for buildings - Concrete and masonry sealer - Solvent-borne - Interior/exterior AS/NZS 4548.5:1999 (R2013) Guide to long-life coatings for concrete and masonry - Guidelines to methods of test AS 1379-2007/Amdt 2-2015 Specification and supply of concrete CIA Concrete 1999 CIA Our Concrete Environment CIA CPN24-2005 Design of Joints in Concrete Structures HB 124-2007 Design and Construction of Concrete Masonry Buildings (CD-ROM) (Withdrawn) HB 64-2002 Guide to concrete construction HB 67-1995 Concrete practice on building sites HB 84-2006 Guide to Concrete Repair and Protection HB 64-2002 Guide to concrete construction CIA Z5-2010 Shotcreting in Australia CIA Z7/01-2014 Durability Planning/ CIA Z7/04-2014 Good Practice Through Design, Concrete Supply and Construction/ CIA Z7/07-2015 Performance Tests to Assess Concrete Durability CIA Z9-1999 CIA Curing of Concrete |
| SS | CP 81 : 1999 Code of practice for precast concrete slab and wall panels SS 76 : 1972 Precast concrete blocks (Withdrawn) SS 271 : 1983 Concrete masonry units (for non-loadbearing applications) SS 214 : 2009 Specification for precast concrete kerbs CP 65 - 1 : 1999 Code of practice for structural use of concrete - Design and construction CP 65 - 2 : 1996 Code of practice for structural use of concrete - Special circumstances SS 509 - 2 : 2005 (2015) Code of practice for cleaning and surface repair of buildings - Surface repair of natural stones, brick, terracotta and rendered finishes CP 82 : 1999 Code of practice for waterproofing of reinforced concrete buildings SS EN 12620 : 2008 Specification for aggregates for concrete SS 78 - 5 : 1972 Testing concrete - Methods of testing hardened concrete for other than strength (Withdrawn - 11 Oct 2012) SS 78 - A1 : 1987 Testing concrete - Method of sampling fresh concrete on site (Withdrawn - 24 Jun 2011) SS 78 - A11 : 1987 Testing concrete - Method of normal curing of test specimens (27oC method) (Withdrawn - 24 Jun 2011) SS 78 - A15 : 1987 Testing concrete - Methods for determination of density of hardened concrete (Withdrawn - 24 Jun 2011) SS 78 - A16 : 1987 Testing concrete - Method for determination of compressive strength of concrete (Withdrawn - 24 Jun 2011) SS 78 - A17 : 1987 Testing concrete - Method for determination of tensile splitting strength (Withdrawn - 24 Jun 2011) SS 78 - A18 : 1987 Testing concrete - Method for determination of flexural strength (SS 78 - A18 : 1987) SS 78 - A19 : 1987 Testing concrete - Method for determination of compressive strength using portions of beams broken in flexure (Withdrawn - 11 Oct 2012) SS 78 - A2 : 1987 Testing concrete - Method for determination of slump SS 78 - A22 : 1987 Testing concrete - Method for determination of water absorption (Withdrawn - 11 Oct 2012) SS 78 - A24 : 1991 (2013) Testing concrete - Methods of analysis of hardened concrete SS 78 - A6 : 1987 Testing concrete - Method for determination of air content of fresh concrete (Withdrawn - 24 Jun 2011) SS 78 - B1 : 1992 (2013) Testing concrete - Guide to the use of non-destructive methods of test for hardened concrete. SS EN 206 : 2014 Concrete. Specification, performance, production and conformity SS 544 - 1 : 2014 Concrete – Complementary Singapore Standard to SS EN 206 – Part 1: Method of specifying and guidance for the specifier ##### SS 544 - 2 : 2014 Concrete – Complementary Singapore Standard to SS EN 206 – Part 2: Specification for constituent materials and concrete |
| ISO | ISO 1920-1:2004 Testing of concrete -- Part 1: Sampling of fresh concrete/ ISO 1920-3:2004 Testing of concrete - Part 3: Making and curing test specimens ISO 3893:1977 Concrete -- Classification by compressive strength ISO 4103:1979 Concrete -- Classification of consistency (Withdrawn)ISO 4103:1979 Concrete -- Classification of consistency (Withdrawn) ISO 6274:1982 Concrete -- Sieve analysis of aggregates ISO 6935-1:2007 Steel for the reinforcement of concrete -- Part 1: Plain bars ISO 6935-2:2015 Steel for the reinforcement of concrete -- Part 2: Ribbed bars ISO 6935-3:1992 Steel for the reinforcement of concrete -- Part 3: Welded fabric ISO 14656:1999 Epoxy powder and sealing material for the coating of steel for the reinforcement of concrete ISO 14655:1999 Epoxy-coated strand for the prestressing of concrete. ISO 9882:1993 Performance standards in building -- Performance test for precast concrete floors -- Behaviour under non-concentrated load ISO 9883:1993 Performance standards in building -- Performance test for precast concrete floors -- Behaviour under concentrated load ISO 10144:1991 Certification scheme for steel bars and wires for the reinforcement of concrete structures ISO 1920-3:2004 Testing of concrete -- Part 3: Making and curing test specimens ISO 1920-1:2004 Testing of concrete -- Part 1: Sampling of fresh concrete ISO 1920-4:2005 Testing of concrete -- Part 4: Strength of hardened concrete ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 1920-5:2004 Testing of concrete -- Part 5: Properties of hardened concrete other than strength ISO 6783:1982 Coarse aggregates for concrete -- Determination of particle density and water absorption -- Hydrostatic balance method ISO 6934-1:1991 Steel for the prestressing of concrete -- Part 1: General requirements ISO 6935-1:2007 Steel for the reinforcement of concrete -- Part 1: Plain bars ISO 6935-2:2015 Steel for the reinforcement of concrete -- Part 2: Ribbed bars ISO 7033:1987 Fine and coarse aggregates for concrete -- Determination of the particle mass-per-volume and water absorption -- Pycnometer method ISO 7729:1985 Typical vertical joints between two prefabricated ordinary concrete external wall components -- Properties, characteristics and classification criteria ISO 7783:2011 Paints and varnishes -- Determination of water-vapour transmission properties -- Cup method ISO 7845:1985 Horizontal joints between load-bearing walls and concrete floors -- Laboratory mechanical tests -- Effect of vertical loading and of moments transmitted by the floors ISO 9882:1993 Performance standards in building -- Performance test for precast concrete floors -- Behaviour under non-concentrated load ISO 9883:1993 Performance standards in building -- Performance test for precast concrete floors -- Behaviour under concentrated load. |

# Cladding & Curtainwall

## METAL

## Dirt Staining - Misalignment of Joints

| BS | BS EN ISO 1461:2009 Hot dip galvanized coatings on fabricated iron and steel articles. Specifications and test methods BS EN ISO 18286:2010 Hot-rolled stainless steel plates. Tolerances on dimensions and shape / BS EN 10029:2010 Hot-rolled steel plates 3 mm thick or above. Tolerances on dimensions and shape / BS EN ISO 9445-1:2010 Continuously cold-rolled stainless steel. Tolerances on dimensions and form. Narrow strip and cut lengths / BS EN ISO 9445-2:2010 Continuously cold-rolled stainless steel. Tolerances on dimensions and form. Wide strip and plate/sheet / BS EN 10048:1997 Hot rolled narrow steel strip. Tolerances on dimensions and shape / BS EN 10095:1999 Heat resisting steels and nickel alloys / BS EN 10051:2010 Continuously hot-rolled strip and plate/sheet cut from wide strip of non-alloy and alloy steels. Tolerances on dimensions and shape BS EN 515:1993 Aluminium and aluminium alloys. Wrought products. Temper designations / BS EN 485-3:2003 Aluminium and aluminium alloys. Sheet, strip and plate. Tolerances on dimensions and form for hot-rolled products / BS EN 573-3:2013 Aluminium and aluminium alloys. Chemical composition and form of wrought products. Chemical composition and form of products / BS EN 573-2:1995 Aluminium and aluminium alloys. Chemical composition and form of wrought products. Chemical symbol based designation system / BS EN 485-2:2013 Aluminium and aluminium alloys. Sheet, strip and plate. Mechanical properties BS 6161-14:1987 Methods of test for anodic oxidation coatings on aluminium and its alloys. Determination of infra-red reflectance (WIthdrawn) (Withdrawn) / BS EN ISO 8251:2011 Anodizing of aluminium and its alloys. Measurement of abrasion resistance of anodic oxidation coatings / BS EN ISO 7668:2010 Anodizing of aluminium and its alloys. Measurement of specular reflectance and specular gloss of anodic oxidation coatings at angles of 20 degrees, 45 degrees, 60 degrees or 85 degrees / BS EN ISO 2376:2010 Anodizing of aluminium and its alloys. Determination of electric breakdown potential / BS EN ISO 7599:2010 Anodizing of aluminium and its alloys. General specifications for anodic oxidation coatings on aluminium / BS EN ISO 8251:2011 Anodizing of aluminium and its alloys. Measurement of abrasion resistance of anodic oxidation coatings BS EN ISO 1463:2004 Metallic and oxide coatings. Measurement of coating thickness. Microscopical method BS EN ISO 17834:2003 Thermal spraying. Coatings for protection against corrosion and oxidation at elevated temperatures BS EN 10346:2015 Continuously hot-dip coated steel flat products for cold forming. Technical delivery conditions / BS EN 10346:2015 Continuously hot-dip coated steel flat products for cold forming. Technical delivery conditions / BS EN 10143:2006 Continuously hot-dip coated steel sheet and strip. Tolerances on dimensions and shape BS EN ISO 28722:2011 Vitreous and porcelain enamels. Characteristics of enamel coatings applied to steel panels intended for architecture BS 3811:1993 Glossary of terms used in terotechnology (Withdrawn) BS 3987:1991 Specification for anodic oxidation coatings on wrought aluminium for external architectural applications BS EN ISO 11600:2003+A1:2011 Building construction. Jointing products. Classification and requirements for sealants BS 4255-1:1986 Rubber used in preformed gaskets for weather exclusion from buildings. Specification for non-cellular gaskets BS 4842:1984 Specification for liquid organic coatings for application to aluminium alloy extrusions, sheet and preformed sections for external architectural purposes, and for the finish on aluminium alloy extrusions, sheet and preformed sections coated w ith liquid organic coatings BS 4868:1972 Specification for profiled aluminium sheet for building BS 4900:1976 Specification for vitreous enamel colours for building purposes BS 4904:1978 Specification for external cladding colours for building purposes BS EN ISO 4516:2002 Metallic and other inorganic coatings. Vickers and Knoop microhardness tests BS 5427:2016 Code of practice for the use of profiled sheet for roof and wall cladding on buildings BS EN ISO 12944-1:1998 Paints and varnishes. Corrosion protection of steel structures by protective paint systems. General introduction / BS EN ISO 12944-3:1998 Paints and varnishes. Corrosion protection of steel structures by protective paint systems. Design considerations / BS EN ISO 12944-4:1998 Paints and varnishes. Corrosion protection of steel structures by protective paint systems. Types of surface and surface preparation / BS EN ISO 12944-5:2007 Paints and varnishes. Corrosion protection of steel structures by protective paint systems. Protective paint systems / BS EN ISO 12944-6:1998 Paints and varnishes. Corrosion protection of steel structures by protective paint systems. Laboratory performance test methods / BS EN ISO 12944-7:1998 Paints and varnishes. Corrosion protection of steel structures by protective paint systems. Execution and supervision of paintwork / BS EN ISO 12944-8:1998 Paints and varnishes. Corrosion protection of steel structures by protective paint systems. Development of specifications for new work and maintenance / BS EN ISO 12944-2:1998 Paints and varnishes. Corrosion protection of steel structures by protective paint systems. Classification of environments / BS EN ISO 14713-1:2009 Zinc coatings. Guidelines and recommendations for the protection against corrosion of iron and steel in structures. General principles of design and corrosion resistance / BS EN ISO 14713-2:2009 Zinc coatings. Guidelines and recommendations for the protection against corrosion of iron and steel in structures. Hot dip galvanizing / BS EN ISO 14713-3:2009 Zinc coatings. Guidelines and recommendations for the protection against corrosion of iron and steel in structures. Sherardizing BS EN 1993-1-3:2006 Eurocode 3. Design of steel structures. General rules. Supplementary rules for cold-formed members and sheeting BS 6093:2006+A1:2013 Design of joints and jointing in building construction. Guide BS 6100-6:2008 Building and civil engineering. Vocabulary. Construction parts BS ISO 2135:2010 Anodizing of aluminium and its alloys. Accelerated test of light fastness of coloured anodic oxidation coatings using artificial light BS 6161-11:1985 Methods of test for anodic oxidation coatings on aluminium and its alloys. Measurement of total reflectance using a photoelectric reflectometer (Withdrawn) BS EN ISO 2376:2010 Anodizing of aluminium and its alloys. Determination of electric breakdown potential BS EN ISO 8993:2010 Anodizing of aluminium and its alloys. Rating system for the evaluation of pitting corrosion. Chart method BS EN ISO 8994:2011 Anodizing of aluminium and its alloys. Rating system for the evaluation of pitting corrosion. Grid method BS 6161-14:1987 Methods of test for anodic oxidation coatings on aluminium and its alloys. Determination of infra-red reflectance (WIthdrawn) BS 6161-18:1991 Methods of test for anodic oxidation coatings on aluminium and its alloys. Determination of surface abrasion resistance BS 6213:2000+A1:2010 Selection of construction sealants. Guide BS 6496:1984 Specification for powder organic coatings for application and stoving to aluminium alloy extrusions, sheet and preformed sections for external architectural purposes, and for the finish on aluminium alloy extrusions, sheet and preformed sections BS EN 13438:2013 Paints and varnishes. Powder organic coatings for hot dip galvanised or sherardised steel products for construction purposes BS 6915:2001+A1:2014 Design and construction of fully supported lead sheet roof and wall coverings. Code of practice BS 7543:2015 Guide to durability of buildings and building elements, products and components BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS EN 1999-1-4:2007+A1:2011 Eurocode 9. Design of aluminium structures. Cold-formed structural sheeting / BS EN 1999-1-3:2007+A1:2011 Eurocode 9. Design of aluminium structures. Structures susceptible to fatigue / BS EN 1999-1-1:2007+A2:2013 Eurocode 9: Design of aluminium structures. General structural rules BS EN 1999-1-1:2007+A2:2013 Eurocode 9: Design of aluminium structures. General structural rules CP 143-1:1958 Code of practice for sheet roof and wall coverings. Aluminium, corrugated and troughed CP 143-10:1973 Code of practice for sheet roof and wall coverings. Code of practice for sheet roof and wall coverings. Galvanized corrugated steel. Metric units CP 143-12:1970 Code of practice for sheet roof and wall coverings. Code of practice for sheet roof and wall coverings. Copper. Metric units CP 143-15:1973 Code of practice for sheet roof and wall coverings. Code of practice for sheet roof and wall coverings. Aluminium. Metric units BS EN 1172:2011 Copper and copper alloys. Sheet and strip for building purposes BS EN 2004-5:1993 Test methods for aluminium and aluminium alloy products. Determination of cladding thickness and copper diffusion of clad semi-finished products BS EN ISO 18286:2010 Hot-rolled stainless steel plates. Tolerances on dimensions and shape / BS EN 10029:2010 Hot-rolled steel plates 3 mm thick or above. Tolerances on dimensions and shape BS EN 10169:2010+A1:2012 Continuously organic coated (coil coated) steel flat products. Technical delivery conditionsContinuously organic coated (coil coated) steel flat products. Technical delivery conditions BS EN 12153:2000 Curtain walling. Air permeability. Test method BS EN 12154:2000 Curtain walling. Watertightness. Performance requirements and classification BS EN 12155:2000 Curtain walling. Watertightness. Laboratory test under static pressure BS EN 12179:2000 Curtain walling. Resistance to wind load. Test method BS EN 12588:2006 Lead and lead alloys. Rolled lead sheet for building purposes BS EN 13050:2011 Curtain Walling. Watertightness. Laboratory test under dynamic condition of air pressure and water spray BS EN 13051:2001 Curtain walling. Watertightness. Site test BS EN 13116:2001 Curtain walling. Resistance to wind load. Performance requirements |
| --- | --- |
| ASTM | ASTM B137 - 95(2014) Standard Test Method for Measurement of Coating Mass Per Unit Area on Anodically Coated Aluminum ASTM B244 - 09(2014) Standard Test Method for Measurement of Thickness of Anodic Coatings on Aluminum and of Other Nonconductive Coatings on Nonmagnetic Basis Metals with Eddy-Current Instruments ASTM B580 - 79(2014) Standard Specification for Anodic Oxide Coatings on Aluminum ASTM B659 - 90(2014) Standard Guide for Measuring Thickness of Metallic and Inorganic Coatings ASTM B680 - 80(2014) Standard Test Method for Seal Quality of Anodic Coatings on Aluminum by Acid Dissolution ASTM B767 - 88(2010) Standard Guide for Determining Mass Per Unit Area of Electrodeposited and Related Coatings by Gravimetric and Other Chemical Analysis Procedures ASTM C509 - 06(2015) Standard Specification for Elastomeric Cellular Preformed Gasket and Sealing Material ASTM C717 - 14a Standard Terminology of Building Seals and Sealants ASTM C1401 - 14 Standard Guide for Structural Sealant Glazing ASTM C1392 - 00(2014) Standard Guide for Evaluating Failure of Structural Sealant Glazing ASTM D523 - 14 Standard Test Method for Specular Gloss ASTM D610 - 08(2012) Standard Practice for Evaluating Degree of Rusting on Painted Steel Surfaces ASTM D968 - 15 Standard Test Methods for Abrasion Resistance of Organic Coatings by Falling Abrasive ASTM D1654 - 08 Standard Test Method for Evaluation of Painted or Coated Specimens Subjected to Corrosive Environments ASTM D2247 - 15 Standard Practice for Testing Water Resistance of Coatings in 100 % Relative HumidityASTM D2244 - 15a Standard Practice for Calculation of Color Tolerances and Color Differences from Instrumentally Measured Color Coordinates ASTM D2247 - 15 Standard Practice for Testing Water Resistance of Coatings in 100 % Relative Humidity ASTM D2794 - 93(2010) Standard Test Method for Resistance of Organic Coatings to the Effects of Rapid Deformation (Impact) ASTM E1592 - 05(2012) Standard Test Method for Structural Performance of Sheet Metal Roof and Siding Systems by Uniform Static Air Pressure Difference ASTM E283 - 04(2012) Standard Test Method for Determining Rate of Air Leakage Through Exterior Windows, Curtain Walls, and Doors Under Specified Pressure Differences Across the Specimen ASTM E376 - 11 Standard Practice for Measuring Coating Thickness by Magnetic-Field or Eddy-Current (Electromagnetic) Testing Methods ASTM E1424 - 91(2008) Standard Test Method for Determining the Rate of Air Leakage Through Exterior Windows, Curtain Walls, and Doors Under Specified Pressure and Temperature Differences Across the Specimen ASTM E1233 / E1233M - 14 Standard Test Method for Structural Performance of Exterior Windows, Doors, Skylights, and Curtain Walls by Cyclic Air Pressure Differential ASTM E1105 - 15 Standard Test Method for Field Determination of Water Penetration of Installed Exterior Windows, Skylights, Doors, and Curtain Walls, by Uniform or Cyclic Static Air Pressure Difference ASTM E547 - 00(2009) Standard Test Method for Water Penetration of Exterior Windows, Skylights, Doors, and Curtain Walls by Cyclic Static Air Pressure Difference ASTM E331 - 00(2009) Standard Test Method for Water Penetration of Exterior Windows, Skylights, Doors, and Curtain Walls by Uniform Static Air Pressure Difference ASTM E330 / E330M - 14 Standard Test Method for Structural Performance of Exterior Windows, Doors, Skylights and Curtain Walls by Uniform Static Air Pressure Difference ASTM E1996 - 14a Standard Specification for Performance of Exterior Windows, Curtain Walls, Doors, and Impact Protective Systems Impacted by Windborne Debris in Hurricanes ASTM E998 - 12 Standard Test Method for Structural Performance of Glass in Windows, Curtain Walls, and Doors Under the Influence of Uniform Static Loads by Nondestructive Method ASTM E1886 - 13a Standard Test Method for Performance of Exterior Windows, Curtain Walls, Doors, and Impact Protective Systems Impacted by Missile(s) and Exposed to Cyclic Pressure Differentials ASTM E997 - 15 Standard Test Method for Evaluating Glass Breakage Probability Under the Influence of Uniform Static Loads by Proof Load Testing |
| AS | AS 1562.1-1992 Design and installation of sheet roof and wall cladding - Metal AS 1562.1-1992/Amdt 1-1993 Design and installation of sheet roof and wall cladding – Metal AS 1562.1-1992/Amdt 2-1995 Design and installation of sheet roof and wall cladding – Metal AS 1562.1-1992/Amdt 3-2012 Design and installation of sheet roof and wall cladding - Metal AS 4040.0-1992 Methods of testing sheet roof and wall cladding - Introduction, list of methods and general requirements AS 4040.1-1992 Methods of testing sheet roof and wall cladding - Resistance to concentrated loads AS 4040.2-1992 Methods of testing sheet roof and wall cladding - Resistance to wind pressures for non-cyclone regions AS 4040.4-2006 Methods of testing sheet roof and wall cladding - Resistance to impact (sandbag) - Sheet roof materials AS/NZS 4040.5:1996 Methods of testing sheet roof and wall cladding - Resistance to impact (sandbag) for wall boards SA HB 39:2015 Installation code for metal roof and wall cladding HB 39 Supp 1-1997 (CD-ROM) Installation code for metal roof and wall cladding – Multimedia guide on CD-ROM (Supplement to SAA HB39-1997) (Withdrawn 15 Apr 2004). |
| SS | SS 381 : 1996 (2007) Materials and performance tests for aluminium curtain walls |
| ISO | BS EN ISO 2177:2004 Metallic coatings. Measurement of coating thickness. Coulometric method by anodic dissolution BS EN ISO 2178:2016 Non-magnetic coatings on magnetic substrates. Measurement of coating thickness. Magnetic method BS EN ISO 2360:2003 Non-conductive coatings on non-magnetic electrically conductive basis materials. Measurement of coating thickness. Amplitude-sensitive eddy current method BS EN ISO 2819:1995 Metallic coatings on metallic substrates. Electrodeposited and chemically deposited coatings. Review of methods available for testing adhesion BS EN ISO 3882:2003 Metallic and other inorganic coatings. Review of methods of measurement of thickness BS EN ISO 4518:1995 Metallic coatings. Measurement of coating thickness. Profilometric method BS EN ISO 8401:1995 Metallic coatings. Review of methods of measurement of ductility BS EN ISO 9220:1995 Metallic coatings. Measurement of coating thickness. Scanning electron microscope method |

## Dirt Staining - Biological Staining

## Dirt Staining – Ledges

## Dirt Staining - Protrusions

## Dirt Staining - Slanted joints

## Dirt Staining - Louvres

## Dirt Staining - Fixtures

## Dirt Staining - Rounded Louver Units

## Dirt Staining - Design feature

## Dirt Staining - Staining due to Joint Design

## Dirt Staining - Staining from cracks

## Corrosion - Deterioration of coating

## Corrosion - Exposure of base metal

## Chipping - Chip-off

## Chipping - Dentures

## Chipping - Scratches And Abrasions

## Sealant Deterioration - Crazing and hardening

## Sealant Deterioration - Incompatibility of sealant

## Sealant Deterioration - Backer rod incorrectly fixed

## Sealant Deterioration - Mould contamination

## Sealant Deterioration - Incorrect sealant joint dimension

## Sealant Deterioration - Flushed sealant joint

## Sealant Staining

## Discolouration - Erosion by rainwater

## Discolouration - Exposure to atmospheric conditions

## Discolouration – Decolouration

## Discolouration - Abrasive cleaning actions

## Colour Inconsistency: Fabrication inconsistency

## Colour Inconsistency: Different orientation during painting

| BS | BS EN ISO 1463:2004 Metallic and oxide coatings. Measurement of coating thickness. Microscopical method BS EN ISO 17834:2003 Thermal spraying. Coatings for protection against corrosion and oxidation at elevated temperatures BS 3811:1993 Glossary of terms used in terotechnology (Withdrawn) BS EN ISO 11600:2003+A1:2011 Building construction. Jointing products. Classification and requirements for sealants BS 4255-1:1986 Rubber used in preformed gaskets for weather exclusion from buildings. Specification for non-cellular gaskets BS 4868:1972 Specification for profiled aluminium sheet for building BS 4900:1976 Specification for vitreous enamel colours for building purposes BS 4904:1978 Specification for external cladding colours for building purposes BS EN ISO 4516:2002 Metallic and other inorganic coatings. Vickers and Knoop microhardness tests BS 5427:2016 Code of practice for the use of profiled sheet for roof and wall cladding on buildings BS EN ISO 12944-1:1998 Paints and varnishes. Corrosion protection of steel structures by protective paint systems. General introduction / BS EN ISO 12944-3:1998 Paints and varnishes. Corrosion protection of steel structures by protective paint systems. Design considerations / BS EN ISO 12944-4:1998 Paints and varnishes. Corrosion protection of steel structures by protective paint systems. Types of surface and surface preparation / BS EN ISO 12944-5:2007 Paints and varnishes. Corrosion protection of steel structures by protective paint systems. Protective paint systems / BS EN ISO 12944-6:1998 Paints and varnishes. Corrosion protection of steel structures by protective paint systems. Laboratory performance test methods / BS EN ISO 12944-7:1998 Paints and varnishes. Corrosion protection of steel structures by protective paint systems. Execution and supervision of paintwork / BS EN ISO 12944-8:1998 Paints and varnishes. Corrosion protection of steel structures by protective paint systems. Development of specifications for new work and maintenance / BS EN ISO 12944-2:1998 Paints and varnishes. Corrosion protection of steel structures by protective paint systems. Classification of environments / BS EN ISO 14713-1:2009 Zinc coatings. Guidelines and recommendations for the protection against corrosion of iron and steel in structures. General principles of design and corrosion resistance / BS EN ISO 14713-2:2009 Zinc coatings. Guidelines and recommendations for the protection against corrosion of iron and steel in structures. Hot dip galvanizing / BS EN ISO 14713-3:2009 Zinc coatings. Guidelines and recommendations for the protection against corrosion of iron and steel in structures. Sherardizing BS EN 1993-1-3:2006 Eurocode 3. Design of steel structures. General rules. Supplementary rules for cold-formed members and sheeting BS 6093:2006+A1:2013 Design of joints and jointing in building construction. Guide BS 6100-6:2008 Building and civil engineering. Vocabulary. Construction parts BS ISO 2135:2010 Anodizing of aluminium and its alloys. Accelerated test of light fastness of coloured anodic oxidation coatings using artificial light BS 6161-11:1985 Methods of test for anodic oxidation coatings on aluminium and its alloys. Measurement of total reflectance using a photoelectric reflectometer (Withdrawn) BS EN ISO 2376:2010 Anodizing of aluminium and its alloys. Determination of electric breakdown potential BS EN ISO 8993:2010 Anodizing of aluminium and its alloys. Rating system for the evaluation of pitting corrosion. Chart method BS EN ISO 8994:2011 Anodizing of aluminium and its alloys. Rating system for the evaluation of pitting corrosion. Grid method BS 6161-14:1987 Methods of test for anodic oxidation coatings on aluminium and its alloys. Determination of infra-red reflectance (WIthdrawn) BS 6161-18:1991 Methods of test for anodic oxidation coatings on aluminium and its alloys. Determination of surface abrasion resistance BS 6213:2000+A1:2010 Selection of construction sealants. Guide BS 6496:1984 Specification for powder organic coatings for application and stoving to aluminium alloy extrusions, sheet and preformed sections for external architectural purposes, and for the finish on aluminium alloy extrusions, sheet and preformed sections BS 6915:2001+A1:2014 Design and construction of fully supported lead sheet roof and wall coverings. Code of practice BS 7543:2015 Guide to durability of buildings and building elements, products and components BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS EN 1999-1-4:2007+A1:2011 Eurocode 9. Design of aluminium structures. Cold-formed structural sheeting / BS EN 1999-1-3:2007+A1:2011 Eurocode 9. Design of aluminium structures. Structures susceptible to fatigue / BS EN 1999-1-1:2007+A2:2013 Eurocode 9: Design of aluminium structures. General structural rules BS EN 1999-1-1:2007+A2:2013 Eurocode 9: Design of aluminium structures. General structural rules CP 143-1:1958 Code of practice for sheet roof and wall coverings. Aluminium, corrugated and troughed CP 143-10:1973 Code of practice for sheet roof and wall coverings. Code of practice for sheet roof and wall coverings. Galvanized corrugated steel. Metric units CP 143-12:1970 Code of practice for sheet roof and wall coverings. Code of practice for sheet roof and wall coverings. Copper. Metric units CP 143-15:1973 Code of practice for sheet roof and wall coverings. Code of practice for sheet roof and wall coverings. Aluminium. Metric units BS EN 1172:2011 Copper and copper alloys. Sheet and strip for building purposes BS EN 2004-5:1993 Test methods for aluminium and aluminium alloy products. Determination of cladding thickness and copper diffusion of clad semi-finished products BS EN ISO 18286:2010 Hot-rolled stainless steel plates. Tolerances on dimensions and shape / BS EN 10029:2010 Hot-rolled steel plates 3 mm thick or above. Tolerances on dimensions and shape BS EN 10169:2010+A1:2012 Continuously organic coated (coil coated) steel flat products. Technical delivery conditionsContinuously organic coated (coil coated) steel flat products. Technical delivery conditions BS EN 12153:2000 Curtain walling. Air permeability. Test method BS EN 12154:2000 Curtain walling. Watertightness. Performance requirements and classification BS EN 12155:2000 Curtain walling. Watertightness. Laboratory test under static pressure BS EN 12179:2000 Curtain walling. Resistance to wind load. Test method BS EN 12588:2006 Lead and lead alloys. Rolled lead sheet for building purposes BS EN 13050:2011 Curtain Walling. Watertightness. Laboratory test under dynamic condition of air pressure and water spray BS EN 13051:2001 Curtain walling. Watertightness. Site test BS EN 13116:2001 Curtain walling. Resistance to wind load. Performance requirements |
| --- | --- |
| ASTM | ASTM B137 - 95(2014) Standard Test Method for Measurement of Coating Mass Per Unit Area on Anodically Coated Aluminum ASTM B244 - 09(2014) Standard Test Method for Measurement of Thickness of Anodic Coatings on Aluminum and of Other Nonconductive Coatings on Nonmagnetic Basis Metals with Eddy-Current Instruments ASTM B580 - 79(2014) Standard Specification for Anodic Oxide Coatings on Aluminum ASTM B659 - 90(2014) Standard Guide for Measuring Thickness of Metallic and Inorganic Coatings ASTM B680 - 80(2014) Standard Test Method for Seal Quality of Anodic Coatings on Aluminum by Acid Dissolution ASTM B767 - 88(2010) Standard Guide for Determining Mass Per Unit Area of Electrodeposited and Related Coatings by Gravimetric and Other Chemical Analysis Procedures ASTM C509 - 06(2015) Standard Specification for Elastomeric Cellular Preformed Gasket and Sealing Material ASTM C717 - 14a Standard Terminology of Building Seals and Sealants ASTM C1401 - 14 Standard Guide for Structural Sealant Glazing ASTM C1392 - 00(2014) Standard Guide for Evaluating Failure of Structural Sealant Glazing ASTM D523 - 14 Standard Test Method for Specular Gloss ASTM D610 - 08(2012) Standard Practice for Evaluating Degree of Rusting on Painted Steel Surfaces ASTM D968 - 15 Standard Test Methods for Abrasion Resistance of Organic Coatings by Falling Abrasive ASTM D1654 - 08 Standard Test Method for Evaluation of Painted or Coated Specimens Subjected to Corrosive Environments ASTM D2247 - 15 Standard Practice for Testing Water Resistance of Coatings in 100 % Relative HumidityASTM D2244 - 15a Standard Practice for Calculation of Color Tolerances and Color Differences from Instrumentally Measured Color Coordinates ASTM D2247 - 15 Standard Practice for Testing Water Resistance of Coatings in 100 % Relative Humidity ASTM D2794 - 93(2010) Standard Test Method for Resistance of Organic Coatings to the Effects of Rapid Deformation (Impact) ASTM E1592 - 05(2012) Standard Test Method for Structural Performance of Sheet Metal Roof and Siding Systems by Uniform Static Air Pressure Difference ASTM E283 - 04(2012) Standard Test Method for Determining Rate of Air Leakage Through Exterior Windows, Curtain Walls, and Doors Under Specified Pressure Differences Across the Specimen ASTM E376 - 11 Standard Practice for Measuring Coating Thickness by Magnetic-Field or Eddy-Current (Electromagnetic) Testing Methods ASTM E1424 - 91(2008) Standard Test Method for Determining the Rate of Air Leakage Through Exterior Windows, Curtain Walls, and Doors Under Specified Pressure and Temperature Differences Across the Specimen ASTM E1233 / E1233M - 14 Standard Test Method for Structural Performance of Exterior Windows, Doors, Skylights, and Curtain Walls by Cyclic Air Pressure Differential ASTM E1105 - 15 Standard Test Method for Field Determination of Water Penetration of Installed Exterior Windows, Skylights, Doors, and Curtain Walls, by Uniform or Cyclic Static Air Pressure Difference ASTM E547 - 00(2009) Standard Test Method for Water Penetration of Exterior Windows, Skylights, Doors, and Curtain Walls by Cyclic Static Air Pressure Difference ASTM E331 - 00(2009) Standard Test Method for Water Penetration of Exterior Windows, Skylights, Doors, and Curtain Walls by Uniform Static Air Pressure Difference ASTM E330 / E330M - 14 Standard Test Method for Structural Performance of Exterior Windows, Doors, Skylights and Curtain Walls by Uniform Static Air Pressure Difference ASTM E1996 - 14a Standard Specification for Performance of Exterior Windows, Curtain Walls, Doors, and Impact Protective Systems Impacted by Windborne Debris in Hurricanes ASTM E998 - 12 Standard Test Method for Structural Performance of Glass in Windows, Curtain Walls, and Doors Under the Influence of Uniform Static Loads by Nondestructive Method ASTM E1886 - 13a Standard Test Method for Performance of Exterior Windows, Curtain Walls, Doors, and Impact Protective Systems Impacted by Missile(s) and Exposed to Cyclic Pressure Differentials ASTM E997 - 15 Standard Test Method for Evaluating Glass Breakage Probability Under the Influence of Uniform Static Loads by Proof Load Testing |
| AS | S 1562.1-1992 Design and installation of sheet roof and wall cladding - Metal AS 1562.1-1992/Amdt 1-1993 Design and installation of sheet roof and wall cladding – Metal AS 1562.1-1992/Amdt 2-1995 Design and installation of sheet roof and wall cladding – Metal AS 1562.1-1992/Amdt 3-2012 Design and installation of sheet roof and wall cladding - MetalAS 4040.0-1992 Methods of testing sheet roof and wall cladding - Introduction, list of methods and general requirementsAS 4040.1-1992 Methods of testing sheet roof and wall cladding - Resistance to concentrated loadsAS 4040.2-1992 Methods of testing sheet roof and wall cladding - Resistance to wind pressures for non-cyclone regionsAS 4040.4-2006 Methods of testing sheet roof and wall cladding - Resistance to impact (sandbag) - Sheet roof materialsAS/NZS 4040.5:1996 Methods of testing sheet roof and wall cladding - Resistance to impact (sandbag) for wall boardsSA HB 39:2015 Installation code for metal roof and wall claddingHB 39 Supp 1-1997 (CD-ROM) Installation code for metal roof and wall cladding – Multimedia guide on CD-ROM (Supplement to SAA HB39-1997) (Withdrawn 15 Apr 2004) |
| SS | SS 381 : 1996 (2007) Materials and performance tests for aluminium curtain walls |
| ISO | BS EN ISO 2177:2004 Metallic coatings. Measurement of coating thickness. Coulometric method by anodic dissolution BS EN ISO 2178:2016 Non-magnetic coatings on magnetic substrates. Measurement of coating thickness. Magnetic method BS EN ISO 2360:2003 Non-conductive coatings on non-magnetic electrically conductive basis materials. Measurement of coating thickness. Amplitude-sensitive eddy current method BS EN ISO 2819:1995 Metallic coatings on metallic substrates. Electrodeposited and chemically deposited coatings. Review of methods available for testing adhesion BS EN ISO 3882:2003 Metallic and other inorganic coatings. Review of methods of measurement of thickness BS EN ISO 4518:1995 Metallic coatings. Measurement of coating thickness. Profilometric method BS EN ISO 8401:1995 Metallic coatings. Review of methods of measurement of ductility BS EN ISO 9220:1995 Metallic coatings. Measurement of coating thickness. Scanning electron microscope method |

## STONE

## Staining - Brown "coffee" stains in panel

## Staining - Wetting patterns of stone

| BS | ; BS ISO 15686-1:2011 Buildings and constructed assets. Service life planning. General principles and framework/BS ISO 15686-3:2002 Buildings and constructed assets. Service life planning. Performance audits and reviews/BS ISO 15686-2:2012 Buildings and constructed assets. Service life planning. Service life prediction procedures/BS 7543:2015 Guide to durability of buildings and building elements, products and components/; BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles; BS 8298:1989 British standard code of practice for design and installation of natural stone cladding and lining. BS 5385-5:1994 Wall and floor tiling. Code of practice for the design and installation of terrazzo tile and slab, Natural stone cladding (non-loadbearing) BS 8221-1:2000: Code of practice for cleaning and surface repair of buildings. Cleaning of natural stones, brick, terracotta and concrete |
| --- | --- |
| ASTM | C615-99: Standard Specifications for Granite Dimension Stone. C97-96: Standard Test Methods for Absorption and Bulk Specific Gravity of Dimension Stone. C99-87 (2000): Standard Test Method for Modulus of Rupture of Dimension Stone. C170-90(1999): Standard Test Method for Compressive Strength of Dimension Stone C1248-93(1998): Standard Test Method for Staining of Porous Substrate by Joint Sealants C1496-01 Standard Guide for Assesment and Maintenance of Exterior Dimension Stone Masonry Walls and Facades C1364-97 Standard Specification for Architectural Cast Stone D6092-97e1 Standard Practice for Specifying Standard Sizes of Stone for Erosion Control C503-99e1 Standard Specification for Marble Dimension Stone (Exterior) |
| AS | AS 1004.2-1998 Surface plates for metrology - Granite AS 2341.28-2002 Methods of testing bitumen and related roadmaking products - Determination of stone coating ability and water resistance AS 2700S-1996 (Y55) Colour Standards for general purposes - Deep Stone AS 4517.1-2006 Blanks for superabrasive cutting-off wheels - Manually guided cutting-off in building and civil engineering/ AS 4517.2-2006 Blanks for superabrasive cutting-off wheels - Hand-held cutting-off in building and civil engineering AS/NZS 4524.10:1998 Bonded abrasive products - Dimensions - Honing stones and superfinishings AS/NZS 4284:2008 Testing of building facades |
| SS | SS CP 67: Cleaning and Surface Repair of Buildings Part 1:1997 Natural Stone, Cast Stone and Clay brick masonry SS 341 : 2001 Safety glazing materials for use in buildings (human impact considerations) CP 68 : 1997 Code of practice for ceramic wall and floor tiling |
| ISO | ISO 3920:1976 Honing stones of square section; Designation and dimensions ISO 603-10:1999 Bonded abrasive products - Dimensions - Part 10: Stones for honing and superfinishings - ISO 603-10:1999 ISO 603-10:1999/COR1:1999 Bonded abrasive products - Dimensions - Part 10: Stones for honing and superfinishings ISO 8512-2:1990 Surface plates; part 2: granite ISO 10563:2005 Building construction - Sealants - Determination of change in mass and volume ISO 10590:2005 Building construction - Sealants - Determination of tensile properties of sealants at maintained extension after immersion in water ISO 10591:2005 Building construction -- Sealants -- Determination of adhesion/cohesion properties of sealants after immersion in water ISO 11431:2002 Building construction -- Jointing products -- Determination of adhesion/cohesion properties of sealants after exposure to heat, water and artificial light through glass ISO 11432:2005 Building construction -- Sealants -- Determination of resistance to compression ISO 11600:2002 Building construction -- Jointing products -- Classification and requirements for sealants ISO 13638:1996 Building construction - Sealants - Determination of resistance to prolonged exposure to water ISO 8340:2005 Building construction -- Sealants -- Determination of tensile properties at maintained extension ISO 8394-1:2010 Building construction -- Jointing products -- Part 1: Determination of extrudability of sealants ISO 9047:2001 Building construction - Jointing products - Determination of adhesion/cohesion properties of sealants at variable temperatures |

## Staining - Incompatible materials

## Staining Originating from Fixtures

## Staining - Runoff from Ledge

| BS | ; BS ISO 15686-1:2011 Buildings and constructed assets. Service life planning. General principles and framework/BS ISO 15686-3:2002 Buildings and constructed assets. Service life planning. Performance audits and reviews/BS ISO 15686-2:2012 Buildings and constructed assets. Service life planning. Service life prediction procedures/BS 7543:2015 Guide to durability of buildings and building elements, products and components/; BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles; BS 8298:1989 British standard code of practice for design and installation of natural stone cladding and lining. |
| --- | --- |
| ASTM | ASTM C615-99: Standard Specifications for Granite Dimension Stone. ASTM C97-96 Standard Test Methods for Absorption and Bulk Specific Gravity of Dimension Stone. ASTM C99-87 (2000) Standard Test Method for Modulus of Rupture of Dimension Stone. ASTM C170-90(1999) Standard Test Method for Compressive Strength of Dimension Stone ASTM C1248-93(1998) Standard Test Method for Staining of Porous Substrate by Joint Sealants |
| AS | *same as above* |
| SS | *same as above* |
| ISO | *same as above* |

## Sealant Staining - Sealant Migration

## Sealant Staining - Sealant Decomposition

## Biological Staining - Algae Growth

| BS | ; BS ISO 15686-1:2011 Buildings and constructed assets. Service life planning. General principles and framework/BS ISO 15686-3:2002 Buildings and constructed assets. Service life planning. Performance audits and reviews/BS ISO 15686-2:2012 Buildings and constructed assets. Service life planning. Service life prediction procedures/BS 7543:2015 Guide to durability of buildings and building elements, products and components/; BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles; BS 8298:1989 British standard code of practice for design and installation of natural stone cladding and lining. BS ISO 11600 : 1993 Building construction - Sealants - Classfication and requirements BS 4254 : 1993 2-part polysulfied - based sealants BS 5215 : 1986 1-part gun-grade polysulfide-based sealants BS 5889 : 1989 1-part gun-grade silicone-based sealants |
| --- | --- |
| ASTM | ASTM C615-99: Standard Specifications for Granite Dimension Stone. ASTM C97-96 Standard Test Methods for Absorption and Bulk Specific Gravity of Dimension Stone. ASTM C99-87 (2000) Standard Test Method for Modulus of Rupture of Dimension Stone. ASTM C170-90(1999) Standard Test Method for Compressive Strength of Dimension Stone ASTM C920 - 14a Standard Specification for Elastomeric Joint Sealants |
| AS | *same as above* |
| SS | *same as above* |
| ISO | *same as above* |

## Chipping Off - Mishandling of Material

## Rust Staining - Inherent Properties

| BS | ; BS ISO 15686-1:2011 Buildings and constructed assets. Service life planning. General principles and framework/BS ISO 15686-3:2002 Buildings and constructed assets. Service life planning. Performance audits and reviews/BS ISO 15686-2:2012 Buildings and constructed assets. Service life planning. Service life prediction procedures/BS 7543:2015 Guide to durability of buildings and building elements, products and components/; BS 8000-11.2:1990 Workmanship on building sites. Code of practice for wall and floor tiling. Natural stone tiles BS 8298:1994 Code of practice for design and installation of natural stone cladding and lining BS ISO 11600 : 1993 Building construction - Sealants - Classification and requirements BS 4254 : 1993 2-part polysulfied - based sealants BS 5215 : 1986 1-part gun-grade polysulfide-based sealants BS 5889 : 1989 1-part gun-grade silicone-based sealants BS 8221-1:2012 Code of practice for cleaning and surface repair of buildings. Cleaning of natural stone, brick, terracotta and concrete BS EN 12407:2000 Natural stone test methods. Petrographic examination BS 5385-1:1995 Wall and floor tiling. Code of practice for the design and installation of internal ceramic and natural stone wall tiling and mosaics in normal conditions |
| --- | --- |
| ASTM | *same as above* |
| AS | *same as above* |
| SS | *same as above* |
| ISO | *same as above* |

## Rust Staining due to Fittings Deterioration

| BS | ; BS ISO 15686-1:2011 Buildings and constructed assets. Service life planning. General principles and framework/BS ISO 15686-3:2002 Buildings and constructed assets. Service life planning. Performance audits and reviews/BS ISO 15686-2:2012 Buildings and constructed assets. Service life planning. Service life prediction procedures/BS 7543:2015 Guide to durability of buildings and building elements, products and components/; BS 8000-11.2:1990 Workmanship on building sites. Code of practice for wall and floor tiling. Natural stone tiles BS 8221-1:2012 Code of practice for cleaning and surface repair of buildings. Cleaning of natural stone, brick, terracotta and concrete BS 8298:1994 Code of practice for design and installation of natural stone cladding and lining BS EN 1925:1999 Natural stone test methods. Determination of water absorption coefficient by capillarity |
| --- | --- |
| ASTM | C1496 Standard Guide for Assesment and Maintenance of Exterior Dimension Stone Masonry Walls and Facades C1354 Standard Test Method for Strength of Individual Stone Anchorages in Dimension Stone C1242 Standard Guide for Design, Selection, and Installation of Stone Anchors and Anchoring Systems D6092 Standard Practice for Specifying Standard Sizes of Stone for Erosion Control C1201 Standard Test Method for Structural Performance of Exterior Dimension Stone Cladding Systems by Uniform Static Air Pressure Difference See All Results |
| AS | *same as above* |
| SS | *same as above* |
| ISO | *same as above* |

## GLASS CURTAINWALL

## Sealant Staining

## Staining - Uncontrolled flow over roof

## Staining - Staining at joints

## Cleaning Access

| BS | Glass BS 952-1:1995 Glass for glazing. Classification BS 952-2:1980 Glass for glazing. Terminology for work on glass BS EN 1288-3:2000 Glass in building. Determination of the bending strength of glass. Test with specimen supported at two points (four point bending) BS EN 1288-5:2000 Glass in building. Determination of the bending strength of glass. Coaxial double ring test on flat specimens with small test surface areas BS EN 1748-1:1998 Glass in building. Borosilicate glasses BS 6262:1982 Code of practice for glazing for buildings BS 6262-4:1994 Glazing for buildings. Safety related to human impact BS 7603:1992 Method for determination of stresses in glass-to-glass sealings BS 8000-7:1990 Workmanship on building sites. Code of practice for glazing / BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS EN ISO 10077-1:2000 Thermal performance of windows, doors and shutters. Calculation of thermal transmittance. Simplified method BS EN ISO 12543-1:1998 Glass in building. Laminated glass and laminated safety glass. Definitions and description of component parts BS EN ISO 12543-3:1998 Glass in building. Laminated glass and laminated safety glass. Laminated glass BS EN ISO 12543-4:1998 Glass in building. Laminated glass and laminated safety glass. Test methods for durability BS EN ISO 12543-5:1998 Glass in building. Laminated glass and laminated safety glass. Dimensions and edge finishing BS EN ISO 12543-6:1998 Glass in building. Laminated glass and laminated safety glass. Appearance BS EN ISO 14438:2002 Glass in building. Determination of energy balance value. Calculation method BS EN 357:2000 Glass in building. Fire resistant glazed elements with transparent or translucent glass products. Classification of fire resistance BS EN 410:1998 Glass in building. Determination of luminous and solar characteristics of glazing Sealants BS EN ISO 11431:2002 Building construction. Jointing products. Determination of adhesion/cohesion properties of sealants after exposure to heat, water and artificial light through glass BS ISO 13640:1999 Building construction. Jointing products. Specifications for test substrates |
| --- | --- |
| ASTM | Glass ASTM C1036 Specification for flat glass C1193-00 Standard Guide for Use of Joint SEALANTs E1300-02 Standard Practice for Determining Load Resistance of GLASS in Buildings C158-95 Standard Test Methods for Strength of GLASS by Flexure (Determination of Modulus of Rupture) Sealant ASTM C509 Specification for cellular elastomeric preformed gasket and sealing material ASTM C510-90 Standard Test Method for Staining and Color Change of Single- or Multicomponent Joint Sealants ASTM C603-90 Standard Test Method for Extrusion Rate and Application Life of Elastomeric Sealants ASTM C679-97 Standard Test Method for Tack-Free Time of Elastomeric Sealants ASTM C719-93(1998) Standard Test Method for Adhesion and Cohesion of Elastomeric Joint Sealants Under Cyclic Movement (Hockman Cycle) ASTM C792-93(1998) Standard Test Method for Effects of Heat Aging on Weight Loss, Cracking, and Chalking of Elastomeric Sealants ASTM C794-93 Standard Test Method for Adhesion-in-Peel of Elastomeric Joint Sealants ASTM C794 Test method for adhesion- in Peel of elastomeric gasket and sealing material C1021-01 Standard Practice for Laboratories Engaged in the Testing of Building SEALANTs C1299-99 Standard Guide for Use in Selection of Liquid-Applied SEALANTs ASTM C1401-02 Standard Guide for Structural Sealant Glazing ASTM ASTM C1392 - 00(2014) Standard Guide for Evaluating Failure of Structural Sealant Glazing ASTM C719 :Joint width and movement. To find out what the sealant’s plus-minus movement ability. C1294-95 Standard Test Method for Compatibility of Insulating Glass Edge SEALANTs with Liquid-Applied Glazing Materials |
| AS | Glass AS 1288-1994 Glass in buildings - Selection and installation AS 1288-1994/Amdt 1-1997 Glass in buildings - Selection and installation AS 1288-1994/Amdt 2-2000 Glass in buildings - Selection and installation AS/NZS 4668:2000 Glossary of terms used in the glass and glazing industry AS/NZS 4667:2000 Quality requirements for cut-to-size and processed glass |
| SS | Glass SS 309 : 1985 Method for the determination of shading coefficients of glazing materials SS 341 : 2001 Safety glazing materials for use in buildings (human impact considerations) |
| ISO | Glass ISO 10291:1994 Glass in building - Determination of steady-state U values (thermal transmittance) of multiple glazing - Guarded hot plate method ISO 10292:1994 Glass in building - Calculation of steady-state U values (thermal transmittance) of multiple glazing ISO 10293:1997 Glass in building - Determination of steady-state U values (thermal transmittance) of multiple glazing - Heat flow meter method ISO 10345-1:1992 Glass; determination of stress-optical coefficient; part 1: tensile test ISO 10345-2:1992 Glass; determination of stress-optical coefficient; part 2: bending test ISO 12543-1:1998 Glass in building - Laminated glass and laminated safety glass - Part 1: Definitions and description of component parts ISO 12543-3:1998 Glass in building - Laminated glass and laminated safety glass - Part 3: Laminated glass ISO 12543-4:1998 Glass in building - Laminated glass and laminated safety glass - Part 4: Test methods for durability ISO 12543-5:1998 Glass in building - Laminated glass and laminated safety glass - Part 5: Dimensions and edge finishing ISO 12543-6:1998 Glass in building - Laminated glass and laminated safety glass - Part 6: Appearance ISO 14438:2002 Glass in building - Determination of energy balance value - Calculation method ISO 9050:1990 Glass in building; determination of light transmittance, solar direct transmittance, total solar energy transmittance and ultraviolet transmittance, and related glazing factors ISO 9051:2001 Glass in building - Fire-resistant glazed assemblies containing transparent or translucent glass, for use in building ISO 9051:1990 Glass in building; glazed assemblies containing fire-resistant transparent or translucent glass, for use in building Sealant ISO 11431:2002 Building construction - Jointing products - Determination of adhesion/cohesion properties of sealants after exposure to heat, water and artificial light through glass |

## Cracks

| BS | *same as above* |
| --- | --- |
| ASTM | ASTM C509 Specification for cellular elastomeric preformed gasket and sealing material ASTM C510-90 ASTM C603-90 ASTM C639-90 ASTM C661-93 ASTM C679-87 ASTM C717-94 ASTM C719-93 ASTM C792-93 ASTM C793-01-91 ASTM C794-93 ASTM C1087-87 ASTM C794 Test method for adhesion- in Peel of elastomeric gasket and sealing material ASTM C1036 Specification for flat glass ASTM C1184-91 ASTM C1193-91 C1193-00 Standard Guide for Use of Joint SEALANTs C1021-01 Standard Practice for Laboratories Engaged in the Testing of Building SEALANTs ASTM C1247-93 C1299-99 Standard Guide for Use in Selection of Liquid-Applied SEALANTs ASTM C1401-02 Standard Guide for Structural Sealant Glazing ASTM ASTM C1392 - 00(2014) Standard Guide for Evaluating Failure of Structural Sealant Glazing ASTM C719 :Joint width and movement. To find out what the sealant’s plus-minus movement ability. C1294-95 Standard Test Method for Compatibility of Insulating Glass Edge SEALANTs with Liquid-Applied Glazing Materials |
| AS | *same as above* |
| SS | *same as above* |
| ISO | *same as above* |

## CURTAINWALL SYSTEM FAILURE

## Water Penetration

| BS | Glass BS 952-1:1995 Glass for glazing. Classification BS 952-2:1980 Glass for glazing. Terminology for work on glass BS EN 1288-3:2000 Glass in building. Determination of the bending strength of glass. Test with specimen supported at two points (four point bending) BS EN 1288-5:2000 Glass in building. Determination of the bending strength of glass. Coaxial double ring test on flat specimens with small test surface areas BS EN 1748-1:1998 Glass in building. Borosilicate glasses BS 6262:1982 Code of practice for glazing for buildings BS 6262-4:1994 Glazing for buildings. Safety related to human impact BS 7603:1992 Method for determination of stresses in glass-to-glass sealings BS 8000-7:1990 Workmanship on building sites. Code of practice for glazing / BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS EN ISO 10077-1:2000 Thermal performance of windows, doors and shutters. Calculation of thermal transmittance. Simplified method BS EN ISO 12543-1:1998 Glass in building. Laminated glass and laminated safety glass. Definitions and description of component parts BS EN ISO 12543-3:1998 Glass in building. Laminated glass and laminated safety glass. Laminated glass BS EN ISO 12543-4:1998 Glass in building. Laminated glass and laminated safety glass. Test methods for durability BS EN ISO 12543-5:1998 Glass in building. Laminated glass and laminated safety glass. Dimensions and edge finishing BS EN ISO 12543-6:1998 Glass in building. Laminated glass and laminated safety glass. Appearance BS EN ISO 14438:2002 Glass in building. Determination of energy balance value. Calculation method BS EN 357:2000 Glass in building. Fire resistant glazed elements with transparent or translucent glass products. Classification of fire resistance BS EN 410:1998 Glass in building. Determination of luminous and solar characteristics of glazing Sealants BS EN ISO 11431:2002 Building construction. Jointing products. Determination of adhesion/cohesion properties of sealants after exposure to heat, water and artificial light through glass BS ISO 13640:1999 Building construction. Jointing products. Specifications for test substrates |
| --- | --- |
| ASTM | Glass ASTM C1036 Specification for flat glass C1193-00 Standard Guide for Use of Joint SEALANTs E1300-02 Standard Practice for Determining Load Resistance of GLASS in Buildings C158-95 Standard Test Methods for Strength of GLASS by Flexure (Determination of Modulus of Rupture) Sealant ASTM C509 Specification for cellular elastomeric preformed gasket and sealing material ASTM C510-90 Standard Test Method for Staining and Color Change of Single- or Multicomponent Joint Sealants ASTM C603-90 Standard Test Method for Extrusion Rate and Application Life of Elastomeric Sealants ASTM C679-97 Standard Test Method for Tack-Free Time of Elastomeric Sealants ASTM C719-93(1998) Standard Test Method for Adhesion and Cohesion of Elastomeric Joint Sealants Under Cyclic Movement (Hockman Cycle) ASTM C792-93(1998) Standard Test Method for Effects of Heat Aging on Weight Loss, Cracking, and Chalking of Elastomeric Sealants ASTM C794-93 Standard Test Method for Adhesion-in-Peel of Elastomeric Joint Sealants ASTM C794 Test method for adhesion- in Peel of elastomeric gasket and sealing material C1021-01 Standard Practice for Laboratories Engaged in the Testing of Building SEALANTs C1299-99 Standard Guide for Use in Selection of Liquid-Applied SEALANTs ASTM C1401-02 Standard Guide for Structural Sealant Glazing ASTM ASTM C1392 - 00(2014) Standard Guide for Evaluating Failure of Structural Sealant Glazing ASTM C719 :Joint width and movement. To find out what the sealant’s plus-minus movement ability. C1294-95 Standard Test Method for Compatibility of Insulating Glass Edge SEALANTs with Liquid-Applied Glazing Materials |
| AS | AS 1288-1994 Glass in buildings - Selection and installation AS 1288-1994/Amdt 1-1997 Glass in buildings - Selection and installation AS 1288-1994/Amdt 2-2000 Glass in buildings - Selection and installation AS/NZS 4668:2000 Glossary of terms used in the glass and glazing industry AS/NZS 4667:2000 Quality requirements for cut-to-size and processed glass |
| SS | Glass SS 309 : 1985 Method for the determination of shading coefficients of glazing materials SS 341 : 2001 Safety glazing materials for use in buildings (human impact considerations) |
| ISO | Glass ISO 10291:1994 Glass in building - Determination of steady-state U values (thermal transmittance) of multiple glazing - Guarded hot plate method ISO 10292:1994 Glass in building - Calculation of steady-state U values (thermal transmittance) of multiple glazing ISO 10293:1997 Glass in building - Determination of steady-state U values (thermal transmittance) of multiple glazing - Heat flow meter method ISO 10345-1:1992 Glass; determination of stress-optical coefficient; part 1: tensile test ISO 10345-2:1992 Glass; determination of stress-optical coefficient; part 2: bending test ISO 12543-1:1998 Glass in building - Laminated glass and laminated safety glass - Part 1: Definitions and description of component parts ISO 12543-3:1998 Glass in building - Laminated glass and laminated safety glass - Part 3: Laminated glass ISO 12543-4:1998 Glass in building - Laminated glass and laminated safety glass - Part 4: Test methods for durability ISO 12543-5:1998 Glass in building - Laminated glass and laminated safety glass - Part 5: Dimensions and edge finishing ISO 12543-6:1998 Glass in building - Laminated glass and laminated safety glass - Part 6: Appearance ISO 14438:2002 Glass in building - Determination of energy balance value - Calculation method ISO 9050:1990 Glass in building; determination of light transmittance, solar direct transmittance, total solar energy transmittance and ultraviolet transmittance, and related glazing factors ISO 9051:2001 Glass in building - Fire-resistant glazed assemblies containing transparent or translucent glass, for use in building ISO 9051:1990 Glass in building; glazed assemblies containing fire-resistant transparent or translucent glass, for use in building Sealant ISO 11431:2002 Building construction - Jointing products - Determination of adhesion/cohesion properties of sealants after exposure to heat, water and artificial light through glass |

## CLADDING SYSTEM FAILURE

## Buckling - Confinement of movement due to chambering

## Buckling - Delamination of outer sheet

## Buckling - Insufficient allowance for expansion due to butt jointing

## Buckling: Poor design of framing

## Bad Joint Design

## Fixing Failure

## Misalignment of Joints - Poor installation practices

## Misalignment of Joints - Special edges and corners

## Cracking - Stress at folding edge of panel

## Cracking - Poor workmanship

## Cracking - Changes to panel support system

| BS | BS EN ISO 1463:2004 Metallic and oxide coatings. Measurement of coating thickness. Microscopical method BS EN ISO 17834:2003 Thermal spraying. Coatings for protection against corrosion and oxidation at elevated temperatures BS 3811:1993 Glossary of terms used in terotechnology (Withdrawn) BS EN ISO 11600:2003+A1:2011 Building construction. Jointing products. Classification and requirements for sealants BS 4255-1:1986 Rubber used in preformed gaskets for weather exclusion from buildings. Specification for non-cellular gaskets BS 4868:1972 Specification for profiled aluminium sheet for building BS 4900:1976 Specification for vitreous enamel colours for building purposes BS 4904:1978 Specification for external cladding colours for building purposes BS EN ISO 4516:2002 Metallic and other inorganic coatings. Vickers and Knoop microhardness tests BS 5427:2016 Code of practice for the use of profiled sheet for roof and wall cladding on buildings BS EN ISO 12944-1:1998 Paints and varnishes. Corrosion protection of steel structures by protective paint systems. General introduction / BS EN ISO 12944-3:1998 Paints and varnishes. Corrosion protection of steel structures by protective paint systems. Design considerations / BS EN ISO 12944-4:1998 Paints and varnishes. Corrosion protection of steel structures by protective paint systems. Types of surface and surface preparation / BS EN ISO 12944-5:2007 Paints and varnishes. Corrosion protection of steel structures by protective paint systems. Protective paint systems / BS EN ISO 12944-6:1998 Paints and varnishes. Corrosion protection of steel structures by protective paint systems. Laboratory performance test methods / BS EN ISO 12944-7:1998 Paints and varnishes. Corrosion protection of steel structures by protective paint systems. Execution and supervision of paintwork / BS EN ISO 12944-8:1998 Paints and varnishes. Corrosion protection of steel structures by protective paint systems. Development of specifications for new work and maintenance / BS EN ISO 12944-2:1998 Paints and varnishes. Corrosion protection of steel structures by protective paint systems. Classification of environments / BS EN ISO 14713-1:2009 Zinc coatings. Guidelines and recommendations for the protection against corrosion of iron and steel in structures. General principles of design and corrosion resistance / BS EN ISO 14713-2:2009 Zinc coatings. Guidelines and recommendations for the protection against corrosion of iron and steel in structures. Hot dip galvanizing / BS EN ISO 14713-3:2009 Zinc coatings. Guidelines and recommendations for the protection against corrosion of iron and steel in structures. Sherardizing BS EN 1993-1-3:2006 Eurocode 3. Design of steel structures. General rules. Supplementary rules for cold-formed members and sheeting BS 6093:2006+A1:2013 Design of joints and jointing in building construction. Guide BS 6100-6:2008 Building and civil engineering. Vocabulary. Construction parts BS ISO 2135:2010 Anodizing of aluminium and its alloys. Accelerated test of light fastness of coloured anodic oxidation coatings using artificial light BS 6161-11:1985 Methods of test for anodic oxidation coatings on aluminium and its alloys. Measurement of total reflectance using a photoelectric reflectometer (Withdrawn) BS EN ISO 2376:2010 Anodizing of aluminium and its alloys. Determination of electric breakdown potential BS EN ISO 8993:2010 Anodizing of aluminium and its alloys. Rating system for the evaluation of pitting corrosion. Chart method BS EN ISO 8994:2011 Anodizing of aluminium and its alloys. Rating system for the evaluation of pitting corrosion. Grid method BS 6161-14:1987 Methods of test for anodic oxidation coatings on aluminium and its alloys. Determination of infra-red reflectance (WIthdrawn) BS 6161-18:1991 Methods of test for anodic oxidation coatings on aluminium and its alloys. Determination of surface abrasion resistance BS 6213:2000+A1:2010 Selection of construction sealants. Guide BS 6496:1984 Specification for powder organic coatings for application and stoving to aluminium alloy extrusions, sheet and preformed sections for external architectural purposes, and for the finish on aluminium alloy extrusions, sheet and preformed sections BS 6915:2001+A1:2014 Design and construction of fully supported lead sheet roof and wall coverings. Code of practice BS 7543:2015 Guide to durability of buildings and building elements, products and components BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS EN 1999-1-4:2007+A1:2011 Eurocode 9. Design of aluminium structures. Cold-formed structural sheeting / BS EN 1999-1-3:2007+A1:2011 Eurocode 9. Design of aluminium structures. Structures susceptible to fatigue / BS EN 1999-1-1:2007+A2:2013 Eurocode 9: Design of aluminium structures. General structural rules BS EN 1999-1-1:2007+A2:2013 Eurocode 9: Design of aluminium structures. General structural rules CP 143-1:1958 Code of practice for sheet roof and wall coverings. Aluminium, corrugated and troughed CP 143-10:1973 Code of practice for sheet roof and wall coverings. Code of practice for sheet roof and wall coverings. Galvanized corrugated steel. Metric units CP 143-12:1970 Code of practice for sheet roof and wall coverings. Code of practice for sheet roof and wall coverings. Copper. Metric units CP 143-15:1973 Code of practice for sheet roof and wall coverings. Code of practice for sheet roof and wall coverings. Aluminium. Metric units BS EN 1172:2011 Copper and copper alloys. Sheet and strip for building purposes BS EN 2004-5:1993 Test methods for aluminium and aluminium alloy products. Determination of cladding thickness and copper diffusion of clad semi-finished products BS EN ISO 18286:2010 Hot-rolled stainless steel plates. Tolerances on dimensions and shape / BS EN 10029:2010 Hot-rolled steel plates 3 mm thick or above. Tolerances on dimensions and shape BS EN 10169:2010+A1:2012 Continuously organic coated (coil coated) steel flat products. Technical delivery conditionsContinuously organic coated (coil coated) steel flat products. Technical delivery conditions BS EN 12153:2000 Curtain walling. Air permeability. Test method BS EN 12154:2000 Curtain walling. Watertightness. Performance requirements and classification BS EN 12155:2000 Curtain walling. Watertightness. Laboratory test under static pressure BS EN 12179:2000 Curtain walling. Resistance to wind load. Test method BS EN 12588:2006 Lead and lead alloys. Rolled lead sheet for building purposes BS EN 13050:2011 Curtain Walling. Watertightness. Laboratory test under dynamic condition of air pressure and water spray BS EN 13051:2001 Curtain walling. Watertightness. Site test BS EN 13116:2001 Curtain walling. Resistance to wind load. Performance requirements |
| --- | --- |
| ASTM | ASTM B137 - 95(2014) Standard Test Method for Measurement of Coating Mass Per Unit Area on Anodically Coated Aluminum ASTM B244 - 09(2014) Standard Test Method for Measurement of Thickness of Anodic Coatings on Aluminum and of Other Nonconductive Coatings on Nonmagnetic Basis Metals with Eddy-Current Instruments ASTM B580 - 79(2014) Standard Specification for Anodic Oxide Coatings on Aluminum ASTM B659 - 90(2014) Standard Guide for Measuring Thickness of Metallic and Inorganic Coatings ASTM B680 - 80(2014) Standard Test Method for Seal Quality of Anodic Coatings on Aluminum by Acid Dissolution ASTM B767 - 88(2010) Standard Guide for Determining Mass Per Unit Area of Electrodeposited and Related Coatings by Gravimetric and Other Chemical Analysis Procedures ASTM C509 - 06(2015) Standard Specification for Elastomeric Cellular Preformed Gasket and Sealing Material ASTM C717 - 14a Standard Terminology of Building Seals and Sealants ASTM C1401 - 14 Standard Guide for Structural Sealant Glazing ASTM C1392 - 00(2014) Standard Guide for Evaluating Failure of Structural Sealant Glazing ASTM D523 - 14 Standard Test Method for Specular Gloss ASTM D610 - 08(2012) Standard Practice for Evaluating Degree of Rusting on Painted Steel Surfaces ASTM D968 - 15 Standard Test Methods for Abrasion Resistance of Organic Coatings by Falling Abrasive ASTM D1654 - 08 Standard Test Method for Evaluation of Painted or Coated Specimens Subjected to Corrosive Environments ASTM D2247 - 15 Standard Practice for Testing Water Resistance of Coatings in 100 % Relative HumidityASTM D2244 - 15a Standard Practice for Calculation of Color Tolerances and Color Differences from Instrumentally Measured Color Coordinates ASTM D2247 - 15 Standard Practice for Testing Water Resistance of Coatings in 100 % Relative Humidity ASTM D2794 - 93(2010) Standard Test Method for Resistance of Organic Coatings to the Effects of Rapid Deformation (Impact) ASTM E1592 - 05(2012) Standard Test Method for Structural Performance of Sheet Metal Roof and Siding Systems by Uniform Static Air Pressure Difference ASTM E283 - 04(2012) Standard Test Method for Determining Rate of Air Leakage Through Exterior Windows, Curtain Walls, and Doors Under Specified Pressure Differences Across the Specimen ASTM E376 - 11 Standard Practice for Measuring Coating Thickness by Magnetic-Field or Eddy-Current (Electromagnetic) Testing Methods ASTM E1424 - 91(2008) Standard Test Method for Determining the Rate of Air Leakage Through Exterior Windows, Curtain Walls, and Doors Under Specified Pressure and Temperature Differences Across the Specimen ASTM E1233 / E1233M - 14 Standard Test Method for Structural Performance of Exterior Windows, Doors, Skylights, and Curtain Walls by Cyclic Air Pressure Differential ASTM E1105 - 15 Standard Test Method for Field Determination of Water Penetration of Installed Exterior Windows, Skylights, Doors, and Curtain Walls, by Uniform or Cyclic Static Air Pressure Difference ASTM E547 - 00(2009) Standard Test Method for Water Penetration of Exterior Windows, Skylights, Doors, and Curtain Walls by Cyclic Static Air Pressure Difference ASTM E331 - 00(2009) Standard Test Method for Water Penetration of Exterior Windows, Skylights, Doors, and Curtain Walls by Uniform Static Air Pressure Difference ASTM E330 / E330M - 14 Standard Test Method for Structural Performance of Exterior Windows, Doors, Skylights and Curtain Walls by Uniform Static Air Pressure Difference ASTM E1996 - 14a Standard Specification for Performance of Exterior Windows, Curtain Walls, Doors, and Impact Protective Systems Impacted by Windborne Debris in Hurricanes ASTM E998 - 12 Standard Test Method for Structural Performance of Glass in Windows, Curtain Walls, and Doors Under the Influence of Uniform Static Loads by Nondestructive Method ASTM E1886 - 13a Standard Test Method for Performance of Exterior Windows, Curtain Walls, Doors, and Impact Protective Systems Impacted by Missile(s) and Exposed to Cyclic Pressure Differentials ASTM E997 - 15 Standard Test Method for Evaluating Glass Breakage Probability Under the Influence of Uniform Static Loads by Proof Load Testing |
| AS | AS 1562.1-1992 Design and installation of sheet roof and wall cladding - Metal AS 1562.1-1992/Amdt 1-1993 Design and installation of sheet roof and wall cladding - Metal AS 1562.1-1992/Amdt 2-1995 Design and installation of sheet roof and wall cladding - Metal AS 4040.0-1992 Methods of testing sheet roof and wall cladding - Introduction, list of methods and general requirements AS 4040.1-1992 Methods of testing sheet roof and wall cladding - Resistance to concentrated loads AS 4040.2-1992 Methods of testing sheet roof and wall cladding - Resistance to wind pressures for non-cyclone regions AS/NZS 4040.4:1996 Methods of testing sheet roof and wall cladding - Resistance to impact (sandbag) for sheet roof materials AS/NZS 4040.5:1996 Methods of testing sheet roof and wall cladding - Resistance to impact (sandbag) for wall boards HB 39-1997 Installation code for metal roof and wall cladding HB 39 Supp 1-1997 (CD-ROM) Installation code for metal roof and wall cladding - Multimedia guide on CD-ROM (Supplement to SAA HB39-1997) |
| SS | SS 381 : 1996 (2007) Materials and performance tests for aluminium curtain walls |
| ISO | BS EN ISO 2177:2004 Metallic coatings. Measurement of coating thickness. Coulometric method by anodic dissolution BS EN ISO 2178:2016 Non-magnetic coatings on magnetic substrates. Measurement of coating thickness. Magnetic method BS EN ISO 2360:2003 Non-conductive coatings on non-magnetic electrically conductive basis materials. Measurement of coating thickness. Amplitude-sensitive eddy current method BS EN ISO 2819:1995 Metallic coatings on metallic substrates. Electrodeposited and chemically deposited coatings. Review of methods available for testing adhesion BS EN ISO 3882:2003 Metallic and other inorganic coatings. Review of methods of measurement of thickness BS EN ISO 4518:1995 Metallic coatings. Measurement of coating thickness. Profilometric method BS EN ISO 8401:1995 Metallic coatings. Review of methods of measurement of ductility BS EN ISO 9220:1995 Metallic coatings. Measurement of coating thickness. Scanning electron microscope method |

# Tiled Wall

## Dirt staining at mortar joints

## Dirt staining after delamination

## Dirt staining due to design feature

## Dirt staining due to fixtures

## Debonding - Tile Delamination

## Debonding - Failure of bond of brick tile

## Debonding - Debonding of mosiac tiles

## Debonding - Render delaminate from substrate

## Debonding - Buckling of Tile System

## Debonding - Cracking due to differential movement

## Tile cracking - Diagonal crack due to substrate movement

## Tile cracking - Choice of bedding adhesive and tile material

## Tile cracking - Diagonal crack due to substrate movement

## Efflorescence

## Water Penetration

## Biological attack

## Joint Failure

## Tile Chipping

| BS | Rendering BS EN 197-1:2011 Cement. Composition, specifications and conformity criteria for common cements BS EN 13279-1:2008 Gypsum binders and gypsum plasters. Definitions and requirements/ BS EN 13279-2:2014 Gypsum binders and gypsum plasters. Test methods BS EN 13139:2002 Aggregates for mortar BS EN 13658-1:2005 Metal lath and beads. Definitions, requirements and test methods. Internal plastering/ BS EN 13658-2:2005 Metal lath and beads. Definitions, requirements and test methods. External rendering BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS EN 1015-10:1999 Methods of test for mortar for masonry. Determination of dry bulk density of hardened mortar/ BS EN 1015-9:1999 Methods of test for mortar for masonry. Determination of workable life and correction time of fresh mortar/ BS EN 1015-6:1999 Methods of test for mortar for masonry. Determination of bulk density of fresh mortar/ BS EN 1015-3:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by flow table)/ BS EN 1015-2:1999 Methods of test for mortar for masonry. Bulk sampling of mortars and preparation of test mortars/ BS EN 1015-1:1999 Methods of test for mortar for masonry. Determination of particle size distribution (by sieve analysis)/ BS EN 1015-19:1999 Methods of test for mortar for masonry. Determination of water vapour permeability of hardened rendering and plastering mortars/ BS EN 1015-4:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by plunger penetration)/ BS EN 1015-7:1999 Methods of test for mortar for masonry. Determination of air content of fresh mortar BS 4551:2005+A2:2013 Mortar. Methods of test for mortar and screed. Chemical analysis and physical testing BS EN1015-12:2000 Methods of test for mortar masonry. Determination of adhesive strength of hardened rendering and plastering mortars on substrates BS EN1015-19:1999 Methods of test for mortar for masonry. Determination of water vapour permeability of hardened rendering and plastering mortars BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar BS EN 1015-18:2002 Methods of test for mortar for masonry. Determination of water absorption coefficient due to capillary action of hardened mortar BS EN 1015-21:2002 Methods of test for mortar for masonry. Determination of the compatibility of one-coat rendering mortars with substrates BS EN 13658-2:2005 Metal lath and beads. Definitions, requirements and test methods. External rendering BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar BS EN 13914-1:2016 Design, preparation and application of external rendering and internal plastering. External rendering Tiling BS 8000:Part11:Section 11.1:1989- Workmanship on building sites- Code of practice for wall and floor tiling-ceramic, terrazzo and mosaics tiles BS 8000:Part 9: 1989- Workmanship on building sites- Code of practice for cement/ sand floor screeds and concrete floor toppings BS 5385-3:1995- Wall and floor tiling. Code of practice for the design and installation of ceramic floor tiles and mosaics in normal conditions BS 5980:1980- Specification or adhesives for use with ceramic tiles and mosaics BS 6431-1:1983, EN 87:1991-Ceramic floor and wall tiles. Specification for classification and marking, including definitions and characteristics BS 6431-2:1984, EN 121:1991-Ceramic floor and wall tiles. Specification for extruded ceramic tiles with a low water absorption (E <= 3%). Group A1 BS 6431-3.1:1986, EN 186-1:1991-Ceramic floor and wall tiles. Extruded ceramic tiles with a water absorption of 3% <E<=6% Group A11a. Specification for general products BS 6431-5:1986, EN 188:1991-Ceramic floor and wall tiles. Specification for extruded ceramic tiles with a water absorption of E > 10%. Group A111 BS 6431-7:1986, EN 177:1991-Ceramic floor and wall tiles. BS 6431-8:1986, EN 178:1991-Ceramic floor and wall tiles. BS 6431-10:1984, EN 98:1991-Ceramic floor and wall tiles. Method for determination of dimensions and surface quality BS 6431-11:1983, EN 99:199-1Ceramic floor and wall tiles. Method for determination of water absorption BS 6431-12:1983, EN 100:1991-Ceramic floor and wall tiles. Method for determination of modulus of rupture BS 6431-13:1986, EN 101:1991-Ceramic floor and wall tiles. Method for determination of scratch hardness of surface according to Mohs BS 6431-14:1983, EN 102:1991-Ceramic floor and wall tiles. Method for determination of resistance to deep abrasion. Unglazed tiles BS 6431-18:1983, EN 106:1991Ceramic floor and wall tiles. Method for determination of chemical resistance. Unglazed tiles |
| --- | --- |
| ASTM | Rendering C778-02 Standard Specification for Standard SAND C35-01 Standard Specification for Inorganic Aggregates for Use in Gypsum Plaster C1329-00 Standard Specification for Mortar Cement ASTM C1328 / C1328M - 12 Standard Specification for Plastic (Stucco) Cement C472-99 Standard Test Methods for Physical Testing of Gypsum, Gypsum Plasters and Gypsum Concrete C28/C28M-00e1 Standard Specification for Gypsum Plasters Tilings D5343:97- Standard Guide for Evaluating Cleaning Performance of Ceramic Tile Cleaners C485-83:1999- Standard Test Method for Measuring Warpage of Ceramic Tile C1378:1997- Standard Test Method for Determination of Resistance to Staining C650:1997- Standard Test Method for Resistance of Ceramic Tile to Chemical Substances C648:1998- Standard Test Method for Breaking Strength of Ceramic Tile 19C1027:99-Standard Test Method for Determining Visible Abrasion Resistance of Glazed Ceramic Tile C609-90:2000- Standard Test Method for Measurement of Small Color Differences Between Ceramic Wall or Floor Tile C499-78:1999- Standard Test Method for Facial Dimensions and Thickness of Flat, Rectangular Ceramic Wall and Floor Tile |
| AS | Rendering AS CA27-1959 Code of recommended practice for internal plastering on soid backgrounds AS/NZS 2350.11-1997/Amdt 1-1998 Methods of testing portland and blended cements - Compressive strength of portland and blended cements AS 2350.12-2006 Methods of testing portland, blended and masonry cements - Preparation of a standard mortar and moulding of specimens AS 2350.13-1995 Methods of testing portland and blended cements - Determination of drying shrinkage of portland and blended cement mortars AS 2350.13-1995/Amdt 1-1997 Methods of testing portland and blended cements - Determination of drying shrinkage of portland and blended cement mortars AS 2350.2 -1991 Methods of testing portland and blended cements - Chemical composition of portland cement Tilings AS 3958.2:1992 - Ceramic tiles - Guide to the selection of a ceramic tiling system AS 1884-1985-Floor coverings - Resilient sheet and tiles - Laying and maintenance practices AS 2358-1990-Adhesives - For fixing ceramic tiles AS 3958.1-1991/Amdt 1-1992-Ceramic tiles - Guide to the installation of ceramic tiles AS 3958.2-1992-Ceramic tiles - Guide to the selection of a ceramic tiling system AS 4459.1-1999-Methods of sampling and testing ceramic tiles - Sampling and basis for acceptance AS 4459.10-1999-Methods of sampling and testing ceramic tiles - Determination of moisture expansion AS 4459.11-1997-Methods of sampling and testing ceramic tiles - Determination of crazing resistance for glazed tiles AS 4459.13-1999-Methods of sampling and testing ceramic tiles - Determination of chemical resistance AS 4459.14-1999-Methods of sampling and testing ceramic tiles - Determination of resistance to stains AS 4459.2-1999-Methods of sampling and testing ceramic tiles - Determination of dimensions and surface quality AS 4459.3-1999-Methods of sampling and testing ceramic tiles - Determination of water absorption, apparent porosity, apparent relative density and bulk density AS 4459.4-1997-Methods of sampling and testing ceramic tiles - Determination of modulus of rupture and breaking strength AS 4459.6-1999-Methods of sampling and testing ceramic tiles - Determination of resistance to deep abrasion for unglazed tiles AS 4459.8-1997-Methods of sampling and testing ceramic tiles - Determination of linear thermal expansion |
| SS | Rendering SS 397 :1997 Methods of testing cement SS EN 197 series - Cement Tilings SS 57:1989- Specification for glazed ceramic tiles and tile fittings for internal walls SS 301:1985- The use of cement sand cover for tiling CP 68: 1997- Code of practice for ceramic wall and floor tiling |
| ISO | Tilings ISO 10545-1:1995- Ceramic tiles -- Part 1: Sampling and basis for acceptance ISO 10545-3:1995- Ceramic tiles -- Part 3: Determination of water absorption, apparent porosity, apparent relative density and bulk density ISO 10545-4:1994- Ceramic tiles -- Part 4: Determination of modulus of rupture and breaking strength ISO 10545-5:1996- Ceramic tiles -- Part 5: Determination of impact resistance by measurement of coefficient of restitution ISO 10545-6:1995- Ceramic tiles -- Part 6: Determination of resistance to deep abrasion for unglazed tiles ISO 10545-10:1995- Ceramic tiles -- Part 10: Determination of moisture expansion ISO 10545-13:1995- Ceramic tiles -- Part 13: Determination of chemical resistance ISO 10545-14:1995- Ceramic tiles -- Part 14: Determination of resistance to stains ISO 10545-16:1999- Ceramic tiles -- Part 16: Determination of small colour differences ISO 13006:1998- Ceramic tiles -- Definitions, classification, characteristics and marking ISO 10545-10:1995- Ceramic tiles -- Part 10: Determination of moisture expansion ISO 13006:1998- Ceramic tiles-definitions, classification, characteristics and making |

# WET AREAS

# Structural floor

## Water Leakage Through RC Internal Slab

## Water Leakage Through RC Internal Floor Slab

## Water Leakage Through Crack

| BS | Waterproofing BS 8000 Part4:1989: Workmanship on building sites. Code of practice for waterproofing BS 8000:Part 9: 1989- Workmanship on building sites- Code of practice for cement/ sand floor screeds and concrete floor toppings Concrete BS EN 197-1:2011 Cement. Composition, specifications and conformity criteria for common cements BS ISO 3310-2:2013 Test sieves. Technical requirements and testing. Test sieves of perforated metal plate/ BS 410-1:2000, ISO 3310-1:2000 Test sieves. Technical requirements and testing. Test sieves of metal wire cloth BS 812-103.2:1989. Testing aggregates. Method for determination of particle size distribution. Sedimentation testBS 812-121:1989. Testing aggregates. Method for determination of soundness/ BS 812-119:1985. Testing aggregates. Method for determination of acid-soluble material in fine aggregate/ BS 812-112:1990. Testing aggregates. Method for determination of aggregate impact value (AIV)/ BS 812-114:1989. Testing aggregates. Method for determination of the polished-stone value/ BS 812-110:1990. Testing aggregates. Methods for determination of aggregate crushing value (ACV)/ BS 812-111:1990. Testing aggregates. Methods for determination of ten per cent fines value (TFV)/ BS 812-109:1990. Testing aggregates. Methods for determination of moisture content/ BS 812-104:1994. Testing aggregates. Method for qualitative and quantitative petrographic examination of aggregates/ BS 812-123:1999. Testing aggregates. Method for determination of alkali-silica reactivity. Concrete prism method/ BS 812-2:1995. Testing aggregates. Methods for determination of density/BS EN 932-5:2012 Tests for general properties of aggregates. Common equipment and calibration/ BS 812-124:2009. Testing aggregates. Method for determination of frost heave/ . BS EN 12620:2002+A1:2008 Aggregates for concrete BS EN 12878:2014 Pigments for the colouring of building materials based on cement and/or lime. Specifications and methods of test BS EN 13139:2002 Aggregates for mortar BS EN 13139:2002 Aggregates for mortar/ 15/30313572 DC. BS ISO 1920-2. Testing of concrete. Part 2. Properties of fresh concrete/ BS 1881-207:1992. Testing concrete. Recommendations for the assessment of concrete strength by near-to-surface tests/ BS 1881-124:2015. Testing concrete. Methods for analysis of hardened/ BS 1881-125:2013. Testing concrete. Methods for mixing and sampling fresh concrete in the laboratory/ BS 1881-130:2013. Testing concrete. Method for temperature-matched curing of concrete specimens/ BS 1881-113:2011. Testing concrete. Method for making and curing no-fines test cubes/ BS 1881-119:2011. Testing concrete. Method for determination of compressive strength using portions of beams broken in flexure (equivalent cube method)/ BS 1881-122:2011. Testing concrete. Method for determination of water absorption/ BS 1881-129:2011. Testing concrete. Method for determination of density of partially compacted semi-dry fresh concrete/ BS 1881-131:1998. Testing concrete. Methods for testing cement in a reference concrete/ BS 1881-208:1996. Testing concrete. Recommendations for the determination of the initial surface absorption of concrete/ BS 1881-209:1990. Testing concrete. Recommendations for the measurement of dynamic modulus of elasticity/ BS 1881-204:1988. Testing concrete. Recommendations on the use of electromagnetic covermeters/ BS 1881-206:1986. Testing concrete. Recommendations for determination of strain in concrete/ BS 1881-121:1983. Testing concrete. Method for determination of static modulus of elasticity in compression/ BS EN 12504-2:2012. Testing concrete in structures. Non-destructive testing. Determination of rebound number/ BS 1881-204:1988 Testing concrete. Recommendations on the use of electromagnetic covermeters/ BS 1881-206:1986 Testing concrete. Recommendations for determination of strain in concrete. BS 4550-6:1978 Methods of testing cement. Standard sand for mortar cubess BS EN 998-1:2003-Specification for mortar for masonry. Rendering and plastering mortar/ BS EN 998-2:2003-Specification for mortar for masonry. Masonry mortar BS EN 934-3:2009+A1:2012 Admixtures for concrete, mortar and grout. Admixtures for masonry mortar. Definitions, requirements, conformity and marking and labelling/ BS EN 480-4:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of bleeding of concrete/ BS EN 934-3:2009+A1:2012 Admixtures for concrete, mortar and grout. Admixtures for masonry mortar. Definitions, requirements, conformity and marking and labelling BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity/BS EN 480-11:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of air void characteristics in hardened concrete/BS EN 480-12:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of the alkali content of admixtures/BS EN 480-1:2006+A1:2011 Admixtures for concrete, mortar and grout. Test methods. Reference concrete and reference mortar for testing/BS EN 934-2:2009+A1:2012 Admixtures for concrete, mortar and grout . Concrete admixtures. Definitions, requirements, conformity, marking and labelling/BS EN 480-8:2012 Admixtures for concrete, mortar and grout. Test methods. Determination of the conventional dry material content/BS EN 480-10:2009 Admixtures for concrete, mortar and grout. Test methods. Determination of water soluble chloride content/BS EN 480-6:2005 Admixtures for concrete, mortar and grout. Test methods. Infrared analysis/BS EN 480-5:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of capillary absorption/BS EN 480-2:2006 Admixtures for concrete, mortar and grout. Test methods. Determination of setting time/ BS 5328Concrete. Guide to specifying concrete/Concrete. Methods for specifying concrete mixes BS EN 998-2:2010 Specification for mortar for masonry. Masonry mortar/ BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar BS EN 13791:2007 Assessment of in-situ compressive strength in structures and pre-cast concrete components/ BS 6089:2010 Assessment of in-situ compressive strength in structures and precast concrete components. Complementary guidance to that given in BS EN 13791/ BS 6319-3:1990 Testing of resin and polymer/cement compositions for use in construction. Methods for measurement of modulus of elasticity in flexure and flexural strength BS 6319-12:1992 Testing of resin and polymer/cement compositions for use in construction. Methods for measurement of unrestrained linear shrinkage and coefficient of thermal expansion BS 6949:1991- Specification for bitumen-based coatings for cold application excluding use in contact with potable water BS 7543:2015 Guide to durability of buildings and building elements, products and components/BS ISO 15686-1:2011 Buildings and constructed assets. Service life planning. General principles and frameworkBS ISO 15686-3:2002 Buildings and constructed assets. Service life planning. Performance audits and reviewsBS ISO 15686-2:2012 Buildings and constructed assets. Service life planning. Service life prediction procedures BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS EN 1992-1-1:2004+A1:2014 Eurocode 2: Design of concrete structures. General rules and rules for buildings PD 6678:2005 Guide to the specification of masonry mortar BS EN 480-1:2014 Admixtures for concrete, mortar and grout. Test methods. Reference concrete and reference mortar for testing BS EN 480-2:2006 Admixtures for concrete, mortar and grout. Test methods. Determination of setting time BS EN 480-4:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of bleeding of concrete BS EN 480-5:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of capillary absorption BS EN 480-6:2005 Admixtures for concrete, mortar and grout. Test methods. Infrared analysis BS EN 480-8:2012 Admixtures for concrete, mortar and grout. Test methods. Determination of the conventional dry material content BS EN 480-10:2009 Admixtures for concrete, mortar and grout. Test methods. Determination of water soluble chloride content BS EN 480-11:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of air void characteristics in hardened concrete BS EN 480-12:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of the alkali content of admixtures BS EN 934-2:2009+A1:2012 Admixtures for concrete, mortar and grout. Concrete admixtures. Definitions, requirements, conformity, marking and labelling BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity BS EN 934-2:2009+A1:2012 Admixtures for concrete, mortar and grout. Concrete admixtures. Definitions, requirements, conformity, marking and labelling BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity Plaster BS EN 1015-7:1999 Methods of test for mortar for masonry. Determination of air content of fresh mortar / BS EN 1015-4:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by plunger penetration) / BS EN 1015-19:1999 Methods of test for mortar for masonry. Determination of water vapour permeability of hardened rendering and plastering mortars / BS EN 1015-1:1999 Methods of test for mortar for masonry. Determination of particle size distribution (by sieve analysis) / BS EN 1015-2:1999 Methods of test for mortar for masonry. Bulk sampling of mortars and preparation of test mortars / BS EN 1015-3:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by flow table) / BS EN 1015-6:1999 Methods of test for mortar for masonry. Determination of bulk density of fresh mortar / BS EN 1015-9:1999 Methods of test for mortar for masonry. Determination of workable life and correction time of fresh mortar / BS EN 1015-10:1999 Methods of test for mortar for masonry. Determination of dry bulk density of hardened mortar / BS 4551:2005+A2:2013 Mortar. Methods of test for mortar and screed. Chemical analysis and physical testing BS 4551:2005+A2:2013 Mortar. Methods of test for mortar and screed. Chemical analysis and physical testing Paints BS EN ISO 6270:1995, BS 3900-F9:1982: Paints and varnishes. Determination of resistance to humidity (continuous condensation) BS 2015:1992: Glossary of paint and related terms BS 2992:1970: Specification for painters' and decorators' brushes for local authorities and public institutions (excluding quality of fillings) BS 3416:1991:Specification for bitumen-based coatings for cold application, suitable for use in contact with potable water BS 3483-A1:1983: Methods for testing pigments for paints. Comparison of colour BS 3483-C7:1980: Methods for testing pigments for paints. Comparison of resistance to bleeding BS 3900-B4:1986: Methods of test for paints. Tests involving chemical examination of liquid paints and dried paint films. Determination of total lead in paints and similar materials BS 3900-F2:1973: Methods of test for paint. Durability tests on paint films. Determination of resistance to humidity (cyclic condensation) BS 3900-F6:1976: Methods of test for paint. Durability tests on paint films. Notes for guidance on the conduct of natural weathering test BS 3900-F17:1998: Methods of test for paint. Durability tests on paint films. Determination of wet-scrub resistance and cleanability of coatings BS 3900-H2:1983: Methods of test for paints. Evaluation of paint and varnish defects. Designation of degree of blistering BS 3900-H5:1983: Methods of test for paints. Evaluation of paint and varnish defects. Designation of degree of flaking BS 6150:1991: Code of practice for painting of buildings BS 6949:1991: Specification for bitumen-based coatings for cold application excluding use in contact with potable BS 7664:2000: Specification for undercoat and finishing paints |
| --- | --- |
| ASTM | Waterproofing ASTM D5295 / D5295M - 14 Standard Guide for Preparation of Concrete Surfaces for Adhered (Bonded) Membrane Waterproofing Systems ASTM D5683 / D5683M - 95(2011)e1 Standard Test Method for Flexibility of Roofing and Waterproofing Materials and Membranes ASTM D5957 - 98(2013) Standard Guide for Flood Testing Horizontal Waterproofing Installations ASTM D6135-05 Standard Practice for Application of Self-Adhering Modified Bituminous Waterproofing (Withdrawn 2014) Concrete C33-01- Standard Specification for Concrete Aggregates ASTM C94 / C94M - 15b Standard Specification for Ready-Mixed Concrete ASTM C136 / C136M - 14 Standard Test Method for Sieve Analysis of Fine and Coarse Aggregates ASTM C150 / C150M - 15 Standard Specification for Portland Cement ASTM C597 - 09 Standard Test Method for Pulse Velocity Through Concrete ASTM C642 - 13 Standard Test Method for Density, Absorption, and Voids in Hardened Concrete ASTM C805 / C805M - 13a Standard Test Method for Rebound Number of Hardened Concrete Plaster ASTM C1063 - 16a Standard Specification for Installation of Lathing and Furring to Receive Interior and Exterior Portland Cement-Based Plaster Paints ASTM D279 - 02(2012) Standard Test Methods for Bleeding of Pigments ASTM D1640 / D1640M - 14 Standard Test Methods for Drying, Curing, or Film Formation of Organic Coatings ASTM E1907-06a Standard Guide to Methods of Evaluating Moisture Conditions of Concrete Floors to Receive Resilient Floor Coverings (Withdrawn 2008) ASTM D2574 - 06(2012) Standard Test Method for Resistance of Emulsion Paints in the Container to Attack by Microorganisms ASTM D4258 - 05(2012) Standard Practice for Surface Cleaning Concrete for Coating ASTM D5098 - 16 Standard Specification for Artists’ Acrylic Dispersion Paints ASTM D5324 - 10 Standard Guide for Testing Water-Borne Architectural Coatings ASTM D5146 - 10 Standard Guide to Testing Solvent-Borne Architectural Coatings ASTM D6237 - 09(2015) Standard Guide for Painting Inspectors (Concrete and Masonry Substrates) |
| AS | Waterproofing AS 3740:1994 Waterproofing of wet areas within residential buildings AS 3740-Amdt 1:1995 Waterproofing of wet areas within residential buildings Concrete AS 1012.10-2000 : Methods of testing concrete - Determination of indirect tensile strength of concrete cylinders (Brasil or splitting test) AS 1478.2-2005 Chemical admixtures for concrete, mortar and grout - Methods of sampling and testing admixtures for concrete, mortar and grout AS 1012.1:2014 Methods of testing concrete - Sampling of concrete AS 1303-1991 : Steel reinforcing wire for concrete concreteAS 1379-2007/Amdt 1-2009 Specification and supply of concrete - AS 1379-2007/Amdt 2-2015 Specification and supply of concrete AS 1478.1-2000 Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 2550.15-1994 Cranes - Safe use - Concrete placing equipment AS 3600-2009 Concrete structures AS 3648-1993 : Specification and methods of test for packaged concrete mixes Plaster AS 2185-1978: Fibrous plaster products AS 2592-1983: Gypsum plaster for building purposes Paints HB 73.1-1995: Handbook of Australian Paint Standards - General HB 73.2-1995: Handbook of Australian Paint Standards - Test methods AS 1580.101.1:1999: Paints and related materials - Methods of test - Conditions of test - Temperature, humidity and airflow control AS 1580.107.2:1995:Paints and related materials - Methods of test - Determination of wet film thickness from wet film mass AS 1580.408.5:1994: Paints and related materials - Methods of test - Adhesion - Pull-off test AS 1580.481.1.10:1998:Paints and related materials - Methods of test - Coatings - Exposed to weathering - Degree of flaking and peeling AS 1580.481.1.13:1998:Paints and related materials - Methods of test - Coatings - Exposed to weathering - Degree of fungal or algal growth AS 1580.481.1.9:1998:Paints and related materials - Methods of test - Coatings - Exposed to weathering - Degree of blistering AS 2310:1995: Glossary of paint and painting terms AS 2311:2000:Guide to the painting of buildings AS 3730.0-1991:Guide to the properties of paints for buildings: General information on the specification, purchasing and testing of paints AS 3730.100-1994:Guide to the properties of paints for buildings: Introduction and list of guides |
| SS | Waterproofing SS CP 82:1999 Code of practice- waterproofing of reinforced concrete buildings Concrete SS EN 197 - 1 : 2014 Cement - Part 1 : Composition, specifications and conformity criteria for common cement/ SS EN 197 - 2 : 2014 Cement - Part 2 : Conformity evaluation SS 31:1998 Aggregates from natural sources for concrete SS 32:1985 Welded steel fabric for the reinforcement of concrete SS 78: 1987-1991 Testing concrete SS 289-Part 1 to 4:2000 Ready Mix Concrete SS 320: 1987 Concrete admixtures SS 397: 1997 Methods of testing cement Plaster CP 56 : 1991 Code of practice for internal plastering Paints SS 5: 1992 Methods of tests for paints, varnishes and related materials SS 7: 1998 Paint: finishing, gloss enamel SS CP 22:1981 Painting of buildings SS 34: 1998 Undercoat for gloss enamel SS 150: 1998 Emulsion paints for decorative purposes |
| ISO | Concrete ISO 1920-3:2004 Testing of concrete -- Part 3: Making and curing test specimens ISO 1920-1:2004 Testing of concrete -- Part 1: Sampling of fresh concrete ISO 1920-3:2004 Testing of concrete -- Part 3: Making and curing test specimens ISO 3766:2003 Construction drawings -- Simplified representation of concrete reinforcement ISO 3893:1977 Concrete -- Classification by compressive strength ISO 1920-4:2005 Testing of concrete -- Part 4: Strength of hardened concrete ISO 1920-4:2005 Testing of concrete -- Part 4: Strength of hardened concrete ISO 4103:1979 Concrete -- Classification of consistency ISO 1920-4:2005 Testing of concrete -- Part 4: Strength of hardened concrete ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 4635:2011 Rubber, vulcanized -- Preformed joint seals for use between concrete paving sections of highways -- Specification ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 6274:1982 Concrete -- Sieve analysis of aggregates ISO 1920-5:2004 Testing of concrete -- Part 5: Properties of hardened concrete other than strength ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 6782:1982 Aggregates for concrete -- Determination of bulk density ISO 6783:1982 Coarse aggregates for concrete -- Determination of particle density and water absorption -- Hydrostatic balance method ISO 1920-10:2010 Testing of concrete -- Part 10: Determination of static modulus of elasticity in compression ISO 7033:1987 Fine and coarse aggregates for concrete -- Determination of the particle mass-per-volume and water absorption -- Pycnometer method Paints ISO 1513:2010 Paints and varnishes -- Examination and preparation of test samples ISO 1514:2004 Paints and varnishes -- Standard panels for testing ISO 1516:2002 Determination of flash/no flash -- Closed cup equilibrium method ISO 9117-3:2010 Paints and varnishes -- Drying tests -- Part 3: Surface-drying test using ballotini ISO 1518-1:2011 Paints and varnishes -- Determination of scratch resistance -- Part 1: Constant-loading method ISO 1519:2011 Paints and varnishes -- Bend test (cylindrical mandrel) ISO 1520:2006 - Paints and varnishes -- Cupping test ISO 1522:2006 Paints and varnishes -- Pendulum damping test ISO 1523:2002 Determination of flash point -- Closed cup equilibrium method ISO 1524:2013 Paints, varnishes and printing inks -- Determination of fineness of grind ISO 2409:2013 Paints and varnishes -- Cross-cut test ISO 2431:2011 Paints and varnishes -- Determination of flow time by use of flow cups ISO 2808:2007 Paints and varnishes -- Determination of film thickness ISO 2810:2004 Paints and varnishes -- Natural weathering of coatings -- Exposure and assessment ISO 2811-1:2016 Paints and varnishes -- Determination of density -- Part 1: Pycnometer method ISO 2811-2:2011 Paints and varnishes -- Determination of density -- Part 2: Immersed body (plummet) method ISO 2811-3:2011 Paints and varnishes -- Determination of density -- Part 3: Oscillation method ISO 2811-4:2011 Paints and varnishes -- Determination of density -- Part 4: Pressure cup method ISO 2812-1:2007 Paints and varnishes -- Determination of resistance to liquids -- Part 1: Immersion in liquids other than water ISO 2812-2:2007 Paints and varnishes -- Determination of resistance to liquids -- Part 2: Water immersion method ISO 2813:2014 Paints and varnishes -- Determination of gloss value at 20 degrees, 60 degrees and 85 degrees BS EN ISO 2814:2006, BS 3900-D4:2006 Paints and varnishes. Comparison of contrast ratio (hiding power) of paints of the same type and colour ISO 2815:2003 Paints and varnishes -- Buchholz indentation test ISO 2884-1:1999 Paints and varnishes -- Determination of viscosity using rotary viscometers -- Part 1: Cone-and-plate viscometer operated at a high rate of shear ISO 3231: 1993 Paints and varnishes -- Determination of resistance to humid atmospheres containing sulfur dioxide ISO 3233-1:2013 Paints and varnishes -- Determination of the percentage volume of non-volatile matter -- Part 1: Method using a coated test panel to determine non-volatile matter and to determine dry film density by the Archimedes principle ISO 3248: 1998 Paints and varnishes -- Determination of the effect of heat ISO 3251:2008 Paints, varnishes and plastics -- Determination of non-volatile-matter content ISO 4618:2014 Paints and varnishes -- Terms and definitions ISO 4618:2014 Paints and varnishes -- Terms and definitions ISO 4624:2016 Paints and varnishes -- Pull-off test for adhesion ISO 4628-1:2016 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 1: General introduction and designation system ISO 4628-2:2003 Paints and varnishes - Evaluation of degradation of coatings - Designation of quantity and size of defects, and of intensity of uniform changes in appearance - Part 2: Assessment of degree of blistering ISO 4628-3:2016 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 3: Assessment of degree of rusting ISO 4628-4:2016 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 4: Assessment of degree of cracking ISO 4628-5:2016 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 5: Assessment of degree of flaking ISO 4628-6:2011 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 6: Assessment of degree of chalking by tape method ISO 6270-1: 1998 Paints and varnishes -- Determination of resistance to humidity -- Part 1: Continuous condensation ISO 6272-1:2011 Paints and varnishes -- Rapid-deformation (impact resistance) tests -- Part 1: Falling-weight test, large-area indenter/ ISO 6272-2:2011 Paints and varnishes -- Rapid-deformation (impact resistance) tests -- Part 2: Falling-weight test, small-area indenter ISO 6503: 1984 Paints and varnishes -- Determination of total lead -- Flame atomic absorption spectrometric method ISO 6504-1: 1983 Paints and varnishes -- Determination of hiding power -- Part 1: Kubelka-Munk method for white and light-coloured paints ISO 6504-3:2006 Paints and varnishes -- Determination of hiding power -- Part 3: Determination of contrast ratio of light-coloured paints at a fixed spreading rate ISO 6713: 1984 Paints and varnishes -- Preparation of acid extracts from paints in liquid or powder form ISO 6744-1: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 1: General methods of test ISO 6744-2: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 2: Determination of phthalic anhydride content ISO 6744-3: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 3: Determination of unsaponifiable matter content ISO 6744-4: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 4: Determination of fatty acid content ISO 6860:2006 Paints and varnishes -- Bend test (conical mandrel) ISO 7142:2007 Binders for paints and varnishes -- Epoxy resins -- General methods of test ISO 7143:2007 Binders for paints and varnishes -- Methods of test for characterizing water-based binders ISO 7783:2011 Paints and varnishes -- Determination of water-vapour transmission properties -- Cup method ISO 7784-1:2016 Paints and varnishes -- Determination of resistance to abrasion -- Part 1: Method with abrasive-paper covered wheels and rotating test specimen ISO 7784-2:2016 Paints and varnishes -- Determination of resistance to abrasion -- Part 2: Method with abrasive rubber wheels and rotating test specimen ISO 7784-3:2016 Paints and varnishes -- Determination of resistance to abrasion -- Part 3: Method with abrasive-paper covered wheel and linearly reciprocating test specimen ISO 8501-1:2007 Preparation of steel substrates before application of paints and related products -- Visual assessment of surface cleanliness -- Part 1: Rust grades and preparation grades of uncoated steel substrates and of steel substrates after overall ISO 9514:2005 Paints and varnishes -- Determination of the pot life of multicomponent coating systems -- Preparation and conditioning of samples and guidelines for testing ISO 11503:1995 Paints and varnishes -- Determination of resistance to humidity (intermittent condensation) ISO 16474-1:2013 Paints and varnishes -- Methods of exposure to laboratory light sources -- Part 1: General guidance ISO 11668:1997 Binders for paints and varnishes -- Chlorinated polymerization resins -- General methods of test ISO 11890-1:2007 Paints and varnishes -- Determination of volatile organic compound (VOC) content -- Part 1: Difference method ISO 11890-2:2013 Paints and varnishes -- Determination of volatile organic compound (VOC) content -- Part 2: Gas-chromatographic method ISO 11908: 1996 Binders for paints and varnishes -- Amino resins -- General methods of test ISO 11909:2007 Binders for paints and varnishes -- Polyisocyanate resins -- General methods of test ISO 11997-1:2005 Paints and varnishes -- Determination of resistance to cyclic corrosion conditions -- Part 1: Wet (salt fog)/dry/humidity ISO 11997-2:2013 Paints and varnishes -- Determination of resistance to cyclic corrosion conditions -- Part 2: Wet (salt fog)/dry/humidity/UV light ISO 11998:2006 Paints and varnishes -- Determination of wet-scrub resistance and cleanability of coatings ISO 12137:2011 Paints and varnishes -- Determination of mar resistance ISO 1518-2:2011 Paints and varnishes -- Determination of scratch resistance -- Part 2: Variable-loading method ISO 14680-1:2000 Paints and varnishes -- Determination of pigment content -- Part 1: Centrifuge method ISO 14680-2: 2000 Paints and varnishes -- Determination of pigment content -- Part 2: Ashing method ISO 14680-3: 2000 Paints and varnishes -- Determination of pigment content -- Part 3: Filtration method ISO 15184:2012 Paints and varnishes -- Determination of film hardness by pencil test |

## Water Leakage at Pipe Penetrations

| BS | Waterproofing BS 6949:1991- Specification for bitumen-based coatings for cold application excluding use in contact with potable water. BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles. Plumbing BS 3402:1969 British Standard Specification for Quality of Vitreous China Sanitary Appliances BS 5572:1994 - Code of practice for sanitary pipework Bs 6465 Part 1: 1994 Sanitary installations-Code of practice for scale of provision, selection and installation of sanitary appliances. BS EN 274: 1993 Sanitary tapware- waste fittings for basins, bidets and baths- General technical specifications BS 8000 Part13 : 1989 - Code of practice for above ground drainage and sanitary appliances. BS EN 12056 : 2000 - Gravity Dranage System Inside Buildings. |
| --- | --- |
| ASTM | Waterproofing D5957-98 - Standard Guide for Flood Testing Horizontal Waterproofing Installations. D5295-00 -Standard Guide for Preparation of Concrete Surfaces for Adhered (Bonded) Membrane Waterproofing Systems. Plumbing ASTM B698-97 Standard classification for seamless copper and copper alloy plumbing pipe and tube ASTM A74-98 Standard specification for cast iron soil pipe and fittings D618-00 - Standard Practice for Conditioning Plastics for Testing D1599-99 - Standard Test Method for Resistance to Short-Time Hydraulic Failure Pressure of Plastic Pipe, Tubing, and Fittings D1600-99 - Standard Terminology for Abbreviated Terms Relating to Plastics D1784-99a Standard Specification for Rigid Poly(Vinyl Chloride) (PVC) Compounds and Chlorinated Poly(Vinyl Chloride) (CPVC) Compounds D1785-99 Standard Specification for Poly(Vinyl Chloride) (PVC) Plastic Pipe, Schedules 40, 80, and 120 D2122-98 Standard Test Method for Determining Dimensions of Thermoplastic Pipe and Fittings D2464-99 Standard Specification for Threaded Poly(Vinyl Chloride) (PVC) Plastic Pipe Fittings, Schedule 80 D2749-92(1999)e1 Standard Symbols for Dimensions of Plastic Pipe Fittings F412-01 Standard Terminology Relating to Plastic Piping Systems F437-99 Standard Specification for Threaded Chlorinated Poly(Vinyl Chloride) (CPVC) Plastic Pipe Fittings, Schedule 80 |
| AS | Waterproofing AS 3740-2010 Waterproofing of domestic wet areas / AS 3740-2010/Amdt 1-2012 Waterproofing of domestic wet areas. AS 3740-Amdt 1:1995- Waterproofing of wet areas within residential buildings. Plumbing AS 3500.0:1995 National Plumbing and Drainage Code - Glossary of terms AS 3500.2.1-1996 National Plumbing and Drainage - Sanitary plumbing and drainage - Performance requirements AS 3500.2.2-1996/Amdt 1-1999 National Plumbing and Drainage - Sanitary plumbing and drainage-Acceptable solutions AS 3500.2.2:1996/Amdt 2-2002 National Plumbing and Drainage AS 3558 1989 Methods of testing plastics and composite materials sanitary plumbing fixtures AS 3795-1996 Copper alloy tubes for plumbing and drainage applications |
| SS | Waterproofing CP 82:1999- Code of practice- waterproofing of reinforced concrete buildings. Plumbing SS 33 : 1975 Cast iron spigot and socket soil, waste and ventilating pipes (sand cast and spun) and fitting SS 174 : 1977 Joints and fittings for use with unplasticized PVC pressure pipes SS 213 : 1998 Unplasticised PVC pipes and fittings for soil, waste and vent applications |
| ISO | Plumbing ISO 3474: 1976 Unplasticized polyvinyl chloride (PVC) pipes -- Specification and measurement of opacity ISO 3114: 1977 Unplasticized polyvinyl chloride (PVC) pipes for potable water supply -- Extractability of lead and tin -- Test method ISO 3603: 1977 Fittings for unplasticized polyvinyl chloride (PVC) pressure pipes with elastic sealing ring type joints -- Pressure test for leakproofness ISO 3633: 1991 Unplasticized poly(vinyl chloride) (PVC-U) pipes and fittings for soil and waste discharge (low and high temperature) systems inside buildings – Specifications ISO/TR 4191: 1989 Unplasticized polyvinyl chloride (PVC-U) pipes for water supply -- Recommended practice for laying ISO 4422-1: 1996 Pipes and fittings made of unplasticized poly(vinyl chloride) (PVC-U) for water supply -- Specifications -- Part 1: General ISO 4422-2: 1996 Pipes and fittings made of unplasticized poly(vinyl chloride) (PVC-U) for water supply -- Specifications -- Part 2: Pipes (with or without integral sockets) ISO 4422-3: 1996 Pipes and fittings made of unplasticized poly(vinyl chloride) (PVC-U) for water supply -- Specifications -- Part 3: Fittings and joints ISO 4422-4: 1997 Pipes and fittings made of unplasticized poly(vinyl chloride) (PVC-U) for water supply -- Specifications -- Part 4: Valves and ancillary equipment ISO 4422-5: 1997 Pipes and fittings made of unplasticized poly(vinyl chloride) (PVC-U) for water supply -- Specifications -- Part 5: Fitness for purpose of the system ISO 4439: 1979 Unplasticized polyvinyl chloride (PVC) pipes and fittings -- Determination and specification of density ISO 6412-1996- Technical drawings -simplified represnetation of pipelines ISO/TR 7024-1985 Above-ground drainage-Recommended practice and techniques for the installation of unplasticised polyvinyl chloride (PVC-U) sanitary pipework for above ground systems inside the buildings. ISO 6455: 1983 Unplasticized polyvinyl chloride (PVC) fittings with elastic sealing ring type joints for pipes under pressure -- Dimensions of laying lengths -- Metric series ISO 6594: 1983 Cast iron drainage pipes and fittings -- Spigot series ISO 6992: 1986 Unplasticized polyvinyl chloride (PVC-U) pipes for drinking water supply -- Extractability of cadmium and mercury occurring as impurities ISO 8283-1: 1991 Plastics pipes and fittings -- Dimensions of sockets and spigots for discharge systems inside buildings -- Part 1: Unplasticized poly(vinyl chloride) (PVC-U) and chlorinated poly (vinyl chloride) (PVC-C) ISO 8283-2: 1992 Plastics pipes and fittings -- Dimensions of sockets and spigots for discharge systems inside buildings -- Part 2: Polyethylene (PE) ISO 8283-3: 1992 Plastics pipes and fittings -- Dimensions of sockets and spigots for discharge systems inside buildings -- Part 3: Polypropylene (PP) ISO 8283-4: 1992 Plastics pipes and fittings -- Dimensions of sockets and spigots for discharge systems inside buildings -- Part 4: Acrylonitrile/butadiene/styrene (ABS) ISO 13844: 2000 Plastics piping systems -- Elastomeric-sealing-ring-type socket joints of unplasticized poly(vinyl chloride) (PVC-U) for use with PVC-U pipes -- Test method for leaktightness under negative pressure ISO 13845: 2000 Plastics piping systems -- Elastomeric-sealing-ring-type socket joints for use with unplasticized poly(vinyl chloride) (PVC-U) pipes -- Test method for leaktightness under internal pressure and with angular deflection ISO 265-1: 1988 Pipes and fittings of plastics materials -- Fittings for domestic and industrial waste pipes -- Basic dimensions : Metric series -- Part 1: Unplasticized poly(vinyl chloride) (PVC-U) |

## Water Leakage at Floor Traps (PVC)

| BS | Waterproofing BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles Plumbing BS 5255:1989 - Specification for thermoplastics waste pipe and fittings BS 3943:1979 - Specification for plastics waste traps BS 4514:2001 - Unplasticized PVC soil and ventilating pipes of 82.4 mm minimum mean outside diameter, and fittings and accessories of 82.4 mm and of other sizes. Specification BS 5572: 1978 - Code of practice for sanitary pipework BS 8000-Part13:1989 - Workmanship on building sites. Code of practice for above ground drainage and sanitary appliances |
| --- | --- |
| ASTM | Waterproofing ASTM D5957 - 98(2013) Standard Guide for Flood Testing Horizontal Waterproofing Installations ASTM D5295 / D5295M - 14 Standard Guide for Preparation of Concrete Surfaces for Adhered (Bonded) Membrane Waterproofing Systems Plumbing D618-00 - Standard Practice for Conditioning Plastics for Testing D1599-99 - Standard Test Method for Resistance to Short-Time Hydraulic Failure Pressure of Plastic Pipe, Tubing, and Fittings D1600-99 - Standard Terminology for Abbreviated Terms Relating to Plastics D1784-99a Standard Specification for Rigid Poly(Vinyl Chloride) (PVC) Compounds and Chlorinated Poly(Vinyl Chloride) (CPVC) Compounds D1785-99 Standard Specification for Poly(Vinyl Chloride) (PVC) Plastic Pipe, Schedules 40, 80, and 120 D2122-98 Standard Test Method for Determining Dimensions of Thermoplastic Pipe and Fittings D2464-99 Standard Specification for Threaded Poly(Vinyl Chloride) (PVC) Plastic Pipe Fittings, Schedule 80 D2749-92(1999)e1 Standard Symbols for Dimensions of Plastic Pipe Fittings F412-01 Standard Terminology Relating to Plastic Piping Systems F437-99 Standard Specification for Threaded Chlorinated Poly(Vinyl Chloride) (CPVC) Plastic Pipe Fittings, Schedule 80 F1498-00 Standard Specification for Taper Pipe Threads 60° for Thermoplastic Pipe and Fittings F1674-96 Standard Test Method for Joint Restraint Products for Use with PVC Pipe |
| AS | Waterproofing AS 3740-2010 Waterproofing of domestic wet areas / AS 3740-2010/Amdt 1-2012 Waterproofing of domestic wet areas AS 3740-Amdt 1:1995- Waterproofing of wet areas within residential buildings Plumbing AS 3500.0:1995 National Plumbing and Drainage Code - Glossary of terms AS 3500.2.1-1996 National Plumbing and Drainage - Sanitary plumbing and drainage - Performance requirements AS 3500.2.2-1996/Amdt 1-1999 National Plumbing and Drainage - Sanitary plumbing and drainage-Acceptable solutions AS 3500.2.2:1996/Amdt 2-2002 National Plumbing and Drainage AS 3558 1989 Methods of testing plastics and composite materials sanitary plumbing fixtures AS 3795-1996 Copper alloy tubes for plumbing and drainage applications |
| SS | Waterproofing SS CP 82:1999- Code of practice- waterproofing of reinforced concrete buildings Plumbing SS 174 : 1977 Joints and fittings for use with unplasticized PVC pressure pipes SS 213 : 1998 Unplasticised PVC pipes and fittings for soil, waste and vent applications |
| ISO | Plumbing ISO 3474: 1976 Unplasticized polyvinyl chloride (PVC) pipes -- Specification and measurement of opacity ISO 3114: 1977 Unplasticized polyvinyl chloride (PVC) pipes for potable water supply -- Extractability of lead and tin -- Test method ISO 3603: 1977 Fittings for unplasticized polyvinyl chloride (PVC) pressure pipes with elastic sealing ring type joints -- Pressure test for leakproofness ISO 3633: 1991 Unplasticized poly(vinyl chloride) (PVC-U) pipes and fittings for soil and waste discharge (low and high temperature) systems inside buildings – Specifications ISO/TR 4191: 1989 Unplasticized polyvinyl chloride (PVC-U) pipes for water supply -- Recommended practice for laying ISO 4422-1: 1996 Pipes and fittings made of unplasticized poly(vinyl chloride) (PVC-U) for water supply -- Specifications -- Part 1: General ISO 4422-2: 1996 Pipes and fittings made of unplasticized poly(vinyl chloride) (PVC-U) for water supply -- Specifications -- Part 2: Pipes (with or without integral sockets) ISO 4422-3: 1996 Pipes and fittings made of unplasticized poly(vinyl chloride) (PVC-U) for water supply -- Specifications -- Part 3: Fittings and joints ISO 4422-4: 1997 Pipes and fittings made of unplasticized poly(vinyl chloride) (PVC-U) for water supply -- Specifications -- Part 4: Valves and ancillary equipment ISO 4422-5: 1997 Pipes and fittings made of unplasticized poly(vinyl chloride) (PVC-U) for water supply -- Specifications -- Part 5: Fitness for purpose of the system ISO 4439: 1979 Unplasticized polyvinyl chloride (PVC) pipes and fittings -- Determination and specification of density ISO 6455: 1983 Unplasticized polyvinyl chloride (PVC) fittings with elastic sealing ring type joints for pipes under pressure -- Dimensions of laying lengths -- Metric series ISO 6992: 1986 Unplasticized polyvinyl chloride (PVC-U) pipes for drinking water supply -- Extractability of cadmium and mercury occurring as impurities ISO 8283-1: 1991 Plastics pipes and fittings -- Dimensions of sockets and spigots for discharge systems inside buildings -- Part 1: Unplasticized poly(vinyl chloride) (PVC-U) and chlorinated poly (vinyl chloride) (PVC-C) ISO 8283-2: 1992 Plastics pipes and fittings -- Dimensions of sockets and spigots for discharge systems inside buildings -- Part 2: Polyethylene (PE) ISO 8283-3: 1992 Plastics pipes and fittings -- Dimensions of sockets and spigots for discharge systems inside buildings -- Part 3: Polypropylene (PP) ISO 8283-4: 1992 Plastics pipes and fittings -- Dimensions of sockets and spigots for discharge systems inside buildings -- Part 4: Acrylonitrile/butadiene/styrene (ABS) ISO 13844: 2000 Plastics piping systems -- Elastomeric-sealing-ring-type socket joints of unplasticized poly(vinyl chloride) (PVC-U) for use with PVC-U pipes -- Test method for leaktightness under negative pressure ISO 13845: 2000 Plastics piping systems -- Elastomeric-sealing-ring-type socket joints for use with unplasticized poly(vinyl chloride) (PVC-U) pipes -- Test method for leaktightness under internal pressure and with angular deflection ISO 265-1: 1988 Pipes and fittings of plastics materials -- Fittings for domestic and industrial waste pipes -- Basic dimensions : Metric series -- Part 1: Unplasticized poly(vinyl chloride) (PVC-U) |

## Water Leakage at Floor Traps (Cast iron)

| BS | Waterproofing BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS 8000-Part13:1989 - Workmanship on building sites. Code of practice for above ground drainage and sanitary appliances. Plumbing BS 8000 Part13 : 1989 - Code of practice for above ground drainage and sanitary appliances. BS 5572:1994 - Code of practice for sanitary pipework BS 12056 : 2000 - Gravity Dranage System Inside Buildings. Bs 6465 Part 1: 1994 Sanitary installations-Code of practice for scale of provision, selection and installation of sanitary appliances. BS EN 274: 1993 Sanitary tapware- waste fittings for basins, bidets and baths- General technical specifications BS 416-1:1990 Discharge and ventilating pipes and fittings, sand-cast or spun in cast iron. Specification for spigot and socket systems BS 437:1978 Specification for cast iron spigot and socket drain pipes and fittings BS 2035:1966 Specification for cast iron flanged pipes and flanged fittings Paint BS 5493:1977- Code of practice for protective coating of iron and steel structures against corrosion |
| --- | --- |
| ASTM | Waterproofing ASTM D5957 - 98(2013) Standard Guide for Flood Testing Horizontal Waterproofing Installations ASTM D5295 / D5295M - 14 Standard Guide for Preparation of Concrete Surfaces for Adhered (Bonded) Membrane Waterproofing Systems Plumbing A888-98e1 Standard Specification for Hubless Cast Iron Soil Pipe and Fittings for Sanitary and Storm Drain, Waste, and Vent Piping Applications C1277-97 Standard Specification for Shielded Couplings Joining Hubless Cast Iron Soil Pipe and Fittings A74-98 Standard Specification for Cast Iron Soil Pipe and Fittings E351-93(2000)e1 Standard Test Methods for Chemical Analysis of Cast Iron--All Types A532/A532M-93a(1999)e1 Standard Specification for Abrasion-Resistant Cast Irons Paints ASTM D5098 - 16 Standard Specification for Artists’ Acrylic Dispersion Paints ASTM D4258 - 05(2012) Standard Practice for Surface Cleaning Concrete for Coating ASTM D1640 / D1640M - 14 Standard Test Methods for Drying, Curing, or Film Formation of Organic Coatings ASTM D279 - 02(2012) Standard Test Methods for Bleeding of Pigments ASTM D2574 - 06(2012) Standard Test Method for Resistance of Emulsion Paints in the Container to Attack by Microorganisms ASTM D5324 - 10 Standard Guide for Testing Water-Borne Architectural Coatings ASTM D5146 - 10 Standard Guide to Testing Solvent-Borne Architectural Coatings ASTM E1907-06a Standard Guide to Methods of Evaluating Moisture Conditions of Concrete Floors to Receive Resilient Floor Coverings (Withdrawn 2008) ASTM D6237 - 09(2015) Standard Guide for Painting Inspectors (Concrete and Masonry Substrates) |
| AS | Waterproofing AS 3740-2010 Waterproofing of domestic wet areas / AS 3740-2010/Amdt 1-2012 Waterproofing of domestic wet areas AS 3740-Amdt 1:1995- Waterproofing of wet areas within residential buildings Plumbing AS 3500.0:1995 National Plumbing and Drainage Code - Glossary of terms AS 3500.2.1-1996 National Plumbing and Drainage - Sanitary plumbing and drainage - Performance requirements AS 3500.2.2-1996/Amdt 1-1999 National Plumbing and Drainage - Sanitary plumbing and drainage-Acceptable solutions AS 3500.2.2:1996/Amdt 2-2002 National Plumbing and Drainage AS 1631-1994 Cast grey and ductile iron non-pressure pipes and fittings AS 1830-2002 Grey cast iron AS 1831-2002 Ductile cast iron AS 3673-1989 Malleable cast iron threaded pipe fittings AS 4331.2:1995 Metallic flanges - Cast iron flanges Paints AS 2310:1995: Glossary of paint and painting terms AS 2311:2000:Guide to the painting of buildings AS 3730.0-1991:Guide to the properties of paints for buildings: General information on the specification, purchasing and testing of paints AS 3730.100-1994:Guide to the properties of paints for buildings: Introduction and list of guides HB 73.1-1995: Handbook of Australian Paint Standards - General HB 73.2-1995: Handbook of Australian Paint Standards - Test methods AS 1580.101.1:1999: Paints and related materials - Methods of test - Conditions of test - Temperature, humidity and airflow control AS 1580.107.2:1995:Paints and related materials - Methods of test - Determination of wet film thickness from wet film mass AS 1580.408.5:1994: Paints and related materials - Methods of test - Adhesion - Pull-off test AS 1580.481.1.10:1998:Paints and related materials - Methods of test - Coatings - Exposed to weathering - Degree of flaking and peeling AS 1580.481.1.13:1998:Paints and related materials - Methods of test - Coatings - Exposed to weathering - Degree of fungal or algal growth AS 1580.481.1.9:1998:Paints and related materials - Methods of test - Coatings - Exposed to weathering - Degree of blistering |
| SS | Waterproofing SS CP 82:1999- Code of practice- waterproofing of reinforced concrete buildings Plumbing SS 33 : 1975 Cast iron spigot and socket soil, waste and ventilating pipes (sand cast and spun) and fitting Paints SS CP 22:1981 Painting of buildings SS 5: 1992 Methods of tests for paints, varnishes and related materials SS 7: 1998 Paint: finishing, gloss enamel SS 34: 1998 Undercoat for gloss enamel SS 150: 1998 Emulsion paints for decorative purposes |
| ISO | Plumbing ISO 6594:1983 Cast iron drainage pipes and fittings -- Spigot series ISO 49:1994 Malleable cast iron fittings threaded to ISO 7-1 ISO 185:1988 Grey cast iron -- Classification ISO 437:1982 Steel and cast iron -- Determination of total carbon content -- Combustion gravimetric method ISO 629:1982 Steel and cast iron -- Determination of manganese content -- Spectrophotometric method ISO 671:1982 Steel and cast iron -- Determination of sulphur content -- Combustion titrimetric method ISO 945:1975 Cast iron -- Designation of microstructure of graphite ISO 946:1975 Grey cast iron -- Beam unnotched impact test ISO 1071:1983 Covered electrodes for manual arc welding of cast iron -- Symbolization ISO 1083:1987 Spheroidal graphite cast iron -- Classification ISO 2724:1973 Vitreous and porcelain enamels for cast iron -- Production of specimens for testing ISO 2892:1973 Austenitic cast iron ISO 4829-1:1986 Steel and cast iron -- Determination of total silicon content -- Reduced molybdosilicate spectrophotometric method -- Part 1: Silicon contents between 0,05 and 1,0 % ISO 4934:1980 Steel and cast iron -- Determination of sulfur content -- Gravimetric method ISO 4939:1984 Steel and cast iron -- Determination of nickel content -- Dimethylglyoxime spectrophotometric method ISO 4940:1985 Steel and cast iron -- Determination of nickel content -- Flame atomic absorption spectrometric method ISO 4943:1985 Steel and cast iron -- Determination of copper content -- Flame atomic absorption spectrometric method ISO 4946:1984 Steel and cast iron -- Determination of copper content -- 2,2'-Diquinolyl spectrophotometric method ISO 4947:1986 Steel and cast iron -- Determination of vanadium content -- Potentiometric titration method ISO 5922:1981 Malleable cast iron ISO 5996:1984 Cast iron gate valves ISO 6594:1983 Cast iron drainage pipes and fittings -- Spigot series ISO 6624-1:2001 Internal combustion engines -- Piston rings -- Part 1: Keystone rings made of cast iron (available in English only) ISO 7005-2:1988 Metallic flanges -- Part 2: Cast iron flanges ISO 7259:1988 Predominantly key-operated cast iron gate valves for underground use ISO 8512-1:1990 Surface plates -- Part 1: Cast iron Paints ISO 4618:2014 Paints and varnishes -- Terms and definitions ISO 4618:2014 Paints and varnishes -- Terms and definitions ISO 4624:2016 Paints and varnishes -- Pull-off test for adhesion ISO 6270-1: 1998 Paints and varnishes -- Determination of resistance to humidity -- Part 1: Continuous condensation ISO 9514:2005 Paints and varnishes -- Determination of the pot life of multicomponent coating systems -- Preparation and conditioning of samples and guidelines for testing |

## Water Leakage through Joint (Waterproofing)

| BS | Concrete BS EN 197-1:2011 Cement. Composition, specifications and conformity criteria for common cements BS EN 1992-1-1:2004+A1:2014 Eurocode 2: Design of concrete structures. General rules and rules for buildings BS EN 13139:2002 Aggregates for mortar/ 15/30313572 DC. BS ISO 1920-2. Testing of concrete. Part 2. Properties of fresh concrete/ BS 1881-207:1992. Testing concrete. Recommendations for the assessment of concrete strength by near-to-surface tests/ BS 1881-124:2015. Testing concrete. Methods for analysis of hardened/ BS 1881-125:2013. Testing concrete. Methods for mixing and sampling fresh concrete in the laboratory/ BS 1881-130:2013. Testing concrete. Method for temperature-matched curing of concrete specimens/ BS 1881-113:2011. Testing concrete. Method for making and curing no-fines test cubes/ BS 1881-119:2011. Testing concrete. Method for determination of compressive strength using portions of beams broken in flexure (equivalent cube method)/ BS 1881-122:2011. Testing concrete. Method for determination of water absorption/ BS 1881-129:2011. Testing concrete. Method for determination of density of partially compacted semi-dry fresh concrete/ BS 1881-131:1998. Testing concrete. Methods for testing cement in a reference concrete/ BS 1881-208:1996. Testing concrete. Recommendations for the determination of the initial surface absorption of concrete/ BS 1881-209:1990. Testing concrete. Recommendations for the measurement of dynamic modulus of elasticity/ BS 1881-204:1988. Testing concrete. Recommendations on the use of electromagnetic covermeters/ BS 1881-206:1986. Testing concrete. Recommendations for determination of strain in concrete/ BS 1881-121:1983. Testing concrete. Method for determination of static modulus of elasticity in compression/ BS EN 12504-2:2012. Testing concrete in structures. Non-destructive testing. Determination of rebound number/ BS 1881-204:1988 Testing concrete. Recommendations on the use of electromagnetic covermeters/ BS 1881-206:1986 Testing concrete. Recommendations for determination of strain in concrete. BS 812-103.2:1989. Testing aggregates. Method for determination of particle size distribution. Sedimentation testBS 812-121:1989. Testing aggregates. Method for determination of soundness/ BS 812-119:1985. Testing aggregates. Method for determination of acid-soluble material in fine aggregate/ BS 812-112:1990. Testing aggregates. Method for determination of aggregate impact value (AIV)/ BS 812-114:1989. Testing aggregates. Method for determination of the polished-stone value/ BS 812-110:1990. Testing aggregates. Methods for determination of aggregate crushing value (ACV)/ BS 812-111:1990. Testing aggregates. Methods for determination of ten per cent fines value (TFV)/ BS 812-109:1990. Testing aggregates. Methods for determination of moisture content/ BS 812-104:1994. Testing aggregates. Method for qualitative and quantitative petrographic examination of aggregates/ BS 812-123:1999. Testing aggregates. Method for determination of alkali-silica reactivity. Concrete prism method/ BS 812-2:1995. Testing aggregates. Methods for determination of density/BS EN 932-5:2012 Tests for general properties of aggregates. Common equipment and calibration/ BS 812-124:2009. Testing aggregates. Method for determination of frost heave/ . BS EN 12620:2002+A1:2008 Aggregates for concrete BS 4550:(varies)-Methods of testing cement BS 4887:1986-Mortar admixtures BS EN 206:2013 Concrete. Specification, performance, production and conformity BS EN 13791:2007 Assessment of in-situ compressive strength in structures and pre-cast concrete components/ BS 6089:2010 Assessment of in-situ compressive strength in structures and precast concrete components. Complementary guidance to that given in BS EN 13791/ BS 6949:1991- Specification for bitumen-based coatings for cold application excluding use in contact with potable water BS 7543:2015 Guide to durability of buildings and building elements, products and components/BS ISO 15686-1:2011 Buildings and constructed assets. Service life planning. General principles and frameworkBS ISO 15686-3:2002 Buildings and constructed assets. Service life planning. Performance audits and reviewsBS ISO 15686-2:2012 Buildings and constructed assets. Service life planning. Service life prediction procedures BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles Plaster BS EN 1015-7:1999 Methods of test for mortar for masonry. Determination of air content of fresh mortar / BS EN 1015-4:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by plunger penetration) / BS EN 1015-19:1999 Methods of test for mortar for masonry. Determination of water vapour permeability of hardened rendering and plastering mortars / BS EN 1015-1:1999 Methods of test for mortar for masonry. Determination of particle size distribution (by sieve analysis) / BS EN 1015-2:1999 Methods of test for mortar for masonry. Bulk sampling of mortars and preparation of test mortars / BS EN 1015-3:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by flow table) / BS EN 1015-6:1999 Methods of test for mortar for masonry. Determination of bulk density of fresh mortar / BS EN 1015-9:1999 Methods of test for mortar for masonry. Determination of workable life and correction time of fresh mortar / BS EN 1015-10:1999 Methods of test for mortar for masonry. Determination of dry bulk density of hardened mortar / BS 4551:2005+A2:2013 Mortar. Methods of test for mortar and screed. Chemical analysis and physical testing BS 4551:2005+A2:2013 Mortar. Methods of test for mortar and screed. Chemical analysis and physical testing Waterproofing BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles Paints BS EN ISO 6270-1:2001, BS 3900-F9:2001 Paints and varnishes. Determination of resistance to humidity. Continuous condensation BS EN ISO 4618:2014 Paints and varnishes. Terms and definitions BS 6150:2006+A1:2014 Painting of buildings. Code of practice BS 2992:1970 Specification for painters’ and decorators’ brushes for local authorities and public institutions (excluding quality of fillings) BS 3416:1991 Specification for bitumen-based coatings for cold application, suitable for use in contact with potable water BS 3483-A1:1983, ISO 787/1-1982-Methods for testing pigments for paints. Comparison of colour BS 3483-C7:1980, ISO 787/22-1980-Methods for testing pigments for paints. Comparison of resistance to bleeding BS 3900-B4:1986, ISO 6503-1984-Methods of test for paints. Tests involving chemical examination of liquid paints and dried paint films. Determination of total lead in paints and similar materials BS 3900-F2:1973-Methods of test for paint. Durability tests on paint films. Determination of resistance to humidity (cyclic condensation) BS 3900-F6:1976-Methods of test for paint. Durability tests on paint films. Notes for guidance on the conduct of natural weathering test BS EN ISO 11998:2006 Paints and varnishes. Determination of wet-scrub resistance and cleanability of coatings BS EN ISO 4628-2:2016 Paints and varnishes. Evaluation of degradation of coatings. Designation of quantity and size of defects, and of intensity of uniform changes in appearance. Assessment of degree of blistering BS EN ISO 4628-5:2016 Paints and varnishes. Evaluation of degradation of coatings. Designation of quantity and size of defects, and of intensity of uniform changes in appearance. Assessment of degree of flaking BS 6949:1991-Specification for bitumen-based coatings for cold application excluding use in contact with potable water BS 7664:2000-Specification for undercoat and finishing paints. |
| --- | --- |
| ASTM | Waterproofing ASTM D5957 - 98(2013) Standard Guide for Flood Testing Horizontal Waterproofing Installations ASTM D5295 / D5295M - 14 Standard Guide for Preparation of Concrete Surfaces for Adhered (Bonded) Membrane Waterproofing Systems ASTM D5683 / D5683M - 95(2011)e1 Standard Test Method for Flexibility of Roofing and Waterproofing Materials and Membranes ASTM D6135-05 Standard Practice for Application of Self-Adhering Modified Bituminous Waterproofing (Withdrawn 2014) Concrete C33-01- Standard Specification for Concrete Aggregates ASTM C94 / C94M - 15b Standard Specification for Ready-Mixed Concrete ASTM C150 / C150M - 15 Standard Specification for Portland Cement ASTM C597 - 09 Standard Test Method for Pulse Velocity Through Concrete ASTM C136 / C136M - 14 Standard Test Method for Sieve Analysis of Fine and Coarse Aggregates ASTM C642 - 13 Standard Test Method for Density, Absorption, and Voids in Hardened Concrete ASTM C805 / C805M - 13a Standard Test Method for Rebound Number of Hardened Concrete Paints ASTM D5098 - 16 Standard Specification for Artists’ Acrylic Dispersion Paints ASTM D4258 - 05(2012) Standard Practice for Surface Cleaning Concrete for Coating ASTM D1640 / D1640M - 14 Standard Test Methods for Drying, Curing, or Film Formation of Organic Coatings ASTM D279 - 02(2012) Standard Test Methods for Bleeding of Pigments ASTM D2574 - 06(2012) Standard Test Method for Resistance of Emulsion Paints in the Container to Attack by Microorganisms ASTM D5324 - 10 Standard Guide for Testing Water-Borne Architectural Coatings ASTM D5146 - 10 Standard Guide to Testing Solvent-Borne Architectural Coatings ASTM E1907-06a Standard Guide to Methods of Evaluating Moisture Conditions of Concrete Floors to Receive Resilient Floor Coverings (Withdrawn 2008) ASTM D6237 - 09(2015) Standard Guide for Painting Inspectors (Concrete and Masonry Substrates) Plaster ASTM C1063 - 16a Standard Specification for Installation of Lathing and Furring to Receive Interior and Exterior Portland Cement-Based Plaster |
| AS | Waterproofing AS 3740-2010/Amdt 1-2012 Waterproofing of domestic wet areas AS 3740-Amdt 1:1995- Waterproofing of wet areas within residential buildings Concrete AS 1012.10-2000 : Methods of testing concrete - Determination of indirect tensile strength of concrete cylinders (Brasil or splitting test) AS 1478.2-2005 Chemical admixtures for concrete, mortar and grout - Methods of sampling and testing admixtures for concrete, mortar and grout AS 1012.1:2014 Methods of testing concrete - Sampling of concrete concreteAS 1379-2007/Amdt 1-2009 Specification and supply of concrete - AS 1379-2007/Amdt 2-2015 Specification and supply of concrete AS 1478.1-2000 Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 2550.15-1994 Cranes - Safe use - Concrete placing equipment AS 3600-2009 Concrete structures AS 3648-1993 : Specification and methods of test for packaged concrete mixes Steel DR 01047 : Cathodic protection of metals - Part 5: Steel in concrete structures AS 1302-1991/ Amd 1:1992 : Steel reinforcing bars for concrete AS 1303-1991 : Steel reinforcing wire for concrete Paints AS/NZS 2310:2002 Glossary of paint and painting terms AS/NZS 2311:2009 Guide to the painting of buildings AS 3730.0-2006 Guide to the properties of paints for buildings - General information on the specification, purchasing and testing of paints AS 3730.100-2006 Guide to the properties of paints for buildings - Introduction and list of guides HB 73.1-2005 Handbook of Australian Paint Standards - General HB 73.2-2005 Handbook of Australian Paint Standards - Test methods AS 1580.101.1:1999-Paints and related materials - Methods of test - Conditions of test - Temperature, humidity and airflow control AS 1580.107.2:1995-Paints and related materials - Methods of test - Determination of wet film thickness from wet film mass AS 1580.408.5:1994-Paints and related materials - Methods of test - Adhesion - Pull-off test AS 1580.481.1.10:1998-Paints and related materials - Methods of test - Coatings - Exposed to weathering - Degree of flaking and peeling AS 1580.481.1.13:1998-Paints and related materials - Methods of test - Coatings - Exposed to weathering - Degree of fungal or algal growth AS 1580.481.1.9:1998-Paints and related materials - Methods of test - Coatings - Exposed to weathering - Degree of blistering |
| SS | Waterproofing SS CP 82:1999- Code of practice- waterproofing of reinforced concrete buildings Concrete SS EN 197 - 1 : 2014 Cement - Part 1 : Composition, specifications and conformity criteria for common cement/ SS EN 197 - 2 : 2014 Cement - Part 2 : Conformity evaluation SS EN 12620 : 2008 Specification for aggregates for concrete SS 32 Series - Welded steel fabric for the reinforcement of concrete SS EN 206 : 2014 Concrete. Specification, performance, production and conformity/ SS 544 series - Concrete - Complementary Singapore Standard to SS EN 206-1 SS EN 934 - 1 : 2008 (2015) Admixtures for concrete, mortar and grout - Common requirements/ SS EN 934 - 2 : 2015 Admixtures for concrete, mortar and grout - Part 2 : Definitions, requirements – Concrete admixtures – Definitions, requirements, conformity, marking and labelling/ SS EN 934 - 6 : 2008 (2015) Admixtures for concrete, mortar and grout - Sampling, conformity control and evaluation of conformity Paints SS 542 : 2008 Code of practice for painting of buildings SS 5 Series - Methods of test for paints, varnishes and related materials SS 7 : 1998 Paint - Finishing, gloss enamel SS 34 : 1998 Undercoat paint for gloss enamel SS 150 : 1998 Emulsion paints for decorative purposes |
| ISO | Concrete ISO 1920-3:2004 Testing of concrete -- Part 3: Making and curing test specimens ISO 1920-1:2004 Testing of concrete -- Part 1: Sampling of fresh concrete ISO 1920-3:2004 Testing of concrete -- Part 3: Making and curing test specimens ISO 3766:2003 Construction drawings -- Simplified representation of concrete reinforcement ISO 3893:1977 Concrete -- Classification by compressive strength ISO 1920-4:2005 Testing of concrete -- Part 4: Strength of hardened concrete ISO 1920-4:2005 Testing of concrete -- Part 4: Strength of hardened concrete ISO 4103:1979 Concrete -- Classification of consistency ISO 1920-4:2005 Testing of concrete -- Part 4: Strength of hardened concrete ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 4635:2011 Rubber, vulcanized -- Preformed joint seals for use between concrete paving sections of highways -- Specification ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 6274:1982 Concrete -- Sieve analysis of aggregates ISO 1920-5:2004 Testing of concrete -- Part 5: Properties of hardened concrete other than strength ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 6782:1982 Aggregates for concrete -- Determination of bulk density ISO 6783:1982 Coarse aggregates for concrete -- Determination of particle density and water absorption -- Hydrostatic balance method ISO 1920-10:2010 Testing of concrete -- Part 10: Determination of static modulus of elasticity in compression ISO 7033:1987 Fine and coarse aggregates for concrete -- Determination of the particle mass-per-volume and water absorption -- Pycnometer method Steel ISO 6934-1: 1991 Steel for the prestressing of concrete -- Part 1: General requirements ISO 6934-2: 1991 Steel for the prestressing of concrete -- Part 2: Cold-drawn wire ISO 6934-3: 1991 Steel for the prestressing of concrete -- Part 3: Quenched and tempered wire ISO 6934-4: 1991 Steel for the prestressing of concrete -- Part 4: Strand ISO 6934-5: 1991 Steel for the prestressing of concrete -- Part 5: Hot-rolled steel bars with or without subsequent processing ISO 6935-1: 1991 Steel for the reinforcement of concrete -- Part 1: Plain bars ISO 6935-2: 1991 Steel for the reinforcement of concrete -- Part 2: Ribbed bars ISO 6935-3:1992 Steel for the reinforcement of concrete -- Part 3: Welded fabric Paints ISO 1513:2010 Paints and varnishes -- Examination and preparation of test samples ISO 1514:2004 Paints and varnishes -- Standard panels for testing ISO 1516:2002 Determination of flash/no flash -- Closed cup equilibrium method ISO 9117-3:2010 Paints and varnishes -- Drying tests -- Part 3: Surface-drying test using ballotini ISO 1518-1:2011 Paints and varnishes -- Determination of scratch resistance -- Part 1: Constant-loading method ISO 1519:2011 Paints and varnishes -- Bend test (cylindrical mandrel) ISO 1520:2006 - Paints and varnishes -- Cupping test ISO 1522:2006 Paints and varnishes -- Pendulum damping test ISO 1523:2002 Determination of flash point -- Closed cup equilibrium method ISO 1524:2013 Paints, varnishes and printing inks -- Determination of fineness of grind ISO 2409:2013 Paints and varnishes -- Cross-cut test ISO 2431:2011 Paints and varnishes -- Determination of flow time by use of flow cups ISO 2808:2007 Paints and varnishes -- Determination of film thickness ISO 2810:2004 Paints and varnishes -- Natural weathering of coatings -- Exposure and assessment ISO 2811-1:2016 Paints and varnishes -- Determination of density -- Part 1: Pycnometer method ISO 2811-2:2011 Paints and varnishes -- Determination of density -- Part 2: Immersed body (plummet) method ISO 2811-3:2011 Paints and varnishes -- Determination of density -- Part 3: Oscillation method ISO 2811-4:2011 Paints and varnishes -- Determination of density -- Part 4: Pressure cup method ISO 2812-1:2007 Paints and varnishes -- Determination of resistance to liquids -- Part 1: Immersion in liquids other than water ISO 2812-2:2007 Paints and varnishes -- Determination of resistance to liquids -- Part 2: Water immersion method ISO 2813:2014 Paints and varnishes -- Determination of gloss value at 20 degrees, 60 degrees and 85 degrees BS EN ISO 2814:2006, BS 3900-D4:2006 Paints and varnishes. Comparison of contrast ratio (hiding power) of paints of the same type and colour ISO 2815:2003 Paints and varnishes -- Buchholz indentation test ISO 2884-1:1999 Paints and varnishes -- Determination of viscosity using rotary viscometers -- Part 1: Cone-and-plate viscometer operated at a high rate of shear ISO 3231: 1993 Paints and varnishes -- Determination of resistance to humid atmospheres containing sulfur dioxide ISO 3233-1:2013 Paints and varnishes -- Determination of the percentage volume of non-volatile matter -- Part 1: Method using a coated test panel to determine non-volatile matter and to determine dry film density by the Archimedes principle ISO 3248: 1998 Paints and varnishes -- Determination of the effect of heat ISO 3251:2008 Paints, varnishes and plastics -- Determination of non-volatile-matter content ISO 4618:2014 Paints and varnishes -- Terms and definitions ISO 4618:2014 Paints and varnishes -- Terms and definitions ISO 4624:2016 Paints and varnishes -- Pull-off test for adhesion ISO 4628-1:2016 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 1: General introduction and designation system ISO 4628-2:2003 Paints and varnishes - Evaluation of degradation of coatings - Designation of quantity and size of defects, and of intensity of uniform changes in appearance - Part 2: Assessment of degree of blistering ISO 4628-3:2016 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 3: Assessment of degree of rusting ISO 4628-4:2016 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 4: Assessment of degree of cracking ISO 4628-5:2016 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 5: Assessment of degree of flaking ISO 4628-6:2011 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 6: Assessment of degree of chalking by tape method ISO 6270-1: 1998 Paints and varnishes -- Determination of resistance to humidity -- Part 1: Continuous condensation ISO 6272-1:2011 Paints and varnishes -- Rapid-deformation (impact resistance) tests -- Part 1: Falling-weight test, large-area indenter/ ISO 6272-2:2011 Paints and varnishes -- Rapid-deformation (impact resistance) tests -- Part 2: Falling-weight test, small-area indenter ISO 6503: 1984 Paints and varnishes -- Determination of total lead -- Flame atomic absorption spectrometric method ISO 6504-1: 1983 Paints and varnishes -- Determination of hiding power -- Part 1: Kubelka-Munk method for white and light-coloured paints ISO 6504-3:2006 Paints and varnishes -- Determination of hiding power -- Part 3: Determination of contrast ratio of light-coloured paints at a fixed spreading rate ISO 6713: 1984 Paints and varnishes -- Preparation of acid extracts from paints in liquid or powder form ISO 6744-1: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 1: General methods of test ISO 6744-2: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 2: Determination of phthalic anhydride content ISO 6744-3: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 3: Determination of unsaponifiable matter content ISO 6744-4: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 4: Determination of fatty acid content ISO 6860:2006 Paints and varnishes -- Bend test (conical mandrel) ISO 7142:2007 Binders for paints and varnishes -- Epoxy resins -- General methods of test ISO 7143:2007 Binders for paints and varnishes -- Methods of test for characterizing water-based binders ISO 7783:2011 Paints and varnishes -- Determination of water-vapour transmission properties -- Cup method ISO 7784-1:2016 Paints and varnishes -- Determination of resistance to abrasion -- Part 1: Method with abrasive-paper covered wheels and rotating test specimen ISO 7784-2:2016 Paints and varnishes -- Determination of resistance to abrasion -- Part 2: Method with abrasive rubber wheels and rotating test specimen ISO 7784-3:2016 Paints and varnishes -- Determination of resistance to abrasion -- Part 3: Method with abrasive-paper covered wheel and linearly reciprocating test specimen ISO 8501-1:2007 Preparation of steel substrates before application of paints and related products -- Visual assessment of surface cleanliness -- Part 1: Rust grades and preparation grades of uncoated steel substrates and of steel substrates after overall ISO 9514:2005 Paints and varnishes -- Determination of the pot life of multicomponent coating systems -- Preparation and conditioning of samples and guidelines for testing ISO 11503:1995 Paints and varnishes -- Determination of resistance to humidity (intermittent condensation) ISO 16474-1:2013 Paints and varnishes -- Methods of exposure to laboratory light sources -- Part 1: General guidance ISO 11668:1997 Binders for paints and varnishes -- Chlorinated polymerization resins -- General methods of test ISO 11890-1:2007 Paints and varnishes -- Determination of volatile organic compound (VOC) content -- Part 1: Difference method ISO 11890-2:2013 Paints and varnishes -- Determination of volatile organic compound (VOC) content -- Part 2: Gas-chromatographic method ISO 11908: 1996 Binders for paints and varnishes -- Amino resins -- General methods of test ISO 11909:2007 Binders for paints and varnishes -- Polyisocyanate resins -- General methods of test ISO 11997-1:2005 Paints and varnishes -- Determination of resistance to cyclic corrosion conditions -- Part 1: Wet (salt fog)/dry/humidity ISO 11997-2:2013 Paints and varnishes -- Determination of resistance to cyclic corrosion conditions -- Part 2: Wet (salt fog)/dry/humidity/UV light ISO 11998:2006 Paints and varnishes -- Determination of wet-scrub resistance and cleanability of coatings ISO 12137:2011 Paints and varnishes -- Determination of mar resistance ISO 1518-2:2011 Paints and varnishes -- Determination of scratch resistance -- Part 2: Variable-loading method ISO 14680-1:2000 Paints and varnishes -- Determination of pigment content -- Part 1: Centrifuge method ISO 14680-2: 2000 Paints and varnishes -- Determination of pigment content -- Part 2: Ashing method ISO 14680-3: 2000 Paints and varnishes -- Determination of pigment content -- Part 3: Filtration method ISO 15184:2012 Paints and varnishes -- Determination of film hardness by pencil test |

## Water Leakage through Joint (Floor Trap)

| BS | Concrete BS EN 197-1:2011 Cement. Composition, specifications and conformity criteria for common cements BS 812-103.2:1989. Testing aggregates. Method for determination of particle size distribution. Sedimentation testBS 812-121:1989. Testing aggregates. Method for determination of soundness/ BS 812-119:1985. Testing aggregates. Method for determination of acid-soluble material in fine aggregate/ BS 812-112:1990. Testing aggregates. Method for determination of aggregate impact value (AIV)/ BS 812-114:1989. Testing aggregates. Method for determination of the polished-stone value/ BS 812-110:1990. Testing aggregates. Methods for determination of aggregate crushing value (ACV)/ BS 812-111:1990. Testing aggregates. Methods for determination of ten per cent fines value (TFV)/ BS 812-109:1990. Testing aggregates. Methods for determination of moisture content/ BS 812-104:1994. Testing aggregates. Method for qualitative and quantitative petrographic examination of aggregates/ BS 812-123:1999. Testing aggregates. Method for determination of alkali-silica reactivity. Concrete prism method/ BS 812-2:1995. Testing aggregates. Methods for determination of density/BS EN 932-5:2012 Tests for general properties of aggregates. Common equipment and calibration/ BS 812-124:2009. Testing aggregates. Method for determination of frost heave/ . BS EN 12620:2002+A1:2008 Aggregates for concrete BS 4550:(varies)-Methods of testing cement BS 5328Concrete. Guide to specifying concrete/Concrete. Methods for specifying concrete mixes BS EN 13791:2007 Assessment of in-situ compressive strength in structures and pre-cast concrete components/ BS 6089:2010 Assessment of in-situ compressive strength in structures and precast concrete components. Complementary guidance to that given in BS EN 13791/ BS 6949:1991- Specification for bitumen-based coatings for cold application excluding use in contact with potable water BS 7543:2015 Guide to durability of buildings and building elements, products and components/BS ISO 15686-1:2011 Buildings and constructed assets. Service life planning. General principles and frameworkBS ISO 15686-3:2002 Buildings and constructed assets. Service life planning. Performance audits and reviewsBS ISO 15686-2:2012 Buildings and constructed assets. Service life planning. Service life prediction procedures BS 8000 -Part 2 : 1990- Workmanship on Building Sites Part 2: Code of Practice for Concrete work section 2.2: Site work with in-situ and precast concrete. BS EN 1992-1-1:2004+A1:2014 Eurocode 2: Design of concrete structures. General rules and rules for buildings BS EN 13139:2002 Aggregates for mortar/ 15/30313572 DC. BS ISO 1920-2. Testing of concrete. Part 2. Properties of fresh concrete/ BS 1881-207:1992. Testing concrete. Recommendations for the assessment of concrete strength by near-to-surface tests/ BS 1881-124:2015. Testing concrete. Methods for analysis of hardened/ BS 1881-125:2013. Testing concrete. Methods for mixing and sampling fresh concrete in the laboratory/ BS 1881-130:2013. Testing concrete. Method for temperature-matched curing of concrete specimens/ BS 1881-113:2011. Testing concrete. Method for making and curing no-fines test cubes/ BS 1881-119:2011. Testing concrete. Method for determination of compressive strength using portions of beams broken in flexure (equivalent cube method)/ BS 1881-122:2011. Testing concrete. Method for determination of water absorption/ BS 1881-129:2011. Testing concrete. Method for determination of density of partially compacted semi-dry fresh concrete/ BS 1881-131:1998. Testing concrete. Methods for testing cement in a reference concrete/ BS 1881-208:1996. Testing concrete. Recommendations for the determination of the initial surface absorption of concrete/ BS 1881-209:1990. Testing concrete. Recommendations for the measurement of dynamic modulus of elasticity/ BS 1881-204:1988. Testing concrete. Recommendations on the use of electromagnetic covermeters/ BS 1881-206:1986. Testing concrete. Recommendations for determination of strain in concrete/ BS 1881-121:1983. Testing concrete. Method for determination of static modulus of elasticity in compression/ BS EN 12504-2:2012. Testing concrete in structures. Non-destructive testing. Determination of rebound number/ BS 1881-204:1988 Testing concrete. Recommendations on the use of electromagnetic covermeters/ BS 1881-206:1986 Testing concrete. Recommendations for determination of strain in concrete. Pipes and Fittings BS 3943:1979 - Specification for plastics waste traps BS 4514:2001 - Unplasticized PVC soil and ventilating pipes of 82.4 mm minimum mean outside diameter, and fittings and accessories of 82.4 mm and of other sizes. Specification BS 5255:1989 - Specification for thermoplastics waste pipe and fittings BS 5572: 1978 - Code of practice for sanitary pipework Plaster BS EN 1015-7:1999 Methods of test for mortar for masonry. Determination of air content of fresh mortar / BS EN 1015-4:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by plunger penetration) / BS EN 1015-19:1999 Methods of test for mortar for masonry. Determination of water vapour permeability of hardened rendering and plastering mortars / BS EN 1015-1:1999 Methods of test for mortar for masonry. Determination of particle size distribution (by sieve analysis) / BS EN 1015-2:1999 Methods of test for mortar for masonry. Bulk sampling of mortars and preparation of test mortars / BS EN 1015-3:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by flow table) / BS EN 1015-6:1999 Methods of test for mortar for masonry. Determination of bulk density of fresh mortar / BS EN 1015-9:1999 Methods of test for mortar for masonry. Determination of workable life and correction time of fresh mortar / BS EN 1015-10:1999 Methods of test for mortar for masonry. Determination of dry bulk density of hardened mortar / BS 4551:2005+A2:2013 Mortar. Methods of test for mortar and screed. Chemical analysis and physical testing BS 4551:2005+A2:2013 Mortar. Methods of test for mortar and screed. Chemical analysis and physical testing BS 4887:1986-Mortar admixtures Waterproofing BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS 8000-Part13:1989 - Workmanship on building sites. Code of practice for above ground drainage and sanitary appliances |
| --- | --- |
| ASTM | Pipes and Fittings D618-00 - Standard Practice for Conditioning Plastics for Testing D1599-99 - Standard Test Method for Resistance to Short-Time Hydraulic Failure Pressure of Plastic Pipe, Tubing, and Fittings D1600-99 - Standard Terminology for Abbreviated Terms Relating to Plastics D1784-99a Standard Specification for Rigid Poly(Vinyl Chloride) (PVC) Compounds and Chlorinated Poly(Vinyl Chloride) (CPVC) Compounds D1785-99 Standard Specification for Poly(Vinyl Chloride) (PVC) Plastic Pipe, Schedules 40, 80, and 120 D2122-98 Standard Test Method for Determining Dimensions of Thermoplastic Pipe and Fittings D2464-99 Standard Specification for Threaded Poly(Vinyl Chloride) (PVC) Plastic Pipe Fittings, Schedule 80 D2749-92(1999)e1 Standard Symbols for Dimensions of Plastic Pipe Fittings F412-01 Standard Terminology Relating to Plastic Piping Systems F437-99 Standard Specification for Threaded Chlorinated Poly(Vinyl Chloride) (CPVC) Plastic Pipe Fittings, Schedule 80 F1498-00 Standard Specification for Taper Pipe Threads 60° for Thermoplastic Pipe and Fittings F1674-96 Standard Test Method for Joint Restraint Products for Use with PVC Pipe Waterproofing ASTM D5957 - 98(2013) Standard Guide for Flood Testing Horizontal Waterproofing Installations Concrete ASTM D5295 / D5295M - 14 Standard Guide for Preparation of Concrete Surfaces for Adhered (Bonded) Membrane Waterproofing Systems C33-01- Standard Specification for Concrete Aggregates ASTM C94 / C94M - 15b Standard Specification for Ready-Mixed Concrete ASTM C150 / C150M - 15 Standard Specification for Portland Cement ASTM C597 - 09 Standard Test Method for Pulse Velocity Through Concrete ASTM C136 / C136M - 14 Standard Test Method for Sieve Analysis of Fine and Coarse Aggregates ASTM C642 - 13 Standard Test Method for Density, Absorption, and Voids in Hardened Concrete ASTM C805 / C805M - 13a Standard Test Method for Rebound Number of Hardened Concrete |
| AS | Waterproofing AS 3740-2010 Waterproofing of domestic wet areas / AS 3740-2010/Amdt 1-2012 Waterproofing of domestic wet areas AS 3740-Amdt 1:1995- Waterproofing of wet areas within residential buildings Concrete AS 1012.10-2000 : Methods of testing concrete - Determination of indirect tensile strength of concrete cylinders (Brasil or splitting test) AS 1478.2-2005 Chemical admixtures for concrete, mortar and grout - Methods of sampling and testing admixtures for concrete, mortar and grout AS 1012.1:2014 Methods of testing concrete - Sampling of concrete DR 01047 : Cathodic protection of metals - Part 5: Steel in concrete structures concreteAS 1379-2007/Amdt 1-2009 Specification and supply of concrete - AS 1379-2007/Amdt 2-2015 Specification and supply of concrete AS 1478.1-2000 Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 2550.15-1994 Cranes - Safe use - Concrete placing equipment AS 3600-2009 Concrete structures AS 3648-1993 : Specification and methods of test for packaged concrete mixes Steel AS 1302-1991/ Amd 1:1992 : Steel reinforcing bars for concrete AS 1303-1991 : Steel reinforcing wire for concrete |
| SS | Waterproofing SS CP 82:1999- Code of practice- waterproofing of reinforced concrete buildings Steel SS 566 : 2011 Specification for steel for the reinforcement of concrete – Plain bars SS 18 - 1 : 1999 Cold-reduced steel wire for the reinforcement of concrete and the manufacture of welded fabric - Steel grade 500 SS 580 : 2012 Code of practice for formwork SS 32 Series - Welded steel fabric for the reinforcement of concrete Concrete SS EN 197 - 1 : 2014 Cement - Part 1 : Composition, specifications and conformity criteria for common cement/ SS EN 197 - 2 : 2014 Cement - Part 2 : Conformity evaluation SS EN 12620 : 2008 Specification for aggregates for concrete SS EN 206 : 2014 Concrete. Specification, performance, production and conformity/ SS 544 series - Concrete - Complementary Singapore Standard to SS EN 206-1 SS EN 934 - 1 : 2008 (2015) Admixtures for concrete, mortar and grout - Common requirements/ SS EN 934 - 2 : 2015 Admixtures for concrete, mortar and grout - Part 2 : Definitions, requirements – Concrete admixtures – Definitions, requirements, conformity, marking and labelling/ SS EN 934 - 6 : 2008 (2015) Admixtures for concrete, mortar and grout - Sampling, conformity control and evaluation of conformity |
| ISO | Concrete ISO 1920-3:2004 Testing of concrete -- Part 3: Making and curing test specimens ISO 1920-1:2004 Testing of concrete -- Part 1: Sampling of fresh concrete ISO 1920-3:2004 Testing of concrete -- Part 3: Making and curing test specimens ISO 3766:2003 Construction drawings -- Simplified representation of concrete reinforcement ISO 3893:1977 Concrete -- Classification by compressive strength ISO 1920-4:2005 Testing of concrete -- Part 4: Strength of hardened concrete ISO 1920-4:2005 Testing of concrete -- Part 4: Strength of hardened concrete ISO 4103:1979 Concrete -- Classification of consistency ISO 1920-4:2005 Testing of concrete -- Part 4: Strength of hardened concrete ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 4635:2011 Rubber, vulcanized -- Preformed joint seals for use between concrete paving sections of highways -- Specification ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 6274:1982 Concrete -- Sieve analysis of aggregates ISO 1920-5:2004 Testing of concrete -- Part 5: Properties of hardened concrete other than strength ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 6782:1982 Aggregates for concrete -- Determination of bulk density ISO 6783:1982 Coarse aggregates for concrete -- Determination of particle density and water absorption -- Hydrostatic balance method ISO 1920-10:2010 Testing of concrete -- Part 10: Determination of static modulus of elasticity in compression ISO 7033:1987 Fine and coarse aggregates for concrete -- Determination of the particle mass-per-volume and water absorption -- Pycnometer method Steel ISO 6934-1: 1991 Steel for the prestressing of concrete -- Part 1: General requirements ISO 6934-2: 1991 Steel for the prestressing of concrete -- Part 2: Cold-drawn wire ISO 6934-3: 1991 Steel for the prestressing of concrete -- Part 3: Quenched and tempered wire ISO 6934-4: 1991 Steel for the prestressing of concrete -- Part 4: Strand ISO 6934-5: 1991 Steel for the prestressing of concrete -- Part 5: Hot-rolled steel bars with or without subsequent processing ISO 6935-1: 1991 Steel for the reinforcement of concrete -- Part 1: Plain bars ISO 6935-2: 1991 Steel for the reinforcement of concrete -- Part 2: Ribbed bars ISO 6935-3:1992 Steel for the reinforcement of concrete -- Part 3: Welded fabric Paints ISO 1513:2010 Paints and varnishes -- Examination and preparation of test samples ISO 1514:2004 Paints and varnishes -- Standard panels for testing ISO 1516:2002 Determination of flash/no flash -- Closed cup equilibrium method ISO 9117-3:2010 Paints and varnishes -- Drying tests -- Part 3: Surface-drying test using ballotini ISO 1518-1:2011 Paints and varnishes -- Determination of scratch resistance -- Part 1: Constant-loading method ISO 1519:2011 Paints and varnishes -- Bend test (cylindrical mandrel) ISO 1520:2006 - Paints and varnishes -- Cupping test ISO 1522:2006 Paints and varnishes -- Pendulum damping test ISO 1523:2002 Determination of flash point -- Closed cup equilibrium method ISO 1524:2013 Paints, varnishes and printing inks -- Determination of fineness of grind ISO 2409:2013 Paints and varnishes -- Cross-cut test ISO 2431:2011 Paints and varnishes -- Determination of flow time by use of flow cups ISO 2808:2007 Paints and varnishes -- Determination of film thickness ISO 2810:2004 Paints and varnishes -- Natural weathering of coatings -- Exposure and assessment ISO 2811-1:2016 Paints and varnishes -- Determination of density -- Part 1: Pycnometer method ISO 2811-2:2011 Paints and varnishes -- Determination of density -- Part 2: Immersed body (plummet) method ISO 2811-3:2011 Paints and varnishes -- Determination of density -- Part 3: Oscillation method ISO 2811-4:2011 Paints and varnishes -- Determination of density -- Part 4: Pressure cup method ISO 2812-1:2007 Paints and varnishes -- Determination of resistance to liquids -- Part 1: Immersion in liquids other than water ISO 2812-2:2007 Paints and varnishes -- Determination of resistance to liquids -- Part 2: Water immersion method ISO 2813:2014 Paints and varnishes -- Determination of gloss value at 20 degrees, 60 degrees and 85 degrees BS EN ISO 2814:2006, BS 3900-D4:2006 Paints and varnishes. Comparison of contrast ratio (hiding power) of paints of the same type and colour ISO 2815:2003 Paints and varnishes -- Buchholz indentation test ISO 2884-1:1999 Paints and varnishes -- Determination of viscosity using rotary viscometers -- Part 1: Cone-and-plate viscometer operated at a high rate of shear ISO 3231: 1993 Paints and varnishes -- Determination of resistance to humid atmospheres containing sulfur dioxide ISO 3233-1:2013 Paints and varnishes -- Determination of the percentage volume of non-volatile matter -- Part 1: Method using a coated test panel to determine non-volatile matter and to determine dry film density by the Archimedes principle ISO 3248: 1998 Paints and varnishes -- Determination of the effect of heat ISO 3251:2008 Paints, varnishes and plastics -- Determination of non-volatile-matter content ISO 4618:2014 Paints and varnishes -- Terms and definitions ISO 4618:2014 Paints and varnishes -- Terms and definitions ISO 4624:2016 Paints and varnishes -- Pull-off test for adhesion ISO 4628-1:2016 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 1: General introduction and designation system ISO 4628-2:2003 Paints and varnishes - Evaluation of degradation of coatings - Designation of quantity and size of defects, and of intensity of uniform changes in appearance - Part 2: Assessment of degree of blistering ISO 4628-3:2016 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 3: Assessment of degree of rusting ISO 4628-4:2016 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 4: Assessment of degree of cracking ISO 4628-5:2016 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 5: Assessment of degree of flaking ISO 4628-6:2011 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 6: Assessment of degree of chalking by tape method ISO 6270-1: 1998 Paints and varnishes -- Determination of resistance to humidity -- Part 1: Continuous condensation ISO 6272-1:2011 Paints and varnishes -- Rapid-deformation (impact resistance) tests -- Part 1: Falling-weight test, large-area indenter/ ISO 6272-2:2011 Paints and varnishes -- Rapid-deformation (impact resistance) tests -- Part 2: Falling-weight test, small-area indenter ISO 6503: 1984 Paints and varnishes -- Determination of total lead -- Flame atomic absorption spectrometric method ISO 6504-1: 1983 Paints and varnishes -- Determination of hiding power -- Part 1: Kubelka-Munk method for white and light-coloured paints ISO 6504-3:2006 Paints and varnishes -- Determination of hiding power -- Part 3: Determination of contrast ratio of light-coloured paints at a fixed spreading rate ISO 6713: 1984 Paints and varnishes -- Preparation of acid extracts from paints in liquid or powder form ISO 6744-1: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 1: General methods of test ISO 6744-2: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 2: Determination of phthalic anhydride content ISO 6744-3: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 3: Determination of unsaponifiable matter content ISO 6744-4: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 4: Determination of fatty acid content ISO 6860:2006 Paints and varnishes -- Bend test (conical mandrel) ISO 7142:2007 Binders for paints and varnishes -- Epoxy resins -- General methods of test ISO 7143:2007 Binders for paints and varnishes -- Methods of test for characterizing water-based binders ISO 7783:2011 Paints and varnishes -- Determination of water-vapour transmission properties -- Cup method ISO 7784-1:2016 Paints and varnishes -- Determination of resistance to abrasion -- Part 1: Method with abrasive-paper covered wheels and rotating test specimen ISO 7784-2:2016 Paints and varnishes -- Determination of resistance to abrasion -- Part 2: Method with abrasive rubber wheels and rotating test specimen ISO 7784-3:2016 Paints and varnishes -- Determination of resistance to abrasion -- Part 3: Method with abrasive-paper covered wheel and linearly reciprocating test specimen ISO 8501-1:2007 Preparation of steel substrates before application of paints and related products -- Visual assessment of surface cleanliness -- Part 1: Rust grades and preparation grades of uncoated steel substrates and of steel substrates after overall ISO 9514:2005 Paints and varnishes -- Determination of the pot life of multicomponent coating systems -- Preparation and conditioning of samples and guidelines for testing ISO 11503:1995 Paints and varnishes -- Determination of resistance to humidity (intermittent condensation) ISO 16474-1:2013 Paints and varnishes -- Methods of exposure to laboratory light sources -- Part 1: General guidance ISO 11668:1997 Binders for paints and varnishes -- Chlorinated polymerization resins -- General methods of test ISO 11890-1:2007 Paints and varnishes -- Determination of volatile organic compound (VOC) content -- Part 1: Difference method ISO 11890-2:2013 Paints and varnishes -- Determination of volatile organic compound (VOC) content -- Part 2: Gas-chromatographic method ISO 11908: 1996 Binders for paints and varnishes -- Amino resins -- General methods of test ISO 11909:2007 Binders for paints and varnishes -- Polyisocyanate resins -- General methods of test ISO 11997-1:2005 Paints and varnishes -- Determination of resistance to cyclic corrosion conditions -- Part 1: Wet (salt fog)/dry/humidity ISO 11997-2:2013 Paints and varnishes -- Determination of resistance to cyclic corrosion conditions -- Part 2: Wet (salt fog)/dry/humidity/UV light ISO 11998:2006 Paints and varnishes -- Determination of wet-scrub resistance and cleanability of coatings ISO 12137:2011 Paints and varnishes -- Determination of mar resistance ISO 1518-2:2011 Paints and varnishes -- Determination of scratch resistance -- Part 2: Variable-loading method ISO 14680-1:2000 Paints and varnishes -- Determination of pigment content -- Part 1: Centrifuge method ISO 14680-2: 2000 Paints and varnishes -- Determination of pigment content -- Part 2: Ashing method ISO 14680-3: 2000 Paints and varnishes -- Determination of pigment content -- Part 3: Filtration method ISO 15184:2012 Paints and varnishes -- Determination of film hardness by pencil test |

## Water Leakage through Joint (Screeding)

| BS | Screed BS EN 1015-7:1999 Methods of test for mortar for masonry. Determination of air content of fresh mortar / BS EN 1015-4:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by plunger penetration) / BS EN 1015-19:1999 Methods of test for mortar for masonry. Determination of water vapour permeability of hardened rendering and plastering mortars / BS EN 1015-1:1999 Methods of test for mortar for masonry. Determination of particle size distribution (by sieve analysis) / BS EN 1015-2:1999 Methods of test for mortar for masonry. Bulk sampling of mortars and preparation of test mortars / BS EN 1015-3:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by flow table) / BS EN 1015-6:1999 Methods of test for mortar for masonry. Determination of bulk density of fresh mortar / BS EN 1015-9:1999 Methods of test for mortar for masonry. Determination of workable life and correction time of fresh mortar / BS EN 1015-10:1999 Methods of test for mortar for masonry. Determination of dry bulk density of hardened mortar / BS 4551:2005+A2:2013 Mortar. Methods of test for mortar and screed. Chemical analysis and physical testing BS 4551:2005+A2:2013 Mortar. Methods of test for mortar and screed. Chemical analysis and physical testing BS 8204-3:1993 Screeds, bases and in-situ floorings. Code of practice for polymer modified cementitious wearing surfaces BS EN 13318:2000 Screed material and floor screeds. Definitions BS EN 13813:2002 Screed material and floor screeds. Screed material. Properties and requirements BS EN 13892-1:2002 Methods of test for screed materials. Sampling, making and curing specimens for test BS EN 13892-2:2002 Methods of test for screed materials. Determination of flexural and compressive strength BS EN 13892-4:2002Methods of test for screed materials. Determination of wear resistance-BCA BS EN 13892-6:2002 Methods of test for screed materials. Determination of surface hardness BS EN 13892-8:2002 Methods of test for screed materials. Determination of bond strength Ventilation BS 5250:2002 Code of practice for control of condensation in buildings PD CR 1752:1999 Ventilation for buildings. Design criteria for the indoor environment BS 5720:1979 Code of practice for mechanical ventilation and air conditioning in buildings BS 5925:1991 Code of practice for ventilation principles and designing for natural ventilation PD CR 14378:2002, CR 14378:2002 Ventilation for buildings. Experimental determination of mechanical energy loss coefficients of air handling components BS EN 1751:1999 Ventilation for buildings. Air terminal devices. Aerodynamic testing of dampers and valves |
| --- | --- |
| ASTM | Screed C1222-99 Standard Practice for Evaluation of Laboratories Testing Hydraulic cement C1157-02 Standard Performance Specification for Hydraulic cement C688-00 Standard Specification for Functional Additions for Use in Hydraulic cements C595-02a Standard Specification for Blended Hydraulic cements C563-02 Standard Test Method for Optimum SO3 in Hydraulic cement Using 24-h Compressive Strength C1107-02 Standard Specification for Packaged Dry, Hydraulic-Cement GROUT (Nonshrink) C939-97 Standard Test Method for Flow of GROUT for Preplaced-Aggregate Concrete (Flow Cone Method) C938-97 Standard Practice for Proportioning GROUT Mixtures for Preplaced-Aggregate Concrete Ventilation D6245-98 Standard Guide for Using Indoor Carbon Dioxide Concentrations to Evaluate Indoor Air Quality and ventilation D5952-96(2002) Standard Guide for Inspecting Water Systems for Legionellae and Investigating Possible Outbreaks of Legionellosis (Legionnaires' Disease or Pontiac Fever) F1040-87(2001) Standard Specification for Filter Units, Air Conditioning Viscous-Impingement and Dry Types, Replaceable E337-84(1996)e1 Standard Test Method for Measuring Humidity with a Psychrometer (the Measurement of Wet- and Dry-Bulb Temperatures) E741-00 Standard Test Method for Determining Air Change in a Single Zone by Means of a Tracer Gas Dilution |
| AS | Screed AS 1141.72-1996 Methods for sampling and testing of aggregates - Cement content of cement stabilized materials AS 1141.72-1996/Amdt 1-1999 Methods for sampling and testing aggregates - Cement content of cement stabilized materials AS 1316-2003 Masonry cement AS 2349-1991 Method of sampling portland and blended cements AS 2350.0:1999 Methods of testing portland and blended cements - General introduction and list of methods AS 2350.10-1991 Methods of testing portland and blended cements - Calcium oxide content of blended cement AS 2350.11:2001 Methods of testing portland, blended and masonry cements - Compressive strength AS 2350.11-1997/Amdt 1-1998 Methods of testing portland and blended cements - Compressive strength of portland and blended cements AS 2350.12-2006 Methods of testing portland, blended and masonry cements - Preparation of a standard mortar and moulding of specimens AS 2350.13-1995 Methods of testing portland and blended cements - Determination of drying shrinkage of portland and blended cement mortars AS 2350.13-1995/Amdt 1-1997 Methods of testing portland and blended cements - Determination of drying shrinkage of portland and blended cement mortars AS 2350.14-1996 Methods of testing portland and blended cements - Length change of portland and blended cement mortars exposed to a sulfate solution AS 2350.16:2001 AS/NZS 2350.16:2006 Methods of testing portland, blended and masonry cements - Determination of air content of masonry cement AS 2350.2-1991 Methods of testing portland and blended cements - Chemical composition of portland cement AS 2350.4:1999 Methods of testing portland and blended cements - Setting time of portland and blended cements Ventilation AS 1324.1-2001 Air filters for use in general ventilation and airconditioning - Application, performance and construction AS 1324.2-1996 Air filters for use in general ventilation and airconditioning - Methods of test DR 01312 CP Air filters for use in general ventilation and airconditioning HB 40-2001 The Australian Refrigeration and Air-conditioning Code of Good Practice - Reduction of emissions of fluorocarbon refrigerants in commercial and industrial refrigeration and air-conditioning applications |
| SS | Waterproofing SS CP 82:1999- Code of practice- waterproofing of reinforced concrete buildings Masonry SS 271 : 1983 Concrete masonry units (for non-loadbearing applications) SS 509 - 1 : 2015 Code of practice for cleaning and surface repair of buildings – Part 1 : Cleaning of natural stone, brick, terracotta, concrete and rendered finishes/ SS 509 - 2 : 2005 (2015) Code of practice for cleaning and surface repair of buildings - Surface repair of natural stones, brick, terracotta and rendered finishes CP 67 : Part 2 : 1999 Code of practice for cleaning and surface repair of buildings - Natural stone, cast stone and clay brick masonry Plastering CP 56 : 1991 Code of practice for internal plastering Screed SS EN 197 series - Cement SS EN 12620 : 2008 Specification for aggregates for concrete Ventilation CP 13 : 1999 Code of practice for mechanical ventilation and air-conditioning in buildings |
| ISO | Screed ISO 6274:1982 Concrete; Sieve analysis of aggregates Ventilation ISO 4219:1979 Air quality -- Determination of gaseous sulphur compounds in ambient air -- Sampling equipment ISO 4221:1980 Air quality -- Determination of mass concentration of sulphur dioxide in ambient air -- Thorin spectrophotometric method ISO 4225:1994 Air quality -- General aspects -- Vocabulary ISO 4226:1993 Air quality -- General aspects -- Units of measurement ISO 6879:1995 Air quality -- Performance characteristics and related concepts for air quality measuring methods (available in English only) ISO 7168-1:1999 Air quality -- Exchange of data -- Part 1: General data format ISO 7168-2:1999 Air quality -- Exchange of data -- Part 2: Condensed data format ISO 7708:1995 Air quality -- Particle size fraction definitions for health-related sampling ISO 8672:1993 Air quality -- Determination of the number concentration of airborne inorganic fibres by phase contrast optical microscopy -- Membrane filter method ISO 8756:1994 Air quality -- Handling of temperature, pressure and humidity data ISO 9169:1994 Air quality -- Determination of performance characteristics of measurement methods ISO 9359:1989 Air quality -- Stratified sampling method for assessment of ambient air quality ISO 11222:2002 Air quality -- Determination of the uncertainty of the time average of air quality measurements ISO 13752:1998 Air quality -- Assessment of uncertainty of a measurement method under field conditions using a second method as reference ISO 13964:1998 Air quality -- Determination of ozone in ambient air -- Ultraviolet photometric method ISO 14956:2002 Air quality -- Evaluation of the suitability of a measurement procedure by comparison with a required measurement uncertainty |

## Water Leakage- through external wall and joint

| BS | Ventilation BS 5720 : Code of practice for mechanical ventilation and air conditioning in buildings, British Standards Institution, London Masonry BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS 5628-1:1992 - Code of practice for use of masonry. Structural use of unreinforced masonry BS EN 846-5:2000 - Methods of test for ancillary components for masonry. Determination of tensile and compressive load capacity and load displacement characteristics of wall ties (couplet test) BS EN 1015-10:1999 Methods of test for mortar for masonry. Determination of dry bulk density of hardened mortar/ BS EN 1015-9:1999 Methods of test for mortar for masonry. Determination of workable life and correction time of fresh mortar/ BS EN 1015-6:1999 Methods of test for mortar for masonry. Determination of bulk density of fresh mortar/ BS EN 1015-3:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by flow table)/ BS EN 1015-2:1999 Methods of test for mortar for masonry. Bulk sampling of mortars and preparation of test mortars/ BS EN 1015-1:1999 Methods of test for mortar for masonry. Determination of particle size distribution (by sieve analysis)/ BS EN 1015-19:1999 Methods of test for mortar for masonry. Determination of water vapour permeability of hardened rendering and plastering mortars/ BS EN 1015-4:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by plunger penetration)/ BS EN 1015-7:1999 Methods of test for mortar for masonry. Determination of air content of fresh mortar BS 4551:2005+A2:2013 Mortar. Methods of test for mortar and screed. Chemical analysis and physical testing BS EN1015-12:2000 Methods of test for mortar masonry. Determination of adhesive strength of hardened rendering and plastering mortars on substrates BS EN1015-19:1999 Methods of test for mortar for masonry. Determination of water vapour permeability of hardened rendering and plastering mortars BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar BS EN 1015-18:2002 Methods of test for mortar for masonry. Determination of water absorption coefficient due to capillary action of hardened mortar BS EN 1015-21:2002 Methods of test for mortar for masonry. Determination of the compatibility of one-coat rendering mortars with substrates Coatings BS 6949:1991-Specification for bitumen-based coatings for cold application excluding use in contact with potable water BS 7664:2000Specification for undercoat and finishing paints Plastering BS 8000-10:1995 Workmanship on building sites. Code of practice for plastering and rendering BS EN 197-1:2011 Cement. Composition, specifications and conformity criteria for common cements BS EN 459-1:2015 Building lime. Definitions, specifications and conformity criteria BS EN 13279-1:2008 Gypsum binders and gypsum plasters. Definitions and requirements/ BS EN 13279-2:2014 Gypsum binders and gypsum plasters. Test methods BS EN 13139:2002 Aggregates for mortar BS EN 13658-1:2005 Metal lath and beads. Definitions, requirements and test methods. Internal plastering/ BS EN 13658-2:2005 Metal lath and beads. Definitions, requirements and test methods. External rendering BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar |
| --- | --- |
| ASTM | Ventilation D6245-98 Standard Guide for Using Indoor Carbon Dioxide Concentrations to Evaluate Indoor Air Quality and ventilation D5952-96(2002) Standard Guide for Inspecting Water Systems for Legionellae and Investigating Possible Outbreaks of Legionellosis (Legionnaires' Disease or Pontiac Fever) F1040-87(2001) Standard Specification for Filter Units, Air Conditioning Viscous-Impingement and Dry Types, Replaceable E337-84(1996)e1 Standard Test Method for Measuring Humidity with a Psychrometer (the Measurement of Wet- and Dry-Bulb Temperatures) E741-00 Standard Test Method for Determining Air Change in a Single Zone by Means of a Tracer Gas Dilution Masonry C90-02 Standard Specification for Loadbearing Concrete MASONRY Units C270-02 Standard Specification for Mortar for Unit MASONRY C1384-02a Standard Specification for Admixtures for MASONRY Mortars C1142-95(2001) Standard Specification for Extended Life Mortar for Unit MASONRY Paints ASTM D5098 - 16 Standard Specification for Artists’ Acrylic Dispersion Paints ASTM D4258 - 05(2012) Standard Practice for Surface Cleaning Concrete for Coating ASTM D1640 / D1640M - 14 Standard Test Methods for Drying, Curing, or Film Formation of Organic Coatings ASTM D279 - 02(2012) Standard Test Methods for Bleeding of Pigments ASTM D2574 - 06(2012) Standard Test Method for Resistance of Emulsion Paints in the Container to Attack by Microorganisms ASTM D5324 - 10 Standard Guide for Testing Water-Borne Architectural Coatings ASTM D5146 - 10 Standard Guide to Testing Solvent-Borne Architectural Coatings ASTM E1907-06a Standard Guide to Methods of Evaluating Moisture Conditions of Concrete Floors to Receive Resilient Floor Coverings (Withdrawn 2008) ASTM D6237 - 09(2015) Standard Guide for Painting Inspectors (Concrete and Masonry Substrates) D4541-95e1-Standard Test Method for Pull-Off Strength of Coatings Using Portable Adhesion Testers Plaster ASTM C926 - 16 Standard Specification for Application of Portland Cement-Based Plaster ASTM C1328 / C1328M - 12 Standard Specification for Plastic (Stucco) Cement ASTM C897 - 15 Standard Specification for Aggregate for Job-Mixed Portland Cement-Based PlastersASTM C897 - 15 Standard Specification for Aggregate for Job-Mixed Portland Cement-Based Plasters ASTM E96 / E96M - 15 Standard Test Methods for Water Vapor Transmission of Materials ASTM C1506 - 16a Standard Test Method for Water Retention of Hydraulic Cement-Based Mortars and Plasters ASTM C1063 - 16 Standard Specification for Installation of Lathing and Furring to Receive Interior and Exterior Portland Cement-Based Plaster ASTM C926 - 16 Standard Specification for Application of Portland Cement-Based Plaster ASTM C897 - 15 Standard Specification for Aggregate for Job-Mixed Portland Cement-Based Plasters |
| AS | Ventilation AS 1324.1-2001 Air filters for use in general ventilation and airconditioning - Application, performance and construction AS 1324.2-1996 Air filters for use in general ventilation and airconditioning - Methods of test DR 01312 CP Air filters for use in general ventilation and airconditioning HB 40-2001 The Australian Refrigeration and Air-conditioning Code of Good Practice - Reduction of emissions of fluorocarbon refrigerants in commercial and industrial refrigeration and air-conditioning applications Paints AS 2310:1995-Glossary of paint and painting terms AS 2311:2000-Guide to the painting of buildings AS 3730.0-2006 Guide to the properties of paints for buildings - General information on the specification, purchasing and testing of paints AS 3730.100-2006 Guide to the properties of paints for buildings - Introduction and list of guides HB 73.1-2005 Handbook of Australian Paint Standards - General HB 73.2-2005 Handbook of Australian Paint Standards - Test methods AS 1580.101.1:1999-Paints and related materials - Methods of test - Conditions of test - Temperature, humidity and airflow control AS 1580.107.2:1995-Paints and related materials - Methods of test - Determination of wet film thickness from wet film mass AS 1580.408.5:1994-Paints and related materials - Methods of test - Adhesion - Pull-off test AS 1580.481.1.10:1998-Paints and related materials - Methods of test - Coatings - Exposed to weathering - Degree of flaking and peeling AS 1580.481.1.13:1998-Paints and related materials - Methods of test - Coatings - Exposed to weathering - Degree of fungal or algal growth AS 1580.481.1.9:1998-Paints and related materials - Methods of test - Coatings - Exposed to weathering - Degree of blistering |
| SS | Screed SS EN 197 series - Cement SS EN 12620 : 2008 Specification for aggregates for concrete Ventilation CP 13 : 1999 Code of practice for mechanical ventilation and air-conditioning in buildings Masonry SS 271 : 1983 Concrete masonry units (for non-loadbearing applications) SS 509 - 1 : 2015 Code of practice for cleaning and surface repair of buildings – Part 1 : Cleaning of natural stone, brick, terracotta, concrete and rendered finishes/ SS 509 - 2 : 2005 (2015) Code of practice for cleaning and surface repair of buildings - Surface repair of natural stones, brick, terracotta and rendered finishes CP 67 : Part 2 : 1999 Code of practice for cleaning and surface repair of buildings - Natural stone, cast stone and clay brick masonry Plastering CP 56 : 1991 Code of practice for internal plastering |
| ISO | Ventilation ISO 4219:1979 Air quality -- Determination of gaseous sulphur compounds in ambient air -- Sampling equipment ISO 4221:1980 Air quality -- Determination of mass concentration of sulphur dioxide in ambient air -- Thorin spectrophotometric method ISO 4225:1994 Air quality -- General aspects -- Vocabulary ISO 4226:1993 Air quality -- General aspects -- Units of measurement ISO 6879:1995 Air quality -- Performance characteristics and related concepts for air quality measuring methods (available in English only) ISO 7168-1:1999 Air quality -- Exchange of data -- Part 1: General data format ISO 7168-2:1999 Air quality -- Exchange of data -- Part 2: Condensed data format ISO 7708:1995 Air quality -- Particle size fraction definitions for health-related sampling ISO 8672:1993 Air quality -- Determination of the number concentration of airborne inorganic fibres by phase contrast optical microscopy -- Membrane filter method ISO 8756:1994 Air quality -- Handling of temperature, pressure and humidity data ISO 9169:1994 Air quality -- Determination of performance characteristics of measurement methods ISO 9359:1989 Air quality -- Stratified sampling method for assessment of ambient air quality ISO 11222:2002 Air quality -- Determination of the uncertainty of the time average of air quality measurements ISO 13752:1998 Air quality -- Assessment of uncertainty of a measurement method under field conditions using a second method as reference ISO 13964:1998 Air quality -- Determination of ozone in ambient air -- Ultraviolet photometric method ISO 14956:2002 Air quality -- Evaluation of the suitability of a measurement procedure by comparison with a required measurement uncertainty Screed ISO 6274:1982 Concrete; Sieve analysis of aggregates Paints ISO 11503:1995-Paints and varnishes - Determination of resistance to humidity (intermittent condensation ISO 11998:1998-Paints and varnishes - Determination of wet-scrub resistance and cleanability of coatings |

## Water Leakage Through Porous Floor and Wall

| BS | Waterproofing BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles Concrete BS EN 197-1:2011 Cement. Composition, specifications and conformity criteria for common cements BS EN 1992-1-1:2004+A1:2014 Eurocode 2: Design of concrete structures. General rules and rules for buildings BS EN 13139:2002 Aggregates for mortar/ 15/30313572 DC. BS ISO 1920-2. Testing of concrete. Part 2. Properties of fresh concrete/ BS 1881-207:1992. Testing concrete. Recommendations for the assessment of concrete strength by near-to-surface tests/ BS 1881-124:2015. Testing concrete. Methods for analysis of hardened/ BS 1881-125:2013. Testing concrete. Methods for mixing and sampling fresh concrete in the laboratory/ BS 1881-130:2013. Testing concrete. Method for temperature-matched curing of concrete specimens/ BS 1881-113:2011. Testing concrete. Method for making and curing no-fines test cubes/ BS 1881-119:2011. Testing concrete. Method for determination of compressive strength using portions of beams broken in flexure (equivalent cube method)/ BS 1881-122:2011. Testing concrete. Method for determination of water absorption/ BS 1881-129:2011. Testing concrete. Method for determination of density of partially compacted semi-dry fresh concrete/ BS 1881-131:1998. Testing concrete. Methods for testing cement in a reference concrete/ BS 1881-208:1996. Testing concrete. Recommendations for the determination of the initial surface absorption of concrete/ BS 1881-209:1990. Testing concrete. Recommendations for the measurement of dynamic modulus of elasticity/ BS 1881-204:1988. Testing concrete. Recommendations on the use of electromagnetic covermeters/ BS 1881-206:1986. Testing concrete. Recommendations for determination of strain in concrete/ BS 1881-121:1983. Testing concrete. Method for determination of static modulus of elasticity in compression/ BS EN 12504-2:2012. Testing concrete in structures. Non-destructive testing. Determination of rebound number/ BS 1881-204:1988 Testing concrete. Recommendations on the use of electromagnetic covermeters/ BS 1881-206:1986 Testing concrete. Recommendations for determination of strain in concrete. BS 812-103.2:1989. Testing aggregates. Method for determination of particle size distribution. Sedimentation testBS 812-121:1989. Testing aggregates. Method for determination of soundness/ BS 812-119:1985. Testing aggregates. Method for determination of acid-soluble material in fine aggregate/ BS 812-112:1990. Testing aggregates. Method for determination of aggregate impact value (AIV)/ BS 812-114:1989. Testing aggregates. Method for determination of the polished-stone value/ BS 812-110:1990. Testing aggregates. Methods for determination of aggregate crushing value (ACV)/ BS 812-111:1990. Testing aggregates. Methods for determination of ten per cent fines value (TFV)/ BS 812-109:1990. Testing aggregates. Methods for determination of moisture content/ BS 812-104:1994. Testing aggregates. Method for qualitative and quantitative petrographic examination of aggregates/ BS 812-123:1999. Testing aggregates. Method for determination of alkali-silica reactivity. Concrete prism method/ BS 812-2:1995. Testing aggregates. Methods for determination of density/BS EN 932-5:2012 Tests for general properties of aggregates. Common equipment and calibration/ BS 812-124:2009. Testing aggregates. Method for determination of frost heave/ . BS EN 12620:2002+A1:2008 Aggregates for concrete BS 4550:(varies)-Methods of testing cement BS EN 1015-7:1999 Methods of test for mortar for masonry. Determination of air content of fresh mortar / BS EN 1015-4:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by plunger penetration) / BS EN 1015-19:1999 Methods of test for mortar for masonry. Determination of water vapour permeability of hardened rendering and plastering mortars / BS EN 1015-1:1999 Methods of test for mortar for masonry. Determination of particle size distribution (by sieve analysis) / BS EN 1015-2:1999 Methods of test for mortar for masonry. Bulk sampling of mortars and preparation of test mortars / BS EN 1015-3:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by flow table) / BS EN 1015-6:1999 Methods of test for mortar for masonry. Determination of bulk density of fresh mortar / BS EN 1015-9:1999 Methods of test for mortar for masonry. Determination of workable life and correction time of fresh mortar / BS EN 1015-10:1999 Methods of test for mortar for masonry. Determination of dry bulk density of hardened mortar / BS 4551:2005+A2:2013 Mortar. Methods of test for mortar and screed. Chemical analysis and physical testing BS 4551:2005+A2:2013 Mortar. Methods of test for mortar and screed. Chemical analysis and physical testing BS 4887:1986-Mortar admixtures BS EN 206:2013 Concrete. Specification, performance, production and conformity BS EN 13791:2007 Assessment of in-situ compressive strength in structures and pre-cast concrete components/ BS 6089:2010 Assessment of in-situ compressive strength in structures and precast concrete components. Complementary guidance to that given in BS EN 13791/ BS 6949:1991- Specification for bitumen-based coatings for cold application excluding use in contact with potable water BS 7543:2015 Guide to durability of buildings and building elements, products and components/BS ISO 15686-1:2011 Buildings and constructed assets. Service life planning. General principles and frameworkBS ISO 15686-3:2002 Buildings and constructed assets. Service life planning. Performance audits and reviewsBS ISO 15686-2:2012 Buildings and constructed assets. Service life planning. Service life prediction procedures BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles |
| --- | --- |
| ASTM | Waterproofing ASTM D5957 - 98(2013) Standard Guide for Flood Testing Horizontal Waterproofing Installations ASTM D5295 / D5295M - 14 Standard Guide for Preparation of Concrete Surfaces for Adhered (Bonded) Membrane Waterproofing Systems ASTM D5683 / D5683M - 95(2011)e1 Standard Test Method for Flexibility of Roofing and Waterproofing Materials and Membranes ASTM D6135-05 Standard Practice for Application of Self-Adhering Modified Bituminous Waterproofing (Withdrawn 2014) Concrete C33-01- Standard Specification for Concrete Aggregates ASTM C94 / C94M - 15b Standard Specification for Ready-Mixed Concrete ASTM C150 / C150M - 15 Standard Specification for Portland Cement ASTM C597 - 09 Standard Test Method for Pulse Velocity Through Concrete ASTM C136 / C136M - 14 Standard Test Method for Sieve Analysis of Fine and Coarse Aggregates ASTM C642 - 13 Standard Test Method for Density, Absorption, and Voids in Hardened Concrete ASTM C805 / C805M - 13a Standard Test Method for Rebound Number of Hardened Concrete ASTM D5098 - 16 Standard Specification for Artists’ Acrylic Dispersion Paints ASTM D4258 - 05(2012) Standard Practice for Surface Cleaning Concrete for Coating ASTM D1640 / D1640M - 14 Standard Test Methods for Drying, Curing, or Film Formation of Organic Coatings ASTM D279 - 02(2012) Standard Test Methods for Bleeding of Pigments ASTM D2574 - 06(2012) Standard Test Method for Resistance of Emulsion Paints in the Container to Attack by Microorganisms ASTM D5324 - 10 Standard Guide for Testing Water-Borne Architectural Coatings ASTM D5146 - 10 Standard Guide to Testing Solvent-Borne Architectural Coatings ASTM E1907-06a Standard Guide to Methods of Evaluating Moisture Conditions of Concrete Floors to Receive Resilient Floor Coverings (Withdrawn 2008) ASTM D6237 - 09(2015) Standard Guide for Painting Inspectors (Concrete and Masonry Substrates) |
| AS | Waterproofing AS 3740-2010/Amdt 1-2012 Waterproofing of domestic wet areas AS 3740-Amdt 1:1995- Waterproofing of wet areas within residential buildings Concrete AS 1012.10-2000 : Methods of testing concrete - Determination of indirect tensile strength of concrete cylinders (Brasil or splitting test) AS 1478.2-2005 Chemical admixtures for concrete, mortar and grout - Methods of sampling and testing admixtures for concrete, mortar and grout AS 1012.1:2014 Methods of testing concrete - Sampling of concrete concreteAS 1379-2007/Amdt 1-2009 Specification and supply of concrete - AS 1379-2007/Amdt 2-2015 Specification and supply of concrete AS 1478.1-2000 Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 2550.15-1994 Cranes - Safe use - Concrete placing equipment AS 3600-2009 Concrete structures AS 3648-1993 : Specification and methods of test for packaged concrete mixes |
| SS | Waterproofing SS CP 82:1999- Code of practice- waterproofing of reinforced concrete buildings Concrete SS EN 197 - 1 : 2014 Cement - Part 1 : Composition, specifications and conformity criteria for common cement/ SS EN 197 - 2 : 2014 Cement - Part 2 : Conformity evaluation SS EN 12620 : 2008 Specification for aggregates for concrete SS EN 206 : 2014 Concrete. Specification, performance, production and conformity/ SS 544 series - Concrete - Complementary Singapore Standard to SS EN 206-1 SS EN 934 - 1 : 2008 (2015) Admixtures for concrete, mortar and grout - Common requirements/ SS EN 934 - 2 : 2015 Admixtures for concrete, mortar and grout - Part 2 : Definitions, requirements – Concrete admixtures – Definitions, requirements, conformity, marking and labelling/ SS EN 934 - 6 : 2008 (2015) Admixtures for concrete, mortar and grout - Sampling, conformity control and evaluation of conformity |
| ISO | Concrete ISO 1920-3:2004 Testing of concrete -- Part 3: Making and curing test specimens ISO 1920-1:2004 Testing of concrete -- Part 1: Sampling of fresh concrete ISO 1920-3:2004 Testing of concrete -- Part 3: Making and curing test specimens ISO 3766:2003 Construction drawings -- Simplified representation of concrete reinforcement ISO 3893:1977 Concrete -- Classification by compressive strength ISO 1920-4:2005 Testing of concrete -- Part 4: Strength of hardened concrete ISO 1920-4:2005 Testing of concrete -- Part 4: Strength of hardened concrete ISO 4103:1979 Concrete -- Classification of consistency ISO 1920-4:2005 Testing of concrete -- Part 4: Strength of hardened concrete ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 4635:2011 Rubber, vulcanized -- Preformed joint seals for use between concrete paving sections of highways -- Specification ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 6274:1982 Concrete -- Sieve analysis of aggregates ISO 1920-5:2004 Testing of concrete -- Part 5: Properties of hardened concrete other than strength ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 6782:1982 Aggregates for concrete -- Determination of bulk density ISO 6783:1982 Coarse aggregates for concrete -- Determination of particle density and water absorption -- Hydrostatic balance method ISO 1920-10:2010 Testing of concrete -- Part 10: Determination of static modulus of elasticity in compression ISO 7033:1987 Fine and coarse aggregates for concrete -- Determination of the particle mass-per-volume and water absorption -- Pycnometer method |

## Water Leakage - Bathtub

| BS | Sanitary BS 3402:1969 - Specification for quality of vitreous china sanitary appliances BS 5572: 1978 - Code of Practice for Sanitory pipework BS 3380:1982 - Specification for wastes (excluding skeleton sink wastes) and bath overflows BS 1189:1986 - Specification for baths made from porcelain enamelled cast iron BS 4305-1:1989, EN 198:1987 - Baths for domestic purposes made of acrylic material. Specification for finished baths BS 4305-2:1989 - Baths for domestic purposes made of acrylic material. Specification for connecting dimensions BS 1390:1990 - Specification for baths made from vitreous enamelled sheet steel BS EN 232:1992 - Baths. Connecting dimensions BS 6465-1:1994 - Sanitary installations. Code of practice for scale of provision, selection and installation of sanitary appliances BS 6465-2:1996 - Sanitary installations. Code of practice for space requirements for sanitary appliances Waterproofing BS 8000-Part13:1989 - Workmanship on building sites. Code of practice for above ground drainage and sanitary appliances BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles Sealant BS 4254:1983 - Specification for two-part polysulphide-based sealants BS 3712-1 to 4:1985-1991 - Building and construction sealants. BS 4550:(varies)-Methods of testing cement BS 5215:1986 - Specification for one-part gun grade polysulphide-based sealants BS 5889:1989 - Specification for one-part gun grade silicone-based sealants |
| --- | --- |
| ASTM | Sanitary C448-88(1999) Standard Test Methods for Abrasion Resistance of Porcelain ENAMELS C1203-91(2002) Standard Test Method for Quantitative Determination of Alkali Resistance of a Ceramic-Glass Enamel C614-74(1999) Standard Test Method for Alkali Resistance of Porcelain ENAMELS C756-93-(1999) Standard Test Method for Cleanability of Surface Finishes C286-99 Standard Terminology Relating to PORCELAIN Enamel and Ceramic-Metal Systems C839-82(1999) Standard Test Method for Compressive Stress of PORCELAIN Enamels by Loaded-Beam Method C282-99 Standard Test Method for Acid Resistance of PORCELAIN Enamels (Citric Acid Spot Test) C810-90(2000) Standard Test Method for Nickel on Steel for PORCELAIN Enameling by X-Ray Emission Spectrometry C715-90(2000) Standard Test Method for Nickel on Steel for PORCELAIN Enameling by Photometric Analysis Waterproofing ASTM D5957 - 98(2013) Standard Guide for Flood Testing Horizontal Waterproofing Installations ASTM D5295 / D5295M - 14 Standard Guide for Preparation of Concrete Surfaces for Adhered (Bonded) Membrane Waterproofing Systems Sealant C639:1995- Standard Test Method for Rheological (Flow) Properties of Elastomeric Sealants C736-00 Standard Test Method for Extension-Recovery and Adhesion of Latex Sealants C972-00 - Standard Test Method for Compression-Recovery of Tape Sealant C771-97 - Standard Test Method for Weight Loss After Heat Aging of Preformed Sealing Tapes C792-93:1998 - Standard Test Method for Effects of Heat Aging on Weight Loss, Cracking, and Chalking of Elastomeric Sealants C1246-00 - Standard Test Method for Effects of Heat Aging on Weight Loss, Cracking, and Chalking of Elastomeric Sealants After Cure C719-93(1998) - Standard Test Method for Adhesion and Cohesion of Elastomeric Joint Sealants Under Cyclic Movement (Hockman Cycle) C910-93a(1997) Standard Test Method for Bond and Cohesion of One-Part Elastomeric Solvent Release-Type Sealants C1135-00 Standard Test Method for Determining Tensile Adhesion Properties of Structural Sealants C1216-92(1997) Standard Test Method for Adhesion and Cohesion of One-Part Elastomeric Solvent Release Sealants C794-01 Standard Test Method for Adhesion-in-Peel of Elastomeric Joint Sealants C510-90(1997) Standard Test Method for Staining and Color Change of Single- or Multicomponent Joint Sealants C1248-93(1998) Standard Test Method for Staining of Porous Substrate by Joint Sealants D2203-01 Standard Test Method for Staining from Sealants C713-94(1999)e1 Standard Test Method for Slump of an Oil-Base Knife-Grade Channel Glazing Compound D2202-00 Standard Test Method for Slump of Sealants C603-90(1997)e1 Standard Test Method for Extrusion Rate and Application Life of Elastomeric Sealants C731-00 Standard Test Method for Extrudability, After Package Aging, of Latex Sealants C1183-91(1997) Standard Test Method for Extrusion Rate of Elastomeric Sealants D2452-94(1999)e1 Standard Test Method for Extrudability of Oil- and Resin-Base Caulking Compounds C1193-00 Standard Guide for Use of Joint Sealants C1299-99 Standard Guide for Use in Selection of Liquid-Applied Sealants |
| AS | Sanitary AS 1976-1992 Vitreous china used in sanitary appliances AS 3500.2.1-1996 National Plumbing and Drainage - Sanitary plumbing and drainage - Performance requirements AS/NZS 3500.2.2:1996 National Plumbing and Drainage - Sanitary plumbing and drainage - Acceptable solutions AS/NZS 3500.2.2-1996/Amdt 1-1999 National Plumbing and Drainage - Sanitary plumbing and drainage-Acceptable solutions AS 1976-1992 Vitreous china used in sanitary appliances AS 4023-1992 Non-vitreous china used in sanitary appliances Waterproofing AS 3740-2010 Waterproofing of domestic wet areas / AS 3740-2010/Amdt 1-2012 Waterproofing of domestic wet areas AS 3740-Amdt 1:1995- Waterproofing of wet areas within residential buildings |
| SS | Sanitary SS 205 : 1978: Vitreous china washdown WC pans - Dimensions and functional requirements SS 379 : 1996: Vitreous china WC pans for use with low capacity WC flushing cisterns up to 4.5L maximum SS 396 : 1997: Vitreous china WC pans for use with 6 L flush valves Waterproofing SS CP 82:1999- Code of practice- waterproofing of reinforced concrete buildings |
| ISO | Sanitary ISO 1772: 1975 Laboratory crucibles in porcelain and silica ISO 1775: 1975 Porcelain laboratory apparatus -- Requirements and methods of test ISO 2722: 1997 Vitreous and porcelain enamels -- Determination of resistance to citric acid at room temperature ISO 2723: 1995 Vitreous and porcelain enamels for sheet steel -- Production of specimens for testing ISO 2724: 1973 Vitreous and porcelain enamels for cast iron -- Production of specimens for testing ISO 2733: 1983 Vitreous and porcelain enamels -- Apparatus for testing with acid and neutral liquids and their vapours ISO 2734: 1997 Vitreous and porcelain enamels -- Apparatus for testing with alkaline liquids ISO 2742: 1998 Vitreous and porcelain enamels -- Determination of resistance to boiling citric acid ISO 2743: 1986 Vitreous and porcelain enamels -- Determination of resistance to condensing hydrochloric acid vapour ISO 2744: 1998 Vitreous and porcelain enamels -- Determination of resistance to boiling water and water vapour ISO 2745: 1998 Vitreous and porcelain enamels -- Determination of resistance to hot sodium hydroxide ISO 4531-1: 1998 Vitreous and porcelain enamels -- Release of lead and cadmium from enamelled ware in contact with food -- Part 1: Method of test ISO 4531-2: 1998 Vitreous and porcelain enamels -- Release of lead and cadmium from enamelled ware in contact with food -- Part 2: Permissible limits ISO 4532: 1991 Vitreous and porcelain enamels -- Determination of the resistance of enamelled articles to impact -- Pistol test ISO 4533: 1983 Vitreous and porcelain enamels -- Determination of resistance to hot detergent solutions used for washing textiles ISO 4534: 1980 Vitreous and porcelain enamels -- Determination of fluidity behaviour -- Fusion flow test ISO 4535: 1983 Vitreous and porcelain enamels -- Apparatus for determination of resistance to hot detergent solutions used for washing textiles ISO 4791-1:1985 Laboratory apparatus -- Vocabulary relating to apparatus made essentially from glass, porcelain or vitreous silica -- Part 1: Names for items of apparatus ISO 6370-1: 1991 Vitreous and porcelain enamels -- Determination of the resistance to abrasion -- Part 1: Abrasion testing apparatus ISO 6370-2: 1991 Vitreous and porcelain enamels -- Determination of the resistance to abrasion -- Part 2: Loss in mass after sub-surface abrasion ISO 8289: 2000 Vitreous and porcelain enamels -- Low voltage test for detecting and locating defects ISO 8290: 1998 Vitreous and porcelain enamels -- Determination of resistance to sulfuric acid at room temperature ISO 8291: 1986 Vitreous and porcelain enamels -- Method of test of self-cleaning properties ISO 13806: 1999 Vitreous and porcelain enamels -- Corrosion tests in closed systems ISO 15695: 2000 Vitreous and porcelain enamels -- Determination of scratch resistance of enamel finishes Sealant ISO 11600:1993 - Building construction - sealants- classification and requirements ISO 14656:1999 Epoxy powder and sealing material for the coating of steel for the reinforcement of concrete ISO 6927: 1981 Building construction -- Jointing products -- Sealants -- Vocabulary ISO 8339: 1984 Building construction -- Jointing products -- Sealants -- Determination of tensile properties ISO 8340: 1984 Building construction -- Jointing products -- Sealants -- Determination of tensile properties at maintained extension ISO 8394: 1988 Building construction -- Jointing products -- Determination of extrudability of one-component sealants ISO 9046: 1987 Building construction -- Sealants -- Determination of adhesion/cohesion properties at constant temperature ISO 9047: 2001 Building construction -- Jointing products -- Determination of adhesion/cohesion properties of sealants at variable temperatures (available in English only) ISO 9048: 1987 Building construction -- Jointing products -- Determination of extrudability of sealants using standardized apparatus ISO 10563: 1991 Building construction -- Sealants for joints -- Determination of change in mass and volume ISO 10590: 1991 Building construction -- Sealants -- Determination of adhesion/cohesion properties at maintained extension after immersion in water ISO 10591: 1991 Building construction -- Sealants -- Determination of adhesion/cohesion properties after immersion in water ISO 11431: 1993 Building construction -- Sealants -- Determination of adhesion/cohesion properties after exposure to artificial light through glass ISO 11432: 1993 Building construction -- Sealants -- Determination of resistance to compression ISO 11600: 1993 Building construction -- Sealants -- Classification and requirements ISO 13638: 1996 Building construction -- Sealants -- Determination of resistance to prolonged exposure to water |

## Spalling-RC internal Floor Slab

| BS | Waterproofing BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles Concrete BS EN 197-1:2011 Cement. Composition, specifications and conformity criteria for common cements BS ISO 3310-2:2013 Test sieves. Technical requirements and testing. Test sieves of perforated metal plate/ BS 410-1:2000, ISO 3310-1:2000 Test sieves. Technical requirements and testing. Test sieves of metal wire cloth BS 812-103.2:1989. Testing aggregates. Method for determination of particle size distribution. Sedimentation testBS 812-121:1989. Testing aggregates. Method for determination of soundness/ BS 812-119:1985. Testing aggregates. Method for determination of acid-soluble material in fine aggregate/ BS 812-112:1990. Testing aggregates. Method for determination of aggregate impact value (AIV)/ BS 812-114:1989. Testing aggregates. Method for determination of the polished-stone value/ BS 812-110:1990. Testing aggregates. Methods for determination of aggregate crushing value (ACV)/ BS 812-111:1990. Testing aggregates. Methods for determination of ten per cent fines value (TFV)/ BS 812-109:1990. Testing aggregates. Methods for determination of moisture content/ BS 812-104:1994. Testing aggregates. Method for qualitative and quantitative petrographic examination of aggregates/ BS 812-123:1999. Testing aggregates. Method for determination of alkali-silica reactivity. Concrete prism method/ BS 812-2:1995. Testing aggregates. Methods for determination of density/BS EN 932-5:2012 Tests for general properties of aggregates. Common equipment and calibration/ BS 812-124:2009. Testing aggregates. Method for determination of frost heave/ . BS EN 12620:2002+A1:2008 Aggregates for concrete BS EN 12878:2014 Pigments for the colouring of building materials based on cement and/or lime. Specifications and methods of test BS EN 13139:2002 Aggregates for mortar BS EN 13139:2002 Aggregates for mortar/ 15/30313572 DC. BS ISO 1920-2. Testing of concrete. Part 2. Properties of fresh concrete/ BS 1881-207:1992. Testing concrete. Recommendations for the assessment of concrete strength by near-to-surface tests/ BS 1881-124:2015. Testing concrete. Methods for analysis of hardened/ BS 1881-125:2013. Testing concrete. Methods for mixing and sampling fresh concrete in the laboratory/ BS 1881-130:2013. Testing concrete. Method for temperature-matched curing of concrete specimens/ BS 1881-113:2011. Testing concrete. Method for making and curing no-fines test cubes/ BS 1881-119:2011. Testing concrete. Method for determination of compressive strength using portions of beams broken in flexure (equivalent cube method)/ BS 1881-122:2011. Testing concrete. Method for determination of water absorption/ BS 1881-129:2011. Testing concrete. Method for determination of density of partially compacted semi-dry fresh concrete/ BS 1881-131:1998. Testing concrete. Methods for testing cement in a reference concrete/ BS 1881-208:1996. Testing concrete. Recommendations for the determination of the initial surface absorption of concrete/ BS 1881-209:1990. Testing concrete. Recommendations for the measurement of dynamic modulus of elasticity/ BS 1881-204:1988. Testing concrete. Recommendations on the use of electromagnetic covermeters/ BS 1881-206:1986. Testing concrete. Recommendations for determination of strain in concrete/ BS 1881-121:1983. Testing concrete. Method for determination of static modulus of elasticity in compression/ BS EN 12504-2:2012. Testing concrete in structures. Non-destructive testing. Determination of rebound number/ BS 1881-204:1988 Testing concrete. Recommendations on the use of electromagnetic covermeters/ BS 1881-206:1986 Testing concrete. Recommendations for determination of strain in concrete. BS 4550-6:1978 Methods of testing cement. Standard sand for mortar cubess BS EN 998-1:2003-Specification for mortar for masonry. Rendering and plastering mortar/ BS EN 998-2:2003-Specification for mortar for masonry. Masonry mortar BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity/BS EN 480-11:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of air void characteristics in hardened concrete/BS EN 480-12:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of the alkali content of admixtures/BS EN 480-1:2006+A1:2011 Admixtures for concrete, mortar and grout. Test methods. Reference concrete and reference mortar for testing/BS EN 934-2:2009+A1:2012 Admixtures for concrete, mortar and grout . Concrete admixtures. Definitions, requirements, conformity, marking and labelling/BS EN 480-8:2012 Admixtures for concrete, mortar and grout. Test methods. Determination of the conventional dry material content/BS EN 480-10:2009 Admixtures for concrete, mortar and grout. Test methods. Determination of water soluble chloride content/BS EN 480-6:2005 Admixtures for concrete, mortar and grout. Test methods. Infrared analysis/BS EN 480-5:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of capillary absorption/BS EN 480-2:2006 Admixtures for concrete, mortar and grout. Test methods. Determination of setting time/ BS EN 934-3:2009+A1:2012 Admixtures for concrete, mortar and grout. Admixtures for masonry mortar. Definitions, requirements, conformity and marking and labelling/ BS EN 480-4:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of bleeding of concrete/ BS 5328Concrete. Guide to specifying concrete/Concrete. Methods for specifying concrete mixes BS EN 998-2:2010 Specification for mortar for masonry. Masonry mortar/ BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar BS EN 13791:2007 Assessment of in-situ compressive strength in structures and pre-cast concrete components/ BS 6089:2010 Assessment of in-situ compressive strength in structures and precast concrete components. Complementary guidance to that given in BS EN 13791/ BS 6319-3:1990 Testing of resin and polymer/cement compositions for use in construction. Methods for measurement of modulus of elasticity in flexure and flexural strength BS 6319-12:1992 Testing of resin and polymer/cement compositions for use in construction. Methods for measurement of unrestrained linear shrinkage and coefficient of thermal expansion PD 6678:2005 Guide to the specification of masonry mortar BS EN 480-1:2014 Admixtures for concrete, mortar and grout. Test methods. Reference concrete and reference mortar for testing BS EN 480-2:2006 Admixtures for concrete, mortar and grout. Test methods. Determination of setting time BS EN 480-4:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of bleeding of concrete BS EN 480-5:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of capillary absorption BS EN 480-6:2005 Admixtures for concrete, mortar and grout. Test methods. Infrared analysis BS EN 480-8:2012 Admixtures for concrete, mortar and grout. Test methods. Determination of the conventional dry material content BS EN 480-10:2009 Admixtures for concrete, mortar and grout. Test methods. Determination of water soluble chloride content BS EN 480-11:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of air void characteristics in hardened concrete BS EN 480-12:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of the alkali content of admixtures BS EN 934-2:2009+A1:2012 Admixtures for concrete, mortar and grout. Concrete admixtures. Definitions, requirements, conformity, marking and labelling BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity BS EN 934-3:2009+A1:2012 Admixtures for concrete, mortar and grout. Admixtures for masonry mortar. Definitions, requirements, conformity and marking and labelling BS EN 934-2:2009+A1:2012 Admixtures for concrete, mortar and grout. Concrete admixtures. Definitions, requirements, conformity, marking and labelling BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity BS 6949:1991- Specification for bitumen-based coatings for cold application excluding use in contact with potable water BS 7543:2015 Guide to durability of buildings and building elements, products and components/BS ISO 15686-1:2011 Buildings and constructed assets. Service life planning. General principles and frameworkBS ISO 15686-3:2002 Buildings and constructed assets. Service life planning. Performance audits and reviewsBS ISO 15686-2:2012 Buildings and constructed assets. Service life planning. Service life prediction procedures BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS EN 1992-1-1:2004+A1:2014 Eurocode 2: Design of concrete structures. General rules and rules for buildings |
| --- | --- |
| ASTM | Waterproofing ASTM D5957 - 98(2013) Standard Guide for Flood Testing Horizontal Waterproofing Installations ASTM D5295 / D5295M - 14 Standard Guide for Preparation of Concrete Surfaces for Adhered (Bonded) Membrane Waterproofing Systems Concrete C33-01- Standard Specification for Concrete Aggregates ASTM C94 / C94M - 15b Standard Specification for Ready-Mixed Concrete ASTM C150 / C150M - 15 Standard Specification for Portland Cement ASTM C597 - 09 Standard Test Method for Pulse Velocity Through Concrete ASTM C136 / C136M - 14 Standard Test Method for Sieve Analysis of Fine and Coarse Aggregates ASTM C642 - 13 Standard Test Method for Density, Absorption, and Voids in Hardened Concrete ASTM C805 / C805M - 13a Standard Test Method for Rebound Number of Hardened Concrete Steel ASTM A1022 / A1022M - 15a Standard Specification for Deformed and Plain Stainless Steel Wire and Welded Wire for Concrete Reinforcement ASTM A1064 / A1064M - 16 Standard Specification for Carbon-Steel Wire and Welded Wire Reinforcement, Plain and Deformed, for Concrete ASTM A933/A933M-14 Standard Specification for Vinyl-Coated Steel Wire and Welded Wire Reinforcement |
| AS | Waterproofing AS 3740-2010/Amdt 1-2012 Waterproofing of domestic wet areas AS 3740-Amdt 1:1995- Waterproofing of wet areas within residential buildings Concrete AS 1012.10-2000 : Methods of testing concrete - Determination of indirect tensile strength of concrete cylinders (Brasil or splitting test) DR 01033 : Chemical admixtures for concrete, mortar and grout Methods of sampling and testing admixtures for mortar and grout AS 1012.1 to 21 : Methods of testing concrete AS 1379-1997/Amdt 1-2000 : Specification and supply of concrete AS 1478.1-2000 : Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 2550.15-1994 : Cranes - Safe use - Concrete placing equipment AS 3600-2001 : Concrete structures AS 3648-1993 : Specification and methods of test for packaged concrete mixes Steel DR 01047 : Cathodic protection of metals - Part 5: Steel in concrete structures AS 1302-1991/ Amd 1:1992 : Steel reinforcing bars for concrete AS 1303-1991 : Steel reinforcing wire for concrete |
| SS | Waterproofing SS CP 82:1999- Code of practice- waterproofing of reinforced concrete buildings Concrete SS EN 197 - 1 : 2014 Cement - Part 1 : Composition, specifications and conformity criteria for common cement/ SS EN 197 - 2 : 2014 Cement - Part 2 : Conformity evaluation SS EN 12620 : 2008 Specification for aggregates for concrete SS 32 Series - Welded steel fabric for the reinforcement of concrete SS EN 206 : 2014 Concrete. Specification, performance, production and conformity/ SS 544 series - Concrete - Complementary Singapore Standard to SS EN 206-1 SS EN 934 - 1 : 2008 (2015) Admixtures for concrete, mortar and grout - Common requirements/ SS EN 934 - 2 : 2015 Admixtures for concrete, mortar and grout - Part 2 : Definitions, requirements – Concrete admixtures – Definitions, requirements, conformity, marking and labelling/ SS EN 934 - 6 : 2008 (2015) Admixtures for concrete, mortar and grout - Sampling, conformity control and evaluation of conformity Steel SS 566 : 2011 Specification for steel for the reinforcement of concrete – Plain bars SS 18 - 1 : 1999 Cold-reduced steel wire for the reinforcement of concrete and the manufacture of welded fabric - Steel grade 500 SS 580 : 2012 Code of practice for formwork |
| ISO | Concrete ISO 1920-1:2004 Testing of concrete -- Part 1: Sampling of fresh concrete/ ISO 1920-3:2004 Testing of concrete - Part 3: Making and curing test specimens ISO 3893:1977 Concrete -- Classification by compressive strength ISO 4103:1979 Concrete -- Classification of consistency (Withdrawn)ISO 4103:1979 Concrete -- Classification of consistency (Withdrawn) ISO 6274:1982 Concrete -- Sieve analysis of aggregates ISO 1920-1:2004 Testing of concrete -- Part 1: Sampling of fresh concrete/ ISO 1920-3:2004 Testing of concrete - Part 3: Making and curing test specimens Steel ISO 6934-1:1991 Steel for the prestressing of concrete -- Part 1: General requirements ISO 6934-2:1991 Steel for the prestressing of concrete -- Part 2: Cold-drawn wire ISO 6934-3:1991 Steel for the prestressing of concrete -- Part 3: Quenched and tempered wire ISO 6934-4:1991 Steel for the prestressing of concrete -- Part 4: Strand ISO 6934-5:1991 Steel for the prestressing of concrete -- Part 5: Hot-rolled steel bars with or without subsequent processing ISO 6935-1:2007 Steel for the reinforcement of concrete -- Part 1: Plain bars ISO 6935-2:2015 Steel for the reinforcement of concrete -- Part 2: Ribbed bars ISO 6935-3:1992 Steel for the reinforcement of concrete -- Part 3: Welded fabric ISO 14654:1999 Epoxy-coated steel for the reinforcement of concrete ISO 14656:1999 Epoxy powder and sealing material for the coating of steel for the reinforcement of concrete |

## Spalling-RC internal Floor Slab

| BS | Concrete BS EN 197-1:2011 Cement. Composition, specifications and conformity criteria for common cements BS ISO 3310-2:2013 Test sieves. Technical requirements and testing. Test sieves of perforated metal plate/ BS 410-1:2000, ISO 3310-1:2000 Test sieves. Technical requirements and testing. Test sieves of metal wire cloth BS 812-103.2:1989. Testing aggregates. Method for determination of particle size distribution. Sedimentation testBS 812-121:1989. Testing aggregates. Method for determination of soundness/ BS 812-119:1985. Testing aggregates. Method for determination of acid-soluble material in fine aggregate/ BS 812-112:1990. Testing aggregates. Method for determination of aggregate impact value (AIV)/ BS 812-114:1989. Testing aggregates. Method for determination of the polished-stone value/ BS 812-110:1990. Testing aggregates. Methods for determination of aggregate crushing value (ACV)/ BS 812-111:1990. Testing aggregates. Methods for determination of ten per cent fines value (TFV)/ BS 812-109:1990. Testing aggregates. Methods for determination of moisture content/ BS 812-104:1994. Testing aggregates. Method for qualitative and quantitative petrographic examination of aggregates/ BS 812-123:1999. Testing aggregates. Method for determination of alkali-silica reactivity. Concrete prism method/ BS 812-2:1995. Testing aggregates. Methods for determination of density/BS EN 932-5:2012 Tests for general properties of aggregates. Common equipment and calibration/ BS 812-124:2009. Testing aggregates. Method for determination of frost heave/ . BS EN 12620:2002+A1:2008 Aggregates for concrete BS EN 12878:2014 Pigments for the colouring of building materials based on cement and/or lime. Specifications and methods of test BS EN 13139:2002 Aggregates for mortar BS EN 13139:2002 Aggregates for mortar/ 15/30313572 DC. BS ISO 1920-2. Testing of concrete. Part 2. Properties of fresh concrete/ BS 1881-207:1992. Testing concrete. Recommendations for the assessment of concrete strength by near-to-surface tests/ BS 1881-124:2015. Testing concrete. Methods for analysis of hardened/ BS 1881-125:2013. Testing concrete. Methods for mixing and sampling fresh concrete in the laboratory/ BS 1881-130:2013. Testing concrete. Method for temperature-matched curing of concrete specimens/ BS 1881-113:2011. Testing concrete. Method for making and curing no-fines test cubes/ BS 1881-119:2011. Testing concrete. Method for determination of compressive strength using portions of beams broken in flexure (equivalent cube method)/ BS 1881-122:2011. Testing concrete. Method for determination of water absorption/ BS 1881-129:2011. Testing concrete. Method for determination of density of partially compacted semi-dry fresh concrete/ BS 1881-131:1998. Testing concrete. Methods for testing cement in a reference concrete/ BS 1881-208:1996. Testing concrete. Recommendations for the determination of the initial surface absorption of concrete/ BS 1881-209:1990. Testing concrete. Recommendations for the measurement of dynamic modulus of elasticity/ BS 1881-204:1988. Testing concrete. Recommendations on the use of electromagnetic covermeters/ BS 1881-206:1986. Testing concrete. Recommendations for determination of strain in concrete/ BS 1881-121:1983. Testing concrete. Method for determination of static modulus of elasticity in compression/ BS EN 12504-2:2012. Testing concrete in structures. Non-destructive testing. Determination of rebound number/ BS 1881-204:1988 Testing concrete. Recommendations on the use of electromagnetic covermeters/ BS 1881-206:1986 Testing concrete. Recommendations for determination of strain in concrete. BS 4550-6:1978 Methods of testing cement. Standard sand for mortar cubess BS EN 998-1:2003-Specification for mortar for masonry. Rendering and plastering mortar/ BS EN 998-2:2003-Specification for mortar for masonry. Masonry mortar BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity/BS EN 480-11:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of air void characteristics in hardened concrete/BS EN 480-12:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of the alkali content of admixtures/BS EN 480-1:2006+A1:2011 Admixtures for concrete, mortar and grout. Test methods. Reference concrete and reference mortar for testing/BS EN 934-2:2009+A1:2012 Admixtures for concrete, mortar and grout . Concrete admixtures. Definitions, requirements, conformity, marking and labelling/BS EN 480-8:2012 Admixtures for concrete, mortar and grout. Test methods. Determination of the conventional dry material content/BS EN 480-10:2009 Admixtures for concrete, mortar and grout. Test methods. Determination of water soluble chloride content/BS EN 480-6:2005 Admixtures for concrete, mortar and grout. Test methods. Infrared analysis/BS EN 480-5:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of capillary absorption/BS EN 480-2:2006 Admixtures for concrete, mortar and grout. Test methods. Determination of setting time/ BS EN 934-3:2009+A1:2012 Admixtures for concrete, mortar and grout. Admixtures for masonry mortar. Definitions, requirements, conformity and marking and labelling/ BS EN 480-4:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of bleeding of concrete/ BS 5328Concrete. Guide to specifying concrete/Concrete. Methods for specifying concrete mixes BS EN 998-2:2010 Specification for mortar for masonry. Masonry mortar/ BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar BS EN 13791:2007 Assessment of in-situ compressive strength in structures and pre-cast concrete components/ BS 6089:2010 Assessment of in-situ compressive strength in structures and precast concrete components. Complementary guidance to that given in BS EN 13791/ BS 6319-3:1990 Testing of resin and polymer/cement compositions for use in construction. Methods for measurement of modulus of elasticity in flexure and flexural strength BS 6319-12:1992 Testing of resin and polymer/cement compositions for use in construction. Methods for measurement of unrestrained linear shrinkage and coefficient of thermal expansion PD 6678:2005 Guide to the specification of masonry mortar BS EN 480-1:2014 Admixtures for concrete, mortar and grout. Test methods. Reference concrete and reference mortar for testing BS EN 480-2:2006 Admixtures for concrete, mortar and grout. Test methods. Determination of setting time BS EN 480-4:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of bleeding of concrete BS EN 480-5:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of capillary absorption BS EN 480-6:2005 Admixtures for concrete, mortar and grout. Test methods. Infrared analysis BS EN 480-8:2012 Admixtures for concrete, mortar and grout. Test methods. Determination of the conventional dry material content BS EN 480-10:2009 Admixtures for concrete, mortar and grout. Test methods. Determination of water soluble chloride content BS EN 480-11:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of air void characteristics in hardened concrete BS EN 480-12:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of the alkali content of admixtures BS EN 934-2:2009+A1:2012 Admixtures for concrete, mortar and grout. Concrete admixtures. Definitions, requirements, conformity, marking and labelling BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity BS EN 934-3:2009+A1:2012 Admixtures for concrete, mortar and grout. Admixtures for masonry mortar. Definitions, requirements, conformity and marking and labelling BS EN 934-2:2009+A1:2012 Admixtures for concrete, mortar and grout. Concrete admixtures. Definitions, requirements, conformity, marking and labelling BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity BS 6949:1991- Specification for bitumen-based coatings for cold application excluding use in contact with potable water BS 7543:2015 Guide to durability of buildings and building elements, products and components/BS ISO 15686-1:2011 Buildings and constructed assets. Service life planning. General principles and frameworkBS ISO 15686-3:2002 Buildings and constructed assets. Service life planning. Performance audits and reviewsBS ISO 15686-2:2012 Buildings and constructed assets. Service life planning. Service life prediction procedures BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS EN 1992-1-1:2004+A1:2014 Eurocode 2: Design of concrete structures. General rules and rules for buildings |
| --- | --- |
| ASTM | Concrete C33-01- Standard Specification for Concrete Aggregates ASTM C94 / C94M - 15b Standard Specification for Ready-Mixed Concrete ASTM C150 / C150M - 15 Standard Specification for Portland Cement ASTM C597 - 09 Standard Test Method for Pulse Velocity Through Concrete ASTM C136 / C136M - 14 Standard Test Method for Sieve Analysis of Fine and Coarse Aggregates ASTM C642 - 13 Standard Test Method for Density, Absorption, and Voids in Hardened Concrete ASTM C805 / C805M - 13a Standard Test Method for Rebound Number of Hardened Concrete Steel ASTM A1022 / A1022M - 15a Standard Specification for Deformed and Plain Stainless Steel Wire and Welded Wire for Concrete Reinforcement ASTM A1064 / A1064M - 16 Standard Specification for Carbon-Steel Wire and Welded Wire Reinforcement, Plain and Deformed, for Concrete ASTM A933/A933M-14 Standard Specification for Vinyl-Coated Steel Wire and Welded Wire Reinforcement |
| AS | Concrete AS 1012.10-2000 : Methods of testing concrete - Determination of indirect tensile strength of concrete cylinders (Brasil or splitting test) DR 01033 : Chemical admixtures for concrete, mortar and grout Methods of sampling and testing admixtures for mortar and grout AS 1012.1 to 21 : Methods of testing concrete AS 1379-1997/Amdt 1-2000 : Specification and supply of concrete AS 1478.1-2000 : Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 2550.15-1994 : Cranes - Safe use - Concrete placing equipment AS 3600-2001 : Concrete structures AS 3648-1993 : Specification and methods of test for packaged concrete mixes Steel DR 01047 : Cathodic protection of metals - Part 5: Steel in concrete structures AS 1302-1991/ Amd 1:1992 : Steel reinforcing bars for concrete AS 1303-1991 : Steel reinforcing wire for concrete |
| SS | Concrete SS EN 197 - 1 : 2014 Cement - Part 1 : Composition, specifications and conformity criteria for common cement/ SS EN 197 - 2 : 2014 Cement - Part 2 : Conformity evaluation SS EN 12620 : 2008 Specification for aggregates for concrete SS 32 Series - Welded steel fabric for the reinforcement of concrete SS EN 206 : 2014 Concrete. Specification, performance, production and conformity/ SS 544 series - Concrete - Complementary Singapore Standard to SS EN 206-1 SS EN 934 - 1 : 2008 (2015) Admixtures for concrete, mortar and grout - Common requirements/ SS EN 934 - 2 : 2015 Admixtures for concrete, mortar and grout - Part 2 : Definitions, requirements – Concrete admixtures – Definitions, requirements, conformity, marking and labelling/ SS EN 934 - 6 : 2008 (2015) Admixtures for concrete, mortar and grout - Sampling, conformity control and evaluation of conformity Steel SS 566 : 2011 Specification for steel for the reinforcement of concrete – Plain bars SS 18 - 1 : 1999 Cold-reduced steel wire for the reinforcement of concrete and the manufacture of welded fabric - Steel grade 500 SS 580 : 2012 Code of practice for formwork |
| ISO | Concrete ISO 1920-1:2004 Testing of concrete -- Part 1: Sampling of fresh concrete/ ISO 1920-3:2004 Testing of concrete - Part 3: Making and curing test specimens ISO 3893:1977 Concrete -- Classification by compressive strength ISO 4103:1979 Concrete -- Classification of consistency (Withdrawn)ISO 4103:1979 Concrete -- Classification of consistency (Withdrawn) ISO 6274:1982 Concrete -- Sieve analysis of aggregates ISO 1920-1:2004 Testing of concrete -- Part 1: Sampling of fresh concrete/ ISO 1920-3:2004 Testing of concrete - Part 3: Making and curing test specimens Steel ISO 6934-1:1991 Steel for the prestressing of concrete -- Part 1: General requirements ISO 6934-2:1991 Steel for the prestressing of concrete -- Part 2: Cold-drawn wire ISO 6934-3:1991 Steel for the prestressing of concrete -- Part 3: Quenched and tempered wire ISO 6934-4:1991 Steel for the prestressing of concrete -- Part 4: Strand ISO 6934-5:1991 Steel for the prestressing of concrete -- Part 5: Hot-rolled steel bars with or without subsequent processing ISO 6935-1:2007 Steel for the reinforcement of concrete -- Part 1: Plain bars ISO 6935-2:2015 Steel for the reinforcement of concrete -- Part 2: Ribbed bars ISO 6935-3:1992 Steel for the reinforcement of concrete -- Part 3: Welded fabric ISO 14654:1999 Epoxy-coated steel for the reinforcement of concrete ISO 14656:1999 Epoxy powder and sealing material for the coating of steel for the reinforcement of concrete |

## Waterponding

| BS | Tiling BS 8000:Part 9: 1989- Workmanship on building sites- Code of practice for cement/ sand floor screeds and concrete floor toppings BS 5385-3:1995- Wall and floor tiling. Code of practice for the design and installation of ceramic floor tiles and mosaics BS 5980:1980- Specification or adhesives for use with ceramic tiles and mosaics BS 6431-1:1983, EN 87:1991-Ceramic floor and wall tiles. Specification for classification and marking, including definitions and characteristics BS 6431-2:1984, EN 121:1991-Ceramic floor and wall tiles. Specification for extruded ceramic tiles with a low water absorption (E <= 3%). Group A1 BS 6431-3.1:1986, EN 186-1:1991-Ceramic floor and wall tiles. Extruded ceramic tiles with a water absorption of 3% <E<=6% Group A11a. Specification for general products BS 6431-5:1986, EN 188:1991-Ceramic floor and wall tiles. Specification for extruded ceramic tiles with a water absorption of E > 10%. Group A111 BS 6431-7:1986, EN 177:1991-Ceramic floor and wall tiles. BS 6431-8:1986, EN 178:1991-Ceramic floor and wall tiles. BS 6431-10:1984, EN 98:1991-Ceramic floor and wall tiles. Method for determination of dimensions and surface quality BS 6431-11:1983, EN 99:199-1Ceramic floor and wall tiles. Method for determination of water absorption BS 6431-12:1983, EN 100:1991-Ceramic floor and wall tiles. Method for determination of modulus of rupture BS 6431-13:1986, EN 101:1991-Ceramic floor and wall tiles. Method for determination of scratch hardness of surface according to Mohs BS 6431-14:1983, EN 102:1991-Ceramic floor and wall tiles. Method for determination of resistance to deep abrasion. Unglazed tiles BS 6431-18:1983, EN 106:1991Ceramic floor and wall tiles. Method for determination of chemical resistance. Unglazed tiles |
| --- | --- |
| ASTM | Tiling D5343:97- Standard Guide for Evaluating Cleaning Performance of Ceramic Tile Cleaners C485-83:1999- Standard Test Method for Measuring Warpage of Ceramic Tile C1378:1997- Standard Test Method for Determination of Resistance to Staining C650:1997- Standard Test Method for Resistance of Ceramic Tile to Chemical Substances C648:1998- Standard Test Method for Breaking Strength of Ceramic Tile 19C1027:1999-Standard Test Method for Determining Visible Abrasion Resistance of Glazed Ceramic Tile C609-90:2000- Standard Test Method for Measurement of Small Color Differences Between Ceramic Wall or Floor Tile C499-78:1999- Standard Test Method for Facial Dimensions and Thickness of Flat, Rectangular Ceramic Wall and Floor Tile |
| AS | Tiling AS 2358-1990-Adhesives - For fixing ceramic tiles AS 3958.1-1991/Amdt 1-1992-Ceramic tiles - Guide to the installation of ceramic tiles AS 3958.2-1992-Ceramic tiles - Guide to the selection of a ceramic tiling system AS 4459.1-1999-Methods of sampling and testing ceramic tiles - Sampling and basis for acceptance AS 4459.10-1999-Methods of sampling and testing ceramic tiles - Determination of moisture expansion AS 4459.11-1997-Methods of sampling and testing ceramic tiles - Determination of crazing resistance for glazed tiles AS 4459.13-1999-Methods of sampling and testing ceramic tiles - Determination of chemical resistance AS 4459.14-1999-Methods of sampling and testing ceramic tiles - Determination of resistance to stains AS 4459.2-1999-Methods of sampling and testing ceramic tiles - Determination of dimensions and surface quality AS 4459.3-1999-Methods of sampling and testing ceramic tiles - Determination of water absorption, apparent porosity, apparent relative density and bulk density AS 4459.4-1997-Methods of sampling and testing ceramic tiles - Determination of modulus of rupture and breaking strength AS 4459.6-1999-Methods of sampling and testing ceramic tiles - Determination of resistance to deep abrasion for unglazed tiles AS 4459.8-1997-Methods of sampling and testing ceramic tiles - Determination of linear thermal expansion |
| SS | Tiling SS 301:1985- The use of cement sand cover for tiling SS 57:1989- Specification for glazed ceramic tiles and tile fittings for internal walls |
| ISO | Cement mortar and grouting ISO 680:1990 Cement -- Test methods -- Chemical analysis ISO 863:1990 Cement -- Test methods -- Pozzolanicity test for pozzolanic cements Tiling ISO 10545-1:1995- Ceramic tiles -- Part 1: Sampling and basis for acceptance ISO 10545-3:1995- Ceramic tiles -- Part 3: Determination of water absorption, apparent porosity, apparent relative density and bulk density ISO 10545-4:1994- Ceramic tiles -- Part 4: Determination of modulus of rupture and breaking strength ISO 10545-5:1996- Ceramic tiles -- Part 5: Determination of impact resistance by measurement of coefficient of restitution ISO 10545-6:1995- Ceramic tiles -- Part 6: Determination of resistance to deep abrasion for unglazed tiles ISO 10545-10:1995- Ceramic tiles -- Part 10: Determination of moisture expansion ISO 10545-13:1995- Ceramic tiles -- Part 13: Determination of chemical resistance ISO 10545-14:1995- Ceramic tiles -- Part 14: Determination of resistance to stains ISO 10545-16:1999- Ceramic tiles -- Part 16: Determination of small colour differences ISO 13006:1998- Ceramic tiles -- Definitions, classification, characteristics and marking ISO 10545-10:1995- Ceramic tiles -- Part 10: Determination of moisture expansion ISO 133006:1998- Ceramic tiles-definitions, classification, characteristics and making. |

# Architectural Finishes

## Tile – Cracks (Rendering)

| BS | Rendering BS EN 197-1:2011 Cement. Composition, specifications and conformity criteria for common cements BS EN 13279-1:2008 Gypsum binders and gypsum plasters. Definitions and requirements/ BS EN 13279-2:2014 Gypsum binders and gypsum plasters. Test methods BS EN 13139:2002 Aggregates for mortar BS EN 13658-1:2005 Metal lath and beads. Definitions, requirements and test methods. Internal plastering/ BS EN 13658-2:2005 Metal lath and beads. Definitions, requirements and test methods. External rendering BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS EN 1015-10:1999 Methods of test for mortar for masonry. Determination of dry bulk density of hardened mortar/ BS EN 1015-9:1999 Methods of test for mortar for masonry. Determination of workable life and correction time of fresh mortar/ BS EN 1015-6:1999 Methods of test for mortar for masonry. Determination of bulk density of fresh mortar/ BS EN 1015-3:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by flow table)/ BS EN 1015-2:1999 Methods of test for mortar for masonry. Bulk sampling of mortars and preparation of test mortars/ BS EN 1015-1:1999 Methods of test for mortar for masonry. Determination of particle size distribution (by sieve analysis)/ BS EN 1015-19:1999 Methods of test for mortar for masonry. Determination of water vapour permeability of hardened rendering and plastering mortars/ BS EN 1015-4:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by plunger penetration)/ BS EN 1015-7:1999 Methods of test for mortar for masonry. Determination of air content of fresh mortar BS 4551:2005+A2:2013 Mortar. Methods of test for mortar and screed. Chemical analysis and physical testing BS EN1015-12:2000 Methods of test for mortar masonry. Determination of adhesive strength of hardened rendering and plastering mortars on substrates BS EN1015-19:1999 Methods of test for mortar for masonry. Determination of water vapour permeability of hardened rendering and plastering mortars BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar BS EN 1015-18:2002 Methods of test for mortar for masonry. Determination of water absorption coefficient due to capillary action of hardened mortar BS EN 1015-21:2002 Methods of test for mortar for masonry. Determination of the compatibility of one-coat rendering mortars with substrates BS EN 13658-2:2005 Metal lath and beads. Definitions, requirements and test methods. External rendering BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar BS EN 13914-1:2016 Design, preparation and application of external rendering and internal plastering. External rendering Tilings BS 8000:Part11:Section 11.1:1989- Workmanship on building sites- Code of practice for wall and floor tiling-ceramic, terrazzo and mosaics tiles BS 8000:Part 9: 1989- Workmanship on building sites- Code of practice for cement/ sand floor screeds and concrete floor toppings BS 5385-3:1995- Wall and floor tiling. Code of practice for the design and installation of ceramic floor tiles and mosaics in normal conditions BS 5980:1980- Specification or adhesives for use with ceramic tiles and mosaics BS 6431-1:1983, EN 87:1991-Ceramic floor and wall tiles. Specification for classification and marking, including definitions and characteristics BS 6431-2:1984, EN 121:1991-Ceramic floor and wall tiles. Specification for extruded ceramic tiles with a low water absorption (E <= 3%). Group A1 BS 6431-3.1:1986, EN 186-1:1991-Ceramic floor and wall tiles. Extruded ceramic tiles with a water absorption of 3% <E<=6% Group A11a. Specification for general products BS 6431-5:1986, EN 188:1991-Ceramic floor and wall tiles. Specification for extruded ceramic tiles with a water absorption of E > 10%. Group A111 BS 6431-7:1986, EN 177:1991-Ceramic floor and wall tiles. BS 6431-8:1986, EN 178:1991-Ceramic floor and wall tiles. BS 6431-10:1984, EN 98:1991-Ceramic floor and wall tiles. Method for determination of dimensions and surface quality BS 6431-11:1983, EN 99:199-1Ceramic floor and wall tiles. Method for determination of water absorption BS 6431-12:1983, EN 100:1991-Ceramic floor and wall tiles. Method for determination of modulus of rupture BS 6431-13:1986, EN 101:1991-Ceramic floor and wall tiles. Method for determination of scratch hardness of surface according to Mohs BS 6431-14:1983, EN 102:1991-Ceramic floor and wall tiles. Method for determination of resistance to deep abrasion. Unglazed tiles BS 6431-18:1983, EN 106:1991Ceramic floor and wall tiles. Method for determination of chemical resistance. Unglazed tiles |
| --- | --- |
| ASTM | Rendering C778-02 Standard Specification for Standard SAND C35-01 Standard Specification for Inorganic Aggregates for Use in Gypsum Plaster C1329-00 Standard Specification for Mortar Cement ASTM C1328 / C1328M - 12 Standard Specification for Plastic (Stucco) Cement C472-99 Standard Test Methods for Physical Testing of Gypsum, Gypsum Plasters and Gypsum Concrete C28/C28M-00e1 Standard Specification for Gypsum Plasters Tilings D5343:97- Standard Guide for Evaluating Cleaning Performance of Ceramic Tile Cleaners C485-83:1999- Standard Test Method for Measuring Warpage of Ceramic Tile C1378:1997- Standard Test Method for Determination of Resistance to Staining C650:1997- Standard Test Method for Resistance of Ceramic Tile to Chemical Substances C648:1998- Standard Test Method for Breaking Strength of Ceramic Tile 19C1027:99-Standard Test Method for Determining Visible Abrasion Resistance of Glazed Ceramic Tile C609-90:2000- Standard Test Method for Measurement of Small Color Differences Between Ceramic Wall or Floor Tile C499-78:1999- Standard Test Method for Facial Dimensions and Thickness of Flat, Rectangular Ceramic Wall and Floor Tile |
| AS | Rendering AS CA27-1959 Code of recommended practice for internal plastering on soid backgrounds AS/NZS 2350.11-1997/Amdt 1-1998 Methods of testing portland and blended cements - Compressive strength of portland and blended cements AS 2350.12-2006 Methods of testing portland, blended and masonry cements - Preparation of a standard mortar and moulding of specimens AS 2350.13-1995 Methods of testing portland and blended cements - Determination of drying shrinkage of portland and blended cement mortars AS 2350.13-1995/Amdt 1-1997 Methods of testing portland and blended cements - Determination of drying shrinkage of portland and blended cement mortars AS 2350.2 -1991 Methods of testing portland and blended cements - Chemical composition of portland cement Tilings AS 3958.2:1992 - Ceramic tiles - Guide to the selection of a ceramic tiling system AS 1884-1985-Floor coverings - Resilient sheet and tiles - Laying and maintenance practices AS 2358-1990-Adhesives - For fixing ceramic tiles AS 3958.1-1991/Amdt 1-1992-Ceramic tiles - Guide to the installation of ceramic tiles AS 3958.2-1992-Ceramic tiles - Guide to the selection of a ceramic tiling system AS 4459.1-1999-Methods of sampling and testing ceramic tiles - Sampling and basis for acceptance AS 4459.10-1999-Methods of sampling and testing ceramic tiles - Determination of moisture expansion AS 4459.11-1997-Methods of sampling and testing ceramic tiles - Determination of crazing resistance for glazed tiles AS 4459.13-1999-Methods of sampling and testing ceramic tiles - Determination of chemical resistance AS 4459.14-1999-Methods of sampling and testing ceramic tiles - Determination of resistance to stains AS 4459.2-1999-Methods of sampling and testing ceramic tiles - Determination of dimensions and surface quality AS 4459.3-1999-Methods of sampling and testing ceramic tiles - Determination of water absorption, apparent porosity, apparent relative density and bulk density AS 4459.4-1997-Methods of sampling and testing ceramic tiles - Determination of modulus of rupture and breaking strength AS 4459.6-1999-Methods of sampling and testing ceramic tiles - Determination of resistance to deep abrasion for unglazed tiles AS 4459.8-1997-Methods of sampling and testing ceramic tiles - Determination of linear thermal expansion |
| SS | Rendering SS 397 :1997 Methods of testing cement SS EN 197 series - Cement Tilings SS 57:1989- Specification for glazed ceramic tiles and tile fittings for internal walls SS 301:1985- The use of cement sand cover for tiling CP 68: 1997- Code of practice for ceramic wall and floor tiling |
| ISO | Tilings ISO 10545-1:1995- Ceramic tiles -- Part 1: Sampling and basis for acceptance ISO 10545-3:1995- Ceramic tiles -- Part 3: Determination of water absorption, apparent porosity, apparent relative density and bulk density ISO 10545-4:1994- Ceramic tiles -- Part 4: Determination of modulus of rupture and breaking strength ISO 10545-5:1996- Ceramic tiles -- Part 5: Determination of impact resistance by measurement of coefficient of restitution ISO 10545-6:1995- Ceramic tiles -- Part 6: Determination of resistance to deep abrasion for unglazed tiles ISO 10545-10:1995- Ceramic tiles -- Part 10: Determination of moisture expansion ISO 10545-13:1995- Ceramic tiles -- Part 13: Determination of chemical resistance ISO 10545-14:1995- Ceramic tiles -- Part 14: Determination of resistance to stains ISO 10545-16:1999- Ceramic tiles -- Part 16: Determination of small colour differences ISO 13006:1998- Ceramic tiles -- Definitions, classification, characteristics and marking ISO 10545-10:1995- Ceramic tiles -- Part 10: Determination of moisture expansion ISO 13006:1998- Ceramic tiles-definitions, classification, characteristics and making |

## Tile – Crack (Tiling)

| BS | Tilings BS 8000:Part11:Section 11.1:1989- Workmanship on building sites- Code of practice for wall and floor tiling-ceramic, terrazzo and mosaics tiles BS 8000:Part 9: 1989- Workmanship on building sites- Code of practice for cement/ sand floor screeds and concrete floor toppings BS 5385-3:1995- Wall and floor tiling. Code of practice for the design and installation of ceramic floor tiles and mosaics in normal conditions BS 5980:1980- Specification or adhesives for use with ceramic tiles and mosaics BS 6431-1:1983, EN 87:1991-Ceramic floor and wall tiles. Specification for classification and marking, including definitions and characteristics BS 6431-2:1984, EN 121:1991-Ceramic floor and wall tiles. Specification for extruded ceramic tiles with a low water absorption (E <= 3%). Group A1 BS 6431-3.1:1986, EN 186-1:1991-Ceramic floor and wall tiles. Extruded ceramic tiles with a water absorption of 3% <E<=6% Group A11a. Specification for general products BS 6431-5:1986, EN 188:1991-Ceramic floor and wall tiles. Specification for extruded ceramic tiles with a water absorption of E > 10%. Group A111 BS 6431-7:1986, EN 177:1991-Ceramic floor and wall tiles. BS 6431-8:1986, EN 178:1991-Ceramic floor and wall tiles. BS 6431-10:1984, EN 98:1991-Ceramic floor and wall tiles. Method for determination of dimensions and surface quality BS 6431-11:1983, EN 99:199-1Ceramic floor and wall tiles. Method for determination of water absorption BS 6431-12:1983, EN 100:1991-Ceramic floor and wall tiles. Method for determination of modulus of rupture BS 6431-13:1986, EN 101:1991-Ceramic floor and wall tiles. Method for determination of scratch hardness of surface according to Mohs BS 6431-14:1983, EN 102:1991-Ceramic floor and wall tiles. Method for determination of resistance to deep abrasion. Unglazed tiles BS 6431-18:1983, EN 106:1991Ceramic floor and wall tiles. Method for determination of chemical resistance. Unglazed tiles |
| --- | --- |
| ASTM | Tilings D5343:97- Standard Guide for Evaluating Cleaning Performance of Ceramic Tile Cleaners C485-83:1999- Standard Test Method for Measuring Warpage of Ceramic Tile C1378-97- Standard Test Method for Determination of Resistance to Staining C650-97- Standard Test Method for Resistance of Ceramic Tile to Chemical Substances C648-98- Standard Test Method for Breaking Strength of Ceramic Tile C1027-99 Standard Test Method for Determining Visible Abrasion Resistance of Glazed Ceramic Tile C609-90:2000- Standard Test Method for Measurement of Small Color Differences Between Ceramic Wall or Floor Tile C499-78:1999- Standard Test Method for Facial Dimensions and Thickness of Flat, Rectangular Ceramic Wall and Floor Tile |
| AS | Tilings AS 3958.2:1992 - Ceramic tiles - Guide to the selection of a ceramic tiling system AS 1884-1985-Floor coverings - Resilient sheet and tiles - Laying and maintenance practices AS 2358-1990-Adhesives - For fixing ceramic tiles AS 3958.1-1991/Amdt 1-1992-Ceramic tiles - Guide to the installation of ceramic tiles AS 3958.2-1992-Ceramic tiles - Guide to the selection of a ceramic tiling system AS 4459.1-1999-Methods of sampling and testing ceramic tiles - Sampling and basis for acceptance AS 4459.10-1999-Methods of sampling and testing ceramic tiles - Determination of moisture expansion AS 4459.11-1997-Methods of sampling and testing ceramic tiles - Determination of crazing resistance for glazed tiles AS 4459.13-1999-Methods of sampling and testing ceramic tiles - Determination of chemical resistance AS 4459.14-1999-Methods of sampling and testing ceramic tiles - Determination of resistance to stains AS 4459.2-1999-Methods of sampling and testing ceramic tiles - Determination of dimensions and surface quality AS 4459.3-1999-Methods of sampling and testing ceramic tiles - Determination of water absorption, apparent porosity, apparent relative density and bulk density AS 4459.4-1997-Methods of sampling and testing ceramic tiles - Determination of modulus of rupture and breaking strength AS 4459.8-1997-Methods of sampling and testing ceramic tiles - Determination of linear thermal expansion AS 4459.7-1999-Methods of sampling and testing ceramic tiles - Determination of resistance to surface abrasion for glazed tiles |
| SS | Tilings SS 57:1989- Specification for glazed ceramic tiles and tile fittings for internal walls SS 301:1985- The use of cement sand cover for tiling CP 68: 1997- Code of practice for ceramic wall and floor tiling |
| ISO | Tilings ISO 10545-1:1995- Ceramic tiles -- Part 1: Sampling and basis for acceptance ISO 10545-3:1995- Ceramic tiles -- Part 3: Determination of water absorption, apparent porosity, apparent relative density and bulk density ISO 10545-4:1994- Ceramic tiles -- Part 4: Determination of modulus of rupture and breaking strength ISO 10545-5:1996- Ceramic tiles -- Part 5: Determination of impact resistance by measurement of coefficient of restitution ISO 10545-6:1995- Ceramic tiles -- Part 6: Determination of resistance to deep abrasion for unglazed tiles ISO 10545-10:1995- Ceramic tiles -- Part 10: Determination of moisture expansion ISO 10545-13:1995- Ceramic tiles -- Part 13: Determination of chemical resistance ISO 10545-14:1995- Ceramic tiles -- Part 14: Determination of resistance to stains ISO 10545-16:1999- Ceramic tiles -- Part 16: Determination of small colour differences ISO 13006:1998- Ceramic tiles -- Definitions, classification, characteristics and marking ISO 10545-10:1995- Ceramic tiles -- Part 10: Determination of moisture expansion ISO 13006:1998- Ceramic tiles-definitions, classification, characteristics and making |

## Cracking Due to Hollowness Behind Tile

| BS | Waterproofing BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS 8000:Part11:Section 11.1:1989- Workmanship on building sites- Code of practice for wall and floor tiling-ceramic, terrazzo and mosaics tiles Tilings BS 5385-3:1995- Wall and floor tiling. Code of practice for the design and installation of ceramic floor tiles and mosaics in normal conditions BS 5980:1980- Specification or adhesives for use with ceramic tiles and mosaics BS 6431-1:1983, EN 87:1991-Ceramic floor and wall tiles. Specification for classification and marking, including definitions and characteristics BS 6431-2:1984, EN 121:1991-Ceramic floor and wall tiles. Specification for extruded ceramic tiles with a low water absorption (E <= 3%). Group A1 BS 6431-3.1:1986, EN 186-1:1991-Ceramic floor and wall tiles. Extruded ceramic tiles with a water absorption of 3% <E<=6% Group A11a. Specification for general products BS 6431-5:1986, EN 188:1991-Ceramic floor and wall tiles. Specification for extruded ceramic tiles with a water absorption of E > 10%. Group A111 BS 6431-7:1986, EN 177:1991-Ceramic floor and wall tiles. BS 6431-8:1986, EN 178:1991-Ceramic floor and wall tiles. BS 6431-10:1984, EN 98:1991-Ceramic floor and wall tiles. Method for determination of dimensions and surface quality BS 6431-11:1983, EN 99:199-1Ceramic floor and wall tiles. Method for determination of water absorption BS 6431-12:1983, EN 100:1991-Ceramic floor and wall tiles. Method for determination of modulus of rupture BS 6431-13:1986, EN 101:1991-Ceramic floor and wall tiles. Method for determination of scratch hardness of surface according to Mohs BS 6431-14:1983, EN 102:1991-Ceramic floor and wall tiles. Method for determination of resistance to deep abrasion. Unglazed tiles BS 6431-18:1983, EN 106:1991Ceramic floor and wall tiles. Method for determination of chemical resistance. Unglazed tiles |
| --- | --- |
| ASTM | Waterproofing ASTM D5957 - 98(2013) Standard Guide for Flood Testing Horizontal Waterproofing Installations ASTM D5295 / D5295M - 14 Standard Guide for Preparation of Concrete Surfaces for Adhered (Bonded) Membrane Waterproofing Systems ASTM D5683 / D5683M - 95(2011)e1 Standard Test Method for Flexibility of Roofing and Waterproofing Materials and Membranes ASTM D6135-05 Standard Practice for Application of Self-Adhering Modified Bituminous Waterproofing (Withdrawn 2014) Tilings D5343:97- Standard Guide for Evaluating Cleaning Performance of Ceramic Tile Cleaners C485-83:1999- Standard Test Method for Measuring Warpage of Ceramic Tile C1378-97- Standard Test Method for Determination of Resistance to Staining C650-97- Standard Test Method for Resistance of Ceramic Tile to Chemical Substances C648-98- Standard Test Method for Breaking Strength of Ceramic Tile C1027-99 Standard Test Method for Determining Visible Abrasion Resistance of Glazed Ceramic Tile C609-90:2000- Standard Test Method for Measurement of Small Color Differences Between Ceramic Wall or Floor Tile C499-78:1999- Standard Test Method for Facial Dimensions and Thickness of Flat, Rectangular Ceramic Wall and Floor Tile |
| AS | Waterproofing AS 3740-2010/Amdt 1-2012 Waterproofing of domestic wet areas AS 3740-Amdt 1:1995- Waterproofing of wet areas within residential buildings Tilings AS 1884-1985-Floor coverings - Resilient sheet and tiles - Laying and maintenance practices AS 2358-1990-Adhesives - For fixing ceramic tiles AS 3958.1-1991/Amdt 1-1992-Ceramic tiles - Guide to the installation of ceramic tiles AS 3958.2-1992-Ceramic tiles - Guide to the selection of a ceramic tiling system AS 4459.1-1999-Methods of sampling and testing ceramic tiles - Sampling and basis for acceptance AS 4459.10-1999-Methods of sampling and testing ceramic tiles - Determination of moisture expansion AS 4459.11-1997-Methods of sampling and testing ceramic tiles - Determination of crazing resistance for glazed tiles AS 4459.13-1999-Methods of sampling and testing ceramic tiles - Determination of chemical resistance AS 4459.14-1999-Methods of sampling and testing ceramic tiles - Determination of resistance to stains AS 4459.2-1999-Methods of sampling and testing ceramic tiles - Determination of dimensions and surface quality AS 4459.3-1999-Methods of sampling and testing ceramic tiles - Determination of water absorption, apparent porosity, apparent relative density and bulk density AS 4459.4-1997-Methods of sampling and testing ceramic tiles - Determination of modulus of rupture and breaking strength AS 4459.6-1999-Methods of sampling and testing ceramic tiles - Determination of resistance to deep abrasion for unglazed tiles AS 4459.8-1997-Methods of sampling and testing ceramic tiles - Determination of linear thermal expansion |
| SS | Tilings SS 57:1989- Specification for glazed ceramic tiles and tile fittings for internal walls SS 301:1985- The use of cement sand cover for tiling CP 68: 1997- Code of practice for ceramic wall and floor tiling |
| ISO | Tilings ISO 10545-1:1995- Ceramic tiles -- Part 1: Sampling and basis for acceptance ISO 10545-3:1995- Ceramic tiles -- Part 3: Determination of water absorption, apparent porosity, apparent relative density and bulk density ISO 10545-4:1994- Ceramic tiles -- Part 4: Determination of modulus of rupture and breaking strength ISO 10545-5:1996- Ceramic tiles -- Part 5: Determination of impact resistance by measurement of coefficient of restitution ISO 10545-6:1995- Ceramic tiles -- Part 6: Determination of resistance to deep abrasion for unglazed tiles ISO 10545-10:1995- Ceramic tiles -- Part 10: Determination of moisture expansion ISO 10545-13:1995- Ceramic tiles -- Part 13: Determination of chemical resistance ISO 10545-14:1995- Ceramic tiles -- Part 14: Determination of resistance to stains ISO 10545-16:1999- Ceramic tiles -- Part 16: Determination of small colour differences ISO 13006:1998- Ceramic tiles -- Definitions, classification, characteristics and marking ISO 10545-10:1995- Ceramic tiles -- Part 10: Determination of moisture expansion ISO 13006:1998- Ceramic tiles-definitions, classification, characteristics and making |

## Tile – Cracks (Cleaning)

| BS | BS ISO 15686-1:2011 Buildings and constructed assets. Service life planning. General principles and framework/BS ISO 15686-3:2002 Buildings and constructed assets. Service life planning. Performance audits and reviews/BS ISO 15686-2:2012 Buildings and constructed assets. Service life planning. Service life prediction procedures/BS 7543:2015 Guide to durability of buildings and building elements, products and components/ |
| --- | --- |
| ASTM | D6361-98 Standard Guide for Selecting CLEANING Agents and Processes G122-96(2002) Standard Test Method for Evaluating the Effectiveness of CLEANING Agents D5343-97 Standard Guide for Evaluating CLEANING Performance of Ceramic Tile Cleaners |
| AS |  |
| SS | SS499 - Cleaning Standard for Commercial Cleaning |
| ISO |  |

## Tile Staining (Screeding)

| BS | Plasters and Screeds BS 8000:Part 9: 1989- Workmanship on building sites- Code of practice for cement/ sand floor screeds and concrete floor toppings Cement mortar and grout BS 4550-6:1978 Methods of testing cement. Standard sand for mortar cubess BS EN 934-3:2009+A1:2012 Admixtures for concrete, mortar and grout. Admixtures for masonry mortar. Definitions, requirements, conformity and marking and labelling/ BS EN 480-4:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of bleeding of concrete/ BS EN 998-2:2010 Specification for mortar for masonry. Masonry mortar/ BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar BS 6319-3:1990 Testing of resin and polymer/cement compositions for use in construction. Methods for measurement of modulus of elasticity in flexure and flexural strength BS 6319-12:1992 Testing of resin and polymer/cement compositions for use in construction. Methods for measurement of unrestrained linear shrinkage and coefficient of thermal expansion Tiling BS 5385-5:1994-Wall and floor tiling. Code of practice for the design and installation of terrazzo tile and slab, natural stone and composition block floorings BS 5385-1:1995- Wall and floor tiling. Code of practice for the design and installation of internal ceramic and natural stone wall tiling and mosaics in normal conditions BS 8000-11.2:1990- Workmanship on building sites. Code of practice for wall and floor tiling. Natural stone tiles BS 8221-1:2000- Code of practice for cleaning and surface repair of buildings. Cleaning of natural stones, brick, terracotta and concrete BS 8221-2:2000- Code of practice for cleaning and surface repair of buildings. Surface repair of natural stones, brick and terracotta BS EN 14157 Natural stone test. Determination of abrasion resistance |
| --- | --- |
| ASTM | Plaster and Screeds ASTM C926 - 16 Standard Specification for Application of Portland Cement-Based Plaster ASTM C1063 - 16 Standard Specification for Installation of Lathing and Furring to Receive Interior and Exterior Portland Cement-Based Plaster Cement mortar and Grout C305: 1999-Practice for Mechanical Mixing of Hydraulic Cement Pastes and Mortars of Plastic Consistency C778: 2000-Standard Specification for Standard Sand C109/C109M: 2001-Standard Test Method for Compressive Strength of Hydraulic Cement Mortars (Using 2-in. or [50-mm] Cube Specimens) C348: 1997-Standard Test Method for Flexural Strength of Hydraulic-Cement Mortars C349: 1997-Standard Test Method for Compressive Strength of Hydraulic-Cement Mortars (Using Portions of Prisms Broken in Flexure) C387-00e1 Standard Specification for Packaged, Dry, Combined Materials for MORTAR and Concrete C1384-02a Standard Specification for Admixtures for Masonry MORTARs C952-91(1997)e1 Standard Test Method for Bond Strength of MORTAR to Masonry Units C1012-02 Standard Test Method for Length Change of Hydraulic-Cement MORTARs Exposed to a Sulfate Solution C887-79a(2001) Standard Specification for Packaged, Dry, Combined Materials for Surface Bonding MORTAR Tiling C503-99e1 Standard Specification for MARBLE Dimension Stone (Exterior) C568-99 Standard Specification for Limestone Dimension Stone F963-96ae2 Standard Consumer Safety Specification on Toy Safety E1857-97 Standard Guide for Selection of Cleaning Techniques for Masonry, Concrete, and Stucco Surfaces D5107-90(1997) Standard Practice for Preparatory Surface Cleaning of Architectural Sandstone |
| AS | Plaster and Screed AS CA27-1959 Code of recommended practice for internal plastering on solid backgrounds Cement mortar and Grout AS 1478.2-2005 Chemical admixtures for concrete, mortar and grout - Methods of sampling and testing admixtures for concrete, mortar and grout AS 1012.18-1996 : Methods of testing concrete - Determination of setting time of fresh concrete, mortar and grout by penetration resistance AS 1478.1-2000 Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 2072-1977 : Methods for the sampling of expanding admixtures for concrete, mortar and grout AS 2073-1977 : Methods for the testing of expanding admixtures for concrete, mortar and grout AS 2350.12-1995 : Methods of testing portland and blended cements - Preparation of a standard mortar and moulding of specimens AS 2350.13-1995 : Methods of testing portland and blended cements - Determination of drying shrinkage of portland and blended cement mortars AS 2350.13-1995/Amdt 1-1997 : Methods of testing portland and blended cements - Determination of drying shrinkage of portland and blended cement mortars AS 2350.14-1996 : Methods of testing portland and blended cements - Length change of portland and blended cement mortars exposed to a sulfate solution |
| SS | Screed SS 397 :1997 Methods of testing cement SS EN 197 series - Cement Tiling SS 57:1989- Specification for glazed ceramic tiles and tile fittings for internal walls CP 67 Part 1: 1997- Code of practice for cleaning and surface repair of buildings: Natural stone, cast stone and clay brick masonry. CP 68: 1997- Code of practice for ceramic wall and floor tiling SS 301:1985- The use of cement sand cover for tiling |
| ISO | Cement mortar and Grout ISO 680:1990 Cement -- Test methods -- Chemical analysis ISO 863:1990 Cement -- Test methods -- Pozzolanicity test for pozzolanic cements Tiling ISO 3920:1976 Honing stones of square section; Designation and dimensions ISO 603-10:1999 Bonded abrasive products - Dimensions - Part 10: Stones for honing and superfinishings - ISO 603-10:1999 ISO 603-10:1999/COR1:1999 Bonded abrasive products - Dimensions - Part 10: Stones for honing and superfinishings ISO 8512-2:1990 Surface plates; part 2: granite |

## Staining of Tiles (Tiling)

## Grout Staining

## Dirt Staining (Tiling)

| BS | Plasters and Screedings BS 8000:Part 9: 1989- Workmanship on building sites- Code of practice for cement/ sand floor screeds and concrete floor toppings Cement Mortar and Grout BS EN 934-3:2009+A1:2012 Admixtures for concrete, mortar and grout. Admixtures for masonry mortar. Definitions, requirements, conformity and marking and labelling/ BS EN 480-4:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of bleeding of concrete/ BS EN 998-2:2010 Specification for mortar for masonry. Masonry mortar/ BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar BS 6319-3:1990 Testing of resin and polymer/cement compositions for use in construction. Methods for measurement of modulus of elasticity in flexure and flexural strength BS 6319-12:1992 Testing of resin and polymer/cement compositions for use in construction. Methods for measurement of unrestrained linear shrinkage and coefficient of thermal expansion PD 6678:2005 Guide to the specification of masonry mortar BS EN 480-1:2014 Admixtures for concrete, mortar and grout. Test methods. Reference concrete and reference mortar for testing BS EN 480-2:2006 Admixtures for concrete, mortar and grout. Test methods. Determination of setting time BS EN 480-4:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of bleeding of concrete BS EN 480-5:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of capillary absorption BS EN 480-6:2005 Admixtures for concrete, mortar and grout. Test methods. Infrared analysis BS EN 480-8:2012 Admixtures for concrete, mortar and grout. Test methods. Determination of the conventional dry material content BS EN 480-10:2009 Admixtures for concrete, mortar and grout. Test methods. Determination of water soluble chloride content BS EN 480-11:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of air void characteristics in hardened concrete BS EN 480-12:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of the alkali content of admixtures BS EN 934-2:2009+A1:2012 Admixtures for concrete, mortar and grout. Concrete admixtures. Definitions, requirements, conformity, marking and labelling BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity BS EN 934-3:2009+A1:2012 Admixtures for concrete, mortar and grout. Admixtures for masonry mortar. Definitions, requirements, conformity and marking and labelling BS EN 934-2:2009+A1:2012 Admixtures for concrete, mortar and grout. Concrete admixtures. Definitions, requirements, conformity, marking and labelling BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity Tilings BS 8000:Part11:Section 11.1:1989- Workmanship on building sites- Code of practice for wall and floor tiling-ceramic, terrazzo and mosaics tiles BS 5385-3:1995- Wall and floor tiling. Code of practice for the design and installation of ceramic floor tiles and mosaics BS 5980:1980- Specification or adhesives for use with ceramic tiles and mosaics BS 6431-1:1983, EN 87:1991-Ceramic floor and wall tiles. Specification for classification and marking, including definitions and characteristics BS 6431-2:1984, EN 121:1991-Ceramic floor and wall tiles. Specification for extruded ceramic tiles with a low water absorption (E <= 3%). Group A1 BS 6431-3.1:1986, EN 186-1:1991Ceramic floor and wall tiles. Extruded ceramic tiles with a water absorption of 3% <E<=6% Group A11a. Specification for general products BS 6431-5:1986, EN 188:1991Ceramic floor and wall tiles. Specification for extruded ceramic tiles with a water absorption of E > 10%. Group A111 BS 6431-7:1986, EN 177:1991-Ceramic floor and wall tiles. BS 6431-8:1986, EN 178:1991-Ceramic floor and wall tiles. BS 6431-10:1984, EN 98:1991-Ceramic floor and wall tiles. Method for determination of dimensions and surface quality BS 6431-11:1983, EN 99:199-1Ceramic floor and wall tiles. Method for determination of water absorption BS 6431-12:1983, EN 100:1991-Ceramic floor and wall tiles. Method for determination of modulus of rupture BS 6431-13:1986, EN 101:1991-Ceramic floor and wall tiles. Method for determination of scratch hardness of surface according to Mohs BS 6431-14:1983, EN 102:1991-Ceramic floor and wall tiles. Method for determination of resistance to deep abrasion. Unglazed tiles BS 6431-18:1983, EN 106:1991Ceramic floor and wall tiles. Method for determination of chemical resistance. Unglazed tiles |
| --- | --- |
| ASTM | Cement Mortar and Grout C305: 1999-Practice for Mechanical Mixing of Hydraulic Cement Pastes and Mortars of Plastic Consistency C109/C109M: 2001-Standard Test Method for Compressive Strength of Hydraulic Cement Mortars (Using 2-in. or [50-mm] Cube Specimens) C348: 1997-Standard Test Method for Flexural Strength of Hydraulic-Cement Mortars C349: 1997-Standard Test Method for Compressive Strength of Hydraulic-Cement Mortars (Using Portions of Prisms Broken in Flexure) C87: 1983(1995)e1-Standard Test Method for Effect of Organic Impurities in Fine Aggregate on Strength of Mortar C1038: 2001-Standard Test Method for Expansion of Hydraulic Cement Mortar Bars Stored in Water C490: 2000a-Standard Practice for Use of Apparatus for the Determination of Length Change of Hardened Cement Paste, Mortar, and Concrete C387-00e1 Standard Specification for Packaged, Dry, Combined Materials for MORTAR and Concrete C1384-02a Standard Specification for Admixtures for Masonry MORTARs C952-91(1997)e1 Standard Test Method for Bond Strength of MORTAR to Masonry Units C1012-02 Standard Test Method for Length Change of Hydraulic-Cement MORTARs Exposed to a Sulfate Solution C887-79a(2001) Standard Specification for Packaged, Dry, Combined Materials for Surface Bonding MORTAR Tilings C1378:1997- Standard Test Method for Determination of Resistance to Staining D5343:97- Standard Guide for Evaluating Cleaning Performance of Ceramic Tile Cleaners C485-83:1999- Standard Test Method for Measuring Warpage of Ceramic Tile C1378:1997- Standard Test Method for Determination of Resistance to Staining C650:1997- Standard Test Method for Resistance of Ceramic Tile to Chemical Substances C648:1998- Standard Test Method for Breaking Strength of Ceramic Tile 19C1027:99-Standard Test Method for Determining Visible Abrasion Resistance of Glazed Ceramic Tile C609-90:2000- Standard Test Method for Measurement of Small Color Differences Between Ceramic Wall or Floor Tile C499-78:1999- Standard Test Method for Facial Dimensions and Thickness of Flat, Rectangular Ceramic Wall and Floor Tile |
| AS | Plaster and Screed AS CA27-1959 Code of recommended practice for internal plastering on solid backgrounds Cement Mortar and Grout AS 1478.2-2005 Chemical admixtures for concrete, mortar and grout - Methods of sampling and testing admixtures for concrete, mortar and grout AS 1012.18-1996 : Methods of testing concrete - Determination of setting time of fresh concrete, mortar and grout by penetration resistance AS 1478.1-2000 Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 2072-1977 : Methods for the sampling of expanding admixtures for concrete, mortar and grout AS 2073-1977 : Methods for the testing of expanding admixtures for concrete, mortar and grout AS 2350.12-1995 : Methods of testing portland and blended cements - Preparation of a standard mortar and moulding of specimens AS 2350.13-1995 : Methods of testing portland and blended cements - Determination of drying shrinkage of portland and blended cement mortars AS 2350.13-1995/Amdt 1-1997 : Methods of testing portland and blended cements - Determination of drying shrinkage of portland and blended cement mortars AS 2350.14-1996 : Methods of testing portland and blended cements - Length change of portland and blended cement mortars exposed to a sulfate solution Tilings AS 3958.2:1992 - Ceramic tiles - Guide to the selection of a ceramic tiling system AS 1884-1985-Floor coverings - Resilient sheet and tiles - Laying and maintenance practices AS 2358-1990-Adhesives - For fixing ceramic tiles AS 3958.1-1991/Amdt 1-1992-Ceramic tiles - Guide to the installation of ceramic tiles AS 3958.2-1992-Ceramic tiles - Guide to the selection of a ceramic tiling system AS 4459.1-1999-Methods of sampling and testing ceramic tiles - Sampling and basis for acceptance AS 4459.10-1999-Methods of sampling and testing ceramic tiles - Determination of moisture expansion AS 4459.11-1997-Methods of sampling and testing ceramic tiles - Determination of crazing resistance for glazed tiles AS 4459.13-1999-Methods of sampling and testing ceramic tiles - Determination of chemical resistance AS 4459.14-1999-Methods of sampling and testing ceramic tiles - Determination of resistance to stains AS 4459.2-1999-Methods of sampling and testing ceramic tiles - Determination of dimensions and surface quality AS 4459.3-1999-Methods of sampling and testing ceramic tiles - Determination of water absorption, apparent porosity, apparent relative density and bulk density AS 4459.4-1997-Methods of sampling and testing ceramic tiles - Determination of modulus of rupture and breaking strength AS 4459.6-1999-Methods of sampling and testing ceramic tiles - Determination of resistance to deep abrasion for unglazed tiles AS 4459.8-1997-Methods of sampling and testing ceramic tiles - Determination of linear thermal expansion |
| SS | Rendering SS 397 :1997 Methods of testing cement SS EN 197 series - Cement Tilings SS 57:1989- Specification for glazed ceramic tiles and tile fittings for internal walls CP 67 Part 1: 1997- Code of practice for cleaning and surface repair of buildings: Natural stone, cast stone and clay brick masonry. CP 68: 1997- Code of practice for ceramic wall and floor tiling SS 301:1985- The use of cement sand cover for tiling |
| ISO | Cement mortar and grouting ISO 680:1990 Cement -- Test methods -- Chemical analysis ISO 863:1990 Cement -- Test methods -- Pozzolanicity test for pozzolanic cements Tilings ISO 10545-1:1995- Ceramic tiles -- Part 1: Sampling and basis for acceptance ISO 10545-3:1995- Ceramic tiles -- Part 3: Determination of water absorption, apparent porosity, apparent relative density and bulk density ISO 10545-4:1994- Ceramic tiles -- Part 4: Determination of modulus of rupture and breaking strength ISO 10545-5:1996- Ceramic tiles -- Part 5: Determination of impact resistance by measurement of coefficient of restitution ISO 10545-6:1995- Ceramic tiles -- Part 6: Determination of resistance to deep abrasion for unglazed tiles ISO 10545-10:1995- Ceramic tiles -- Part 10: Determination of moisture expansion ISO 10545-13:1995- Ceramic tiles -- Part 13: Determination of chemical resistance ISO 10545-14:1995- Ceramic tiles -- Part 14: Determination of resistance to stains ISO 10545-16:1999- Ceramic tiles -- Part 16: Determination of small colour differences ISO 13006:1998- Ceramic tiles -- Definitions, classification, characteristics and marking ISO 10545-10:1995- Ceramic tiles -- Part 10: Determination of moisture expansion ISO 13006:1998- Ceramic tiles-definitions, classification, characteristics and making |

## Tile Staining

| BS | Tilings BS 8000:Part11:Section 11.1:1989- Workmanship on building sites- Code of practice for wall and floor tiling-ceramic, terrazzo and mosaics tiles BS 8000:Part 9: 1989- Workmanship on building sites- Code of practice for cement/ sand floor screeds and concrete floor toppings BS 5385-3:1995- Wall and floor tiling. Code of practice for the design and installation of ceramic floor tiles and mosaics BS 5980:1980- Specification or adhesives for use with ceramic tiles and mosaics BS 6431-1:1983, EN 87:1991-Ceramic floor and wall tiles. Specification for classification and marking, including definitions and characteristics BS 6431-2:1984, EN 121:1991-Ceramic floor and wall tiles. Specification for extruded ceramic tiles with a low water absorption (E <= 3%). Group A1 BS 6431-3.1:1986, EN 186-1:1991-Ceramic floor and wall tiles. Extruded ceramic tiles with a water absorption of 3% <E<=6% Group A11a. Specification for general products BS 6431-5:1986, EN 188:1991-Ceramic floor and wall tiles. Specification for extruded ceramic tiles with a water absorption of E > 10%. Group A111 BS 6431-7:1986, EN 177:1991-Ceramic floor and wall tiles. BS 6431-8:1986, EN 178:1991-Ceramic floor and wall tiles. BS 6431-10:1984, EN 98:1991-Ceramic floor and wall tiles. Method for determination of dimensions and surface quality BS 6431-11:1983, EN 99:199-1Ceramic floor and wall tiles. Method for determination of water absorption BS 6431-12:1983, EN 100:1991-Ceramic floor and wall tiles. Method for determination of modulus of rupture BS 6431-13:1986, EN 101:1991-Ceramic floor and wall tiles. Method for determination of scratch hardness of surface according to Mohs BS 6431-14:1983, EN 102:1991-Ceramic floor and wall tiles. Method for determination of resistance to deep abrasion. Unglazed tiles BS 6431-18:1983, EN 106:1991-Ceramic floor and wall tiles. Method for determination of chemical resistance. Unglazed tiles |
| --- | --- |
| ASTM | Sand and Concrete C305: 1999-Practice for Mechanical Mixing of Hydraulic Cement Pastes and Mortars of Plastic Consistency C778: 2000-Standard Specification for Standard Sand C109/C109M: 2001-Standard Test Method for Compressive Strength of Hydraulic Cement Mortars (Using 2-in. or [50-mm] Cube Specimens) C348: 1997-Standard Test Method for Flexural Strength of Hydraulic-Cement Mortars C349: 1997-Standard Test Method for Compressive Strength of Hydraulic-Cement Mortars (Using Portions of Prisms Broken in Flexure) C150: 2000-Standard Specification for Portland Cement C87: 1983(1995)e1-Standard Test Method for Effect of Organic Impurities in Fine Aggregate on Strength of Mortar C125: 2000ae1-Standard Terminology Relating to Concrete and Concrete Aggregates C1038: 2001-Standard Test Method for Expansion of Hydraulic Cement Mortar Bars Stored in Water C 494/ 494M: 2000-Specification for Chemical Admixtures for Concrete C115: 1996a-Standard Test Method for Fineness of Portland Cement by the Turbidimeter C490: 2000a-Standard Practice for Use of Apparatus for the Determination of Length Change of Hardened Cement Paste, Mortar, and Concrete C33: 2001a-Standard Specification for Concrete Aggregates C295: 1998-Standard Guide for Petrographic Examination of Aggregates for Concrete C452: 1995-Standard Test Method for Potential Expansion of Portland-Cement Mortars Exposed to Sulfate Water D1067: 1992(1996)-Standard Test Methods for Acidity or Alkalinity of Water D1129: 2001-Standard Terminology Relating to Water D1193: 1999e1-Standard Specification for Reagent Water D1293: 1999-Standard Test Methods for pH of Water Tilings D5343:97- Standard Guide for Evaluating Cleaning Performance of Ceramic Tile Cleaners C485-83:1999- Standard Test Method for Measuring Warpage of Ceramic Tile C1378:1997- Standard Test Method for Determination of Resistance to Staining C650:1997- Standard Test Method for Resistance of Ceramic Tile to Chemical Substances C648:1998- Standard Test Method for Breaking Strength of Ceramic Tile 19C1027:99-Standard Test Method for Determining Visible Abrasion Resistance of Glazed Ceramic Tile C609-90:2000- Standard Test Method for Measurement of Small Color Differences Between Ceramic Wall or Floor Tile C499-78:1999- Standard Test Method for Facial Dimensions and Thickness of Flat, Rectangular Ceramic Wall and Floor Tile |
| AS | Concrete AS 1478.2-2005 Chemical admixtures for concrete, mortar and grout - Methods of sampling and testing admixtures for concrete, mortar and grout AS 1012.18-1996 : Methods of testing concrete - Determination of setting time of fresh concrete, mortar and grout by penetration resistance AS 1478.1-2000 Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 2072-1977 : Methods for the sampling of expanding admixtures for concrete, mortar and grout AS 2073-1977 : Methods for the testing of expanding admixtures for concrete, mortar and grout AS 2350.12-1995 : Methods of testing portland and blended cements - Preparation of a standard mortar and moulding of specimens AS 2350.13-1995 : Methods of testing portland and blended cements - Determination of drying shrinkage of portland and blended cement mortars AS 2350.13-1995/Amdt 1-1997 : Methods of testing portland and blended cements - Determination of drying shrinkage of portland and blended cement mortars AS 2350.14-1996 : Methods of testing portland and blended cements - Length change of portland and blended cement mortars exposed to a sulfate solution Tilings AS 3958.2:1992 - Ceramic tiles - Guide to the selection of a ceramic tiling system AS 1884-1985-Floor coverings - Resilient sheet and tiles - Laying and maintenance practices AS 2358-1990-Adhesives - For fixing ceramic tiles AS 3958.1-1991/Amdt 1-1992-Ceramic tiles - Guide to the installation of ceramic tiles AS 3958.2-1992-Ceramic tiles - Guide to the selection of a ceramic tiling system AS 4459.1-1999-Methods of sampling and testing ceramic tiles - Sampling and basis for acceptance AS 4459.10-1999-Methods of sampling and testing ceramic tiles - Determination of moisture expansion AS 4459.11-1997-Methods of sampling and testing ceramic tiles - Determination of crazing resistance for glazed tiles AS 4459.13-1999-Methods of sampling and testing ceramic tiles - Determination of chemical resistance AS 4459.14-1999-Methods of sampling and testing ceramic tiles - Determination of resistance to stains AS 4459.2-1999-Methods of sampling and testing ceramic tiles - Determination of dimensions and surface quality AS 4459.3-1999-Methods of sampling and testing ceramic tiles - Determination of water absorption, apparent porosity, apparent relative density and bulk density AS 4459.4-1997-Methods of sampling and testing ceramic tiles - Determination of modulus of rupture and breaking strength AS 4459.6-1999-Methods of sampling and testing ceramic tiles - Determination of resistance to deep abrasion for unglazed tiles AS 4459.8-1997-Methods of sampling and testing ceramic tiles - Determination of linear thermal expansion Fittings AS 3588:1996- Shower bases and shower modules |
| SS | Concrete SS 26: 1997 Portland cement (ordinary and hardening) SS 31: 1998 Coarse and fine aggregates from natural sources of concrete Tilings SS 57:1989- Specification for glazed ceramic tiles and tile fittings for internal walls SS 301:1985- The use of cement sand cover for tiling CP 68: 1997- Code of practice for ceramic wall and floor tiling |
| ISO | Cement mortar and grouting ISO 680:1990 Cement -- Test methods -- Chemical analysis ISO 863:1990 Cement -- Test methods -- Pozzolanicity test for pozzolanic cements Tilings ISO 10545-1:1995- Ceramic tiles -- Part 1: Sampling and basis for acceptance ISO 10545-3:1995- Ceramic tiles -- Part 3: Determination of water absorption, apparent porosity, apparent relative density and bulk density ISO 10545-4:1994- Ceramic tiles -- Part 4: Determination of modulus of rupture and breaking strength ISO 10545-5:1996- Ceramic tiles -- Part 5: Determination of impact resistance by measurement of coefficient of restitution ISO 10545-6:1995- Ceramic tiles -- Part 6: Determination of resistance to deep abrasion for unglazed tiles ISO 10545-10:1995- Ceramic tiles -- Part 10: Determination of moisture expansion ISO 10545-13:1995- Ceramic tiles -- Part 13: Determination of chemical resistance ISO 10545-14:1995- Ceramic tiles -- Part 14: Determination of resistance to stains ISO 10545-16:1999- Ceramic tiles -- Part 16: Determination of small colour differences ISO 13006:1998- Ceramic tiles -- Definitions, classification, characteristics and marking ISO 10545-10:1995- Ceramic tiles -- Part 10: Determination of moisture expansion ISO 13006:1998- Ceramic tiles-definitions, classification, characteristics and making |

## Tile Staining (marble-tiled floor in a commercial building)

| BS | Cement mortar and grout BS 8000:Part 9: 1989- Workmanship on building sites- Code of practice for cement/ sand floor screeds and concrete floor toppings BS 4550-6:1978 Methods of testing cement. Standard sand for mortar cubess BS EN 934-3:2009+A1:2012 Admixtures for concrete, mortar and grout. Admixtures for masonry mortar. Definitions, requirements, conformity and marking and labelling/ BS EN 480-4:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of bleeding of concrete/ BS EN 998-2:2010 Specification for mortar for masonry. Masonry mortar/ BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar BS 6319-3:1990 Testing of resin and polymer/cement compositions for use in construction. Methods for measurement of modulus of elasticity in flexure and flexural strength BS 6319-12:1992 Testing of resin and polymer/cement compositions for use in construction. Methods for measurement of unrestrained linear shrinkage and coefficient of thermal expansion PD 6678:2005 Guide to the specification of masonry mortar BS EN 480-1:2014 Admixtures for concrete, mortar and grout. Test methods. Reference concrete and reference mortar for testing BS EN 480-2:2006 Admixtures for concrete, mortar and grout. Test methods. Determination of setting time BS EN 480-4:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of bleeding of concrete BS EN 480-5:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of capillary absorption BS EN 480-6:2005 Admixtures for concrete, mortar and grout. Test methods. Infrared analysis BS EN 480-8:2012 Admixtures for concrete, mortar and grout. Test methods. Determination of the conventional dry material content BS EN 480-10:2009 Admixtures for concrete, mortar and grout. Test methods. Determination of water soluble chloride content BS EN 480-11:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of air void characteristics in hardened concrete BS EN 480-12:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of the alkali content of admixtures BS EN 934-2:2009+A1:2012 Admixtures for concrete, mortar and grout. Concrete admixtures. Definitions, requirements, conformity, marking and labelling BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity BS EN 934-3:2009+A1:2012 Admixtures for concrete, mortar and grout. Admixtures for masonry mortar. Definitions, requirements, conformity and marking and labelling BS EN 934-2:2009+A1:2012 Admixtures for concrete, mortar and grout. Concrete admixtures. Definitions, requirements, conformity, marking and labelling BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity Tilings BS 5385-5:1994-Wall and floor tiling. Code of practice for the design and installation of terrazzo tile and slab, natural stone and composition block floorings BS 5385-1:1995- Wall and floor tiling. Code of practice for the design and installation of internal ceramic and natural stone wall tiling and mosaics in normal conditions BS 8000-11.2:1990- Workmanship on building sites. Code of practice for wall and floor tiling. Natural stone tiles BS 8221-1:2000- Code of practice for cleaning and surface repair of buildings. Cleaning of natural stones, brick, terracotta and concrete BS 8221-2:2000- Code of practice for cleaning and surface repair of buildings. Surface repair of natural stones, brick and terracotta BS EN 14157 Natural stone test. Determination of abrasion resistance BS 5980: 1980- Specification for adhesives for use with ceramic tiles and mosaic |
| --- | --- |
| ASTM | Cement mortar C305: 1999-Practice for Mechanical Mixing of Hydraulic Cement Pastes and Mortars of Plastic Consistency C778: 2000-Standard Specification for Standard Sand C109/C109M: 2001-Standard Test Method for Compressive Strength of Hydraulic Cement Mortars (Using 2-in. or [50-mm] Cube Specimens) C348: 1997-Standard Test Method for Flexural Strength of Hydraulic-Cement Mortars C349: 1997-Standard Test Method for Compressive Strength of Hydraulic-Cement Mortars (Using Portions of Prisms Broken in Flexure) C150: 2000-Standard Specification for Portland Cement C87: 1983(1995)e1-Standard Test Method for Effect of Organic Impurities in Fine Aggregate on Strength of Mortar C125: 2000ae1-Standard Terminology Relating to Concrete and Concrete Aggregates C1038: 2001-Standard Test Method for Expansion of Hydraulic Cement Mortar Bars Stored in Water C 494/ 494M: 2000-Specification for Chemical Admixtures for Concrete C115: 1996a-Standard Test Method for Fineness of Portland Cement by the Turbidimeter C490: 2000a-Standard Practice for Use of Apparatus for the Determination of Length Change of Hardened Cement Paste, Mortar, and Concrete C33: 2001a-Standard Specification for Concrete Aggregates C295: 1998-Standard Guide for Petrographic Examination of Aggregates for Concrete C452: 1995-Standard Test Method for Potential Expansion of Portland-Cement Mortars Exposed to Sulfate Water D1067: 1992(1996)-Standard Test Methods for Acidity or Alkalinity of Water D1129: 2001-Standard Terminology Relating to Water D1193: 1999e1-Standard Specification for Reagent Water D1293: 1999-Standard Test Methods for pH of Water Tiling C503-99e1 Standard Specification for MARBLE Dimension Stone (Exterior) C568-99 Standard Specification for Limestone Dimension Stone F963-96ae2 Standard Consumer Safety Specification on Toy Safety E1857-97 Standard Guide for Selection of Cleaning Techniques for Masonry, Concrete, and Stucco Surfaces D5107-90(1997) Standard Practice for Preparatory Surface Cleaning of Architectural Sandstone |
| AS | Cement and Grout AS 1478.2-2005 Chemical admixtures for concrete, mortar and grout - Methods of sampling and testing admixtures for concrete, mortar and grout AS 1012.18-1996 : Methods of testing concrete - Determination of setting time of fresh concrete, mortar and grout by penetration resistance AS 1478.1-2000 Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 2072-1977 : Methods for the sampling of expanding admixtures for concrete, mortar and grout AS 2073-1977 : Methods for the testing of expanding admixtures for concrete, mortar and grout AS 2350.12-1995 : Methods of testing portland and blended cements - Preparation of a standard mortar and moulding of specimens AS 2350.13-1995 : Methods of testing portland and blended cements - Determination of drying shrinkage of portland and blended cement mortars AS 2350.13-1995/Amdt 1-1997 : Methods of testing portland and blended cements - Determination of drying shrinkage of portland and blended cement mortars AS 2350.14-1996 : Methods of testing portland and blended cements - Length change of portland and blended cement mortars exposed to a sulfate solution |
| SS | Rendering SS 397 :1997 Methods of testing cement SS EN 197 series - Cement Tilings SS 57:1989- Specification for glazed ceramic tiles and tile fittings for internal walls CP 67 Part 1: 1997- Code of practice for cleaning and surface repair of buildings: Natural stone, cast stone and clay brick masonry. CP 68: 1997- Code of practice for ceramic wall and floor tiling SS 301:1985- The use of cement sand cover for tiling |
| ISO | Cement mortar and grouting ISO 680:1990 Cement -- Test methods -- Chemical analysis ISO 863:1990 Cement -- Test methods -- Pozzolanicity test for pozzolanic cements Tilings ISO 3920:1976 Honing stones of square section; Designation and dimensions ISO 603-10:1999 Bonded abrasive products - Dimensions - Part 10: Stones for honing and superfinishings - ISO 603-10:1999 ISO 603-10:1999/COR1:1999 Bonded abrasive products - Dimensions - Part 10: Stones for honing and superfinishings ISO 8512-2:1990 Surface plates; part 2: granite |

## Staining along veins

| BS | Screedings BS 8000:Part 9: 1989- Workmanship on building sites- Code of practice for cement/ sand floor screeds and concrete floor toppings Tilings BS 6319-12:1992 Testing of resin and polymer/cement compositions for use in construction. Methods for measurement of unrestrained linear shrinkage and coefficient of thermal expansion BS 5385-5:1994-Wall and floor tiling. Code of practice for the design and installation of terrazzo tile and slab, natural stone and composition block floorings BS 5385-1:1995- Wall and floor tiling. Code of practice for the design and installation of internal ceramic and natural stone wall tiling and mosaics in normal conditions BS 8000:Part 9: 1989- Workmanship on building sites- Code of practice for cement/ sand floor screeds and concrete floor toppings BS 8000-11.2:1990- Workmanship on building sites. Code of practice for wall and floor tiling. Natural stone tiles BS 8221-1:2000- Code of practice for cleaning and surface repair of buildings. Cleaning of natural stones, brick, terracotta and concrete BS 8221-2:2000- Code of practice for cleaning and surface repair of buildings. Surface repair of natural stones, brick and terracotta BS EN 14157 Natural stone test. Determination of abrasion resistance BS 5980: 1980- Specification for adhesives for use with ceramic tiles and mosaic |
| --- | --- |
| ASTM | Cement mortar and grout C305: 1999-Practice for Mechanical Mixing of Hydraulic Cement Pastes and Mortars of Plastic Consistency C778: 2000-Standard Specification for Standard Sand C109/C109M: 2001-Standard Test Method for Compressive Strength of Hydraulic Cement Mortars (Using 2-in. or [50-mm] Cube Specimens) C348: 1997-Standard Test Method for Flexural Strength of Hydraulic-Cement Mortars C349: 1997-Standard Test Method for Compressive Strength of Hydraulic-Cement Mortars (Using Portions of Prisms Broken in Flexure) C150: 2000-Standard Specification for Portland Cement C87: 1983(1995)e1-Standard Test Method for Effect of Organic Impurities in Fine Aggregate on Strength of Mortar C125: 2000ae1-Standard Terminology Relating to Concrete and Concrete Aggregates C1038: 2001-Standard Test Method for Expansion of Hydraulic Cement Mortar Bars Stored in Water C 494/ 494M: 2000-Specification for Chemical Admixtures for Concrete C115: 1996a-Standard Test Method for Fineness of Portland Cement by the Turbidimeter C490: 2000a-Standard Practice for Use of Apparatus for the Determination of Length Change of Hardened Cement Paste, Mortar, and Concrete C33: 2001a-Standard Specification for Concrete Aggregates C295: 1998-Standard Guide for Petrographic Examination of Aggregates for Concrete C452: 1995-Standard Test Method for Potential Expansion of Portland-Cement Mortars Exposed to Sulfate Tilings C503-99e1 Standard Specification for MARBLE Dimension Stone (Exterior) C568-99 Standard Specification for Limestone Dimension Stone F963-96ae2 Standard Consumer Safety Specification on Toy Safety E1857-97 Standard Guide for Selection of Cleaning Techniques for Masonry, Concrete, and Stucco Surfaces D5107-90(1997) Standard Practice for Preparatory Surface Cleaning of Architectural Sandstone |
| AS | Plaster and Screed AS CA27-1959 Code of recommended practice for internal plastering on solid backgrounds Cement Mortar and Grout AS 1478.2-2005 Chemical admixtures for concrete, mortar and grout - Methods of sampling and testing admixtures for concrete, mortar and grout AS 1012.18-1996 : Methods of testing concrete - Determination of setting time of fresh concrete, mortar and grout by penetration resistance AS 1478.1-2000 Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 2072-1977 : Methods for the sampling of expanding admixtures for concrete, mortar and grout AS 2073-1977 : Methods for the testing of expanding admixtures for concrete, mortar and grout AS 2350.12-1995 : Methods of testing portland and blended cements - Preparation of a standard mortar and moulding of specimens AS 2350.13-1995 : Methods of testing portland and blended cements - Determination of drying shrinkage of portland and blended cement mortars AS 2350.13-1995/Amdt 1-1997 : Methods of testing portland and blended cements - Determination of drying shrinkage of portland and blended cement mortars AS 2350.14-1996 : Methods of testing portland and blended cements - Length change of portland and blended cement mortars exposed to a sulfate solution |
| SS | Rendering SS 397 :1997 Methods of testing cement SS EN 197 series - Cement Tilings SS 57:1989- Specification for glazed ceramic tiles and tile fittings for internal walls CP 67 Part 1: 1997- Code of practice for cleaning and surface repair of buildings: Natural stone, cast stone and clay brick masonry. CP 68: 1997- Code of practice for ceramic wall and floor tiling SS 301:1985- The use of cement sand cover for tiling |
| ISO | Cement mortar and grouting ISO 680:1990 Cement -- Test methods -- Chemical analysis ISO 863:1990 Cement -- Test methods -- Pozzolanicity test for pozzolanic cements Tilings ISO 3920:1976 Honing stones of square section; Designation and dimensions ISO 603-10:1999 Bonded abrasive products - Dimensions - Part 10: Stones for honing and superfinishings - ISO 603-10:1999 ISO 603-10:1999/COR1:1999 Bonded abrasive products - Dimensions - Part 10: Stones for honing and superfinishings ISO 8512-2:1990 Surface plates; part 2: granite |

## Tile Staining (Plumbing)

| BS | Plasters and Screedings BS 8000:Part 9: 1989- Workmanship on building sites- Code of practice for cement/ sand floor screeds and concrete floor toppings Cement Mortar and Grout BS EN 934-3:2009+A1:2012 Admixtures for concrete, mortar and grout. Admixtures for masonry mortar. Definitions, requirements, conformity and marking and labelling/ BS EN 480-4:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of bleeding of concrete/ BS EN 998-2:2010 Specification for mortar for masonry. Masonry mortar/ BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar BS 6319-3:1990 Testing of resin and polymer/cement compositions for use in construction. Methods for measurement of modulus of elasticity in flexure and flexural strength BS 6319-12:1992 Testing of resin and polymer/cement compositions for use in construction. Methods for measurement of unrestrained linear shrinkage and coefficient of thermal expansion PD 6678:2005 Guide to the specification of masonry mortar BS EN 480-1:2014 Admixtures for concrete, mortar and grout. Test methods. Reference concrete and reference mortar for testing BS EN 480-2:2006 Admixtures for concrete, mortar and grout. Test methods. Determination of setting time BS EN 480-4:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of bleeding of concrete BS EN 480-5:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of capillary absorption BS EN 480-6:2005 Admixtures for concrete, mortar and grout. Test methods. Infrared analysis BS EN 480-8:2012 Admixtures for concrete, mortar and grout. Test methods. Determination of the conventional dry material content BS EN 480-10:2009 Admixtures for concrete, mortar and grout. Test methods. Determination of water soluble chloride content BS EN 480-11:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of air void characteristics in hardened concrete BS EN 480-12:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of the alkali content of admixtures BS EN 934-2:2009+A1:2012 Admixtures for concrete, mortar and grout. Concrete admixtures. Definitions, requirements, conformity, marking and labelling BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity BS EN 934-3:2009+A1:2012 Admixtures for concrete, mortar and grout. Admixtures for masonry mortar. Definitions, requirements, conformity and marking and labelling BS EN 934-2:2009+A1:2012 Admixtures for concrete, mortar and grout. Concrete admixtures. Definitions, requirements, conformity, marking and labelling BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity Tilings BS 8000:Part11:Section 11.1:1989- Workmanship on building sites- Code of practice for wall and floor tiling-ceramic, terrazzo and mosaics tiles BS 5385-3:1995- Wall and floor tiling. Code of practice for the design and installation of ceramic floor tiles and mosaics BS 5980:1980- Specification or adhesives for use with ceramic tiles and mosaics BS 6431-1:1983, EN 87:1991-Ceramic floor and wall tiles. Specification for classification and marking, including definitions and characteristics BS 6431-2:1984, EN 121:1991-Ceramic floor and wall tiles. Specification for extruded ceramic tiles with a low water absorption (E <= 3%). Group A1 BS 6431-3.1:1986, EN 186-1:1991Ceramic floor and wall tiles. Extruded ceramic tiles with a water absorption of 3% <E<=6% Group A11a. Specification for general products BS 6431-5:1986, EN 188:1991Ceramic floor and wall tiles. Specification for extruded ceramic tiles with a water absorption of E > 10%. Group A111 BS 6431-7:1986, EN 177:1991-Ceramic floor and wall tiles. BS 6431-8:1986, EN 178:1991-Ceramic floor and wall tiles. BS 6431-10:1984, EN 98:1991-Ceramic floor and wall tiles. Method for determination of dimensions and surface quality BS 6431-11:1983, EN 99:199-1Ceramic floor and wall tiles. Method for determination of water absorption BS 6431-12:1983, EN 100:1991-Ceramic floor and wall tiles. Method for determination of modulus of rupture BS 6431-13:1986, EN 101:1991-Ceramic floor and wall tiles. Method for determination of scratch hardness of surface according to Mohs BS 6431-14:1983, EN 102:1991-Ceramic floor and wall tiles. Method for determination of resistance to deep abrasion. Unglazed tiles BS 6431-18:1983, EN 106:1991Ceramic floor and wall tiles. Method for determination of chemical resistance. Unglazed tiles |
| --- | --- |
| ASTM | Plaster and Screeds ASTM C926 - 16 Standard Specification for Application of Portland Cement-Based Plaster ASTM C1063 - 16 Standard Specification for Installation of Lathing and Furring to Receive Interior and Exterior Portland Cement-Based Plaster Cement mortar and grout C305: 1999-Practice for Mechanical Mixing of Hydraulic Cement Pastes and Mortars of Plastic Consistency C778: 2000-Standard Specification for Standard Sand C109/C109M: 2001-Standard Test Method for Compressive Strength of Hydraulic Cement Mortars (Using 2-in. or [50-mm] Cube Specimens) C348: 1997-Standard Test Method for Flexural Strength of Hydraulic-Cement Mortars C349: 1997-Standard Test Method for Compressive Strength of Hydraulic-Cement Mortars (Using Portions of Prisms Broken in Flexure) C150: 2000-Standard Specification for Portland Cement C87: 1983(1995)e1-Standard Test Method for Effect of Organic Impurities in Fine Aggregate on Strength of Mortar C125: 2000ae1-Standard Terminology Relating to Concrete and Concrete Aggregates C1038: 2001-Standard Test Method for Expansion of Hydraulic Cement Mortar Bars Stored in Water C 494/ 494M: 2000-Specification for Chemical Admixtures for Concrete C115: 1996a-Standard Test Method for Fineness of Portland Cement by the Turbidimeter C490: 2000a-Standard Practice for Use of Apparatus for the Determination of Length Change of Hardened Cement Paste, Mortar, and Concrete C33: 2001a-Standard Specification for Concrete Aggregates C295: 1998-Standard Guide for Petrographic Examination of Aggregates for Concrete C452: 1995-Standard Test Method for Potential Expansion of Portland-Cement Mortars Exposed to Sulfate Tiling D5343:97- Standard Guide for Evaluating Cleaning Performance of Ceramic Tile Cleaners C485-83:1999- Standard Test Method for Measuring Warpage of Ceramic Tile C1378:1997- Standard Test Method for Determination of Resistance to Staining C650:1997- Standard Test Method for Resistance of Ceramic Tile to Chemical Substances C648:1998- Standard Test Method for Breaking Strength of Ceramic Tile 19C1027:99-Standard Test Method for Determining Visible Abrasion Resistance of Glazed Ceramic Tile C609-90:2000- Standard Test Method for Measurement of Small Color Differences Between Ceramic Wall or Floor Tile C499-78:1999- Standard Test Method for Facial Dimensions and Thickness of Flat, Rectangular Ceramic Wall and Floor Tile |
| AS | Plaster and Screed AS CA27-1959 Code of recommended practice for internal plastering on solid backgrounds Cement mortar and Grout AS 1478.2-2005 Chemical admixtures for concrete, mortar and grout - Methods of sampling and testing admixtures for concrete, mortar and grout AS 1012.18-1996 : Methods of testing concrete - Determination of setting time of fresh concrete, mortar and grout by penetration resistance AS 1478.1-2000 Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 2072-1977 : Methods for the sampling of expanding admixtures for concrete, mortar and grout AS 2073-1977 : Methods for the testing of expanding admixtures for concrete, mortar and grout AS 2350.12-1995 : Methods of testing portland and blended cements - Preparation of a standard mortar and moulding of specimens AS 2350.13-1995 : Methods of testing portland and blended cements - Determination of drying shrinkage of portland and blended cement mortars AS 2350.13-1995/Amdt 1-1997 : Methods of testing portland and blended cements - Determination of drying shrinkage of portland and blended cement mortars AS 2350.14-1996 : Methods of testing portland and blended cements - Length change of portland and blended cement mortars exposed to a sulfate solution Tilings AS 3958.2:1992 - Ceramic tiles - Guide to the selection of a ceramic tiling system AS 1884-1985-Floor coverings - Resilient sheet and tiles - Laying and maintenance practices AS 2358-1990-Adhesives - For fixing ceramic tiles AS 3958.1-1991/Amdt 1-1992-Ceramic tiles - Guide to the installation of ceramic tiles AS 3958.2-1992-Ceramic tiles - Guide to the selection of a ceramic tiling system AS 4459.1-1999-Methods of sampling and testing ceramic tiles - Sampling and basis for acceptance AS 4459.10-1999-Methods of sampling and testing ceramic tiles - Determination of moisture expansion AS 4459.11-1997-Methods of sampling and testing ceramic tiles - Determination of crazing resistance for glazed tiles AS 4459.13-1999-Methods of sampling and testing ceramic tiles - Determination of chemical resistance AS 4459.14-1999-Methods of sampling and testing ceramic tiles - Determination of resistance to stains AS 4459.2-1999-Methods of sampling and testing ceramic tiles - Determination of dimensions and surface quality AS 4459.3-1999-Methods of sampling and testing ceramic tiles - Determination of water absorption, apparent porosity, apparent relative density and bulk density AS 4459.4-1997-Methods of sampling and testing ceramic tiles - Determination of modulus of rupture and breaking strength AS 4459.6-1999-Methods of sampling and testing ceramic tiles - Determination of resistance to deep abrasion for unglazed tiles AS 4459.8-1997-Methods of sampling and testing ceramic tiles - Determination of linear thermal expansion |
| SS | Rendering SS 397 :1997 Methods of testing cement SS EN 197 series - Cement Tilings SS 57:1989- Specification for glazed ceramic tiles and tile fittings for internal walls CP 67 Part 1: 1997- Code of practice for cleaning and surface repair of buildings: Natural stone, cast stone and clay brick masonry. CP 68: 1997- Code of practice for ceramic wall and floor tiling SS 301:1985- The use of cement sand cover for tiling |
| ISO | Cement mortar and grouting ISO 680:1990 Cement -- Test methods -- Chemical analysis ISO 863:1990 Cement -- Test methods -- Pozzolanicity test for pozzolanic cements Tilings ISO 10545-1:1995- Ceramic tiles -- Part 1: Sampling and basis for acceptance ISO 10545-3:1995- Ceramic tiles -- Part 3: Determination of water absorption, apparent porosity, apparent relative density and bulk density ISO 10545-4:1994- Ceramic tiles -- Part 4: Determination of modulus of rupture and breaking strength ISO 10545-5:1996- Ceramic tiles -- Part 5: Determination of impact resistance by measurement of coefficient of restitution ISO 10545-6:1995- Ceramic tiles -- Part 6: Determination of resistance to deep abrasion for unglazed tiles ISO 10545-10:1995- Ceramic tiles -- Part 10: Determination of moisture expansion ISO 10545-13:1995- Ceramic tiles -- Part 13: Determination of chemical resistance ISO 10545-14:1995- Ceramic tiles -- Part 14: Determination of resistance to stains ISO 10545-16:1999- Ceramic tiles -- Part 16: Determination of small colour differences ISO 13006:1998- Ceramic tiles -- Definitions, classification, characteristics and marking ISO 10545-10:1995- Ceramic tiles -- Part 10: Determination of moisture expansion ISO 13006:1998- Ceramic tiles-definitions, classification, characteristics and making |

## Damp Patch

| BS | Screedings BS 8000:Part 9: 1989- Workmanship on building sites- Code of practice for cement/ sand floor screeds and concrete floor toppings Cement mortar and grout BS 4550-6:1978 Methods of testing cement. Standard sand for mortar cubess BS EN 934-3:2009+A1:2012 Admixtures for concrete, mortar and grout. Admixtures for masonry mortar. Definitions, requirements, conformity and marking and labelling/ BS EN 480-4:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of bleeding of concrete/ BS EN 998-2:2010 Specification for mortar for masonry. Masonry mortar/ BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar BS 6319-3:1990 Testing of resin and polymer/cement compositions for use in construction. Methods for measurement of modulus of elasticity in flexure and flexural strength BS 6319-12:1992 Testing of resin and polymer/cement compositions for use in construction. Methods for measurement of unrestrained linear shrinkage and coefficient of thermal expansion PD 6678:2005 Guide to the specification of masonry mortar BS EN 480-1:2014 Admixtures for concrete, mortar and grout. Test methods. Reference concrete and reference mortar for testing BS EN 480-2:2006 Admixtures for concrete, mortar and grout. Test methods. Determination of setting time BS EN 480-4:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of bleeding of concrete BS EN 480-5:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of capillary absorption BS EN 480-6:2005 Admixtures for concrete, mortar and grout. Test methods. Infrared analysis BS EN 480-8:2012 Admixtures for concrete, mortar and grout. Test methods. Determination of the conventional dry material content BS EN 480-10:2009 Admixtures for concrete, mortar and grout. Test methods. Determination of water soluble chloride content BS EN 480-11:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of air void characteristics in hardened concrete BS EN 480-12:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of the alkali content of admixtures BS EN 934-2:2009+A1:2012 Admixtures for concrete, mortar and grout. Concrete admixtures. Definitions, requirements, conformity, marking and labelling BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity BS EN 934-3:2009+A1:2012 Admixtures for concrete, mortar and grout. Admixtures for masonry mortar. Definitions, requirements, conformity and marking and labelling BS EN 934-2:2009+A1:2012 Admixtures for concrete, mortar and grout. Concrete admixtures. Definitions, requirements, conformity, marking and labelling BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity Tilings BS 5385-5:1994-Wall and floor tiling. Code of practice for the design and installation of terrazzo tile and slab, natural stone and composition block floorings BS 5385-1:1995- Wall and floor tiling. Code of practice for the design and installation of internal ceramic and natural stone wall tiling and mosaics in normal conditions BS 8000:Part 9: 1989- Workmanship on building sites- Code of practice for cement/ sand floor screeds and concrete floor toppings BS 8000-11.2:1990- Workmanship on building sites. Code of practice for wall and floor tiling. Natural stone tiles BS 8221-1:2000- Code of practice for cleaning and surface repair of buildings. Cleaning of natural stones, brick, terracotta and concrete BS 8221-2:2000- Code of practice for cleaning and surface repair of buildings. Surface repair of natural stones, brick and terracotta BS EN 14157 Natural stone test. Determination of abrasion resistance BS 5980: 1980- Specification for adhesives for use with ceramic tiles and mosaic |
| --- | --- |
| ASTM | Cement mortar and grout C305: 1999-Practice for Mechanical Mixing of Hydraulic Cement Pastes and Mortars of Plastic Consistency C778: 2000-Standard Specification for Standard Sand C109/C109M: 2001-Standard Test Method for Compressive Strength of Hydraulic Cement Mortars (Using 2-in. or [50-mm] Cube Specimens) C348: 1997-Standard Test Method for Flexural Strength of Hydraulic-Cement Mortars C349: 1997-Standard Test Method for Compressive Strength of Hydraulic-Cement Mortars (Using Portions of Prisms Broken in Flexure) C150: 2000-Standard Specification for Portland Cement C87: 1983(1995)e1-Standard Test Method for Effect of Organic Impurities in Fine Aggregate on Strength of Mortar C125: 2000ae1-Standard Terminology Relating to Concrete and Concrete Aggregates C1038: 2001-Standard Test Method for Expansion of Hydraulic Cement Mortar Bars Stored in Water C 494/ 494M: 2000-Specification for Chemical Admixtures for Concrete C115: 1996a-Standard Test Method for Fineness of Portland Cement by the Turbidimeter C490: 2000a-Standard Practice for Use of Apparatus for the Determination of Length Change of Hardened Cement Paste, Mortar, and Concrete C33: 2001a-Standard Specification for Concrete Aggregates C295: 1998-Standard Guide for Petrographic Examination of Aggregates for Concrete C452: 1995-Standard Test Method for Potential Expansion of Portland-Cement Mortars Exposed to Sulfate Tilings C615-99 Standard Specification for GRANITE Dimension Stone E1857-97 Standard Guide for Selection of Cleaning Techniques for Masonry, Concrete, and Stucco Surfaces D5107-90(1997) Standard Practice for Preparatory Surface Cleaning of Architectural Sandstone D4700-91(1998)e1 Standard Guide for Soil Sampling from the Vadose Zone D2203-01 Standard Test Method for Staining from Sealants |
| AS | Plaster and Screed AS CA27-1959 Code of recommended practice for internal plastering on solid backgrounds Cement mortar and grout AS 1478.2-2005 Chemical admixtures for concrete, mortar and grout - Methods of sampling and testing admixtures for concrete, mortar and grout AS 1012.18-1996 : Methods of testing concrete - Determination of setting time of fresh concrete, mortar and grout by penetration resistance AS 1478.1-2000 Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 2072-1977 : Methods for the sampling of expanding admixtures for concrete, mortar and grout AS 2073-1977 : Methods for the testing of expanding admixtures for concrete, mortar and grout AS 2350.12-1995 : Methods of testing portland and blended cements - Preparation of a standard mortar and moulding of specimens AS 2350.13-1995 : Methods of testing portland and blended cements - Determination of drying shrinkage of portland and blended cement mortars AS 2350.13-1995/Amdt 1-1997 : Methods of testing portland and blended cements - Determination of drying shrinkage of portland and blended cement mortars AS 2350.14-1996 : Methods of testing portland and blended cements - Length change of portland and blended cement mortars exposed to a sulfate solution |
| SS | Rendering SS 397 :1997 Methods of testing cement SS EN 197 series - Cement Tilings SS 57:1989- Specification for glazed ceramic tiles and tile fittings for internal walls CP 67 Part 1: 1997- Code of practice for cleaning and surface repair of buildings: Natural stone, cast stone and clay brick masonry. CP 68: 1997- Code of practice for ceramic wall and floor tiling SS 301:1985- The use of cement sand cover for tiling |
| ISO | Cement mortar and grouting ISO 680:1990 Cement -- Test methods -- Chemical analysis ISO 863:1990 Cement -- Test methods -- Pozzolanicity test for pozzolanic cements Tilings ISO 3920:1976 Honing stones of square section; Designation and dimensions ISO 603-10:1999 Bonded abrasive products - Dimensions - Part 10: Stones for honing and superfinishings - ISO 603-10:1999 ISO 603-10:1999/COR1:1999 Bonded abrasive products - Dimensions - Part 10: Stones for honing and superfinishings ISO 8512-2:1990 Surface plates; part 2: granite |

## Uneven Tile Surfaces

| BS | Tiling BS 8000:Part 9: 1989- Workmanship on building sites- Code of practice for cement/ sand floor screeds and concrete floor toppings BS 5385-3:1995- Wall and floor tiling. Code of practice for the design and installation of ceramic floor tiles and mosaics BS 5980:1980- Specification or adhesives for use with ceramic tiles and mosaics BS 6431-1:1983, EN 87:1991-Ceramic floor and wall tiles. Specification for classification and marking, including definitions and characteristics BS 6431-2:1984, EN 121:1991-Ceramic floor and wall tiles. Specification for extruded ceramic tiles with a low water absorption (E <= 3%). Group A1 BS 6431-3.1:1986, EN 186-1:1991-Ceramic floor and wall tiles. Extruded ceramic tiles with a water absorption of 3% <E<=6% Group A11a. Specification for general products BS 6431-5:1986, EN 188:1991-Ceramic floor and wall tiles. Specification for extruded ceramic tiles with a water absorption of E > 10%. Group A111 BS 6431-7:1986, EN 177:1991-Ceramic floor and wall tiles. BS 6431-8:1986, EN 178:1991-Ceramic floor and wall tiles. BS 6431-10:1984, EN 98:1991-Ceramic floor and wall tiles. Method for determination of dimensions and surface quality BS 6431-11:1983, EN 99:199-1Ceramic floor and wall tiles. Method for determination of water absorption BS 6431-12:1983, EN 100:1991-Ceramic floor and wall tiles. Method for determination of modulus of rupture BS 6431-13:1986, EN 101:1991-Ceramic floor and wall tiles. Method for determination of scratch hardness of surface according to Mohs BS 6431-14:1983, EN 102:1991-Ceramic floor and wall tiles. Method for determination of resistance to deep abrasion. Unglazed tiles BS 6431-18:1983, EN 106:1991Ceramic floor and wall tiles. Method for determination of chemical resistance. Unglazed tiles |
| --- | --- |
| ASTM | Tiling D5343:97- Standard Guide for Evaluating Cleaning Performance of Ceramic Tile Cleaners C485-83:1999- Standard Test Method for Measuring Warpage of Ceramic Tile C1378:1997- Standard Test Method for Determination of Resistance to Staining C650:1997- Standard Test Method for Resistance of Ceramic Tile to Chemical Substances C648:1998- Standard Test Method for Breaking Strength of Ceramic Tile 19C1027:99-Standard Test Method for Determining Visible Abrasion Resistance of Glazed Ceramic Tile C609-90:2000- Standard Test Method for Measurement of Small Color Differences Between Ceramic Wall or Floor Tile C499-78:1999- Standard Test Method for Facial Dimensions and Thickness of Flat, Rectangular Ceramic Wall and Floor Tile |
| AS | Tiling AS 1884-1985-Floor coverings - Resilient sheet and tiles - Laying and maintenance practices AS 2358-1990-Adhesives - For fixing ceramic tiles AS 3958.1-1991/Amdt 1-1992-Ceramic tiles - Guide to the installation of ceramic tiles AS 3958.2-1992-Ceramic tiles - Guide to the selection of a ceramic tiling system AS 4459.1-1999-Methods of sampling and testing ceramic tiles - Sampling and basis for acceptance AS 4459.10-1999-Methods of sampling and testing ceramic tiles - Determination of moisture expansion AS 4459.11-1997-Methods of sampling and testing ceramic tiles - Determination of crazing resistance for glazed tiles AS 4459.13-1999-Methods of sampling and testing ceramic tiles - Determination of chemical resistance AS 4459.14-1999-Methods of sampling and testing ceramic tiles - Determination of resistance to stains AS 4459.2-1999-Methods of sampling and testing ceramic tiles - Determination of dimensions and surface quality AS 4459.3-1999-Methods of sampling and testing ceramic tiles - Determination of water absorption, apparent porosity, apparent relative density and bulk density AS 4459.4-1997-Methods of sampling and testing ceramic tiles - Determination of modulus of rupture and breaking strength AS 4459.6-1999-Methods of sampling and testing ceramic tiles - Determination of resistance to deep abrasion for unglazed tiles AS 4459.8-1997-Methods of sampling and testing ceramic tiles - Determination of linear thermal expansion |
| SS | Rendering SS 397 :1997 Methods of testing cement SS EN 197 series - Cement Tiling SS 301:1985- The use of cement sand cover for tiling SS 57:1989- Specification for glazed ceramic tiles and tile fittings for internal walls |
| ISO | Cement mortar and grouting ISO 680:1990 Cement -- Test methods -- Chemical analysis ISO 863:1990 Cement -- Test methods -- Pozzolanicity test for pozzolanic cements Tiling ISO 10545-1:1995- Ceramic tiles -- Part 1: Sampling and basis for acceptance ISO 10545-3:1995- Ceramic tiles -- Part 3: Determination of water absorption, apparent porosity, apparent relative density and bulk density ISO 10545-4:1994- Ceramic tiles -- Part 4: Determination of modulus of rupture and breaking strength ISO 10545-5:1996- Ceramic tiles -- Part 5: Determination of impact resistance by measurement of coefficient of restitution ISO 10545-6:1995- Ceramic tiles -- Part 6: Determination of resistance to deep abrasion for unglazed tiles ISO 10545-10:1995- Ceramic tiles -- Part 10: Determination of moisture expansion ISO 10545-13:1995- Ceramic tiles -- Part 13: Determination of chemical resistance ISO 10545-14:1995- Ceramic tiles -- Part 14: Determination of resistance to stains ISO 10545-16:1999- Ceramic tiles -- Part 16: Determination of small colour differences ISO 13006:1998- Ceramic tiles -- Definitions, classification, characteristics and marking ISO 10545-10:1995- Ceramic tiles -- Part 10: Determination of moisture expansion ISO 133006:1998- Ceramic tiles-definitions, classification, characteristics and making |

## Paint Peeling

## Flaking off of Paint

| BS | Paints BS EN ISO 6270-1:2001, BS 3900-F9:2001 Paints and varnishes. Determination of resistance to humidity. Continuous condensation BS EN ISO 4618:2014 Paints and varnishes. Terms and definitions BS 6150:2006+A1:2014 Painting of buildings. Code of practice BS 2992:1970 Specification for painters’ and decorators’ brushes for local authorities and public institutions (excluding quality of fillings) BS 3416:1991 Specification for bitumen-based coatings for cold application, suitable for use in contact with potable water BS 3483-A1:1983, ISO 787/1-1982-Methods for testing pigments for paints. Comparison of colour BS 3483-C7:1980, ISO 787/22-1980-Methods for testing pigments for paints. Comparison of resistance to bleeding BS 3900-B4:1986, ISO 6503-1984-Methods of test for paints. Tests involving chemical examination of liquid paints and dried paint films. Determination of total lead in paints and similar materials BS 3900-F2:1973-Methods of test for paint. Durability tests on paint films. Determination of resistance to humidity (cyclic condensation) BS 3900-F6:1976-Methods of test for paint. Durability tests on paint films. Notes for guidance on the conduct of natural weathering test BS EN ISO 11998:2006 Paints and varnishes. Determination of wet-scrub resistance and cleanability of coatings BS EN ISO 4628-2:2016 Paints and varnishes. Evaluation of degradation of coatings. Designation of quantity and size of defects, and of intensity of uniform changes in appearance. Assessment of degree of blistering BS EN ISO 4628-5:2016 Paints and varnishes. Evaluation of degradation of coatings. Designation of quantity and size of defects, and of intensity of uniform changes in appearance. Assessment of degree of flaking BS 6949:1991-Specification for bitumen-based coatings for cold application excluding use in contact with potable water BS 7664:2000-Specification for undercoat and finishing paints BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS EN ISO 6270-1:2001, BS 3900-F9:2001 Paints and varnishes. Determination of resistance to humidity. Continuous condensation BS EN ISO 4618:2014 Paints and varnishes. Terms and definitions BS 6150:2006+A1:2014 Painting of buildings. Code of practice BS 2992:1970 Specification for painters’ and decorators’ brushes for local authorities and public institutions (excluding quality of fillings) BS 3416:1991 Specification for bitumen-based coatings for cold application, suitable for use in contact with potable water BS 3483-A1:1983, ISO 787/1-1982-Methods for testing pigments for paints. Comparison of colour BS 3483-C7:1980, ISO 787/22-1980-Methods for testing pigments for paints. Comparison of resistance to bleeding BS 3900-B4:1986, ISO 6503-1984-Methods of test for paints. Tests involving chemical examination of liquid paints and dried paint films. Determination of total lead in paints and similar materials BS 3900-F2:1973-Methods of test for paint. Durability tests on paint films. Determination of resistance to humidity (cyclic condensation) BS 3900-F6:1976-Methods of test for paint. Durability tests on paint films. Notes for guidance on the conduct of natural weathering test BS EN ISO 11998:2006 Paints and varnishes. Determination of wet-scrub resistance and cleanability of coatings BS EN ISO 4628-2:2016 Paints and varnishes. Evaluation of degradation of coatings. Designation of quantity and size of defects, and of intensity of uniform changes in appearance. Assessment of degree of blistering BS EN ISO 4628-5:2016 Paints and varnishes. Evaluation of degradation of coatings. Designation of quantity and size of defects, and of intensity of uniform changes in appearance. Assessment of degree of flaking BS 4800:2011 Schedule of paint colours for building purposes BS 6949:1991-Specification for bitumen-based coatings for cold application excluding use in contact with potable water BS 7664:2000-Specification for undercoat and finishing paints Waterproofing BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles |
| --- | --- |
| ASTM | Paints ASTM D5098 - 16 Standard Specification for Artists’ Acrylic Dispersion Paints ASTM D4258 - 05(2012) Standard Practice for Surface Cleaning Concrete for Coating ASTM D1640 / D1640M - 14 Standard Test Methods for Drying, Curing, or Film Formation of Organic Coatings ASTM D279 - 02(2012) Standard Test Methods for Bleeding of Pigments ASTM D2574 - 06(2012) Standard Test Method for Resistance of Emulsion Paints in the Container to Attack by Microorganisms ASTM D5324 - 10 Standard Guide for Testing Water-Borne Architectural Coatings ASTM D5146 - 10 Standard Guide to Testing Solvent-Borne Architectural Coatings ASTM E1907-06a Standard Guide to Methods of Evaluating Moisture Conditions of Concrete Floors to Receive Resilient Floor Coverings (Withdrawn 2008) ASTM D6237 - 09(2015) Standard Guide for Painting Inspectors (Concrete and Masonry Substrates) Waterproofing ASTM D5957 - 98(2013) Standard Guide for Flood Testing Horizontal Waterproofing Installations ASTM D5295 / D5295M - 14 Standard Guide for Preparation of Concrete Surfaces for Adhered (Bonded) Membrane Waterproofing Systems ASTM D5683 / D5683M - 95(2011)e1 Standard Test Method for Flexibility of Roofing and Waterproofing Materials and Membranes ASTM D6135-05 Standard Practice for Application of Self-Adhering Modified Bituminous Waterproofing (Withdrawn 2014) |
| AS | Paints AS/NZS 2310:2002 Glossary of paint and painting terms AS/NZS 2311:2009 Guide to the painting of buildings AS 3730.0-2006 Guide to the properties of paints for buildings - General information on the specification, purchasing and testing of paints AS 3730.100-2006 Guide to the properties of paints for buildings - Introduction and list of guides HB 73.1-2005 Handbook of Australian Paint Standards - General HB 73.2-2005 Handbook of Australian Paint Standards - Test methods AS/NZS 1580.101.1:1999 (R2013) Paints and related materials - Methods of test - - Conditions of test - Temperature, humidity and airflow control AS/NZS 1580.107.2:1995 Paints and related materials - Methods of test - - Determination of wet film thickness from wet film mass AS 1580.408.5-2006 Paints and related materials - Methods of test - Adhesion - Pull-off test AS/NZS 1580.481.1.10:1998 (R2013) Paints and related materials - Methods of test - Coatings - Exposed to weathering - Degree of flaking and peeling AS/NZS 1580.481.1.13:1998 (Reconfirmed 2013) Methods of test for paints and related materials - Exposed to weathering - Degree of fungal or algal growth AS/NZS 1580.481.1.9:1998 (R2013) Paints and related materials - Methods of test - Coatings - Exposed to weathering - Degree of blistering Waterproofing AS 3740-2010/Amdt 1-2012 Waterproofing of domestic wet areas AS 3740-Amdt 1:1995- Waterproofing of wet areas within residential buildings |
| SS | Paints SS 542 : 2008 Code of practice for painting of buildings SS 5 Series - Methods of test for paints, varnishes and related materials SS 7 : 1998 Paint - Finishing, gloss enamel SS 34 : 1998 Undercoat paint for gloss enamel SS 150 : 1998 Emulsion paints for decorative purposes CP 82 : 1999 Code of practice for waterproofing of reinforced concrete buildings SS 345: 1990 Algae resistant emulsion paint for decorative purposes Waterproofing SS CP 82:1999- Code of practice- waterproofing of reinforced concrete buildings |
| ISO | Paints ISO 1513:2010 Paints and varnishes -- Examination and preparation of test samples ISO 1514:2004 Paints and varnishes -- Standard panels for testing ISO 1516:2002 Determination of flash/no flash -- Closed cup equilibrium method ISO 9117-3:2010 Paints and varnishes -- Drying tests -- Part 3: Surface-drying test using ballotini ISO 1518-1:2011 Paints and varnishes -- Determination of scratch resistance -- Part 1: Constant-loading method ISO 1519:2011 Paints and varnishes -- Bend test (cylindrical mandrel) ISO 1520:2006 - Paints and varnishes -- Cupping test ISO 1522:2006 Paints and varnishes -- Pendulum damping test ISO 1523:2002 Determination of flash point -- Closed cup equilibrium method ISO 1524:2013 Paints, varnishes and printing inks -- Determination of fineness of grind ISO 2409:2013 Paints and varnishes -- Cross-cut test ISO 2431:2011 Paints and varnishes -- Determination of flow time by use of flow cups ISO 2808:2007 Paints and varnishes -- Determination of film thickness ISO 2810:2004 Paints and varnishes -- Natural weathering of coatings -- Exposure and assessment ISO 2811-1:2016 Paints and varnishes -- Determination of density -- Part 1: Pycnometer method ISO 2811-2:2011 Paints and varnishes -- Determination of density -- Part 2: Immersed body (plummet) method ISO 2811-3:2011 Paints and varnishes -- Determination of density -- Part 3: Oscillation method ISO 2811-4:2011 Paints and varnishes -- Determination of density -- Part 4: Pressure cup method ISO 2812-1:2007 Paints and varnishes -- Determination of resistance to liquids -- Part 1: Immersion in liquids other than water ISO 2812-2:2007 Paints and varnishes -- Determination of resistance to liquids -- Part 2: Water immersion method ISO 2813:2014 Paints and varnishes -- Determination of gloss value at 20 degrees, 60 degrees and 85 degrees BS EN ISO 2814:2006, BS 3900-D4:2006 Paints and varnishes. Comparison of contrast ratio (hiding power) of paints of the same type and colour ISO 2815:2003 Paints and varnishes -- Buchholz indentation test ISO 2884-1:1999 Paints and varnishes -- Determination of viscosity using rotary viscometers -- Part 1: Cone-and-plate viscometer operated at a high rate of shear ISO 3231: 1993 Paints and varnishes -- Determination of resistance to humid atmospheres containing sulfur dioxide ISO 3233-1:2013 Paints and varnishes -- Determination of the percentage volume of non-volatile matter -- Part 1: Method using a coated test panel to determine non-volatile matter and to determine dry film density by the Archimedes principle ISO 3248: 1998 Paints and varnishes -- Determination of the effect of heat ISO 3251:2008 Paints, varnishes and plastics -- Determination of non-volatile-matter content ISO 4618:2014 Paints and varnishes -- Terms and definitions ISO 4618:2014 Paints and varnishes -- Terms and definitions ISO 4624:2016 Paints and varnishes -- Pull-off test for adhesion ISO 4628-1:2016 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 1: General introduction and designation system ISO 4628-2:2003 Paints and varnishes - Evaluation of degradation of coatings - Designation of quantity and size of defects, and of intensity of uniform changes in appearance - Part 2: Assessment of degree of blistering ISO 4628-3:2016 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 3: Assessment of degree of rusting ISO 4628-4:2016 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 4: Assessment of degree of cracking ISO 4628-5:2016 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 5: Assessment of degree of flaking ISO 4628-6:2011 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 6: Assessment of degree of chalking by tape method ISO 6270-1: 1998 Paints and varnishes -- Determination of resistance to humidity -- Part 1: Continuous condensation ISO 6272-1:2011 Paints and varnishes -- Rapid-deformation (impact resistance) tests -- Part 1: Falling-weight test, large-area indenter/ ISO 6272-2:2011 Paints and varnishes -- Rapid-deformation (impact resistance) tests -- Part 2: Falling-weight test, small-area indenter ISO 6503: 1984 Paints and varnishes -- Determination of total lead -- Flame atomic absorption spectrometric method ISO 6504-1: 1983 Paints and varnishes -- Determination of hiding power -- Part 1: Kubelka-Munk method for white and light-coloured paints ISO 6504-3:2006 Paints and varnishes -- Determination of hiding power -- Part 3: Determination of contrast ratio of light-coloured paints at a fixed spreading rate ISO 6713: 1984 Paints and varnishes -- Preparation of acid extracts from paints in liquid or powder form ISO 6744-1: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 1: General methods of test ISO 6744-2: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 2: Determination of phthalic anhydride content ISO 6744-3: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 3: Determination of unsaponifiable matter content ISO 6744-4: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 4: Determination of fatty acid content ISO 6860:2006 Paints and varnishes -- Bend test (conical mandrel) ISO 7142:2007 Binders for paints and varnishes -- Epoxy resins -- General methods of test ISO 7143:2007 Binders for paints and varnishes -- Methods of test for characterizing water-based binders ISO 7783:2011 Paints and varnishes -- Determination of water-vapour transmission properties -- Cup method ISO 7784-1:2016 Paints and varnishes -- Determination of resistance to abrasion -- Part 1: Method with abrasive-paper covered wheels and rotating test specimen ISO 7784-2:2016 Paints and varnishes -- Determination of resistance to abrasion -- Part 2: Method with abrasive rubber wheels and rotating test specimen ISO 7784-3:2016 Paints and varnishes -- Determination of resistance to abrasion -- Part 3: Method with abrasive-paper covered wheel and linearly reciprocating test specimen ISO 8501-1:2007 Preparation of steel substrates before application of paints and related products -- Visual assessment of surface cleanliness -- Part 1: Rust grades and preparation grades of uncoated steel substrates and of steel substrates after overall ISO 9514:2005 Paints and varnishes -- Determination of the pot life of multicomponent coating systems -- Preparation and conditioning of samples and guidelines for testing ISO 11503:1995 Paints and varnishes -- Determination of resistance to humidity (intermittent condensation) ISO 16474-1:2013 Paints and varnishes -- Methods of exposure to laboratory light sources -- Part 1: General guidance ISO 11668:1997 Binders for paints and varnishes -- Chlorinated polymerization resins -- General methods of test ISO 11890-1:2007 Paints and varnishes -- Determination of volatile organic compound (VOC) content -- Part 1: Difference method ISO 11890-2:2013 Paints and varnishes -- Determination of volatile organic compound (VOC) content -- Part 2: Gas-chromatographic method ISO 11908: 1996 Binders for paints and varnishes -- Amino resins -- General methods of test ISO 11909:2007 Binders for paints and varnishes -- Polyisocyanate resins -- General methods of test ISO 11997-1:2005 Paints and varnishes -- Determination of resistance to cyclic corrosion conditions -- Part 1: Wet (salt fog)/dry/humidity ISO 11997-2:2013 Paints and varnishes -- Determination of resistance to cyclic corrosion conditions -- Part 2: Wet (salt fog)/dry/humidity/UV light ISO 11998:2006 Paints and varnishes -- Determination of wet-scrub resistance and cleanability of coatings ISO 12137:2011 Paints and varnishes -- Determination of mar resistance ISO 1518-2:2011 Paints and varnishes -- Determination of scratch resistance -- Part 2: Variable-loading method ISO 14680-1:2000 Paints and varnishes -- Determination of pigment content -- Part 1: Centrifuge method ISO 14680-2: 2000 Paints and varnishes -- Determination of pigment content -- Part 2: Ashing method ISO 14680-3: 2000 Paints and varnishes -- Determination of pigment content -- Part 3: Filtration method ISO 15184:2012 Paints and varnishes -- Determination of film hardness by pencil test ISO 14654:1999 Epoxy-coated steel for the reinforcement of concrete ISO 14656:1999 Epoxy powder and sealing material for the coating of steel for the reinforcement of concrete |

## Peeling of Paint

| BS | Waterproofing BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles Concrete BS EN 197-1:2011 Cement. Composition, specifications and conformity criteria for common cements BS EN 1992-1-1:2004+A1:2014 Eurocode 2: Design of concrete structures. General rules and rules for buildings BS EN 13139:2002 Aggregates for mortar/ 15/30313572 DC. BS ISO 1920-2. Testing of concrete. Part 2. Properties of fresh concrete/ BS 1881-207:1992. Testing concrete. Recommendations for the assessment of concrete strength by near-to-surface tests/ BS 1881-124:2015. Testing concrete. Methods for analysis of hardened/ BS 1881-125:2013. Testing concrete. Methods for mixing and sampling fresh concrete in the laboratory/ BS 1881-130:2013. Testing concrete. Method for temperature-matched curing of concrete specimens/ BS 1881-113:2011. Testing concrete. Method for making and curing no-fines test cubes/ BS 1881-119:2011. Testing concrete. Method for determination of compressive strength using portions of beams broken in flexure (equivalent cube method)/ BS 1881-122:2011. Testing concrete. Method for determination of water absorption/ BS 1881-129:2011. Testing concrete. Method for determination of density of partially compacted semi-dry fresh concrete/ BS 1881-131:1998. Testing concrete. Methods for testing cement in a reference concrete/ BS 1881-208:1996. Testing concrete. Recommendations for the determination of the initial surface absorption of concrete/ BS 1881-209:1990. Testing concrete. Recommendations for the measurement of dynamic modulus of elasticity/ BS 1881-204:1988. Testing concrete. Recommendations on the use of electromagnetic covermeters/ BS 1881-206:1986. Testing concrete. Recommendations for determination of strain in concrete/ BS 1881-121:1983. Testing concrete. Method for determination of static modulus of elasticity in compression/ BS EN 12504-2:2012. Testing concrete in structures. Non-destructive testing. Determination of rebound number/ BS 1881-204:1988 Testing concrete. Recommendations on the use of electromagnetic covermeters/ BS 1881-206:1986 Testing concrete. Recommendations for determination of strain in concrete. BS 812-103.2:1989. Testing aggregates. Method for determination of particle size distribution. Sedimentation testBS 812-121:1989. Testing aggregates. Method for determination of soundness/ BS 812-119:1985. Testing aggregates. Method for determination of acid-soluble material in fine aggregate/ BS 812-112:1990. Testing aggregates. Method for determination of aggregate impact value (AIV)/ BS 812-114:1989. Testing aggregates. Method for determination of the polished-stone value/ BS 812-110:1990. Testing aggregates. Methods for determination of aggregate crushing value (ACV)/ BS 812-111:1990. Testing aggregates. Methods for determination of ten per cent fines value (TFV)/ BS 812-109:1990. Testing aggregates. Methods for determination of moisture content/ BS 812-104:1994. Testing aggregates. Method for qualitative and quantitative petrographic examination of aggregates/ BS 812-123:1999. Testing aggregates. Method for determination of alkali-silica reactivity. Concrete prism method/ BS 812-2:1995. Testing aggregates. Methods for determination of density/BS EN 932-5:2012 Tests for general properties of aggregates. Common equipment and calibration/ BS 812-124:2009. Testing aggregates. Method for determination of frost heave/ . BS EN 12620:2002+A1:2008 Aggregates for concrete BS 4550:(varies)-Methods of testing cement BS EN 1015-7:1999 Methods of test for mortar for masonry. Determination of air content of fresh mortar / BS EN 1015-4:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by plunger penetration) / BS EN 1015-19:1999 Methods of test for mortar for masonry. Determination of water vapour permeability of hardened rendering and plastering mortars / BS EN 1015-1:1999 Methods of test for mortar for masonry. Determination of particle size distribution (by sieve analysis) / BS EN 1015-2:1999 Methods of test for mortar for masonry. Bulk sampling of mortars and preparation of test mortars / BS EN 1015-3:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by flow table) / BS EN 1015-6:1999 Methods of test for mortar for masonry. Determination of bulk density of fresh mortar / BS EN 1015-9:1999 Methods of test for mortar for masonry. Determination of workable life and correction time of fresh mortar / BS EN 1015-10:1999 Methods of test for mortar for masonry. Determination of dry bulk density of hardened mortar / BS 4551:2005+A2:2013 Mortar. Methods of test for mortar and screed. Chemical analysis and physical testing BS 4551:2005+A2:2013 Mortar. Methods of test for mortar and screed. Chemical analysis and physical testing BS 4887:1986-Mortar admixtures BS EN 206:2013 Concrete. Specification, performance, production and conformity BS EN 13791:2007 Assessment of in-situ compressive strength in structures and pre-cast concrete components/ BS 6089:2010 Assessment of in-situ compressive strength in structures and precast concrete components. Complementary guidance to that given in BS EN 13791/ BS 6949:1991- Specification for bitumen-based coatings for cold application excluding use in contact with potable water BS 7543:2015 Guide to durability of buildings and building elements, products and components/BS ISO 15686-1:2011 Buildings and constructed assets. Service life planning. General principles and frameworkBS ISO 15686-3:2002 Buildings and constructed assets. Service life planning. Performance audits and reviewsBS ISO 15686-2:2012 Buildings and constructed assets. Service life planning. Service life prediction procedures BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles Paints BS EN ISO 6270-1:2001, BS 3900-F9:2001 Paints and varnishes. Determination of resistance to humidity. Continuous condensation BS EN ISO 4618:2014 Paints and varnishes. Terms and definitions BS 6150:2006+A1:2014 Painting of buildings. Code of practice BS 2992:1970 Specification for painters’ and decorators’ brushes for local authorities and public institutions (excluding quality of fillings) BS 3416:1991 Specification for bitumen-based coatings for cold application, suitable for use in contact with potable water BS 3483-A1:1983, ISO 787/1-1982-Methods for testing pigments for paints. Comparison of colour BS 3483-C7:1980, ISO 787/22-1980-Methods for testing pigments for paints. Comparison of resistance to bleeding BS 3900-B4:1986, ISO 6503-1984-Methods of test for paints. Tests involving chemical examination of liquid paints and dried paint films. Determination of total lead in paints and similar materials BS 3900-F2:1973-Methods of test for paint. Durability tests on paint films. Determination of resistance to humidity (cyclic condensation) BS 3900-F6:1976-Methods of test for paint. Durability tests on paint films. Notes for guidance on the conduct of natural weathering test BS EN ISO 11998:2006 Paints and varnishes. Determination of wet-scrub resistance and cleanability of coatings BS EN ISO 4628-2:2016 Paints and varnishes. Evaluation of degradation of coatings. Designation of quantity and size of defects, and of intensity of uniform changes in appearance. Assessment of degree of blistering BS EN ISO 4628-5:2016 Paints and varnishes. Evaluation of degradation of coatings. Designation of quantity and size of defects, and of intensity of uniform changes in appearance. Assessment of degree of flaking BS 6949:1991-Specification for bitumen-based coatings for cold application excluding use in contact with potable water BS 7664:2000-Specification for undercoat and finishing paints BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS EN ISO 6270-1:2001, BS 3900-F9:2001 Paints and varnishes. Determination of resistance to humidity. Continuous condensation BS EN ISO 4618:2014 Paints and varnishes. Terms and definitions BS 6150:2006+A1:2014 Painting of buildings. Code of practice BS 2992:1970 Specification for painters’ and decorators’ brushes for local authorities and public institutions (excluding quality of fillings) BS 3416:1991 Specification for bitumen-based coatings for cold application, suitable for use in contact with potable water BS 3483-A1:1983, ISO 787/1-1982-Methods for testing pigments for paints. Comparison of colour BS 3483-C7:1980, ISO 787/22-1980-Methods for testing pigments for paints. Comparison of resistance to bleeding BS 3900-B4:1986, ISO 6503-1984-Methods of test for paints. Tests involving chemical examination of liquid paints and dried paint films. Determination of total lead in paints and similar materials BS 3900-F2:1973-Methods of test for paint. Durability tests on paint films. Determination of resistance to humidity (cyclic condensation) BS 3900-F6:1976-Methods of test for paint. Durability tests on paint films. Notes for guidance on the conduct of natural weathering test BS EN ISO 11998:2006 Paints and varnishes. Determination of wet-scrub resistance and cleanability of coatings BS EN ISO 4628-2:2016 Paints and varnishes. Evaluation of degradation of coatings. Designation of quantity and size of defects, and of intensity of uniform changes in appearance. Assessment of degree of blistering BS EN ISO 4628-5:2016 Paints and varnishes. Evaluation of degradation of coatings. Designation of quantity and size of defects, and of intensity of uniform changes in appearance. Assessment of degree of flaking BS 6949:1991-Specification for bitumen-based coatings for cold application excluding use in contact with potable water BS 7664:2000-Specification for undercoat and finishing paints |
| --- | --- |
| ASTM | Waterproofing ASTM D5957 - 98(2013) Standard Guide for Flood Testing Horizontal Waterproofing Installations ASTM D5295 / D5295M - 14 Standard Guide for Preparation of Concrete Surfaces for Adhered (Bonded) Membrane Waterproofing Systems ASTM D5683 / D5683M - 95(2011)e1 Standard Test Method for Flexibility of Roofing and Waterproofing Materials and Membranes ASTM D6135-05 Standard Practice for Application of Self-Adhering Modified Bituminous Waterproofing (Withdrawn 2014) Concrete C33-01- Standard Specification for Concrete Aggregates ASTM C94 / C94M - 15b Standard Specification for Ready-Mixed Concrete ASTM C150 / C150M - 15 Standard Specification for Portland Cement ASTM C597 - 09 Standard Test Method for Pulse Velocity Through Concrete ASTM C136 / C136M - 14 Standard Test Method for Sieve Analysis of Fine and Coarse Aggregates ASTM C642 - 13 Standard Test Method for Density, Absorption, and Voids in Hardened Concrete ASTM C805 / C805M - 13a Standard Test Method for Rebound Number of Hardened Concrete ASTM D5098 - 16 Standard Specification for Artists’ Acrylic Dispersion Paints ASTM D4258 - 05(2012) Standard Practice for Surface Cleaning Concrete for Coating ASTM D1640 / D1640M - 14 Standard Test Methods for Drying, Curing, or Film Formation of Organic Coatings ASTM D279 - 02(2012) Standard Test Methods for Bleeding of Pigments ASTM D2574 - 06(2012) Standard Test Method for Resistance of Emulsion Paints in the Container to Attack by Microorganisms ASTM D5324 - 10 Standard Guide for Testing Water-Borne Architectural Coatings ASTM D5146 - 10 Standard Guide to Testing Solvent-Borne Architectural Coatings ASTM E1907-06a Standard Guide to Methods of Evaluating Moisture Conditions of Concrete Floors to Receive Resilient Floor Coverings (Withdrawn 2008) ASTM D6237 - 09(2015) Standard Guide for Painting Inspectors (Concrete and Masonry Substrates) insert paint |
| AS | Waterproofing AS 3740-2010/Amdt 1-2012 Waterproofing of domestic wet areas AS 3740-Amdt 1:1995- Waterproofing of wet areas within residential buildings Concrete AS 1012.10-2000 : Methods of testing concrete - Determination of indirect tensile strength of concrete cylinders (Brasil or splitting test) AS 1478.2-2005 Chemical admixtures for concrete, mortar and grout - Methods of sampling and testing admixtures for concrete, mortar and grout AS 1012.1:2014 Methods of testing concrete - Sampling of concrete Paints AS/NZS 2310:2002 Glossary of paint and painting terms AS/NZS 2311:2009 Guide to the painting of buildings AS 3730.0-2006 Guide to the properties of paints for buildings - General information on the specification, purchasing and testing of paints AS 3730.100-2006 Guide to the properties of paints for buildings - Introduction and list of guides HB 73.1-2005 Handbook of Australian Paint Standards - General HB 73.2-2005 Handbook of Australian Paint Standards - Test methods AS/NZS 1580.101.1:1999 (R2013) Paints and related materials - Methods of test - - Conditions of test - Temperature, humidity and airflow control AS/NZS 1580.107.2:1995 Paints and related materials - Methods of test - - Determination of wet film thickness from wet film mass AS 1580.408.5-2006 Paints and related materials - Methods of test - Adhesion - Pull-off test AS/NZS 1580.481.1.10:1998 (R2013) Paints and related materials - Methods of test - Coatings - Exposed to weathering - Degree of flaking and peeling AS/NZS 1580.481.1.13:1998 (Reconfirmed 2013) Methods of test for paints and related materials - Exposed to weathering - Degree of fungal or algal growth AS/NZS 1580.481.1.9:1998 (R2013) Paints and related materials - Methods of test - Coatings - Exposed to weathering - Degree of blistering |
| SS | Waterproofing SS CP 82:1999- Code of practice- waterproofing of reinforced concrete buildings Concrete SS EN 197 - 1 : 2014 Cement - Part 1 : Composition, specifications and conformity criteria for common cement/ SS EN 197 - 2 : 2014 Cement - Part 2 : Conformity evaluation SS EN 12620 : 2008 Specification for aggregates for concrete SS 32 Series - Welded steel fabric for the reinforcement of concrete SS 117 : 1975 HOT DIP GALVANIZED COATINGS ON IRON AND STEEL ARTICLES (REFER TO ISO 1460 AND ISO 1461) SS EN 206 : 2014 Concrete. Specification, performance, production and conformity/ SS 544 series - Concrete - Complementary Singapore Standard to SS EN 206-1 SS EN 934 - 1 : 2008 (2015) Admixtures for concrete, mortar and grout - Common requirements/ SS EN 934 - 2 : 2015 Admixtures for concrete, mortar and grout - Part 2 : Definitions, requirements – Concrete admixtures – Definitions, requirements, conformity, marking and labelling/ SS EN 934 - 6 : 2008 (2015) Admixtures for concrete, mortar and grout - Sampling, conformity control and evaluation of conformity Paints SS 542 : 2008 Code of practice for painting of buildings SS 5 Series - Methods of test for paints, varnishes and related materials SS 7 : 1998 Paint - Finishing, gloss enamel SS 34 : 1998 Undercoat paint for gloss enamel SS 150 : 1998 Emulsion paints for decorative purposes |
| ISO | Concrete ISO 1920-3:2004 Testing of concrete -- Part 3: Making and curing test specimens ISO 1920-1:2004 Testing of concrete -- Part 1: Sampling of fresh concrete ISO 1920-3:2004 Testing of concrete -- Part 3: Making and curing test specimens ISO 3766:2003 Construction drawings -- Simplified representation of concrete reinforcement ISO 3893:1977 Concrete -- Classification by compressive strength ISO 1920-4:2005 Testing of concrete -- Part 4: Strength of hardened concrete ISO 1920-4:2005 Testing of concrete -- Part 4: Strength of hardened concrete ISO 4103:1979 Concrete -- Classification of consistency ISO 1920-4:2005 Testing of concrete -- Part 4: Strength of hardened concrete ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 4635:2011 Rubber, vulcanized -- Preformed joint seals for use between concrete paving sections of highways -- Specification ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 6274:1982 Concrete -- Sieve analysis of aggregates ISO 1920-5:2004 Testing of concrete -- Part 5: Properties of hardened concrete other than strength ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 6782:1982 Aggregates for concrete -- Determination of bulk density ISO 6783:1982 Coarse aggregates for concrete -- Determination of particle density and water absorption -- Hydrostatic balance method ISO 1920-10:2010 Testing of concrete -- Part 10: Determination of static modulus of elasticity in compression Steel ISO 6934-1: 1991 Steel for the prestressing of concrete -- Part 1: General requirements ISO 6934-2: 1991 Steel for the prestressing of concrete -- Part 2: Cold-drawn wire ISO 6934-3: 1991 Steel for the prestressing of concrete -- Part 3: Quenched and tempered wire ISO 6934-4: 1991 Steel for the prestressing of concrete -- Part 4: Strand ISO 6934-5: 1991 Steel for the prestressing of concrete -- Part 5: Hot-rolled steel bars with or without subsequent processing ISO 6935-1: 1991 Steel for the reinforcement of concrete -- Part 1: Plain bars ISO 6935-2: 1991 Steel for the reinforcement of concrete -- Part 2: Ribbed bars ISO 6935-3:1992 Steel for the reinforcement of concrete -- Part 3: Welded fabric ISO 7033: 1987 Fine and coarse aggregates for concrete -- Determination of the particle mass-per-volume and water absorption -- Pycnometer method ISO 14654:1999 Epoxy-coated steel for the reinforcement of concrete ISO 14656:1999 Epoxy powder and sealing material for the coating of steel for the reinforcement of concrete Paints ISO 1513:2010 Paints and varnishes -- Examination and preparation of test samples ISO 1514:2004 Paints and varnishes -- Standard panels for testing ISO 1516: 1981 Paints, varnishes, petroleum and related products -- Flash/no flash test -- Closed cup equilibrium method ISO 9117-3:2010 Paints and varnishes -- Drying tests -- Part 3: Surface-drying test using ballotini ISO 1518-1:2011 Paints and varnishes -- Determination of scratch resistance -- Part 1: Constant-loading method ISO 1519:2011 Paints and varnishes -- Bend test (cylindrical mandrel) ISO 1520:2006 - Paints and varnishes -- Cupping test ISO 1522:2006 Paints and varnishes -- Pendulum damping test ISO 1523: 1983 Paints, varnishes, petroleum and related products -- Determination of flashpoint -- Closed cup equilibrium method ISO 1524:2013 Paints, varnishes and printing inks -- Determination of fineness of grind ISO 2409:2013 Paints and varnishes -- Cross-cut test ISO 2431:2011 Paints and varnishes -- Determination of flow time by use of flow cups ISO 2808:2007 Paints and varnishes -- Determination of film thickness ISO 2810:2004 Paints and varnishes -- Natural weathering of coatings -- Exposure and assessment ISO 2811-1:2016 Paints and varnishes -- Determination of density -- Part 1: Pycnometer method ISO 2811-2:2011 Paints and varnishes -- Determination of density -- Part 2: Immersed body (plummet) method ISO 2811-3:2011 Paints and varnishes -- Determination of density -- Part 3: Oscillation method ISO 2811-4:2011 Paints and varnishes -- Determination of density -- Part 4: Pressure cup method ISO 2812-1:2007 Paints and varnishes -- Determination of resistance to liquids -- Part 1: Immersion in liquids other than water ISO 2812-2:2007 Paints and varnishes -- Determination of resistance to liquids -- Part 2: Water immersion method ISO 2813: 1994 Paints and varnishes -- Determination of specular gloss of non-metallic paint films at 20 degrees, 60 degrees and 85 degrees ISO 2814: 1973 Paints and varnishes -- Comparison of contrast ratio (hiding power) of paints of the same type and colour ISO 2815:2003 Paints and varnishes -- Buchholz indentation test ISO 2884-1: 1999 Paints and varnishes -- Determination of viscosity using rotary viscometers -- Part 1: Cone-and-plate viscometer operated at a high rate of shear ISO 3231: 1993 Paints and varnishes -- Determination of resistance to humid atmospheres containing sulfur dioxide ISO 3233-1:2013 Paints and varnishes -- Determination of the percentage volume of non-volatile matter -- Part 1: Method using a coated test panel to determine non-volatile matter and to determine dry film density by the Archimedes principle ISO 3248: 1998 Paints and varnishes -- Determination of the effect of heat ISO 3251: 1993 Paints and varnishes -- Determination of non-volatile matter of paints, varnishes and binders for paints and varnishes ISO 4618:2014 Paints and varnishes -- Terms and definitions ISO 4618-2: 1999 Paints and varnishes -- Terms and definitions for coating materials -- Part 2: Special terms relating to paint characteristics and properties ISO 4618-3: 1999 Paints and varnishes -- Terms and definitions for coating materials -- Part 3: Surface preparation and methods of application ISO 4624:2016 Paints and varnishes -- Pull-off test for adhesion ISO 4628-1: 1982 Paints and varnishes -- Evaluation of degradation of paint coatings -- Designation of intensity, quantity and size of common types of defect -- Part 1: General principles and rating schemes ISO 4628-2: 1982 Paints and varnishes -- Evaluation of degradation of paint coatings -- Designation of intensity, quantity and size of common types of defect -- Part 2: Designation of degree of blistering ISO 4628-3: 1982 Paints and varnishes -- Evaluation of degradation of paint coatings -- Designation of intensity, quantity and size of common types of defect -- Part 3: Designation of degree of rusting ISO 4628-4: 1982 Paints and varnishes -- Evaluation of degradation of paint coatings -- Designation of intensity, quantity and size of common types of defect -- Part 4: Designation of degree of cracking ISO 4628-5:2016 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 5: Assessment of degree of flaking ISO 4628-6:2011 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 6: Assessment of degree of chalking by tape method ISO 6270-1: 1998 Paints and varnishes -- Determination of resistance to humidity -- Part 1: Continuous condensation ISO 6272-1:2011 Paints and varnishes -- Rapid-deformation (impact resistance) tests -- Part 1: Falling-weight test, large-area indenter/ ISO 6272-2:2011 Paints and varnishes -- Rapid-deformation (impact resistance) tests -- Part 2: Falling-weight test, small-area indenter ISO 6441-1: 1999 Paints and varnishes -- Determination of micro-indentation hardness -- Part 1: Knoop hardness by measurement of indentation length ISO 6441-2: 1999 Paints and varnishes -- Determination of micro-indentation hardness -- Part 2: Knoop hardness by measurement of indentation depth under load ISO 6503: 1984 Paints and varnishes -- Determination of total lead -- Flame atomic absorption spectrometric method ISO 6504-1: 1983 Paints and varnishes -- Determination of hiding power -- Part 1: Kubelka-Munk method for white and light-coloured paints ISO 6504-3: 1998 Paints and varnishes -- Determination of hiding power -- Part 3: Determination of contrast ratio (opacity) of light-coloured paints at a fixed spreading rate ISO 6713: 1984 Paints and varnishes -- Preparation of acid extracts from paints in liquid or powder form ISO 6744-1: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 1: General methods of test ISO 6744-2: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 2: Determination of phthalic anhydride content ISO 6744-3: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 3: Determination of unsaponifiable matter content ISO 6744-4: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 4: Determination of fatty acid content ISO 6860:2006 Paints and varnishes -- Bend test (conical mandrel) ISO 7142:2007 Binders for paints and varnishes -- Epoxy resins -- General methods of test ISO 7143:2007 Binders for paints and varnishes -- Methods of test for characterizing water-based binders ISO 7783-1: 1996 Paints and varnishes -- Determination of water-vapour transmission rate -- Part 1: Dish method for free films ISO 7783-2: 1999 Paints and varnishes -- Coating materials and coating systems for exterior masonry and concrete -- Part 2: Determination and classification of water-vapour transmission rate (permeability) ISO 7784-1: 1997 Paints and varnishes -- Determination of resistance to abrasion -- Part 1: Rotating abrasive-paper- covered wheel method ISO 7784-2: 1997 Paints and varnishes -- Determination of resistance to abrasion -- Part 2: Rotating abrasive rubber wheel method ISO 7784-3: 2000 Paints and varnishes -- Determination of resistance to abrasion -- Part 3: Reciprocating test panel method ISO 8501-1:2007 Preparation of steel substrates before application of paints and related products -- Visual assessment of surface cleanliness -- Part 1: Rust grades and preparation grades of uncoated steel substrates and of steel substrates after overall ISO 9514: 1992 Paints and varnishes -- Determination of the pot-life of liquid systems -- Preparation and conditioning of samples and guidelines for testing ISO 11503:1995 Paints and varnishes -- Determination of resistance to humidity (intermittent condensation) ISO 11507: 1997 Paints and varnishes -- Exposure of coatings to artificial weathering -- Exposure to fluorescent UV and water ISO 11668:1997 Binders for paints and varnishes -- Chlorinated polymerization resins -- General methods of test ISO 11890-1: 2000 Paints and varnishes -- Determination of volatile organic compound (VOC) content -- Part 1: Difference method ISO 11890-2: 2000 Paints and varnishes -- Determination of volatile organic compound (VOC) content -- Part 2: Gas- chromatographic method ISO 11908: 1996 Binders for paints and varnishes -- Amino resins -- General methods of test ISO 11909:2007 Binders for paints and varnishes -- Polyisocyanate resins -- General methods of test ISO 11997-1:2005 Paints and varnishes -- Determination of resistance to cyclic corrosion conditions -- Part 1: Wet (salt fog)/dry/humidity ISO 11997-2:2013 Paints and varnishes -- Determination of resistance to cyclic corrosion conditions -- Part 2: Wet (salt fog)/dry/humidity/UV light ISO 11998:2006 Paints and varnishes -- Determination of wet-scrub resistance and cleanability of coatings ISO 12137:2011 Paints and varnishes -- Determination of mar resistance ISO 1518-2:2011 Paints and varnishes -- Determination of scratch resistance -- Part 2: Variable-loading method ISO 14680-1:2000 Paints and varnishes -- Determination of pigment content -- Part 1: Centrifuge method ISO 14680-2: 2000 Paints and varnishes -- Determination of pigment content -- Part 2: Ashing method ISO 14680-3: 2000 Paints and varnishes -- Determination of pigment content -- Part 3: Filtration method ISO 15184:2012 Paints and varnishes -- Determination of film hardness by pencil test |

## Paint peeling

| BS | Concrete BS EN 197-1:2011 Cement. Composition, specifications and conformity criteria for common cements BS EN 1992-1-1:2004+A1:2014 Eurocode 2: Design of concrete structures. General rules and rules for buildings BS EN 13139:2002 Aggregates for mortar/ 15/30313572 DC. BS ISO 1920-2. Testing of concrete. Part 2. Properties of fresh concrete/ BS 1881-207:1992. Testing concrete. Recommendations for the assessment of concrete strength by near-to-surface tests/ BS 1881-124:2015. Testing concrete. Methods for analysis of hardened/ BS 1881-125:2013. Testing concrete. Methods for mixing and sampling fresh concrete in the laboratory/ BS 1881-130:2013. Testing concrete. Method for temperature-matched curing of concrete specimens/ BS 1881-113:2011. Testing concrete. Method for making and curing no-fines test cubes/ BS 1881-119:2011. Testing concrete. Method for determination of compressive strength using portions of beams broken in flexure (equivalent cube method)/ BS 1881-122:2011. Testing concrete. Method for determination of water absorption/ BS 1881-129:2011. Testing concrete. Method for determination of density of partially compacted semi-dry fresh concrete/ BS 1881-131:1998. Testing concrete. Methods for testing cement in a reference concrete/ BS 1881-208:1996. Testing concrete. Recommendations for the determination of the initial surface absorption of concrete/ BS 1881-209:1990. Testing concrete. Recommendations for the measurement of dynamic modulus of elasticity/ BS 1881-204:1988. Testing concrete. Recommendations on the use of electromagnetic covermeters/ BS 1881-206:1986. Testing concrete. Recommendations for determination of strain in concrete/ BS 1881-121:1983. Testing concrete. Method for determination of static modulus of elasticity in compression/ BS EN 12504-2:2012. Testing concrete in structures. Non-destructive testing. Determination of rebound number/ BS 1881-204:1988 Testing concrete. Recommendations on the use of electromagnetic covermeters/ BS 1881-206:1986 Testing concrete. Recommendations for determination of strain in concrete. BS 812-103.2:1989. Testing aggregates. Method for determination of particle size distribution. Sedimentation testBS 812-121:1989. Testing aggregates. Method for determination of soundness/ BS 812-119:1985. Testing aggregates. Method for determination of acid-soluble material in fine aggregate/ BS 812-112:1990. Testing aggregates. Method for determination of aggregate impact value (AIV)/ BS 812-114:1989. Testing aggregates. Method for determination of the polished-stone value/ BS 812-110:1990. Testing aggregates. Methods for determination of aggregate crushing value (ACV)/ BS 812-111:1990. Testing aggregates. Methods for determination of ten per cent fines value (TFV)/ BS 812-109:1990. Testing aggregates. Methods for determination of moisture content/ BS 812-104:1994. Testing aggregates. Method for qualitative and quantitative petrographic examination of aggregates/ BS 812-123:1999. Testing aggregates. Method for determination of alkali-silica reactivity. Concrete prism method/ BS 812-2:1995. Testing aggregates. Methods for determination of density/BS EN 932-5:2012 Tests for general properties of aggregates. Common equipment and calibration/ BS 812-124:2009. Testing aggregates. Method for determination of frost heave/ . BS EN 12620:2002+A1:2008 Aggregates for concrete BS 4550:(varies)-Methods of testing cement BS EN 1015-7:1999 Methods of test for mortar for masonry. Determination of air content of fresh mortar / BS EN 1015-4:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by plunger penetration) / BS EN 1015-19:1999 Methods of test for mortar for masonry. Determination of water vapour permeability of hardened rendering and plastering mortars / BS EN 1015-1:1999 Methods of test for mortar for masonry. Determination of particle size distribution (by sieve analysis) / BS EN 1015-2:1999 Methods of test for mortar for masonry. Bulk sampling of mortars and preparation of test mortars / BS EN 1015-3:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by flow table) / BS EN 1015-6:1999 Methods of test for mortar for masonry. Determination of bulk density of fresh mortar / BS EN 1015-9:1999 Methods of test for mortar for masonry. Determination of workable life and correction time of fresh mortar / BS EN 1015-10:1999 Methods of test for mortar for masonry. Determination of dry bulk density of hardened mortar / BS 4551:2005+A2:2013 Mortar. Methods of test for mortar and screed. Chemical analysis and physical testing BS 4551:2005+A2:2013 Mortar. Methods of test for mortar and screed. Chemical analysis and physical testing BS 4887:1986-Mortar admixtures BS EN 206:2013 Concrete. Specification, performance, production and conformity BS EN 13791:2007 Assessment of in-situ compressive strength in structures and pre-cast concrete components/ BS 6089:2010 Assessment of in-situ compressive strength in structures and precast concrete components. Complementary guidance to that given in BS EN 13791/ BS 6949:1991- Specification for bitumen-based coatings for cold application excluding use in contact with potable water BS 7543:2015 Guide to durability of buildings and building elements, products and components/BS ISO 15686-1:2011 Buildings and constructed assets. Service life planning. General principles and frameworkBS ISO 15686-3:2002 Buildings and constructed assets. Service life planning. Performance audits and reviewsBS ISO 15686-2:2012 Buildings and constructed assets. Service life planning. Service life prediction procedures BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles Waterproofing BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles Paints BS EN ISO 6270-1:2001, BS 3900-F9:2001 Paints and varnishes. Determination of resistance to humidity. Continuous condensation BS EN ISO 4618:2014 Paints and varnishes. Terms and definitions BS 6150:2006+A1:2014 Painting of buildings. Code of practice BS 2992:1970 Specification for painters’ and decorators’ brushes for local authorities and public institutions (excluding quality of fillings) BS 3416:1991 Specification for bitumen-based coatings for cold application, suitable for use in contact with potable water BS 3483-A1:1983, ISO 787/1-1982-Methods for testing pigments for paints. Comparison of colour BS 3483-C7:1980, ISO 787/22-1980-Methods for testing pigments for paints. Comparison of resistance to bleeding BS 3900-B4:1986, ISO 6503-1984-Methods of test for paints. Tests involving chemical examination of liquid paints and dried paint films. Determination of total lead in paints and similar materials BS 3900-F2:1973-Methods of test for paint. Durability tests on paint films. Determination of resistance to humidity (cyclic condensation) BS 3900-F6:1976-Methods of test for paint. Durability tests on paint films. Notes for guidance on the conduct of natural weathering test BS EN ISO 11998:2006 Paints and varnishes. Determination of wet-scrub resistance and cleanability of coatings BS EN ISO 4628-2:2016 Paints and varnishes. Evaluation of degradation of coatings. Designation of quantity and size of defects, and of intensity of uniform changes in appearance. Assessment of degree of blistering BS EN ISO 4628-5:2016 Paints and varnishes. Evaluation of degradation of coatings. Designation of quantity and size of defects, and of intensity of uniform changes in appearance. Assessment of degree of flaking BS 6949:1991-Specification for bitumen-based coatings for cold application excluding use in contact with potable water BS 7664:2000-Specification for undercoat and finishing paints BS EN ISO 6270-1:2001, BS 3900-F9:2001 Paints and varnishes. Determination of resistance to humidity. Continuous condensation BS EN ISO 4618:2014 Paints and varnishes. Terms and definitions BS 6150:2006+A1:2014 Painting of buildings. Code of practice BS 2992:1970 Specification for painters’ and decorators’ brushes for local authorities and public institutions (excluding quality of fillings) BS 3416:1991 Specification for bitumen-based coatings for cold application, suitable for use in contact with potable water BS 3483-A1:1983, ISO 787/1-1982-Methods for testing pigments for paints. Comparison of colour BS 3483-C7:1980, ISO 787/22-1980-Methods for testing pigments for paints. Comparison of resistance to bleeding BS 3900-B4:1986, ISO 6503-1984-Methods of test for paints. Tests involving chemical examination of liquid paints and dried paint films. Determination of total lead in paints and similar materials BS 3900-F2:1973-Methods of test for paint. Durability tests on paint films. Determination of resistance to humidity (cyclic condensation) BS 3900-F6:1976-Methods of test for paint. Durability tests on paint films. Notes for guidance on the conduct of natural weathering test BS EN ISO 11998:2006 Paints and varnishes. Determination of wet-scrub resistance and cleanability of coatings BS EN ISO 4628-2:2016 Paints and varnishes. Evaluation of degradation of coatings. Designation of quantity and size of defects, and of intensity of uniform changes in appearance. Assessment of degree of blistering BS EN ISO 4628-5:2016 Paints and varnishes. Evaluation of degradation of coatings. Designation of quantity and size of defects, and of intensity of uniform changes in appearance. Assessment of degree of flaking BS 6949:1991-Specification for bitumen-based coatings for cold application excluding use in contact with potable water BS 7664:2000-Specification for undercoat and finishing paints BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles |
| --- | --- |
| ASTM | Waterproofing ASTM D5957 - 98(2013) Standard Guide for Flood Testing Horizontal Waterproofing Installations ASTM D5295 / D5295M - 14 Standard Guide for Preparation of Concrete Surfaces for Adhered (Bonded) Membrane Waterproofing Systems ASTM D5683 / D5683M - 95(2011)e1 Standard Test Method for Flexibility of Roofing and Waterproofing Materials and Membranes ASTM D6135-05 Standard Practice for Application of Self-Adhering Modified Bituminous Waterproofing (Withdrawn 2014) Concrete C33-01- Standard Specification for Concrete Aggregates ASTM C94 / C94M - 15b Standard Specification for Ready-Mixed Concrete ASTM C150 / C150M - 15 Standard Specification for Portland Cement ASTM C597 - 09 Standard Test Method for Pulse Velocity Through Concrete ASTM C136 / C136M - 14 Standard Test Method for Sieve Analysis of Fine and Coarse Aggregates ASTM C642 - 13 Standard Test Method for Density, Absorption, and Voids in Hardened Concrete ASTM C805 / C805M - 13a Standard Test Method for Rebound Number of Hardened Concrete Paints ASTM D5098 - 16 Standard Specification for Artists’ Acrylic Dispersion Paints ASTM D4258 - 05(2012) Standard Practice for Surface Cleaning Concrete for Coating ASTM D1640 / D1640M - 14 Standard Test Methods for Drying, Curing, or Film Formation of Organic Coatings ASTM D279 - 02(2012) Standard Test Methods for Bleeding of Pigments ASTM D2574 - 06(2012) Standard Test Method for Resistance of Emulsion Paints in the Container to Attack by Microorganisms ASTM D5324 - 10 Standard Guide for Testing Water-Borne Architectural Coatings ASTM D5146 - 10 Standard Guide to Testing Solvent-Borne Architectural Coatings ASTM E1907-06a Standard Guide to Methods of Evaluating Moisture Conditions of Concrete Floors to Receive Resilient Floor Coverings (Withdrawn 2008) ASTM D6237 - 09(2015) Standard Guide for Painting Inspectors (Concrete and Masonry Substrates) Plaster ASTM C1063 - 16a Standard Specification for Installation of Lathing and Furring to Receive Interior and Exterior Portland Cement-Based Plaster |
| AS | Waterproofing AS 3740-2010/Amdt 1-2012 Waterproofing of domestic wet areas AS 3740-Amdt 1:1995- Waterproofing of wet areas within residential buildings Steel DR 01047 : Cathodic protection of metals - Part 5: Steel in concrete structures AS 1302-1991/ Amd 1:1992 : Steel reinforcing bars for concrete AS 1303-1991 : Steel reinforcing wire for concrete Concrete AS 1012.10-2000 : Methods of testing concrete - Determination of indirect tensile strength of concrete cylinders (Brasil or splitting test) AS 1478.2-2005 Chemical admixtures for concrete, mortar and grout - Methods of sampling and testing admixtures for concrete, mortar and grout AS 1012.1:2014 Methods of testing concrete - Sampling of concrete concreteAS 1379-2007/Amdt 1-2009 Specification and supply of concrete - AS 1379-2007/Amdt 2-2015 Specification and supply of concrete AS 1478.1-2000 Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 2550.15-1994 Cranes - Safe use - Concrete placing equipment AS 3600-2009 Concrete structures AS 3648-1993 : Specification and methods of test for packaged concrete mixes Paints AS/NZS 2310:2002 Glossary of paint and painting terms AS/NZS 2311:2009 Guide to the painting of buildings AS 3730.0-2006 Guide to the properties of paints for buildings - General information on the specification, purchasing and testing of paints AS 3730.100-2006 Guide to the properties of paints for buildings - Introduction and list of guides HB 73.1-2005 Handbook of Australian Paint Standards - General HB 73.2-2005 Handbook of Australian Paint Standards - Test methods AS/NZS 1580.101.1:1999 (R2013) Paints and related materials - Methods of test - - Conditions of test - Temperature, humidity and airflow control AS/NZS 1580.107.2:1995 Paints and related materials - Methods of test - - Determination of wet film thickness from wet film mass AS 1580.408.5-2006 Paints and related materials - Methods of test - Adhesion - Pull-off test AS/NZS 1580.481.1.10:1998 (R2013) Paints and related materials - Methods of test - Coatings - Exposed to weathering - Degree of flaking and peeling AS/NZS 1580.481.1.13:1998 (Reconfirmed 2013) Methods of test for paints and related materials - Exposed to weathering - Degree of fungal or algal growth AS/NZS 1580.481.1.9:1998 (R2013) Paints and related materials - Methods of test - Coatings - Exposed to weathering - Degree of blistering |
| SS | Waterproofing SS CP 82:1999- Code of practice- waterproofing of reinforced concrete buildings Steel SS 566 : 2011 Specification for steel for the reinforcement of concrete – Plain bars SS 18 - 1 : 1999 Cold-reduced steel wire for the reinforcement of concrete and the manufacture of welded fabric - Steel grade 500 SS 580 : 2012 Code of practice for formwork SS 32 Series - Welded steel fabric for the reinforcement of concrete Concrete SS EN 197 - 1 : 2014 Cement - Part 1 : Composition, specifications and conformity criteria for common cement/ SS EN 197 - 2 : 2014 Cement - Part 2 : Conformity evaluation SS EN 12620 : 2008 Specification for aggregates for concrete SS EN 206 : 2014 Concrete. Specification, performance, production and conformity/ SS 544 series - Concrete - Complementary Singapore Standard to SS EN 206-1 SS EN 934 - 1 : 2008 (2015) Admixtures for concrete, mortar and grout - Common requirements/ SS EN 934 - 2 : 2015 Admixtures for concrete, mortar and grout - Part 2 : Definitions, requirements – Concrete admixtures – Definitions, requirements, conformity, marking and labelling/ SS EN 934 - 6 : 2008 (2015) Admixtures for concrete, mortar and grout - Sampling, conformity control and evaluation of conformity Paints SS 542 : 2008 Code of practice for painting of buildings SS 5 Series - Methods of test for paints, varnishes and related materials SS 7 : 1998 Paint - Finishing, gloss enamel SS 34 : 1998 Undercoat paint for gloss enamel SS 150 : 1998 Emulsion paints for decorative purposes |
| ISO | Concrete ISO 1920-3:2004 Testing of concrete -- Part 3: Making and curing test specimens ISO 1920-1:2004 Testing of concrete -- Part 1: Sampling of fresh concrete ISO 1920-3:2004 Testing of concrete -- Part 3: Making and curing test specimens ISO 3766:2003 Construction drawings -- Simplified representation of concrete reinforcement ISO 3893:1977 Concrete -- Classification by compressive strength ISO 1920-4:2005 Testing of concrete -- Part 4: Strength of hardened concrete ISO 1920-4:2005 Testing of concrete -- Part 4: Strength of hardened concrete ISO 4103:1979 Concrete -- Classification of consistency ISO 1920-4:2005 Testing of concrete -- Part 4: Strength of hardened concrete ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 4635: 1982 Rubber, vulcanized -- Preformed compression seals for use between concrete motorway paving sections -- Specification for material ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 6274:1982 Concrete -- Sieve analysis of aggregates ISO 1920-5:2004 Testing of concrete -- Part 5: Properties of hardened concrete other than strength ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 6782:1982 Aggregates for concrete -- Determination of bulk density ISO 6783: 1982 Coarse aggregates for concrete -- Determination of particle density and water absorption -- Hydrostatic balance method ISO 1920-10:2010 Testing of concrete -- Part 10: Determination of static modulus of elasticity in compression Steel ISO 6934-1: 1991 Steel for the prestressing of concrete -- Part 1: General requirements ISO 6934-2: 1991 Steel for the prestressing of concrete -- Part 2: Cold-drawn wire ISO 6934-3: 1991 Steel for the prestressing of concrete -- Part 3: Quenched and tempered wire ISO 6934-4: 1991 Steel for the prestressing of concrete -- Part 4: Strand ISO 6934-5: 1991 Steel for the prestressing of concrete -- Part 5: Hot-rolled steel bars with or without subsequent processing ISO 6935-1: 1991 Steel for the reinforcement of concrete -- Part 1: Plain bars ISO 6935-2: 1991 Steel for the reinforcement of concrete -- Part 2: Ribbed bars ISO 6935-3:1992 Steel for the reinforcement of concrete -- Part 3: Welded fabric ISO 7033: 1987 Fine and coarse aggregates for concrete -- Determination of the particle mass-per-volume and water absorption -- Pycnometer method ISO 14654:1999 Epoxy-coated steel for the reinforcement of concrete ISO 14656:1999 Epoxy powder and sealing material for the coating of steel for the reinforcement of concrete Paints ISO 1513:2010 Paints and varnishes -- Examination and preparation of test samples ISO 1514:2004 Paints and varnishes -- Standard panels for testing ISO 1516: 1981 Paints, varnishes, petroleum and related products -- Flash/no flash test -- Closed cup equilibrium method ISO 9117-3:2010 Paints and varnishes -- Drying tests -- Part 3: Surface-drying test using ballotini ISO 1518-1:2011 Paints and varnishes -- Determination of scratch resistance -- Part 1: Constant-loading method ISO 1519:2011 Paints and varnishes -- Bend test (cylindrical mandrel) ISO 1520:2006 - Paints and varnishes -- Cupping test ISO 1522:2006 Paints and varnishes -- Pendulum damping test ISO 1523: 1983 Paints, varnishes, petroleum and related products -- Determination of flashpoint -- Closed cup equilibrium method ISO 1524:2013 Paints, varnishes and printing inks -- Determination of fineness of grind ISO 2409:2013 Paints and varnishes -- Cross-cut test ISO 2431:2011 Paints and varnishes -- Determination of flow time by use of flow cups ISO 2808:2007 Paints and varnishes -- Determination of film thickness ISO 2810:2004 Paints and varnishes -- Natural weathering of coatings -- Exposure and assessment ISO 2811-1:2016 Paints and varnishes -- Determination of density -- Part 1: Pycnometer method ISO 2811-2:2011 Paints and varnishes -- Determination of density -- Part 2: Immersed body (plummet) method ISO 2811-3:2011 Paints and varnishes -- Determination of density -- Part 3: Oscillation method ISO 2811-4:2011 Paints and varnishes -- Determination of density -- Part 4: Pressure cup method ISO 2812-1:2007 Paints and varnishes -- Determination of resistance to liquids -- Part 1: Immersion in liquids other than water ISO 2812-2:2007 Paints and varnishes -- Determination of resistance to liquids -- Part 2: Water immersion method ISO 2813: 1994 Paints and varnishes -- Determination of specular gloss of non-metallic paint films at 20 degrees, 60 degrees and 85 degrees ISO 2814: 1973 Paints and varnishes -- Comparison of contrast ratio (hiding power) of paints of the same type and colour ISO 2815:2003 Paints and varnishes -- Buchholz indentation test ISO 2884-1: 1999 Paints and varnishes -- Determination of viscosity using rotary viscometers -- Part 1: Cone-and-plate viscometer operated at a high rate of shear ISO 3231: 1993 Paints and varnishes -- Determination of resistance to humid atmospheres containing sulfur dioxide ISO 3233: 1998 Paints and varnishes -- Determination of percentage volume of non-volatile matter by measuring the density of a dried coating ISO 3248: 1998 Paints and varnishes -- Determination of the effect of heat ISO 3251:2008 Paints, varnishes and plastics -- Determination of non-volatile-matter content ISO 4618:2014 Paints and varnishes -- Terms and definitions ISO 4618:2014 Paints and varnishes -- Terms and definitions ISO 4624:2016 Paints and varnishes -- Pull-off test for adhesion ISO 4628-1:2016 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 1: General introduction and designation system ISO 4628-2:2003 Paints and varnishes - Evaluation of degradation of coatings - Designation of quantity and size of defects, and of intensity of uniform changes in appearance - Part 2: Assessment of degree of blistering ISO 4628-3:2016 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 3: Assessment of degree of rusting ISO 4628-4:2016 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 4: Assessment of degree of cracking ISO 4628-5:2016 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 5: Assessment of degree of flaking ISO 4628-6:2011 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 6: Assessment of degree of chalking by tape method ISO 6270-1: 1998 Paints and varnishes -- Determination of resistance to humidity -- Part 1: Continuous condensation ISO 6272-1:2011 Paints and varnishes -- Rapid-deformation (impact resistance) tests -- Part 1: Falling-weight test, large-area indenter/ ISO 6272-2:2011 Paints and varnishes -- Rapid-deformation (impact resistance) tests -- Part 2: Falling-weight test, small-area indenter ISO 6503: 1984 Paints and varnishes -- Determination of total lead -- Flame atomic absorption spectrometric method ISO 6504-1: 1983 Paints and varnishes -- Determination of hiding power -- Part 1: Kubelka-Munk method for white and light-coloured paints ISO 6504-3:2006 Paints and varnishes -- Determination of hiding power -- Part 3: Determination of contrast ratio of light-coloured paints at a fixed spreading rate ISO 6713: 1984 Paints and varnishes -- Preparation of acid extracts from paints in liquid or powder form ISO 6744-1: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 1: General methods of test ISO 6744-2: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 2: Determination of phthalic anhydride content ISO 6744-3: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 3: Determination of unsaponifiable matter content ISO 6744-4: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 4: Determination of fatty acid content ISO 6860:2006 Paints and varnishes -- Bend test (conical mandrel) ISO 7142:2007 Binders for paints and varnishes -- Epoxy resins -- General methods of test ISO 7143:2007 Binders for paints and varnishes -- Methods of test for characterizing water-based binders ISO 7783:2011 Paints and varnishes -- Determination of water-vapour transmission properties -- Cup method ISO 7784-1:2016 Paints and varnishes -- Determination of resistance to abrasion -- Part 1: Method with abrasive-paper covered wheels and rotating test specimen ISO 7784-2:2016 Paints and varnishes -- Determination of resistance to abrasion -- Part 2: Method with abrasive rubber wheels and rotating test specimen ISO 7784-3:2016 Paints and varnishes -- Determination of resistance to abrasion -- Part 3: Method with abrasive-paper covered wheel and linearly reciprocating test specimen ISO 8501-1:2007 Preparation of steel substrates before application of paints and related products -- Visual assessment of surface cleanliness -- Part 1: Rust grades and preparation grades of uncoated steel substrates and of steel substrates after overall ISO 9514:2005 Paints and varnishes -- Determination of the pot life of multicomponent coating systems -- Preparation and conditioning of samples and guidelines for testing ISO 11503:1995 Paints and varnishes -- Determination of resistance to humidity (intermittent condensation) ISO 11507: 1997 Paints and varnishes -- Exposure of coatings to artificial weathering -- Exposure to fluorescent UV and water ISO 11668:1997 Binders for paints and varnishes -- Chlorinated polymerization resins -- General methods of test ISO 11890-1:2007 Paints and varnishes -- Determination of volatile organic compound (VOC) content -- Part 1: Difference method ISO 11890-2:2013 Paints and varnishes -- Determination of volatile organic compound (VOC) content -- Part 2: Gas-chromatographic method ISO 11908: 1996 Binders for paints and varnishes -- Amino resins -- General methods of test ISO 11909:2007 Binders for paints and varnishes -- Polyisocyanate resins -- General methods of test ISO 11997-1:2005 Paints and varnishes -- Determination of resistance to cyclic corrosion conditions -- Part 1: Wet (salt fog)/dry/humidity ISO 11997-2:2013 Paints and varnishes -- Determination of resistance to cyclic corrosion conditions -- Part 2: Wet (salt fog)/dry/humidity/UV light ISO 11998:2006 Paints and varnishes -- Determination of wet-scrub resistance and cleanability of coatings ISO 12137:2011 Paints and varnishes -- Determination of mar resistance ISO 1518-2:2011 Paints and varnishes -- Determination of scratch resistance -- Part 2: Variable-loading method ISO 14680-1:2000 Paints and varnishes -- Determination of pigment content -- Part 1: Centrifuge method ISO 14680-2: 2000 Paints and varnishes -- Determination of pigment content -- Part 2: Ashing method ISO 14680-3: 2000 Paints and varnishes -- Determination of pigment content -- Part 3: Filtration method ISO 15184:2012 Paints and varnishes -- Determination of film hardness by pencil test |

## Paint Blistering – Blistering around the PVC floor trap

| BS | Waterproofing BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles Paints BS EN ISO 6270-1:2001, BS 3900-F9:2001 Paints and varnishes. Determination of resistance to humidity. Continuous condensation BS EN ISO 4618:2014 Paints and varnishes. Terms and definitions BS 6150:2006+A1:2014 Painting of buildings. Code of practice BS 2992:1970 Specification for painters’ and decorators’ brushes for local authorities and public institutions (excluding quality of fillings) BS 3416:1991 Specification for bitumen-based coatings for cold application, suitable for use in contact with potable water BS 3483-A1:1983, ISO 787/1-1982-Methods for testing pigments for paints. Comparison of colour BS 3483-C7:1980, ISO 787/22-1980-Methods for testing pigments for paints. Comparison of resistance to bleeding BS 3900-B4:1986, ISO 6503-1984-Methods of test for paints. Tests involving chemical examination of liquid paints and dried paint films. Determination of total lead in paints and similar materials BS 3900-F2:1973-Methods of test for paint. Durability tests on paint films. Determination of resistance to humidity (cyclic condensation) BS 3900-F6:1976-Methods of test for paint. Durability tests on paint films. Notes for guidance on the conduct of natural weathering test BS EN ISO 11998:2006 Paints and varnishes. Determination of wet-scrub resistance and cleanability of coatings BS EN ISO 4628-2:2016 Paints and varnishes. Evaluation of degradation of coatings. Designation of quantity and size of defects, and of intensity of uniform changes in appearance. Assessment of degree of blistering BS EN ISO 4628-5:2016 Paints and varnishes. Evaluation of degradation of coatings. Designation of quantity and size of defects, and of intensity of uniform changes in appearance. Assessment of degree of flaking BS 6949:1991-Specification for bitumen-based coatings for cold application excluding use in contact with potable water BS 7664:2000-Specification for undercoat and finishing paints BS EN ISO 6270-1:2001, BS 3900-F9:2001 Paints and varnishes. Determination of resistance to humidity. Continuous condensation BS EN ISO 4618:2014 Paints and varnishes. Terms and definitions BS 6150:2006+A1:2014 Painting of buildings. Code of practice BS 2992:1970 Specification for painters’ and decorators’ brushes for local authorities and public institutions (excluding quality of fillings) BS 3416:1991 Specification for bitumen-based coatings for cold application, suitable for use in contact with potable water BS 3483-A1:1983, ISO 787/1-1982-Methods for testing pigments for paints. Comparison of colour BS 3483-C7:1980, ISO 787/22-1980-Methods for testing pigments for paints. Comparison of resistance to bleeding BS 3900-B4:1986, ISO 6503-1984-Methods of test for paints. Tests involving chemical examination of liquid paints and dried paint films. Determination of total lead in paints and similar materials BS 3900-F2:1973-Methods of test for paint. Durability tests on paint films. Determination of resistance to humidity (cyclic condensation) BS 3900-F6:1976-Methods of test for paint. Durability tests on paint films. Notes for guidance on the conduct of natural weathering test BS EN ISO 11998:2006 Paints and varnishes. Determination of wet-scrub resistance and cleanability of coatings BS EN ISO 4628-2:2016 Paints and varnishes. Evaluation of degradation of coatings. Designation of quantity and size of defects, and of intensity of uniform changes in appearance. Assessment of degree of blistering BS EN ISO 4628-5:2016 Paints and varnishes. Evaluation of degradation of coatings. Designation of quantity and size of defects, and of intensity of uniform changes in appearance. Assessment of degree of flaking BS 6949:1991-Specification for bitumen-based coatings for cold application excluding use in contact with potable water BS 7664:2000-Specification for undercoat and finishing paints |
| --- | --- |
| ASTM | Waterproofing ASTM D5957 - 98(2013) Standard Guide for Flood Testing Horizontal Waterproofing Installations ASTM D5295 / D5295M - 14 Standard Guide for Preparation of Concrete Surfaces for Adhered (Bonded) Membrane Waterproofing Systems ASTM D5683 / D5683M - 95(2011)e1 Standard Test Method for Flexibility of Roofing and Waterproofing Materials and Membranes ASTM D6135-05 Standard Practice for Application of Self-Adhering Modified Bituminous Waterproofing (Withdrawn 2014) Paints ASTM D5098 - 16 Standard Specification for Artists’ Acrylic Dispersion Paints ASTM D4258 - 05(2012) Standard Practice for Surface Cleaning Concrete for Coating ASTM D1640 / D1640M - 14 Standard Test Methods for Drying, Curing, or Film Formation of Organic Coatings ASTM D279 - 02(2012) Standard Test Methods for Bleeding of Pigments ASTM D2574 - 06(2012) Standard Test Method for Resistance of Emulsion Paints in the Container to Attack by Microorganisms ASTM D5324 - 10 Standard Guide for Testing Water-Borne Architectural Coatings ASTM D5146 - 10 Standard Guide to Testing Solvent-Borne Architectural Coatings ASTM E1907-06a Standard Guide to Methods of Evaluating Moisture Conditions of Concrete Floors to Receive Resilient Floor Coverings (Withdrawn 2008) ASTM D6237 - 09(2015) Standard Guide for Painting Inspectors (Concrete and Masonry Substrates) Plaster ASTM C1063 - 16a Standard Specification for Installation of Lathing and Furring to Receive Interior and Exterior Portland Cement-Based Plaster |
| AS | Waterproofing AS 3740-2010/Amdt 1-2012 Waterproofing of domestic wet areas AS 3740-Amdt 1:1995- Waterproofing of wet areas within residential buildings AS 3740-2010 Waterproofing of domestic wet areas / AS 3740-2010/Amdt 1-2012 Waterproofing of domestic wet areas AS 3740-Amdt 1:1995- Waterproofing of wet areas within residential buildings Paints AS/NZS 2310:2002 Glossary of paint and painting terms AS/NZS 2311:2009 Guide to the painting of buildings AS 3730.0-2006 Guide to the properties of paints for buildings - General information on the specification, purchasing and testing of paints AS 3730.100-2006 Guide to the properties of paints for buildings - Introduction and list of guides HB 73.1-2005 Handbook of Australian Paint Standards - General HB 73.2-2005 Handbook of Australian Paint Standards - Test methods AS/NZS 1580.101.1:1999 (R2013) Paints and related materials - Methods of test - - Conditions of test - Temperature, humidity and airflow control AS/NZS 1580.107.2:1995 Paints and related materials - Methods of test - - Determination of wet film thickness from wet film mass AS 1580.408.5-2006 Paints and related materials - Methods of test - Adhesion - Pull-off test AS/NZS 1580.481.1.10:1998 (R2013) Paints and related materials - Methods of test - Coatings - Exposed to weathering - Degree of flaking and peeling AS/NZS 1580.481.1.13:1998 (Reconfirmed 2013) Methods of test for paints and related materials - Exposed to weathering - Degree of fungal or algal growth AS/NZS 1580.481.1.9:1998 (R2013) Paints and related materials - Methods of test - Coatings - Exposed to weathering - Degree of blistering |
| SS | Paints SS 542 : 2008 Code of practice for painting of buildings SS 5 Series - Methods of test for paints, varnishes and related materials SS 7 : 1998 Paint - Finishing, gloss enamel SS 34 : 1998 Undercoat paint for gloss enamel SS 150 : 1998 Emulsion paints for decorative purposes CP 82 : 1999 Code of practice for waterproofing of reinforced concrete buildings Waterproofing SS CP 82:1999- Code of practice- waterproofing of reinforced concrete buildings |
| ISO | Paints ISO 1513:2010 Paints and varnishes -- Examination and preparation of test samples ISO 1514:2004 Paints and varnishes -- Standard panels for testing ISO 1516:2002 Determination of flash/no flash -- Closed cup equilibrium method ISO 9117-3:2010 Paints and varnishes -- Drying tests -- Part 3: Surface-drying test using ballotini ISO 1518-1:2011 Paints and varnishes -- Determination of scratch resistance -- Part 1: Constant-loading method ISO 1519:2011 Paints and varnishes -- Bend test (cylindrical mandrel) ISO 1520:2006 - Paints and varnishes -- Cupping test ISO 1522:2006 Paints and varnishes -- Pendulum damping test ISO 1523:2002 Determination of flash point -- Closed cup equilibrium method ISO 1524:2013 Paints, varnishes and printing inks -- Determination of fineness of grind ISO 2409:2013 Paints and varnishes -- Cross-cut test ISO 2431:2011 Paints and varnishes -- Determination of flow time by use of flow cups ISO 2808:2007 Paints and varnishes -- Determination of film thickness ISO 2810:2004 Paints and varnishes -- Natural weathering of coatings -- Exposure and assessment ISO 2811-1:2016 Paints and varnishes -- Determination of density -- Part 1: Pycnometer method ISO 2811-2:2011 Paints and varnishes -- Determination of density -- Part 2: Immersed body (plummet) method ISO 2811-3:2011 Paints and varnishes -- Determination of density -- Part 3: Oscillation method ISO 2811-4:2011 Paints and varnishes -- Determination of density -- Part 4: Pressure cup method ISO 2812-1:2007 Paints and varnishes -- Determination of resistance to liquids -- Part 1: Immersion in liquids other than water ISO 2812-2:2007 Paints and varnishes -- Determination of resistance to liquids -- Part 2: Water immersion method ISO 2813:2014 Paints and varnishes -- Determination of gloss value at 20 degrees, 60 degrees and 85 degrees BS EN ISO 2814:2006, BS 3900-D4:2006 Paints and varnishes. Comparison of contrast ratio (hiding power) of paints of the same type and colour ISO 2815:2003 Paints and varnishes -- Buchholz indentation test ISO 2884-1:1999 Paints and varnishes -- Determination of viscosity using rotary viscometers -- Part 1: Cone-and-plate viscometer operated at a high rate of shear ISO 3231: 1993 Paints and varnishes -- Determination of resistance to humid atmospheres containing sulfur dioxide ISO 3233-1:2013 Paints and varnishes -- Determination of the percentage volume of non-volatile matter -- Part 1: Method using a coated test panel to determine non-volatile matter and to determine dry film density by the Archimedes principle ISO 3248: 1998 Paints and varnishes -- Determination of the effect of heat ISO 3251:2008 Paints, varnishes and plastics -- Determination of non-volatile-matter content ISO 4618:2014 Paints and varnishes -- Terms and definitions ISO 4618:2014 Paints and varnishes -- Terms and definitions ISO 4624:2016 Paints and varnishes -- Pull-off test for adhesion ISO 4628-1:2016 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 1: General introduction and designation system ISO 4628-2:2003 Paints and varnishes - Evaluation of degradation of coatings - Designation of quantity and size of defects, and of intensity of uniform changes in appearance - Part 2: Assessment of degree of blistering ISO 4628-3:2016 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 3: Assessment of degree of rusting ISO 4628-4:2016 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 4: Assessment of degree of cracking ISO 4628-5:2016 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 5: Assessment of degree of flaking ISO 4628-6:2011 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 6: Assessment of degree of chalking by tape method ISO 6270-1: 1998 Paints and varnishes -- Determination of resistance to humidity -- Part 1: Continuous condensation ISO 6272-1:2011 Paints and varnishes -- Rapid-deformation (impact resistance) tests -- Part 1: Falling-weight test, large-area indenter/ ISO 6272-2:2011 Paints and varnishes -- Rapid-deformation (impact resistance) tests -- Part 2: Falling-weight test, small-area indenter ISO 6503: 1984 Paints and varnishes -- Determination of total lead -- Flame atomic absorption spectrometric method ISO 6504-1: 1983 Paints and varnishes -- Determination of hiding power -- Part 1: Kubelka-Munk method for white and light-coloured paints ISO 6504-3:2006 Paints and varnishes -- Determination of hiding power -- Part 3: Determination of contrast ratio of light-coloured paints at a fixed spreading rate ISO 6713: 1984 Paints and varnishes -- Preparation of acid extracts from paints in liquid or powder form ISO 6744-1: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 1: General methods of test ISO 6744-2: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 2: Determination of phthalic anhydride content ISO 6744-3: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 3: Determination of unsaponifiable matter content ISO 6744-4: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 4: Determination of fatty acid content ISO 6860:2006 Paints and varnishes -- Bend test (conical mandrel) ISO 7142:2007 Binders for paints and varnishes -- Epoxy resins -- General methods of test ISO 7143:2007 Binders for paints and varnishes -- Methods of test for characterizing water-based binders ISO 7783:2011 Paints and varnishes -- Determination of water-vapour transmission properties -- Cup method ISO 7784-1:2016 Paints and varnishes -- Determination of resistance to abrasion -- Part 1: Method with abrasive-paper covered wheels and rotating test specimen ISO 7784-2:2016 Paints and varnishes -- Determination of resistance to abrasion -- Part 2: Method with abrasive rubber wheels and rotating test specimen ISO 7784-3:2016 Paints and varnishes -- Determination of resistance to abrasion -- Part 3: Method with abrasive-paper covered wheel and linearly reciprocating test specimen ISO 8501-1:2007 Preparation of steel substrates before application of paints and related products -- Visual assessment of surface cleanliness -- Part 1: Rust grades and preparation grades of uncoated steel substrates and of steel substrates after overall ISO 9514:2005 Paints and varnishes -- Determination of the pot life of multicomponent coating systems -- Preparation and conditioning of samples and guidelines for testing ISO 11503:1995 Paints and varnishes -- Determination of resistance to humidity (intermittent condensation) ISO 16474-1:2013 Paints and varnishes -- Methods of exposure to laboratory light sources -- Part 1: General guidance ISO 11668:1997 Binders for paints and varnishes -- Chlorinated polymerization resins -- General methods of test ISO 11890-1:2007 Paints and varnishes -- Determination of volatile organic compound (VOC) content -- Part 1: Difference method ISO 11890-2:2013 Paints and varnishes -- Determination of volatile organic compound (VOC) content -- Part 2: Gas-chromatographic method ISO 11908: 1996 Binders for paints and varnishes -- Amino resins -- General methods of test ISO 11909:2007 Binders for paints and varnishes -- Polyisocyanate resins -- General methods of test ISO 11997-1:2005 Paints and varnishes -- Determination of resistance to cyclic corrosion conditions -- Part 1: Wet (salt fog)/dry/humidity ISO 11997-2:2013 Paints and varnishes -- Determination of resistance to cyclic corrosion conditions -- Part 2: Wet (salt fog)/dry/humidity/UV light ISO 11998:2006 Paints and varnishes -- Determination of wet-scrub resistance and cleanability of coatings ISO 12137:2011 Paints and varnishes -- Determination of mar resistance ISO 1518-2:2011 Paints and varnishes -- Determination of scratch resistance -- Part 2: Variable-loading method ISO 14680-1:2000 Paints and varnishes -- Determination of pigment content -- Part 1: Centrifuge method ISO 14680-2: 2000 Paints and varnishes -- Determination of pigment content -- Part 2: Ashing method ISO 14680-3: 2000 Paints and varnishes -- Determination of pigment content -- Part 3: Filtration method ISO 15184:2012 Paints and varnishes -- Determination of film hardness by pencil test |

## Blistering - wet area slab soffit

| BS | Waterproofing BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles Concrete BS EN 197-1:2011 Cement. Composition, specifications and conformity criteria for common cements BS EN 1992-1-1:2004+A1:2014 Eurocode 2: Design of concrete structures. General rules and rules for buildings BS EN 13139:2002 Aggregates for mortar/ 15/30313572 DC. BS ISO 1920-2. Testing of concrete. Part 2. Properties of fresh concrete/ BS 1881-207:1992. Testing concrete. Recommendations for the assessment of concrete strength by near-to-surface tests/ BS 1881-124:2015. Testing concrete. Methods for analysis of hardened/ BS 1881-125:2013. Testing concrete. Methods for mixing and sampling fresh concrete in the laboratory/ BS 1881-130:2013. Testing concrete. Method for temperature-matched curing of concrete specimens/ BS 1881-113:2011. Testing concrete. Method for making and curing no-fines test cubes/ BS 1881-119:2011. Testing concrete. Method for determination of compressive strength using portions of beams broken in flexure (equivalent cube method)/ BS 1881-122:2011. Testing concrete. Method for determination of water absorption/ BS 1881-129:2011. Testing concrete. Method for determination of density of partially compacted semi-dry fresh concrete/ BS 1881-131:1998. Testing concrete. Methods for testing cement in a reference concrete/ BS 1881-208:1996. Testing concrete. Recommendations for the determination of the initial surface absorption of concrete/ BS 1881-209:1990. Testing concrete. Recommendations for the measurement of dynamic modulus of elasticity/ BS 1881-204:1988. Testing concrete. Recommendations on the use of electromagnetic covermeters/ BS 1881-206:1986. Testing concrete. Recommendations for determination of strain in concrete/ BS 1881-121:1983. Testing concrete. Method for determination of static modulus of elasticity in compression/ BS EN 12504-2:2012. Testing concrete in structures. Non-destructive testing. Determination of rebound number/ BS 1881-204:1988 Testing concrete. Recommendations on the use of electromagnetic covermeters/ BS 1881-206:1986 Testing concrete. Recommendations for determination of strain in concrete. BS 812-103.2:1989. Testing aggregates. Method for determination of particle size distribution. Sedimentation testBS 812-121:1989. Testing aggregates. Method for determination of soundness/ BS 812-119:1985. Testing aggregates. Method for determination of acid-soluble material in fine aggregate/ BS 812-112:1990. Testing aggregates. Method for determination of aggregate impact value (AIV)/ BS 812-114:1989. Testing aggregates. Method for determination of the polished-stone value/ BS 812-110:1990. Testing aggregates. Methods for determination of aggregate crushing value (ACV)/ BS 812-111:1990. Testing aggregates. Methods for determination of ten per cent fines value (TFV)/ BS 812-109:1990. Testing aggregates. Methods for determination of moisture content/ BS 812-104:1994. Testing aggregates. Method for qualitative and quantitative petrographic examination of aggregates/ BS 812-123:1999. Testing aggregates. Method for determination of alkali-silica reactivity. Concrete prism method/ BS 812-2:1995. Testing aggregates. Methods for determination of density/BS EN 932-5:2012 Tests for general properties of aggregates. Common equipment and calibration/ BS 812-124:2009. Testing aggregates. Method for determination of frost heave/ . BS EN 12620:2002+A1:2008 Aggregates for concrete BS 4550:(varies)-Methods of testing cement BS EN 1015-7:1999 Methods of test for mortar for masonry. Determination of air content of fresh mortar / BS EN 1015-4:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by plunger penetration) / BS EN 1015-19:1999 Methods of test for mortar for masonry. Determination of water vapour permeability of hardened rendering and plastering mortars / BS EN 1015-1:1999 Methods of test for mortar for masonry. Determination of particle size distribution (by sieve analysis) / BS EN 1015-2:1999 Methods of test for mortar for masonry. Bulk sampling of mortars and preparation of test mortars / BS EN 1015-3:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by flow table) / BS EN 1015-6:1999 Methods of test for mortar for masonry. Determination of bulk density of fresh mortar / BS EN 1015-9:1999 Methods of test for mortar for masonry. Determination of workable life and correction time of fresh mortar / BS EN 1015-10:1999 Methods of test for mortar for masonry. Determination of dry bulk density of hardened mortar / BS 4551:2005+A2:2013 Mortar. Methods of test for mortar and screed. Chemical analysis and physical testing BS 4551:2005+A2:2013 Mortar. Methods of test for mortar and screed. Chemical analysis and physical testing BS 4887:1986-Mortar admixtures BS EN 206:2013 Concrete. Specification, performance, production and conformity BS EN 13791:2007 Assessment of in-situ compressive strength in structures and pre-cast concrete components/ BS 6089:2010 Assessment of in-situ compressive strength in structures and precast concrete components. Complementary guidance to that given in BS EN 13791/ BS 6949:1991- Specification for bitumen-based coatings for cold application excluding use in contact with potable water BS 7543:2015 Guide to durability of buildings and building elements, products and components/BS ISO 15686-1:2011 Buildings and constructed assets. Service life planning. General principles and frameworkBS ISO 15686-3:2002 Buildings and constructed assets. Service life planning. Performance audits and reviewsBS ISO 15686-2:2012 Buildings and constructed assets. Service life planning. Service life prediction procedures BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles Paints BS EN ISO 6270-1:2001, BS 3900-F9:2001 Paints and varnishes. Determination of resistance to humidity. Continuous condensation BS EN ISO 4618:2014 Paints and varnishes. Terms and definitions BS 6150:2006+A1:2014 Painting of buildings. Code of practice BS 2992:1970 Specification for painters’ and decorators’ brushes for local authorities and public institutions (excluding quality of fillings) BS 3416:1991 Specification for bitumen-based coatings for cold application, suitable for use in contact with potable water BS 3483-A1:1983, ISO 787/1-1982-Methods for testing pigments for paints. Comparison of colour BS 3483-C7:1980, ISO 787/22-1980-Methods for testing pigments for paints. Comparison of resistance to bleeding BS 3900-B4:1986, ISO 6503-1984-Methods of test for paints. Tests involving chemical examination of liquid paints and dried paint films. Determination of total lead in paints and similar materials BS 3900-F2:1973-Methods of test for paint. Durability tests on paint films. Determination of resistance to humidity (cyclic condensation) BS 3900-F6:1976-Methods of test for paint. Durability tests on paint films. Notes for guidance on the conduct of natural weathering test BS EN ISO 11998:2006 Paints and varnishes. Determination of wet-scrub resistance and cleanability of coatings BS EN ISO 4628-2:2016 Paints and varnishes. Evaluation of degradation of coatings. Designation of quantity and size of defects, and of intensity of uniform changes in appearance. Assessment of degree of blistering BS EN ISO 4628-5:2016 Paints and varnishes. Evaluation of degradation of coatings. Designation of quantity and size of defects, and of intensity of uniform changes in appearance. Assessment of degree of flaking BS 6949:1991-Specification for bitumen-based coatings for cold application excluding use in contact with potable water BS 7664:2000-Specification for undercoat and finishing paints BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS EN ISO 6270-1:2001, BS 3900-F9:2001 Paints and varnishes. Determination of resistance to humidity. Continuous condensation BS EN ISO 4618:2014 Paints and varnishes. Terms and definitions BS 6150:2006+A1:2014 Painting of buildings. Code of practice BS 2992:1970 Specification for painters’ and decorators’ brushes for local authorities and public institutions (excluding quality of fillings) BS 3416:1991 Specification for bitumen-based coatings for cold application, suitable for use in contact with potable water BS 3483-A1:1983, ISO 787/1-1982-Methods for testing pigments for paints. Comparison of colour BS 3483-C7:1980, ISO 787/22-1980-Methods for testing pigments for paints. Comparison of resistance to bleeding BS 3900-B4:1986, ISO 6503-1984-Methods of test for paints. Tests involving chemical examination of liquid paints and dried paint films. Determination of total lead in paints and similar materials BS 3900-F2:1973-Methods of test for paint. Durability tests on paint films. Determination of resistance to humidity (cyclic condensation) BS 3900-F6:1976-Methods of test for paint. Durability tests on paint films. Notes for guidance on the conduct of natural weathering test BS EN ISO 11998:2006 Paints and varnishes. Determination of wet-scrub resistance and cleanability of coatings BS EN ISO 4628-2:2016 Paints and varnishes. Evaluation of degradation of coatings. Designation of quantity and size of defects, and of intensity of uniform changes in appearance. Assessment of degree of blistering BS EN ISO 4628-5:2016 Paints and varnishes. Evaluation of degradation of coatings. Designation of quantity and size of defects, and of intensity of uniform changes in appearance. Assessment of degree of flaking BS 6949:1991-Specification for bitumen-based coatings for cold application excluding use in contact with potable water BS 7664:2000-Specification for undercoat and finishing paints |
| --- | --- |
| ASTM | Waterproofing ASTM D5957 - 98(2013) Standard Guide for Flood Testing Horizontal Waterproofing Installations ASTM D5295 / D5295M - 14 Standard Guide for Preparation of Concrete Surfaces for Adhered (Bonded) Membrane Waterproofing Systems ASTM D5683 / D5683M - 95(2011)e1 Standard Test Method for Flexibility of Roofing and Waterproofing Materials and Membranes ASTM D6135-05 Standard Practice for Application of Self-Adhering Modified Bituminous Waterproofing (Withdrawn 2014) Concrete C33-01- Standard Specification for Concrete Aggregates ASTM C94 / C94M - 15b Standard Specification for Ready-Mixed Concrete ASTM C150 / C150M - 15 Standard Specification for Portland Cement ASTM C597 - 09 Standard Test Method for Pulse Velocity Through Concrete ASTM C136 / C136M - 14 Standard Test Method for Sieve Analysis of Fine and Coarse Aggregates ASTM C642 - 13 Standard Test Method for Density, Absorption, and Voids in Hardened Concrete ASTM C805 / C805M - 13a Standard Test Method for Rebound Number of Hardened Concrete ASTM D5098 - 16 Standard Specification for Artists’ Acrylic Dispersion Paints ASTM D4258 - 05(2012) Standard Practice for Surface Cleaning Concrete for Coating ASTM D1640 / D1640M - 14 Standard Test Methods for Drying, Curing, or Film Formation of Organic Coatings ASTM D279 - 02(2012) Standard Test Methods for Bleeding of Pigments ASTM D2574 - 06(2012) Standard Test Method for Resistance of Emulsion Paints in the Container to Attack by Microorganisms ASTM D5324 - 10 Standard Guide for Testing Water-Borne Architectural Coatings ASTM D5146 - 10 Standard Guide to Testing Solvent-Borne Architectural Coatings ASTM E1907-06a Standard Guide to Methods of Evaluating Moisture Conditions of Concrete Floors to Receive Resilient Floor Coverings (Withdrawn 2008) ASTM D6237 - 09(2015) Standard Guide for Painting Inspectors (Concrete and Masonry Substrates) insert paint |
| AS | Waterproofing AS 3740-2010/Amdt 1-2012 Waterproofing of domestic wet areas AS 3740-Amdt 1:1995- Waterproofing of wet areas within residential buildings Concrete AS 1012.10-2000 : Methods of testing concrete - Determination of indirect tensile strength of concrete cylinders (Brasil or splitting test) AS 1478.2-2005 Chemical admixtures for concrete, mortar and grout - Methods of sampling and testing admixtures for concrete, mortar and grout AS 1012.1:2014 Methods of testing concrete - Sampling of concrete Paints AS/NZS 2310:2002 Glossary of paint and painting terms AS/NZS 2311:2009 Guide to the painting of buildings AS 3730.0-2006 Guide to the properties of paints for buildings - General information on the specification, purchasing and testing of paints AS 3730.100-2006 Guide to the properties of paints for buildings - Introduction and list of guides HB 73.1-2005 Handbook of Australian Paint Standards - General HB 73.2-2005 Handbook of Australian Paint Standards - Test methods AS/NZS 1580.101.1:1999 (R2013) Paints and related materials - Methods of test - - Conditions of test - Temperature, humidity and airflow control AS/NZS 1580.107.2:1995 Paints and related materials - Methods of test - - Determination of wet film thickness from wet film mass AS 1580.408.5-2006 Paints and related materials - Methods of test - Adhesion - Pull-off test AS/NZS 1580.481.1.10:1998 (R2013) Paints and related materials - Methods of test - Coatings - Exposed to weathering - Degree of flaking and peeling AS/NZS 1580.481.1.13:1998 (Reconfirmed 2013) Methods of test for paints and related materials - Exposed to weathering - Degree of fungal or algal growth AS/NZS 1580.481.1.9:1998 (R2013) Paints and related materials - Methods of test - Coatings - Exposed to weathering - Degree of blistering |
| SS | Waterproofing SS CP 82:1999- Code of practice- waterproofing of reinforced concrete buildings Concrete SS EN 197 - 1 : 2014 Cement - Part 1 : Composition, specifications and conformity criteria for common cement/ SS EN 197 - 2 : 2014 Cement - Part 2 : Conformity evaluation SS EN 12620 : 2008 Specification for aggregates for concrete SS 32 Series - Welded steel fabric for the reinforcement of concrete SS 117 : 1975 HOT DIP GALVANIZED COATINGS ON IRON AND STEEL ARTICLES (REFER TO ISO 1460 AND ISO 1461) SS EN 206 : 2014 Concrete. Specification, performance, production and conformity/ SS 544 series - Concrete - Complementary Singapore Standard to SS EN 206-1 SS EN 934 - 1 : 2008 (2015) Admixtures for concrete, mortar and grout - Common requirements/ SS EN 934 - 2 : 2015 Admixtures for concrete, mortar and grout - Part 2 : Definitions, requirements – Concrete admixtures – Definitions, requirements, conformity, marking and labelling/ SS EN 934 - 6 : 2008 (2015) Admixtures for concrete, mortar and grout - Sampling, conformity control and evaluation of conformity Paints SS 542 : 2008 Code of practice for painting of buildings SS 5 Series - Methods of test for paints, varnishes and related materials SS 7 : 1998 Paint - Finishing, gloss enamel SS 34 : 1998 Undercoat paint for gloss enamel SS 150 : 1998 Emulsion paints for decorative purposes |
| ISO | Concrete ISO 1920-3:2004 Testing of concrete -- Part 3: Making and curing test specimens ISO 1920-1:2004 Testing of concrete -- Part 1: Sampling of fresh concrete ISO 1920-3:2004 Testing of concrete -- Part 3: Making and curing test specimens ISO 3766:2003 Construction drawings -- Simplified representation of concrete reinforcement ISO 3893:1977 Concrete -- Classification by compressive strength ISO 1920-4:2005 Testing of concrete -- Part 4: Strength of hardened concrete ISO 1920-4:2005 Testing of concrete -- Part 4: Strength of hardened concrete ISO 4103:1979 Concrete -- Classification of consistency ISO 1920-4:2005 Testing of concrete -- Part 4: Strength of hardened concrete ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 4635:2011 Rubber, vulcanized -- Preformed joint seals for use between concrete paving sections of highways -- Specification ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 6274:1982 Concrete -- Sieve analysis of aggregates ISO 1920-5:2004 Testing of concrete -- Part 5: Properties of hardened concrete other than strength ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 6782:1982 Aggregates for concrete -- Determination of bulk density ISO 6783:1982 Coarse aggregates for concrete -- Determination of particle density and water absorption -- Hydrostatic balance method ISO 1920-10:2010 Testing of concrete -- Part 10: Determination of static modulus of elasticity in compression Steel ISO 6934-1: 1991 Steel for the prestressing of concrete -- Part 1: General requirements ISO 6934-2: 1991 Steel for the prestressing of concrete -- Part 2: Cold-drawn wire ISO 6934-3: 1991 Steel for the prestressing of concrete -- Part 3: Quenched and tempered wire ISO 6934-4: 1991 Steel for the prestressing of concrete -- Part 4: Strand ISO 6934-5: 1991 Steel for the prestressing of concrete -- Part 5: Hot-rolled steel bars with or without subsequent processing ISO 6935-1: 1991 Steel for the reinforcement of concrete -- Part 1: Plain bars ISO 6935-2: 1991 Steel for the reinforcement of concrete -- Part 2: Ribbed bars ISO 6935-3:1992 Steel for the reinforcement of concrete -- Part 3: Welded fabric ISO 7033: 1987 Fine and coarse aggregates for concrete -- Determination of the particle mass-per-volume and water absorption -- Pycnometer method ISO 14654:1999 Epoxy-coated steel for the reinforcement of concrete ISO 14656:1999 Epoxy powder and sealing material for the coating of steel for the reinforcement of concrete Paints ISO 1513:2010 Paints and varnishes -- Examination and preparation of test samples ISO 1514:2004 Paints and varnishes -- Standard panels for testing ISO 1516: 1981 Paints, varnishes, petroleum and related products -- Flash/no flash test -- Closed cup equilibrium method ISO 9117-3:2010 Paints and varnishes -- Drying tests -- Part 3: Surface-drying test using ballotini ISO 1518-1:2011 Paints and varnishes -- Determination of scratch resistance -- Part 1: Constant-loading method ISO 1519:2011 Paints and varnishes -- Bend test (cylindrical mandrel) ISO 1520:2006 - Paints and varnishes -- Cupping test ISO 1522:2006 Paints and varnishes -- Pendulum damping test ISO 1523: 1983 Paints, varnishes, petroleum and related products -- Determination of flashpoint -- Closed cup equilibrium method ISO 1524:2013 Paints, varnishes and printing inks -- Determination of fineness of grind ISO 2409:2013 Paints and varnishes -- Cross-cut test ISO 2431:2011 Paints and varnishes -- Determination of flow time by use of flow cups ISO 2808:2007 Paints and varnishes -- Determination of film thickness ISO 2810:2004 Paints and varnishes -- Natural weathering of coatings -- Exposure and assessment ISO 2811-1:2016 Paints and varnishes -- Determination of density -- Part 1: Pycnometer method ISO 2811-2:2011 Paints and varnishes -- Determination of density -- Part 2: Immersed body (plummet) method ISO 2811-3:2011 Paints and varnishes -- Determination of density -- Part 3: Oscillation method ISO 2811-4:2011 Paints and varnishes -- Determination of density -- Part 4: Pressure cup method ISO 2812-1:2007 Paints and varnishes -- Determination of resistance to liquids -- Part 1: Immersion in liquids other than water ISO 2812-2:2007 Paints and varnishes -- Determination of resistance to liquids -- Part 2: Water immersion method ISO 2813: 1994 Paints and varnishes -- Determination of specular gloss of non-metallic paint films at 20 degrees, 60 degrees and 85 degrees ISO 2814: 1973 Paints and varnishes -- Comparison of contrast ratio (hiding power) of paints of the same type and colour ISO 2815:2003 Paints and varnishes -- Buchholz indentation test ISO 2884-1: 1999 Paints and varnishes -- Determination of viscosity using rotary viscometers -- Part 1: Cone-and-plate viscometer operated at a high rate of shear ISO 3231: 1993 Paints and varnishes -- Determination of resistance to humid atmospheres containing sulfur dioxide ISO 3233-1:2013 Paints and varnishes -- Determination of the percentage volume of non-volatile matter -- Part 1: Method using a coated test panel to determine non-volatile matter and to determine dry film density by the Archimedes principle ISO 3248: 1998 Paints and varnishes -- Determination of the effect of heat ISO 3251: 1993 Paints and varnishes -- Determination of non-volatile matter of paints, varnishes and binders for paints and varnishes ISO 4618:2014 Paints and varnishes -- Terms and definitions ISO 4618-2: 1999 Paints and varnishes -- Terms and definitions for coating materials -- Part 2: Special terms relating to paint characteristics and properties ISO 4618-3: 1999 Paints and varnishes -- Terms and definitions for coating materials -- Part 3: Surface preparation and methods of application ISO 4624:2016 Paints and varnishes -- Pull-off test for adhesion ISO 4628-1: 1982 Paints and varnishes -- Evaluation of degradation of paint coatings -- Designation of intensity, quantity and size of common types of defect -- Part 1: General principles and rating schemes ISO 4628-2: 1982 Paints and varnishes -- Evaluation of degradation of paint coatings -- Designation of intensity, quantity and size of common types of defect -- Part 2: Designation of degree of blistering ISO 4628-3: 1982 Paints and varnishes -- Evaluation of degradation of paint coatings -- Designation of intensity, quantity and size of common types of defect -- Part 3: Designation of degree of rusting ISO 4628-4: 1982 Paints and varnishes -- Evaluation of degradation of paint coatings -- Designation of intensity, quantity and size of common types of defect -- Part 4: Designation of degree of cracking ISO 4628-5:2016 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 5: Assessment of degree of flaking ISO 4628-6:2011 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 6: Assessment of degree of chalking by tape method ISO 6270-1: 1998 Paints and varnishes -- Determination of resistance to humidity -- Part 1: Continuous condensation ISO 6272-1:2011 Paints and varnishes -- Rapid-deformation (impact resistance) tests -- Part 1: Falling-weight test, large-area indenter/ ISO 6272-2:2011 Paints and varnishes -- Rapid-deformation (impact resistance) tests -- Part 2: Falling-weight test, small-area indenter ISO 6441-1: 1999 Paints and varnishes -- Determination of micro-indentation hardness -- Part 1: Knoop hardness by measurement of indentation length ISO 6441-2: 1999 Paints and varnishes -- Determination of micro-indentation hardness -- Part 2: Knoop hardness by measurement of indentation depth under load ISO 6503: 1984 Paints and varnishes -- Determination of total lead -- Flame atomic absorption spectrometric method ISO 6504-1: 1983 Paints and varnishes -- Determination of hiding power -- Part 1: Kubelka-Munk method for white and light-coloured paints ISO 6504-3: 1998 Paints and varnishes -- Determination of hiding power -- Part 3: Determination of contrast ratio (opacity) of light-coloured paints at a fixed spreading rate ISO 6713: 1984 Paints and varnishes -- Preparation of acid extracts from paints in liquid or powder form ISO 6744-1: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 1: General methods of test ISO 6744-2: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 2: Determination of phthalic anhydride content ISO 6744-3: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 3: Determination of unsaponifiable matter content ISO 6744-4: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 4: Determination of fatty acid content ISO 6860:2006 Paints and varnishes -- Bend test (conical mandrel) ISO 7142:2007 Binders for paints and varnishes -- Epoxy resins -- General methods of test ISO 7143:2007 Binders for paints and varnishes -- Methods of test for characterizing water-based binders ISO 7783-1: 1996 Paints and varnishes -- Determination of water-vapour transmission rate -- Part 1: Dish method for free films ISO 7783-2: 1999 Paints and varnishes -- Coating materials and coating systems for exterior masonry and concrete -- Part 2: Determination and classification of water-vapour transmission rate (permeability) ISO 7784-1: 1997 Paints and varnishes -- Determination of resistance to abrasion -- Part 1: Rotating abrasive-paper- covered wheel method ISO 7784-2: 1997 Paints and varnishes -- Determination of resistance to abrasion -- Part 2: Rotating abrasive rubber wheel method ISO 7784-3: 2000 Paints and varnishes -- Determination of resistance to abrasion -- Part 3: Reciprocating test panel method ISO 8501-1:2007 Preparation of steel substrates before application of paints and related products -- Visual assessment of surface cleanliness -- Part 1: Rust grades and preparation grades of uncoated steel substrates and of steel substrates after overall ISO 9514: 1992 Paints and varnishes -- Determination of the pot-life of liquid systems -- Preparation and conditioning of samples and guidelines for testing ISO 11503:1995 Paints and varnishes -- Determination of resistance to humidity (intermittent condensation) ISO 11507: 1997 Paints and varnishes -- Exposure of coatings to artificial weathering -- Exposure to fluorescent UV and water ISO 11668:1997 Binders for paints and varnishes -- Chlorinated polymerization resins -- General methods of test ISO 11890-1: 2000 Paints and varnishes -- Determination of volatile organic compound (VOC) content -- Part 1: Difference method ISO 11890-2: 2000 Paints and varnishes -- Determination of volatile organic compound (VOC) content -- Part 2: Gas- chromatographic method ISO 11908: 1996 Binders for paints and varnishes -- Amino resins -- General methods of test ISO 11909:2007 Binders for paints and varnishes -- Polyisocyanate resins -- General methods of test ISO 11997-1:2005 Paints and varnishes -- Determination of resistance to cyclic corrosion conditions -- Part 1: Wet (salt fog)/dry/humidity ISO 11997-2:2013 Paints and varnishes -- Determination of resistance to cyclic corrosion conditions -- Part 2: Wet (salt fog)/dry/humidity/UV light ISO 11998:2006 Paints and varnishes -- Determination of wet-scrub resistance and cleanability of coatings ISO 12137:2011 Paints and varnishes -- Determination of mar resistance ISO 1518-2:2011 Paints and varnishes -- Determination of scratch resistance -- Part 2: Variable-loading method ISO 14680-1:2000 Paints and varnishes -- Determination of pigment content -- Part 1: Centrifuge method ISO 14680-2: 2000 Paints and varnishes -- Determination of pigment content -- Part 2: Ashing method ISO 14680-3: 2000 Paints and varnishes -- Determination of pigment content -- Part 3: Filtration method ISO 15184:2012 Paints and varnishes -- Determination of film hardness by pencil test |

## Biological Attack - Algae Growth

| BS | Waterproofing BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles Paints BS EN ISO 4618:2014 Paints and varnishes. Terms and definitionsBS EN ISO 4618:2014 Paints and varnishes. Terms and definitions BS EN ISO 6270-1:2001, BS 3900-F9:2001 Paints and varnishes. Determination of resistance to humidity. Continuous condensation BS 3900 Part H2 1983 Methods of Test Paint Group H2 : Designation of Degree of Blistering Concrete BS EN 197-1:2011 Cement. Composition, specifications and conformity criteria for common cements BS ISO 3310-2:2013 Test sieves. Technical requirements and testing. Test sieves of perforated metal plate/ BS 410-1:2000, ISO 3310-1:2000 Test sieves. Technical requirements and testing. Test sieves of metal wire cloth BS 812-103.2:1989. Testing aggregates. Method for determination of particle size distribution. Sedimentation testBS 812-121:1989. Testing aggregates. Method for determination of soundness/ BS 812-119:1985. Testing aggregates. Method for determination of acid-soluble material in fine aggregate/ BS 812-112:1990. Testing aggregates. Method for determination of aggregate impact value (AIV)/ BS 812-114:1989. Testing aggregates. Method for determination of the polished-stone value/ BS 812-110:1990. Testing aggregates. Methods for determination of aggregate crushing value (ACV)/ BS 812-111:1990. Testing aggregates. Methods for determination of ten per cent fines value (TFV)/ BS 812-109:1990. Testing aggregates. Methods for determination of moisture content/ BS 812-104:1994. Testing aggregates. Method for qualitative and quantitative petrographic examination of aggregates/ BS 812-123:1999. Testing aggregates. Method for determination of alkali-silica reactivity. Concrete prism method/ BS 812-2:1995. Testing aggregates. Methods for determination of density/BS EN 932-5:2012 Tests for general properties of aggregates. Common equipment and calibration/ BS 812-124:2009. Testing aggregates. Method for determination of frost heave/ . BS EN 12620:2002+A1:2008 Aggregates for concrete BS EN 12878:2014 Pigments for the colouring of building materials based on cement and/or lime. Specifications and methods of test BS EN 13139:2002 Aggregates for mortar BS EN 13139:2002 Aggregates for mortar/ 15/30313572 DC. BS ISO 1920-2. Testing of concrete. Part 2. Properties of fresh concrete/ BS 1881-207:1992. Testing concrete. Recommendations for the assessment of concrete strength by near-to-surface tests/ BS 1881-124:2015. Testing concrete. Methods for analysis of hardened/ BS 1881-125:2013. Testing concrete. Methods for mixing and sampling fresh concrete in the laboratory/ BS 1881-130:2013. Testing concrete. Method for temperature-matched curing of concrete specimens/ BS 1881-113:2011. Testing concrete. Method for making and curing no-fines test cubes/ BS 1881-119:2011. Testing concrete. Method for determination of compressive strength using portions of beams broken in flexure (equivalent cube method)/ BS 1881-122:2011. Testing concrete. Method for determination of water absorption/ BS 1881-129:2011. Testing concrete. Method for determination of density of partially compacted semi-dry fresh concrete/ BS 1881-131:1998. Testing concrete. Methods for testing cement in a reference concrete/ BS 1881-208:1996. Testing concrete. Recommendations for the determination of the initial surface absorption of concrete/ BS 1881-209:1990. Testing concrete. Recommendations for the measurement of dynamic modulus of elasticity/ BS 1881-204:1988. Testing concrete. Recommendations on the use of electromagnetic covermeters/ BS 1881-206:1986. Testing concrete. Recommendations for determination of strain in concrete/ BS 1881-121:1983. Testing concrete. Method for determination of static modulus of elasticity in compression/ BS EN 12504-2:2012. Testing concrete in structures. Non-destructive testing. Determination of rebound number/ BS 1881-204:1988 Testing concrete. Recommendations on the use of electromagnetic covermeters/ BS 1881-206:1986 Testing concrete. Recommendations for determination of strain in concrete. BS 4550-6:1978 Methods of testing cement. Standard sand for mortar cubess BS 4551-Methods of testing mortars, screeds and plasters BS EN 998-1:2003-Specification for mortar for masonry. Rendering and plastering mortar/ BS EN 998-2:2003-Specification for mortar for masonry. Masonry mortar BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity/BS EN 480-11:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of air void characteristics in hardened concrete/BS EN 480-12:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of the alkali content of admixtures/BS EN 480-1:2006+A1:2011 Admixtures for concrete, mortar and grout. Test methods. Reference concrete and reference mortar for testing/BS EN 934-2:2009+A1:2012 Admixtures for concrete, mortar and grout . Concrete admixtures. Definitions, requirements, conformity, marking and labelling/BS EN 480-8:2012 Admixtures for concrete, mortar and grout. Test methods. Determination of the conventional dry material content/BS EN 480-10:2009 Admixtures for concrete, mortar and grout. Test methods. Determination of water soluble chloride content/BS EN 480-6:2005 Admixtures for concrete, mortar and grout. Test methods. Infrared analysis/BS EN 480-5:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of capillary absorption/BS EN 480-2:2006 Admixtures for concrete, mortar and grout. Test methods. Determination of setting time/ BS EN 934-3:2009+A1:2012 Admixtures for concrete, mortar and grout. Admixtures for masonry mortar. Definitions, requirements, conformity and marking and labelling/ BS EN 480-4:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of bleeding of concrete/ BS 5328Concrete. Guide to specifying concrete/Concrete. Methods for specifying concrete mixes BS EN 998-2:2010 Specification for mortar for masonry. Masonry mortar/ BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar BS EN 13791:2007 Assessment of in-situ compressive strength in structures and pre-cast concrete components/ BS 6089:2010 Assessment of in-situ compressive strength in structures and precast concrete components. Complementary guidance to that given in BS EN 13791/ BS 6319-3:1990 Testing of resin and polymer/cement compositions for use in construction. Methods for measurement of modulus of elasticity in flexure and flexural strength BS 6319-12:1992 Testing of resin and polymer/cement compositions for use in construction. Methods for measurement of unrestrained linear shrinkage and coefficient of thermal expansion PD 6678:2005 Guide to the specification of masonry mortar BS EN 480-1:2014 Admixtures for concrete, mortar and grout. Test methods. Reference concrete and reference mortar for testing BS EN 480-2:2006 Admixtures for concrete, mortar and grout. Test methods. Determination of setting time BS EN 480-4:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of bleeding of concrete BS EN 480-5:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of capillary absorption BS EN 480-6:2005 Admixtures for concrete, mortar and grout. Test methods. Infrared analysis BS EN 480-8:2012 Admixtures for concrete, mortar and grout. Test methods. Determination of the conventional dry material content BS EN 480-10:2009 Admixtures for concrete, mortar and grout. Test methods. Determination of water soluble chloride content BS EN 480-11:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of air void characteristics in hardened concrete BS EN 480-12:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of the alkali content of admixtures BS EN 934-2:2009+A1:2012 Admixtures for concrete, mortar and grout. Concrete admixtures. Definitions, requirements, conformity, marking and labelling BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity BS EN 934-3:2009+A1:2012 Admixtures for concrete, mortar and grout. Admixtures for masonry mortar. Definitions, requirements, conformity and marking and labelling BS EN 934-2:2009+A1:2012 Admixtures for concrete, mortar and grout. Concrete admixtures. Definitions, requirements, conformity, marking and labelling BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity BS 6949:1991- Specification for bitumen-based coatings for cold application excluding use in contact with potable water BS 7543:2015 Guide to durability of buildings and building elements, products and components/BS ISO 15686-1:2011 Buildings and constructed assets. Service life planning. General principles and frameworkBS ISO 15686-3:2002 Buildings and constructed assets. Service life planning. Performance audits and reviewsBS ISO 15686-2:2012 Buildings and constructed assets. Service life planning. Service life prediction procedures BS 8204:various dates- Screeds, bases and in-situ floorings BS 5492:1990- Code of practice for internal plastering BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS 8000:Part 9: 1989- Workmanship on building sites- Code of practice for cement/ sand floor screeds and concrete floor toppings BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS EN 1992-1-1:2004+A1:2014 Eurocode 2: Design of concrete structures. General rules and rules for buildings |
| --- | --- |
| ASTM | Waterproofing ASTM D5957 - 98(2013) Standard Guide for Flood Testing Horizontal Waterproofing Installations ASTM D5295 / D5295M - 14 Standard Guide for Preparation of Concrete Surfaces for Adhered (Bonded) Membrane Waterproofing Systems ASTM D5683 / D5683M - 95(2011)e1 Standard Test Method for Flexibility of Roofing and Waterproofing Materials and Membranes ASTM D6135-05 Standard Practice for Application of Self-Adhering Modified Bituminous Waterproofing (Withdrawn 2014) Paints ASTM D2832 - 92(2011) Nonvolatile Content of Paint and Related Coatings ASTM D3924 - 80(2011) Standard Specification for Standard Environment for Conditioning and Testing Paint, Varnish, Lacquer, and Related Materials ASTM D822 / D822M - 13 Standard Practice for Filtered Open-Flame Carbon-Arc Exposures of Paint and Related Coatings ASTM D3168 - 85(2011) Standard Practice for Qualitative Identification of Polymers in Emulsion Paints ASTM D3960 - 05(2013) Standard Practice for Determining Volatile Organic Compound (VOC)Content of Paints and Related Coatings ASTM D3258 - 04(2014) Standard Test Method for Porosity of White or Near White Paint Films by Staining ASTM D4451 - 02(2014) Standard Test Method for Pigment Content of Paints by Low-Temperature Ashing ASTM D3723 - 05(2011) Standard Test Method for Pigment Content of Water-Emulsion Paints by Low-Temperature Ashing ASTM D3723 - 05(2011) Standard Test Method for Pigment Content of Water-Emulsion Paints by Low-Temperature Ashing ASTM D5098 - 16 Standard Specification for Artists’ Acrylic Dispersion Paints ASTM D2574 - 06(2012) Standard Test Method for Resistance of Emulsion Paints in the Container to Attack by Microorganisms ASTM D5324 - 10 Standard Guide for Testing Water-Borne Architectural Coatings ASTM D5146 - 10 Standard Guide to Testing Solvent-Borne Architectural Coatings ASTM E1907-06a Standard Guide to Methods of Evaluating Moisture Conditions of Concrete Floors to Receive Resilient Floor Coverings (Withdrawn 2008) ASTM D6237 - 09(2015) Standard Guide for Painting Inspectors (Concrete and Masonry Substrates) Concrete C33-01- Standard Specification for Concrete Aggregates ASTM C94 / C94M - 15b Standard Specification for Ready-Mixed Concrete ASTM D5957 - 98(2013) Standard Guide for Flood Testing Horizontal Waterproofing Installations ASTM D5295 / D5295M - 14 Standard Guide for Preparation of Concrete Surfaces for Adhered (Bonded) Membrane Waterproofing Systems |
| AS | Waterpoofing AS 3740-2010/Amdt 1-2012 Waterproofing of domestic wet areas AS 3740-Amdt 1:1995- Waterproofing of wet areas within residential buildings Paint AS/NZS 2310:2002 Glossary of paint and painting terms AS/NZS 2311:2009 Guide to the painting of buildings AS 3730.0-2006 Guide to the properties of paints for buildings - General information on the specification, purchasing and testing of paints AS 3730.100-2006 Guide to the properties of paints for buildings - Introduction and list of guides HB 73.1-2005 Handbook of Australian Paint Standards - General HB 73.2-2005 Handbook of Australian Paint Standards - Test methods AS/NZS 1580.101.1:1999 (R2013) Paints and related materials - Methods of test - - Conditions of test - Temperature, humidity and airflow control AS/NZS 1580.107.2:1995 Paints and related materials - Methods of test - - Determination of wet film thickness from wet film mass AS 1580.408.5-2006 Paints and related materials - Methods of test - Adhesion - Pull-off test AS/NZS 1580.481.1.10:1998 (R2013) Paints and related materials - Methods of test - Coatings - Exposed to weathering - Degree of flaking and peeling AS/NZS 1580.481.1.13:1998 (Reconfirmed 2013) Methods of test for paints and related materials - Exposed to weathering - Degree of fungal or algal growth AS/NZS 1580.481.1.9:1998 (R2013) Paints and related materials - Methods of test - Coatings - Exposed to weathering - Degree of blistering Concrete AS 1012.10-2000 : Methods of testing concrete - Determination of indirect tensile strength of concrete cylinders (Brasil or splitting test) AS 1478.2-2005 Chemical admixtures for concrete, mortar and grout - Methods of sampling and testing admixtures for concrete, mortar and grout AS 1012.1:2014 Methods of testing concrete - Sampling of concrete AS 1303-1991 : Steel reinforcing wire for concrete concreteAS 1379-2007/Amdt 1-2009 Specification and supply of concrete - AS 1379-2007/Amdt 2-2015 Specification and supply of concrete AS 1478.1-2000 Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 2550.15-1994 Cranes - Safe use - Concrete placing equipment AS 3600-2009 Concrete structures AS 3648-1993 : Specification and methods of test for packaged concrete mixes |
| SS | Paints SS 5 - F5 : 2003 (2013) Methods of test for paints, varnishes and related materials - Washability (wet abrasion) of emulsion paint SS 542 : 2008 Code of practice for painting of buildings SS 150 : 1998 Emulsion paints for decorative purposes Concrete SS EN 12620 : 2008 Specification for aggregates for concrete Waterproofing CP 82:1999- Code of practice- waterproofing of reinforced concrete buildings |
| ISO | ISO ISO 7783:2011 Paints and varnishes -- Determination of water-vapour transmission properties -- Cup method Concrete ISO 1920-3:2004 Testing of concrete -- Part 3: Making and curing test specimens ISO 1920-1:2004 Testing of concrete -- Part 1: Sampling of fresh concrete ISO 1920-3:2004 Testing of concrete -- Part 3: Making and curing test specimens ISO 3766:2003 Construction drawings -- Simplified representation of concrete reinforcement ISO 3893:1977 Concrete -- Classification by compressive strength ISO 1920-4:2005 Testing of concrete -- Part 4: Strength of hardened concrete ISO 1920-4:2005 Testing of concrete -- Part 4: Strength of hardened concrete ISO 4103:1979 Concrete -- Classification of consistency ISO 1920-4:2005 Testing of concrete -- Part 4: Strength of hardened concrete ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 4635:2011 Rubber, vulcanized -- Preformed joint seals for use between concrete paving sections of highways -- Specification ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 6274:1982 Concrete -- Sieve analysis of aggregates ISO 1920-5:2004 Testing of concrete -- Part 5: Properties of hardened concrete other than strength ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 6782:1982 Aggregates for concrete -- Determination of bulk density ISO 6783:1982 Coarse aggregates for concrete -- Determination of particle density and water absorption -- Hydrostatic balance method ISO 1920-10:2010 Testing of concrete -- Part 10: Determination of static modulus of elasticity in compression ISO 6934-1: 1991 Steel for the prestressing of concrete -- Part 1: General requirements ISO 6934-2: 1991 Steel for the prestressing of concrete -- Part 2: Cold-drawn wire ISO 6934-3: 1991 Steel for the prestressing of concrete -- Part 3: Quenched and tempered wire ISO 6934-4: 1991 Steel for the prestressing of concrete -- Part 4: Strand ISO 6934-5: 1991 Steel for the prestressing of concrete -- Part 5: Hot-rolled steel bars with or without subsequent processing ISO 6935-1: 1991 Steel for the reinforcement of concrete -- Part 1: Plain bars ISO 6935-2: 1991 Steel for the reinforcement of concrete -- Part 2: Ribbed bars ISO 6935-3:1992 Steel for the reinforcement of concrete -- Part 3: Welded fabric ISO 7033:1987 Fine and coarse aggregates for concrete -- Determination of the particle mass-per-volume and water absorption -- Pycnometer method Paints ISO 1513:2010 Paints and varnishes -- Examination and preparation of test samples ISO 1514:2004 Paints and varnishes -- Standard panels for testing ISO 1516:2002 Determination of flash/no flash -- Closed cup equilibrium method ISO 9117-3:2010 Paints and varnishes -- Drying tests -- Part 3: Surface-drying test using ballotini ISO 1518-1:2011 Paints and varnishes -- Determination of scratch resistance -- Part 1: Constant-loading method ISO 1519:2011 Paints and varnishes -- Bend test (cylindrical mandrel) ISO 1520:2006 - Paints and varnishes -- Cupping test ISO 1522:2006 Paints and varnishes -- Pendulum damping test ISO 1523:2002 Determination of flash point -- Closed cup equilibrium method ISO 1524:2013 Paints, varnishes and printing inks -- Determination of fineness of grind ISO 2409:2013 Paints and varnishes -- Cross-cut test ISO 2431:2011 Paints and varnishes -- Determination of flow time by use of flow cups ISO 2808:2007 Paints and varnishes -- Determination of film thickness ISO 2810:2004 Paints and varnishes -- Natural weathering of coatings -- Exposure and assessment ISO 2811-1:2016 Paints and varnishes -- Determination of density -- Part 1: Pycnometer method ISO 2811-2:2011 Paints and varnishes -- Determination of density -- Part 2: Immersed body (plummet) method ISO 2811-3:2011 Paints and varnishes -- Determination of density -- Part 3: Oscillation method ISO 2811-4:2011 Paints and varnishes -- Determination of density -- Part 4: Pressure cup method ISO 2812-1:2007 Paints and varnishes -- Determination of resistance to liquids -- Part 1: Immersion in liquids other than water ISO 2812-2:2007 Paints and varnishes -- Determination of resistance to liquids -- Part 2: Water immersion method ISO 2813:2014 Paints and varnishes -- Determination of gloss value at 20 degrees, 60 degrees and 85 degrees BS EN ISO 2814:2006, BS 3900-D4:2006 Paints and varnishes. Comparison of contrast ratio (hiding power) of paints of the same type and colour ISO 2815:2003 Paints and varnishes -- Buchholz indentation test ISO 2884-1:1999 Paints and varnishes -- Determination of viscosity using rotary viscometers -- Part 1: Cone-and-plate viscometer operated at a high rate of shear ISO 3231: 1993 Paints and varnishes -- Determination of resistance to humid atmospheres containing sulfur dioxide ISO 3233-1:2013 Paints and varnishes -- Determination of the percentage volume of non-volatile matter -- Part 1: Method using a coated test panel to determine non-volatile matter and to determine dry film density by the Archimedes principle ISO 3248: 1998 Paints and varnishes -- Determination of the effect of heat ISO 3251:2008 Paints, varnishes and plastics -- Determination of non-volatile-matter content ISO 4618:2014 Paints and varnishes -- Terms and definitions ISO 4618:2014 Paints and varnishes -- Terms and definitions ISO 4624:2016 Paints and varnishes -- Pull-off test for adhesion ISO 4628-1:2016 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 1: General introduction and designation system ISO 4628-2:2003 Paints and varnishes - Evaluation of degradation of coatings - Designation of quantity and size of defects, and of intensity of uniform changes in appearance - Part 2: Assessment of degree of blistering ISO 4628-3:2016 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 3: Assessment of degree of rusting ISO 4628-4:2016 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 4: Assessment of degree of cracking ISO 4628-5:2016 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 5: Assessment of degree of flaking ISO 4628-6:2011 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 6: Assessment of degree of chalking by tape method ISO 6270-1: 1998 Paints and varnishes -- Determination of resistance to humidity -- Part 1: Continuous condensation ISO 6272-1:2011 Paints and varnishes -- Rapid-deformation (impact resistance) tests -- Part 1: Falling-weight test, large-area indenter/ ISO 6272-2:2011 Paints and varnishes -- Rapid-deformation (impact resistance) tests -- Part 2: Falling-weight test, small-area indenter ISO 6503: 1984 Paints and varnishes -- Determination of total lead -- Flame atomic absorption spectrometric method ISO 6504-1: 1983 Paints and varnishes -- Determination of hiding power -- Part 1: Kubelka-Munk method for white and light-coloured paints ISO 6504-3:2006 Paints and varnishes -- Determination of hiding power -- Part 3: Determination of contrast ratio of light-coloured paints at a fixed spreading rate ISO 6713: 1984 Paints and varnishes -- Preparation of acid extracts from paints in liquid or powder form ISO 6744-1: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 1: General methods of test ISO 6744-2: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 2: Determination of phthalic anhydride content ISO 6744-3: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 3: Determination of unsaponifiable matter content ISO 6744-4: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 4: Determination of fatty acid content ISO 6860:2006 Paints and varnishes -- Bend test (conical mandrel) ISO 7142:2007 Binders for paints and varnishes -- Epoxy resins -- General methods of test ISO 7143:2007 Binders for paints and varnishes -- Methods of test for characterizing water-based binders ISO 7783:2011 Paints and varnishes -- Determination of water-vapour transmission properties -- Cup method ISO 7784-1:2016 Paints and varnishes -- Determination of resistance to abrasion -- Part 1: Method with abrasive-paper covered wheels and rotating test specimen ISO 7784-2:2016 Paints and varnishes -- Determination of resistance to abrasion -- Part 2: Method with abrasive rubber wheels and rotating test specimen ISO 7784-3:2016 Paints and varnishes -- Determination of resistance to abrasion -- Part 3: Method with abrasive-paper covered wheel and linearly reciprocating test specimen ISO 8501-1:2007 Preparation of steel substrates before application of paints and related products -- Visual assessment of surface cleanliness -- Part 1: Rust grades and preparation grades of uncoated steel substrates and of steel substrates after overall ISO 9514:2005 Paints and varnishes -- Determination of the pot life of multicomponent coating systems -- Preparation and conditioning of samples and guidelines for testing ISO 11503:1995 Paints and varnishes -- Determination of resistance to humidity (intermittent condensation) ISO 16474-1:2013 Paints and varnishes -- Methods of exposure to laboratory light sources -- Part 1: General guidance ISO 11668:1997 Binders for paints and varnishes -- Chlorinated polymerization resins -- General methods of test ISO 11890-1:2007 Paints and varnishes -- Determination of volatile organic compound (VOC) content -- Part 1: Difference method ISO 11890-2:2013 Paints and varnishes -- Determination of volatile organic compound (VOC) content -- Part 2: Gas-chromatographic method ISO 11908: 1996 Binders for paints and varnishes -- Amino resins -- General methods of test ISO 11909:2007 Binders for paints and varnishes -- Polyisocyanate resins -- General methods of test ISO 11997-1:2005 Paints and varnishes -- Determination of resistance to cyclic corrosion conditions -- Part 1: Wet (salt fog)/dry/humidity ISO 11997-2:2013 Paints and varnishes -- Determination of resistance to cyclic corrosion conditions -- Part 2: Wet (salt fog)/dry/humidity/UV light ISO 11998:2006 Paints and varnishes -- Determination of wet-scrub resistance and cleanability of coatings ISO 12137:2011 Paints and varnishes -- Determination of mar resistance ISO 1518-2:2011 Paints and varnishes -- Determination of scratch resistance -- Part 2: Variable-loading method ISO 14680-1:2000 Paints and varnishes -- Determination of pigment content -- Part 1: Centrifuge method ISO 14680-2: 2000 Paints and varnishes -- Determination of pigment content -- Part 2: Ashing method ISO 14680-3: 2000 Paints and varnishes -- Determination of pigment content -- Part 3: Filtration method ISO 15184:2012 Paints and varnishes -- Determination of film hardness by pencil test ISO 14654:1999 Epoxy-coated steel for the reinforcement of concrete ISO 14656:1999 Epoxy powder and sealing material for the coating of steel for the reinforcement of concrete |

## Biological attack - Fungi Growth

| BS | Brick and Masonry PD 6697:2010 Recommendations for the design of masonry structures to BS EN 1996-1-1 and BS EN 1996-2/ BS EN 1996-3:2006 Eurocode 6. Design of masonry structures. Simplified calculation methods for unreinforced masonry structures/ BS EN 1996-2:2006 Eurocode 6. Design of masonry structures. Design considerations, selection of materials and execution of masonry/ BS EN 1996-1-2:2005 Eurocode 6. Design of masonry structures. General rules. Structural fire design BS 6270 Part 1: 1982. Code of Practice for Cleaning and Surface Repair of Buildings. Natural Stone and Clay and Calcium Silicate Brick Masonry BS EN 459-1:2015 Building lime. Definitions, specifications and conformity criteriaBS EN 459-1:2015 Building lime. Definitions, specifications and conformity criteria BS EN 772-3:1998 Methods of test for masonry units. Determination of net volume and percentage of voids of clay masonry units by hydrostatic weighing/ BS EN 772-7:1998 Methods of test for masonry units. Determination of water absorption of clay masonry damp proof course units by boiling in water/ BS EN 771-1:2011 Specification for masonry units. Clay masonry units BS 6100-6:2008 Building and civil engineering. Vocabulary. Construction parts BS EN 772-1:2011+A1:2015 Methods of test for masonry units. Determination of compressive strength BS EN 772-2:1998 Methods of test for masonry units. Determination of percentage area of voids in masonry units (by paper indentation) BS EN 772-5:2016 Methods of test for masonry units. Determination of the active soluble salts content of clay masonry units BS EN 772-7:1998 Methods of test for masonry units. Determination of water absorption of clay masonry damp proof course units by boiling in water BS EN 772-19:2000 Methods of test for masonry units. Determination of moisture expansion of large horizontally perforated clay masonry units PD 6697:2010 Recommendations for the design of masonry structures to BS EN 1996-1-1 and BS EN 1996-2/ BS EN 1996-3:2006 Eurocode 6. Design of masonry structures. Simplified calculation methods for unreinforced masonry structures/ BS EN 1996-2:2006 Eurocode 6. Design of masonry structures. Design considerations, selection of materials and execution of masonry/ BS EN 1996-1-1:2005+A1:2012 Eurocode 6. Design of masonry structures. General rules for reinforced and unreinforced masonry structures PD 6697:2010 Recommendations for the design of masonry structures to BS EN 1996-1-1 and BS EN 1996-2/ BS EN 1996-3:2006 Eurocode 6. Design of masonry structures. Simplified calculation methods for unreinforced masonry structures/ BS EN 1996-2:2006 Eurocode 6. Design of masonry structures. Design considerations, selection of materials and execution of masonry/ BS EN 1996-1-2:2005 Eurocode 6. Design of masonry structures. General rules. Structural fire design BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS 8215:1991 Code of practice for design and installation of damp-proof courses in masonry construction BS EN 413-2:2005 Masonry cement. Test methods BS EN 772-5:2016 Methods of test for masonry units. Determination of the active soluble salts content of clay masonry units BS EN 772-16:2011 Methods of test for masonry units. Determination of dimensions BS EN 998-2:2010 Specification for mortar for masonry. Masonry mortar BS EN 1015-1:1999 Methods of test for mortar for masonry. Determination of particle size distribution (by sieve analysis) BS EN 1015-2:1999 Methods of test for mortar for masonry. Bulk sampling of mortars and preparation of test mortars BS EN 1015-3:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by flow table) BS EN 1015-4:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by plunger penetration) BS EN 1015-6:1999 Methods of test for mortar for masonry. Determination of bulk density of fresh mortar BS EN 1015-7:1999 Methods of test for mortar for masonry. Determination of air content of fresh mortar BS EN 1015-9:1999 Methods of test for mortar for masonry. Determination of workable life and correction time of fresh mortar BS EN 1015-10:1999 Methods of test for mortar for masonry. Determination of dry bulk density of hardened mortar BS EN 1015-11:1999 Methods of test for mortar for masonry. Determination of flexural and compressive strength of hardened mortar BS EN 1015-12:2000 Methods of test for mortar for masonry. Determination of adhesive strength of hardened rendering and plastering mortars on substrates BS EN 1015-17:2000 Methods of test for mortar for masonry. Determination of water-soluble chloride content of fresh mortars BS EN 1052-1:1999 Methods of test for masonry. Determination of compressive strength BS EN 1052-2:2016 Methods of test for masonry. Determination of flexural strength BS EN 13139:2002 Aggregates for mortar BS EN 13139:2002 Aggregates for mortar BS EN 845-1:2013 Specification for ancillary components for masonry. Wall ties, tension straps, hangers and brackets BS EN 13055-1:2002 Lightweight aggregates. Lightweight aggregates for concrete, mortar and grout BS EN 998-2:2010 Specification for mortar for masonry . Masonry mortar/ BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar BS EN 413-1:2011 Masonry cement. Composition, specifications and conformity criteria BS 8221-1:2012 Code of practice for cleaning and surface repair of buildings. Cleaning of natural stone, brick, terracotta and concrete BS 8221-2:2000 Code of practice for cleaning and surface repair of buildings. Surface repair of natural stones, brick and terracotta Plastering BS 5492:1990- Code of practice for internal plastering Waterproofing BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles Paints BS EN ISO 4618:2014 Paints and varnishes. Terms and definitions BS 6150:2006+A1:2014 Painting of buildings. Code of practice BS 2992:1970 Specification for painters’ and decorators’ brushes for local authorities and public institutions (excluding quality of fillings) BS 3416:1991 Specification for bitumen-based coatings for cold application, suitable for use in contact with potable water BS 3483-A1:1983, ISO 787/1-1982-Methods for testing pigments for paints. Comparison of colour BS 3483-C7:1980, ISO 787/22-1980-Methods for testing pigments for paints. Comparison of resistance to bleeding BS 3900-B4:1986, ISO 6503-1984-Methods of test for paints. Tests involving chemical examination of liquid paints and dried paint films. Determination of total lead in paints and similar materials BS 3900-F2:1973-Methods of test for paint. Durability tests on paint films. Determination of resistance to humidity (cyclic condensation) BS 3900-F6:1976-Methods of test for paint. Durability tests on paint films. Notes for guidance on the conduct of natural weathering test BS EN ISO 11998:2006 Paints and varnishes. Determination of wet-scrub resistance and cleanability of coatings BS EN ISO 4628-2:2016 Paints and varnishes. Evaluation of degradation of coatings. Designation of quantity and size of defects, and of intensity of uniform changes in appearance. Assessment of degree of blistering BS EN ISO 4628-5:2016 Paints and varnishes. Evaluation of degradation of coatings. Designation of quantity and size of defects, and of intensity of uniform changes in appearance. Assessment of degree of flaking BS 6949:1991-Specification for bitumen-based coatings for cold application excluding use in contact with potable water BS 7664:2000-Specification for undercoat and finishing paints |
| --- | --- |
| ASTM | Brick and masonry ASTM C216 - 15 Standard Specification for Facing Brick (Solid Masonry Units Made from Clay or Shale) ASTM C 62 (building brick) ASTM C652 - 15 Standard Specification for Hollow Brick (Hollow Masonry Units Made From Clay or Shale) ASTM C212 - 14 Standard Specification for Structural Clay Facing Tile ASTM C34 - 13 Standard Specification for Structural Clay Load-Bearing Wall Tile. ASTM C67 - 14 Standard Test Methods for Sampling and Testing Brick and Structural Clay Tile. ASTM C91 / C91M - 12 Standard Specification for Masonry Cement ASTM C207 - 06(2011) Standard Specification for Hydrated Lime for Masonry Purposes ASTM C144 - 11 Standard Specification for Aggregate for Masonry Mortar ASTM C270 - 14a Standard Specification for Mortar for Unit Masonry ASTM C476 - 10 Standard Specification for Grout for Masonry. ASTM C1019 - 16 Standard Test Method for Sampling and Testing Grout ASTM E518 / E518M - 15 Standard Test Methods for Flexural Bond Strength of Masonry ASTM C1072 - 13e1 Standard Test Methods for Measurement of Masonry Flexural Bond Strength ASTM C150 / C150M - 15 Standard Specification for Portland Cement ASTM C595 / C595M - 15e1 Standard Specification for Blended Hydraulic Cements ASTM C109 / C109M - 16 Standard Test Method for Compressive Strength of Hydraulic Cement Mortars (Using 2-in. or [50-mm] Cube Specimens) ASTM C780 - 15a Standard Test Method for Preconstruction and Construction Evaluation of Mortars for Plain and Reinforced Unit Masonry. ASTM C 979 Specification for Pigments for Integrally Colored Concrete are suitable for mortar. ASTM C511 Specification for Moist Cabinets, Moist Rooms, and Water Storage Tanks Used in the Testing of Hydraulic Cements and Concretes ASTM C62 - 13a Standard Specification for Building Brick (Solid Masonry Units Made From Clay or Shale) ASTM C67 - 14 Standard Test Methods for Sampling and Testing Brick and Structural Clay Tile ASTM C73 - 14 Standard Specification for Calcium Silicate Brick (Sand-Lime Brick) ASTM C126 - 15 Standard Specification for Ceramic Glazed Structural Clay Facing Tile, Facing Brick, and Solid Masonry Units ASTM C212-00 Standard Specification for Structural Clay Facing Tile ASTM C216-01a Standard Specification for Facing Brick (Solid Masonry Units Made from Clay or Shale) ASTM C144-99 Standard Specification for Aggregate for Masonry Mortar ASTM C270-01a Standard Specification for Mortar for Unit Masonry ASTM C476-01 Standard Specification for Grout for Masonry ASTM C652-01a Standard Specification for Hollow Brick (Hollow Masonry Units Made From Clay or Shale) ASTM C780 - 15a Standard Test Method for Preconstruction and Construction Evaluation of Mortars for Plain and Reinforced Unit Masonry ASTM C896 - 15 Standard Terminology Relating to Clay Products ASTM C1006 - 07(2013) Standard Test Method for Splitting Tensile Strength of Masonry Units ASTM C1019 - 16 Standard Test Method for Sampling and Testing Grout ASTM C1088 - 14 Standard Specification for Thin Veneer Brick Units Made From Clay or Shale ASTM C1093 - 15a Standard Practice for Accreditation of Testing Agencies for Masonry ASTM C1106 - 00(2012) Standard Test Methods for Chemical Resistance and Physical Properties of Carbon Brick ASTM C1148 - 92a(2014) Standard Test Method for Measuring the Drying Shrinkage of Masonry Mortar ASTM C1180 - 10 Standard Terminology of Mortar and Grout for Unit Masonry ASTM C1218 / C1218M - 15 Standard Test Method for Water-Soluble Chloride in Mortar and Concrete ASTM C1324 - 15 Standard Test Method for Examination and Analysis of Hardened Masonry Mortar ASTM C1384 - 12a Standard Specification for Admixtures for Masonry Mortars ASTM C1400 - 11 Standard Guide for Reduction of Efflorescence Potential in New Masonry Walls ASTM C1403 - 15 Standard Test Method for Rate of Water Absorption of Masonry Mortars ASTM C1405-01b Standard Specification for Glazed Brick (Single Fired, Solid Brick Units) Waterproofing ASTM D5957 - 98(2013) Standard Guide for Flood Testing Horizontal Waterproofing Installations ASTM D5295 / D5295M - 14 Standard Guide for Preparation of Concrete Surfaces for Adhered (Bonded) Membrane Waterproofing Systems ASTM D5683 / D5683M - 95(2011)e1 Standard Test Method for Flexibility of Roofing and Waterproofing Materials and Membranes ASTM D6135-05 Standard Practice for Application of Self-Adhering Modified Bituminous Waterproofing (Withdrawn 2014) Plaster ASTM C926 - 16 Standard Specification for Application of Portland Cement-Based Plaster ASTM C1328 / C1328M - 12 Standard Specification for Plastic (Stucco) Cement ASTM C897 - 15 Standard Specification for Aggregate for Job-Mixed Portland Cement-Based PlastersASTM C897 - 15 Standard Specification for Aggregate for Job-Mixed Portland Cement-Based Plasters ASTM E96 / E96M - 15 Standard Test Methods for Water Vapor Transmission of Materials ASTM C1506 - 16a Standard Test Method for Water Retention of Hydraulic Cement-Based Mortars and Plasters ASTM C1063 - 16 Standard Specification for Installation of Lathing and Furring to Receive Interior and Exterior Portland Cement-Based Plaster ASTM C926 - 16 Standard Specification for Application of Portland Cement-Based Plaster ASTM C897 - 15 Standard Specification for Aggregate for Job-Mixed Portland Cement-Based Plasters ASTM C847 - 14a Standard Specification for Metal Lath ASTM C150 / C150M - 15 Standard Specification for Portland Cement ASTM F710 - 11 Standard Practice for Preparing Concrete Floors to Receive Resilient Flooring ASTM E119 - 15 Standard Test Methods for Fire Tests of Building Construction and Materials ASTM C932 - 06(2013) Standard Specification for Surface-Applied Bonding Compounds for Exterior Plastering ASTM C40 / C40M - 11 Standard Test Method for Organic Impurities in Fine Aggregates for Concrete ASTM D75 / D75M - 14 Standard Practice for Sampling Aggregates ASTM C136 / C136M - 14 Standard Test Method for Sieve Analysis of Fine and Coarse Aggregates Paints ASTM D5098 - 16 Standard Specification for Artists’ Acrylic Dispersion Paints ASTM D1640 / D1640M - 14 Standard Test Methods for Drying, Curing, or Film Formation of Organic Coatings ASTM D4258 - 05(2012) Standard Practice for Surface Cleaning Concrete for Coating ASTM D279 - 02(2012) Standard Test Methods for Bleeding of Pigments ASTM D2574 - 06(2012) Standard Test Method for Resistance of Emulsion Paints in the Container to Attack by Microorganisms ASTM D5324 - 10 Standard Guide for Testing Water-Borne Architectural Coatings ASTM D5146 - 10 Standard Guide to Testing Solvent-Borne Architectural Coatings ASTM E1907-06a Standard Guide to Methods of Evaluating Moisture Conditions of Concrete Floors to Receive Resilient Floor Coverings (Withdrawn 2008) ASTM D6237 - 09(2015) Standard Guide for Painting Inspectors (Concrete and Masonry Substrates) D4541-95e1-Standard Test Method for Pull-Off Strength of Coatings Using Portable Adhesion Tester |
| AS | Brick AS 1617.1-1993 Refractory bricks and shapes - Fireclay AS 1617.1-1993/Amdt 1-1994 Refractory bricks and shapes - Fireclay AS 1618-1993 Dimensions and preferred sizes for refractory bricks DR 02455-02459 CP Refractory bricks and shapes DR 02475 CP Dimensions and preferred sizes for refractory bricks AS 4773.2-2010 Masonry in small buildings - Construction/ AS 4773.1-2010 Masonry in small buildings - Design/ AS 3700-2011 Masonry structures Waterpoofing AS 3740-2010/Amdt 1-2012 Waterproofing of domestic wet areas AS 3740-Amdt 1:1995- Waterproofing of wet areas within residential buildings Paints AS/NZS 2310:2002 Glossary of paint and painting terms AS/NZS 2311:2009 Guide to the painting of buildings AS 3730.0-2006 Guide to the properties of paints for buildings - General information on the specification, purchasing and testing of paints AS 3730.100-2006 Guide to the properties of paints for buildings - Introduction and list of guides HB 73.1-2005 Handbook of Australian Paint Standards - General HB 73.2-2005 Handbook of Australian Paint Standards - Test methods AS/NZS 1580.101.1:1999 (R2013) Paints and related materials - Methods of test - - Conditions of test - Temperature, humidity and airflow control AS/NZS 1580.107.2:1995 Paints and related materials - Methods of test - - Determination of wet film thickness from wet film mass AS 1580.408.5-2006 Paints and related materials - Methods of test - Adhesion - Pull-off test AS/NZS 1580.481.1.10:1998 (R2013) Paints and related materials - Methods of test - Coatings - Exposed to weathering - Degree of flaking and peeling AS/NZS 1580.481.1.13:1998 (Reconfirmed 2013) Methods of test for paints and related materials - Exposed to weathering - Degree of fungal or algal growth AS/NZS 1580.481.1.9:1998 (R2013) Paints and related materials - Methods of test - Coatings - Exposed to weathering - Degree of blistering |
| SS | Brick SS EN 197 - 1 : 2014 Cement - Part 1 : Composition, specifications and conformity criteria for common cement/ SS EN 197 - 2 : 2014 Cement - Part 2 : Conformity evaluation SS EN 12620 : 2008 Specification for aggregates for concrete SS EN 934 - 1 : 2008 (2015) Admixtures for concrete, mortar and grout - Common requirements/ SS EN 934 - 2 : 2015 Admixtures for concrete, mortar and grout - Part 2 : Definitions, requirements – Concrete admixtures – Definitions, requirements, conformity, marking and labelling/ SS EN 934 - 6 : 2008 (2015) Admixtures for concrete, mortar and grout - Sampling, conformity control and evaluation of conformity Plaster CP 56 : 1991 Code of practice for internal plastering SS EN 197 series - Cement SS EN 12620 : 2008 Specification for aggregates for concrete Paint SS 542 : 2008 Code of practice for painting of buildings SS 5 Series - Methods of test for paints, varnishes and related materials SS 7 : 1998 Paint - Finishing, gloss enamel SS 34 : 1998 Undercoat paint for gloss enamel SS 150 : 1998 Emulsion paints for decorative purposes |
| ISO | Bricks ISO 5019-1:1984 Refractory bricks -- Dimensions -- Part 1: Rectangular bricks ISO 5019-2:1984 Refractory bricks -- Dimensions -- Part 2: Arch bricks ISO 5019-3:1984 Refractory bricks -- Dimensions -- Part 3: Rectangular checker bricks for regenerative furnaces ISO 5019-4:1988 Refractory bricks -- Dimensions -- Part 4: Dome bricks for electric arc furnace roofs ISO 5019-5:1984 Refractory bricks -- Dimensions -- Part 5: Skewbacks ISO 5019-6:1984 Refractory bricks -- Dimensions -- Part 6: Basic bricks for oxygen steel-making converters ISO 5417:1986 Refractory bricks for use in rotary kilns -- Dimensions ISO 9205:1988 Refractory bricks for use in rotary kilns -- Hot-face identification marking ISO 12678-1:1996 Refractory products -- Measurement of dimensions and external defects of refractory bricks -- Part 1: Dimensions and conformity to drawings Refractory products -- Measurement of dimensions and external defects of refractory bricks -- Part 2: Corner and edge defects and other surface imperfections Paints ISO 1513:2010 Paints and varnishes -- Examination and preparation of test samples ISO 1514:2004 Paints and varnishes -- Standard panels for testing ISO 1516:2002 Determination of flash/no flash -- Closed cup equilibrium method ISO 9117-3:2010 Paints and varnishes -- Drying tests -- Part 3: Surface-drying test using ballotini ISO 1518-1:2011 Paints and varnishes -- Determination of scratch resistance -- Part 1: Constant-loading method ISO 1519:2011 Paints and varnishes -- Bend test (cylindrical mandrel) ISO 1520:2006 - Paints and varnishes -- Cupping test ISO 1522:2006 Paints and varnishes -- Pendulum damping test ISO 1523:2002 Determination of flash point -- Closed cup equilibrium method ISO 1524:2013 Paints, varnishes and printing inks -- Determination of fineness of grind ISO 2409:2013 Paints and varnishes -- Cross-cut test ISO 2431:2011 Paints and varnishes -- Determination of flow time by use of flow cups ISO 2808:2007 Paints and varnishes -- Determination of film thickness ISO 2810:2004 Paints and varnishes -- Natural weathering of coatings -- Exposure and assessment ISO 2811-1:2016 Paints and varnishes -- Determination of density -- Part 1: Pycnometer method ISO 2811-2:2011 Paints and varnishes -- Determination of density -- Part 2: Immersed body (plummet) method ISO 2811-3:2011 Paints and varnishes -- Determination of density -- Part 3: Oscillation method ISO 2811-4:2011 Paints and varnishes -- Determination of density -- Part 4: Pressure cup method ISO 2812-1:2007 Paints and varnishes -- Determination of resistance to liquids -- Part 1: Immersion in liquids other than water ISO 2812-2:2007 Paints and varnishes -- Determination of resistance to liquids -- Part 2: Water immersion method ISO 2813:2014 Paints and varnishes -- Determination of gloss value at 20 degrees, 60 degrees and 85 degrees BS EN ISO 2814:2006, BS 3900-D4:2006 Paints and varnishes. Comparison of contrast ratio (hiding power) of paints of the same type and colour ISO 2815:2003 Paints and varnishes -- Buchholz indentation test ISO 2884-1:1999 Paints and varnishes -- Determination of viscosity using rotary viscometers -- Part 1: Cone-and-plate viscometer operated at a high rate of shear ISO 3231: 1993 Paints and varnishes -- Determination of resistance to humid atmospheres containing sulfur dioxide ISO 3233-1:2013 Paints and varnishes -- Determination of the percentage volume of non-volatile matter -- Part 1: Method using a coated test panel to determine non-volatile matter and to determine dry film density by the Archimedes principle ISO 3248: 1998 Paints and varnishes -- Determination of the effect of heat ISO 3251:2008 Paints, varnishes and plastics -- Determination of non-volatile-matter content ISO 4618:2014 Paints and varnishes -- Terms and definitions ISO 4618:2014 Paints and varnishes -- Terms and definitions ISO 4624:2016 Paints and varnishes -- Pull-off test for adhesion ISO 4628-1:2016 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 1: General introduction and designation system ISO 4628-2:2003 Paints and varnishes - Evaluation of degradation of coatings - Designation of quantity and size of defects, and of intensity of uniform changes in appearance - Part 2: Assessment of degree of blistering ISO 4628-3:2016 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 3: Assessment of degree of rusting ISO 4628-4:2016 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 4: Assessment of degree of cracking ISO 4628-5:2016 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 5: Assessment of degree of flaking ISO 4628-6:2011 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 6: Assessment of degree of chalking by tape method ISO 6270-1: 1998 Paints and varnishes -- Determination of resistance to humidity -- Part 1: Continuous condensation ISO 6272-1:2011 Paints and varnishes -- Rapid-deformation (impact resistance) tests -- Part 1: Falling-weight test, large-area indenter/ ISO 6272-2:2011 Paints and varnishes -- Rapid-deformation (impact resistance) tests -- Part 2: Falling-weight test, small-area indenter ISO 6503: 1984 Paints and varnishes -- Determination of total lead -- Flame atomic absorption spectrometric method ISO 6504-1: 1983 Paints and varnishes -- Determination of hiding power -- Part 1: Kubelka-Munk method for white and light-coloured paints ISO 6504-3:2006 Paints and varnishes -- Determination of hiding power -- Part 3: Determination of contrast ratio of light-coloured paints at a fixed spreading rate ISO 6713: 1984 Paints and varnishes -- Preparation of acid extracts from paints in liquid or powder form ISO 6744-1: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 1: General methods of test ISO 6744-2: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 2: Determination of phthalic anhydride content ISO 6744-3: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 3: Determination of unsaponifiable matter content ISO 6744-4: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 4: Determination of fatty acid content ISO 6860:2006 Paints and varnishes -- Bend test (conical mandrel) ISO 7142:2007 Binders for paints and varnishes -- Epoxy resins -- General methods of test ISO 7143:2007 Binders for paints and varnishes -- Methods of test for characterizing water-based binders ISO 7783:2011 Paints and varnishes -- Determination of water-vapour transmission properties -- Cup method ISO 7784-1:2016 Paints and varnishes -- Determination of resistance to abrasion -- Part 1: Method with abrasive-paper covered wheels and rotating test specimen ISO 7784-2:2016 Paints and varnishes -- Determination of resistance to abrasion -- Part 2: Method with abrasive rubber wheels and rotating test specimen ISO 7784-3:2016 Paints and varnishes -- Determination of resistance to abrasion -- Part 3: Method with abrasive-paper covered wheel and linearly reciprocating test specimen ISO 8501-1:2007 Preparation of steel substrates before application of paints and related products -- Visual assessment of surface cleanliness -- Part 1: Rust grades and preparation grades of uncoated steel substrates and of steel substrates after overall ISO 9514:2005 Paints and varnishes -- Determination of the pot life of multicomponent coating systems -- Preparation and conditioning of samples and guidelines for testing ISO 11503:1995 Paints and varnishes -- Determination of resistance to humidity (intermittent condensation) ISO 16474-1:2013 Paints and varnishes -- Methods of exposure to laboratory light sources -- Part 1: General guidance ISO 11668:1997 Binders for paints and varnishes -- Chlorinated polymerization resins -- General methods of test ISO 11890-1:2007 Paints and varnishes -- Determination of volatile organic compound (VOC) content -- Part 1: Difference method ISO 11890-2:2013 Paints and varnishes -- Determination of volatile organic compound (VOC) content -- Part 2: Gas-chromatographic method ISO 11908: 1996 Binders for paints and varnishes -- Amino resins -- General methods of test ISO 11909:2007 Binders for paints and varnishes -- Polyisocyanate resins -- General methods of test ISO 11997-1:2005 Paints and varnishes -- Determination of resistance to cyclic corrosion conditions -- Part 1: Wet (salt fog)/dry/humidity ISO 11997-2:2013 Paints and varnishes -- Determination of resistance to cyclic corrosion conditions -- Part 2: Wet (salt fog)/dry/humidity/UV light ISO 11998:2006 Paints and varnishes -- Determination of wet-scrub resistance and cleanability of coatings ISO 12137:2011 Paints and varnishes -- Determination of mar resistance ISO 1518-2:2011 Paints and varnishes -- Determination of scratch resistance -- Part 2: Variable-loading method ISO 14680-1:2000 Paints and varnishes -- Determination of pigment content -- Part 1: Centrifuge method ISO 14680-2: 2000 Paints and varnishes -- Determination of pigment content -- Part 2: Ashing method ISO 14680-3: 2000 Paints and varnishes -- Determination of pigment content -- Part 3: Filtration method ISO 15184:2012 Paints and varnishes -- Determination of film hardness by pencil test |

## Crazing

| BS | Plaster BS 1191: Part 1: 1973-Gysum building plasters. Excluding premixed lightweight plasters BS 1191: Part 2: 1973-Gypsum building plasters. Premixed lightweight plasters BS 4049:1966- Glossary of terms applicable to internal plastering, external rendering and floor screeding BS 4551: 1980-Methods of testing mortars, screeds and plasters BS 5492: 1977-Code of practice for internal plastering BS 5262: 1991- Code of practice for external renderings BS 6452: Part 1: 1984-BEads for internal plastering and dry lining. Galvanized steel beads BS 6100-6.2:1986-Glossary of building and civil engineering terms. Concrete and plaster. Concrete BS 6100-6.3:1984-Glossary of building and civil engineering terms. Concrete and plaster. Aggregates BS 6100-6.1:1984-Glossary of building and civil engineering terms. Concrete and plaster. Binders BS 6100-6.4:1986-Glossary of building and civil engineering terms. Concrete and plaster. Admixtures BS 6100-6.6.1:1992-Glossary of building and civil engineering terms. Concrete and plaster. Products, applications and operations. Concrete and mortar BS 6100-6.6.2:1990-Glossary of building and civil engineering terms. Concrete and plaster. Products, applications and operations. Plaster BS 8000-10:1995-Workmanship on building sites. Code of practice for plastering and rendering Paints BS EN ISO 6270-1:2001, BS 3900-F9:2001 Paints and varnishes. Determination of resistance to humidity. Continuous condensation BS EN ISO 4618:2014 Paints and varnishes. Terms and definitions BS 6150:2006+A1:2014 Painting of buildings. Code of practice BS 2992:1970 Specification for painters’ and decorators’ brushes for local authorities and public institutions (excluding quality of fillings) BS 3416:1991 Specification for bitumen-based coatings for cold application, suitable for use in contact with potable water BS 3483-A1:1983, ISO 787/1-1982-Methods for testing pigments for paints. Comparison of colour BS 3483-C7:1980, ISO 787/22-1980-Methods for testing pigments for paints. Comparison of resistance to bleeding BS 3900-B4:1986, ISO 6503-1984-Methods of test for paints. Tests involving chemical examination of liquid paints and dried paint films. Determination of total lead in paints and similar materials BS 3900-F2:1973-Methods of test for paint. Durability tests on paint films. Determination of resistance to humidity (cyclic condensation) BS 3900-F6:1976-Methods of test for paint. Durability tests on paint films. Notes for guidance on the conduct of natural weathering test BS EN ISO 11998:2006 Paints and varnishes. Determination of wet-scrub resistance and cleanability of coatings BS EN ISO 4628-2:2016 Paints and varnishes. Evaluation of degradation of coatings. Designation of quantity and size of defects, and of intensity of uniform changes in appearance. Assessment of degree of blistering BS EN ISO 4628-5:2016 Paints and varnishes. Evaluation of degradation of coatings. Designation of quantity and size of defects, and of intensity of uniform changes in appearance. Assessment of degree of flaking BS 6949:1991-Specification for bitumen-based coatings for cold application excluding use in contact with potable water BS 7664:2000-Specification for undercoat and finishing paints BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS EN ISO 6270-1:2001, BS 3900-F9:2001 Paints and varnishes. Determination of resistance to humidity. Continuous condensation BS EN ISO 4618:2014 Paints and varnishes. Terms and definitions BS 6150:2006+A1:2014 Painting of buildings. Code of practice BS 2992:1970 Specification for painters’ and decorators’ brushes for local authorities and public institutions (excluding quality of fillings) BS 3416:1991 Specification for bitumen-based coatings for cold application, suitable for use in contact with potable water BS 3483-A1:1983, ISO 787/1-1982-Methods for testing pigments for paints. Comparison of colour BS 3483-C7:1980, ISO 787/22-1980-Methods for testing pigments for paints. Comparison of resistance to bleeding BS 3900-B4:1986, ISO 6503-1984-Methods of test for paints. Tests involving chemical examination of liquid paints and dried paint films. Determination of total lead in paints and similar materials BS 3900-F2:1973-Methods of test for paint. Durability tests on paint films. Determination of resistance to humidity (cyclic condensation) BS 3900-F6:1976-Methods of test for paint. Durability tests on paint films. Notes for guidance on the conduct of natural weathering test BS EN ISO 11998:2006 Paints and varnishes. Determination of wet-scrub resistance and cleanability of coatings BS EN ISO 4628-2:2016 Paints and varnishes. Evaluation of degradation of coatings. Designation of quantity and size of defects, and of intensity of uniform changes in appearance. Assessment of degree of blistering BS EN ISO 4628-5:2016 Paints and varnishes. Evaluation of degradation of coatings. Designation of quantity and size of defects, and of intensity of uniform changes in appearance. Assessment of degree of flaking BS 4800:2011 Schedule of paint colours for building purposes BS 6949:1991-Specification for bitumen-based coatings for cold application excluding use in contact with potable water BS 7664:2000-Specification for undercoat and finishing paints |
| --- | --- |
| ASTM | Plaster C28/C28M: 2000-Standard Specification for Gypsum Plasters C778: 2000-Standard Specification for Standard Sand C926-98a-Standard Specification for Application of Portland Cement-Based Plaster C897-00-Standard Specification for Aggregate for Job-Mixed Portland Cement-Based Plasters C932-98a-Standard Specification for Surface-Applied Bonding Agents for Exterior Plastering Paints ASTM D5098 - 16 Standard Specification for Artists’ Acrylic Dispersion Paints ASTM D4258 - 05(2012) Standard Practice for Surface Cleaning Concrete for Coating ASTM D1640 / D1640M - 14 Standard Test Methods for Drying, Curing, or Film Formation of Organic Coatings ASTM D279 - 02(2012) Standard Test Methods for Bleeding of Pigments ASTM D2574 - 06(2012) Standard Test Method for Resistance of Emulsion Paints in the Container to Attack by Microorganisms ASTM D5324 - 10 Standard Guide for Testing Water-Borne Architectural Coatings ASTM D5146 - 10 Standard Guide to Testing Solvent-Borne Architectural Coatings ASTM E1907-06a Standard Guide to Methods of Evaluating Moisture Conditions of Concrete Floors to Receive Resilient Floor Coverings (Withdrawn 2008) ASTM D6237 - 09(2015) Standard Guide for Painting Inspectors (Concrete and Masonry Substrates) |
| AS | Plaster AS CA27-1959-Code of recommended practice for internal plastering on solid backgrounds AS 2592-1983 Gypsum plaster for building purposes (Withdrawn 24 Aug 2006) AS 2753-1985 Adhesives - Mastic - For bonding gypsum plaster linings to wood and metal framing members (Withdrawn 31 Jul 2006) DR 99462 - Fibre reinforced gypsum plaster AS/NZS 2589:2007 Gypsum linings - Application and finishing Paints S/NZS 2310:1995-Glossary of paint and painting terms AS/NZS 2311:2009 Guide to the painting of buildings AS 3730.0-2006 Guide to the properties of paints for buildings - General information on the specification, purchasing and testing of paints AS 3730.100-2006 Guide to the properties of paints for buildings - Introduction and list of guides HB 73.1-2005 Handbook of Australian Paint Standards - General HB 73.2-2005 Handbook of Australian Paint Standards - Test methods AS/NZS 1580.101.1:1999 (R2013) Paints and related materials - Methods of test - - Conditions of test - Temperature, humidity and airflow control AS/NZS 1580.107.2:1995 Paints and related materials - Methods of test - - Determination of wet film thickness from wet film mass AS 1580.408.5-2006 Paints and related materials - Methods of test - Adhesion - Pull-off test AS/NZS 1580.481.1.10:1998 (R2013) Paints and related materials - Methods of test - Coatings - Exposed to weathering - Degree of flaking and peeling AS/NZS 1580.481.1.13:1998 (Reconfirmed 2013) Methods of test for paints and related materials - Exposed to weathering - Degree of fungal or algal growth AS/NZS 1580.481.1.9:1998 (R2013) Paints and related materials - Methods of test - Coatings - Exposed to weathering - Degree of blistering |
| SS | Plaster CP 56 : 1991 Code of practice for internal plastering Paints SS 542 : 2008 Code of practice for painting of buildings SS 5 Series - Methods of test for paints, varnishes and related materials SS 7 : 1998 Paint - Finishing, gloss enamel SS 34 : 1998 Undercoat paint for gloss enamel SS 150 : 1998 Emulsion paints for decorative purposes CP 82 : 1999 Code of practice for waterproofing of reinforced concrete buildings SS 345: 1990 Algae resistant emulsion paint for decorative purposes |
| ISO | Plaster ISO 3048:1974 - Gypsum plasters; General test conditions ISO 3049:1974 - Gypsum plasters; Determination of physical properties of powder ISO 3051:1974 - Gypsum plasters; Determination of mechanical properties ISO 3052:1974 - Gypsum plasters; Determination of water of crystallization content Paints ISO 1513:2010 Paints and varnishes -- Examination and preparation of test samples ISO 1514:2004 Paints and varnishes -- Standard panels for testing ISO 1516:2002 Determination of flash/no flash -- Closed cup equilibrium method ISO 9117-3:2010 Paints and varnishes -- Drying tests -- Part 3: Surface-drying test using ballotini ISO 1518-1:2011 Paints and varnishes -- Determination of scratch resistance -- Part 1: Constant-loading method ISO 1519:2011 Paints and varnishes -- Bend test (cylindrical mandrel) ISO 1520:2006 - Paints and varnishes -- Cupping test ISO 1522:2006 Paints and varnishes -- Pendulum damping test ISO 1523:2002 Determination of flash point -- Closed cup equilibrium method ISO 1524:2013 Paints, varnishes and printing inks -- Determination of fineness of grind ISO 2409:2013 Paints and varnishes -- Cross-cut test ISO 2431:2011 Paints and varnishes -- Determination of flow time by use of flow cups ISO 2808:2007 Paints and varnishes -- Determination of film thickness ISO 2810:2004 Paints and varnishes -- Natural weathering of coatings -- Exposure and assessment ISO 2811-1:2016 Paints and varnishes -- Determination of density -- Part 1: Pycnometer method ISO 2811-2:2011 Paints and varnishes -- Determination of density -- Part 2: Immersed body (plummet) method ISO 2811-3:2011 Paints and varnishes -- Determination of density -- Part 3: Oscillation method ISO 2811-4:2011 Paints and varnishes -- Determination of density -- Part 4: Pressure cup method ISO 2812-1:2007 Paints and varnishes -- Determination of resistance to liquids -- Part 1: Immersion in liquids other than water ISO 2812-2:2007 Paints and varnishes -- Determination of resistance to liquids -- Part 2: Water immersion method ISO 2813:2014 Paints and varnishes -- Determination of gloss value at 20 degrees, 60 degrees and 85 degrees BS EN ISO 2814:2006, BS 3900-D4:2006 Paints and varnishes. Comparison of contrast ratio (hiding power) of paints of the same type and colour ISO 2815:2003 Paints and varnishes -- Buchholz indentation test ISO 2884-1:1999 Paints and varnishes -- Determination of viscosity using rotary viscometers -- Part 1: Cone-and-plate viscometer operated at a high rate of shear ISO 3231: 1993 Paints and varnishes -- Determination of resistance to humid atmospheres containing sulfur dioxide ISO 3233-1:2013 Paints and varnishes -- Determination of the percentage volume of non-volatile matter -- Part 1: Method using a coated test panel to determine non-volatile matter and to determine dry film density by the Archimedes principle ISO 3248: 1998 Paints and varnishes -- Determination of the effect of heat ISO 3251:2008 Paints, varnishes and plastics -- Determination of non-volatile-matter content ISO 4618:2014 Paints and varnishes -- Terms and definitions ISO 4618:2014 Paints and varnishes -- Terms and definitions ISO 4624:2016 Paints and varnishes -- Pull-off test for adhesion ISO 4628-1:2016 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 1: General introduction and designation system ISO 4628-2:2003 Paints and varnishes - Evaluation of degradation of coatings - Designation of quantity and size of defects, and of intensity of uniform changes in appearance - Part 2: Assessment of degree of blistering ISO 4628-3:2016 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 3: Assessment of degree of rusting ISO 4628-4:2016 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 4: Assessment of degree of cracking ISO 4628-5:2016 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 5: Assessment of degree of flaking ISO 4628-6:2011 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 6: Assessment of degree of chalking by tape method ISO 6270-1: 1998 Paints and varnishes -- Determination of resistance to humidity -- Part 1: Continuous condensation ISO 6272-1:2011 Paints and varnishes -- Rapid-deformation (impact resistance) tests -- Part 1: Falling-weight test, large-area indenter/ ISO 6272-2:2011 Paints and varnishes -- Rapid-deformation (impact resistance) tests -- Part 2: Falling-weight test, small-area indenter ISO 6503: 1984 Paints and varnishes -- Determination of total lead -- Flame atomic absorption spectrometric method ISO 6504-1: 1983 Paints and varnishes -- Determination of hiding power -- Part 1: Kubelka-Munk method for white and light-coloured paints ISO 6504-3:2006 Paints and varnishes -- Determination of hiding power -- Part 3: Determination of contrast ratio of light-coloured paints at a fixed spreading rate ISO 6713: 1984 Paints and varnishes -- Preparation of acid extracts from paints in liquid or powder form ISO 6744-1: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 1: General methods of test ISO 6744-2: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 2: Determination of phthalic anhydride content ISO 6744-3: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 3: Determination of unsaponifiable matter content ISO 6744-4: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 4: Determination of fatty acid content ISO 6860:2006 Paints and varnishes -- Bend test (conical mandrel) ISO 7142:2007 Binders for paints and varnishes -- Epoxy resins -- General methods of test ISO 7143:2007 Binders for paints and varnishes -- Methods of test for characterizing water-based binders ISO 7783:2011 Paints and varnishes -- Determination of water-vapour transmission properties -- Cup method ISO 7784-1:2016 Paints and varnishes -- Determination of resistance to abrasion -- Part 1: Method with abrasive-paper covered wheels and rotating test specimen ISO 7784-2:2016 Paints and varnishes -- Determination of resistance to abrasion -- Part 2: Method with abrasive rubber wheels and rotating test specimen ISO 7784-3:2016 Paints and varnishes -- Determination of resistance to abrasion -- Part 3: Method with abrasive-paper covered wheel and linearly reciprocating test specimen ISO 8501-1:2007 Preparation of steel substrates before application of paints and related products -- Visual assessment of surface cleanliness -- Part 1: Rust grades and preparation grades of uncoated steel substrates and of steel substrates after overall ISO 9514:2005 Paints and varnishes -- Determination of the pot life of multicomponent coating systems -- Preparation and conditioning of samples and guidelines for testing ISO 11503:1995 Paints and varnishes -- Determination of resistance to humidity (intermittent condensation) ISO 16474-1:2013 Paints and varnishes -- Methods of exposure to laboratory light sources -- Part 1: General guidance ISO 11668:1997 Binders for paints and varnishes -- Chlorinated polymerization resins -- General methods of test ISO 11890-1:2007 Paints and varnishes -- Determination of volatile organic compound (VOC) content -- Part 1: Difference method ISO 11890-2:2013 Paints and varnishes -- Determination of volatile organic compound (VOC) content -- Part 2: Gas-chromatographic method ISO 11908: 1996 Binders for paints and varnishes -- Amino resins -- General methods of test ISO 11909:2007 Binders for paints and varnishes -- Polyisocyanate resins -- General methods of test ISO 11997-1:2005 Paints and varnishes -- Determination of resistance to cyclic corrosion conditions -- Part 1: Wet (salt fog)/dry/humidity ISO 11997-2:2013 Paints and varnishes -- Determination of resistance to cyclic corrosion conditions -- Part 2: Wet (salt fog)/dry/humidity/UV light ISO 11998:2006 Paints and varnishes -- Determination of wet-scrub resistance and cleanability of coatings ISO 12137:2011 Paints and varnishes -- Determination of mar resistance ISO 1518-2:2011 Paints and varnishes -- Determination of scratch resistance -- Part 2: Variable-loading method ISO 14680-1:2000 Paints and varnishes -- Determination of pigment content -- Part 1: Centrifuge method ISO 14680-2: 2000 Paints and varnishes -- Determination of pigment content -- Part 2: Ashing method ISO 14680-3: 2000 Paints and varnishes -- Determination of pigment content -- Part 3: Filtration method ISO 15184:2012 Paints and varnishes -- Determination of film hardness by pencil test |

## Ceiling Board Defects - Biological Attack - Algae Growth- False ceiling

| BS | Plumbing BS 5572:1978 - Code of practice for sanitary pipework BS 6087:1981 - Specification for flexible joints for cast iron drainpipes and fittings (BS 437) and for cast iron soil, waste and ventilating pipes and fittings (BS 416) BS 6465 Part1:1994 - Sanitary installations. Code of practice for scale of provision, selection and installation of sanitary appliances BS 6465 Part2:1996- Sanitary installations. Code of practice for space requirements for sanitary appliances BS 7543:1992 Guide to durability of buildings and building elements, products and components BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS 8000-15:1990-Workmanship on building sites. Code of practice for hot and cold water services (domestic scale) Celing finishes BS 8290-2:1991 Suspended ceilings. Specification for performance of components and assemblies BS 1230-1:1985 Gypsum plasterboard. Specification for plasterboard excluding materials submitted to secondary operations |
| --- | --- |
| ASTM | Plumbing D4396-99a- Standard Specification for Rigid Poly (Vinyl Chloride) (PVC) and Chlorinated Poly (Vinyl Chloride) (CPVC) Compounds for Plastic Pipe and Fittings Used in Nonpressure Applications D3309-96a- Standard Specification for Polybutylene (PB) Plastic Hot- and Cold-Water Distribution Systems A888-98e1- Standard Specification for Hubless Cast Iron Soil Pipe and Fittings for Sanitary and Storm Drain, Waste, and Vent Piping Applications Ceiling Finishes C842-99 Standard Specification for Application of Interior Gypsum Plaster C1395/C1395M-01 Specification for Gypsum CEILING BOARD C1396/C1396M-02 Standard Specification for Gypsum BOARD C840-02 Standard Specification for Application and Finishing of Gypsum BOARD |
| AS | Plumbing AS 3500 - National Plumbing Code sets AS2032:1977 - Code of practice for installation of UPVC pipe systems Ceiling Finshes AS/NZS 2588:1998 Gypsum plasterboard AS/NZS 2589.1:1997 - Gypsum linings in residential and light commercial construction - Application and finishing - Gypsum plasterboard AS/NZS 2589:2007 Gypsum linings - Application and finishing AS 2590-1983 Glass fibre reinforced gypsum plasterboard (Withdrawn 24 Aug 2006) AS 2592-1983 Gypsum plaster for building purposes (Withdrawn 24 Aug 2006) AS 2753-1985 Adhesives - Mastic - For bonding gypsum plaster linings to wood and metal framing members (Withdrawn 31 Jul 2006) |
| SS | Plumbing SS213-1998 Unplasticized PVC pipes and fittings for soil, waste and vent applications SS141-1996 Unplasticised PVC pipe for cold water services and industrial uses |
| ISO | Plumbing ISO 3474:1976 Unplasticized polyvinyl chloride (PVC) pipes -- Specification and measurement of opacity ISO 3114:1977 Unplasticized polyvinyl chloride (PVC) pipes for potable water supply -- Extractability of lead and tin -- Test method ISO 3603:1977 Fittings for unplasticized polyvinyl chloride (PVC) pressure pipes with elastic sealing ring type joints -- Pressure test for leakproofness ISO 3633:1991 Unplasticized poly(vinyl chloride) (PVC-U) pipes and fittings for soil and waste discharge (low and high temperature) systems inside buildings – Specifications ISO/TR 4191:1989 Unplasticized polyvinyl chloride (PVC-U) pipes for water supply -- Recommended practice for laying ISO 4422-1:1996 Pipes and fittings made of unplasticized poly(vinyl chloride) (PVC-U) for water supply -- Specifications -- Part 1: General ISO 4422-2:1996 Pipes and fittings made of unplasticized poly(vinyl chloride) (PVC-U) for water supply -- Specifications -- Part 2: Pipes (with or without integral sockets) ISO 4422-3:1996 Pipes and fittings made of unplasticized poly(vinyl chloride) (PVC-U) for water supply -- Specifications -- Part 3: Fittings and joints ISO 4422-4:1997 Pipes and fittings made of unplasticized poly(vinyl chloride) (PVC-U) for water supply -- Specifications -- Part 4: Valves and ancillary equipment ISO 4422-5:1997 Pipes and fittings made of unplasticized poly(vinyl chloride) (PVC-U) for water supply -- Specifications -- Part 5: Fitness for purpose of the system ISO 4439:1979 Unplasticized polyvinyl chloride (PVC) pipes and fittings -- Determination and specification of density ISO 6455:1983 Unplasticized polyvinyl chloride (PVC) fittings with elastic sealing ring type joints for pipes under pressure -- Dimensions of laying lengths -- Metric series ISO 6594:1983 Cast iron drainage pipes and fittings -- Spigot series ISO 6992:1986 Unplasticized polyvinyl chloride (PVC-U) pipes for drinking water supply -- Extractability of cadmium and mercury occurring as impurities ISO 8283-1:1991 Plastics pipes and fittings -- Dimensions of sockets and spigots for discharge systems inside buildings -- Part 1: Unplasticized poly(vinyl chloride) (PVC-U) and chlorinated poly (vinyl chloride) (PVC-C) ISO 8283-2:1992 Plastics pipes and fittings -- Dimensions of sockets and spigots for discharge systems inside buildings -- Part 2: Polyethylene (PE) ISO 8283-3:1992 Plastics pipes and fittings -- Dimensions of sockets and spigots for discharge systems inside buildings -- Part 3: Polypropylene (PP) ISO 8283-4:1992 Plastics pipes and fittings -- Dimensions of sockets and spigots for discharge systems inside buildings -- Part 4: Acrylonitrile/butadiene/styrene (ABS) ISO 13844:2000 Plastics piping systems -- Elastomeric-sealing-ring-type socket joints of unplasticized poly(vinyl chloride) (PVC-U) for use with PVC-U pipes -- Test method for leaktightness under negative pressure ISO 13845:2015 Plastics piping systems -- Elastomeric-sealing-ring-type socket joints for use with thermoplastic pressure pipes -- Test method for leaktightness under internal pressure and with angular deflection ISO 265-1:1988 Pipes and fittings of plastics materials -- Fittings for domestic and industrial waste pipes -- Basic dimensions : Metric series -- Part 1: Unplasticized poly(vinyl chloride) (PVC-U) Ceiling Finishes ISO 768:1972 Fibre building boards -- Determination of bending strength ISO 769:1972 Fibre building boards -- Hard and medium boards -- Determination of water absorption and of swelling in thickness after immersion in water ISO 818:1975 Fibre building boards -- Definition -- Classification ISO 820:1975 Particle boards -- Definition and classification ISO 2695:1976 Fibre building boards -- Hard and medium boards for general purposes -- Quality specifications -- Appearance, shape and dimensional tolerances ISO 2696:1976 Fibre building boards -- Hard and medium boards for general purposes -- Quality specifications -- Water absorption and swelling in thickness ISO 3340:1976 Fibre building boards -- Determination of sand content ISO 3546:1976 Fibre building boards -- Determination of surface finish (roughness) ISO 3729:1976 Fibre building boards -- Determination of surface stability ISO 6308:1980 Gypsum plasterboard -- Specifications |

## Ceiling Board Defects - Biological Attack - Fungi Growth - Pipe leakage

| BS | Plumbing BS 534:1990-Specification for steel pipes, joints and specials for water and sewage BS 437:1978-Specification for cast iron spigot and socket drain pipes and fittings BS EN 598:1995-Ductile iron pipes, fittings, accessories and their joints for sewerage applications. Requirements and test methods BS 2782-11:Method 1110:1989-Methods of testing plastics. Thermoplastics pipes, fittings and valves. Tensile properties of dumb-bell specimens from PVC gutter profiles of pipes for non-pressure applications BS EN 1329-1:2000-Plastics piping systems for soil and waste discharge (low and high temperature) within the building structure. Unplasticized poly(vinyl chloride) (PVC-U). Specifications for pipes, fittings and the system BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles Ceiling finishes BS 1230-1: 1985-Gypsum plasterboard. Specification for plasterboard excluding materials submitted to secondary operations BS 8290-1:1991 Suspended ceilings. Code of practice for design BS 8290-2:1991 Suspended ceilings. Specification for performance of components and assemblies BS 8290-3:1991 Suspended ceilings. Code of practice for installation and maintenance |
| --- | --- |
| ASTM | Plumbing A74-98-Standard Specification for Cast Iron Soil Pipe and Fittings Ceiling finishes C840-02 Standard Specification for Application and Finishing of gypsum board C1396/C1396M-02 Standard Specification for gypsum board C960/C960M-01 Standard Specification for predecorated gypsum board C442/C442M-01 Standard Specification for gypsum backing board, gypsum coreboard, and gypsum shaftliner board C475-01 Standard Specification for Joint Compound and Joint Tape for Finishing gypsum board. |
| AS | Plumbing AS/NZS 1260:1999-PVC pipes and fittings for drain, waste and vent applications Ceiling finishes AS/NZS 2588:1998 Gypsum plasterboard AS/NZS 2589.1:1997 Gypsum linings in residential and light commercial construction - Application and finishing - Gypsum plasterboard AS 2590-1983 Glass fibre reinforced gypsum plasterboard |
| SS | Plumbing SS 33-1975 Cast iron spigot and socket soil, waste an ventilating pipes (sand cast and spun) and fitting. SS 213-1998 Unplasticized PVC pipes and fittings for soil, waste and vent applications |
| ISO | Plumbing ISO 3474:1976 Unplasticized polyvinyl chloride (PVC) pipes -- Specification and measurement of opacity ISO 3114:1977 Unplasticized polyvinyl chloride (PVC) pipes for potable water supply -- Extractability of lead and tin -- Test method ISO 3603:1977 Fittings for unplasticized polyvinyl chloride (PVC) pressure pipes with elastic sealing ring type joints -- Pressure test for leakproofness ISO 3633:1991 Unplasticized poly(vinyl chloride) (PVC-U) pipes and fittings for soil and waste discharge (low and high temperature) systems inside buildings – Specifications ISO/TR 4191:1989 Unplasticized polyvinyl chloride (PVC-U) pipes for water supply -- Recommended practice for laying ISO 4422-1:1996 Pipes and fittings made of unplasticized poly(vinyl chloride) (PVC-U) for water supply -- Specifications -- Part 1: General ISO 4422-2:1996 Pipes and fittings made of unplasticized poly(vinyl chloride) (PVC-U) for water supply -- Specifications -- Part 2: Pipes (with or without integral sockets) ISO 4422-3:1996 Pipes and fittings made of unplasticized poly(vinyl chloride) (PVC-U) for water supply -- Specifications -- Part 3: Fittings and joints ISO 4422-4:1997 Pipes and fittings made of unplasticized poly(vinyl chloride) (PVC-U) for water supply -- Specifications -- Part 4: Valves and ancillary equipment ISO 4422-5:1997 Pipes and fittings made of unplasticized poly(vinyl chloride) (PVC-U) for water supply -- Specifications -- Part 5: Fitness for purpose of the system ISO 4439:1979 Unplasticized polyvinyl chloride (PVC) pipes and fittings -- Determination and specification of density ISO 6455:1983 Unplasticized polyvinyl chloride (PVC) fittings with elastic sealing ring type joints for pipes under pressure -- Dimensions of laying lengths -- Metric series ISO 6594:1983 Cast iron drainage pipes and fittings -- Spigot series ISO 6992:1986 Unplasticized polyvinyl chloride (PVC-U) pipes for drinking water supply -- Extractability of cadmium and mercury occurring as impurities ISO 8283-1:1991 Plastics pipes and fittings -- Dimensions of sockets and spigots for discharge systems inside buildings -- Part 1: Unplasticized poly(vinyl chloride) (PVC-U) and chlorinated poly (vinyl chloride) (PVC-C) ISO 8283-2:1992 Plastics pipes and fittings -- Dimensions of sockets and spigots for discharge systems inside buildings -- Part 2: Polyethylene (PE) ISO 8283-3:1992 Plastics pipes and fittings -- Dimensions of sockets and spigots for discharge systems inside buildings -- Part 3: Polypropylene (PP) ISO 8283-4:1992 Plastics pipes and fittings -- Dimensions of sockets and spigots for discharge systems inside buildings -- Part 4: Acrylonitrile/butadiene/styrene (ABS) ISO 13844:2000 Plastics piping systems -- Elastomeric-sealing-ring-type socket joints of unplasticized poly(vinyl chloride) (PVC-U) for use with PVC-U pipes -- Test method for leaktightness under negative pressure ISO 13845:2015 Plastics piping systems -- Elastomeric-sealing-ring-type socket joints for use with thermoplastic pressure pipes -- Test method for leaktightness under internal pressure and with angular deflection ISO 265-1:1988 Pipes and fittings of plastics materials -- Fittings for domestic and industrial waste pipes -- Basic dimensions : Metric series -- Part 1: Unplasticized poly(vinyl chloride) (PVC-U) Ceiling Finishes ISO 768:1972 Fibre building boards -- Determination of bending strength ISO 769:1972 Fibre building boards -- Hard and medium boards -- Determination of water absorption and of swelling in thickness after immersion in water ISO 818:1975 Fibre building boards -- Definition -- Classification ISO 820:1975 Particle boards -- Definition and classification ISO 2695:1976 Fibre building boards -- Hard and medium boards for general purposes -- Quality specifications -- Appearance, shape and dimensional tolerances ISO 2696:1976 Fibre building boards -- Hard and medium boards for general purposes -- Quality specifications -- Water absorption and swelling in thickness ISO 3340:1976 Fibre building boards -- Determination of sand content ISO 3546:1976 Fibre building boards -- Determination of surface finish (roughness) ISO 3729:1976 Fibre building boards -- Determination of surface stability |

## Ceiling Board Defects - Biological Attack - Fungi Growth - air-conditioning

| BS | Ceiling Finishes BS 8212:1995-Code of practice for dry lining and partitioning using gypsum plasterboard BS 8000-8:1994-Workmanship on building sites. Code of practice for plasterboard partitions and dry linings BS 1230-1:1985-Gypsum plasterboard. Specification for plasterboard excluding materials submitted to secondary operations 00/105211 DC-prEN 13950 Gypsum plasterboard thermal/acoustic insulation composite panels. Definitions, requirements and test methods 00/107014 DC-prEN 520. Gypsum plasterboards. Definitions, requirements and test methods |
| --- | --- |
| ASTM | Ceiling Finishes C840-01-Standard Specification for Application and Finishing of Gypsum Board C1395/C1395M-98- Specification for Gypsum Ceiling Board C473-00-Standard Test Methods for Physical Testing of Gypsum Panel Products |
| AS | Ceiling Finishes AS/NZS 2588:1998- Gypsum plasterboard AS/NZS 2589.1:1997-Gypsum linings in residential and light commercial construction - Application and finishing - Gypsum plasterboard AS/NZS 2785:2000- Suspended ceilings - Design and installation AS/NZS 2589:2007 Gypsum linings - Application and finishing AS 2590-1983 Glass fibre reinforced gypsum plasterboard (Withdrawn 24 Aug 2006) |
| SS |  |
| ISO | Ceiling Finishes ISO 6308:1980-Gypsum plasterboard; Specification ISO 768:1972 Fibre building boards -- Determination of bending strength ISO 769:1972 Fibre building boards -- Hard and medium boards -- Determination of water absorption and of swelling in thickness after immersion in water ISO 818:1975 Fibre building boards -- Definition -- Classification ISO 820:1975 Particle boards -- Definition and classification ISO 2695:1976 Fibre building boards -- Hard and medium boards for general purposes -- Quality specifications -- Appearance, shape and dimensional tolerances ISO 2696:1976 Fibre building boards -- Hard and medium boards for general purposes -- Quality specifications -- Water absorption and swelling in thickness ISO 3340:1976 Fibre building boards -- Determination of sand content ISO 3546:1976 Fibre building boards -- Determination of surface finish (roughness) ISO 3729:1976 Fibre building boards -- Determination of surface stability |

# Plumbing & sanitary

| Water Leakage of Pipes - Corrosion of Drainage Pipes | BS | BS 437:1978-Specification for cast iron spigot and socket drain pipes and fittings BS EN 877:1999-Cast iron pipes and fittings, their joints and accessories for the evacuation of water from buildings. Requirements, test methods and quality assurance BS EN ISO 11124-1:1997Preparation of steel substrates before application of paints and related products. Specifications for metallic blast-cleaning abrasives. General introduction and classification BS 5493:1977 - Code of practice for protective coating of iron and steel structures against corrosion BS 6150:2006+A1:2014 Painting of buildings. Code of practice BS 7773:1995-Code of practice for cleaning and preparation of metal surfaces |  |
| --- | --- | --- | --- |
|  | ASTM | A74-1998-Standard Specification for Cast Iron Soil Pipe and Fittings C564-1997-Standard Specification for Rubber Gaskets for Cast Iron Soil Pipe and Fittings |  |
|  | AS | AS/NZS 3500.5:2000-National Plumbing and Drainage - Domestic installations |  |
|  | SS | SS 33 : 1975 Cast iron spigot and socket soil, waste and ventilating pipes (sand cast and spun) and fitting SS 142 : 1976- Steel pipes, fittings and specials for water, gas and sewage |  |
|  | ISO | ISO 3651-1: 1998 Determination of resistance to intergranular corrosion of stainless steels -- Part 1: Austenitic and ferritic-austenitic (duplex) stainless steels -- Corrosion test in nitric acid medium by measurement of loss in mass (Huey test) ISO 437: 1982 Steel and cast iron -- Determination of total carbon content -- Combustion gravimetric method ISO 629: 1982 Steel and cast iron -- Determination of manganese content -- Spectrophotometric method ISO 671: 1982 Steel and cast iron -- Determination of sulphur content -- Combustion titrimetric method ISO 3651-2: 1998 Determination of resistance to intergranular corrosion of stainless steels -- Part 2: Ferritic,austenitic and ferritic-austenitic (duplex) stainless steels -- Corrosion test in media containing sulfuric acid ISO 4829-1: 1986 Steel and cast iron -- Determination of total silicon content -- Reduced molybdosilicate spectrophotometric method -- Part 1: Silicon contents between 0,05 and 1,0 % ISO 4934: 1980 Steel and cast iron -- Determination of sulfur content -- Gravimetric method ISO 4939: 1984 Steel and cast iron -- Determination of nickel content -- Dimethylglyoxime spectrophotometric method ISO 4940: 1985 Steel and cast iron -- Determination of nickel content -- Flame atomic absorption spectrometric method ISO 4943: 1985 Steel and cast iron -- Determination of copper content -- Flame atomic absorption spectrometric method ISO 4946: 1984 Steel and cast iron -- Determination of copper content -- 2,2'-Diquinolyl spectrophotometric method ISO 4947: 1986 Steel and cast iron -- Determination of vanadium content -- Potentiometric titration method |  |
| Pipe Leakage | BS | BS 5572:1978 - Code of practice for sanitary pipework BS 6087:1981 - Specification for flexible joints for cast iron drainpipes and fittings (BS 437) and for cast iron soil, waste and ventilating pipes and fittings (BS 416) BS 6465 Part1:1994 - Sanitary installations. Code of practice for scale of provision, selection and installation of sanitary appliances BS 6465 Part2:1996- Sanitary installations. Code of practice for space requirements for sanitary appliances BS 7543:1992Guide to durability of buildings and building elements, products and components BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS 8000-15:1990-Workmanship on building sites. Code of practice for hot and cold water services (domestic scale) |  |
|  | ASTM | A888-98e1- Standard Specification for Hubless Cast Iron Soil Pipe and Fittings for Sanitary and Storm Drain, Waste, and Vent Piping Applications D3309-96a- Standard Specification for Polybutylene (PB) Plastic Hot- and Cold-Water Distribution Systems D4396-99a- Standard Specification for Rigid Poly (Vinyl Chloride) (PVC) and Chlorinated Poly (Vinyl Chloride) (CPVC) Compounds for Plastic Pipe and Fittings Used in Nonpressure Applications |  |
|  | AS | AS/NZS 2032:2006 Installation of PVC pipe systems AS/NZS 3500.5:2000-National Plumbing and Drainage - Domestic installations |  |
|  | SS | SS 141-1996 Unplasticised PVC pipe for cold water services and industrial uses SS 213-1998 Unplasticized PVC pipes and fittings for soil, waste and vent applications |  |
|  | ISO | ISO 265-1:1988 Pipes and fittings of plastics materials -- Fittings for domestic and industrial waste pipes -- Basic dimensions : Metric series -- Part 1: Unplasticized poly(vinyl chloride) (PVC-U) ISO 3114:1977 Unplasticized polyvinyl chloride (PVC) pipes for potable water supply -- Extractability of lead and tin -- Test method ISO 3474:1976 Unplasticized polyvinyl chloride (PVC) pipes -- Specification and measurement of opacity ISO 3603:1977 Fittings for unplasticized polyvinyl chloride (PVC) pressure pipes with elastic sealing ring type joints -- Pressure test for leakproofness ISO 3633:1991 Unplasticized poly(vinyl chloride) (PVC-U) pipes and fittings for soil and waste discharge (low and high temperature) systems inside buildings – Specifications ISO/TR 4191:1989 Unplasticized polyvinyl chloride (PVC-U) pipes for water supply -- Recommended practice for laying ISO 4422-1:1996 Pipes and fittings made of unplasticized poly(vinyl chloride) (PVC-U) for water supply -- Specifications -- Part 1: General ISO 4422-2:1996 Pipes and fittings made of unplasticized poly(vinyl chloride) (PVC-U) for water supply -- Specifications -- Part 2: Pipes (with or without integral sockets) ISO 4422-3:1996 Pipes and fittings made of unplasticized poly(vinyl chloride) (PVC-U) for water supply -- Specifications -- Part 3: Fittings and joints ISO 4422-4:1997 Pipes and fittings made of unplasticized poly(vinyl chloride) (PVC-U) for water supply -- Specifications -- Part 4: Valves and ancillary equipment ISO 4422-5:1997 Pipes and fittings made of unplasticized poly(vinyl chloride) (PVC-U) for water supply -- Specifications -- Part 5: Fitness for purpose of the system ISO 4439:1979 Unplasticized polyvinyl chloride (PVC) pipes and fittings -- Determination and specification of density ISO 6455:1983 Unplasticized polyvinyl chloride (PVC) fittings with elastic sealing ring type joints for pipes under pressure -- Dimensions of laying lengths -- Metric series ISO 6594:1983 Cast iron drainage pipes and fittings -- Spigot series ISO 6992:1986 Unplasticized polyvinyl chloride (PVC-U) pipes for drinking water supply -- Extractability of cadmium and mercury occurring as impurities ISO 8283-1:1991 Plastics pipes and fittings -- Dimensions of sockets and spigots for discharge systems inside buildings -- Part 1: Unplasticized poly(vinyl chloride) (PVC-U) and chlorinated poly (vinyl chloride) (PVC-C) ISO 8283-2:1992 Plastics pipes and fittings -- Dimensions of sockets and spigots for discharge systems inside buildings -- Part 2: Polyethylene (PE) ISO 8283-3:1992 Plastics pipes and fittings -- Dimensions of sockets and spigots for discharge systems inside buildings -- Part 3: Polypropylene (PP) ISO 8283-4:1992 Plastics pipes and fittings -- Dimensions of sockets and spigots for discharge systems inside buildings -- Part 4: Acrylonitrile/butadiene/styrene (ABS) ISO 13844:2000 Plastics piping systems -- Elastomeric-sealing-ring-type socket joints of unplasticized poly(vinyl chloride) (PVC-U) for use with PVC-U pipes -- Test method for leaktightness under negative pressure ISO 13845:2015 Plastics piping systems -- Elastomeric-sealing-ring-type socket joints for use with thermoplastic pressure pipes -- Test method for leaktightness under internal pressure and with angular deflection |  |
| Water Leakage Underneath Bathtub | BS | Sanitary BS 6340:1983 Shower units. Guide on choice of shower units and their components for use in private dwellings BS 3402: 1969: Specification for quality of viterous china sanitary appliances. BS 5503-3:1990 Vitreous china washdown WC pans with horizontal outlet. Specification for WC pans with horizontal outlet for use with 7.5 L maximum flush capacity cisterns BS 5503:Part 1:1977 Vitreous china washdown WC pans with horizontal outlet. Connecting dimensions BS 5503-2:1977 Vitreous china washdown WC pans with horizontal outlet. Materials, quality, performance and dimensions other than connecting dimensions BS 5572: 1978 - Code of practice for sanitary fittings BS 6465-1:1994-Sanitary installations. Code of practice for scale of provision, selection and installation of sanitary appliances BS 6465-2:1996 - Sanitary installations. Code of practice for space requirements for sanitary appliances |  |
|  | ASTM | Sanitary fittings C448-88(1999) Standard Test Methods for Abrasion Resistance of Porcelain ENAMELS C1203-91(2002) Standard Test Method for Quantitative Determination of Alkali Resistance of a Ceramic-Glass Enamel C614-74(1999) Standard Test Method for Alkali Resistance of Porcelain ENAMELS C756-93-(1999) Standard Test Method for Cleanability of Surface Finishes C286-99 Standard Terminology Relating to PORCELAIN Enamel and Ceramic-Metal Systems C839-82(1999) Standard Test Method for Compressive Stress of PORCELAIN Enamels by Loaded-Beam Method C282-99 Standard Test Method for Acid Resistance of PORCELAIN Enamels (Citric Acid Spot Test) C810-90(2000) Standard Test Method for Nickel on Steel for PORCELAIN Enameling by X-Ray Emission Spectrometry C715-90(2000) Standard Test Method for Nickel on Steel for PORCELAIN Enameling by Photometric Analysis |  |
|  | AS | Sanitary fittings AS 1976-1992 Vitreous china used in sanitary appliances AS 3500.2.1-1996 National Plumbing and Drainage - Sanitary plumbing and drainage - Performance requirements AS/NZS 3500.2.2:1996 National Plumbing and Drainage - Sanitary plumbing and drainage - Acceptable solutions AS/NZS 3500.2.2-1996/Amdt 1-1999 National Plumbing and Drainage - Sanitary plumbing and drainage-Acceptable solutions AS 1976-1992 Vitreous china used in sanitary appliances AS 4023-1992 Non-vitreous china used in sanitary appliances |  |
|  | SS | Sanitary SS 205 : 1978: Vitreous china washdown WC pans - Dimensions and functional requirements SS 379 : 1996: Vitreous china WC pans for use with low capacity WC flushing cisterns up to 4.5L maximum SS 396 : 1997: Vitreous china WC pans for use with 6 L flush valves |  |
|  | ISO | Sanitary ISO 1772:1975 Laboratory crucibles in porcelain and silica ISO 1775:1975 Porcelain laboratory apparatus -- Requirements and methods of test ISO 2722:1997 Vitreous and porcelain enamels -- Determination of resistance to citric acid at room temperature ISO 2723:1995 Vitreous and porcelain enamels for sheet steel -- Production of specimens for testing ISO 2724:1973 Vitreous and porcelain enamels for cast iron -- Production of specimens for testing ISO 2733:1983 Vitreous and porcelain enamels -- Apparatus for testing with acid and neutral liquids and their vapours ISO 2734:1997 Vitreous and porcelain enamels -- Apparatus for testing with alkaline liquids ISO 2742:1998 Vitreous and porcelain enamels -- Determination of resistance to boiling citric acid ISO 2743:1986 Vitreous and porcelain enamels -- Determination of resistance to condensing hydrochloric acid vapour ISO 2744:1998 Vitreous and porcelain enamels -- Determination of resistance to boiling water and water vapour ISO 2745:1998 Vitreous and porcelain enamels -- Determination of resistance to hot sodium hydroxide ISO 2746:1998 Vitreous and porcelain enamels -- Enamelled articles for service under highly corrosive conditions -- High voltage test ISO 2747:1998 Vitreous and porcelain enamels -- Enamelled cooking utensils -- Determination of resistance to thermal shock ISO 4528:2000 Vitreous and porcelain enamel finishes -- Selection of test methods for vitreous and porcelain enamelled areas of articles ISO 4530:1983 Vitreous and porcelain enamelled manufactured articles -- Determination of resistance to heat ISO 4531-1:1998 Vitreous and porcelain enamels -- Release of lead and cadmium from enamelled ware in contact with food -- Part 1: Method of test ISO 4531-2:1998 Vitreous and porcelain enamels -- Release of lead and cadmium from enamelled ware in contact with food -- Part 2: Permissible limits ISO 4532:1991 Vitreous and porcelain enamels -- Determination of the resistance of enamelled articles to impact -- Pistol test ISO 4533:1983 Vitreous and porcelain enamels -- Determination of resistance to hot detergent solutions used for washing textiles ISO 4534:1980 Vitreous and porcelain enamels -- Determination of fluidity behaviour -- Fusion flow test ISO 4535:1983 Vitreous and porcelain enamels -- Apparatus for determination of resistance to hot detergent solutions used for washing textiles ISO 4791-1:1985 Laboratory apparatus -- Vocabulary relating to apparatus made essentially from glass, porcelain or vitreous silica -- Part 1: Names for items of apparatus ISO 6370-1:1991 Vitreous and porcelain enamels -- Determination of the resistance to abrasion -- Part 1: Abrasion testing apparatus ISO 6370-2:1991 Vitreous and porcelain enamels -- Determination of the resistance to abrasion -- Part 2: Loss in mass after sub-surface abrasion ISO 8289:2000 Vitreous and porcelain enamels -- Low voltage test for detecting and locating defects ISO 8290:1998 Vitreous and porcelain enamels -- Determination of resistance to sulfuric acid at room temperature ISO 8291:1986 Vitreous and porcelain enamels -- Method of test of self-cleaning properties ISO 13804:1999 Vitreous and porcelain enamels for aluminium -- Production of specimens for testing ISO 13805:1999 Vitreous and porcelain enamels for aluminium -- Determination of the adhesion of enamels onaluminium under the action of electrolytic solution (spall test) ISO 13806:1999 Vitreous and porcelain enamels -- Corrosion tests in closed systems ISO 13807:1999 Vitreous and porcelain enamels -- Determination of crack formation temperature in the thermal shock testing of enamels for the chemical industry ISO 15695:2000 Vitreous and porcelain enamels -- Determination of scratch resistance of enamel finishes |  |
| Corrosion of Pipes -Water leaks | BS | BS 437:1978-Specification for cast iron spigot and socket drain pipes and fittings BS EN 877:1999-Cast iron pipes and fittings, their joints and accessories for the evacuation of water from buildings. Requirements, test methods and quality assurance BS 7773:1995-Code of practice for cleaning and preparation of metal surfaces BS EN ISO 11124-1:1997-Preparation of steel substrates before application of paints and related products. Specifications for metallic blast-cleaning abrasives. General introduction and classification. |  |
|  | ASTM | A74-98-Standard Specification for Cast Iron Soil Pipe and Fittings C564-97-Standard Specification for Rubber Gaskets for Cast Iron Soil Pipe and Fittings |  |
|  | AS | AS/NZS 3500.5:2000-National Plumbing and Drainage - Domestic installations |  |
|  | SS | SS 142 : 1976- Steel pipes, fittings and specials for water, gas and sewage |  |
|  | ISO | ISO 437: 1982 Steel and cast iron -- Determination of total carbon content -- Combustion gravimetric method ISO 629: 1982 Steel and cast iron -- Determination of manganese content -- Spectrophotometric method ISO 671: 1982 Steel and cast iron -- Determination of sulphur content -- Combustion titrimetric method ISO 3651-1: 1998 Determination of resistance to intergranular corrosion of stainless steels -- Part 1: Austenitic and ferritic-austenitic (duplex) stainless steels -- Corrosion test in nitric acid medium by measurement of loss in mass (Huey test) ISO 3651-2: 1998 Determination of resistance to intergranular corrosion of stainless steels -- Part 2: Ferritic,austenitic and ferritic-austenitic (duplex) stainless steels -- Corrosion test in media containing sulfuric acid ISO 4829-1: 1986 Steel and cast iron -- Determination of total silicon content -- Reduced molybdosilicate spectrophotometric method -- Part 1: Silicon contents between 0,05 and 1,0 % ISO 4934: 1980 Steel and cast iron -- Determination of sulfur content -- Gravimetric method ISO 4939: 1984 Steel and cast iron -- Determination of nickel content -- Dimethylglyoxime spectrophotometric method ISO 4940: 1985 Steel and cast iron -- Determination of nickel content -- Flame atomic absorption spectrometric method ISO 4943: 1985 Steel and cast iron -- Determination of copper content -- Flame atomic absorption spectrometric method ISO 4946: 1984 Steel and cast iron -- Determination of copper content -- 2,2'-Diquinolyl spectrophotometric method S ISO 4947: 1986 Steel and cast iron -- Determination of vanadium content -- Potentiometric titration method |  |
| Corrosion of Drainage Pipes | BS | BS 437:1978-Specification for cast iron spigot and socket drain pipes and fittings BS EN 877:1999-Cast iron pipes and fittings, their joints and accessories for the evacuation of water from buildings. Requirements, test methods and quality assurance BS EN ISO 11124-1:1997Preparation of steel substrates before application of paints and related products. Specifications for metallic blast-cleaning abrasives. General introduction and classification BS 5493:1977 - Code of practice for protective coating of iron and steel structures against corrosion BS 6150:2006+A1:2014 Painting of buildings. Code of practice BS 7773:1995-Code of practice for cleaning and preparation of metal surfaces |  |
|  | ASTM | A74-1998-Standard Specification for Cast Iron Soil Pipe and Fittings C564-1997-Standard Specification for Rubber Gaskets for Cast Iron Soil Pipe and Fittings |  |
|  | AS | AS/NZS 3500.5:2000-National Plumbing and Drainage - Domestic installations |  |
|  | SS | SS 33 : 1975 Cast iron spigot and socket soil, waste and ventilating pipes (sand cast and spun) and fitting SS 142 : 1976- Steel pipes, fittings and specials for water, gas and sewage |  |
|  | ISO | ISO 3651-1: 1998 Determination of resistance to intergranular corrosion of stainless steels -- Part 1: Austenitic and ferritic-austenitic (duplex) stainless steels -- Corrosion test in nitric acid medium by measurement of loss in mass (Huey test) ISO 437: 1982 Steel and cast iron -- Determination of total carbon content -- Combustion gravimetric method ISO 629: 1982 Steel and cast iron -- Determination of manganese content -- Spectrophotometric method ISO 671: 1982 Steel and cast iron -- Determination of sulphur content -- Combustion titrimetric method ISO 3651-2: 1998 Determination of resistance to intergranular corrosion of stainless steels -- Part 2: Ferritic,austenitic and ferritic-austenitic (duplex) stainless steels -- Corrosion test in media containing sulfuric acid ISO 4829-1: 1986 Steel and cast iron -- Determination of total silicon content -- Reduced molybdosilicate spectrophotometric method -- Part 1: Silicon contents between 0,05 and 1,0 % ISO 4934: 1980 Steel and cast iron -- Determination of sulfur content -- Gravimetric method ISO 4939: 1984 Steel and cast iron -- Determination of nickel content -- Dimethylglyoxime spectrophotometric method ISO 4940: 1985 Steel and cast iron -- Determination of nickel content -- Flame atomic absorption spectrometric method ISO 4943: 1985 Steel and cast iron -- Determination of copper content -- Flame atomic absorption spectrometric method ISO 4946: 1984 Steel and cast iron -- Determination of copper content -- 2,2'-Diquinolyl spectrophotometric method ISO 4947: 1986 Steel and cast iron -- Determination of vanadium content -- Potentiometric titration method |  |
| Pitting corrosion | BS | Paints BS EN 12329:2000 Corrosion protection of metals. Electrodeposited coatings of zinc with supplementary treatment on iron or steel Plumbing BS 41:1973 Specification for cast iron spigot and socket flue or smoke pipes and fittings BS 78-2:1965 Specification for cast iron spigot and socket pipes (vertically cast) and spigot and socket fittings. Fittings BS 143 and 1256:2000 Threaded pipe fittings in malleable cast iron and cast copper alloy BS 2035:1966 Specification for cast iron flanged pipes and flanged fittings BS EN 545 : 1995 Ductile iron pipes, fittings, accessories and their joints for water pipelines. Requirements and test methods BS 4772:1980 Specification for ductile iron pipes and fittings |  |
|  | ASTM | Paints A926-97 Standard Test Method for Comparing the Abrasion Resistance of Coating Materials for Corrugated METAL Pipe ASTM D610 - 08(2012) Standard Practice for Evaluating Degree of Rusting on Painted Steel Surfaces ASTM D1654 - 08 Standard Test Method for Evaluation of Painted or Coated Specimens Subjected to Corrosive Environments ASTM D2247 - 15 Standard Practice for Testing Water Resistance of Coatings in 100 % Relative HumidityASTM D2244 - 15a Standard Practice for Calculation of Color Tolerances and Color Differences from Instrumentally Measured Color Coordinates ASTM D2247 - 15 Standard Practice for Testing Water Resistance of Coatings in 100 % Relative Humidity Plumbing A888-98e1 Standard Specification for Hubless Cast Iron Soil Pipe and Fittings for Sanitary and Storm Drain, Waste, and Vent Piping Applications C1277-97 Standard Specification for Shielded Couplings Joining Hubless Cast Iron Soil Pipe and Fittings C564-97 Standard Specification for Rubber Gaskets for Cast Iron Soil Pipe and Fittings A438-80(1997) Standard Test Method for Transverse Testing of Gray Cast Iron A74-98 Standard Specification for Cast Iron Soil Pipe and Fittings A999/A999M-01 Standard Specification for General Requirements for Alloy and Stainless Steel Pipe A790/A790M-02a Standard Specification for Seamless and Welded Ferritic/Austenitic Stainless Steel Pipe A377-99 Standard Index of Specifications for Ductile-Iron Pressure Pipe A674-00 Standard Practice for Polyethylene Encasement for Ductile Iron Pipe for Water or Other Liquids |  |
|  | AS | Paints AS 3730.21-1993 Guide to the properties of paints for buildings - Primer - Solvent-borne - For ferrous metallic surfaces Plumbing AS 1631-1994 Cast grey and ductile iron non-pressure pipes and fittings |  |
|  | SS | Paints SS 542 : 2008 Code of practice for painting of buildings SS 5 Series - Methods of test for paints, varnishes and related materials SS 7 : 1998 Paint - Finishing, gloss enamel SS 34 : 1998 Undercoat paint for gloss enamel SS 150 : 1998 Emulsion paints for decorative purposes Plumbing SS 33 : 1975 Cast iron spigot and socket soil, waste and ventilating pipes (sand cast and spun) and fitting |  |
|  | ISO | Paints ISO 11997-1:1998 Paints and varnishes -- Determination of resistance to cyclic corrosion conditions -- Part 1: Wet (salt fog)/dry/humidity ISO 11997-2:2000 Paints and varnishes -- Determination of resistance to cyclic corrosion conditions -- Part 2: Wet (salt fog)/dry/humidity/UV light ISO 11998:1998 Paints and varnishes -- Determination of wet-scrub resistance and cleanability of coatings ISO 7784-1:1997 Paints and varnishes -- Determination of resistance to abrasion -- Part 1: Rotating abrasive-paper-covered wheel method ISO 7784-2:1997 Paints and varnishes -- Determination of resistance to abrasion -- Part 2: Rotating abrasive rubber wheel method ISO 7784-3:2000 Paints and varnishes -- Determination of resistance to abrasion -- Part 3: Reciprocating test panel method ISO 8501-1:1988 Preparation of steel substrates before application of paints and related products -- Visual assessment of surface cleanliness -- Part 1: Rust grades and preparation grades of uncoated steel substrates and of steel substrates after overall removal of previous coatings Plumbing ISO 13:1978 Grey iron pipes, special castings and grey iron parts for pressure main lines ISO 2531:1998 Ductile iron pipes, fittings, accessories and their joints for water or gas applications ISO 4179:1985 Ductile iron pipes for pressure and non-pressure pipelines -- Centrifugal cement mortar lining -- General requirements ISO 6594:1983 Cast iron drainage pipes and fittings -- Spigot series ISO 8179-1:1995 Ductile iron pipes -- External zinc coating -- Part 1: Metallic zinc with finishing layer ISO 8179-2:1995 Ductile iron pipes -- External zinc coating -- Part 2: Zinc rich paint with finishing layer ISO 8180:1985 Ductile iron pipes -- Polyethylene sleeving ISO 10803:1999 Design method for ductile iron pipes |  |
| Mastic Failure - Corrosion of Drainage Pipes | BS | BS 437:1978-Specification for cast iron spigot and socket drain pipes and fittings BS EN 877:1999-Cast iron pipes and fittings, their joints and accessories for the evacuation of water from buildings. Requirements, test methods and quality assurance BS EN ISO 11124-1:1997Preparation of steel substrates before application of paints and related products. Specifications for metallic blast-cleaning abrasives. General introduction and classification BS 5493:1977 - Code of practice for protective coating of iron and steel structures against corrosion BS 6150:2006+A1:2014 Painting of buildings. Code of practice BS 7773:1995-Code of practice for cleaning and preparation of metal surfaces |  |
|  | ASTM | A74-1998-Standard Specification for Cast Iron Soil Pipe and Fittings C564-1997-Standard Specification for Rubber Gaskets for Cast Iron Soil Pipe and Fittings |  |
|  | AS | AS/NZS 3500.5:2000-National Plumbing and Drainage - Domestic installations |  |
|  | SS | SS 33 : 1975 Cast iron spigot and socket soil, waste and ventilating pipes (sand cast and spun) and fitting SS 142 : 1976- Steel pipes, fittings and specials for water, gas and sewage |  |
|  | ISO | ISO 3651-1: 1998 Determination of resistance to intergranular corrosion of stainless steels -- Part 1: Austenitic and ferritic-austenitic (duplex) stainless steels -- Corrosion test in nitric acid medium by measurement of loss in mass (Huey test) ISO 437: 1982 Steel and cast iron -- Determination of total carbon content -- Combustion gravimetric method ISO 629: 1982 Steel and cast iron -- Determination of manganese content -- Spectrophotometric method ISO 671: 1982 Steel and cast iron -- Determination of sulphur content -- Combustion titrimetric method ISO 3651-2: 1998 Determination of resistance to intergranular corrosion of stainless steels -- Part 2: Ferritic,austenitic and ferritic-austenitic (duplex) stainless steels -- Corrosion test in media containing sulfuric acid ISO 4829-1: 1986 Steel and cast iron -- Determination of total silicon content -- Reduced molybdosilicate spectrophotometric method -- Part 1: Silicon contents between 0,05 and 1,0 % ISO 4934: 1980 Steel and cast iron -- Determination of sulfur content -- Gravimetric method ISO 4939: 1984 Steel and cast iron -- Determination of nickel content -- Dimethylglyoxime spectrophotometric method ISO 4940: 1985 Steel and cast iron -- Determination of nickel content -- Flame atomic absorption spectrometric method ISO 4943: 1985 Steel and cast iron -- Determination of copper content -- Flame atomic absorption spectrometric method ISO 4946: 1984 Steel and cast iron -- Determination of copper content -- 2,2'-Diquinolyl spectrophotometric method ISO 4947: 1986 Steel and cast iron -- Determination of vanadium content -- Potentiometric titration method |  |
| Pipe Leakage | BS | BS 5572:1978 - Code of practice for sanitary pipework BS 6087:1981 - Specification for flexible joints for cast iron drainpipes and fittings (BS 437) and for cast iron soil, waste and ventilating pipes and fittings (BS 416) BS 6465 Part1:1994 - Sanitary installations. Code of practice for scale of provision, selection and installation of sanitary appliances BS 6465 Part2:1996- Sanitary installations. Code of practice for space requirements for sanitary appliances BS 7543:1992Guide to durability of buildings and building elements, products and components BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS 8000-15:1990-Workmanship on building sites. Code of practice for hot and cold water services (domestic scale) |  |
|  | ASTM | A888-98e1- Standard Specification for Hubless Cast Iron Soil Pipe and Fittings for Sanitary and Storm Drain, Waste, and Vent Piping Applications D3309-96a- Standard Specification for Polybutylene (PB) Plastic Hot- and Cold-Water Distribution Systems D4396-99a- Standard Specification for Rigid Poly (Vinyl Chloride) (PVC) and Chlorinated Poly (Vinyl Chloride) (CPVC) Compounds for Plastic Pipe and Fittings Used in Nonpressure Applications |  |
|  | AS | AS/NZS 2032:2006 Installation of PVC pipe systems AS/NZS 3500.5:2000-National Plumbing and Drainage - Domestic installations |  |
|  | SS | SS 141-1996 Unplasticised PVC pipe for cold water services and industrial uses SS 213-1998 Unplasticized PVC pipes and fittings for soil, waste and vent applications |  |
|  | ISO | ISO 265-1:1988 Pipes and fittings of plastics materials -- Fittings for domestic and industrial waste pipes -- Basic dimensions : Metric series -- Part 1: Unplasticized poly(vinyl chloride) (PVC-U) ISO 3114:1977 Unplasticized polyvinyl chloride (PVC) pipes for potable water supply -- Extractability of lead and tin -- Test method ISO 3474:1976 Unplasticized polyvinyl chloride (PVC) pipes -- Specification and measurement of opacity ISO 3603:1977 Fittings for unplasticized polyvinyl chloride (PVC) pressure pipes with elastic sealing ring type joints -- Pressure test for leakproofness ISO 3633:1991 Unplasticized poly(vinyl chloride) (PVC-U) pipes and fittings for soil and waste discharge (low and high temperature) systems inside buildings – Specifications ISO/TR 4191:1989 Unplasticized polyvinyl chloride (PVC-U) pipes for water supply -- Recommended practice for laying ISO 4422-1:1996 Pipes and fittings made of unplasticized poly(vinyl chloride) (PVC-U) for water supply -- Specifications -- Part 1: General ISO 4422-2:1996 Pipes and fittings made of unplasticized poly(vinyl chloride) (PVC-U) for water supply -- Specifications -- Part 2: Pipes (with or without integral sockets) ISO 4422-3:1996 Pipes and fittings made of unplasticized poly(vinyl chloride) (PVC-U) for water supply -- Specifications -- Part 3: Fittings and joints ISO 4422-4:1997 Pipes and fittings made of unplasticized poly(vinyl chloride) (PVC-U) for water supply -- Specifications -- Part 4: Valves and ancillary equipment ISO 4422-5:1997 Pipes and fittings made of unplasticized poly(vinyl chloride) (PVC-U) for water supply -- Specifications -- Part 5: Fitness for purpose of the system ISO 4439:1979 Unplasticized polyvinyl chloride (PVC) pipes and fittings -- Determination and specification of density ISO 6455:1983 Unplasticized polyvinyl chloride (PVC) fittings with elastic sealing ring type joints for pipes under pressure -- Dimensions of laying lengths -- Metric series ISO 6594:1983 Cast iron drainage pipes and fittings -- Spigot series ISO 6992:1986 Unplasticized polyvinyl chloride (PVC-U) pipes for drinking water supply -- Extractability of cadmium and mercury occurring as impurities ISO 8283-1:1991 Plastics pipes and fittings -- Dimensions of sockets and spigots for discharge systems inside buildings -- Part 1: Unplasticized poly(vinyl chloride) (PVC-U) and chlorinated poly (vinyl chloride) (PVC-C) ISO 8283-2:1992 Plastics pipes and fittings -- Dimensions of sockets and spigots for discharge systems inside buildings -- Part 2: Polyethylene (PE) ISO 8283-3:1992 Plastics pipes and fittings -- Dimensions of sockets and spigots for discharge systems inside buildings -- Part 3: Polypropylene (PP) ISO 8283-4:1992 Plastics pipes and fittings -- Dimensions of sockets and spigots for discharge systems inside buildings -- Part 4: Acrylonitrile/butadiene/styrene (ABS) ISO 13844:2000 Plastics piping systems -- Elastomeric-sealing-ring-type socket joints of unplasticized poly(vinyl chloride) (PVC-U) for use with PVC-U pipes -- Test method for leaktightness under negative pressure ISO 13845:2015 Plastics piping systems -- Elastomeric-sealing-ring-type socket joints for use with thermoplastic pressure pipes -- Test method for leaktightness under internal pressure and with angular deflection |  |
| Staining- Fittings | BS | Fittings BS 1125:1987-Specification for WC flushing cisterns (including dual flush cisterns and flush pipes) BS 1212-4:1991-Float operated valves. Specification for compact type float operated valves for WC flushing cisterns (including floats) BS 1254:1981-Specification for WC seats (plastics) BS 3402:1969-Specification for quality of vitreous china sanitary appliances BS 5503-3:1990-Vitreous china washdown WC pans with horizontal outlet. Specification for WC pans with horizontal outlet for use with 7.5 L maximum flush capacity cisterns BS 5504-1:1977, EN 34:1992-Wall hung WC pan. Wall hung WC pan with close coupled cistern. Connecting dimensions BS 5504-4:1990-Wall hung WC pan. Specification for wall hung WC pans for use with 7.5 L maximum flush capacity cisterns BS 5627:1984-Specification for plastics connectors for use with horizontal outlet vitreous china WC pans BS 6465-1:1994-Sanitary installations. Code of practice for scale of provision, selection and installation of sanitary appliances BS 6465-2:1996-Sanitary installations. Code of practice for space requirements for sanitary appliances |  |
|  | ASTM | Fittings C242-01 Standard Terminology of Ceramic Whitewares and Related Products C322-82(1997)e1 Standard Practice for Sampling Ceramic Whiteware Clays C323-56(1999) Standard Test Methods for Chemical Analysis of Ceramic Whiteware Clays C324-01 Standard Test Method for Free Moisture in Ceramic Whiteware Clays C325-81(1997)e1 Standard Test Method for Wet Sieve Analysis of Ceramic Whiteware Clays C326-82(1997)e1 Standard Test Method for Drying and Firing Shrinkages of Ceramic Whiteware Clays C329-88(1999) Standard Test Method for Specific Gravity of Fired Ceramic Whiteware Materials C370-88(1999) Standard Test Method for Moisture Expansion of Fired Whiteware Products C371-89(1999) Standard Test Method for Wire-Cloth Sieve Analysis of Nonplastic Ceramic Powders C372-94(2001) Standard Test Method for Linear Thermal Expansion of Porcelain Enamel and Glaze Frits and Fired Ceramic Whiteware Products by the Dilatometer Method C373-88(1999) Standard Test Method for Water Absorption, Bulk Density, Apparent Porosity, and Apparent Specific Gravity of Fired Whiteware Products C408-88(1999) Standard Test Method for Thermal Conductivity of Whiteware Ceramics C448-88(1999) Standard Test Methods for Abrasion Resistance of Porcelain Enamels C614-74(1999) Standard Test Method for Alkali Resistance of Porcelain Enamels |  |
|  | AS | Fittings AS 1172.2-1999-Water closet (WC) pans of 6/3 L capacity or proven equivalent - Cisterns AS 1172.1-1993-Water closets of 6/3 L capacity - Pans AS 1976-1992 Vitreous china used in sanitary appliances |  |
|  | SS | Fittings SS 42 : 1971- Quality of vitreous china sanitary appliances SS 378: 1996 Low capacity WC flushing cisterns up to 4.5 L maximum SS 379: 1996 Vitreous china WC pans for use with low capacity flushing cisterns up to 4.5 L maximum SS 396: 1997 Vitreous china WC pans for use with 6 litre flush valves |  |
|  | ISO | Fittings ISO 1772:1975 Laboratory crucibles in porcelain and silica ISO 1775: 1975 Porcelain laboratory apparatus -- Requirements and methods of test ISO 2722: 1997 Vitreous and porcelain enamels -- Determination of resistance to citric acid at room temperature ISO 2723: 1995 Vitreous and porcelain enamels for sheet steel -- Production of specimens for testing ISO 2724: 1973 Vitreous and porcelain enamels for cast iron -- Production of specimens for testing ISO 2733: 1983 Vitreous and porcelain enamels -- Apparatus for testing with acid and neutral liquids and their vapours ISO 2734: 1997 Vitreous and porcelain enamels -- Apparatus for testing with alkaline liquids ISO 2742: 1998 Vitreous and porcelain enamels -- Determination of resistance to boiling citric acid ISO 2743: 1986 Vitreous and porcelain enamels -- Determination of resistance to condensing hydrochloric acid vapour ISO 2744: 1998 Vitreous and porcelain enamels -- Determination of resistance to boiling water and water vapour ISO 2745: 1998 Vitreous and porcelain enamels -- Determination of resistance to hot sodium hydroxide ISO 4531-1: 1998 Vitreous and porcelain enamels -- Release of lead and cadmium from enamelled ware in contact with food -- Part 1: Method of test ISO 4531-2: 1998 Vitreous and porcelain enamels -- Release of lead and cadmium from enamelled ware in contact with food -- Part 2: Permissible limits ISO 4532: 1991 Vitreous and porcelain enamels -- Determination of the resistance of enamelled articles to impact -- Pistol test ISO 4533: 1983 Vitreous and porcelain enamels -- Determination of resistance to hot detergent solutions used for washing textiles ISO 4534: 1980 Vitreous and porcelain enamels -- Determination of fluidity behaviour -- Fusion flow test ISO 4535: 1983 Vitreous and porcelain enamels -- Apparatus for determination of resistance to hot detergent solutions used for washing textiles ISO 4791-1:1985 Laboratory apparatus -- Vocabulary relating to apparatus made essentially from glass, porcelain or vitreous silica -- Part 1: Names for items of apparatus ISO 6370-1: 1991 Vitreous and porcelain enamels -- Determination of the resistance to abrasion -- Part 1: Abrasion testing apparatus ISO 6370-2: 1991 Vitreous and porcelain enamels -- Determination of the resistance to abrasion -- Part 2: Loss in mass after sub-surface abrasion ISO 8289: 2000 Vitreous and porcelain enamels -- Low voltage test for detecting and locating defects ISO 8290: 1998 Vitreous and porcelain enamels -- Determination of resistance to sulfuric acid at room temperature ISO 8291: 1986 Vitreous and porcelain enamels -- Method of test of self-cleaning properties ISO 13806: 1999 Vitreous and porcelain enamels -- Corrosion tests in closed systems ISO 15695: 2000 Vitreous and porcelain enamels -- Determination of scratch resistance of enamel finishes |  |

# BASEMENT

# Structural floor/wall

## Water Leak Through Cracks

## Water Leak Through Joints

## Water Leak Through Porous Structures

| BS | Concrete BS 12-Specification for Portland Cements BS ISO 3310-2:2013 Test sieves. Technical requirements and testing. Test sieves of perforated metal plate/ BS 410-1:2000, ISO 3310-1:2000 Test sieves. Technical requirements and testing. Test sieves of metal wire cloth BS 882-Specification for aggregates from natural sources for concrete BS EN 12878:2014 Pigments for the colouring of building materials based on cement and/or lime. Specifications and methods of test BS 4550-6:1978 Methods of testing cement. Standard sand for mortar cubess BS 4551-Methods of testing mortars, screeds and plasters BS EN 998-1:2003-Specification for mortar for masonry. Rendering and plastering mortar/ BS EN 998-2:2003-Specification for mortar for masonry. Masonry mortar BS EN 934-3:2009+A1:2012 Admixtures for concrete, mortar and grout. Admixtures for masonry mortar. Definitions, requirements, conformity and marking and labelling/ BS EN 480-4:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of bleeding of concrete/ BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity/BS EN 480-11:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of air void characteristics in hardened concrete/BS EN 480-12:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of the alkali content of admixtures/BS EN 480-1:2006+A1:2011 Admixtures for concrete, mortar and grout. Test methods. Reference concrete and reference mortar for testing/BS EN 934-2:2009+A1:2012 Admixtures for concrete, mortar and grout . Concrete admixtures. Definitions, requirements, conformity, marking and labelling/BS EN 480-8:2012 Admixtures for concrete, mortar and grout. Test methods. Determination of the conventional dry material content/BS EN 480-10:2009 Admixtures for concrete, mortar and grout. Test methods. Determination of water soluble chloride content/BS EN 480-6:2005 Admixtures for concrete, mortar and grout. Test methods. Infrared analysis/BS EN 480-5:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of capillary absorption/BS EN 480-2:2006 Admixtures for concrete, mortar and grout. Test methods. Determination of setting time/ BS EN 998-2:2010 Specification for mortar for masonry. Masonry mortar/ BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar BS 6319-3:1990-Testing of resin and polymer/cement compositions for use in construction. Methods for measurement ofmodulus of elasticity in flexure and flexural strength BS 6319-12:1992-Testing of resin and polymer/cement compositions for use in construction. Methods for measurement ofunrestrained linear shrinkage and coefficient of thermal expansion PD 6678:2005 Guide to the specification of masonry mortar BS EN 480-1:2014 Admixtures for concrete, mortar and grout. Test methods. Reference concrete and reference mortar for testing BS EN 480-2:2006 Admixtures for concrete, mortar and grout. Test methods. Determination of setting time BS EN 480-4:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of bleeding of concrete BS EN 480-5:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of capillary absorption BS EN 480-6:2005 Admixtures for concrete, mortar and grout. Test methods. Infrared analysis BS EN 480-8:2012 Admixtures for concrete, mortar and grout. Test methods. Determination of the conventional dry material content BS EN 480-10:2009 Admixtures for concrete, mortar and grout. Test methods. Determination of water soluble chloride content BS EN 480-11:1999-Admixtures for concrete, mortar and grout. Test methods. Determination of air void characteristics inhardened concrete BS EN 480-12:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of the alkali content of admixtures BS EN 934-2:2001-Admixtures for concrete, mortar and grout. Concrete admixtures. Definitions, requirements, conformity,marking and labelling BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity BS 8000:Part 9: 1989- Workmanship on building sites- Code of practice for cement/ sand floor screeds and concrete floortoppings Waterproofing BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles |
| --- | --- |
| ASTM | Concrete C33: 2001a-Standard Specification for Concrete Aggregates C87: 1983(1995)e1-Standard Test Method for Effect of Organic Impurities in Fine Aggregate on Strength of Mortar ASTM C94 / C94M - 15b Standard Specification for Ready-Mixed Concrete C109/C109M: 2001-Standard Test Method for Compressive Strength of Hydraulic Cement Mortars (Using 2-in. or [50-mm] Cube Specimens) C115: 1996a-Standard Test Method for Fineness of Portland Cement by the Turbidimeter C125: 2000ae1-Standard Terminology Relating to Concrete and Concrete Aggregates C136-01- Standard Test Method for Sieve Analysis of Fine and Coarse Aggregates C150: 2000-Standard Specification for Portland Cement C295: 1998-Standard Guide for Petrographic Examination of Aggregates for Concrete C305: 1999-Practice for Mechanical Mixing of Hydraulic Cement Pastes and Mortars of Plastic Consistency C348: 1997-Standard Test Method for Flexural Strength of Hydraulic-Cement Mortars C349: 1997-Standard Test Method for Compressive Strength of Hydraulic-Cement Mortars (Using Portions of PrismsBroken in Flexure) C452: 1995-Standard Test Method for Potential Expansion of Portland-Cement Mortars Exposed to Sulfate C490: 2000a-Standard Practice for Use of Apparatus for the Determination of Length Change of Hardened Cement Paste,Mortar, and Concrete C494/ 494M: 2000-Specification for Chemical Admixtures for Concrete ASTM C597 - 09 Standard Test Method for Pulse Velocity Through Concrete ASTM C642 - 13 Standard Test Method for Density, Absorption, and Voids in Hardened Concrete C778: 2000-Standard Specification for Standard Sand ASTM C805 / C805M - 13a Standard Test Method for Rebound Number of Hardened Concrete C1038: 2001-Standard Test Method for Expansion of Hydraulic Cement Mortar Bars Stored in Water Waterproofing ASTM D5295 / D5295M - 14 Standard Guide for Preparation of Concrete Surfaces for Adhered (Bonded) Membrane Waterproofing Systems ASTM D5957 - 98(2013) Standard Guide for Flood Testing Horizontal Waterproofing Installations ASTM D6135-05 Standard Practice for Application of Self-Adhering Modified Bituminous Waterproofing (Withdrawn 2014) |
| AS | Concrete AS 1012.1:2014 Methods of testing concrete - Sampling of concrete AS 1012.10-2000 : Methods of testing concrete - Determination of indirect tensile strength of concrete cylinders (Brasil or splitting test) AS 1012.18-1996 : Methods of testing concrete - Determination of setting time of fresh concrete, mortar and grout by penetration resistance concreteAS 1379-2007/Amdt 1-2009 Specification and supply of concrete - AS 1379-2007/Amdt 2-2015 Specification and supply of concrete AS 1478.1-2000 Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 2072-1977 : Methods for the sampling of expanding admixtures for concrete, mortar and grout AS 2073-1977 : Methods for the testing of expanding admixtures for concrete, mortar and grout AS 2350.12-1995 : Methods of testing portland and blended cements - Preparation of a standard mortar and moulding of specimens AS 2350.13-1995 : Methods of testing portland and blended cements - Determination of drying shrinkage of portland and blended cement mortars AS 2350.13-1995/Amdt 1-1997 : Methods of testing portland and blended cements - Determination of drying shrinkage of portland and blended cement mortars AS 2350.14-1996 : Methods of testing portland and blended cements - Length change of portland and blended cement mortars exposed to a sulfate solution AS 2550.15-1994 Cranes - Safe use - Concrete placing equipment AS 3600-2009 Concrete structures AS 3648-1993 : Specification and methods of test for packaged concrete mixes |
| SS | Concrete SS EN 197 - 1 : 2014 Cement - Part 1 : Composition, specifications and conformity criteria for common cement/ SS EN 197 - 2 : 2014 Cement - Part 2 : Conformity evaluation SS EN 12620 : 2008 Specification for aggregates for concrete SS EN 206 : 2014 Concrete. Specification, performance, production and conformity/ SS 544 series - Concrete - Complementary Singapore Standard to SS EN 206-1 SS EN 934 - 1 : 2008 (2015) Admixtures for concrete, mortar and grout - Common requirements/ SS EN 934 - 2 : 2015 Admixtures for concrete, mortar and grout - Part 2 : Definitions, requirements – Concrete admixtures – Definitions, requirements, conformity, marking and labelling/ SS EN 934 - 6 : 2008 (2015) Admixtures for concrete, mortar and grout - Sampling, conformity control and evaluation of conformity Waterproofing SS CP 82:1999- Code of practice- waterproofing of reinforced concrete buildings |
| ISO | Concrete ISO 1920-3:2004 Testing of concrete -- Part 3: Making and curing test specimens ISO 1920-1:2004 Testing of concrete -- Part 1: Sampling of fresh concrete ISO 1920-3:2004 Testing of concrete -- Part 3: Making and curing test specimens ISO 3766:2003 Construction drawings -- Simplified representation of concrete reinforcement ISO 3893:1977 Concrete -- Classification by compressive strength ISO 1920-4:2005 Testing of concrete -- Part 4: Strength of hardened concrete ISO 1920-4:2005 Testing of concrete -- Part 4: Strength of hardened concrete ISO 4103:1979 Concrete -- Classification of consistency ISO 1920-4:2005 Testing of concrete -- Part 4: Strength of hardened concrete ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 4635:2011 Rubber, vulcanized -- Preformed joint seals for use between concrete paving sections of highways -- Specification ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 6274:1982 Concrete -- Sieve analysis of aggregates ISO 1920-5:2004 Testing of concrete -- Part 5: Properties of hardened concrete other than strength ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 6782:1982 Aggregates for concrete -- Determination of bulk density ISO 6783:1982 Coarse aggregates for concrete -- Determination of particle density and water absorption -- Hydrostatic balance method ISO 1920-10:2010 Testing of concrete -- Part 10: Determination of static modulus of elasticity in compression ISO 7033:1987 Fine and coarse aggregates for concrete -- Determination of the particle mass-per-volume and water absorption -- Pycnometer method Reinforcement ISO 6934-1: 1991 Steel for the prestressing of concrete -- Part 1: General requirements ISO 6934-2: 1991 Steel for the prestressing of concrete -- Part 2: Cold-drawn wire ISO 6934-3: 1991 Steel for the prestressing of concrete -- Part 3: Quenched and tempered wire ISO 6934-4: 1991 Steel for the prestressing of concrete -- Part 4: Strand ISO 6934-5: 1991 Steel for the prestressing of concrete -- Part 5: Hot-rolled steel bars with or without subsequent processing ISO 6935-1: 1991 Steel for the reinforcement of concrete -- Part 1: Plain bars ISO 6935-2: 1991 Steel for the reinforcement of concrete -- Part 2: Ribbed bars ISO 6935-3:1992 Steel for the reinforcement of concrete -- Part 3: Welded fabric. |

## Water Leak Through Pipe Penetrations - Efflorescence

| BS | Concrete BS 12-Specification for Portland Cements BS ISO 3310-2:2013 Test sieves. Technical requirements and testing. Test sieves of perforated metal plate/ BS 410-1:2000, ISO 3310-1:2000 Test sieves. Technical requirements and testing. Test sieves of metal wire cloth BS 882-Specification for aggregates from natural sources for concrete BS EN 12878:2014 Pigments for the colouring of building materials based on cement and/or lime. Specifications and methods of test BS 4550-6:1978 Methods of testing cement. Standard sand for mortar cubess BS 4551-Methods of testing mortars, screeds and plasters BS EN 998-1:2003-Specification for mortar for masonry. Rendering and plastering mortar/ BS EN 998-2:2003-Specification for mortar for masonry. Masonry mortar BS EN 934-3:2009+A1:2012 Admixtures for concrete, mortar and grout. Admixtures for masonry mortar. Definitions, requirements, conformity and marking and labelling/ BS EN 480-4:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of bleeding of concrete/ BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity/BS EN 480-11:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of air void characteristics in hardened concrete/BS EN 480-12:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of the alkali content of admixtures/BS EN 480-1:2006+A1:2011 Admixtures for concrete, mortar and grout. Test methods. Reference concrete and reference mortar for testing/BS EN 934-2:2009+A1:2012 Admixtures for concrete, mortar and grout . Concrete admixtures. Definitions, requirements, conformity, marking and labelling/BS EN 480-8:2012 Admixtures for concrete, mortar and grout. Test methods. Determination of the conventional dry material content/BS EN 480-10:2009 Admixtures for concrete, mortar and grout. Test methods. Determination of water soluble chloride content/BS EN 480-6:2005 Admixtures for concrete, mortar and grout. Test methods. Infrared analysis/BS EN 480-5:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of capillary absorption/BS EN 480-2:2006 Admixtures for concrete, mortar and grout. Test methods. Determination of setting time/ BS EN 998-2:2010 Specification for mortar for masonry. Masonry mortar/ BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar BS 6319-3:1990-Testing of resin and polymer/cement compositions for use in construction. Methods for measurement ofmodulus of elasticity in flexure and flexural strength BS 6319-12:1992-Testing of resin and polymer/cement compositions for use in construction. Methods for measurement ofunrestrained linear shrinkage and coefficient of thermal expansion PD 6678:2005 Guide to the specification of masonry mortar BS EN 480-1:2014 Admixtures for concrete, mortar and grout. Test methods. Reference concrete and reference mortar for testing BS EN 480-2:2006 Admixtures for concrete, mortar and grout. Test methods. Determination of setting time BS EN 480-4:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of bleeding of concrete BS EN 480-5:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of capillary absorption BS EN 480-6:2005 Admixtures for concrete, mortar and grout. Test methods. Infrared analysis BS EN 480-8:2012 Admixtures for concrete, mortar and grout. Test methods. Determination of the conventional dry material content BS EN 480-10:2009 Admixtures for concrete, mortar and grout. Test methods. Determination of water soluble chloride content BS EN 480-11:1999-Admixtures for concrete, mortar and grout. Test methods. Determination of air void characteristics inhardened concrete BS EN 480-12:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of the alkali content of admixtures BS EN 934-2:2001-Admixtures for concrete, mortar and grout. Concrete admixtures. Definitions, requirements, conformity,marking and labelling BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity BS 8000:Part 9: 1989- Workmanship on building sites- Code of practice for cement/ sand floor screeds and concrete floortoppings Waterproofing BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles |
| --- | --- |
| ASTM | Concrete C33: 2001a-Standard Specification for Concrete Aggregates C87: 1983(1995)e1-Standard Test Method for Effect of Organic Impurities in Fine Aggregate on Strength of Mortar ASTM C94 / C94M - 15b Standard Specification for Ready-Mixed Concrete C109/C109M: 2001-Standard Test Method for Compressive Strength of Hydraulic Cement Mortars (Using 2-in. or [50-mm] Cube Specimens) C115: 1996a-Standard Test Method for Fineness of Portland Cement by the Turbidimeter C125: 2000ae1-Standard Terminology Relating to Concrete and Concrete Aggregates C136-01- Standard Test Method for Sieve Analysis of Fine and Coarse Aggregates C150: 2000-Standard Specification for Portland Cement C295: 1998-Standard Guide for Petrographic Examination of Aggregates for Concrete C305: 1999-Practice for Mechanical Mixing of Hydraulic Cement Pastes and Mortars of Plastic Consistency C348: 1997-Standard Test Method for Flexural Strength of Hydraulic-Cement Mortars C349: 1997-Standard Test Method for Compressive Strength of Hydraulic-Cement Mortars (Using Portions of PrismsBroken in Flexure) C452: 1995-Standard Test Method for Potential Expansion of Portland-Cement Mortars Exposed to Sulfate C490: 2000a-Standard Practice for Use of Apparatus for the Determination of Length Change of Hardened Cement Paste,Mortar, and Concrete C494/ 494M: 2000-Specification for Chemical Admixtures for Concrete ASTM C597 - 09 Standard Test Method for Pulse Velocity Through Concrete ASTM C642 - 13 Standard Test Method for Density, Absorption, and Voids in Hardened Concrete C778: 2000-Standard Specification for Standard Sand ASTM C805 / C805M - 13a Standard Test Method for Rebound Number of Hardened Concrete C1038: 2001-Standard Test Method for Expansion of Hydraulic Cement Mortar Bars Stored in Water Waterproofing ASTM D5295 / D5295M - 14 Standard Guide for Preparation of Concrete Surfaces for Adhered (Bonded) Membrane Waterproofing Systems ASTM D5957 - 98(2013) Standard Guide for Flood Testing Horizontal Waterproofing Installations ASTM D6135-05 Standard Practice for Application of Self-Adhering Modified Bituminous Waterproofing (Withdrawn 2014) |
| AS | Concrete AS 1012.1:2014 Methods of testing concrete - Sampling of concrete AS 1012.10-2000 : Methods of testing concrete - Determination of indirect tensile strength of concrete cylinders (Brasil or splitting test) AS 1012.18-1996 : Methods of testing concrete - Determination of setting time of fresh concrete, mortar and grout by penetration resistance concreteAS 1379-2007/Amdt 1-2009 Specification and supply of concrete - AS 1379-2007/Amdt 2-2015 Specification and supply of concrete AS 1478.1-2000 Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 2072-1977 : Methods for the sampling of expanding admixtures for concrete, mortar and grout AS 2073-1977 : Methods for the testing of expanding admixtures for concrete, mortar and grout AS 2350.12-1995 : Methods of testing portland and blended cements - Preparation of a standard mortar and moulding of specimens AS 2350.13-1995 : Methods of testing portland and blended cements - Determination of drying shrinkage of portland and blended cement mortars AS 2350.13-1995/Amdt 1-1997 : Methods of testing portland and blended cements - Determination of drying shrinkage of portland and blended cement mortars AS 2350.14-1996 : Methods of testing portland and blended cements - Length change of portland and blended cement mortars exposed to a sulfate solution AS 2550.15-1994 Cranes - Safe use - Concrete placing equipment AS 3600-2009 Concrete structures AS 3648-1993 : Specification and methods of test for packaged concrete mixes |
| SS | Concrete SS EN 197 - 1 : 2014 Cement - Part 1 : Composition, specifications and conformity criteria for common cement/ SS EN 197 - 2 : 2014 Cement - Part 2 : Conformity evaluation SS EN 12620 : 2008 Specification for aggregates for concrete SS EN 206 : 2014 Concrete. Specification, performance, production and conformity/ SS 544 series - Concrete - Complementary Singapore Standard to SS EN 206-1 SS EN 934 - 1 : 2008 (2015) Admixtures for concrete, mortar and grout - Common requirements/ SS EN 934 - 2 : 2015 Admixtures for concrete, mortar and grout - Part 2 : Definitions, requirements – Concrete admixtures – Definitions, requirements, conformity, marking and labelling/ SS EN 934 - 6 : 2008 (2015) Admixtures for concrete, mortar and grout - Sampling, conformity control and evaluation of conformity Waterproofing SS CP 82:1999- Code of practice- waterproofing of reinforced concrete buildings |
| ISO | Concrete ISO 1920: 1976 Concrete tests -- Dimensions, tolerances and applicability of test specimens ISO 2736-1: 1986 Concrete tests -- Test specimens -- Part 1: Sampling of fresh concrete ISO 2736-2: 1986 Concrete tests -- Test specimens -- Part 2: Making and curing of test specimens for strength tests ISO 3766: 1995 Construction drawings -- Simplified representation of concrete reinforcement ISO 3893: 1977 Concrete -- Classification by compressive strength ISO 4012: 1978 Concrete -- Determination of compressive strength of test specimens ISO 4013: 1978 Concrete -- Determination of flexural strength of test specimens ISO 4103: 1979 Concrete -- Classification of consistency ISO 4108: 1980 Concrete -- Determination of tensile splitting strength of test specimens ISO 4109: 1980 Fresh concrete -- Determination of the consistency -- Slump test ISO 4110: 1979 Fresh concrete -- Determination of the consistency -- Vebe test ISO 4111: 1979 Fresh concrete -- Determination of consistency -- Degree of compactibility (Compaction index) ISO 4635: 1982 Rubber, vulcanized -- Preformed compression seals for use between concrete motorway paving sections -- Specification for material ISO 4848: 1980 Concrete -- Determination of air content of freshly mixed concrete -- Pressure method ISO 6274: 1982 Concrete -- Sieve analysis of aggregates ISO 6275: 1982 Concrete, hardened -- Determination of density ISO 6276: 1982 Concrete, compacted fresh -- Determination of density ISO 6782: 1982 Aggregates for concrete -- Determination of bulk density ISO 6783: 1982 Coarse aggregates for concrete -- Determination of particle density and water absorption -- Hydrostatic balance method ISO 6784: 1982 Concrete -- Determination of static modulus of elasticity in compression ISO 7033: 1987 Fine and coarse aggregates for concrete -- Determination of the particle mass-per-volume and water absorption -- Pycnometer method Piping ISO 265-1:1988 Pipes and fittings of plastics materials -- Fittings for domestic and industrial waste pipes -- Basic dimensions : Metric series -- Part 1: Unplasticized poly(vinyl chloride) (PVC-U) ISO 768:1972 Fibre building boards -- Determination of bending strength ISO 769:1972 Fibre building boards -- Hard and medium boards -- Determination of water absorption and of swelling in thickness after immersion in water ISO 818:1975 Fibre building boards -- Definition -- Classification ISO 820:1975 Particle boards -- Definition and classification ISO 2695:1976 Fibre building boards -- Hard and medium boards for general purposes -- Quality specifications -- Appearance, shape and dimensional tolerances ISO 2696:1976 Fibre building boards -- Hard and medium boards for general purposes -- Quality specifications -- Water absorption and swelling in thickness ISO 3114:1977 Unplasticized polyvinyl chloride (PVC) pipes for potable water supply -- Extractability of lead and tin -- Test method ISO 3340:1976 Fibre building boards -- Determination of sand content ISO 3474:1976 Unplasticized polyvinyl chloride (PVC) pipes -- Specification and measurement of opacityISO 3546:1976 Fibre building boards -- Determination of surface finish (roughness) ISO 3603:1977 Fittings for unplasticized polyvinyl chloride (PVC) pressure pipes with elastic sealing ring type joints -- Pressure test for leakproofness ISO 3633:1991 Unplasticized poly(vinyl chloride) (PVC-U) pipes and fittings for soil and waste discharge (low and high temperature) systems inside buildings – Specifications ISO 3729:1976 Fibre building boards -- Determination of surface stability ISO/TR 4191:1989 Unplasticized polyvinyl chloride (PVC-U) pipes for water supply -- Recommended practice for laying ISO 4422-1:1996 Pipes and fittings made of unplasticized poly(vinyl chloride) (PVC-U) for water supply -- Specifications -- Part 1: General ISO 4422-2:1996 Pipes and fittings made of unplasticized poly(vinyl chloride) (PVC-U) for water supply -- Specifications -- Part 2: Pipes (with or without integral sockets) ISO 4422-3:1996 Pipes and fittings made of unplasticized poly(vinyl chloride) (PVC-U) for water supply -- Specifications -- Part 3: Fittings and joints ISO 4422-4:1997 Pipes and fittings made of unplasticized poly(vinyl chloride) (PVC-U) for water supply -- Specifications -- Part 4: Valves and ancillary equipment ISO 4422-5:1997 Pipes and fittings made of unplasticized poly(vinyl chloride) (PVC-U) for water supply -- Specifications -- Part 5: Fitness for purpose of the system ISO 4439:1979 Unplasticized polyvinyl chloride (PVC) pipes and fittings -- Determination and specification of density ISO 6308:1980 - Gypsum plasterboard; Specification ISO 6455:1983 Unplasticized polyvinyl chloride (PVC) fittings with elastic sealing ring type joints for pipes under pressure -- Dimensions of laying lengths -- Metric series ISO 6594:1983 Cast iron drainage pipes and fittings -- Spigot series ISO 6992:1986 Unplasticized polyvinyl chloride (PVC-U) pipes for drinking water supply -- Extractability of cadmium and mercury occurring as impurities ISO 8283-1:1991 Plastics pipes and fittings -- Dimensions of sockets and spigots for discharge systems inside buildings -- Part 1: Unplasticized poly(vinyl chloride) (PVC-U) and chlorinated poly (vinyl chloride) (PVC-C) ISO 8283-2:1992 Plastics pipes and fittings -- Dimensions of sockets and spigots for discharge systems inside buildings -- Part 2: Polyethylene (PE) ISO 8283-3:1992 Plastics pipes and fittings -- Dimensions of sockets and spigots for discharge systems inside buildings -- Part 3: Polypropylene (PP) ISO 8283-4:1992 Plastics pipes and fittings -- Dimensions of sockets and spigots for discharge systems inside buildings -- Part 4: Acrylonitrile/butadiene/styrene (ABS) ISO 13844:2000 Plastics piping systems -- Elastomeric-sealing-ring-type socket joints of unplasticized poly(vinyl chloride) (PVC-U) for use with PVC-U pipes -- Test method for leaktightness under negative pressure ISO 13845:2000 Plastics piping systems -- Elastomeric-sealing-ring-type socket joints for use with unplasticized poly(vinyl chloride) (PVC-U) pipes -- Test method for leaktightness under internal pressure and with angular deflection |

## Water Leak Through Pipe Penetrations - waterproofing

| BS | Concrete BS 12-Specification for Portland Cements BS ISO 3310-2:2013 Test sieves. Technical requirements and testing. Test sieves of perforated metal plate/ BS 410-1:2000, ISO 3310-1:2000 Test sieves. Technical requirements and testing. Test sieves of metal wire cloth BS 882-Specification for aggregates from natural sources for concrete BS EN 12878:2014 Pigments for the colouring of building materials based on cement and/or lime. Specifications and methods of test BS 4550-6:1978 Methods of testing cement. Standard sand for mortar cubess BS 4551-Methods of testing mortars, screeds and plasters BS EN 998-1:2003-Specification for mortar for masonry. Rendering and plastering mortar/ BS EN 998-2:2003-Specification for mortar for masonry. Masonry mortar BS EN 934-3:2009+A1:2012 Admixtures for concrete, mortar and grout. Admixtures for masonry mortar. Definitions, requirements, conformity and marking and labelling/ BS EN 480-4:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of bleeding of concrete/ BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity/BS EN 480-11:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of air void characteristics in hardened concrete/BS EN 480-12:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of the alkali content of admixtures/BS EN 480-1:2006+A1:2011 Admixtures for concrete, mortar and grout. Test methods. Reference concrete and reference mortar for testing/BS EN 934-2:2009+A1:2012 Admixtures for concrete, mortar and grout . Concrete admixtures. Definitions, requirements, conformity, marking and labelling/BS EN 480-8:2012 Admixtures for concrete, mortar and grout. Test methods. Determination of the conventional dry material content/BS EN 480-10:2009 Admixtures for concrete, mortar and grout. Test methods. Determination of water soluble chloride content/BS EN 480-6:2005 Admixtures for concrete, mortar and grout. Test methods. Infrared analysis/BS EN 480-5:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of capillary absorption/BS EN 480-2:2006 Admixtures for concrete, mortar and grout. Test methods. Determination of setting time/ BS EN 998-2:2010 Specification for mortar for masonry. Masonry mortar/ BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar BS 6319-3:1990-Testing of resin and polymer/cement compositions for use in construction. Methods for measurement ofmodulus of elasticity in flexure and flexural strength BS 6319-12:1992-Testing of resin and polymer/cement compositions for use in construction. Methods for measurement ofunrestrained linear shrinkage and coefficient of thermal expansion PD 6678:2005 Guide to the specification of masonry mortar BS EN 480-1:2014 Admixtures for concrete, mortar and grout. Test methods. Reference concrete and reference mortar for testing BS EN 480-2:2006 Admixtures for concrete, mortar and grout. Test methods. Determination of setting time BS EN 480-4:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of bleeding of concrete BS EN 480-5:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of capillary absorption BS EN 480-6:2005 Admixtures for concrete, mortar and grout. Test methods. Infrared analysis BS EN 480-8:2012 Admixtures for concrete, mortar and grout. Test methods. Determination of the conventional dry material content BS EN 480-10:2009 Admixtures for concrete, mortar and grout. Test methods. Determination of water soluble chloride content BS EN 480-11:1999-Admixtures for concrete, mortar and grout. Test methods. Determination of air void characteristics inhardened concrete BS EN 480-12:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of the alkali content of admixtures BS EN 934-2:2001-Admixtures for concrete, mortar and grout. Concrete admixtures. Definitions, requirements, conformity,marking and labelling BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity BS 8000:Part 9: 1989- Workmanship on building sites- Code of practice for cement/ sand floor screeds and concrete floortoppings Waterproofing BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles |
| --- | --- |
| ASTM | Concrete C33: 2001a-Standard Specification for Concrete Aggregates C87: 1983(1995)e1-Standard Test Method for Effect of Organic Impurities in Fine Aggregate on Strength of Mortar ASTM C94 / C94M - 15b Standard Specification for Ready-Mixed Concrete C109/C109M: 2001-Standard Test Method for Compressive Strength of Hydraulic Cement Mortars (Using 2-in. or [50-mm] Cube Specimens) C115: 1996a-Standard Test Method for Fineness of Portland Cement by the Turbidimeter C125: 2000ae1-Standard Terminology Relating to Concrete and Concrete Aggregates C136-01- Standard Test Method for Sieve Analysis of Fine and Coarse Aggregates C150: 2000-Standard Specification for Portland Cement C295: 1998-Standard Guide for Petrographic Examination of Aggregates for Concrete C305: 1999-Practice for Mechanical Mixing of Hydraulic Cement Pastes and Mortars of Plastic Consistency C348: 1997-Standard Test Method for Flexural Strength of Hydraulic-Cement Mortars C349: 1997-Standard Test Method for Compressive Strength of Hydraulic-Cement Mortars (Using Portions of PrismsBroken in Flexure) C452: 1995-Standard Test Method for Potential Expansion of Portland-Cement Mortars Exposed to Sulfate C490: 2000a-Standard Practice for Use of Apparatus for the Determination of Length Change of Hardened Cement Paste,Mortar, and Concrete C494/ 494M: 2000-Specification for Chemical Admixtures for Concrete ASTM C597 - 09 Standard Test Method for Pulse Velocity Through Concrete ASTM C642 - 13 Standard Test Method for Density, Absorption, and Voids in Hardened Concrete C778: 2000-Standard Specification for Standard Sand ASTM C805 / C805M - 13a Standard Test Method for Rebound Number of Hardened Concrete C1038: 2001-Standard Test Method for Expansion of Hydraulic Cement Mortar Bars Stored in Water Waterproofing ASTM D5295 / D5295M - 14 Standard Guide for Preparation of Concrete Surfaces for Adhered (Bonded) Membrane Waterproofing Systems ASTM D5957 - 98(2013) Standard Guide for Flood Testing Horizontal Waterproofing Installations ASTM D6135-05 Standard Practice for Application of Self-Adhering Modified Bituminous Waterproofing (Withdrawn 2014) |
| AS | Concrete AS 1012.1:2014 Methods of testing concrete - Sampling of concrete AS 1012.10-2000 : Methods of testing concrete - Determination of indirect tensile strength of concrete cylinders (Brasil or splitting test) AS 1012.18-1996 : Methods of testing concrete - Determination of setting time of fresh concrete, mortar and grout by penetration resistance concreteAS 1379-2007/Amdt 1-2009 Specification and supply of concrete - AS 1379-2007/Amdt 2-2015 Specification and supply of concrete AS 1478.1-2000 Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 2072-1977 : Methods for the sampling of expanding admixtures for concrete, mortar and grout AS 2073-1977 : Methods for the testing of expanding admixtures for concrete, mortar and grout AS 2350.12-1995 : Methods of testing portland and blended cements - Preparation of a standard mortar and moulding of specimens AS 2350.13-1995 : Methods of testing portland and blended cements - Determination of drying shrinkage of portland and blended cement mortars AS 2350.13-1995/Amdt 1-1997 : Methods of testing portland and blended cements - Determination of drying shrinkage of portland and blended cement mortars AS 2350.14-1996 : Methods of testing portland and blended cements - Length change of portland and blended cement mortars exposed to a sulfate solution AS 2550.15-1994 Cranes - Safe use - Concrete placing equipment AS 3600-2009 Concrete structures AS 3648-1993 : Specification and methods of test for packaged concrete mixes |
| SS | Concrete SS EN 197 - 1 : 2014 Cement - Part 1 : Composition, specifications and conformity criteria for common cement/ SS EN 197 - 2 : 2014 Cement - Part 2 : Conformity evaluation SS EN 12620 : 2008 Specification for aggregates for concrete SS EN 206 : 2014 Concrete. Specification, performance, production and conformity/ SS 544 series - Concrete - Complementary Singapore Standard to SS EN 206-1 SS EN 934 - 1 : 2008 (2015) Admixtures for concrete, mortar and grout - Common requirements/ SS EN 934 - 2 : 2015 Admixtures for concrete, mortar and grout - Part 2 : Definitions, requirements – Concrete admixtures – Definitions, requirements, conformity, marking and labelling/ SS EN 934 - 6 : 2008 (2015) Admixtures for concrete, mortar and grout - Sampling, conformity control and evaluation of conformity Waterproofing SS CP 82:1999- Code of practice- waterproofing of reinforced concrete buildings |
| ISO | Concrete ISO 1920: 1976 Concrete tests -- Dimensions, tolerances and applicability of test specimens ISO 2736-1: 1986 Concrete tests -- Test specimens -- Part 1: Sampling of fresh concrete ISO 2736-2: 1986 Concrete tests -- Test specimens -- Part 2: Making and curing of test specimens for strength tests ISO 3766: 1995 Construction drawings -- Simplified representation of concrete reinforcement ISO 3893: 1977 Concrete -- Classification by compressive strength ISO 4012: 1978 Concrete -- Determination of compressive strength of test specimens ISO 4013: 1978 Concrete -- Determination of flexural strength of test specimens ISO 4103: 1979 Concrete -- Classification of consistency ISO 4108: 1980 Concrete -- Determination of tensile splitting strength of test specimens ISO 4109: 1980 Fresh concrete -- Determination of the consistency -- Slump test ISO 4110: 1979 Fresh concrete -- Determination of the consistency -- Vebe test ISO 4111: 1979 Fresh concrete -- Determination of consistency -- Degree of compactibility (Compaction index) ISO 4635: 1982 Rubber, vulcanized -- Preformed compression seals for use between concrete motorway paving sections -- Specification for material ISO 4848: 1980 Concrete -- Determination of air content of freshly mixed concrete -- Pressure method ISO 6274: 1982 Concrete -- Sieve analysis of aggregates ISO 6275: 1982 Concrete, hardened -- Determination of density ISO 6276: 1982 Concrete, compacted fresh -- Determination of density ISO 6782: 1982 Aggregates for concrete -- Determination of bulk density ISO 6783: 1982 Coarse aggregates for concrete -- Determination of particle density and water absorption -- Hydrostatic balance method SO 6784: 1982 Concrete -- Determination of static modulus of elasticity in compression ISO 7033: 1987 Fine and coarse aggregates for concrete -- Determination of the particle mass-per-volume and water absorption -- Pycnometer method Steel ISO 6934-1: 1991 Steel for the prestressing of concrete -- Part 1: General requirements ISO 6934-2: 1991 Steel for the prestressing of concrete -- Part 2: Cold-drawn wire ISO 6934-3: 1991 Steel for the prestressing of concrete -- Part 3: Quenched and tempered wire ISO 6934-4: 1991 Steel for the prestressing of concrete -- Part 4: Strand ISO 6934-5: 1991 Steel for the prestressing of concrete -- Part 5: Hot-rolled steel bars with or without subsequent processing ISO 6935-1: 1991 Steel for the reinforcement of concrete -- Part 1: Plain bars ISO 6935-2: 1991 Steel for the reinforcement of concrete -- Part 2: Ribbed bars ISO 6935-3:1992 Steel for the reinforcement of concrete -- Part 3: Welded fabric ISO 14654:1999 Epoxy-coated steel for the reinforcement of concrete ISO 14656:1999 Epoxy powder and sealing material for the coating of steel for the reinforcement of concrete Sealant ISO 6927:1981 Building construction -- Jointing products -- Sealants -- Vocabulary ISO 8339:1984 Building construction -- Jointing products -- Sealants -- Determination of tensile properties ISO 8340:1984 Building construction -- Jointing products -- Sealants -- Determination of tensile properties at maintained extension ISO 8394:1988 Building construction -- Jointing products -- Determination of extrudability of one-component sealants ISO 9046:1987 Building construction -- Sealants -- Determination of adhesion/cohesion properties at constant temperature ISO 9047:2001 Building construction -- Jointing products -- Determination of adhesion/cohesion properties of sealants at variable temperatures (available in English only) ISO 9048:1987 Building construction -- Jointing products -- Determination of extrudability of sealants using standardized apparatus ISO 10563:1991 Building construction -- Sealants for joints -- Determination of change in mass and volume ISO 10590:1991 Building construction -- Sealants -- Determination of adhesion/cohesion properties at maintained extension after immersion in water ISO 10591:1991 Building construction -- Sealants -- Determination of adhesion/cohesion properties after immersion in water ISO 11431:1993 Building construction -- Sealants -- Determination of adhesion/cohesion properties after exposure to artificial light through glass ISO 11432:1993 Building construction -- Sealants -- Determination of resistance to compression ISO 11600:1993 Building construction -- Sealants -- Classification and requirements ISO 13638:1996 Building construction -- Sealants -- Determination of resistance to prolonged exposure to water Tiling ISO 10545-1:1995- Ceramic tiles -- Part 1: Sampling and basis for acceptance ISO 10545-3:1995- Ceramic tiles -- Part 3: Determination of water absorption, apparent porosity, apparent relative density and bulk density ISO 10545-4:1994- Ceramic tiles -- Part 4: Determination of modulus of rupture and breaking strength ISO 10545-5:1996- Ceramic tiles -- Part 5: Determination of impact resistance by measurement of coefficient of restitution ISO 10545-6:1995- Ceramic tiles -- Part 6: Determination of resistance to deep abrasion for unglazed tiles ISO 10545-10:1995- Ceramic tiles -- Part 10: Determination of moisture expansion ISO 10545-13:1995- Ceramic tiles -- Part 13: Determination of chemical resistance ISO 10545-14:1995- Ceramic tiles -- Part 14: Determination of resistance to stains ISO 10545-16:1999- Ceramic tiles -- Part 16: Determination of small colour differences ISO 13006:1998- Ceramic tiles -- Definitions, classification, characteristics and marking Paint ISO 1513: 1992 Paints and varnishes -- Examination and preparation of samples for testing ISO 1514: 1993 Paints and varnishes -- Standard panels for testing ISO 1516: 1981 Paints, varnishes, petroleum and related products -- Flash/no flash test -- Closed cup equilibrium method ISO 1517: 1973 Paints and varnishes -- Surface-drying test -- Ballotini method ISO 1518: 1992 Paints and varnishes -- Scratch test ISO 1519: 1973 Paints and varnishes -- Bend test (cylindrical mandrel) ISO 1520: 1999 Paints and varnishes -- Cupping test (available in English only) ISO 1522: 1998 Paints and varnishes -- Pendulum damping test ISO 1523: 1983 Paints, varnishes, petroleum and related products -- Determination of flashpoint -- Closed cup equilibrium method ISO 1524: 2000 Paints, varnishes and printing inks -- Determination of fineness of grind ISO 2409: 1992 Paints and varnishes -- Cross-cut test ISO 2431: 1993 Paints and varnishes -- Determination of flow time by use of flow cups ISO 2808: 1997 Paints and varnishes -- Determination of film thickness ISO 2810: 1974 Paints and varnishes -- Notes for guidance on the conduct of natural weathering tests ISO 2811-1: 1997 Paints and varnishes -- Determination of density -- Part 1: Pyknometer methodISO 2811-2: 1997 Paints and varnishes -- Determination of density -- Part 2:Immersed body (plummet) method ISO 2811-3: 1997 Paints and varnishes -- Determination of density -- Part 3: Oscillation method ISO 2811-4: 1997 Paints and varnishes -- Determination of density -- Part 4: Pressure cup method ISO 2812-1: 1993 Paints and varnishes -- Determination of resistance to liquids -- Part 1: General methods ISO 2812-2: 1993 Paints and varnishes -- Determination of resistance to liquids -- Part 2: Water immersion method ISO 2813: 1994 Paints and varnishes -- Determination of specular gloss of non-metallic paint films at 20 degrees, 60 degrees and 85 degrees ISO 2814: 1973 Paints and varnishes -- Comparison of contrast ratio (hiding power) of paints of the same type and colour ISO 2815: 1973 Paints and varnishes -- Buchholz indentation test ISO 2884-1: 1999 Paints and varnishes -- Determination of viscosity using rotary viscometers -- Part 1: Cone-and-plate viscometer operated at a high rate of shear ISO 3231: 1993 Paints and varnishes -- Determination of resistance to humid atmospheres containing sulfur dioxide ISO 3233: 1998 Paints and varnishes -- Determination of percentage volume of non-volatile matter by measuring the density of a dried coating ISO 3248: 1998 Paints and varnishes -- Determination of the effect of heat ISO 3251: 1993 Paints and varnishes -- Determination of non-volatile matter of paints, varnishes and binders for paints and varnishes ISO 4618-1: 1998 Paints and varnishes -- Terms and definitions for coating materials -- Part 1: General terms ISO 4618-2: 1999 Paints and varnishes -- Terms and definitions for coating materials -- Part 2: Special terms relating to paint characteristics and properties ISO 4618-3: 1999 Paints and varnishes -- Terms and definitions for coating materials -- Part 3: Surface preparation and methods of application ISO 4624: 1978 Paints and varnishes -- Pull-off test for adhesion ISO 4628-1: 1982 Paints and varnishes -- Evaluation of degradation of paint coatings -- Designation of intensity, quantity and size of common types of defect -- Part 1: General principles and rating schemes ISO 4628-2: 1982 Paints and varnishes -- Evaluation of degradation of paint coatings -- Designation of intensity, quantity and size of common types of defect -- Part 2: Designation of degree of blistering ISO 4628-3: 1982 Paints and varnishes -- Evaluation of degradation of paint coatings -- Designation of intensity, quantity and size of common types of defect -- Part 3: Designation of degree of rusting ISO 4628-4: 1982 Paints and varnishes -- Evaluation of degradation of paint coatings -- Designation of intensity, quantity and size of common types of defect -- Part 4: Designation of degree of cracking ISO 4628-5: 1982 Paints and varnishes -- Evaluation of degradation of paint coatings -- Designation of intensity, quantity and size of common types of defect -- Part 5: Designation of degree of flaking ISO 4628-6: 1990 Paints and varnishes -- Evaluation of degradation of paint coatings -- Designation of intensity, quantity and size of common types of defect -- Part 6: Rating of degree of chalking by tape method ISO 6270-1: 1998 Paints and varnishes -- Determination of resistance to humidity -- Part 1: Continuous condensation ISO 6272: 1993 Paints and varnishes -- Falling-weight test ISO 6441: 1984 Paints and varnishes -- Indentation test (spherical or pyramidal) ISO 6441-1: 1999 Paints and varnishes -- Determination of micro-indentation hardness -- Part 1: Knoop hardness by measurement of indentation length ISO 6441-2: 1999 Paints and varnishes -- Determination of micro-indentation hardness -- Part 2: Knoop hardness by measurement of indentation depth under load ISO 6503: 1984 Paints and varnishes -- Determination of total lead -- Flame atomic absorption spectrometric method ISO 6504-1: 1983 Paints and varnishes -- Determination of hiding power -- Part 1: Kubelka-Munk method for white and light-coloured paints ISO 6504-3: 1998 Paints and varnishes -- Determination of hiding power -- Part 3: Determination of contrast ratio (opacity) of light-coloured paints at a fixed spreading rate ISO 6713: 1984 Paints and varnishes -- Preparation of acid extracts from paints in liquid or powder form ISO 6744-1: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 1: General methods of test ISO 6744-2: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 2: Determination of phthalic anhydride content ISO 6744-3: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 3: Determination of unsaponifiable matter content ISO 6744-4: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 4: Determination of fatty acid content ISO 6860: 1984 Paints and varnishes -- Bend test (conical mandrel) ISO 7142: 1984 Binders for paints and varnishes -- Epoxy resins -- General methods of test ISO 7143: 2000 Paints, varnishes and binders -- Methods of test for characterizing water-based coating materials and binders (available in English only) ISO 7253: 1996 Paints and varnishes -- Determination of resistance to neutral salt spray (fog) ISO 7724-1: 1984 Paints and varnishes -- Colorimetry -- Part 1: Principles ISO 7724-2: 1984 Paints and varnishes -- Colorimetry -- Part 2: Colour measurement ISO 7724-3: 1984 Paints and varnishes -- Colorimetry -- Part 3: Calculation of colour differences ISO 7783-1: 1996 Paints and varnishes -- Determination of water-vapour transmission rate -- Part 1: Dish method for free films ISO 7783-2: 1999 Paints and varnishes -- Coating materials and coating systems for exterior masonry and concrete -- Part 2: Determination and classification of water-vapour transmission rate (permeability) ISO 7784-1: 1997 Paints and varnishes -- Determination of resistance to abrasion -- Part 1: Rotating abrasive-paper-covered wheel method ISO 7784-2: 1997 Paints and varnishes -- Determination of resistance to abrasion -- Part 2: Rotating abrasive rubber wheel method ISO 7784-3: 2000 Paints and varnishes -- Determination of resistance to abrasion -- Part 3: Reciprocating test panel method ISO 8501-1: 1988 Preparation ISO 9514: 1992 Paints and varnishes -- Determination of the pot-life of liquid systems -- Preparation and conditioning of samples and guidelines for testing ISO 11503: 1995 Paints and varnishes -- Determination of resistance to humidity (intermittent condensation) ISO 11507: 1997 Paints and varnishes -- Exposure of coatings to artificial weathering -- Exposure to fluorescent UV and water ISO 11668: 1997 Binders for paints and varnishes -- Chlorinated polymerization resins -- General methods of test ISO 11890-1: 2000 Paints and varnishes -- Determination of volatile organic compound (VOC) content -- Part 1: Difference method ISO 11890-2: 2000 Paints and varnishes -- Determination of volatile organic compound (VOC) content -- Part 2: Gas-chromatographic method ISO 11908: 1996 Binders for paints and varnishes -- Amino resins -- General methods of test ISO 11909: 1996 Binders for paints and varnishes -- Polyisocyanate resins -- General methods of test ISO 11997-1: 1998 Paints and varnishes -- Determination of resistance to cyclic corrosion conditions -- Part 1: Wet (salt fog)/dry/humidity ISO 11997-2: 2000 Paints and varnishes -- Determination of resistance to cyclic corrosion conditions -- Part 2: Wet (salt fog)/dry/humidity/UV light ISO 11998: 1998 Paints and varnishes -- Determination of wet-scrub resistance and cleanability of coatings ISO 12137-1: 1997 Paints and varnishes -- Determination of mar resistance -- Part 1: Method using a curved stylus ISO 12137-2: 1997 Paints and varnishes -- Determination of mar resistance -- Part 2: Method using a pointed stylus ISO 14680-1: 2000 Paints and varnishes -- Determination of pigment content -- Part 1: Centrifuge method ISO 14680-2: 2000 Paints and varnishes -- Determination of pigment content -- Part 2: Ashing method ISO 14680-3: 2000 Paints and varnishes -- Determination of pigment content -- Part 3: Filtration method ISO 15184: 1998 Paints and varnishes -- Determination of film hardness by pencil test Piping ISO 265-1:1988 Pipes and fittings of plastics materials -- Fittings for domestic and industrial waste pipes -- Basic dimensions : Metric series -- Part 1: Unplasticized poly(vinyl chloride) (PVC-U) ISO 768:1972 Fibre building boards -- Determination of bending strength ISO 769:1972 Fibre building boards -- Hard and medium boards -- Determination of water absorption and of swelling in thickness after immersion in waterISO 818:1975 Fibre building boards -- Definition -- Classification ISO 820:1975 Particle boards -- Definition and classification ISO 2695:1976 Fibre building boards -- Hard and medium boards for general purposes -- Quality specifications -- Appearance, shape and dimensional tolerances ISO 2696:1976 Fibre building boards -- Hard and medium boards for general purposes -- Quality specifications -- Water absorption and swelling in thickness ISO 3114:1977 Unplasticized polyvinyl chloride (PVC) pipes for potable water supply -- Extractability of lead and tin -- Test method ISO 3340:1976 Fibre building boards -- Determination of sand content ISO 3474:1976 Unplasticized polyvinyl chloride (PVC) pipes -- Specification and measurement of opacity ISO 3546:1976 Fibre building boards -- Determination of surface finish (roughness) ISO 3603:1977 Fittings for unplasticized polyvinyl chloride (PVC) pressure pipes with elastic sealing ring type joints -- Pressure test for leakproofness ISO 3633:1991 Unplasticized poly(vinyl chloride) (PVC-U) pipes and fittings for soil and waste discharge (low and high temperature) systems inside buildings – Specifications ISO 3729:1976 Fibre building boards -- Determination of surface stability ISO/TR 4191:1989 Unplasticized polyvinyl chloride (PVC-U) pipes for water supply -- Recommended practice for laying ISO 4422-1:1996 Pipes and fittings made of unplasticized poly(vinyl chloride) (PVC-U) for water supply -- Specifications -- Part 1: General ISO 4422-2:1996 Pipes and fittings made of unplasticized poly(vinyl chloride) (PVC-U) for water supply -- Specifications -- Part 2: Pipes (with or without integral sockets) ISO 4422-3:1996 Pipes and fittings made of unplasticized poly(vinyl chloride) (PVC-U) for water supply -- Specifications -- Part 3: Fittings and joints ISO 4422-4:1997 Pipes and fittings made of unplasticized poly(vinyl chloride) (PVC-U) for water supply -- Specifications -- Part 4: Valves and ancillary equipment ISO 4422-5:1997 Pipes and fittings made of unplasticized poly(vinyl chloride) (PVC-U) for water supply -- Specifications -- Part 5: Fitness for purpose of the system ISO 4439:1979 Unplasticized polyvinyl chloride (PVC) pipes and fittings -- Determination and specification of density ISO 6308:1980 - Gypsum plasterboard; Specification ISO 6455:1983 Unplasticized polyvinyl chloride (PVC) fittings with elastic sealing ring type joints for pipes under pressure -- Dimensions of laying lengths -- Metric series ISO 6594:1983 Cast iron drainage pipes and fittings -- Spigot series ISO 6992:1986 Unplasticized polyvinyl chloride (PVC-U) pipes for drinking water supply -- Extractability of cadmium and mercury occurring as impurities ISO 8283-1:1991 Plastics pipes and fittings -- Dimensions of sockets and spigots for discharge systems inside buildings -- Part 1: Unplasticized poly(vinyl chloride) (PVC-U) and chlorinated poly (vinyl chloride) (PVC-C) ISO 8283-2:1992 Plastics pipes and fittings -- Dimensions of sockets and spigots for discharge systems inside buildings -- Part 2: Polyethylene (PE) ISO 8283-3:1992 Plastics pipes and fittings -- Dimensions of sockets and spigots for discharge systems inside buildings -- Part 3: Polypropylene (PP) ISO 8283-4:1992 Plastics pipes and fittings -- Dimensions of sockets and spigots for discharge systems inside buildings -- Part 4: Acrylonitrile/butadiene/styrene (ABS) ISO 13844:2000 Plastics piping systems -- Elastomeric-sealing-ring-type socket joints of unplasticized poly(vinyl chloride) (PVC-U) for use with PVC-U pipes -- Test method for leaktightness under negative pressure ISO 13845:2000 Plastics piping systems -- Elastomeric-sealing-ring-type socket joints for use with unplasticized poly(vinyl chloride) (PVC-U) pipes -- Test method for leaktightness under internal pressure and with angular deflection |

## Cracks and Spalling of Concrete - Structural Cracks

| BS | Concrete AS 1012.1:2014 Methods of testing concrete - Sampling of concrete AS 1012.10-2000 : Methods of testing concrete - Determination of indirect tensile strength of concrete cylinders (Brasil or splitting test) AS 1012.18-1996 : Methods of testing concrete - Determination of setting time of fresh concrete, mortar and grout by penetration resistance concreteAS 1379-2007/Amdt 1-2009 Specification and supply of concrete - AS 1379-2007/Amdt 2-2015 Specification and supply of concrete AS 1478.1-2000 Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 2072-1977 : Methods for the sampling of expanding admixtures for concrete, mortar and grout AS 2073-1977 : Methods for the testing of expanding admixtures for concrete, mortar and grout AS 2350.12-1995 : Methods of testing portland and blended cements - Preparation of a standard mortar and moulding of specimens AS 2350.13-1995 : Methods of testing portland and blended cements - Determination of drying shrinkage of portland and blended cement mortars AS 2350.13-1995/Amdt 1-1997 : Methods of testing portland and blended cements - Determination of drying shrinkage of portland and blended cement mortars AS 2350.14-1996 : Methods of testing portland and blended cements - Length change of portland and blended cement mortars exposed to a sulfate solution AS 2550.15-1994 Cranes - Safe use - Concrete placing equipment AS 3600-2009 Concrete structures AS 3648-1993 : Specification and methods of test for packaged concrete mixes |
| --- | --- |
| ASTM | Concrete C33: 2001a-Standard Specification for Concrete Aggregates C87: 1983(1995)e1-Standard Test Method for Effect of Organic Impurities in Fine Aggregate on Strength of Mortar ASTM C94 / C94M - 15b Standard Specification for Ready-Mixed Concrete C109/C109M: 2001-Standard Test Method for Compressive Strength of Hydraulic Cement Mortars (Using 2-in. or [50-mm] Cube Specimens) C115: 1996a-Standard Test Method for Fineness of Portland Cement by the Turbidimeter C125: 2000ae1-Standard Terminology Relating to Concrete and Concrete Aggregates C136-01- Standard Test Method for Sieve Analysis of Fine and Coarse Aggregates C150: 2000-Standard Specification for Portland Cement C295: 1998-Standard Guide for Petrographic Examination of Aggregates for Concrete C305: 1999-Practice for Mechanical Mixing of Hydraulic Cement Pastes and Mortars of Plastic Consistency C348: 1997-Standard Test Method for Flexural Strength of Hydraulic-Cement Mortars C349: 1997-Standard Test Method for Compressive Strength of Hydraulic-Cement Mortars (Using Portions of PrismsBroken in Flexure) C452: 1995-Standard Test Method for Potential Expansion of Portland-Cement Mortars Exposed to Sulfate C490: 2000a-Standard Practice for Use of Apparatus for the Determination of Length Change of Hardened Cement Paste,Mortar, and Concrete C494/ 494M: 2000-Specification for Chemical Admixtures for Concrete ASTM C597 - 09 Standard Test Method for Pulse Velocity Through Concrete ASTM C642 - 13 Standard Test Method for Density, Absorption, and Voids in Hardened Concrete C778: 2000-Standard Specification for Standard Sand ASTM C805 / C805M - 13a Standard Test Method for Rebound Number of Hardened Concrete C1038: 2001-Standard Test Method for Expansion of Hydraulic Cement Mortar Bars Stored in Water |
| AS | Concrete AS 1012.1:2014 Methods of testing concrete - Sampling of concrete AS 1012.10-2000 : Methods of testing concrete - Determination of indirect tensile strength of concrete cylinders (Brasil or splitting test) AS 1012.18-1996 : Methods of testing concrete - Determination of setting time of fresh concrete, mortar and grout by penetration resistance concreteAS 1379-2007/Amdt 1-2009 Specification and supply of concrete - AS 1379-2007/Amdt 2-2015 Specification and supply of concrete AS 1478.1-2000 Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 2072-1977 : Methods for the sampling of expanding admixtures for concrete, mortar and grout AS 2073-1977 : Methods for the testing of expanding admixtures for concrete, mortar and grout AS 2350.12-1995 : Methods of testing portland and blended cements - Preparation of a standard mortar and moulding of specimens AS 2350.13-1995 : Methods of testing portland and blended cements - Determination of drying shrinkage of portland and blended cement mortars AS 2350.13-1995/Amdt 1-1997 : Methods of testing portland and blended cements - Determination of drying shrinkage of portland and blended cement mortars AS 2350.14-1996 : Methods of testing portland and blended cements - Length change of portland and blended cement mortars exposed to a sulfate solution AS 2550.15-1994 Cranes - Safe use - Concrete placing equipment AS 3600-2009 Concrete structures AS 3648-1993 : Specification and methods of test for packaged concrete mixes |
| SS | Concrete SS EN 197 - 1 : 2014 Cement - Part 1 : Composition, specifications and conformity criteria for common cement/ SS EN 197 - 2 : 2014 Cement - Part 2 : Conformity evaluation SS EN 12620 : 2008 Specification for aggregates for concrete SS EN 206 : 2014 Concrete. Specification, performance, production and conformity/ SS 544 series - Concrete - Complementary Singapore Standard to SS EN 206-1 SS EN 934 - 1 : 2008 (2015) Admixtures for concrete, mortar and grout - Common requirements/ SS EN 934 - 2 : 2015 Admixtures for concrete, mortar and grout - Part 2 : Definitions, requirements – Concrete admixtures – Definitions, requirements, conformity, marking and labelling/ SS EN 934 - 6 : 2008 (2015) Admixtures for concrete, mortar and grout - Sampling, conformity control and evaluation of conformity |
| ISO | Concrete ISO 1920-3:2004 Testing of concrete -- Part 3: Making and curing test specimens ISO 1920-1:2004 Testing of concrete -- Part 1: Sampling of fresh concrete ISO 1920-3:2004 Testing of concrete -- Part 3: Making and curing test specimens ISO 3893:1977 Concrete -- Classification by compressive strength ISO 1920-4:2005 Testing of concrete -- Part 4: Strength of hardened concrete ISO 1920-4:2005 Testing of concrete -- Part 4: Strength of hardened concrete ISO 4103:1979 Concrete -- Classification of consistency ISO 1920-4:2005 Testing of concrete -- Part 4: Strength of hardened concrete ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 6274:1982 Concrete -- Sieve analysis of aggregates ISO 1920-5:2004 Testing of concrete -- Part 5: Properties of hardened concrete other than strength ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 6782:1982 Aggregates for concrete -- Determination of bulk density ISO 6783:1982 Coarse aggregates for concrete -- Determination of particle density and water absorption -- Hydrostatic balance method ISO 1920-10:2010 Testing of concrete -- Part 10: Determination of static modulus of elasticity in compression ISO 7033:1987 Fine and coarse aggregates for concrete -- Determination of the particle mass-per-volume and water absorption -- Pycnometer method Paint ISO 1513:2010 Paints and varnishes -- Examination and preparation of test samples ISO 1514:2004 Paints and varnishes -- Standard panels for testing ISO 9117-3:2010 Paints and varnishes -- Drying tests -- Part 3: Surface-drying test using ballotini ISO 2812-1:2007 Paints and varnishes -- Determination of resistance to liquids -- Part 1: Immersion in liquids other than water ISO 2812-2:2007 Paints and varnishes -- Determination of resistance to liquids -- Part 2: Water immersion method ISO 4618:2014 Paints and varnishes -- Terms and definitions ISO 4624:2016 Paints and varnishes -- Pull-off test for adhesion ISO 4628-1:2016 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 1: General introduction and designation system ISO 4628-2:2003 Paints and varnishes - Evaluation of degradation of coatings - Designation of quantity and size of defects, and of intensity of uniform changes in appearance - Part 2: Assessment of degree of blistering ISO 4628-4:2016 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 4: Assessment of degree of cracking ISO 4628-5:2016 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 5: Assessment of degree of flaking ISO 11503:1995 Paints and varnishes -- Determination of resistance to humidity (intermittent condensation) ISO 16474-1:2013 Paints and varnishes -- Methods of exposure to laboratory light sources -- Part 1: General guidance ISO 11998:2006 Paints and varnishes -- Determination of wet-scrub resistance and cleanability of coatings |

## Cracks and Spalling of Concrete - Concrete Spalling

| BS | *same as above* |
| --- | --- |
| ASTM | *same as above* |
| AS | *same as above* |
| SS | *same as above* |
| ISO | Concrete ISO 1920-3:2004 Testing of concrete -- Part 3: Making and curing test specimens ISO 1920-1:2004 Testing of concrete -- Part 1: Sampling of fresh concrete ISO 1920-3:2004 Testing of concrete -- Part 3: Making and curing test specimens ISO 3766:2003 Construction drawings -- Simplified representation of concrete reinforcement ISO 3893:1977 Concrete -- Classification by compressive strength ISO 1920-4:2005 Testing of concrete -- Part 4: Strength of hardened concrete ISO 1920-4:2005 Testing of concrete -- Part 4: Strength of hardened concrete ISO 4103:1979 Concrete -- Classification of consistency ISO 1920-4:2005 Testing of concrete -- Part 4: Strength of hardened concrete ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 4635:2011 Rubber, vulcanized -- Preformed joint seals for use between concrete paving sections of highways -- Specification ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 6274:1982 Concrete -- Sieve analysis of aggregates ISO 1920-5:2004 Testing of concrete -- Part 5: Properties of hardened concrete other than strength ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 6782:1982 Aggregates for concrete -- Determination of bulk density ISO 6783:1982 Coarse aggregates for concrete -- Determination of particle density and water absorption -- Hydrostatic balance method ISO 1920-10:2010 Testing of concrete -- Part 10: Determination of static modulus of elasticity in compression ISO 7033:1987 Fine and coarse aggregates for concrete -- Determination of the particle mass-per-volume and water absorption -- Pycnometer method Reinforcement ISO 6934-1: 1991 Steel for the prestressing of concrete -- Part 1: General requirements ISO 6934-2: 1991 Steel for the prestressing of concrete -- Part 2: Cold-drawn wire ISO 6934-3: 1991 Steel for the prestressing of concrete -- Part 3: Quenched and tempered wire ISO 6934-4: 1991 Steel for the prestressing of concrete -- Part 4: Strand ISO 6934-5: 1991 Steel for the prestressing of concrete -- Part 5: Hot-rolled steel bars with or without subsequent processing ISO 6935-1: 1991 Steel for the reinforcement of concrete -- Part 1: Plain bars ISO 6935-2: 1991 Steel for the reinforcement of concrete -- Part 2: Ribbed bars ISO 6935-3:1992 Steel for the reinforcement of concrete -- Part 3: Welded fabric ISO 14654:1999 Epoxy-coated steel for the reinforcement of concrete ISO 14656:1999 Epoxy powder and sealing material for the coating of steel for the reinforcement of concrete |

## Waterponding

| BS |  |
| --- | --- |
| ASTM |  |
| AS |  |
| SS |  |
| ISO |  |

# Architectural Finishes

## PAINT DEFECTS

## Paint Peeling at Joint between Basement Floor and Column

| BS | CEMENT, CONCRETE, MORTAR BS 12-Specification for Portland Cements BS ISO 3310-2:2013 Test sieves. Technical requirements and testing. Test sieves of perforated metal plate/ BS 410-1:2000, ISO 3310-1:2000 Test sieves. Technical requirements and testing. Test sieves of metal wire cloth BS 882-Specification for aggregates from natural sources for concrete BS EN 12878:2014 Pigments for the colouring of building materials based on cement and/or lime. Specifications and methods of test BS EN 13139:2002 Aggregates for mortar BS 4550-6:1978 Methods of testing cement. Standard sand for mortar cubess BS 4551-Methods of testing mortars, screeds and plasters BS EN 998-1:2003-Specification for mortar for masonry. Rendering and plastering mortar/ BS EN 998-2:2003-Specification for mortar for masonry. Masonry mortar BS EN 934-3:2009+A1:2012 Admixtures for concrete, mortar and grout. Admixtures for masonry mortar. Definitions, requirements, conformity and marking and labelling/ BS EN 480-4:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of bleeding of concrete/ BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity/BS EN 480-11:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of air void characteristics in hardened concrete/BS EN 480-12:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of the alkali content of admixtures/BS EN 480-1:2006+A1:2011 Admixtures for concrete, mortar and grout. Test methods. Reference concrete and reference mortar for testing/BS EN 934-2:2009+A1:2012 Admixtures for concrete, mortar and grout . Concrete admixtures. Definitions, requirements, conformity, marking and labelling/BS EN 480-8:2012 Admixtures for concrete, mortar and grout. Test methods. Determination of the conventional dry material content/BS EN 480-10:2009 Admixtures for concrete, mortar and grout. Test methods. Determination of water soluble chloride content/BS EN 480-6:2005 Admixtures for concrete, mortar and grout. Test methods. Infrared analysis/BS EN 480-5:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of capillary absorption/BS EN 480-2:2006 Admixtures for concrete, mortar and grout. Test methods. Determination of setting time/ BS EN 998-2:2010 Specification for mortar for masonry. Masonry mortar/ BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar BS 6319-3:1990 Testing of resin and polymer/cement compositions for use in construction. Methods for measurement of modulus of elasticity in flexure and flexural strength BS 6319-12:1992 Testing of resin and polymer/cement compositions for use in construction. Methods for measurement of unrestrained linear shrinkage and coefficient of thermal expansion PD 6678:2005 Guide to the specification of masonry mortar BS EN 480-1:2014 Admixtures for concrete, mortar and grout. Test methods. Reference concrete and reference mortar for testing BS EN 480-2:2006 Admixtures for concrete, mortar and grout. Test methods. Determination of setting time BS EN 480-4:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of bleeding of concrete BS EN 480-5:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of capillary absorption BS EN 480-6:2005 Admixtures for concrete, mortar and grout. Test methods. Infrared analysis BS EN 480-8:2012 Admixtures for concrete, mortar and grout. Test methods. Determination of the conventional dry material content BS EN 480-10:2009 Admixtures for concrete, mortar and grout. Test methods. Determination of water soluble chloride content BS EN 480-11:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of air void characteristics in hardened concrete BS EN 480-12:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of the alkali content of admixtures BS EN 934-2:2009+A1:2012 Admixtures for concrete, mortar and grout. Concrete admixtures. Definitions, requirements, conformity, marking and labelling BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity COATINGS, PLASTERING, WATERPROOFINGS, SCREEDINGS BS 5492:1990- Code of practice for internal plastering BS 6949:1991- Specification for bitumen-based coatings for cold application excluding use in contact with potable water BS 7015:1989- Specification for cast acrylic sheet for baths and shower trays for domestic purposes BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS 8000:Part 9: 1989- Workmanship on building sites- Code of practice for cement/ sand floor screeds and concrete floor toppings BS 8204:various dates- Screeds, bases and in-situ floorings PAINTS BS EN ISO 4618:2014 Paints and varnishes. Terms and definitions BS 2992:1970 Specification for painters’ and decorators’ brushes for local authorities and public institutions (excluding quality of fillings) BS 3416:1991 Specification for bitumen-based coatings for cold application, suitable for use in contact with potable water BS 3483-A1:1983, ISO 787/1-1982-Methods for testing pigments for paints. Comparison of colour BS 3483-C7:1980, ISO 787/22-1980-Methods for testing pigments for paints. Comparison of resistance to bleeding BS 3416:1991 Specification for bitumen-based coatings for cold application, suitable for use in contact with potable water BS 3483-A1:1983, ISO 787/1-1982-Methods for testing pigments for paints. Comparison of colour BS 3483-C7:1980, ISO 787/22-1980-Methods for testing pigments for paints. Comparison of resistance to bleeding BS 3900-B4:1986, ISO 6503-1984-Methods of test for paints. Tests involving chemical examination of liquid paints and dried paint films. Determination of total lead in paints and similar materials BS 3900-F2:1973-Methods of test for paint. Durability tests on paint films. Determination of resistance to humidity (cyclic condensation) BS 3900-F6:1976-Methods of test for paint. Durability tests on paint films. Notes for guidance on the conduct of natural weathering test BS EN ISO 11998:2006 Paints and varnishes. Determination of wet-scrub resistance and cleanability of coatings BS EN ISO 4628-2:2016 Paints and varnishes. Evaluation of degradation of coatings. Designation of quantity and size of defects, and of intensity of uniform changes in appearance. Assessment of degree of blistering BS EN ISO 4628-5:2016 Paints and varnishes. Evaluation of degradation of coatings. Designation of quantity and size of defects, and of intensity of uniform changes in appearance. Assessment of degree of flaking BS 3900-F2:1973-Methods of test for paint. Durability tests on paint films. Determination of resistance to humidity (cyclic condensation) BS 3900-F6:1976-Methods of test for paint. Durability tests on paint films. Notes for guidance on the conduct of natural weathering test BS 3900-F9:1982, BS EN ISO 6270:1995 - Paints and varnishes. Determination of resistance to humidity (continuous condensation) BS EN ISO 11998:2006 Paints and varnishes. Determination of wet-scrub resistance and cleanability of coatings BS EN ISO 4628-2:2016 Paints and varnishes. Evaluation of degradation of coatings. Designation of quantity and size of defects, and of intensity of uniform changes in appearance. Assessment of degree of blistering BS EN ISO 4628-5:2016 Paints and varnishes. Evaluation of degradation of coatings. Designation of quantity and size of defects, and of intensity of uniform changes in appearance. Assessment of degree of flaking BS 6150:2006+A1:2014 Painting of buildings. Code of practice BS 6949:1991-Specification for bitumen-based coatings for cold application excluding use in contact with potable water BS 7664:2000-Specification for undercoat and finishing paints |
| --- | --- |
| ASTM | CEMENT, SAND, MORTAR C33: 2001a-Standard Specification for Concrete Aggregates C87: 1983(1995)e1-Standard Test Method for Effect of Organic Impurities in Fine Aggregate on Strength of Mortar ASTM C94 / C94M - 15b Standard Specification for Ready-Mixed Concrete C109/C109M: 2001-Standard Test Method for Compressive Strength of Hydraulic Cement Mortars (Using 2-in. or [50-mm] Cube Specimens) C115: 1996a-Standard Test Method for Fineness of Portland Cement by the Turbidimeter C125: 2000ae1-Standard Terminology Relating to Concrete and Concrete Aggregates C136-01- Standard Test Method for Sieve Analysis of Fine and Coarse Aggregates C150: 2000-Standard Specification for Portland Cement C295: 1998-Standard Guide for Petrographic Examination of Aggregates for Concrete C305: 1999-Practice for Mechanical Mixing of Hydraulic Cement Pastes and Mortars of Plastic Consistency C348: 1997-Standard Test Method for Flexural Strength of Hydraulic-Cement Mortars C349: 1997-Standard Test Method for Compressive Strength of Hydraulic-Cement Mortars (Using Portions of Prisms Broken in Flexure) C452: 1995-Standard Test Method for Potential Expansion of Portland-Cement Mortars Exposed to Sulfate C490: 2000a-Standard Practice for Use of Apparatus for the Determination of Length Change of Hardened Cement Paste, Mortar, and Concrete C494/ 494M: 2000-Specification for Chemical Admixtures for Concrete ASTM C597 - 09 Standard Test Method for Pulse Velocity Through Concrete ASTM C642 - 13 Standard Test Method for Density, Absorption, and Voids in Hardened Concrete C778: 2000-Standard Specification for Standard Sand ASTM C805 / C805M - 13a Standard Test Method for Rebound Number of Hardened Concrete C1038: 2001-Standard Test Method for Expansion of Hydraulic Cement Mortar Bars Stored in Water WATER D1067: 1992(1996)-Standard Test Methods for Acidity or Alkalinity of Water D1129: 2001-Standard Terminology Relating to Water D1193: 1999e1-Standard Specification for Reagent Water D1293: 1999-Standard Test Methods for pH of Water COATINGS, WATERPROOFINGS, SCREEDINGS ASTM C1063 - 16a Standard Specification for Installation of Lathing and Furring to Receive Interior and Exterior Portland Cement-Based Plaster ASTM D5295 / D5295M - 14 Standard Guide for Preparation of Concrete Surfaces for Adhered (Bonded) Membrane Waterproofing Systems ASTM D5683 / D5683M - 95(2011)e1 Standard Test Method for Flexibility of Roofing and Waterproofing Materials and Membranes ASTM D5957 - 98(2013) Standard Guide for Flood Testing Horizontal Waterproofing Installations ASTM D6135-05 Standard Practice for Application of Self-Adhering Modified Bituminous Waterproofing (Withdrawn 2014) PAINTS ASTM D1640 / D1640M - 14 Standard Test Methods for Drying, Curing, or Film Formation of Organic Coatings ASTM D2574 - 06(2012) Standard Test Method for Resistance of Emulsion Paints in the Container to Attack by Microorganisms ASTM D279 - 02(2012) Standard Test Methods for Bleeding of Pigments ASTM D4258 - 05(2012) Standard Practice for Surface Cleaning Concrete for Coating ASTM D5098 - 16 Standard Specification for Artists’ Acrylic Dispersion Paints ASTM D5146 - 10 Standard Guide to Testing Solvent-Borne Architectural Coatings ASTM D5324 - 10 Standard Guide for Testing Water-Borne Architectural Coatings ASTM D6237 - 09(2015) Standard Guide for Painting Inspectors (Concrete and Masonry Substrates) ASTM E1907-06a Standard Guide to Methods of Evaluating Moisture Conditions of Concrete Floors to Receive Resilient Floor Coverings (Withdrawn 2008) |
| AS | CONCRETE, MORTAR, CEMENT DR 01033 : Chemical admixtures for concrete, mortar and grout Methods of sampling and testing admixtures for mortar and grout AS 1012.1 to 21 : Methods of testing concrete AS 1012.10-2000 : Methods of testing concrete - Determination of indirect tensile strength of concrete cylinders (Brasil or splitting test) AS 1012.18-1996 : Methods of testing concrete - Determination of setting time of fresh concrete, mortar and grout by penetration resistance AS 1379-1997/Amdt 1-2000 : Specification and supply of concrete AS 1478.1-2000 : Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 2072-1977 : Methods for the sampling of expanding admixtures for concrete, mortar and grout AS 2073-1977 : Methods for the testing of expanding admixtures for concrete, mortar and grout AS 2350.12-1995 : Methods of testing portland and blended cements - Preparation of a standard mortar and moulding of specimens AS 2350.13-1995 : Methods of testing portland and blended cements - Determination of drying shrinkage of portland and blended cement mortars AS 2350.13-1995/Amdt 1-1997 : Methods of testing portland and blended cements - Determination of drying shrinkage of portland and blended cement mortars AS 2350.14-1996 : Methods of testing portland and blended cements - Length change of portland and blended cement mortars exposed to a sulfate solution AS 2550.15-1994 : Cranes - Safe use - Concrete placing equipment AS 3600-2001 : Concrete structures AS 3648-1993 : Specification and methods of test for packaged concrete mixes PAINTINGS, VARNISHES AS/NZS 2310:2002 Glossary of paint and painting terms AS/NZS 2311:2009 Guide to the painting of buildings AS 3730.0-2006 Guide to the properties of paints for buildings - General information on the specification, purchasing and testing of paints AS 3730.100-2006 Guide to the properties of paints for buildings - Introduction and list of guides HB 73.1-2005 Handbook of Australian Paint Standards - General HB 73.2-2005 Handbook of Australian Paint Standards - Test methods AS/NZS 1580.101.1:1999 (R2013) Paints and related materials - Methods of test - - Conditions of test - Temperature, humidity and airflow control AS/NZS 1580.107.2:1995 Paints and related materials - Methods of test - - Determination of wet film thickness from wet film mass AS 1580.408.5-2006 Paints and related materials - Methods of test - Adhesion - Pull-off test AS/NZS 1580.481.1.10:1998 (R2013) Paints and related materials - Methods of test - Coatings - Exposed to weathering - Degree of flaking and peeling AS/NZS 1580.481.1.13:1998 (Reconfirmed 2013) Methods of test for paints and related materials - Exposed to weathering - Degree of fungal or algal growth AS/NZS 1580.481.1.9:1998 (R2013) Paints and related materials - Methods of test - Coatings - Exposed to weathering - Degree of blistering |
| SS | CEMENT, CONCRETE SS 26: 1997 Portland cement (ordinary and hardening) SS 31: 1998 Coarse and fine aggregates from natural sources of concrete SS EN 206 : 2014 Concrete. Specification, performance, production and conformity/ SS 544 series - Concrete - Complementary Singapore Standard to SS EN 206-1 SS EN 934 - 1 : 2008 (2015) Admixtures for concrete, mortar and grout - Common requirements/ SS EN 934 - 2 : 2015 Admixtures for concrete, mortar and grout - Part 2 : Definitions, requirements – Concrete admixtures – Definitions, requirements, conformity, marking and labelling/ SS EN 934 - 6 : 2008 (2015) Admixtures for concrete, mortar and grout - Sampling, conformity control and evaluation of conformity SS 397 : Methods of testing cement COATINGS, WATERPROOFING SS CP 82:1999- Code of practice- waterproofing of reinforced concrete buildings PAINTS SS 5 Series - Methods of test for paints, varnishes and related materials SS 7 : 1998 Paint - Finishing, gloss enamel SS 542 : 2008 Code of practice for painting of buildings SS 34 : 1998 Undercoat paint for gloss enamel SS 150 : 1998 Emulsion paints for decorative purposes |
| ISO | CONCRETE ISO 1920: 1976 Concrete tests -- Dimensions, tolerances and applicability of test specimens ISO 2736-1: 1986 Concrete tests -- Test specimens -- Part 1: Sampling of fresh concrete ISO 2736-2: 1986 Concrete tests -- Test specimens -- Part 2: Making and curing of test specimens for strength tests ISO 3766: 1995 Construction drawings -- Simplified representation of concrete reinforcement ISO 3893: 1977 Concrete -- Classification by compressive strength ISO 4012: 1978 Concrete -- Determination of compressive strength of test specimens ISO 4013: 1978 Concrete -- Determination of flexural strength of test specimens ISO 4103: 1979 Concrete -- Classification of consistency ISO 4108: 1980 Concrete -- Determination of tensile splitting strength of test specimens ISO 4109: 1980 Fresh concrete -- Determination of the consistency -- Slump test ISO 4110: 1979 Fresh concrete -- Determination of the consistency -- Vebe test ISO 4111: 1979 Fresh concrete -- Determination of consistency -- Degree of compactibility (Compaction index) ISO 4635: 1982 Rubber, vulcanized -- Preformed compression seals for use between concrete motorway paving sections -- Specification for material ISO 4848: 1980 Concrete -- Determination of air content of freshly mixed concrete -- Pressure method ISO 6274: 1982 Concrete -- Sieve analysis of aggregates ISO 6275: 1982 Concrete, hardened -- Determination of density ISO 6276: 1982 Concrete, compacted fresh -- Determination of density ISO 6782: 1982 Aggregates for concrete -- Determination of bulk density ISO 6783: 1982 Coarse aggregates for concrete -- Determination of particle density and water absorption -- Hydrostatic balance method ISO 6784: 1982 Concrete -- Determination of static modulus of elasticity in compression ISO 7033: 1987 Fine and coarse aggregates for concrete -- Determination of the particle mass-per-volume and water absorption -- Pycnometer method PAINTS , VARNISHES ISO 1513: 1992 Paints and varnishes -- Examination and preparation of samples for testing ISO 1514: 1993 Paints and varnishes -- Standard panels for testing ISO 1516: 1981 Paints, varnishes, petroleum and related products -- Flash/no flash test -- Closed cup equilibrium method ISO 1517: 1973 Paints and varnishes -- Surface-drying test -- Ballotini method ISO 1518: 1992 Paints and varnishes -- Scratch test ISO 1519: 1973 Paints and varnishes -- Bend test (cylindrical mandrel) ISO 1520: 1999 Paints and varnishes -- Cupping test (available in English only) ISO 1522: 1998 Paints and varnishes -- Pendulum damping test ISO 1523: 1983 Paints, varnishes, petroleum and related products -- Determination of flashpoint -- Closed cup equilibrium method ISO 1524: 2000 Paints, varnishes and printing inks -- Determination of fineness of grind ISO 2409: 1992 Paints and varnishes -- Cross-cut test ISO 2431: 1993 Paints and varnishes -- Determination of flow time by use of flow cups ISO 2808: 1997 Paints and varnishes -- Determination of film thickness ISO 2810: 1974 Paints and varnishes -- Notes for guidance on the conduct of natural weathering tests ISO 2811-1: 1997 Paints and varnishes -- Determination of density -- Part 1: Pyknometer method ISO 2811-2: 1997 Paints and varnishes -- Determination of density -- Part 2:Immersed body (plummet) method ISO 2811-3: 1997 Paints and varnishes -- Determination of density -- Part 3: Oscillation method ISO 2811-4: 1997 Paints and varnishes -- Determination of density -- Part 4: Pressure cup method ISO 2812-1: 1993 Paints and varnishes -- Determination of resistance to liquids -- Part 1: General methods ISO 2812-2: 1993 Paints and varnishes -- Determination of resistance to liquids -- Part 2: Water immersion method ISO 2813: 1994 Paints and varnishes -- Determination of specular gloss of non-metallic paint films at 20 degrees, 60 degrees and 85 degrees ISO 2814: 1973 Paints and varnishes -- Comparison of contrast ratio (hiding power) of paints of the same type and colour ISO 2815: 1973 Paints and varnishes -- Buchholz indentation test ISO 2884-1: 1999 Paints and varnishes -- Determination of viscosity using rotary viscometers -- Part 1: Cone-and-plate viscometer operated at a high rate of shear ISO 3231: 1993 Paints and varnishes -- Determination of resistance to humid atmospheres containing sulfur dioxide ISO 3233: 1998 Paints and varnishes -- Determination of percentage volume of non-volatile matter by measuring the density of a dried coating ISO 3248: 1998 Paints and varnishes -- Determination of the effect of heat ISO 3251: 1993 Paints and varnishes -- Determination of non-volatile matter of paints, varnishes and binders for paints and varnishes ISO 4618-1: 1998 Paints and varnishes -- Terms and definitions for coating materials -- Part 1: General terms ISO 4618-2: 1999 Paints and varnishes -- Terms and definitions for coating materials -- Part 2: Special terms relating to paint characteristics and properties ISO 4618-3: 1999 Paints and varnishes -- Terms and definitions for coating materials -- Part 3: Surface preparation and methods of application ISO 4624: 1978 Paints and varnishes -- Pull-off test for adhesion ISO 4628-1: 1982 Paints and varnishes -- Evaluation of degradation of paint coatings -- Designation of intensity, quantity and size of common types of defect -- Part 1: General principles and rating schemes ISO 4628-2: 1982 Paints and varnishes -- Evaluation of degradation of paint coatings -- Designation of intensity, quantity and size of common types of defect -- Part 2: Designation of degree of blistering ISO 4628-3: 1982 Paints and varnishes -- Evaluation of degradation of paint coatings -- Designation of intensity, quantity and size of common types of defect -- Part 3: Designation of degree of rusting ISO 4628-4: 1982 Paints and varnishes -- Evaluation of degradation of paint coatings -- Designation of intensity, quantity and size of common types of defect -- Part 4: Designation of degree of cracking ISO 4628-5: 1982 Paints and varnishes -- Evaluation of degradation of paint coatings -- Designation of intensity, quantity and size of common types of defect -- Part 5: Designation of degree of flaking ISO 4628-6: 1990 Paints and varnishes -- Evaluation of degradation of paint coatings -- Designation of intensity, quantity and size of common types of defect -- Part 6: Rating of degree of chalking by tape method ISO 6270-1: 1998 Paints and varnishes -- Determination of resistance to humidity -- Part 1: Continuous condensation ISO 6272: 1993 Paints and varnishes -- Falling-weight test ISO 6441: 1984 Paints and varnishes -- Indentation test (spherical or pyramidal) ISO 6441-1: 1999 Paints and varnishes -- Determination of micro-indentation hardness -- Part 1: Knoop hardness by measurement of indentation length ISO 6441-2: 1999 Paints and varnishes -- Determination of micro-indentation hardness -- Part 2: Knoop hardness by measurement of indentation depth under load ISO 6503: 1984 Paints and varnishes -- Determination of total lead -- Flame atomic absorption spectrometric method ISO 6504-1: 1983 Paints and varnishes -- Determination of hiding power -- Part 1: Kubelka-Munk method for white and light-coloured paints ISO 6504-3: 1998 Paints and varnishes -- Determination of hiding power -- Part 3: Determination of contrast ratio (opacity) of light-coloured paints at a fixed spreading rate ISO 6713: 1984 Paints and varnishes -- Preparation of acid extracts from paints in liquid or powder form ISO 6744-1: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 1: General methods of test ISO 6744-2: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 2: Determination of phthalic anhydride content ISO 6744-3: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 3: Determination of unsaponifiable matter content ISO 6744-4: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 4: Determination of fatty acid content ISO 6860: 1984 Paints and varnishes -- Bend test (conical mandrel) ISO 7142: 1984 Binders for paints and varnishes -- Epoxy resins -- General methods of test ISO 7143: 2000 Paints, varnishes and binders -- Methods of test for characterizing water-based coating materials and binders (available in English only) ISO 7253: 1996 Paints and varnishes -- Determination of resistance to neutral salt spray (fog) ISO 7724-1: 1984 Paints and varnishes -- Colorimetry -- Part 1: Principles ISO 7724-2: 1984 Paints and varnishes -- Colorimetry -- Part 2: Colour measurement ISO 7724-3: 1984 Paints and varnishes -- Colorimetry -- Part 3: Calculation of colour differences ISO 7783-1: 1996 Paints and varnishes -- Determination of water-vapour transmission rate -- Part 1: Dish method for free films ISO 7783-2: 1999 Paints and varnishes -- Coating materials and coating systems for exterior masonry and concrete -- Part 2: Determination and classification of water-vapour transmission rate (permeability) ISO 7784-1: 1997 Paints and varnishes -- Determination of resistance to abrasion -- Part 1: Rotating abrasive-paper-covered wheel method ISO 7784-2: 1997 Paints and varnishes -- Determination of resistance to abrasion -- Part 2: Rotating abrasive rubber wheel method ISO 7784-3: 2000 Paints and varnishes -- Determination of resistance to abrasion -- Part 3: Reciprocating test panel method ISO 8501-1: 1988 Preparation ISO 9514: 1992 Paints and varnishes -- Determination of the pot-life of liquid systems -- Preparation and conditioning of samples and guidelines for testing ISO 11503: 1995 Paints and varnishes -- Determination of resistance to humidity (intermittent condensation) ISO 11507: 1997 Paints and varnishes -- Exposure of coatings to artificial weathering -- Exposure to fluorescent UV and water ISO 11668: 1997 Binders for paints and varnishes -- Chlorinated polymerization resins -- General methods of test ISO 11890-1: 2000 Paints and varnishes -- Determination of volatile organic compound (VOC) content -- Part 1: Difference method ISO 11890-2: 2000 Paints and varnishes -- Determination of volatile organic compound (VOC) content -- Part 2: Gas-chromatographic method ISO 11908: 1996 Binders for paints and varnishes -- Amino resins -- General methods of test ISO 11909: 1996 Binders for paints and varnishes -- Polyisocyanate resins -- General methods of test ISO 11997-1: 1998 Paints and varnishes -- Determination of resistance to cyclic corrosion conditions -- Part 1: Wet (salt fog)/dry/humidity ISO 11997-2: 2000 Paints and varnishes -- Determination of resistance to cyclic corrosion conditions -- Part 2: Wet (salt fog)/dry/humidity/UV light ISO 11998: 1998 Paints and varnishes -- Determination of wet-scrub resistance and cleanability of coatings ISO 12137-1: 1997 Paints and varnishes -- Determination of mar resistance -- Part 1: Method using a curved stylus ISO 12137-2: 1997 Paints and varnishes -- Determination of mar resistance -- Part 2: Method using a pointed stylus ISO 14680-1: 2000 Paints and varnishes -- Determination of pigment content -- Part 1: Centrifuge method ISO 14680-2: 2000 Paints and varnishes -- Determination of pigment content -- Part 2: Ashing method ISO 14680-3: 2000 Paints and varnishes -- Determination of pigment content -- Part 3: Filtration method ISO 15184: 1998 Paints and varnishes -- Determination of film hardness by pencil test |

## Paint Peeling at Joint between Basement Wall and Floor

## Paint Peeling on Beam

## Blistering of Paint

| BS | CEMENT, CONCRETE, MORTAR BS 12-Specification for Portland Cements BS ISO 3310-2:2013 Test sieves. Technical requirements and testing. Test sieves of perforated metal plate/ BS 410-1:2000, ISO 3310-1:2000 Test sieves. Technical requirements and testing. Test sieves of metal wire cloth BS 882-Specification for aggregates from natural sources for concrete BS EN 12878:2014 Pigments for the colouring of building materials based on cement and/or lime. Specifications and methods of test BS EN 13139:2002 Aggregates for mortar BS 4550-6:1978 Methods of testing cement. Standard sand for mortar cubess BS 4551-Methods of testing mortars, screeds and plasters BS EN 998-1:2003-Specification for mortar for masonry. Rendering and plastering mortar/ BS EN 998-2:2003-Specification for mortar for masonry. Masonry mortar BS EN 934-3:2009+A1:2012 Admixtures for concrete, mortar and grout. Admixtures for masonry mortar. Definitions, requirements, conformity and marking and labelling/ BS EN 480-4:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of bleeding of concrete/ BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity/BS EN 480-11:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of air void characteristics in hardened concrete/BS EN 480-12:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of the alkali content of admixtures/BS EN 480-1:2006+A1:2011 Admixtures for concrete, mortar and grout. Test methods. Reference concrete and reference mortar for testing/BS EN 934-2:2009+A1:2012 Admixtures for concrete, mortar and grout . Concrete admixtures. Definitions, requirements, conformity, marking and labelling/BS EN 480-8:2012 Admixtures for concrete, mortar and grout. Test methods. Determination of the conventional dry material content/BS EN 480-10:2009 Admixtures for concrete, mortar and grout. Test methods. Determination of water soluble chloride content/BS EN 480-6:2005 Admixtures for concrete, mortar and grout. Test methods. Infrared analysis/BS EN 480-5:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of capillary absorption/BS EN 480-2:2006 Admixtures for concrete, mortar and grout. Test methods. Determination of setting time/ BS EN 998-2:2010 Specification for mortar for masonry. Masonry mortar/ BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar BS 6319-3:1990 Testing of resin and polymer/cement compositions for use in construction. Methods for measurement of modulus of elasticity in flexure and flexural strength BS 6319-12:1992 Testing of resin and polymer/cement compositions for use in construction. Methods for measurement of unrestrained linear shrinkage and coefficient of thermal expansion PD 6678:2005 Guide to the specification of masonry mortar BS EN 480-1:2014 Admixtures for concrete, mortar and grout. Test methods. Reference concrete and reference mortar for testing BS EN 480-2:2006 Admixtures for concrete, mortar and grout. Test methods. Determination of setting time BS EN 480-4:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of bleeding of concrete BS EN 480-5:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of capillary absorption BS EN 480-6:2005 Admixtures for concrete, mortar and grout. Test methods. Infrared analysis BS EN 480-8:2012 Admixtures for concrete, mortar and grout. Test methods. Determination of the conventional dry material content BS EN 480-10:2009 Admixtures for concrete, mortar and grout. Test methods. Determination of water soluble chloride content BS EN 480-11:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of air void characteristics in hardened concrete BS EN 480-12:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of the alkali content of admixtures BS EN 934-2:2009+A1:2012 Admixtures for concrete, mortar and grout. Concrete admixtures. Definitions, requirements, conformity, marking and labelling BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity COATINGS, PLASTERING, WATERPROOFINGS, SCREEDINGS BS 5492:1990- Code of practice for internal plastering BS 6949:1991- Specification for bitumen-based coatings for cold application excluding use in contact with potable water BS 7015:1989- Specification for cast acrylic sheet for baths and shower trays for domestic purposes BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS 8000:Part 9: 1989- Workmanship on building sites- Code of practice for cement/ sand floor screeds and concrete floor toppings BS 8204:various dates- Screeds, bases and in-situ floorings PAINTS BS EN ISO 4618:2014 Paints and varnishes. Terms and definitions BS 2992:1970 Specification for painters’ and decorators’ brushes for local authorities and public institutions (excluding quality of fillings) BS 3416:1991 Specification for bitumen-based coatings for cold application, suitable for use in contact with potable water BS 3483-A1:1983, ISO 787/1-1982-Methods for testing pigments for paints. Comparison of colour BS 3483-C7:1980, ISO 787/22-1980-Methods for testing pigments for paints. Comparison of resistance to bleeding BS 3416:1991 Specification for bitumen-based coatings for cold application, suitable for use in contact with potable water BS 3483-A1:1983, ISO 787/1-1982-Methods for testing pigments for paints. Comparison of colour BS 3483-C7:1980, ISO 787/22-1980-Methods for testing pigments for paints. Comparison of resistance to bleeding BS 3900-B4:1986, ISO 6503-1984-Methods of test for paints. Tests involving chemical examination of liquid paints and dried paint films. Determination of total lead in paints and similar materials BS 3900-F2:1973-Methods of test for paint. Durability tests on paint films. Determination of resistance to humidity (cyclic condensation) BS 3900-F6:1976-Methods of test for paint. Durability tests on paint films. Notes for guidance on the conduct of natural weathering test BS EN ISO 11998:2006 Paints and varnishes. Determination of wet-scrub resistance and cleanability of coatings BS EN ISO 4628-2:2016 Paints and varnishes. Evaluation of degradation of coatings. Designation of quantity and size of defects, and of intensity of uniform changes in appearance. Assessment of degree of blistering BS EN ISO 4628-5:2016 Paints and varnishes. Evaluation of degradation of coatings. Designation of quantity and size of defects, and of intensity of uniform changes in appearance. Assessment of degree of flaking BS 3900-F2:1973-Methods of test for paint. Durability tests on paint films. Determination of resistance to humidity (cyclic condensation) BS 3900-F6:1976-Methods of test for paint. Durability tests on paint films. Notes for guidance on the conduct of natural weathering test BS 3900-F9:1982, BS EN ISO 6270:1995 - Paints and varnishes. Determination of resistance to humidity (continuous condensation) BS EN ISO 11998:2006 Paints and varnishes. Determination of wet-scrub resistance and cleanability of coatings BS EN ISO 4628-2:2016 Paints and varnishes. Evaluation of degradation of coatings. Designation of quantity and size of defects, and of intensity of uniform changes in appearance. Assessment of degree of blistering BS EN ISO 4628-5:2016 Paints and varnishes. Evaluation of degradation of coatings. Designation of quantity and size of defects, and of intensity of uniform changes in appearance. Assessment of degree of flaking BS 6150:2006+A1:2014 Painting of buildings. Code of practice BS 6949:1991-Specification for bitumen-based coatings for cold application excluding use in contact with potable water BS 7664:2000-Specification for undercoat and finishing paints |
| --- | --- |
| ASTM | CEMENT, SAND, MORTAR C33: 2001a-Standard Specification for Concrete Aggregates C87: 1983(1995)e1-Standard Test Method for Effect of Organic Impurities in Fine Aggregate on Strength of Mortar ASTM C94 / C94M - 15b Standard Specification for Ready-Mixed Concrete C109/C109M: 2001-Standard Test Method for Compressive Strength of Hydraulic Cement Mortars (Using 2-in. or [50-mm] Cube Specimens) C115: 1996a-Standard Test Method for Fineness of Portland Cement by the Turbidimeter C125: 2000ae1-Standard Terminology Relating to Concrete and Concrete Aggregates C136-01- Standard Test Method for Sieve Analysis of Fine and Coarse Aggregates C150: 2000-Standard Specification for Portland Cement C295: 1998-Standard Guide for Petrographic Examination of Aggregates for Concrete C305: 1999-Practice for Mechanical Mixing of Hydraulic Cement Pastes and Mortars of Plastic Consistency C348: 1997-Standard Test Method for Flexural Strength of Hydraulic-Cement Mortars C349: 1997-Standard Test Method for Compressive Strength of Hydraulic-Cement Mortars (Using Portions of Prisms Broken in Flexure) C452: 1995-Standard Test Method for Potential Expansion of Portland-Cement Mortars Exposed to Sulfate C490: 2000a-Standard Practice for Use of Apparatus for the Determination of Length Change of Hardened Cement Paste, Mortar, and Concrete C494/ 494M: 2000-Specification for Chemical Admixtures for Concrete ASTM C597 - 09 Standard Test Method for Pulse Velocity Through Concrete ASTM C642 - 13 Standard Test Method for Density, Absorption, and Voids in Hardened Concrete C778: 2000-Standard Specification for Standard Sand ASTM C805 / C805M - 13a Standard Test Method for Rebound Number of Hardened Concrete C1038: 2001-Standard Test Method for Expansion of Hydraulic Cement Mortar Bars Stored in Water WATER D1067: 1992(1996)-Standard Test Methods for Acidity or Alkalinity of Water D1129: 2001-Standard Terminology Relating to Water D1193: 1999e1-Standard Specification for Reagent Water D1293: 1999-Standard Test Methods for pH of Water COATINGS, WATERPROOFINGS, SCREEDINGS ASTM C1063 - 16a Standard Specification for Installation of Lathing and Furring to Receive Interior and Exterior Portland Cement-Based Plaster ASTM D5295 / D5295M - 14 Standard Guide for Preparation of Concrete Surfaces for Adhered (Bonded) Membrane Waterproofing Systems ASTM D5683 / D5683M - 95(2011)e1 Standard Test Method for Flexibility of Roofing and Waterproofing Materials and Membranes ASTM D5957 - 98(2013) Standard Guide for Flood Testing Horizontal Waterproofing Installations ASTM D6135-05 Standard Practice for Application of Self-Adhering Modified Bituminous Waterproofing (Withdrawn 2014) PAINTS ASTM D1640 / D1640M - 14 Standard Test Methods for Drying, Curing, or Film Formation of Organic Coatings ASTM D2574 - 06(2012) Standard Test Method for Resistance of Emulsion Paints in the Container to Attack by Microorganisms ASTM D279 - 02(2012) Standard Test Methods for Bleeding of Pigments ASTM D4258 - 05(2012) Standard Practice for Surface Cleaning Concrete for Coating ASTM D5098 - 16 Standard Specification for Artists’ Acrylic Dispersion Paints ASTM D5146 - 10 Standard Guide to Testing Solvent-Borne Architectural Coatings ASTM D5324 - 10 Standard Guide for Testing Water-Borne Architectural Coatings ASTM D6237 - 09(2015) Standard Guide for Painting Inspectors (Concrete and Masonry Substrates) ASTM E1907-06a Standard Guide to Methods of Evaluating Moisture Conditions of Concrete Floors to Receive Resilient Floor Coverings (Withdrawn 2008) |
| AS | CONCRETE, MORTAR, CEMENT DR 01033 : Chemical admixtures for concrete, mortar and grout Methods of sampling and testing admixtures for mortar and grout AS 1012.1 to 21 : Methods of testing concrete AS 1012.10-2000 : Methods of testing concrete - Determination of indirect tensile strength of concrete cylinders (Brasil or splitting test) AS 1012.18-1996 : Methods of testing concrete - Determination of setting time of fresh concrete, mortar and grout by penetration resistance AS 1379-1997/Amdt 1-2000 : Specification and supply of concrete AS 1478.1-2000 : Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 2072-1977 : Methods for the sampling of expanding admixtures for concrete, mortar and grout AS 2073-1977 : Methods for the testing of expanding admixtures for concrete, mortar and grout AS 2350.12-1995 : Methods of testing portland and blended cements - Preparation of a standard mortar and moulding of specimens AS 2350.13-1995 : Methods of testing portland and blended cements - Determination of drying shrinkage of portland and blended cement mortars AS 2350.13-1995/Amdt 1-1997 : Methods of testing portland and blended cements - Determination of drying shrinkage of portland and blended cement mortars AS 2350.14-1996 : Methods of testing portland and blended cements - Length change of portland and blended cement mortars exposed to a sulfate solution AS 2550.15-1994 : Cranes - Safe use - Concrete placing equipment AS 3600-2001 : Concrete structures AS 3648-1993 : Specification and methods of test for packaged concrete mixes PAINTINGS, VARNISHES AS/NZS 2310:2002 Glossary of paint and painting terms AS/NZS 2311:2009 Guide to the painting of buildings AS 3730.0-2006 Guide to the properties of paints for buildings - General information on the specification, purchasing and testing of paints AS 3730.100-2006 Guide to the properties of paints for buildings - Introduction and list of guides HB 73.1-2005 Handbook of Australian Paint Standards - General HB 73.2-2005 Handbook of Australian Paint Standards - Test methods AS/NZS 1580.101.1:1999 (R2013) Paints and related materials - Methods of test - - Conditions of test - Temperature, humidity and airflow control AS/NZS 1580.107.2:1995 Paints and related materials - Methods of test - - Determination of wet film thickness from wet film mass AS 1580.408.5-2006 Paints and related materials - Methods of test - Adhesion - Pull-off test AS/NZS 1580.481.1.10:1998 (R2013) Paints and related materials - Methods of test - Coatings - Exposed to weathering - Degree of flaking and peeling AS/NZS 1580.481.1.13:1998 (Reconfirmed 2013) Methods of test for paints and related materials - Exposed to weathering - Degree of fungal or algal growth AS/NZS 1580.481.1.9:1998 (R2013) Paints and related materials - Methods of test - Coatings - Exposed to weathering - Degree of blistering |
| SS | CEMENT, CONCRETE SS 26: 1997 Portland cement (ordinary and hardening) SS 31: 1998 Coarse and fine aggregates from natural sources of concrete SS EN 206 : 2014 Concrete. Specification, performance, production and conformity/ SS 544 series - Concrete - Complementary Singapore Standard to SS EN 206-1 SS EN 934 - 1 : 2008 (2015) Admixtures for concrete, mortar and grout - Common requirements/ SS EN 934 - 2 : 2015 Admixtures for concrete, mortar and grout - Part 2 : Definitions, requirements – Concrete admixtures – Definitions, requirements, conformity, marking and labelling/ SS EN 934 - 6 : 2008 (2015) Admixtures for concrete, mortar and grout - Sampling, conformity control and evaluation of conformity SS 397 : Methods of testing cement COATINGS, WATERPROOFING SS CP 82:1999- Code of practice- waterproofing of reinforced concrete buildings PAINTS SS 5 Series - Methods of test for paints, varnishes and related materials SS 7 : 1998 Paint - Finishing, gloss enamel SS 542 : 2008 Code of practice for painting of buildings SS 34 : 1998 Undercoat paint for gloss enamel SS 150 : 1998 Emulsion paints for decorative purposes. |
| ISO | CONCRETE ISO 1920: 1976 Concrete tests -- Dimensions, tolerances and applicability of test specimens ISO 2736-1: 1986 Concrete tests -- Test specimens -- Part 1: Sampling of fresh concrete ISO 2736-2: 1986 Concrete tests -- Test specimens -- Part 2: Making and curing of test specimens for strength tests ISO 3766: 1995 Construction drawings -- Simplified representation of concrete reinforcement ISO 3893: 1977 Concrete -- Classification by compressive strength ISO 4012: 1978 Concrete -- Determination of compressive strength of test specimens ISO 4013: 1978 Concrete -- Determination of flexural strength of test specimens ISO 4103: 1979 Concrete -- Classification of consistency ISO 4108: 1980 Concrete -- Determination of tensile splitting strength of test specimens ISO 4109: 1980 Fresh concrete -- Determination of the consistency -- Slump test ISO 4110: 1979 Fresh concrete -- Determination of the consistency -- Vebe test ISO 4111: 1979 Fresh concrete -- Determination of consistency -- Degree of compactibility (Compaction index) ISO 4635: 1982 Rubber, vulcanized -- Preformed compression seals for use between concrete motorway paving sections -- Specification for material ISO 4848: 1980 Concrete -- Determination of air content of freshly mixed concrete -- Pressure method ISO 6274: 1982 Concrete -- Sieve analysis of aggregates ISO 6275: 1982 Concrete, hardened -- Determination of density ISO 6276: 1982 Concrete, compacted fresh -- Determination of density ISO 6782: 1982 Aggregates for concrete -- Determination of bulk density ISO 6783: 1982 Coarse aggregates for concrete -- Determination of particle density and water absorption -- Hydrostatic balance method ISO 6784: 1982 Concrete -- Determination of static modulus of elasticity in compression ISO 7033: 1987 Fine and coarse aggregates for concrete -- Determination of the particle mass-per-volume and water absorption -- Pycnometer method PAINTS , VARNISHES ISO 1513: 1992 Paints and varnishes -- Examination and preparation of samples for testing ISO 1514: 1993 Paints and varnishes -- Standard panels for testing ISO 1516: 1981 Paints, varnishes, petroleum and related products -- Flash/no flash test -- Closed cup equilibrium method ISO 1517: 1973 Paints and varnishes -- Surface-drying test -- Ballotini method ISO 1518: 1992 Paints and varnishes -- Scratch test ISO 1519: 1973 Paints and varnishes -- Bend test (cylindrical mandrel) ISO 1520: 1999 Paints and varnishes -- Cupping test (available in English only) ISO 1522: 1998 Paints and varnishes -- Pendulum damping test ISO 1523: 1983 Paints, varnishes, petroleum and related products -- Determination of flashpoint -- Closed cup equilibrium method ISO 1524: 2000 Paints, varnishes and printing inks -- Determination of fineness of grind ISO 2409: 1992 Paints and varnishes -- Cross-cut test ISO 2431: 1993 Paints and varnishes -- Determination of flow time by use of flow cups ISO 2808: 1997 Paints and varnishes -- Determination of film thickness ISO 2810: 1974 Paints and varnishes -- Notes for guidance on the conduct of natural weathering tests ISO 2811-1: 1997 Paints and varnishes -- Determination of density -- Part 1: Pyknometer method ISO 2811-2: 1997 Paints and varnishes -- Determination of density -- Part 2:Immersed body (plummet) method ISO 2811-3: 1997 Paints and varnishes -- Determination of density -- Part 3: Oscillation method ISO 2811-4: 1997 Paints and varnishes -- Determination of density -- Part 4: Pressure cup method ISO 2812-1: 1993 Paints and varnishes -- Determination of resistance to liquids -- Part 1: General methods ISO 2812-2: 1993 Paints and varnishes -- Determination of resistance to liquids -- Part 2: Water immersion method ISO 2813: 1994 Paints and varnishes -- Determination of specular gloss of non-metallic paint films at 20 degrees, 60 degrees and 85 degrees ISO 2814: 1973 Paints and varnishes -- Comparison of contrast ratio (hiding power) of paints of the same type and colour ISO 2815: 1973 Paints and varnishes -- Buchholz indentation test ISO 2884-1: 1999 Paints and varnishes -- Determination of viscosity using rotary viscometers -- Part 1: Cone-and-plate viscometer operated at a high rate of shear ISO 3231: 1993 Paints and varnishes -- Determination of resistance to humid atmospheres containing sulfur dioxide ISO 3233: 1998 Paints and varnishes -- Determination of percentage volume of non-volatile matter by measuring the density of a dried coating ISO 3248: 1998 Paints and varnishes -- Determination of the effect of heat ISO 3251: 1993 Paints and varnishes -- Determination of non-volatile matter of paints, varnishes and binders for paints and varnishes ISO 4618-1: 1998 Paints and varnishes -- Terms and definitions for coating materials -- Part 1: General terms ISO 4618-2: 1999 Paints and varnishes -- Terms and definitions for coating materials -- Part 2: Special terms relating to paint characteristics and properties ISO 4618-3: 1999 Paints and varnishes -- Terms and definitions for coating materials -- Part 3: Surface preparation and methods of application ISO 4624: 1978 Paints and varnishes -- Pull-off test for adhesion ISO 4628-1: 1982 Paints and varnishes -- Evaluation of degradation of paint coatings -- Designation of intensity, quantity and size of common types of defect -- Part 1: General principles and rating schemes ISO 4628-2: 1982 Paints and varnishes -- Evaluation of degradation of paint coatings -- Designation of intensity, quantity and size of common types of defect -- Part 2: Designation of degree of blistering ISO 4628-3: 1982 Paints and varnishes -- Evaluation of degradation of paint coatings -- Designation of intensity, quantity and size of common types of defect -- Part 3: Designation of degree of rusting ISO 4628-4: 1982 Paints and varnishes -- Evaluation of degradation of paint coatings -- Designation of intensity, quantity and size of common types of defect -- Part 4: Designation of degree of cracking ISO 4628-5: 1982 Paints and varnishes -- Evaluation of degradation of paint coatings -- Designation of intensity, quantity and size of common types of defect -- Part 5: Designation of degree of flaking ISO 4628-6: 1990 Paints and varnishes -- Evaluation of degradation of paint coatings -- Designation of intensity, quantity and size of common types of defect -- Part 6: Rating of degree of chalking by tape method ISO 6270-1: 1998 Paints and varnishes -- Determination of resistance to humidity -- Part 1: Continuous condensation ISO 6272: 1993 Paints and varnishes -- Falling-weight test ISO 6441: 1984 Paints and varnishes -- Indentation test (spherical or pyramidal) ISO 6441-1: 1999 Paints and varnishes -- Determination of micro-indentation hardness -- Part 1: Knoop hardness by measurement of indentation length ISO 6441-2: 1999 Paints and varnishes -- Determination of micro-indentation hardness -- Part 2: Knoop hardness by measurement of indentation depth under load ISO 6503: 1984 Paints and varnishes -- Determination of total lead -- Flame atomic absorption spectrometric method ISO 6504-1: 1983 Paints and varnishes -- Determination of hiding power -- Part 1: Kubelka-Munk method for white and light-coloured paints ISO 6504-3: 1998 Paints and varnishes -- Determination of hiding power -- Part 3: Determination of contrast ratio (opacity) of light-coloured paints at a fixed spreading rate ISO 6713: 1984 Paints and varnishes -- Preparation of acid extracts from paints in liquid or powder form ISO 6744-1: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 1: General methods of test ISO 6744-2: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 2: Determination of phthalic anhydride content ISO 6744-3: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 3: Determination of unsaponifiable matter content ISO 6744-4: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 4: Determination of fatty acid content ISO 6860: 1984 Paints and varnishes -- Bend test (conical mandrel) ISO 7142: 1984 Binders for paints and varnishes -- Epoxy resins -- General methods of test ISO 7143: 2000 Paints, varnishes and binders -- Methods of test for characterizing water-based coating materials and binders (available in English only) ISO 7253: 1996 Paints and varnishes -- Determination of resistance to neutral salt spray (fog) ISO 7724-1: 1984 Paints and varnishes -- Colorimetry -- Part 1: Principles ISO 7724-2: 1984 Paints and varnishes -- Colorimetry -- Part 2: Colour measurement ISO 7724-3: 1984 Paints and varnishes -- Colorimetry -- Part 3: Calculation of colour differences ISO 7783-1: 1996 Paints and varnishes -- Determination of water-vapour transmission rate -- Part 1: Dish method for free films ISO 7783-2: 1999 Paints and varnishes -- Coating materials and coating systems for exterior masonry and concrete -- Part 2: Determination and classification of water-vapour transmission rate (permeability) ISO 7784-1: 1997 Paints and varnishes -- Determination of resistance to abrasion -- Part 1: Rotating abrasive-paper-covered wheel method ISO 7784-2: 1997 Paints and varnishes -- Determination of resistance to abrasion -- Part 2: Rotating abrasive rubber wheel method ISO 7784-3: 2000 Paints and varnishes -- Determination of resistance to abrasion -- Part 3: Reciprocating test panel method ISO 8501-1: 1988 Preparation ISO 9514: 1992 Paints and varnishes -- Determination of the pot-life of liquid systems -- Preparation and conditioning of samples and guidelines for testing ISO 11503: 1995 Paints and varnishes -- Determination of resistance to humidity (intermittent condensation) ISO 11507: 1997 Paints and varnishes -- Exposure of coatings to artificial weathering -- Exposure to fluorescent UV and water ISO 11668: 1997 Binders for paints and varnishes -- Chlorinated polymerization resins -- General methods of test ISO 11890-1: 2000 Paints and varnishes -- Determination of volatile organic compound (VOC) content -- Part 1: Difference method ISO 11890-2: 2000 Paints and varnishes -- Determination of volatile organic compound (VOC) content -- Part 2: Gas-chromatographic method ISO 11908: 1996 Binders for paints and varnishes -- Amino resins -- General methods of test ISO 11909: 1996 Binders for paints and varnishes -- Polyisocyanate resins -- General methods of test ISO 11997-1: 1998 Paints and varnishes -- Determination of resistance to cyclic corrosion conditions -- Part 1: Wet (salt fog)/dry/humidity ISO 11997-2: 2000 Paints and varnishes -- Determination of resistance to cyclic corrosion conditions -- Part 2: Wet (salt fog)/dry/humidity/UV light ISO 11998: 1998 Paints and varnishes -- Determination of wet-scrub resistance and cleanability of coatings ISO 12137-1: 1997 Paints and varnishes -- Determination of mar resistance -- Part 1: Method using a curved stylus ISO 12137-2: 1997 Paints and varnishes -- Determination of mar resistance -- Part 2: Method using a pointed stylus ISO 14680-1: 2000 Paints and varnishes -- Determination of pigment content -- Part 1: Centrifuge method ISO 14680-2: 2000 Paints and varnishes -- Determination of pigment content -- Part 2: Ashing method ISO 14680-3: 2000 Paints and varnishes -- Determination of pigment content -- Part 3: Filtration method ISO 15184: 1998 Paints and varnishes -- Determination of film hardness by pencil test |

## Biological Attack - Fungi Growth on Basement Ceiling

## Biological Attack - Fungi Growth on Basement Wall

## Biological Attack - Fungi Growth caused by insufficient ventilation

| BS |  |
| --- | --- |
| ASTM | CEMENT, SAND, MORTAR C33: 2001a-Standard Specification for Concrete Aggregates C87: 1983(1995)e1-Standard Test Method for Effect of Organic Impurities in Fine Aggregate on Strength of Mortar ASTM C94 / C94M - 15b Standard Specification for Ready-Mixed Concrete C109/C109M: 2001-Standard Test Method for Compressive Strength of Hydraulic Cement Mortars (Using 2-in. or [50-mm] Cube Specimens) C115: 1996a-Standard Test Method for Fineness of Portland Cement by the Turbidimeter C125: 2000ae1-Standard Terminology Relating to Concrete and Concrete Aggregates C136-01- Standard Test Method for Sieve Analysis of Fine and Coarse Aggregates C150: 2000-Standard Specification for Portland Cement C295: 1998-Standard Guide for Petrographic Examination of Aggregates for Concrete C305: 1999-Practice for Mechanical Mixing of Hydraulic Cement Pastes and Mortars of Plastic Consistency C348: 1997-Standard Test Method for Flexural Strength of Hydraulic-Cement Mortars C349: 1997-Standard Test Method for Compressive Strength of Hydraulic-Cement Mortars (Using Portions of Prisms Broken in Flexure) C452: 1995-Standard Test Method for Potential Expansion of Portland-Cement Mortars Exposed to Sulfate C490: 2000a-Standard Practice for Use of Apparatus for the Determination of Length Change of Hardened Cement Paste, Mortar, and Concrete C494/ 494M: 2000-Specification for Chemical Admixtures for Concrete ASTM C597 - 09 Standard Test Method for Pulse Velocity Through Concrete ASTM C642 - 13 Standard Test Method for Density, Absorption, and Voids in Hardened Concrete C778: 2000-Standard Specification for Standard Sand ASTM C805 / C805M - 13a Standard Test Method for Rebound Number of Hardened Concrete C1038: 2001-Standard Test Method for Expansion of Hydraulic Cement Mortar Bars Stored in Water COATINGS, WATERPROOFINGS, SCREEDINGS ASTM C1063 - 16a Standard Specification for Installation of Lathing and Furring to Receive Interior and Exterior Portland Cement-Based Plaster ASTM D5295 / D5295M - 14 Standard Guide for Preparation of Concrete Surfaces for Adhered (Bonded) Membrane Waterproofing Systems ASTM D5683 / D5683M - 95(2011)e1 Standard Test Method for Flexibility of Roofing and Waterproofing Materials and Membranes ASTM D5957 - 98(2013) Standard Guide for Flood Testing Horizontal Waterproofing Installations ASTM D6135-05 Standard Practice for Application of Self-Adhering Modified Bituminous Waterproofing (Withdrawn 2014) PAINTS ASTM D1640 / D1640M - 14 Standard Test Methods for Drying, Curing, or Film Formation of Organic Coatings ASTM D2574 - 06(2012) Standard Test Method for Resistance of Emulsion Paints in the Container to Attack by Microorganisms ASTM D279 - 02(2012) Standard Test Methods for Bleeding of Pigments ASTM D4258 - 05(2012) Standard Practice for Surface Cleaning Concrete for Coating ASTM D5098 - 16 Standard Specification for Artists’ Acrylic Dispersion Paints ASTM D5146 - 10 Standard Guide to Testing Solvent-Borne Architectural Coatings ASTM D5324 - 10 Standard Guide for Testing Water-Borne Architectural Coatings ASTM D6237 - 09(2015) Standard Guide for Painting Inspectors (Concrete and Masonry Substrates) ASTM E1907-06a Standard Guide to Methods of Evaluating Moisture Conditions of Concrete Floors to Receive Resilient Floor Coverings (Withdrawn 2008) |
| AS | CONCRETE, MORTAR, CEMENT DR 01033 : Chemical admixtures for concrete, mortar and grout Methods of sampling and testing admixtures for mortar and grout AS 1012.1 to 21 : Methods of testing concrete AS 1012.10-2000 : Methods of testing concrete - Determination of indirect tensile strength of concrete cylinders (Brasil or splitting test) AS 1012.18-1996 : Methods of testing concrete - Determination of setting time of fresh concrete, mortar and grout by penetration resistance AS 1379-1997/Amdt 1-2000 : Specification and supply of concrete AS 1478.1-2000 : Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 2072-1977 : Methods for the sampling of expanding admixtures for concrete, mortar and grout AS 2073-1977 : Methods for the testing of expanding admixtures for concrete, mortar and grout AS 2350.12-1995 : Methods of testing portland and blended cements - Preparation of a standard mortar and moulding of specimens AS 2350.13-1995 : Methods of testing portland and blended cements - Determination of drying shrinkage of portland and blended cement mortars AS 2350.13-1995/Amdt 1-1997 : Methods of testing portland and blended cements - Determination of drying shrinkage of portland and blended cement mortars AS 2350.14-1996 : Methods of testing portland and blended cements - Length change of portland and blended cement mortars exposed to a sulfate solution AS 2550.15-1994 : Cranes - Safe use - Concrete placing equipment AS 3600-2001 : Concrete structures AS 3648-1993 : Specification and methods of test for packaged concrete mixes WATERPROOFING, SCREEDING, COATINGS AS 3740-2010/Amdt 1-2012 Waterproofing of domestic wet areas AS 3740-Amdt 1:1995- Waterproofing of wet areas within residential buildings PAINTINGS, VARNISHES AS/NZS 2310:2002 Glossary of paint and painting terms AS/NZS 2311:2009 Guide to the painting of buildings AS 3730.0-2006 Guide to the properties of paints for buildings - General information on the specification, purchasing and testing of paints AS 3730.100-2006 Guide to the properties of paints for buildings - Introduction and list of guides HB 73.1-2005 Handbook of Australian Paint Standards - General HB 73.2-2005 Handbook of Australian Paint Standards - Test methods AS/NZS 1580.101.1:1999 (R2013) Paints and related materials - Methods of test - - Conditions of test - Temperature, humidity and airflow control AS/NZS 1580.107.2:1995 Paints and related materials - Methods of test - - Determination of wet film thickness from wet film mass AS 1580.408.5-2006 Paints and related materials - Methods of test - Adhesion - Pull-off test AS/NZS 1580.481.1.10:1998 (R2013) Paints and related materials - Methods of test - Coatings - Exposed to weathering - Degree of flaking and peeling AS/NZS 1580.481.1.13:1998 (Reconfirmed 2013) Methods of test for paints and related materials - Exposed to weathering - Degree of fungal or algal growth AS/NZS 1580.481.1.9:1998 (R2013) Paints and related materials - Methods of test - Coatings - Exposed to weathering - Degree of blistering |
| SS | CEMENT, CONCRETE SS 26: 1997 Portland cement (ordinary and hardening) SS 31: 1998 Coarse and fine aggregates from natural sources of concrete SS 117 : 1975 HOT DIP GALVANIZED COATINGS ON IRON AND STEEL ARTICLES (REFER TO ISO 1460 AND ISO 1461) SS EN 206 : 2014 Concrete. Specification, performance, production and conformity/ SS 544 series - Concrete - Complementary Singapore Standard to SS EN 206-1 SS EN 934 - 1 : 2008 (2015) Admixtures for concrete, mortar and grout - Common requirements/ SS EN 934 - 2 : 2015 Admixtures for concrete, mortar and grout - Part 2 : Definitions, requirements – Concrete admixtures – Definitions, requirements, conformity, marking and labelling/ SS EN 934 - 6 : 2008 (2015) Admixtures for concrete, mortar and grout - Sampling, conformity control and evaluation of conformity SS 397 : Methods of testing cement COATINGS, WATERPROOFING SS CP 82:1999- Code of practice- waterproofing of reinforced concrete buildings PAINTS SS 5 Series - Methods of test for paints, varnishes and related materials SS 7 : 1998 Paint - Finishing, gloss enamel SS 542 : 2008 Code of practice for painting of buildings SS 34 : 1998 Undercoat paint for gloss enamel SS 150 : 1998 Emulsion paints for decorative purposes. |
| ISO | CONCRETE ISO 1920: 1976 Concrete tests -- Dimensions, tolerances and applicability of test specimens ISO 2736-1: 1986 Concrete tests -- Test specimens -- Part 1: Sampling of fresh concrete ISO 2736-2: 1986 Concrete tests -- Test specimens -- Part 2: Making and curing of test specimens for strength tests ISO 3766: 1995 Construction drawings -- Simplified representation of concrete reinforcement ISO 3893: 1977 Concrete -- Classification by compressive strength ISO 4012: 1978 Concrete -- Determination of compressive strength of test specimens ISO 4013: 1978 Concrete -- Determination of flexural strength of test specimens ISO 4103: 1979 Concrete -- Classification of consistency ISO 4108: 1980 Concrete -- Determination of tensile splitting strength of test specimens ISO 4109: 1980 Fresh concrete -- Determination of the consistency -- Slump test ISO 4110: 1979 Fresh concrete -- Determination of the consistency -- Vebe test ISO 4111: 1979 Fresh concrete -- Determination of consistency -- Degree of compactibility (Compaction index) ISO 4635: 1982 Rubber, vulcanized -- Preformed compression seals for use between concrete motorway paving sections -- Specification for material ISO 4848: 1980 Concrete -- Determination of air content of freshly mixed concrete -- Pressure method ISO 6274: 1982 Concrete -- Sieve analysis of aggregates ISO 6275: 1982 Concrete, hardened -- Determination of density ISO 6276: 1982 Concrete, compacted fresh -- Determination of density ISO 6782: 1982 Aggregates for concrete -- Determination of bulk density ISO 6783: 1982 Coarse aggregates for concrete -- Determination of particle density and water absorption -- Hydrostatic balance method ISO 6784: 1982 Concrete -- Determination of static modulus of elasticity in compression ISO 7033: 1987 Fine and coarse aggregates for concrete -- Determination of the particle mass-per-volume and water absorption -- Pycnometer method PAINTS , VARNISHES ISO 1513: 1992 Paints and varnishes -- Examination and preparation of samples for testing ISO 1514: 1993 Paints and varnishes -- Standard panels for testing ISO 1516: 1981 Paints, varnishes, petroleum and related products -- Flash/no flash test -- Closed cup equilibrium method ISO 1517: 1973 Paints and varnishes -- Surface-drying test -- Ballotini method ISO 1518: 1992 Paints and varnishes -- Scratch test ISO 1519: 1973 Paints and varnishes -- Bend test (cylindrical mandrel) ISO 1520: 1999 Paints and varnishes -- Cupping test (available in English only) ISO 1522: 1998 Paints and varnishes -- Pendulum damping test ISO 1523: 1983 Paints, varnishes, petroleum and related products -- Determination of flashpoint -- Closed cup equilibrium method ISO 1524: 2000 Paints, varnishes and printing inks -- Determination of fineness of grind ISO 2409: 1992 Paints and varnishes -- Cross-cut test ISO 2431: 1993 Paints and varnishes -- Determination of flow time by use of flow cups ISO 2808: 1997 Paints and varnishes -- Determination of film thickness ISO 2810: 1974 Paints and varnishes -- Notes for guidance on the conduct of natural weathering tests ISO 2811-1: 1997 Paints and varnishes -- Determination of density -- Part 1: Pyknometer method ISO 2811-2: 1997 Paints and varnishes -- Determination of density -- Part 2:Immersed body (plummet) method ISO 2811-3: 1997 Paints and varnishes -- Determination of density -- Part 3: Oscillation method ISO 2811-4: 1997 Paints and varnishes -- Determination of density -- Part 4: Pressure cup method ISO 2812-1: 1993 Paints and varnishes -- Determination of resistance to liquids -- Part 1: General methods ISO 2812-2: 1993 Paints and varnishes -- Determination of resistance to liquids -- Part 2: Water immersion method ISO 2813: 1994 Paints and varnishes -- Determination of specular gloss of non-metallic paint films at 20 degrees, 60 degrees and 85 degrees ISO 2814: 1973 Paints and varnishes -- Comparison of contrast ratio (hiding power) of paints of the same type and colour ISO 2815: 1973 Paints and varnishes -- Buchholz indentation test ISO 2884-1: 1999 Paints and varnishes -- Determination of viscosity using rotary viscometers -- Part 1: Cone-and-plate viscometer operated at a high rate of shear ISO 3231: 1993 Paints and varnishes -- Determination of resistance to humid atmospheres containing sulfur dioxide ISO 3233: 1998 Paints and varnishes -- Determination of percentage volume of non-volatile matter by measuring the density of a dried coating ISO 3248: 1998 Paints and varnishes -- Determination of the effect of heat ISO 3251: 1993 Paints and varnishes -- Determination of non-volatile matter of paints, varnishes and binders for paints and varnishes ISO 4618-1: 1998 Paints and varnishes -- Terms and definitions for coating materials -- Part 1: General terms ISO 4618-2: 1999 Paints and varnishes -- Terms and definitions for coating materials -- Part 2: Special terms relating to paint characteristics and properties ISO 4618-3: 1999 Paints and varnishes -- Terms and definitions for coating materials -- Part 3: Surface preparation and methods of application ISO 4624: 1978 Paints and varnishes -- Pull-off test for adhesion ISO 4628-1: 1982 Paints and varnishes -- Evaluation of degradation of paint coatings -- Designation of intensity, quantity and size of common types of defect -- Part 1: General principles and rating schemes ISO 4628-2: 1982 Paints and varnishes -- Evaluation of degradation of paint coatings -- Designation of intensity, quantity and size of common types of defect -- Part 2: Designation of degree of blistering ISO 4628-3: 1982 Paints and varnishes -- Evaluation of degradation of paint coatings -- Designation of intensity, quantity and size of common types of defect -- Part 3: Designation of degree of rusting ISO 4628-4: 1982 Paints and varnishes -- Evaluation of degradation of paint coatings -- Designation of intensity, quantity and size of common types of defect -- Part 4: Designation of degree of cracking ISO 4628-5: 1982 Paints and varnishes -- Evaluation of degradation of paint coatings -- Designation of intensity, quantity and size of common types of defect -- Part 5: Designation of degree of flaking ISO 4628-6: 1990 Paints and varnishes -- Evaluation of degradation of paint coatings -- Designation of intensity, quantity and size of common types of defect -- Part 6: Rating of degree of chalking by tape method ISO 6270-1: 1998 Paints and varnishes -- Determination of resistance to humidity -- Part 1: Continuous condensation ISO 6272: 1993 Paints and varnishes -- Falling-weight test ISO 6441: 1984 Paints and varnishes -- Indentation test (spherical or pyramidal) ISO 6441-1: 1999 Paints and varnishes -- Determination of micro-indentation hardness -- Part 1: Knoop hardness by measurement of indentation length ISO 6441-2: 1999 Paints and varnishes -- Determination of micro-indentation hardness -- Part 2: Knoop hardness by measurement of indentation depth under load ISO 6503: 1984 Paints and varnishes -- Determination of total lead -- Flame atomic absorption spectrometric method ISO 6504-1: 1983 Paints and varnishes -- Determination of hiding power -- Part 1: Kubelka-Munk method for white and light-coloured paints ISO 6504-3: 1998 Paints and varnishes -- Determination of hiding power -- Part 3: Determination of contrast ratio (opacity) of light-coloured paints at a fixed spreading rate ISO 6713: 1984 Paints and varnishes -- Preparation of acid extracts from paints in liquid or powder form ISO 6744-1: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 1: General methods of test ISO 6744-2: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 2: Determination of phthalic anhydride content ISO 6744-3: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 3: Determination of unsaponifiable matter content ISO 6744-4: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 4: Determination of fatty acid content ISO 6860: 1984 Paints and varnishes -- Bend test (conical mandrel) ISO 7142: 1984 Binders for paints and varnishes -- Epoxy resins -- General methods of test ISO 7143: 2000 Paints, varnishes and binders -- Methods of test for characterizing water-based coating materials and binders (available in English only) ISO 7253: 1996 Paints and varnishes -- Determination of resistance to neutral salt spray (fog) ISO 7724-1: 1984 Paints and varnishes -- Colorimetry -- Part 1: Principles ISO 7724-2: 1984 Paints and varnishes -- Colorimetry -- Part 2: Colour measurement ISO 7724-3: 1984 Paints and varnishes -- Colorimetry -- Part 3: Calculation of colour differences ISO 7783-1: 1996 Paints and varnishes -- Determination of water-vapour transmission rate -- Part 1: Dish method for free films ISO 7783-2: 1999 Paints and varnishes -- Coating materials and coating systems for exterior masonry and concrete -- Part 2: Determination and classification of water-vapour transmission rate (permeability) ISO 7784-1: 1997 Paints and varnishes -- Determination of resistance to abrasion -- Part 1: Rotating abrasive-paper-covered wheel method ISO 7784-2: 1997 Paints and varnishes -- Determination of resistance to abrasion -- Part 2: Rotating abrasive rubber wheel method ISO 7784-3: 2000 Paints and varnishes -- Determination of resistance to abrasion -- Part 3: Reciprocating test panel method ISO 8501-1: 1988 Preparation ISO 9514: 1992 Paints and varnishes -- Determination of the pot-life of liquid systems -- Preparation and conditioning of samples and guidelines for testing ISO 11503: 1995 Paints and varnishes -- Determination of resistance to humidity (intermittent condensation) ISO 11507: 1997 Paints and varnishes -- Exposure of coatings to artificial weathering -- Exposure to fluorescent UV and water ISO 11668: 1997 Binders for paints and varnishes -- Chlorinated polymerization resins -- General methods of test ISO 11890-1: 2000 Paints and varnishes -- Determination of volatile organic compound (VOC) content -- Part 1: Difference method ISO 11890-2: 2000 Paints and varnishes -- Determination of volatile organic compound (VOC) content -- Part 2: Gas-chromatographic method ISO 11908: 1996 Binders for paints and varnishes -- Amino resins -- General methods of test ISO 11909: 1996 Binders for paints and varnishes -- Polyisocyanate resins -- General methods of test ISO 11997-1: 1998 Paints and varnishes -- Determination of resistance to cyclic corrosion conditions -- Part 1: Wet (salt fog)/dry/humidity ISO 11997-2: 2000 Paints and varnishes -- Determination of resistance to cyclic corrosion conditions -- Part 2: Wet (salt fog)/dry/humidity/UV light ISO 11998: 1998 Paints and varnishes -- Determination of wet-scrub resistance and cleanability of coatings ISO 12137-1: 1997 Paints and varnishes -- Determination of mar resistance -- Part 1: Method using a curved stylus ISO 12137-2: 1997 Paints and varnishes -- Determination of mar resistance -- Part 2: Method using a pointed stylus ISO 14680-1: 2000 Paints and varnishes -- Determination of pigment content -- Part 1: Centrifuge method ISO 14680-2: 2000 Paints and varnishes -- Determination of pigment content -- Part 2: Ashing method ISO 14680-3: 2000 Paints and varnishes -- Determination of pigment content -- Part 3: Filtration method ISO 15184: 1998 Paints and varnishes -- Determination of film hardness by pencil test |

## Crazing (crazing of the paint coating on the basement wall)

| BS | CEMENT, CONCRETE, MORTAR BS 12-Specification for Portland Cements BS ISO 3310-2:2013 Test sieves. Technical requirements and testing. Test sieves of perforated metal plate/ BS 410-1:2000, ISO 3310-1:2000 Test sieves. Technical requirements and testing. Test sieves of metal wire cloth BS 882-Specification for aggregates from natural sources for concrete BS EN 12878:2014 Pigments for the colouring of building materials based on cement and/or lime. Specifications and methods of test BS EN 13139:2002 Aggregates for mortar BS 4550-6:1978 Methods of testing cement. Standard sand for mortar cubess BS 4551-Methods of testing mortars, screeds and plasters BS EN 998-1:2003-Specification for mortar for masonry. Rendering and plastering mortar/ BS EN 998-2:2003-Specification for mortar for masonry. Masonry mortar BS EN 934-3:2009+A1:2012 Admixtures for concrete, mortar and grout. Admixtures for masonry mortar. Definitions, requirements, conformity and marking and labelling/ BS EN 480-4:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of bleeding of concrete/ BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity/BS EN 480-11:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of air void characteristics in hardened concrete/BS EN 480-12:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of the alkali content of admixtures/BS EN 480-1:2006+A1:2011 Admixtures for concrete, mortar and grout. Test methods. Reference concrete and reference mortar for testing/BS EN 934-2:2009+A1:2012 Admixtures for concrete, mortar and grout . Concrete admixtures. Definitions, requirements, conformity, marking and labelling/BS EN 480-8:2012 Admixtures for concrete, mortar and grout. Test methods. Determination of the conventional dry material content/BS EN 480-10:2009 Admixtures for concrete, mortar and grout. Test methods. Determination of water soluble chloride content/BS EN 480-6:2005 Admixtures for concrete, mortar and grout. Test methods. Infrared analysis/BS EN 480-5:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of capillary absorption/BS EN 480-2:2006 Admixtures for concrete, mortar and grout. Test methods. Determination of setting time/ BS EN 998-2:2010 Specification for mortar for masonry. Masonry mortar/ BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar BS 6319-3:1990 Testing of resin and polymer/cement compositions for use in construction. Methods for measurement of modulus of elasticity in flexure and flexural strength BS 6319-12:1992 Testing of resin and polymer/cement compositions for use in construction. Methods for measurement of unrestrained linear shrinkage and coefficient of thermal expansion PD 6678:2005 Guide to the specification of masonry mortar BS EN 480-1:2014 Admixtures for concrete, mortar and grout. Test methods. Reference concrete and reference mortar for testing BS EN 480-2:2006 Admixtures for concrete, mortar and grout. Test methods. Determination of setting time BS EN 480-4:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of bleeding of concrete BS EN 480-5:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of capillary absorption BS EN 480-6:2005 Admixtures for concrete, mortar and grout. Test methods. Infrared analysis BS EN 480-8:2012 Admixtures for concrete, mortar and grout. Test methods. Determination of the conventional dry material content BS EN 480-10:2009 Admixtures for concrete, mortar and grout. Test methods. Determination of water soluble chloride content BS EN 480-11:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of air void characteristics in hardened concrete BS EN 480-12:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of the alkali content of admixtures BS EN 934-2:2009+A1:2012 Admixtures for concrete, mortar and grout. Concrete admixtures. Definitions, requirements, conformity, marking and labelling BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity COATINGS, PLASTERING, WATERPROOFINGS, SCREEDINGS BS 5492:1990- Code of practice for internal plastering BS 6949:1991- Specification for bitumen-based coatings for cold application excluding use in contact with potable water BS 7015:1989- Specification for cast acrylic sheet for baths and shower trays for domestic purposes BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS 8000:Part 9: 1989- Workmanship on building sites- Code of practice for cement/ sand floor screeds and concrete floor toppings BS 8204:various dates- Screeds, bases and in-situ floorings PAINTS BS EN ISO 4618:2014 Paints and varnishes. Terms and definitions BS 2992:1970 Specification for painters’ and decorators’ brushes for local authorities and public institutions (excluding quality of fillings) BS 3416:1991 Specification for bitumen-based coatings for cold application, suitable for use in contact with potable water BS 3483-A1:1983, ISO 787/1-1982-Methods for testing pigments for paints. Comparison of colour BS 3483-C7:1980, ISO 787/22-1980-Methods for testing pigments for paints. Comparison of resistance to bleeding BS 3416:1991 Specification for bitumen-based coatings for cold application, suitable for use in contact with potable water BS 3483-A1:1983, ISO 787/1-1982-Methods for testing pigments for paints. Comparison of colour BS 3483-C7:1980, ISO 787/22-1980-Methods for testing pigments for paints. Comparison of resistance to bleeding BS 3900-B4:1986, ISO 6503-1984-Methods of test for paints. Tests involving chemical examination of liquid paints and dried paint films. Determination of total lead in paints and similar materials BS 3900-F2:1973-Methods of test for paint. Durability tests on paint films. Determination of resistance to humidity (cyclic condensation) BS 3900-F6:1976-Methods of test for paint. Durability tests on paint films. Notes for guidance on the conduct of natural weathering test BS EN ISO 11998:2006 Paints and varnishes. Determination of wet-scrub resistance and cleanability of coatings BS EN ISO 4628-2:2016 Paints and varnishes. Evaluation of degradation of coatings. Designation of quantity and size of defects, and of intensity of uniform changes in appearance. Assessment of degree of blistering BS EN ISO 4628-5:2016 Paints and varnishes. Evaluation of degradation of coatings. Designation of quantity and size of defects, and of intensity of uniform changes in appearance. Assessment of degree of flaking BS 3900-F2:1973-Methods of test for paint. Durability tests on paint films. Determination of resistance to humidity (cyclic condensation) BS 3900-F6:1976-Methods of test for paint. Durability tests on paint films. Notes for guidance on the conduct of natural weathering test BS 3900-F9:1982, BS EN ISO 6270:1995 - Paints and varnishes. Determination of resistance to humidity (continuous condensation) BS EN ISO 11998:2006 Paints and varnishes. Determination of wet-scrub resistance and cleanability of coatings BS EN ISO 4628-2:2016 Paints and varnishes. Evaluation of degradation of coatings. Designation of quantity and size of defects, and of intensity of uniform changes in appearance. Assessment of degree of blistering BS EN ISO 4628-5:2016 Paints and varnishes. Evaluation of degradation of coatings. Designation of quantity and size of defects, and of intensity of uniform changes in appearance. Assessment of degree of flaking BS 6150:2006+A1:2014 Painting of buildings. Code of practice BS 6949:1991-Specification for bitumen-based coatings for cold application excluding use in contact with potable water BS 7664:2000-Specification for undercoat and finishing paints |
| --- | --- |
| ASTM | CEMENT, SAND, MORTAR C33: 2001a-Standard Specification for Concrete Aggregates C87: 1983(1995)e1-Standard Test Method for Effect of Organic Impurities in Fine Aggregate on Strength of Mortar ASTM C94 / C94M - 15b Standard Specification for Ready-Mixed Concrete C109/C109M: 2001-Standard Test Method for Compressive Strength of Hydraulic Cement Mortars (Using 2-in. or [50-mm] Cube Specimens) C115: 1996a-Standard Test Method for Fineness of Portland Cement by the Turbidimeter C125: 2000ae1-Standard Terminology Relating to Concrete and Concrete Aggregates C136-01- Standard Test Method for Sieve Analysis of Fine and Coarse Aggregates C150: 2000-Standard Specification for Portland Cement C295: 1998-Standard Guide for Petrographic Examination of Aggregates for Concrete C305: 1999-Practice for Mechanical Mixing of Hydraulic Cement Pastes and Mortars of Plastic Consistency C348: 1997-Standard Test Method for Flexural Strength of Hydraulic-Cement Mortars C349: 1997-Standard Test Method for Compressive Strength of Hydraulic-Cement Mortars (Using Portions of Prisms Broken in Flexure) C452: 1995-Standard Test Method for Potential Expansion of Portland-Cement Mortars Exposed to Sulfate C490: 2000a-Standard Practice for Use of Apparatus for the Determination of Length Change of Hardened Cement Paste, Mortar, and Concrete C494/ 494M: 2000-Specification for Chemical Admixtures for Concrete ASTM C597 - 09 Standard Test Method for Pulse Velocity Through Concrete ASTM C642 - 13 Standard Test Method for Density, Absorption, and Voids in Hardened Concrete C778: 2000-Standard Specification for Standard Sand ASTM C805 / C805M - 13a Standard Test Method for Rebound Number of Hardened Concrete C1038: 2001-Standard Test Method for Expansion of Hydraulic Cement Mortar Bars Stored in Water WATER D1067: 1992(1996)-Standard Test Methods for Acidity or Alkalinity of Water D1129: 2001-Standard Terminology Relating to Water D1193: 1999e1-Standard Specification for Reagent Water D1293: 1999-Standard Test Methods for pH of Water COATINGS, WATERPROOFINGS, SCREEDINGS ASTM C1063 - 16a Standard Specification for Installation of Lathing and Furring to Receive Interior and Exterior Portland Cement-Based Plaster ASTM D5295 / D5295M - 14 Standard Guide for Preparation of Concrete Surfaces for Adhered (Bonded) Membrane Waterproofing Systems ASTM D5683 / D5683M - 95(2011)e1 Standard Test Method for Flexibility of Roofing and Waterproofing Materials and Membranes ASTM D5957 - 98(2013) Standard Guide for Flood Testing Horizontal Waterproofing Installations ASTM D6135-05 Standard Practice for Application of Self-Adhering Modified Bituminous Waterproofing (Withdrawn 2014) PAINTS ASTM D1640 / D1640M - 14 Standard Test Methods for Drying, Curing, or Film Formation of Organic Coatings ASTM D2574 - 06(2012) Standard Test Method for Resistance of Emulsion Paints in the Container to Attack by Microorganisms ASTM D279 - 02(2012) Standard Test Methods for Bleeding of Pigments ASTM D4258 - 05(2012) Standard Practice for Surface Cleaning Concrete for Coating ASTM D5098 - 16 Standard Specification for Artists’ Acrylic Dispersion Paints ASTM D5146 - 10 Standard Guide to Testing Solvent-Borne Architectural Coatings ASTM D5324 - 10 Standard Guide for Testing Water-Borne Architectural Coatings ASTM D6237 - 09(2015) Standard Guide for Painting Inspectors (Concrete and Masonry Substrates) ASTM E1907-06a Standard Guide to Methods of Evaluating Moisture Conditions of Concrete Floors to Receive Resilient Floor Coverings (Withdrawn 2008) |
| AS | CONCRETE, MORTAR, CEMENT DR 01033 : Chemical admixtures for concrete, mortar and grout Methods of sampling and testing admixtures for mortar and grout AS 1012.1 to 21 : Methods of testing concrete AS 1012.10-2000 : Methods of testing concrete - Determination of indirect tensile strength of concrete cylinders (Brasil or splitting test) AS 1012.18-1996 : Methods of testing concrete - Determination of setting time of fresh concrete, mortar and grout by penetration resistance AS 1379-1997/Amdt 1-2000 : Specification and supply of concrete AS 1478.1-2000 : Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 2072-1977 : Methods for the sampling of expanding admixtures for concrete, mortar and grout AS 2073-1977 : Methods for the testing of expanding admixtures for concrete, mortar and grout AS 2350.12-1995 : Methods of testing portland and blended cements - Preparation of a standard mortar and moulding of specimens AS 2350.13-1995 : Methods of testing portland and blended cements - Determination of drying shrinkage of portland and blended cement mortars AS 2350.13-1995/Amdt 1-1997 : Methods of testing portland and blended cements - Determination of drying shrinkage of portland and blended cement mortars AS 2350.14-1996 : Methods of testing portland and blended cements - Length change of portland and blended cement mortars exposed to a sulfate solution AS 2550.15-1994 : Cranes - Safe use - Concrete placing equipment AS 3600-2001 : Concrete structures AS 3648-1993 : Specification and methods of test for packaged concrete mixes WATERPROOFING, SCREEDING, COATINGS AS 3740-2010/Amdt 1-2012 Waterproofing of domestic wet areas AS 3740-Amdt 1:1995- Waterproofing of wet areas within residential buildings PAINTINGS, VARNISHES AS/NZS 2310:2002 Glossary of paint and painting terms AS/NZS 2311:2009 Guide to the painting of buildings AS 3730.0-2006 Guide to the properties of paints for buildings - General information on the specification, purchasing and testing of paints AS 3730.100-2006 Guide to the properties of paints for buildings - Introduction and list of guides HB 73.1-2005 Handbook of Australian Paint Standards - General HB 73.2-2005 Handbook of Australian Paint Standards - Test methods AS/NZS 1580.101.1:1999 (R2013) Paints and related materials - Methods of test - - Conditions of test - Temperature, humidity and airflow control AS/NZS 1580.107.2:1995 Paints and related materials - Methods of test - - Determination of wet film thickness from wet film mass AS 1580.408.5-2006 Paints and related materials - Methods of test - Adhesion - Pull-off test AS/NZS 1580.481.1.10:1998 (R2013) Paints and related materials - Methods of test - Coatings - Exposed to weathering - Degree of flaking and peeling AS/NZS 1580.481.1.13:1998 (Reconfirmed 2013) Methods of test for paints and related materials - Exposed to weathering - Degree of fungal or algal growth AS/NZS 1580.481.1.9:1998 (R2013) Paints and related materials - Methods of test - Coatings - Exposed to weathering - Degree of blistering |
| SS | CEMENT, CONCRETE SS 26: 1997 Portland cement (ordinary and hardening) SS 31: 1998 Coarse and fine aggregates from natural sources of concrete SS 117 : 1975 HOT DIP GALVANIZED COATINGS ON IRON AND STEEL ARTICLES (REFER TO ISO 1460 AND ISO 1461) SS EN 206 : 2014 Concrete. Specification, performance, production and conformity/ SS 544 series - Concrete - Complementary Singapore Standard to SS EN 206-1 SS EN 934 - 1 : 2008 (2015) Admixtures for concrete, mortar and grout - Common requirements/ SS EN 934 - 2 : 2015 Admixtures for concrete, mortar and grout - Part 2 : Definitions, requirements – Concrete admixtures – Definitions, requirements, conformity, marking and labelling/ SS EN 934 - 6 : 2008 (2015) Admixtures for concrete, mortar and grout - Sampling, conformity control and evaluation of conformity SS 397 : Methods of testing cement COATINGS, WATERPROOFING SS CP 82:1999- Code of practice- waterproofing of reinforced concrete buildings PAINTS SS 5 Series - Methods of test for paints, varnishes and related materials SS 7 : 1998 Paint - Finishing, gloss enamel SS 542 : 2008 Code of practice for painting of buildings SS 34 : 1998 Undercoat paint for gloss enamel SS 150 : 1998 Emulsion paints for decorative purposes |
| ISO | CONCRETE ISO 1920: 1976 Concrete tests -- Dimensions, tolerances and applicability of test specimens ISO 2736-1: 1986 Concrete tests -- Test specimens -- Part 1: Sampling of fresh concrete ISO 2736-2: 1986 Concrete tests -- Test specimens -- Part 2: Making and curing of test specimens for strength tests ISO 3766: 1995 Construction drawings -- Simplified representation of concrete reinforcement ISO 3893: 1977 Concrete -- Classification by compressive strength ISO 4012: 1978 Concrete -- Determination of compressive strength of test specimens ISO 4013: 1978 Concrete -- Determination of flexural strength of test specimens ISO 4103: 1979 Concrete -- Classification of consistency ISO 4108: 1980 Concrete -- Determination of tensile splitting strength of test specimens ISO 4109: 1980 Fresh concrete -- Determination of the consistency -- Slump test ISO 4110: 1979 Fresh concrete -- Determination of the consistency -- Vebe test ISO 4111: 1979 Fresh concrete -- Determination of consistency -- Degree of compactibility (Compaction index) ISO 4635: 1982 Rubber, vulcanized -- Preformed compression seals for use between concrete motorway paving sections -- Specification for material ISO 4848: 1980 Concrete -- Determination of air content of freshly mixed concrete -- Pressure method ISO 6274: 1982 Concrete -- Sieve analysis of aggregates ISO 6275: 1982 Concrete, hardened -- Determination of density ISO 6276: 1982 Concrete, compacted fresh -- Determination of density ISO 6782: 1982 Aggregates for concrete -- Determination of bulk density ISO 6783: 1982 Coarse aggregates for concrete -- Determination of particle density and water absorption -- Hydrostatic balance method ISO 6784: 1982 Concrete -- Determination of static modulus of elasticity in compression ISO 7033: 1987 Fine and coarse aggregates for concrete -- Determination of the particle mass-per-volume and water absorption -- Pycnometer method PAINTS , VARNISHES ISO 1513: 1992 Paints and varnishes -- Examination and preparation of samples for testing ISO 1514: 1993 Paints and varnishes -- Standard panels for testing ISO 1516: 1981 Paints, varnishes, petroleum and related products -- Flash/no flash test -- Closed cup equilibrium method ISO 1517: 1973 Paints and varnishes -- Surface-drying test -- Ballotini method ISO 1518: 1992 Paints and varnishes -- Scratch test ISO 1519: 1973 Paints and varnishes -- Bend test (cylindrical mandrel) ISO 1520: 1999 Paints and varnishes -- Cupping test (available in English only) ISO 1522: 1998 Paints and varnishes -- Pendulum damping test ISO 1523: 1983 Paints, varnishes, petroleum and related products -- Determination of flashpoint -- Closed cup equilibrium method ISO 1524: 2000 Paints, varnishes and printing inks -- Determination of fineness of grind ISO 2409: 1992 Paints and varnishes -- Cross-cut test ISO 2431: 1993 Paints and varnishes -- Determination of flow time by use of flow cups ISO 2808: 1997 Paints and varnishes -- Determination of film thickness ISO 2810: 1974 Paints and varnishes -- Notes for guidance on the conduct of natural weathering tests ISO 2811-1: 1997 Paints and varnishes -- Determination of density -- Part 1: Pyknometer method ISO 2811-2: 1997 Paints and varnishes -- Determination of density -- Part 2:Immersed body (plummet) method ISO 2811-3: 1997 Paints and varnishes -- Determination of density -- Part 3: Oscillation method ISO 2811-4: 1997 Paints and varnishes -- Determination of density -- Part 4: Pressure cup method ISO 2812-1: 1993 Paints and varnishes -- Determination of resistance to liquids -- Part 1: General methods ISO 2812-2: 1993 Paints and varnishes -- Determination of resistance to liquids -- Part 2: Water immersion method ISO 2813: 1994 Paints and varnishes -- Determination of specular gloss of non-metallic paint films at 20 degrees, 60 degrees and 85 degrees ISO 2814: 1973 Paints and varnishes -- Comparison of contrast ratio (hiding power) of paints of the same type and colour ISO 2815: 1973 Paints and varnishes -- Buchholz indentation test ISO 2884-1: 1999 Paints and varnishes -- Determination of viscosity using rotary viscometers -- Part 1: Cone-and-plate viscometer operated at a high rate of shear ISO 3231: 1993 Paints and varnishes -- Determination of resistance to humid atmospheres containing sulfur dioxide ISO 3233: 1998 Paints and varnishes -- Determination of percentage volume of non-volatile matter by measuring the density of a dried coating ISO 3248: 1998 Paints and varnishes -- Determination of the effect of heat ISO 3251: 1993 Paints and varnishes -- Determination of non-volatile matter of paints, varnishes and binders for paints and varnishes ISO 4618-1: 1998 Paints and varnishes -- Terms and definitions for coating materials -- Part 1: General terms ISO 4618-2: 1999 Paints and varnishes -- Terms and definitions for coating materials -- Part 2: Special terms relating to paint characteristics and properties ISO 4618-3: 1999 Paints and varnishes -- Terms and definitions for coating materials -- Part 3: Surface preparation and methods of application ISO 4624: 1978 Paints and varnishes -- Pull-off test for adhesion ISO 4628-1: 1982 Paints and varnishes -- Evaluation of degradation of paint coatings -- Designation of intensity, quantity and size of common types of defect -- Part 1: General principles and rating schemes ISO 4628-2: 1982 Paints and varnishes -- Evaluation of degradation of paint coatings -- Designation of intensity, quantity and size of common types of defect -- Part 2: Designation of degree of blistering ISO 4628-3: 1982 Paints and varnishes -- Evaluation of degradation of paint coatings -- Designation of intensity, quantity and size of common types of defect -- Part 3: Designation of degree of rusting ISO 4628-4: 1982 Paints and varnishes -- Evaluation of degradation of paint coatings -- Designation of intensity, quantity and size of common types of defect -- Part 4: Designation of degree of cracking ISO 4628-5: 1982 Paints and varnishes -- Evaluation of degradation of paint coatings -- Designation of intensity, quantity and size of common types of defect -- Part 5: Designation of degree of flaking ISO 4628-6: 1990 Paints and varnishes -- Evaluation of degradation of paint coatings -- Designation of intensity, quantity and size of common types of defect -- Part 6: Rating of degree of chalking by tape method ISO 6270-1: 1998 Paints and varnishes -- Determination of resistance to humidity -- Part 1: Continuous condensation ISO 6272: 1993 Paints and varnishes -- Falling-weight test ISO 6441: 1984 Paints and varnishes -- Indentation test (spherical or pyramidal) ISO 6441-1: 1999 Paints and varnishes -- Determination of micro-indentation hardness -- Part 1: Knoop hardness by measurement of indentation length ISO 6441-2: 1999 Paints and varnishes -- Determination of micro-indentation hardness -- Part 2: Knoop hardness by measurement of indentation depth under load ISO 6503: 1984 Paints and varnishes -- Determination of total lead -- Flame atomic absorption spectrometric method ISO 6504-1: 1983 Paints and varnishes -- Determination of hiding power -- Part 1: Kubelka-Munk method for white and light-coloured paints ISO 6504-3: 1998 Paints and varnishes -- Determination of hiding power -- Part 3: Determination of contrast ratio (opacity) of light-coloured paints at a fixed spreading rate ISO 6713: 1984 Paints and varnishes -- Preparation of acid extracts from paints in liquid or powder form ISO 6744-1: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 1: General methods of test ISO 6744-2: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 2: Determination of phthalic anhydride content ISO 6744-3: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 3: Determination of unsaponifiable matter content ISO 6744-4: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 4: Determination of fatty acid content ISO 6860: 1984 Paints and varnishes -- Bend test (conical mandrel) ISO 7142: 1984 Binders for paints and varnishes -- Epoxy resins -- General methods of test ISO 7143: 2000 Paints, varnishes and binders -- Methods of test for characterizing water-based coating materials and binders (available in English only) ISO 7253: 1996 Paints and varnishes -- Determination of resistance to neutral salt spray (fog) ISO 7724-1: 1984 Paints and varnishes -- Colorimetry -- Part 1: Principles ISO 7724-2: 1984 Paints and varnishes -- Colorimetry -- Part 2: Colour measurement ISO 7724-3: 1984 Paints and varnishes -- Colorimetry -- Part 3: Calculation of colour differences ISO 7783-1: 1996 Paints and varnishes -- Determination of water-vapour transmission rate -- Part 1: Dish method for free films ISO 7783-2: 1999 Paints and varnishes -- Coating materials and coating systems for exterior masonry and concrete -- Part 2: Determination and classification of water-vapour transmission rate (permeability) ISO 7784-1: 1997 Paints and varnishes -- Determination of resistance to abrasion -- Part 1: Rotating abrasive-paper-covered wheel method ISO 7784-2: 1997 Paints and varnishes -- Determination of resistance to abrasion -- Part 2: Rotating abrasive rubber wheel method ISO 7784-3: 2000 Paints and varnishes -- Determination of resistance to abrasion -- Part 3: Reciprocating test panel method ISO 8501-1: 1988 Preparation ISO 9514: 1992 Paints and varnishes -- Determination of the pot-life of liquid systems -- Preparation and conditioning of samples and guidelines for testing ISO 11503: 1995 Paints and varnishes -- Determination of resistance to humidity (intermittent condensation) ISO 11507: 1997 Paints and varnishes -- Exposure of coatings to artificial weathering -- Exposure to fluorescent UV and water ISO 11668: 1997 Binders for paints and varnishes -- Chlorinated polymerization resins -- General methods of test ISO 11890-1: 2000 Paints and varnishes -- Determination of volatile organic compound (VOC) content -- Part 1: Difference method ISO 11890-2: 2000 Paints and varnishes -- Determination of volatile organic compound (VOC) content -- Part 2: Gas-chromatographic method ISO 11908: 1996 Binders for paints and varnishes -- Amino resins -- General methods of test ISO 11909: 1996 Binders for paints and varnishes -- Polyisocyanate resins -- General methods of test ISO 11997-1: 1998 Paints and varnishes -- Determination of resistance to cyclic corrosion conditions -- Part 1: Wet (salt fog)/dry/humidity ISO 11997-2: 2000 Paints and varnishes -- Determination of resistance to cyclic corrosion conditions -- Part 2: Wet (salt fog)/dry/humidity/UV light ISO 11998: 1998 Paints and varnishes -- Determination of wet-scrub resistance and cleanability of coatings ISO 12137-1: 1997 Paints and varnishes -- Determination of mar resistance -- Part 1: Method using a curved stylus ISO 12137-2: 1997 Paints and varnishes -- Determination of mar resistance -- Part 2: Method using a pointed stylus ISO 14680-1: 2000 Paints and varnishes -- Determination of pigment content -- Part 1: Centrifuge method ISO 14680-2: 2000 Paints and varnishes -- Determination of pigment content -- Part 2: Ashing method ISO 14680-3: 2000 Paints and varnishes -- Determination of pigment content -- Part 3: Filtration method ISO 15184: 1998 Paints and varnishes -- Determination of film hardness by pencil test |

## Rust Staining

| BS | Concrete BS 12-Specification for Portland Cements BS ISO 3310-2:2013 Test sieves. Technical requirements and testing. Test sieves of perforated metal plate/ BS 410-1:2000, ISO 3310-1:2000 Test sieves. Technical requirements and testing. Test sieves of metal wire cloth BS 882-Specification for aggregates from natural sources for concrete BS EN 12878:2014 Pigments for the colouring of building materials based on cement and/or lime. Specifications and methods of test BS 4550-6:1978 Methods of testing cement. Standard sand for mortar cubess BS 4551-Methods of testing mortars, screeds and plasters BS EN 998-1:2003-Specification for mortar for masonry. Rendering and plastering mortar/ BS EN 998-2:2003-Specification for mortar for masonry. Masonry mortar BS EN 934-3:2009+A1:2012 Admixtures for concrete, mortar and grout. Admixtures for masonry mortar. Definitions, requirements, conformity and marking and labelling/ BS EN 480-4:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of bleeding of concrete/ BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity/BS EN 480-11:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of air void characteristics in hardened concrete/BS EN 480-12:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of the alkali content of admixtures/BS EN 480-1:2006+A1:2011 Admixtures for concrete, mortar and grout. Test methods. Reference concrete and reference mortar for testing/BS EN 934-2:2009+A1:2012 Admixtures for concrete, mortar and grout . Concrete admixtures. Definitions, requirements, conformity, marking and labelling/BS EN 480-8:2012 Admixtures for concrete, mortar and grout. Test methods. Determination of the conventional dry material content/BS EN 480-10:2009 Admixtures for concrete, mortar and grout. Test methods. Determination of water soluble chloride content/BS EN 480-6:2005 Admixtures for concrete, mortar and grout. Test methods. Infrared analysis/BS EN 480-5:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of capillary absorption/BS EN 480-2:2006 Admixtures for concrete, mortar and grout. Test methods. Determination of setting time/ BS EN 998-2:2010 Specification for mortar for masonry. Masonry mortar/ BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar BS 6319-3:1990-Testing of resin and polymer/cement compositions for use in construction. Methods for measurement ofmodulus of elasticity in flexure and flexural strength BS 6319-12:1992-Testing of resin and polymer/cement compositions for use in construction. Methods for measurement ofunrestrained linear shrinkage and coefficient of thermal expansion PD 6678:2005 Guide to the specification of masonry mortar BS EN 480-1:2014 Admixtures for concrete, mortar and grout. Test methods. Reference concrete and reference mortar for testing BS EN 480-2:2006 Admixtures for concrete, mortar and grout. Test methods. Determination of setting time BS EN 480-4:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of bleeding of concrete BS EN 480-5:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of capillary absorption BS EN 480-6:2005 Admixtures for concrete, mortar and grout. Test methods. Infrared analysis BS EN 480-8:2012 Admixtures for concrete, mortar and grout. Test methods. Determination of the conventional dry material content BS EN 480-10:2009 Admixtures for concrete, mortar and grout. Test methods. Determination of water soluble chloride content BS EN 480-11:1999-Admixtures for concrete, mortar and grout. Test methods. Determination of air void characteristics inhardened concrete BS EN 480-12:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of the alkali content of admixtures BS EN 934-2:2001-Admixtures for concrete, mortar and grout. Concrete admixtures. Definitions, requirements, conformity,marking and labelling BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity Waterproofing BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS 8000:Part 9: 1989- Workmanship on building sites- Code of practice for cement/ sand floor screeds and concrete floortoppings Screed BS 8204:various dates- Screeds, bases and in-situ floorings |
| --- | --- |
| ASTM | Concrete C33: 2001a-Standard Specification for Concrete Aggregates C87: 1983(1995)e1-Standard Test Method for Effect of Organic Impurities in Fine Aggregate on Strength of Mortar ASTM C94 / C94M - 15b Standard Specification for Ready-Mixed Concrete C109/C109M: 2001-Standard Test Method for Compressive Strength of Hydraulic Cement Mortars (Using 2-in. or [50-mm] Cube Specimens) C115: 1996a-Standard Test Method for Fineness of Portland Cement by the Turbidimeter C125: 2000ae1-Standard Terminology Relating to Concrete and Concrete Aggregates C136-01- Standard Test Method for Sieve Analysis of Fine and Coarse Aggregates C150: 2000-Standard Specification for Portland Cement C295: 1998-Standard Guide for Petrographic Examination of Aggregates for Concrete C305: 1999-Practice for Mechanical Mixing of Hydraulic Cement Pastes and Mortars of Plastic Consistency C348: 1997-Standard Test Method for Flexural Strength of Hydraulic-Cement Mortars C349: 1997-Standard Test Method for Compressive Strength of Hydraulic-Cement Mortars (Using Portions of PrismsBroken in Flexure) C452: 1995-Standard Test Method for Potential Expansion of Portland-Cement Mortars Exposed to Sulfate C490: 2000a-Standard Practice for Use of Apparatus for the Determination of Length Change of Hardened Cement Paste,Mortar, and Concrete C494/ 494M: 2000-Specification for Chemical Admixtures for Concrete ASTM C597 - 09 Standard Test Method for Pulse Velocity Through Concrete ASTM C642 - 13 Standard Test Method for Density, Absorption, and Voids in Hardened Concrete C778: 2000-Standard Specification for Standard Sand ASTM C805 / C805M - 13a Standard Test Method for Rebound Number of Hardened Concrete C1038: 2001-Standard Test Method for Expansion of Hydraulic Cement Mortar Bars Stored in Water Waterproofing ASTM D5295 / D5295M - 14 Standard Guide for Preparation of Concrete Surfaces for Adhered (Bonded) Membrane Waterproofing Systems ASTM D5683 / D5683M - 95(2011)e1 Standard Test Method for Flexibility of Roofing and Waterproofing Materials and Membranes ASTM D5957 - 98(2013) Standard Guide for Flood Testing Horizontal Waterproofing Installations ASTM D6135-05 Standard Practice for Application of Self-Adhering Modified Bituminous Waterproofing (Withdrawn 2014) |
| AS | Concrete AS 1012.1:2014 Methods of testing concrete - Sampling of concrete AS 1012.10-2000 : Methods of testing concrete - Determination of indirect tensile strength of concrete cylinders (Brasil or splitting test) AS 1012.18-1996 : Methods of testing concrete - Determination of setting time of fresh concrete, mortar and grout by penetration resistance concreteAS 1379-2007/Amdt 1-2009 Specification and supply of concrete - AS 1379-2007/Amdt 2-2015 Specification and supply of concrete AS 1478.1-2000 Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 2072-1977 : Methods for the sampling of expanding admixtures for concrete, mortar and grout AS 2073-1977 : Methods for the testing of expanding admixtures for concrete, mortar and grout AS 2350.12-1995 : Methods of testing portland and blended cements - Preparation of a standard mortar and moulding of specimens AS 2350.13-1995 : Methods of testing portland and blended cements - Determination of drying shrinkage of portland and blended cement mortars AS 2350.13-1995/Amdt 1-1997 : Methods of testing portland and blended cements - Determination of drying shrinkage of portland and blended cement mortars AS 2350.14-1996 : Methods of testing portland and blended cements - Length change of portland and blended cement mortars exposed to a sulfate solution AS 2550.15-1994 Cranes - Safe use - Concrete placing equipment AS 3600-2009 Concrete structures AS 3648-1993 : Specification and methods of test for packaged concrete mixes Waterproofing AS 3740-2010/Amdt 1-2012 Waterproofing of domestic wet areas AS 3740-Amdt 1:1995- Waterproofing of wet areas within residential buildings |
| SS | Concrete SS EN 197 - 1 : 2014 Cement - Part 1 : Composition, specifications and conformity criteria for common cement/ SS EN 197 - 2 : 2014 Cement - Part 2 : Conformity evaluation SS EN 12620 : 2008 Specification for aggregates for concrete SS EN 206 : 2014 Concrete. Specification, performance, production and conformity/ SS 544 series - Concrete - Complementary Singapore Standard to SS EN 206-1 SS EN 934 - 1 : 2008 (2015) Admixtures for concrete, mortar and grout - Common requirements/ SS EN 934 - 2 : 2015 Admixtures for concrete, mortar and grout - Part 2 : Definitions, requirements – Concrete admixtures – Definitions, requirements, conformity, marking and labelling/ SS EN 934 - 6 : 2008 (2015) Admixtures for concrete, mortar and grout - Sampling, conformity control and evaluation of conformity Waterproofing SS CP 82:1999- Code of practice- waterproofing of reinforced concrete buildings Reinforcement SS 566 : 2011 Specification for steel for the reinforcement of concrete – Plain bars SS 18 - 1 : 1999 Cold-reduced steel wire for the reinforcement of concrete and the manufacture of welded fabric - Steel grade 500 SS 580 : 2012 Code of practice for formwork SS 32 Series - Welded steel fabric for the reinforcement of concrete |
| ISO | Concrete ISO 1920-3:2004 Testing of concrete -- Part 3: Making and curing test specimens ISO 1920-1:2004 Testing of concrete -- Part 1: Sampling of fresh concrete ISO 1920-3:2004 Testing of concrete -- Part 3: Making and curing test specimens ISO 3766:2003 Construction drawings -- Simplified representation of concrete reinforcement ISO 3893:1977 Concrete -- Classification by compressive strength ISO 1920-4:2005 Testing of concrete -- Part 4: Strength of hardened concrete ISO 1920-4:2005 Testing of concrete -- Part 4: Strength of hardened concrete ISO 4103:1979 Concrete -- Classification of consistency ISO 1920-4:2005 Testing of concrete -- Part 4: Strength of hardened concrete ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 4635:2011 Rubber, vulcanized -- Preformed joint seals for use between concrete paving sections of highways -- Specification ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 6274:1982 Concrete -- Sieve analysis of aggregates ISO 1920-5:2004 Testing of concrete -- Part 5: Properties of hardened concrete other than strength ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 6782:1982 Aggregates for concrete -- Determination of bulk density ISO 6783:1982 Coarse aggregates for concrete -- Determination of particle density and water absorption -- Hydrostatic balance method ISO 1920-10:2010 Testing of concrete -- Part 10: Determination of static modulus of elasticity in compression ISO 7033:1987 Fine and coarse aggregates for concrete -- Determination of the particle mass-per-volume and water absorption -- Pycnometer method |

## TILE DEFECTS

## Damp Patches (granite wall/ ceiling joint)

## Damp patches (granite floor)

| BS | CEMENT, CONCRETE, MORTAR BS 12-Specification for Portland Cements BS ISO 3310-2:2013 Test sieves. Technical requirements and testing. Test sieves of perforated metal plate/ BS 410-1:2000, ISO 3310-1:2000 Test sieves. Technical requirements and testing. Test sieves of metal wire cloth BS 882-Specification for aggregates from natural sources for concrete BS EN 12878:2014 Pigments for the colouring of building materials based on cement and/or lime. Specifications and methods of test BS EN 13139:2002 Aggregates for mortar BS 4550-6:1978 Methods of testing cement. Standard sand for mortar cubess BS 4551-Methods of testing mortars, screeds and plasters BS EN 998-1:2003-Specification for mortar for masonry. Rendering and plastering mortar/ BS EN 998-2:2003-Specification for mortar for masonry. Masonry mortar BS EN 934-3:2009+A1:2012 Admixtures for concrete, mortar and grout. Admixtures for masonry mortar. Definitions, requirements, conformity and marking and labelling/ BS EN 480-4:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of bleeding of concrete/ BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity/BS EN 480-11:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of air void characteristics in hardened concrete/BS EN 480-12:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of the alkali content of admixtures/BS EN 480-1:2006+A1:2011 Admixtures for concrete, mortar and grout. Test methods. Reference concrete and reference mortar for testing/BS EN 934-2:2009+A1:2012 Admixtures for concrete, mortar and grout . Concrete admixtures. Definitions, requirements, conformity, marking and labelling/BS EN 480-8:2012 Admixtures for concrete, mortar and grout. Test methods. Determination of the conventional dry material content/BS EN 480-10:2009 Admixtures for concrete, mortar and grout. Test methods. Determination of water soluble chloride content/BS EN 480-6:2005 Admixtures for concrete, mortar and grout. Test methods. Infrared analysis/BS EN 480-5:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of capillary absorption/BS EN 480-2:2006 Admixtures for concrete, mortar and grout. Test methods. Determination of setting time/ BS EN 998-2:2010 Specification for mortar for masonry. Masonry mortar/ BS EN 998-1:2010 Specification for mortar for masonry. Rendering and plastering mortar BS 6319-3:1990 Testing of resin and polymer/cement compositions for use in construction. Methods for measurement of modulus of elasticity in flexure and flexural strength BS 6319-12:1992 Testing of resin and polymer/cement compositions for use in construction. Methods for measurement of unrestrained linear shrinkage and coefficient of thermal expansion PD 6678:2005 Guide to the specification of masonry mortar BS EN 480-1:2014 Admixtures for concrete, mortar and grout. Test methods. Reference concrete and reference mortar for testing BS EN 480-2:2006 Admixtures for concrete, mortar and grout. Test methods. Determination of setting time BS EN 480-4:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of bleeding of concrete BS EN 480-5:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of capillary absorption BS EN 480-6:2005 Admixtures for concrete, mortar and grout. Test methods. Infrared analysis BS EN 480-8:2012 Admixtures for concrete, mortar and grout. Test methods. Determination of the conventional dry material content BS EN 480-10:2009 Admixtures for concrete, mortar and grout. Test methods. Determination of water soluble chloride content BS EN 480-11:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of air void characteristics in hardened concrete BS EN 480-12:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of the alkali content of admixtures BS EN 934-2:2009+A1:2012 Admixtures for concrete, mortar and grout. Concrete admixtures. Definitions, requirements, conformity, marking and labelling BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity COATINGS, PLASTERING, WATERPROOFINGS, SCREEDINGS BS 5492:1990- Code of practice for internal plastering BS 6949:1991- Specification for bitumen-based coatings for cold application excluding use in contact with potable water BS 7015:1989- Specification for cast acrylic sheet for baths and shower trays for domestic purposes BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS 8000:Part 9: 1989- Workmanship on building sites- Code of practice for cement/ sand floor screeds and concrete floor toppings BS 8204:various dates- Screeds, bases and in-situ floorings Tilings BS 6319-12:1992 Testing of resin and polymer/cement compositions for use in construction. Methods for measurement of unrestrained linear shrinkage and coefficient of thermal expansion BS 5385-5:1994-Wall and floor tiling. Code of practice for the design and installation of terrazzo tile and slab, natural stone and composition block floorings BS 5385-1:1995- Wall and floor tiling. Code of practice for the design and installation of internal ceramic and natural stone wall tiling and mosaics in normal conditions BS 8000:Part 9: 1989- Workmanship on building sites- Code of practice for cement/ sand floor screeds and concrete floor toppings BS 8000-11.2:1990- Workmanship on building sites. Code of practice for wall and floor tiling. Natural stone tiles BS 8221-1:2000- Code of practice for cleaning and surface repair of buildings. Cleaning of natural stones, brick, terracotta and concrete BS 8221-2:2000- Code of practice for cleaning and surface repair of buildings. Surface repair of natural stones, brick and terracotta BS EN 14157 Natural stone test. Determination of abrasion resistance BS 5980: 1980- Specification for adhesives for use with ceramic tiles and mosaic |
| --- | --- |
| ASTM | CEMENT, SAND, MORTAR C33: 2001a-Standard Specification for Concrete Aggregates C87: 1983(1995)e1-Standard Test Method for Effect of Organic Impurities in Fine Aggregate on Strength of Mortar ASTM C94 / C94M - 15b Standard Specification for Ready-Mixed Concrete C109/C109M: 2001-Standard Test Method for Compressive Strength of Hydraulic Cement Mortars (Using 2-in. or [50-mm] Cube Specimens) C115: 1996a-Standard Test Method for Fineness of Portland Cement by the Turbidimeter C125: 2000ae1-Standard Terminology Relating to Concrete and Concrete Aggregates C136-01- Standard Test Method for Sieve Analysis of Fine and Coarse Aggregates C150: 2000-Standard Specification for Portland Cement C295: 1998-Standard Guide for Petrographic Examination of Aggregates for Concrete C305: 1999-Practice for Mechanical Mixing of Hydraulic Cement Pastes and Mortars of Plastic Consistency C348: 1997-Standard Test Method for Flexural Strength of Hydraulic-Cement Mortars C349: 1997-Standard Test Method for Compressive Strength of Hydraulic-Cement Mortars (Using Portions of Prisms Broken in Flexure) C452: 1995-Standard Test Method for Potential Expansion of Portland-Cement Mortars Exposed to Sulfate C490: 2000a-Standard Practice for Use of Apparatus for the Determination of Length Change of Hardened Cement Paste, Mortar, and Concrete C494/ 494M: 2000-Specification for Chemical Admixtures for Concrete ASTM C597 - 09 Standard Test Method for Pulse Velocity Through Concrete ASTM C642 - 13 Standard Test Method for Density, Absorption, and Voids in Hardened Concrete C778: 2000-Standard Specification for Standard Sand ASTM C805 / C805M - 13a Standard Test Method for Rebound Number of Hardened Concrete C1038: 2001-Standard Test Method for Expansion of Hydraulic Cement Mortar Bars Stored in Water WATER D1067: 1992(1996)-Standard Test Methods for Acidity or Alkalinity of Water D1129: 2001-Standard Terminology Relating to Water D1193: 1999e1-Standard Specification for Reagent Water D1293: 1999-Standard Test Methods for pH of Water COATINGS, WATERPROOFINGS, SCREEDINGS ASTM C1063 - 16a Standard Specification for Installation of Lathing and Furring to Receive Interior and Exterior Portland Cement-Based Plaster ASTM D5295 / D5295M - 14 Standard Guide for Preparation of Concrete Surfaces for Adhered (Bonded) Membrane Waterproofing Systems ASTM D5683 / D5683M - 95(2011)e1 Standard Test Method for Flexibility of Roofing and Waterproofing Materials and Membranes ASTM D5957 - 98(2013) Standard Guide for Flood Testing Horizontal Waterproofing Installations ASTM D6135-05 Standard Practice for Application of Self-Adhering Modified Bituminous Waterproofing (Withdrawn 2014) Tilings C503-99e1 Standard Specification for MARBLE Dimension Stone (Exterior) C568-99 Standard Specification for Limestone Dimension Stone F963-96ae2 Standard Consumer Safety Specification on Toy Safety E1857-97 Standard Guide for Selection of Cleaning Techniques for Masonry, Concrete, and Stucco Surfaces D5107-90(1997) Standard Practice for Preparatory Surface Cleaning of Architectural Sandstone |
| AS | CONCRETE, MORTAR, CEMENT DR 01033 : Chemical admixtures for concrete, mortar and grout Methods of sampling and testing admixtures for mortar and grout AS 1012.1 to 21 : Methods of testing concrete AS 1012.10-2000 : Methods of testing concrete - Determination of indirect tensile strength of concrete cylinders (Brasil or splitting test) AS 1012.18-1996 : Methods of testing concrete - Determination of setting time of fresh concrete, mortar and grout by penetration resistance AS 1379-1997/Amdt 1-2000 : Specification and supply of concrete AS 1478.1-2000 : Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 2072-1977 : Methods for the sampling of expanding admixtures for concrete, mortar and grout AS 2073-1977 : Methods for the testing of expanding admixtures for concrete, mortar and grout AS 2350.12-1995 : Methods of testing portland and blended cements - Preparation of a standard mortar and moulding of specimens AS 2350.13-1995 : Methods of testing portland and blended cements - Determination of drying shrinkage of portland and blended cement mortars AS 2350.13-1995/Amdt 1-1997 : Methods of testing portland and blended cements - Determination of drying shrinkage of portland and blended cement mortars AS 2350.14-1996 : Methods of testing portland and blended cements - Length change of portland and blended cement mortars exposed to a sulfate solution AS 2550.15-1994 : Cranes - Safe use - Concrete placing equipment AS 3600-2001 : Concrete structures AS 3648-1993 : Specification and methods of test for packaged concrete mixes WATERPROOFING, SCREEDING, COATINGS AS 3740-2010/Amdt 1-2012 Waterproofing of domestic wet areas AS 3740-Amdt 1:1995- Waterproofing of wet areas within residential buildings |
| SS | CEMENT, CONCRETE SS 26: 1997 Portland cement (ordinary and hardening) SS 31: 1998 Coarse and fine aggregates from natural sources of concrete SS 117 : 1975 HOT DIP GALVANIZED COATINGS ON IRON AND STEEL ARTICLES (REFER TO ISO 1460 AND ISO 1461) SS EN 206 : 2014 Concrete. Specification, performance, production and conformity/ SS 544 series - Concrete - Complementary Singapore Standard to SS EN 206-1 SS EN 934 - 1 : 2008 (2015) Admixtures for concrete, mortar and grout - Common requirements/ SS EN 934 - 2 : 2015 Admixtures for concrete, mortar and grout - Part 2 : Definitions, requirements – Concrete admixtures – Definitions, requirements, conformity, marking and labelling/ SS EN 934 - 6 : 2008 (2015) Admixtures for concrete, mortar and grout - Sampling, conformity control and evaluation of conformity SS 397 : Methods of testing cement COATINGS, WATERPROOFING SS CP 82:1999- Code of practice- waterproofing of reinforced concrete buildings Tilings CP 67 Part 1: 1997- Code of practice for cleaning and surface repair of buildings: Natural stone, cast stone and clay brick masonry. CP 68: 1997- Code of practice for ceramic wall and floor tiling SS 301:1985- The use of cement sand cover for tiling |
| ISO | CONCRETE ISO 1920: 1976 Concrete tests -- Dimensions, tolerances and applicability of test specimens ISO 2736-1: 1986 Concrete tests -- Test specimens -- Part 1: Sampling of fresh concrete ISO 2736-2: 1986 Concrete tests -- Test specimens -- Part 2: Making and curing of test specimens for strength tests ISO 3766: 1995 Construction drawings -- Simplified representation of concrete reinforcement ISO 3893: 1977 Concrete -- Classification by compressive strength ISO 4012: 1978 Concrete -- Determination of compressive strength of test specimens ISO 4013: 1978 Concrete -- Determination of flexural strength of test specimens ISO 4103: 1979 Concrete -- Classification of consistency ISO 4108: 1980 Concrete -- Determination of tensile splitting strength of test specimens ISO 4109: 1980 Fresh concrete -- Determination of the consistency -- Slump test ISO 4110: 1979 Fresh concrete -- Determination of the consistency -- Vebe test ISO 4111: 1979 Fresh concrete -- Determination of consistency -- Degree of compactibility (Compaction index) ISO 4635: 1982 Rubber, vulcanized -- Preformed compression seals for use between concrete motorway paving sections -- Specification for material ISO 4848: 1980 Concrete -- Determination of air content of freshly mixed concrete -- Pressure method ISO 6274: 1982 Concrete -- Sieve analysis of aggregates ISO 6275: 1982 Concrete, hardened -- Determination of density ISO 6276: 1982 Concrete, compacted fresh -- Determination of density ISO 6782: 1982 Aggregates for concrete -- Determination of bulk density ISO 6783: 1982 Coarse aggregates for concrete -- Determination of particle density and water absorption -- Hydrostatic balance method ISO 6784: 1982 Concrete -- Determination of static modulus of elasticity in compression ISO 7033: 1987 Fine and coarse aggregates for concrete -- Determination of the particle mass-per-volume and water absorption -- Pycnometer method Tilings ISO 3920:1976 Honing stones of square section; Designation and dimensions ISO 603-10:1999 Bonded abrasive products - Dimensions - Part 10: Stones for honing and superfinishings - ISO 603-10:1999 ISO 603-10:1999/COR1:1999 Bonded abrasive products - Dimensions - Part 10: Stones for honing and superfinishings ISO 8512-2:1990 Surface plates; part 2: granite |

## Plaster defects - Crazing of Plaster

| BS | Plaster BS 1191: Part 1: 1973-Gysum building plasters. Excluding premixed lightweight plasters BS 1191: Part 2: 1973-Gypsum building plasters. Premixed lightweight plasters BS 4049:1966- Glossary of terms applicable to internal plastering, external rendering and floor screeding BS 4551: 1980-Methods of testing mortars, screeds and plasters BS 5492: 1977-Code of practice for internal plastering BS 5262: 1991- Code of practice for external renderings BS 6452: Part 1: 1984-BEads for internal plastering and dry lining. Galvanized steel beads BS 6100-6.2:1986-Glossary of building and civil engineering terms. Concrete and plaster. Concrete BS 6100-6.3:1984-Glossary of building and civil engineering terms. Concrete and plaster. Aggregates BS 6100-6.1:1984-Glossary of building and civil engineering terms. Concrete and plaster. Binders BS 6100-6.4:1986-Glossary of building and civil engineering terms. Concrete and plaster. Admixtures BS 6100-6.6.1:1992-Glossary of building and civil engineering terms. Concrete and plaster. Products, applications and operations. Concrete and mortar BS 6100-6.6.2:1990-Glossary of building and civil engineering terms. Concrete and plaster. Products, applications and operations. Plaster BS 8000-10:1995-Workmanship on building sites. Code of practice for plastering and rendering Paints BS EN ISO 6270-1:2001, BS 3900-F9:2001 Paints and varnishes. Determination of resistance to humidity. Continuous condensation BS EN ISO 4618:2014 Paints and varnishes. Terms and definitions BS 6150:2006+A1:2014 Painting of buildings. Code of practice BS 2992:1970 Specification for painters’ and decorators’ brushes for local authorities and public institutions (excluding quality of fillings) BS 3416:1991 Specification for bitumen-based coatings for cold application, suitable for use in contact with potable water BS 3483-A1:1983, ISO 787/1-1982-Methods for testing pigments for paints. Comparison of colour BS 3483-C7:1980, ISO 787/22-1980-Methods for testing pigments for paints. Comparison of resistance to bleeding BS 3900-B4:1986, ISO 6503-1984-Methods of test for paints. Tests involving chemical examination of liquid paints and dried paint films. Determination of total lead in paints and similar materials BS 3900-F2:1973-Methods of test for paint. Durability tests on paint films. Determination of resistance to humidity (cyclic condensation) BS 3900-F6:1976-Methods of test for paint. Durability tests on paint films. Notes for guidance on the conduct of natural weathering test BS EN ISO 11998:2006 Paints and varnishes. Determination of wet-scrub resistance and cleanability of coatings BS EN ISO 4628-2:2016 Paints and varnishes. Evaluation of degradation of coatings. Designation of quantity and size of defects, and of intensity of uniform changes in appearance. Assessment of degree of blistering BS EN ISO 4628-5:2016 Paints and varnishes. Evaluation of degradation of coatings. Designation of quantity and size of defects, and of intensity of uniform changes in appearance. Assessment of degree of flaking BS 6949:1991-Specification for bitumen-based coatings for cold application excluding use in contact with potable water BS 7664:2000-Specification for undercoat and finishing paints BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS EN ISO 6270-1:2001, BS 3900-F9:2001 Paints and varnishes. Determination of resistance to humidity. Continuous condensation BS EN ISO 4618:2014 Paints and varnishes. Terms and definitions BS 6150:2006+A1:2014 Painting of buildings. Code of practice BS 2992:1970 Specification for painters’ and decorators’ brushes for local authorities and public institutions (excluding quality of fillings) BS 3416:1991 Specification for bitumen-based coatings for cold application, suitable for use in contact with potable water BS 3483-A1:1983, ISO 787/1-1982-Methods for testing pigments for paints. Comparison of colour BS 3483-C7:1980, ISO 787/22-1980-Methods for testing pigments for paints. Comparison of resistance to bleeding BS 3900-B4:1986, ISO 6503-1984-Methods of test for paints. Tests involving chemical examination of liquid paints and dried paint films. Determination of total lead in paints and similar materials BS 3900-F2:1973-Methods of test for paint. Durability tests on paint films. Determination of resistance to humidity (cyclic condensation) BS 3900-F6:1976-Methods of test for paint. Durability tests on paint films. Notes for guidance on the conduct of natural weathering test BS EN ISO 11998:2006 Paints and varnishes. Determination of wet-scrub resistance and cleanability of coatings BS EN ISO 4628-2:2016 Paints and varnishes. Evaluation of degradation of coatings. Designation of quantity and size of defects, and of intensity of uniform changes in appearance. Assessment of degree of blistering BS EN ISO 4628-5:2016 Paints and varnishes. Evaluation of degradation of coatings. Designation of quantity and size of defects, and of intensity of uniform changes in appearance. Assessment of degree of flaking BS 4800:2011 Schedule of paint colours for building purposes BS 6949:1991-Specification for bitumen-based coatings for cold application excluding use in contact with potable water BS 7664:2000-Specification for undercoat and finishing paints |
| --- | --- |
| ASTM | Plaster C28/C28M: 2000-Standard Specification for Gypsum Plasters C778: 2000-Standard Specification for Standard Sand C926-98a-Standard Specification for Application of Portland Cement-Based Plaster C897-00-Standard Specification for Aggregate for Job-Mixed Portland Cement-Based Plasters C932-98a-Standard Specification for Surface-Applied Bonding Agents for Exterior Plastering Paints ASTM D5098 - 16 Standard Specification for Artists’ Acrylic Dispersion Paints ASTM D4258 - 05(2012) Standard Practice for Surface Cleaning Concrete for Coating ASTM D1640 / D1640M - 14 Standard Test Methods for Drying, Curing, or Film Formation of Organic Coatings ASTM D279 - 02(2012) Standard Test Methods for Bleeding of Pigments ASTM D2574 - 06(2012) Standard Test Method for Resistance of Emulsion Paints in the Container to Attack by Microorganisms ASTM D5324 - 10 Standard Guide for Testing Water-Borne Architectural Coatings ASTM D5146 - 10 Standard Guide to Testing Solvent-Borne Architectural Coatings ASTM E1907-06a Standard Guide to Methods of Evaluating Moisture Conditions of Concrete Floors to Receive Resilient Floor Coverings (Withdrawn 2008) ASTM D6237 - 09(2015) Standard Guide for Painting Inspectors (Concrete and Masonry Substrates) |
| AS | Plaster AS CA27-1959-Code of recommended practice for internal plastering on solid backgrounds AS 2592-1983 Gypsum plaster for building purposes (Withdrawn 24 Aug 2006) AS 2753-1985 Adhesives - Mastic - For bonding gypsum plaster linings to wood and metal framing members (Withdrawn 31 Jul 2006) DR 99462 - Fibre reinforced gypsum plaster AS/NZS 2589:2007 Gypsum linings - Application and finishing Paints S/NZS 2310:1995-Glossary of paint and painting terms AS/NZS 2311:2009 Guide to the painting of buildings AS 3730.0-2006 Guide to the properties of paints for buildings - General information on the specification, purchasing and testing of paints AS 3730.100-2006 Guide to the properties of paints for buildings - Introduction and list of guides HB 73.1-2005 Handbook of Australian Paint Standards - General HB 73.2-2005 Handbook of Australian Paint Standards - Test methods AS/NZS 1580.101.1:1999 (R2013) Paints and related materials - Methods of test - - Conditions of test - Temperature, humidity and airflow control AS/NZS 1580.107.2:1995 Paints and related materials - Methods of test - - Determination of wet film thickness from wet film mass AS 1580.408.5-2006 Paints and related materials - Methods of test - Adhesion - Pull-off test AS/NZS 1580.481.1.10:1998 (R2013) Paints and related materials - Methods of test - Coatings - Exposed to weathering - Degree of flaking and peeling AS/NZS 1580.481.1.13:1998 (Reconfirmed 2013) Methods of test for paints and related materials - Exposed to weathering - Degree of fungal or algal growth AS/NZS 1580.481.1.9:1998 (R2013) Paints and related materials - Methods of test - Coatings - Exposed to weathering - Degree of blistering |
| SS | Plaster CP 56 : 1991 Code of practice for internal plastering Paints SS 542 : 2008 Code of practice for painting of buildings SS 5 Series - Methods of test for paints, varnishes and related materials SS 7 : 1998 Paint - Finishing, gloss enamel SS 34 : 1998 Undercoat paint for gloss enamel SS 150 : 1998 Emulsion paints for decorative purposes CP 82 : 1999 Code of practice for waterproofing of reinforced concrete buildings SS 345: 1990 Algae resistant emulsion paint for decorative purposes |
| ISO | Plaster ISO 3048:1974 - Gypsum plasters; General test conditions ISO 3049:1974 - Gypsum plasters; Determination of physical properties of powder ISO 3051:1974 - Gypsum plasters; Determination of mechanical properties ISO 3052:1974 - Gypsum plasters; Determination of water of crystallization content Paints ISO 1513:2010 Paints and varnishes -- Examination and preparation of test samples ISO 1514:2004 Paints and varnishes -- Standard panels for testing ISO 1516:2002 Determination of flash/no flash -- Closed cup equilibrium method ISO 9117-3:2010 Paints and varnishes -- Drying tests -- Part 3: Surface-drying test using ballotini ISO 1518-1:2011 Paints and varnishes -- Determination of scratch resistance -- Part 1: Constant-loading method ISO 1519:2011 Paints and varnishes -- Bend test (cylindrical mandrel) ISO 1520:2006 - Paints and varnishes -- Cupping test ISO 1522:2006 Paints and varnishes -- Pendulum damping test ISO 1523:2002 Determination of flash point -- Closed cup equilibrium method ISO 1524:2013 Paints, varnishes and printing inks -- Determination of fineness of grind ISO 2409:2013 Paints and varnishes -- Cross-cut test ISO 2431:2011 Paints and varnishes -- Determination of flow time by use of flow cups ISO 2808:2007 Paints and varnishes -- Determination of film thickness ISO 2810:2004 Paints and varnishes -- Natural weathering of coatings -- Exposure and assessment ISO 2811-1:2016 Paints and varnishes -- Determination of density -- Part 1: Pycnometer method ISO 2811-2:2011 Paints and varnishes -- Determination of density -- Part 2: Immersed body (plummet) method ISO 2811-3:2011 Paints and varnishes -- Determination of density -- Part 3: Oscillation method ISO 2811-4:2011 Paints and varnishes -- Determination of density -- Part 4: Pressure cup method ISO 2812-1:2007 Paints and varnishes -- Determination of resistance to liquids -- Part 1: Immersion in liquids other than water ISO 2812-2:2007 Paints and varnishes -- Determination of resistance to liquids -- Part 2: Water immersion method ISO 2813:2014 Paints and varnishes -- Determination of gloss value at 20 degrees, 60 degrees and 85 degrees BS EN ISO 2814:2006, BS 3900-D4:2006 Paints and varnishes. Comparison of contrast ratio (hiding power) of paints of the same type and colour ISO 2815:2003 Paints and varnishes -- Buchholz indentation test ISO 2884-1:1999 Paints and varnishes -- Determination of viscosity using rotary viscometers -- Part 1: Cone-and-plate viscometer operated at a high rate of shear ISO 3231: 1993 Paints and varnishes -- Determination of resistance to humid atmospheres containing sulfur dioxide ISO 3233-1:2013 Paints and varnishes -- Determination of the percentage volume of non-volatile matter -- Part 1: Method using a coated test panel to determine non-volatile matter and to determine dry film density by the Archimedes principle ISO 3248: 1998 Paints and varnishes -- Determination of the effect of heat ISO 3251:2008 Paints, varnishes and plastics -- Determination of non-volatile-matter content ISO 4618:2014 Paints and varnishes -- Terms and definitions ISO 4618:2014 Paints and varnishes -- Terms and definitions ISO 4624:2016 Paints and varnishes -- Pull-off test for adhesion ISO 4628-1:2016 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 1: General introduction and designation system ISO 4628-2:2003 Paints and varnishes - Evaluation of degradation of coatings - Designation of quantity and size of defects, and of intensity of uniform changes in appearance - Part 2: Assessment of degree of blistering ISO 4628-3:2016 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 3: Assessment of degree of rusting ISO 4628-4:2016 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 4: Assessment of degree of cracking ISO 4628-5:2016 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 5: Assessment of degree of flaking ISO 4628-6:2011 Paints and varnishes -- Evaluation of degradation of coatings -- Designation of quantity and size of defects, and of intensity of uniform changes in appearance -- Part 6: Assessment of degree of chalking by tape method ISO 6270-1: 1998 Paints and varnishes -- Determination of resistance to humidity -- Part 1: Continuous condensation ISO 6272-1:2011 Paints and varnishes -- Rapid-deformation (impact resistance) tests -- Part 1: Falling-weight test, large-area indenter/ ISO 6272-2:2011 Paints and varnishes -- Rapid-deformation (impact resistance) tests -- Part 2: Falling-weight test, small-area indenter ISO 6503: 1984 Paints and varnishes -- Determination of total lead -- Flame atomic absorption spectrometric method ISO 6504-1: 1983 Paints and varnishes -- Determination of hiding power -- Part 1: Kubelka-Munk method for white and light-coloured paints ISO 6504-3:2006 Paints and varnishes -- Determination of hiding power -- Part 3: Determination of contrast ratio of light-coloured paints at a fixed spreading rate ISO 6713: 1984 Paints and varnishes -- Preparation of acid extracts from paints in liquid or powder form ISO 6744-1: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 1: General methods of test ISO 6744-2: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 2: Determination of phthalic anhydride content ISO 6744-3: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 3: Determination of unsaponifiable matter content ISO 6744-4: 1999 Binders for paints and varnishes -- Alkyd resins -- Part 4: Determination of fatty acid content ISO 6860:2006 Paints and varnishes -- Bend test (conical mandrel) ISO 7142:2007 Binders for paints and varnishes -- Epoxy resins -- General methods of test ISO 7143:2007 Binders for paints and varnishes -- Methods of test for characterizing water-based binders ISO 7783:2011 Paints and varnishes -- Determination of water-vapour transmission properties -- Cup method ISO 7784-1:2016 Paints and varnishes -- Determination of resistance to abrasion -- Part 1: Method with abrasive-paper covered wheels and rotating test specimen ISO 7784-2:2016 Paints and varnishes -- Determination of resistance to abrasion -- Part 2: Method with abrasive rubber wheels and rotating test specimen ISO 7784-3:2016 Paints and varnishes -- Determination of resistance to abrasion -- Part 3: Method with abrasive-paper covered wheel and linearly reciprocating test specimen ISO 8501-1:2007 Preparation of steel substrates before application of paints and related products -- Visual assessment of surface cleanliness -- Part 1: Rust grades and preparation grades of uncoated steel substrates and of steel substrates after overall ISO 9514:2005 Paints and varnishes -- Determination of the pot life of multicomponent coating systems -- Preparation and conditioning of samples and guidelines for testing ISO 11503:1995 Paints and varnishes -- Determination of resistance to humidity (intermittent condensation) ISO 16474-1:2013 Paints and varnishes -- Methods of exposure to laboratory light sources -- Part 1: General guidance ISO 11668:1997 Binders for paints and varnishes -- Chlorinated polymerization resins -- General methods of test ISO 11890-1:2007 Paints and varnishes -- Determination of volatile organic compound (VOC) content -- Part 1: Difference method ISO 11890-2:2013 Paints and varnishes -- Determination of volatile organic compound (VOC) content -- Part 2: Gas-chromatographic method ISO 11908: 1996 Binders for paints and varnishes -- Amino resins -- General methods of test ISO 11909:2007 Binders for paints and varnishes -- Polyisocyanate resins -- General methods of test ISO 11997-1:2005 Paints and varnishes -- Determination of resistance to cyclic corrosion conditions -- Part 1: Wet (salt fog)/dry/humidity ISO 11997-2:2013 Paints and varnishes -- Determination of resistance to cyclic corrosion conditions -- Part 2: Wet (salt fog)/dry/humidity/UV light ISO 11998:2006 Paints and varnishes -- Determination of wet-scrub resistance and cleanability of coatings ISO 12137:2011 Paints and varnishes -- Determination of mar resistance ISO 1518-2:2011 Paints and varnishes -- Determination of scratch resistance -- Part 2: Variable-loading method ISO 14680-1:2000 Paints and varnishes -- Determination of pigment content -- Part 1: Centrifuge method ISO 14680-2: 2000 Paints and varnishes -- Determination of pigment content -- Part 2: Ashing method ISO 14680-3: 2000 Paints and varnishes -- Determination of pigment content -- Part 3: Filtration method ISO 15184:2012 Paints and varnishes -- Determination of film hardness by pencil test |

# ROOF TOP

# Structural

## Cracks at roof drainage

## Cracking on Roof concrete panel

## Cracks at parapet wall – ??????????????????????????

## Water Leak through roof slab

## Deflection of Roof Slab

## Adhesive failure of sealant

## Biological Growth on Sealant

## Bulging Effect of Sealant

| BS | BS 12 Specification for Portland Cements BS 410 Specification for test sieves BS 882 Specification for aggregates from natural sources for concrete BS 1014 Specification for high alumina cement BS 1199 Specification for building sands from natural sources BS 4027 Specification for sulphate-resisting Portland cement BS 4550-6:1978 Methods of testing cement. Standard sand for mortar cubes BS 4721 Specification for ready-mixed building mortars BS 4887-1:1986 Mortar admixtures. Specification for air-entraining (plasticizing) admixtures BS 4887-2:1987 Mortar admixtures. Specification for set retarding admixtures BS 5075 Concrete admixtures 1) 2) 3) BS 5838-2:1980 Specification for dry packaged cementitious mixes. Prepacked mortar mixes BS 6319-3:1990 Testing of resin and polymer/cement compositions for use in construction. Methods for measurement ofmodulus of elasticity in flexure and flexural strength BS 6319-12:1992 Testing of resin and polymer/cement compositions for use in construction. Methods for measurement of unrestrained linear shrinkage and coefficient of thermal expansion DD 249:1990 Testing aggregates. Method for the assessment of alkali-silica reactivity. Potential accelerated mortar-bar method PD 6678:2005 Guide to the specification of masonry mortar BS EN 480-1:2014 Admixtures for concrete, mortar and grout. Test methods. Reference concrete and reference mortar for testing BS EN 480-2:2006 Admixtures for concrete, mortar and grout. Test methods. Determination of setting time BS EN 480-4:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of bleeding of concrete BS EN 480-5:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of capillary absorption BS EN 480-6:2005 Admixtures for concrete, mortar and grout. Test methods. Infrared analysis BS EN 480-8:2012 Admixtures for concrete, mortar and grout. Test methods. Determination of the conventional dry material content BS EN 480-10:2009 Admixtures for concrete, mortar and grout. Test methods. Determination of water soluble chloride content BS EN 480-11:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of air void characteristics in hardened concrete BS EN 480-12:2005 Admixtures for concrete, mortar and grout. Test methods. Determination of the alkali content of admixtures BS EN 934-2:2009+A1:2012 Admixtures for concrete, mortar and grout . Concrete admixtures. Definitions, requirements, conformity, marking and labelling BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity BS EN 1015-7:1999 Methods of test for mortar for masonry. Determination of air content of fresh mortar / BS EN 1015-4:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by plunger penetration) / BS EN 1015-19:1999 Methods of test for mortar for masonry. Determination of water vapour permeability of hardened rendering and plastering mortars / BS EN 1015-1:1999 Methods of test for mortar for masonry. Determination of particle size distribution (by sieve analysis) / BS EN 1015-2:1999 Methods of test for mortar for masonry. Bulk sampling of mortars and preparation of test mortars / BS EN 1015-3:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by flow table) / BS EN 1015-6:1999 Methods of test for mortar for masonry. Determination of bulk density of fresh mortar / BS EN 1015-9:1999 Methods of test for mortar for masonry. Determination of workable life and correction time of fresh mortar / BS EN 1015-10:1999 Methods of test for mortar for masonry. Determination of dry bulk density of hardened mortar / BS 4551:2005+A2:2013 Mortar. Methods of test for mortar and screed. Chemical analysis and physical testing BS 8204-1:2003+A1:2009 Screeds, bases and in situ floorings. Concrete bases and cementitious levelling screeds to receive floorings. Code of practice |
| --- | --- |
| ASTM | ASTM C33 / C33M - 16 Standard Specification for Concrete Aggregates ASTM C87 / C87M – 10 Standard Test Method for Effect of Organic Impurities in Fine Aggregate on Strength of Mortar ASTM C94 / C94M - 16 Standard Specification for Ready-Mixed Concrete ASTM C109 / C109M - 16a Standard Test Method for Compressive Strength of Hydraulic Cement Mortars (Using 2-in. or [50-mm] Cube Specimens) ASTM C115 / C115M - 10e1 Standard Test Method for Fineness of Portland Cement by the Turbidimeter ASTM C125-15a Standard Terminology Relating to Concrete and Concrete Aggregates ASTM C136 / C136M - 14 Standard Test Method for Sieve Analysis of Fine and Coarse Aggregates ASTM C150-07 Standard Specification for Portland Cement (Withdrawn 28 Jul 2009) ASTM C295 / C295M - 12 Standard Guide for Petrographic Examination of Aggregates for Concrete ASTM C305 - 14 Standard Practice for Mechanical Mixing of Hydraulic Cement Pastes and Mortars of Plastic Consistency ASTM C348 - 14 Standard Test Method for Flexural Strength of Hydraulic-Cement Mortars ASTM C349 - 14 Standard Test Method for Compressive Strength of Hydraulic-Cement Mortars (Using Portions of Prisms Broken in Flexure) ASTM C452 - 15 Standard Test Method for Potential Expansion of Portland-Cement Mortars Exposed to Sulfate ASTM C490 / C490M - 11e1 Standard Practice for Use of Apparatus for the Determination of Length Change of Hardened Cement Paste, Mortar, and Concrete ASTM C494 / C494M - 15a Standard Specification for Chemical Admixtures for Concrete ASTM C597 - 09 Standard Test Method for Pulse Velocity Through Concrete ASTM C642 - 13 Standard Test Method for Density, Absorption, and Voids in Hardened Concrete ASTM C778 - 13 Standard Specification for Standard Sand ASTM C805 / C805M - 13a Standard Test Method for Rebound Number of Hardened Concrete ASTM C1038 / C1038M - 14b Standard Test Method for Expansion of Hydraulic Cement Mortar Bars Stored in Water ASTM D1067-11 Standard Test Methods for Acidity or Alkalinity of Water ASTM D1129-13 Standard Terminology Relating to Water ASTM D1193 - 06(2011) Standard Specification for Reagent Water ASTM D1293 - 12 Standard Test Methods for pH of Water |
| AS | AS 1478.2-2005 Chemical admixtures for concrete, mortar and grout - Methods of sampling and testing admixtures for concrete, mortar and grout AS 1012.1:2014 Methods of testing concrete - Sampling of concrete / AS 1012.2:2014 Methods of testing concrete - Preparing concrete mixes in the laboratory / AS 1012.3.1:2014 Methods of testing concrete - Determination of properties related to the consistency of concrete - Slump test / AS 1012.3.2-1998 (R2014) Methods of testing concrete - Determination of properties related to the consistency of concrete - Compacting factor test / AS 1012.3.3-1998 (R2014) Methods of testing concrete - Determination of properties related to the consistency of concrete - Vebe test / AS 1012.3.4-1998 (R2014) Methods of testing concrete - Determination of properties related to the consistency of concrete - Compactibility index / AS 1012.3.5:2015 Methods of testing concrete - Determination of properties related to the consistency of concrete - Slump flow, T500 and J-ring test / AS 1012.4.1:2014 Methods of testing concrete - Determination of air content of freshly mixed concrete - Measuring reduction in concrete volume with increased air pressure / AS 1012.4.2:2014 Methods of testing concrete - Determination of air content of freshly mixed concrete - Measuring reduction in air pressure in chamber above concrete / AS 1012.4.3:2014 Methods of testing concrete - Determination of air content of freshly mixed concrete - Measuring air volume when concrete is dispersed in water / AS 1012.5:2014 Methods of testing concrete - Determination of mass per unit volume of freshly mixed concrete / AS 1012.5:2014 Methods of testing concrete - Determination of mass per unit volume of freshly mixed concrete / AS 1012.6:2014 Methods of testing concrete - Determination of bleeding of concrete / AS 1012.8.1:2014 Methods of testing concrete - Method for making and curing concrete - Compression and indirect tensile test specimens / AS 1012.8.2:2014 Methods of testing concrete - Method for making and curing concrete - Flexure test specimens / AS 1012.13:2015 Methods of testing concrete - Determination of the drying shrinkage of concrete for samples prepared in the field or in the laboratory / AS 1012.14-1991 Methods of testing concrete - Method for securing and testing cores from hardened concrete for compressive strength / AS 1012.15-1979 Methods of testing concrete - Method for the estimation of portland cement content of hardened concrete / AS 1012.16-1996 (R2014) Methods of testing concrete - Determination of creep of concrete cylinders in compression / AS 1012.17-1997 (R2014) Methods of testing concrete - Determination of the static chord modulus of elasticity and Poisson's ratio of concrete specimens / AS 1012.18-1996 (R2014) Methods of testing concrete - Determination of setting time of fresh concrete, mortar and grout by penetration resistance / AS 1012.19.1-2000 (R2014) Methods of testing concrete - Accelerated curing of concrete compression test specimens - Hot water method / AS 1012.19.2-2000 (R2014) Methods of testing concrete - Accelerated curing of concrete compression test specimens - Warm water method / AS 1012.20-1992 Methods of testing concrete - Determination of chloride and sulfate in hardened concrete and concrete aggregates / DR AS 1012.20.1:2015 Methods of testing concrete - Determination of chloride and sulfate in hardened concrete and aggregates - Nitric acid extraction method / DR2 AS 1012.20.2:2015 Methods of testing concrete - Determination of water-soluble chloride in aggregates and hardened concrete / DR2 AS 1012.20.2:2015 Methods of testing concrete - Determination of water-soluble chloride in aggregates and hardened concrete / AS 1012.21-1999 (R2014) Methods of testing concrete - Determination of water absorption and apparent volume of permeable voids in hardened concrete / Methods of testing concrete - Determination of the drying shrinkage of concrete for samples prepared in the field or in the laboratory AS 1012.10-2000 (R2014) Methods of testing concrete - Determination of indirect tensile strength of concrete cylinders ('Brasil' or splitting test) AS 1012.18-1996 (R2014) Methods of testing concrete - Determination of setting time of fresh concrete, mortar and grout by penetration resistance AS 1379-2007/Amdt 1-2009 Specification and supply of concrete - AS 1379-2007/Amdt 2-2015 Specification and supply of concrete AS 1478.1-2000 Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 1478.2-2005 Chemical admixtures for concrete, mortar and grout - Methods of sampling and testing admixtures for concrete, mortar and grout AS 1478.2-2005 Chemical admixtures for concrete, mortar and grout - Methods of sampling and testing admixtures for concrete, mortar and grout AS 2350.12-2006 Methods of testing portland, blended and masonry cements - Preparation of a standard mortar and moulding of specimens AS 2350.13-1995 Methods of testing portland and blended cements - Determination of drying shrinkage of portland andblended cement mortars AS 2350.13-1995/Amdt 1-1997 Methods of testing portland and blended cements - Determination of drying shrinkage of portland and blended cement mortars # AS 2350.14-2006 Methods of testing portland, blended and masonry cements - Length change of cement mortars exposed to sulfate solution AS 2550.15-1994 Cranes - Safe use - Concrete placing equipment AS 3600-2009/Amdt 1-2010 Concrete structures - AS 3600-2009/Amdt 2-2013 Concrete structures # AS 3648-1993 Specification and methods of test for packaged concrete mixes |
| SS | SS EN 197 - 1 : 2014 Cement - Part 1 : Composition, specifications and conformity criteria for common cement / SS EN 197 - 2 : 2014 Cement - Part 2 : Conformity evaluation #### SS EN 12620:2008 - Amendment No.1 Specification for aggregates for concrete SS 78 - A25 : 1987 Testing concrete - Methods for mixing and sampling fresh concrete in the laboratory (Withdrawn - 11 Oct 2012) (Refer to BS 1881) SS 544 - 1 : 2014 Concrete – Complementary Singapore Standard to SS EN 206 – Part 1: Method of specifying and guidance for the specifier / SS 544 - 2 : 2014 Concrete – Complementary Singapore Standard to SS EN 206 – Part 2: Specification for constituent materials and concrete #### SS EN 934 - 1 : 2008 (2015) Admixtures for concrete, mortar and grout - Common requirements SS 397 - 1 : 1997 Methods of testing cement - Determination of strength (Withdrawn - 24 Jun 2011) (Users can refer to parts of BS EN 196) #### SS 561 : 2010 Specification for steel fabric for the reinforcement of concrete SS 18 - 1 : 1999 Cold-reduced steel wire for the reinforcement of concrete and the manufacture of welded fabric - Steel grade 500 / SS 18 - 2 : 1970 Cold-reduced steel wire for the reinforcement of concrete and the manufacture of welded fabric - Steel grade 485 / #### SS 561 : 2010 Specification for steel fabric for the reinforcement of concrete SS 580 : 2012 Code of practice for formwork #### SS 32 - 1 : 1999 Welded steel fabric for the reinforcement of concrete - Steel grades 300 and 500 / SS 32 - 2 : 1986 Welded steel fabric for the reinforcement of concrete - Steel grade 485. |
| ISO | ISO 1920-3:2004 Testing of concrete -- Part 3: Making and curing test specimens ISO 1920-1:2004 Testing of concrete -- Part 1: Sampling of fresh concrete ISO 1920-3:2004 Testing of concrete -- Part 3: Making and curing test specimens ISO 3766:2003 Construction drawings -- Simplified representation of concrete reinforcement ISO 3893:1977 Concrete -- Classification by compressive strength ISO 1920-4:2005 Testing of concrete -- Part 4: Strength of hardened concrete ISO 1920-4:2005 Testing of concrete -- Part 4: Strength of hardened concrete ISO 4103:1979 Concrete -- Classification of consistency ISO 1920-4:2005 Testing of concrete -- Part 4: Strength of hardened concrete ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 4635:2011 Rubber, vulcanized -- Preformed joint seals for use between concrete paving sections of highways -- Specification ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 6274:1982 Concrete -- Sieve analysis of aggregates ISO 1920-5:2004 Testing of concrete -- Part 5: Properties of hardened concrete other than strength ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 6782:1982 Aggregates for concrete -- Determination of bulk density ISO 6783:1982 Coarse aggregates for concrete -- Determination of particle density and water absorption -- Hydrostatic balance method ISO 1920-10:2010 Testing of concrete -- Part 10: Determination of static modulus of elasticity in compression ISO 7033:1987 Fine and coarse aggregates for concrete -- Determination of the particle mass-per-volume and water absorption -- Pycnometer method ISO 6934-1:1991 Steel for the prestressing of concrete -- Part 1: General requirements ISO 6934-2:1991 Steel for the prestressing of concrete -- Part 2: Cold-drawn wire ISO 6934-3:1991 Steel for the prestressing of concrete -- Part 3: Quenched and tempered wire ISO 6934-4:1991 Steel for the prestressing of concrete -- Part 4: Strand ISO 6934-5:1991 Steel for the prestressing of concrete -- Part 5: Hot-rolled steel bars with or without subsequent processing ISO 6935-1:2007 Steel for the reinforcement of concrete -- Part 1: Plain bars ISO 6935-2:2015 Steel for the reinforcement of concrete -- Part 2: Ribbed bars ISO 6935-3:1992 Steel for the reinforcement of concrete -- Part 3: Welded fabric ISO 14654:1999 Epoxy-coated steel for the reinforcement of concrete ISO 14656:1999 EPOXY POWDER AND SEALING MATERIAL FOR THE COATING OF STEEL FOR THE REINFORCEMENT OF CONCRETE |

## Cracks on roof concrete panels

| BS | BS EN 197-1:2011 Cement. Composition, specifications and conformity criteria for common cements BS EN 480-1:2014 Admixtures for concrete, mortar and grout. Test methods. Reference concrete and reference mortar for testing BS EN 934-2:2009+A1:2012 Admixtures for concrete, mortar and grout . Concrete admixtures. Definitions, requirements, conformity, marking and labelling BS EN 934-6:2001 Admixtures for concrete, mortar and grout. Sampling, conformity control and evaluation of conformity BS EN 1992-1-1:2004+A1:2014 Eurocode 2: Design of concrete structures. General rules and rules for buildings BS EN 13139:2002 Aggregates for mortar/ 15/30313572 DC. BS ISO 1920-2. Testing of concrete. Part 2. Properties of fresh concrete/ BS 1881-207:1992. Testing concrete. Recommendations for the assessment of concrete strength by near-to-surface tests/ BS 1881-124:2015. Testing concrete. Methods for analysis of hardened/ BS 1881-125:2013. Testing concrete. Methods for mixing and sampling fresh concrete in the laboratory/ BS 1881-130:2013. Testing concrete. Method for temperature-matched curing of concrete specimens/ BS 1881-113:2011. Testing concrete. Method for making and curing no-fines test cubes/ BS 1881-119:2011. Testing concrete. Method for determination of compressive strength using portions of beams broken in flexure (equivalent cube method)/ BS 1881-122:2011. Testing concrete. Method for determination of water absorption/ BS 1881-129:2011. Testing concrete. Method for determination of density of partially compacted semi-dry fresh concrete/ BS 1881-131:1998. Testing concrete. Methods for testing cement in a reference concrete/ BS 1881-208:1996. Testing concrete. Recommendations for the determination of the initial surface absorption of concrete/ BS 1881-209:1990. Testing concrete. Recommendations for the measurement of dynamic modulus of elasticity/ BS 1881-204:1988. Testing concrete. Recommendations on the use of electromagnetic covermeters/ BS 1881-206:1986. Testing concrete. Recommendations for determination of strain in concrete/ BS 1881-121:1983. Testing concrete. Method for determination of static modulus of elasticity in compression/ BS EN 12504-2:2012. Testing concrete in structures. Non-destructive testing. Determination of rebound number/ BS 1881-204:1988 Testing concrete. Recommendations on the use of electromagnetic covermeters/ BS 1881-206:1986 Testing concrete. Recommendations for determination of strain in concrete. BS 812-103.2:1989. Testing aggregates. Method for determination of particle size distribution. Sedimentation testBS 812-121:1989. Testing aggregates. Method for determination of soundness/ BS 812-119:1985. Testing aggregates. Method for determination of acid-soluble material in fine aggregate/ BS 812-112:1990. Testing aggregates. Method for determination of aggregate impact value (AIV)/ BS 812-114:1989. Testing aggregates. Method for determination of the polished-stone value/ BS 812-110:1990. Testing aggregates. Methods for determination of aggregate crushing value (ACV)/ BS 812-111:1990. Testing aggregates. Methods for determination of ten per cent fines value (TFV)/ BS 812-109:1990. Testing aggregates. Methods for determination of moisture content/ BS 812-104:1994. Testing aggregates. Method for qualitative and quantitative petrographic examination of aggregates/ BS 812-123:1999. Testing aggregates. Method for determination of alkali-silica reactivity. Concrete prism method/ BS 812-2:1995. Testing aggregates. Methods for determination of density/BS EN 932-5:2012 Tests for general properties of aggregates. Common equipment and calibration/ BS 812-124:2009. Testing aggregates. Method for determination of frost heave/ . BS EN 12620:2002+A1:2008 Aggregates for concrete BS 4550-0:1978 Methods of testing cement. General introduction / BS EN 196-7:2007 Methods of testing cement. Methods of taking and preparing samples of cement / BS EN 196-2:2013 Method of testing cement. Chemical analysis of cement / BS EN 196-5:2011 Methods of testing cement. Pozzolanicity test for pozzolanic cement / BS EN 196-2:2013 Method of testing cement. Chemical analysis of cement / BS EN 4550-3:2003 Aerospace series. Pipe coupling 37°. Design configuration. Inch series. Port connections / BS 4550-3.1:1978 Methods of testing cement. Physical tests. Introduction / BS EN 196-6:2010 Methods of testing cement. Determination of fineness / BS EN 196-1:2016 Methods of testing cement. Determination of strength / BS 1881-131:1998 Testing concrete. Methods for testing cement in a reference concrete BS EN 196-3:2005+A1:2008 Methods of testing cement. Determination of setting times and soundness/ BS 4550-3.8:1978 Methods of testing cement. Physical tests. Test for heat of hydration / BS 1881-131:1998 Testing concrete. Methods for testing cement in a reference concrete / BS 1881-131:1998 Testing concrete. Methods for testing cement in a reference concrete / BS 4550-6:1978 Methods of testing cement. Standard sand for mortar cubes BS EN 1015-7:1999 Methods of test for mortar for masonry. Determination of air content of fresh mortar / BS EN 1015-4:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by plunger penetration) / BS EN 1015-19:1999 Methods of test for mortar for masonry. Determination of water vapour permeability of hardened rendering and plastering mortars / BS EN 1015-1:1999 Methods of test for mortar for masonry. Determination of particle size distribution (by sieve analysis) / BS EN 1015-2:1999 Methods of test for mortar for masonry. Bulk sampling of mortars and preparation of test mortars / BS EN 1015-3:1999 Methods of test for mortar for masonry. Determination of consistence of fresh mortar (by flow table) / BS EN 1015-6:1999 Methods of test for mortar for masonry. Determination of bulk density of fresh mortar / BS EN 1015-9:1999 Methods of test for mortar for masonry. Determination of workable life and correction time of fresh mortar / BS EN 1015-10:1999 Methods of test for mortar for masonry. Determination of dry bulk density of hardened mortar / BS 4551:2005+A2:2013 Mortar. Methods of test for mortar and screed. Chemical analysis and physical testing BS EN 934-3:2009+A1:2012 Admixtures for concrete, mortar and grout. Admixtures for masonry mortar. Definitions, requirements, conformity and marking and labelling BS 4887-2:1986: Mortar admixtures. Specification for set retarding admixtures BS 5075-1-3: Concrete admixtures. Specifications for admixtures BS EN 206:2013 Concrete. Specification, performance, production and conformity BS EN 998-2:2010 Specification for mortar for masonry . Masonry mortar BS EN 13791:2007 Assessment of in-situ compressive strength in structures and pre-cast concrete components/ BS 6089:2010 Assessment of in-situ compressive strength in structures and precast concrete components. Complementary guidance to that given in BS EN 13791/ BS 6949:1991- Specification for bitumen-based coatings for cold application excluding use in contact with potable water BS 7543:2015 Guide to durability of buildings and building elements, products and components/BS ISO 15686-1:2011 Buildings and constructed assets. Service life planning. General principles and frameworkBS ISO 15686-3:2002 Buildings and constructed assets. Service life planning. Performance audits and reviewsBS ISO 15686-2:2012 Buildings and constructed assets. Service life planning. Service life prediction procedures BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS 6949:1991-Specification for bitumen-based coatings for cold application excluding use in contact with potable water BS 8221-1:2012 Code of practice for cleaning and surface repair of buildings. Cleaning of natural stone, brick, terracotta and concrete BS 8221-1:2012 Code of practice for cleaning and surface repair of buildings. Cleaning of natural stone, brick, terracotta and concrete BS EN 12056-2:2000 Gravity drainage systems inside buildings. Sanitary pipework, layout and calculation BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles |
| --- | --- |
| ASTM | ASTM C33 / C33M - 16 Standard Specification for Concrete Aggregates ASTM C94 / C94M - 15b Standard Specification for Ready-Mixed Concrete ASTM C150 / C150M - 15 Standard Specification for Portland Cement ASTM C597 - 09 Standard Test Method for Pulse Velocity Through Concrete ASTM C136 / C136M - 14 Standard Test Method for Sieve Analysis of Fine and Coarse Aggregates ASTM C642 - 13 Standard Test Method for Density, Absorption, and Voids in Hardened Concrete ASTM C805 / C805M - 13a Standard Test Method for Rebound Number of Hardened Concrete ASTM D4258 - 05(2012) Standard Practice for Surface Cleaning Concrete for Coating ASTM D1640 / D1640M - 14 Standard Test Methods for Drying, Curing, or Film Formation of Organic Coatings ASTM D5324 - 10 Standard Guide for Testing Water-Borne Architectural Coatings ASTM D5146 - 10 Standard Guide to Testing Solvent-Borne Architectural Coatings ASTM E1907-06a Standard Guide to Methods of Evaluating Moisture Conditions of Concrete Floors to Receive Resilient Floor Coverings (Withdrawn 2008) ASTM D6237 - 09(2015) Standard Guide for Painting Inspectors (Concrete and Masonry Substrates) ASTM C1063 - 16a Standard Specification for Installation of Lathing and Furring to Receive Interior and Exterior Portland Cement-Based Plaster ASTM D5957 - 98(2013) Standard Guide for Flood Testing Horizontal Waterproofing Installations ASTM D5295 / D5295M - 14 Standard Guide for Preparation of Concrete Surfaces for Adhered (Bonded) Membrane Waterproofing Systems ASTM D5683 / D5683M - 95(2011)e1 Standard Test Method for Flexibility of Roofing and Waterproofing Materials and Membranes ASTM D6135-05 Standard Practice for Application of Self-Adhering Modified Bituminous Waterproofing (Withdrawn 2014) ASTM D1784 - 11 Standard Specification for Rigid Poly(Vinyl Chloride) (PVC) Compounds and Chlorinated Poly(Vinyl Chloride) (CPVC) Compounds |
| AS | AS 1012.10-2000 (R2014) Methods of testing concrete - Determination of indirect tensile strength of concrete cylinders (‘Brasil’ or splitting test) AS 1478.2-2005 Chemical admixtures for concrete, mortar and grout - Methods of sampling and testing admixtures for concrete, mortar and grout AS 1012.1:2014 Methods of testing concrete - Sampling of concrete concreteAS 1379-2007/Amdt 1-2009 Specification and supply of concrete - AS 1379-2007/Amdt 2-2015 Specification and supply of concrete AS 1478.1-2000 Chemical admixtures for concrete, mortar and grout - Admixtures for concrete AS 1478.2-2005 Chemical admixtures for concrete, mortar and grout - Methods of sampling and testing admixtures for concrete, mortar and grout AS 2550.15-1994 Cranes - Safe use - Concrete placing equipment AS 3600-2009 Concrete structures AS 3648-1993 : Specification and methods of test for packaged concrete mixes AS 3740-2010 Waterproofing of domestic wet areas / AS 3740-2010/Amdt 1-2012 Waterproofing of domestic wet areas AS 3740-Amdt 1:1995- Waterproofing of wet areas within residential buildings AS/NZS 2032:2006 Installation of PVC pipe systems AS/NZS 2588:1998 Gypsum plasterboard AS/NZS 2589:2007 Gypsum linings - Application and finishing AS 2590-1983 Glass fibre reinforced gypsum plasterboard (Withdrawn 24 Aug 2006) AS 2592-1983 Gypsum plaster for building purposes (Withdrawn 24 Aug 2006) AS 2753-1985 Adhesives - Mastic - For bonding gypsum plaster linings to wood and metal framing members (Withdrawn 31 Jul 2006) |
| SS | SS EN 197 - 1 : 2014 Cement - Part 1 : Composition, specifications and conformity criteria for common cement/ SS EN 197 - 2 : 2014 Cement - Part 2 : Conformity evaluation SS EN 12620 : 2008 Specification for aggregates for concrete SS 117 : 1975 HOT DIP GALVANIZED COATINGS ON IRON AND STEEL ARTICLES (REFER TO ISO 1460 AND ISO 1461) SS EN 206 : 2014 Concrete. Specification, performance, production and conformity/ SS 544 series - Concrete - Complementary Singapore Standard to SS EN 206-1 SS EN 934 - 1 : 2008 (2015) Admixtures for concrete, mortar and grout - Common requirements/ SS EN 934 - 2 : 2015 Admixtures for concrete, mortar and grout - Part 2 : Definitions, requirements – Concrete admixtures – Definitions, requirements, conformity, marking and labelling/ SS EN 934 - 6 : 2008 (2015) Admixtures for concrete, mortar and grout - Sampling, conformity control and evaluation of conformity CP 82 : 1999 Code of practice for waterproofing of reinforced concrete buildings |
| ISO | ISO 1920-3:2004 Testing of concrete -- Part 3: Making and curing test specimens ISO 1920-1:2004 Testing of concrete -- Part 1: Sampling of fresh concrete ISO 1920-3:2004 Testing of concrete -- Part 3: Making and curing test specimens ISO 3766:2003 Construction drawings -- Simplified representation of concrete reinforcement ISO 3893:1977 Concrete -- Classification by compressive strength ISO 1920-4:2005 Testing of concrete -- Part 4: Strength of hardened concrete ISO 1920-4:2005 Testing of concrete -- Part 4: Strength of hardened concrete ISO 4103:1979 Concrete -- Classification of consistency ISO 1920-4:2005 Testing of concrete -- Part 4: Strength of hardened concrete ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 4635:2011 Rubber, vulcanized -- Preformed joint seals for use between concrete paving sections of highways -- Specification ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 6274:1982 Concrete -- Sieve analysis of aggregates ISO 1920-5:2004 Testing of concrete -- Part 5: Properties of hardened concrete other than strength ISO 1920-2:2005 Testing of concrete -- Part 2: Properties of fresh concrete ISO 6782:1982 Aggregates for concrete -- Determination of bulk density ISO 6783:1982 Coarse aggregates for concrete -- Determination of particle density and water absorption -- Hydrostatic balance method ISO 1920-10:2010 Testing of concrete -- Part 10: Determination of static modulus of elasticity in compression ISO 7033:1987 Fine and coarse aggregates for concrete -- Determination of the particle mass-per-volume and water absorption -- Pycnometer method ISO 265-1:1988 Pipes and fittings of plastics materials -- Fittings for domestic and industrial waste pipes -- Basic dimensions: Metric series -- Part 1: Unplasticized poly(vinyl chloride) (PVC-U) ISO 768:1972 Fibre building boards -- Determination of bending strength ISO 769:1972 Fibre building boards -- Hard and medium boards -- Determination of water absorption and of swelling in thickness after immersion in water ISO 818:1975 Fibre building boards -- Definition -- Classification ISO 820:1975 Particle boards -- Definition and classification ISO 2696:1976 Fibre building boards -- Hard and medium boards for general purposes -- Quality specifications -- Water absorption and swelling in thickness ISO 3546:1976 Fibre building boards -- Determination of surface finish (roughness) Fittings for unplasticized polyvinyl chloride (PVC) pressure pipes with elastic sealing ring type joints -- Pressure test for leakproofness ISO 3633:2002 Plastics piping systems for soil and waste discharge (low and high temperature) inside buildings -- Unplasticized poly(vinyl chloride) (PVC-U) ISO/TR 4191:2014 Plastics piping systems for water supply -- Unplasticized poly(vinyl chloride)(PVC-U) and oriented PVC-U (PVC-O) -- Guidance for installation ISO 6308:1980 Gypsum plasterboard -- Specification ISO 13844:2015 Plastics piping systems -- Elastomeric-sealing-ring-type socket joints for use with plastic pressure pipes -- Test method for leaktightness under negative pressure, angular deflection and deformation ISO 13845:2015 Plastics piping systems -- Elastomeric-sealing-ring-type socket joints for use with thermoplastic pressure pipes -- Test method for leaktightness under internal pressure and with angular deflection |

# Architectural

## Blistering of Waterproofing Membrane

## PRE-MATURE MEMBRANE FAILURE - Alligatoring of Membrane

## PRE-MATURE MEMBRANE FAILURE - Delamination of Membrane

## PRE-MATURE MEMBRANE FAILURE - Adhesive Failure of Membrane

## PRE-MATURE MEMBRANE FAILURE - Tearing of Membrane

## PRE-MATURE MEMBRANE FAILURE - Ridging of Membrane

## PRE-MATURE MEMBRANE FAILURE - Splitting of Membrane

## PRE-MATURE MEMBRANE FAILURE - Adhesive Failure of Membrane

## MICROBIAL GROWTH -Algae Growth

## Water Leak Through Tile Popping

| BS | BS 476-3:2004 Fire tests on building materials and structures. Classification and method of test for external fire exposure to roofs BS 648:1964 Schedule of weights of building materials (Withdrawn) BS EN 12326-1:2014 Slate and stone for discontinuous roofing and external cladding. Specifications for slate and carbonate slate BS 690-6:1976 Asbestos-cement slates and sheets. Fittings for use with corrugated sheets (Witthdrawn) BS EN 13707:2013 Flexible sheets for waterproofing. Reinforced bitumen sheets for roof waterproofing. Definitions and characteristics BS EN ISO 8990:1996 Thermal insulation. Determination of steady-state thermal transmission properties. Calibrated and guarded hot box BS EN 13168:2012+A1:2015 Thermal insulation products for buildings. Factory made wood wool (WW) products. Specification BS 1202-2:1974 Specification for nails. Copper nails BS 1202-3:1974 Specification for nails. Aluminium nails BS 1494-1:1964 Specification for fixing accessories for building purposes. Fixings for sheet, roof and wall coverings (Withdrawn) BS 1521:1972 Specification for waterproof building papers BS 1521:1972 Specification for waterproof building papersBS EN 14015:2004 Specification for the design and manufacture of site built, vertical, cylindrical, flat-bottomed, above ground, welded, steel tanks for the storage of liquids at ambient temperature and above BS 2830:1994 Specification for suspended access equipment (suspended chairs, traditional steeplejack’s seats, work cages, cradles and platforms) for use in the building, engineering construction, steeplejack and cleaning industries (Withdraw) BS 4841-3:2006 Rigid polyisocyanurate (PIR) and polyurethane (PUR) products for building end-use applications. Specification for laminated boards (roofboards) with auto-adhesively or separately bonded facings for use as roofboard thermal insulation under built up bituminous roofing membranes BS 4868:1972 Specification for profiled aluminium sheet for building Eurocode 5: Design of timber structures. General. Common rules and rules for buildings BS EN 1995-1-1:2004+A2:2014 Eurocode 5: Design of timber structures. General. Common rules and rules for buildings BS EN 1995-1-1:2004+A2:2014 Eurocode 5: Design of timber structures. General. Common rules and rules for buildings BS EN 1995-1-1:2004+A2:2014 Eurocode 5: Design of timber structures. General. Common rules and rules for buildings BS EN 1995-1-1:2004+A2:2014 Eurocode 5: Design of timber structures. General. Common rules and rules for buildings BS EN 1995-1-1:2004+A2:2014 Eurocode 5: Design of timber structures. General. Common rules and rules for buildings BS 5427:2016 Code of practice for the use of profiled sheet for roof and wall cladding on buildings BS 5534:2014+A1:2015 Slating and tiling for pitched roofs and vertical cladding. Code of practice BS EN 13162:2012+A1:2015 Thermal insulation products for buildings. Factory made mineral wool (MW) products. Specification BS 5803-2:1985 Thermal insulation for use in pitched roof spaces in dwellings. Specification for man-made mineral fibre thermal insulation in pelleted or granular form for application by blowing BS 5803-3:1985 Thermal insulation for use in pitched roof spaces in dwellings. Specification for cellulose fibre thermal insulation for application by blowing BS 5803-4:1985 Thermal insulation for use in pitched roof spaces in dwellings. Methods for determining flammability and resistance to smouldering BS 5803-5:1985 Thermal insulation for use in pitched roof spaces in dwellings. Specification for installation of man-made mineral fibre and cellulose fibre insulation BS 5918:2015 Solar heating systems for domestic hot water. Code of practice for design and installation BS EN 1993-1-3:2006 Eurocode 3. Design of steel structures. General rules. Supplementary rules for cold-formed members and sheeting BS 5950-7:1992 Structural use of steelwork in building. Specification for materials and workmanship: cold formed sections (Withdrawn) BS 6100-6:2008 Building and civil engineering. Vocabulary. Construction parts BS 6100-11:2007 Building and civil engineering. Vocabulary. Performance characteristics, measurement and joints BS 6229:2003 Flat roofs with continuously supported coverings. Code of practice BS EN 1991-1-3:2003+A1:2015 Eurocode 1. Actions on structures. General actions. Snow loads BS 6915:2001+A1:2014 Design and construction of fully supported lead sheet roof and wall coverings. Code of practice BS 6925:1988 Specification for mastic asphalt for building and civil engineering (limestone aggregate) BS 7021:1989 Code of practice for thermal insulation of roofs externally by means of sprayed rigid polyurethane (PUR) or polyisocyanurate (PIR) foam BS EN 14975:2006+A1:2010 Loft ladders. Requirements, marking and testing BS 7916:1998 Code of practice for the selection and application of particleboard, oriented strand board (OSB), cement bonded particleboard and wood fibreboards for specific purposes (WIthdrawn) BS 8000-4:1989 Workmanship on building sites. Code of practice for waterproofing / BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS 8000-7:1990 Workmanship on building sites. Code of practice for glazing / BS 8000-0:2014 Workmanship on construction sites. Introduction and general principles BS 8103-3:2009 Structural design of low-rise buildings. Code of practice for timber floors and roofs for housing BS 8200:1985 Code of practice for design of non-loadbearing external vertical enclosures of buildings (Withdrawn) BS 8217:2005 Reinforced bitumen membranes for roofing. Code of practice BS 8218:1998 Code of practice for mastic asphalt roofing BS 8219:2001+A1:2013 Installation of sheet roof and wall coverings. Profiled fibre cement. Code of practice DD ISO/PAS 11154:2006 Road vehicles. Roof load carriers CP 143-1:1958 Code of practice for sheet roof and wall coverings. Aluminium, corrugated and troughed CP 143-5:1964 Code of practice for sheet roof and wall coverings. Code of practice for sheet roof and wall coverings. Zinc CP 143-10:1973 Code of practice for sheet roof and wall coverings. Code of practice for sheet roof and wall coverings. Galvanized corrugated steel. Metric units CP 143-12:1970 Code of practice for sheet roof and wall coverings. Code of practice for sheet roof and wall coverings. Copper. Metric units CP 143-15:1973 Code of practice for sheet roof and wall coverings. Code of practice for sheet roof and wall coverings. Aluminium. Metric units CP 143-16:1974 Code of practice for sheet roof and wall coverings. Code of practice for sheet roof and wall coverings. Semi-rigid asbestos bitumen sheet. Metric units BS EN 490:2011 Concrete roofing tiles and fittings for roof covering and wall cladding. Product specifications BS EN 491:2011 Concrete roofing tiles and fittings for roof covering and wall cladding. Test methods BS EN 492:2012 Fibre-cement slates and fittings. Product specification and test methods BS EN 494:2012+A1:2015 Fibre-cement profiled sheets and fittings. Product specification and test methods BS EN 495-5:2013 Flexible sheets for waterproofing. Determination of foldability at low temperature. Plastic and rubber sheets for roof waterproofing BS EN 501:1994 Roofing products from metal sheet. Specifications for fully supported roofing products of zinc sheet BS EN 502:2013 Roofing products from metal sheet. Specification for fully supported roofing products of stainless steel sheet BS EN 504:2000 Roofing products from metal sheet. Specification for fully supported roofing products of copper sheet BS EN 505:2013 Roofing products from metal sheet. Specification for fully supported roofing products of steel sheet BS EN 506:2008 Roofing products of metal sheet. Specification for self-supporting products of copper or zinc sheet BS EN 507:2000 Roofing products from metal sheet. Specification for fully supported roofing products of aluminium sheet BS EN 508-1:2014 Roofing and cladding products from metal sheet. Specification for self-supporting of steel, aluminium or stainless steel sheet. Steel BS EN 508-2:2008 BS EN 508-2:2000 Roofing products from metal sheet. Specification for self-supporting products of steel, aluminium or stainless steel sheet. Aluminium BS EN 508-3:2008 Roofing products from metal sheet. Specification for self-supporting products of steel, aluminium or stainless steel sheet. Stainless steel BS EN 516:2006 Prefabricated accessories for roofing. Installations for roof access. Walkways, treads and steps BS EN 517:2006 Prefabricated accessories for roofing. Roof safety hooks BS EN 534:2006+A1:2010 Corrugated bitumen sheets. Product specification and test methods BS EN 538:1994 Clay roofing tiles for discontinuous laying. Flexural strength test BS EN 539-1:2005 Clay roofing tiles for discontinuous laying. Determination of physical characteristics. Impermeability test BS EN 539-2:2013 Clay roofing tiles for discontinuous laying. Determination of physicalcharacteristics. Test for frost resistance BS EN 544:2011 Bitumen shingles with mineral and/or synthetic reinforcements. Product specification and test methods BS EN 595:1995 Timber structures. Test methods. Test of trusses for the determination of strength and deformation behaviour BS EN 988:1997 Zinc and zinc alloys. Specification for rolled flat products for building BS EN 1013:2012+A1:2014 Light transmitting single skin profiled plastics sheets for internal and external roofs, walls and ceilings. Requirements and test methods BS EN 1013:2012+A1:2014 Light transmitting single skin profiled plastics sheets for internal and external roofs, walls and ceilings. Requirements and test methods BS EN 1013:2012+A1:2014 Light transmitting single skin profiled plastics sheets for internal and external roofs, walls and ceilings. Requirements and test methods BS EN 1013:2012+A1:2014 Light transmitting single skin profiled plastics sheets for internal and external roofs, walls and ceilings. Requirements and test methods BS EN 1013:2012+A1:2014 Light transmitting single skin profiled plastics sheets for internal and external roofs, walls and ceilings. Requirements and test methods BS EN 1024:2012 Clay roofing tiles for discontinuous laying. Determination of geometric characteristics BS EN 1107-1:2000 Flexible sheets for waterproofing. Determination of dimensional stability. Bitumen sheets for roof waterproofing BS EN 1107-2:2001 Flexible sheets for waterproofing. Determination of dimensional stability. Plastic and rubber sheets for roof waterproofing BS EN 1108:2000 Flexible sheets for waterproofing. Bitumen sheets for roof waterproofing. Determination of form stability under cyclical temperature changes BS EN 1109:2013 Flexible sheets for waterproofing. Bitumen sheets for roof waterproofing. Determination of flexibility at low temperature BS EN 1110:2010 Flexible sheets for waterproofing. Bitumen sheets for roof waterproofing. Determination of flow resistance at elevated temperature BS EN 1172:2011 Copper and copper alloys. Sheet and strip for building purposes DD CEN/TS 1187:2012 Test methods for external fire exposure to roofs BS EN 1296:2001 Flexible sheets for waterproofing. Bitumen, plastic and rubber sheets for roofing. Method of artificial ageing by long term exposure to elevated temperature BS EN 1304:2013 Clay roofing tiles and fittings. Product definitions and specifications BS EN 1804-1:2001+A1:2010 Machines for underground mines. Safety requirements for hydraulic powered roof supports. Support units and general requirements BS EN 1804-2:2001+A1:2010 Machines for underground mines. Safety requirements for hydraulic powered roof supports. Power set legs and rams BS EN 1844:2013 Flexible sheets for waterproofing. Determination of resistance to ozone. Plastic and rubber sheets for roof waterproofing BS EN 1847:2009 Flexible sheets for waterproofing. Plastics and rubber sheets for roof waterproofing. Methods for exposure to liquid chemicals, including water BS EN 1848-1:2000 Flexible sheets for waterproofing. Determination of length, width and straightness. Bitumen sheets for roof waterproofing BS EN 1848-2:2001 Flexible sheets for waterproofing. Determination of length, width and straightness. Plastic and rubber sheets for roof waterproofing BS EN 1849-1:2000 Flexible sheets for waterproofing. Determination of thickness and mass per unit area. Bitumen sheets for roof waterproofing BS EN 1849-2:2009 Flexible sheets for waterproofing. Determination of thickness and mass per unit area. Plastic and rubber sheets BS EN 1850-1:2000 Flexible sheets for waterproofing. Determination of visible defects. Bitumen sheets for roof waterproofing BS EN 1850-2:2001 Flexible sheets for waterproofing. Determination of visible defects. Plastic and rubber sheets for roof waterproofingBS EN 1928:2000 Flexible sheets for waterproofing. Bitumen, plastic and rubber sheets for roof waterproofing. Determination of watertightness BS EN 1928:2000 FLEXIBLE SHEETS FOR WATERPROOFING. BITUMEN, PLASTIC AND RUBBER SHEETS FOR ROOF WATERPROOFING. DETERMINATION OF WATERTIGHTNESS BS EN 1931:2000 Flexible sheets for waterproofing. Bitumen, plastic and rubber sheets for roof waterproofing. Determination of water vapour transmission properties BS EN 10169:2010+A1:2012 Continuously organic coated (coil coated) steel flat products. Technical delivery conditionsContinuously organic coated (coil coated) steel flat products. Technical delivery conditions BS EN 12039:2000 Flexible sheets for waterproofing. Bitumen sheets for roof waterproofing. Determination of adhesion of granules BS EN 12056-3:2000 Gravity drainage systems inside buildings. Roof drainage, layout and calculation BS EN 12310-1:2000 Flexible sheets for waterproofing. Determination of resistance to tearing (nail shank). Bitumen sheets for roof waterproofing BS EN 12310-2:2000 Flexible sheets for waterproofing. Determination of resistance to tearing (nail shank). Plastic and rubber sheets for roof waterproofing BS EN 12311-1:2000 Flexible sheets for waterproofing. Determination of tensile properties. Bitumen sheets for roof waterproofing BS EN 12311-2:2013 Flexible sheets for waterproofing. Determination of tensile properties. Plastic and rubber sheets for roof waterproofing BS EN 12316-1:2000 Flexible sheets for waterproofing. Determination of peel resistance of joints. Bitumen sheets for roof waterproofing BS EN 12316-2:2013 Flexible sheets for waterproofing. Determination of peel resistance of joints. Plastic and rubber sheets for roof waterproofingBS EN 12316-2:2013 Flexible sheets for waterproofing. Determination of peel resistance of joints. Plastic and rubber sheets for roof waterproofing BS EN 12317-1:2000 Flexible sheets for waterproofing. Bitumen sheets for roof waterproofing. Determination of shear resistance of joints BS EN 12317-2:2010 Flexible sheets for waterproofing. Determination of shear resistance of joints. Plastic and rubber sheets for roof waterproofing BS EN 12326-2:2011 Slate and stone for discontinuous roofing and external cladding. Methods of test for slate and carbonate slate BS EN 12467:2012 Fibre-cement flat sheets. Product specification and test methods BS EN 12588:2006 Lead and lead alloys. Rolled lead sheet for building purposes BS EN 12691:2006 Flexible sheets for waterproofing. Bitumen, plastic and rubber sheets for roof waterproofing. Determination of resistance to impact BS EN 12730:2015 Flexible sheets for waterproofing. Bitumen, plastic and rubber sheets for roof waterproofing. Determination of resistance to static loading BS EN 12871:2013 Wood-based panels. Determination of performance characteristics for load bearing panels for use in floors, roofs and walls BS EN 13111:2010 Flexible sheets for waterproofing. Underlays for discontinuous roofing and walls. Determination of resistance to water penetration BS EN 13416:2001 Flexible sheets for waterproofing. Bitumen, plastic and rubber sheets for roof waterproofing. Rules for sampling BS EN 13583:2012 Flexible sheets for waterproofing. Bitumen, plastic and rubber sheets for roof waterproofing. Determination of hail resistance 91/13906 DC Thermoplastic roofing and sealing sheets. Determination of tear resistance. Trapezoidal test specimen method (prEN 495-2) 91/13907 DC Thermoplastic and elastomeric roofing and sealing sheets. Determination of split pressure resistance (prEN 495-3) 91/13908 DC Thermoplastic and elastomeric roofing and sealing sheets. Determination of water vapour transmission properties (prEN 495-4) 91/38881 DC Rubber, vulcanized. EPDM and blends of EPDM-butyl non-reinforced, non-backed roofing sheet. Specification (ISO/DIS 4634) BS 4841-2:2006 Rigid polyisocyanurate (PIR) and polyurethane (PUR) products for building end-use applications. Specification for laminated boards with auto-adhesively bonded facings for use as thermal insulation for internal wall linings and ceilings BS EN 1297:2004 Flexible sheets for waterproofing. Bitumen, plastic and rubber sheets for roof waterproofing. Method of artificial ageing by long term exposure to the combination of UV radiation, elevated temperature and water 96/104019 DC prEN 503. Roofing products from metal sheet. Specification for fully supported roofing products of lead sheet 97/103069 DC prEN 12871-1. Wood-based panels. Structural roof decking on joists. Part 1. Performance specifications 97/103070 DC Pren 12871-2 - Wood-based Panels - Structural Roof Decking On Joists - Part 2: Performance Requirements NEN NPR CEN/TS 12872:2007 Wood-based Panels - Guidance On The Use Of Load-bearing Boards In Floors, Walls And Roofs BS EN 12951:2004 Prefabricated accessories for roofing. Permanently fixed roof ladders. Product specification and test methods 97/704453 DC Road vehicles. Roof load carriers. Part 2. Accessories and their attachments to roof bars for special purpose applications (ISO/DIS 11154-2) 97/704454 DC Road vehicles. Roof load carriers. Part 3. Specific purpose roof devices (ISO/DIS 11154-3) BS EN 13141-5:2004 Ventilation for buildings. Performance testing of components/products for residential ventilation. Cowls and roof outlet terminal devices BS EN 13707:2013 Flexible sheets for waterproofing. Reinforced bitumen sheets for roof waterproofing. Definitions and characteristics BS EN 13579:2002 Products and systems for the protection and repair of concrete structures. Test methods. Drying test for hydrophobic impregnation BS EN 12326-1:2014 Slate and stone for discontinuous roofing and external cladding. Specifications for slate and carbonate slate BS EN 13693:2004+A1:2009 Precast concrete products. Special roof elements BS EN 13693:2004+A1:2009 Precast concrete products. Special roof elementsBS EN 12056-3:2000 Gravity drainage systems inside buildings. Roof drainage, layout and calculation BS EN 1296:2001 Flexible sheets for waterproofing. Bitumen, plastic and rubber sheets for roofing. Method of artificial ageing by long term exposure to elevated temperature BS EN 13859-1:2014 Flexible sheets for waterproofing. Definitions and characteristics of underlays. Underlays for discontinuous roofing BS EN 13956:2012 Flexible sheets for waterproofing. Plastic and rubber sheets for roof waterproofing. Definitions and characteristics BS 6229:2003 Flat roofs with continuously supported coverings. Code of practice BS EN 13948:2007 Flexible sheets for waterproofing. Bitumen, plastic and rubber sheets for roof waterproofing. Determination of resistance to root penetration BS EN 14064-1:2010 Thermal insulation products for buildings. In-situ formed loose-fill mineral wool (MW) products. Specification for the loose-fill products before installation BS EN 1804-3:2006+A1:2010 Machines for underground mines. Safety requirements for hydraulic powered roof supports. Hydraulic control systems BS EN ISO 12567-2:2005 Thermal performance of windows and doors. Determination of thermal transmittance by hot box method. Roof windows and other projecting windows EN 14209:2005 Preformed Plasterboard Cornices - Definitions, Requirements And Test Methods ISO/PAS 11154:2006 Road vehicles - Roof load carriers BS EN 14437:2004 Determination of the uplift resistance of clay or concrete tiles for roofing. Roof system test method BS 5534:2014+A1:2015 Slating and tiling for pitched roofs and vertical cladding. Code of practice BS EN 13501-5:2005+A1:2009 Fire classification of construction products and building elements. Classification using data from external fire exposure to roofs tests BS EN 1304:2013 Clay roofing tiles and fittings. Product definitions and specifications BS EN 1304:2013 Clay roofing tiles and fittings. Product definitions and specifications BS 416-1:1990 Discharge and ventilating pipes and fittings, sand-cast or spun in cast iron. Specification for spigot and socket systems BS EN 491:2011 Concrete roofing tiles and fittings for roof covering and wall cladding. Test methods BS EN 491:2011 Concrete roofing tiles and fittings for roof covering and wall cladding. Test methods BS 680-1:1944 Specification for roofing slates. Imperial units(Withdrawn) BS EN 494:2012+A1:2015 Fibre-cement profiled sheets and fittings. Product specification and test methods BS EN 492:2012 Fibre-cement slates and fittings. Product specification and test methods BS 690-5:1975 Asbestos-cement slates and sheets. Lining sheets and panels BS EN 13707:2013 Flexible sheets for waterproofing. Reinforced bitumen sheets for roof waterproofing. Definitions and characteristics BS EN 13707:2013 Flexible sheets for waterproofing. Reinforced bitumen sheets for roof waterproofing. Definitions and characteristics BS 849:1939 Code of practice for plain sheet zinc roofing (Withdrawn) BS 6925:1988 Specification for mastic asphalt for building and civil engineering (limestone aggregate) BS EN 316:2009 Wood fibre boards. Definition, classification and symbols / B S EN 321:2002 Wood-based panels. Determination of moisture resistance under cyclic test conditions / BS EN 322:1993 Wood-based panels. Determination of moisture content / BS EN 323:1993 Wood-based panels. Determination of density / BS EN 324-2:1993 Wood-based panels. Determination of dimensions of boards. Determination of squareness and edge straightness / BS EN 325:2012 Wood-based panels. Determination of dimensions of test pieces \ BS EN 382-1:1993 Fibreboards. Determination of surface absorption. Test method for dry process fibreboards / BS EN 622-3:2004 Fibreboards. Specifications. Requirements for medium boards / BS EN 622-2:2004 Fibreboards. Specifications. Requirements for hardboards / BS EN 622-1:2003 Fibreboards. Specifications. General requirements BS 6577:1985 Specification for mastic asphalt for building (natural rock asphalt aggregate) (Withdrawn) BS 1202-1:2002 Specification for nails. Steel nails BS 1494-1:1964 Specification for fixing accessories for building purposes. Fixings for sheet, roof and wall coverings (Withdrawn) (Withdrawn) BS EN 14015:2004 Specification for the design and manufacture of site built, vertical, cylindrical, flat-bottomed, above ground, welded, steel tanks for the storage of liquids at ambient temperature and above BS EN 14015:2004 Specification for the design and manufacture of site built, vertical, cylindrical, flat-bottomed, above ground, welded, steel tanks for the storage of liquids at ambient temperature and above BS 6100-6:2008 Building and civil engineering. Vocabulary. Construction parts BS 3056-7:1992 Sizes of refractory bricks. Specification for basic bricks for steel making BS 3056-7:1992 Sizes of refractory bricks. Specification for basic bricks for steel makingBS 1945:1971 Specification for fireguards for heating appliances (gas, electric and oil-burning) BS EN ISO 6892-2:2011 Metallic materials. Tensile testing. Method of test at elevated temperature BS 3792:1964 Recommendations for the installation of automatic liquid level and temperature measuring instruments on storage tanks (Withdrawn) BS 4208:1967 Specification for carbon and low alloy steel containment structures for stationary nuclear power reactors BS 6750:1986 Specification for modular coordination in building BS 6750:1986 Specification for modular coordination in buildingBS 4841-3:2006 Rigid polyisocyanurate (PIR) and polyurethane (PUR) products for building end-use applications. Specification for laminated boards (roofboards) with auto-adhesively or separately bonded facings for use as roofboard thermal insulation under built up bituminous roofing membranes BS 5502-20:1990 Buildings and structures for agriculture. Code of practice for general design considerations BS 8219:2001+A1:2013 Installation of sheet roof and wall coverings. Profiled fibre cement. Code of practice BS EN 1995-1-1:2004+A2:2014 Eurocode 5: Design of timber structures. General. Common rules and rules for buildings BS 5427:2016 Code of practice for the use of profiled sheet for roof and wall cladding on buildings BS 5502-21:1990 Buildings and structures for agriculture. Code of practice for selection and use of construction materials BS 5534:2014+A1:2015 Slating and tiling for pitched roofs and vertical cladding. Code of practice BS 5534:2014+A1:2015 Slating and tiling for pitched roofs and vertical cladding. Code of practice BS 5534:2014+A1:2015 Slating and tiling for pitched roofs and vertical cladding. Code of practice BS 7916:1998 Code of practice for the selection and application of particleboard, oriented strand board (OSB), cement bonded particleboard and wood fibreboards for specific purposes (WIthdrawn) BS 7916:1998 Code of practice for the selection and application of particleboard, oriented strand board (OSB), cement bonded particleboard and wood fibreboards for specific purposes (WIthdrawn) (Withdrawn) BS 5918:2015 Solar heating systems for domestic hot water. Code of practice for design and installation BS 6100:Part 1:Section 1.3:Subsection 1.3.2:1985 Glossary of building and civil engineering terms. General and miscellaneous. Parts of construction works. Roofs and roofing BS 6213:2000+A1:2010 Selection of construction sealants. Guide BS EN 12056-3:2000 Gravity drainage systems inside buildings. Roof drainage, layout and calculation BS EN 988:1997 Zinc and zinc alloys. Specification for rolled flat products for building BS 6577:1985 Specification for mastic asphalt for building (natural rock asphalt aggregate) BS 6915:2001+A1:2014 Design and construction of fully supported lead sheet roof and wall coverings. Code of practice CP 112:Part 3:1973 Code of practice for the structural use of timber. Trussed rafters for roofs of dwellings CP 143-12:1970 Code of practice for sheet roof and wall coverings. Code of practice for sheet roof and wall coverings. Copper. Metric units BS 6915:2001+A1:2014 Design and construction of fully supported lead sheet roof and wall coverings. Code of practice BS 8218:1998 Code of practice for mastic asphalt roofing BS 8213-1:2004 Windows doors and rooflights. Design for safety in use and during cleaning of windows, including door-height windows and roof windows. Code of practice BS EN 13964:2014 Suspended ceilings. Requirements and test methods PD 6477:1976 Metric dimensions of steel tubes for hydraulic cylinders used in the construction of powered roof supports in the mining industry |
| --- | --- |
| ASTM | ASTM E936-98(2004) Standard Practice for Roof System Assemblies Employing Steel Deck, Preformed Roof Insulation, and Bituminous Built-Up Roofing (Withdrawn 2012) ASTM D2829 - 07(2013) Standard Practice for Sampling and Analysis of Existing Built-Up Roof Systems ASTM E108 - 11 Standard Test Methods for Fire Tests of Roof Coverings ASTM D6510 - 00 Standard Guide for Selection of Asphalt Used in Built-Up Roofing Systems (Withdrawn 2015) ASTM D228 / D228M - 15 Standard Test Methods for Sampling, Testing, and Analysis of Asphalt Roll Roofing, Cap Sheets, and Shingles Used in Roofing and Waterproofing ASTM D6622 - 01(2009) Standard Guide for Application of Fully Adhered Hot-Applied Reinforced Waterproofing Systems ASTM C981 - 05(2013) Standard Guide for Design of Built-Up Bituminous Membrane Waterproofing Systems for Building Decks ASTM E1637 - 98(2011) Standard Specification for Structural Standing Seam Aluminum Roof Panel Systems ASTM E1514 - 98(2011) Standard Specification for Structural Standing Seam Steel Roof Panel Systems ASTM D6630 - 08 Standard Guide for Low Slope Insulated Roof Membrane Assembly Performance ASTM D5635 / D5635M - 11 Standard Test Method for Dynamic Puncture Resistance of Roofing Membrane Specimens ASTM E1646 - 95(2011) Standard Test Method for Water Penetration of Exterior Metal Roof Panel Systems by Uniform Static Air Pressure Difference ASTM D6380 / D6380M - 03(2013)e1 Standard Specification for Asphalt Roll Roofing (Organic Felt) ASTM D5036-99(2005) Standard Practice for Application of Adhered Poly(Vinyl Chloride) Sheet Roofing (Withdrawn 2012) ASTM D5469 / D5469M - 12 Standard Guide for Application of New Spray Applied Polyurethane Foam and Coated Roofing Systems ASTM D3617 / D3617M - 07(2015)e1 Standard Practice for Sampling and Analysis of Built-Up Roof Systems During Application ASTM E2140 - 01(2009) Standard Test Method for Water Penetration of Metal Roof Panel Systems by Static Water Pressure Head ASTM D6511 / D6511M - 06(2011)e1 Standard Test Methods for Solvent Bearing Bituminous Compounds ASTM D4434 / D4434M - 15 Standard Specification for Poly(Vinyl Chloride) Sheet Roofing ASTM D1970 / D1970M - 15a Standard Specification for Self-Adhering Polymer Modified Bituminous Sheet Materials Used as Steep Roofing Underlayment for Ice Dam Protection ASTM C1225 - 08(2012) Standard Specification for Fiber-Cement Roofing Shingles, Shakes, and Slates ASTM E1680 - 16 Standard Test Method for Rate of Air Leakage through Exterior Metal Roof Panel Systems ASTM D6757 / D6757M - 16 Standard Specification for Underlayment Felt Containing Inorganic Fibers Used in Steep-Slope Roofing ASTM D6754 / D6754M - 15 Standard Specification for Ketone Ethylene Ester Based Sheet Roofing ASTM D6383 / D6383M - 99(2015) Standard Practice for Time-to-Failure (Creep-Rupture) of Adhesive Joints Fabricated from EPDM Roof Membrane Material ASTM D6221 / D6221M - 00(2014)e1 Standard Specification for Reinforced Bituminous Flashing Sheets for Roofing and Waterproofing ASTM D6152 / D6152M - 12 Standard Specification for SEBS-Modified Mopping Asphalt Used in Roofing ASTM D4932 / D4932M - 89(2014)e1 Standard Test Method for Fastener Rupture and Tear Resistance of Roofing and Waterproofing Sheets, Roll Roofing, and Shingles ASTM D4851 - 07(2015) Standard Test Methods for Coated and Laminated Fabrics for Architectural Use ASTM D4637 / D4637M - 15 Standard Specification for EPDM Sheet Used In Single-Ply Roof Membrane ASTM D2626 / D2626M - 04(2012)e1 Standard Specification for Asphalt-Saturated and Coated Organic Felt Base Sheet Used in Roofing ASTM D1079 - 16 Standard Terminology Relating to Roofing and Waterproofing ASTM C1492 - 03(2009) Standard Specification for Concrete Roof Tile ASTM E907-96(2004) Standard Test Method for Field Testing Uplift Resistance of Adhered Membrane Roofing Systems (Withdrawn 2013) ASTM D5019-07a Standard Specification for Reinforced CSM (Chlorosulfonated Polyethylene) Sheet Used in Single-Ply Roof Membrane (Withdrawn 2011) ASTM D4830 / D4830M - 98(2014)e1 Standard Test Methods for Characterizing Thermoplastic Fabrics Used in Roofing and Waterproofing ASTM D4601 / D4601M - 04(2012)e1 Standard Specification for Asphalt-Coated Glass Fiber Base Sheet Used in Roofing ASTM C222 - 97(2014) Standard Specification for Asbestos-Cement Roofing Shingles ASTM D5683 / D5683M - 95(2011)e1 Standard Test Method for Flexibility of Roofing and Waterproofing Materials and Membranes ASTM D5665 / D5665M - 99a(2014)e1 Standard Specification for Thermoplastic Fabrics Used in Cold-Applied Roofing and Waterproofing ASTM D5082-99(2005) Standard Practice for Application of Mechanically Attached Poly(Vinyl Chloride) Sheet Roofing (Withdrawn 2012) ASTM D4989 / D4989M - 90a(2014)e1 Standard Test Method for Apparent Viscosity (Flow) of Roofing Bitumens Using the Parallel Plate Plastometer ASTM D4977 / D4977M - 03(2013)e1 Standard Test Method for Granule Adhesion to Mineral Surfaced Roofing by Abrasion ASTM D4897 / D4897M - 01(2009) Standard Specification for Asphalt-Coated Glass-Fiber Venting Base Sheet Used in Roofing ASTM D4869 / D4869M - 16 Standard Specification for Asphalt-Saturated Organic Felt Underlayment Used in Steep Slope Roofing ASTM D3909 / D3909M - 14 Standard Specification for Asphalt Roll Roofing (Glass Felt) Surfaced With Mineral Granules ASTM D3805 / D3805M - 97(2009) Standard Guide for Application of Aluminum-Pigmented Asphalt Roof Coatings ASTM D3747-79(2007) Standard Specification for Emulsified Asphalt Adhesive for Adhering Roof Insulation (Withdrawn 2016) ASTM D3746 / D3746M - 85(2015)e1 Standard Test Method for Impact Resistance of Bituminous Roofing Systems ASTM D1864 / D1864M - 89(2009)e1 Standard Test Method for Moisture in Mineral Aggregate Used on Built-Up Roofs ASTM D1327 / D1327M - 04(2012)e1 Standard Specification for Bitumen-Saturated Woven Burlap Fabrics Used in Roofing and Waterproofing ASTM D312 / D312M - 15 Standard Specification for Asphalt Used in Roofing ASTM D226 / D226M - 09 Standard Specification for Asphalt-Saturated Organic Felt Used in Roofing and Waterproofing ASTM D173 / D173M - 03(2011)e1 Standard Specification for Bitumen-Saturated Cotton Fabrics Used in Roofing and Waterproofing ASTM C1459 - 04(2014) Standard Specification for Performance of Non-Asbestos Fiber-Reinforced Cement Shake, Shingle, and Slate Roofing Systems ASTM C1167 - 11 Standard Specification for Clay Roof Tiles ASTM C726 - 12 Standard Specification for Mineral Wool Roof Insulation Board ASTM D6382 / D6382M - 99(2011)e1 Standard Practice for Dynamic Mechanical Analysis and Thermogravimetry of Roofing and Waterproofing Membrane Material ASTM D6305 - 08(2015)e1 Standard Practice for Calculating Bending Strength Design Adjustment Factors for Fire-Retardant-Treated Plywood Roof Sheathing ASTM D5726 - 98(2013) Standard Specification for Thermoplastic Fabrics Used in Hot-Applied Roofing and Waterproofing ASTM D5643 / D5643M - 06(2012)e1 Standard Specification for Coal Tar Roof Cement, Asbestos Free ASTM D5636 / D5636M - 94(2011)e1 Standard Test Method for Low Temperature Unrolling of Felt or Sheet Roofing and Waterproofing Materials ASTM D5602 / D5602M - 11 Standard Test Method for Static Puncture Resistance of Roofing Membrane Specimens ASTM D4990 - 97a(2013) Standard Specification for Coal Tar Glass Felt Used in Roofing and Waterproofing ASTM D4074 / D4074M - 11(2015) Standard Test Method for Bitumen and Aggregate Content of Bitumen-Aggregate Mixtures From Roofing Samples ASTM D4073 - 06(2013) Standard Test Method for Tensile-Tear Strength of Bituminous Roofing Membranes ASTM D4022/D4022M-07(2012)e1 Standard Specification for Coal Tar Roof Cement, Asbestos Containing (Withdrawn 2014) ASTM D2823/D2823M-05(2011)e1 Standard Specification for Asphalt Roof Coatings, Asbestos Containing (Withdrawn 2014) ASTM D2822/D2822M-05(2011)e1 Standard Specification for Asphalt Roof Cement, Asbestos Containing (Withdrawn 2016) ASTM D2178 / D2178M - 15a Standard Specification for Asphalt Glass Felt Used in Roofing and Waterproofing ASTM D1865 / D1865M - 09 Standard Test Method for Hardness of Mineral Aggregate Used on Built-Up Roofs ASTM D227 / D227M - 03(2011)e1 Standard Specification for Coal-Tar-Saturated Organic Felt Used in Roofing and Waterproofing ASTM C1491 - 14 Standard Specification for Concrete Roof Pavers ASTM C1185 - 08(2012) Standard Test Methods for Sampling and Testing Non-Asbestos Fiber-Cement Flat Sheet, Roofing and Siding Shingles, and Clapboards ASTM C1153 - 10(2015) Standard Practice for Location of Wet Insulation in Roofing Systems Using Infrared Imaging ASTM F432 - 13 Standard Specification for Roof and Rock Bolts and Accessories ASTM E661 - 03(2015)e1 Standard Test Method for Performance of Wood and Wood-Based Floor and Roof Sheathing Under Concentrated Static and Impact Loads ASTM E196 - 06(2012) Standard Practice for Gravity Load Testing of Floors and Low Slope Roofs ASTM E72 - 15 Standard Test Methods of Conducting Strength Tests of Panels for Building Construction Standard Guide for Design of Standard Flashing Details for EPDM Roof Membranes (Withdrawn 2015) ASTM D6298 - 13 Standard Specification for Fiberglass Reinforced Styrene-Butadiene-Styrene (SBS) Modified Bituminous Sheets with a Factory Applied Metal Surface ASTM D5405 / D5405M - 98(2015) Standard Test Method for Conducting Time-to-Failure (Creep-Rupture) Tests of Joints Fabricated from Nonbituminous Organic Roof Membrane Material ASTM D5147 / D5147M - 14 Standard Test Methods for Sampling and Testing Modified Bituminous Sheet Material ASTM D5100 / D5100M - 95a(2010)e1 Standard Test Method for Adhesion of Mineral Aggregate to Hot Bitumen ASTM D5076 / D5076M - 13 Standard Test Method for Measuring Voids in Roofing and Waterproofing Membranes ASTM D4811 / D4811M - 06(2013)e1 Standard Specification for Nonvulcanized (Uncured) Rubber Sheet Used as Roof Flashing ASTM D3019 - 08 Standard Specification for Lap Cement Used with Asphalt Roll Roofing, Non-Fibered, Asbestos-Fibered, and Non-Asbestos-Fibered ASTM D2164-83(2000) Standard Methods of Testing Structural Insulating Roof Deck (Withdrawn 2005) ASTM D1863 / D1863M - 05(2011)e1 Standard Specification for Mineral Aggregate Used on Built-Up Roofs ASTM D1668 / D1668M - 97a(2014)e1 Standard Specification for Glass Fabrics (Woven and Treated) for Roofing and Waterproofing ASTM D449 / D449M - 03(2014)e1 Standard Specification for Asphalt Used in Dampproofing and Waterproofing ASTM D225-07 Standard Specification for Asphalt Shingles (Organic Felt) Surfaced With Mineral Granules (Withdrawn 2012) ASTM D146 / D146M - 04(2012)e1 Standard Test Methods for Sampling and Testing Bitumen-Saturated Felts and Woven Fabrics for Roofing and Waterproofing ASTM C1530 / C1530M - 04(2014) Standard Specification for Non-Asbestos Fiber-Cement Roofing Shakes, Shingles, and Slates with Designed Varying Profiles and Thicknesses ASTM D6694 / D6694M - 15 Standard Specification for Liquid-Applied Silicone Coating Used in Spray Polyurethane Foam Roofing SystemsRoofing ASTM D6083-05e1 Standard Specification for Liquid Applied Acrylic Coating Used in Roofing (Withdrawn 2014) ASTM D3462 / D3462M - 10a Standard Specification for Asphalt Shingles Made from Glass Felt and Surfaced with Mineral Granules ASTM C406 / C406M - 15 Standard Specification for Roofing Slate ASTM F2021 - 11 Standard Guide for Design and Installation of Plastic Siphonic Roof Drainage Systems ASTM E695 - 03(2015)e1 Standard Test Method of Measuring Relative Resistance of Wall, Floor, and Roof Construction to Impact Loading ASTM D6705 / D6705M - 04(2011)e1 Standard Guide for the Repair and Recoat of Sprayed Polyurethane Foam Roofing Systems ASTM D6509 / D6509M - 09(2015) Standard Specification for Atactic Polypropylene (APP) Modified Bituminous Base Sheet Materials Using Glass Fiber Reinforcements ASTM D6225 / D6225M - 98(2012)e1 Standard Test Method for Granule Cover of Mineral Surfaced Roofing ASTM D4586 / D4586M - 07(2012)e1 Standard Specification for Asphalt Roof Cement, Asbestos-Free ASTM D4479 / D4479M - 07(2012)e1 Standard Specification for Asphalt Roof Coatings - Asbestos-Free ASTM D2824 / D2824M - 13 Standard Specification for Aluminum-Pigmented Asphalt Roof Coatings, Nonfibered, and Fibered without Asbestos ASTM D1227 - 13 Standard Specification for Emulsified Asphalt Used as a Protective Coating for Roofing ASTM D452 / D452M - 91(2013)e1 Standard Test Method for Sieve Analysis of Surfacing for Asphalt Roofing Products ASTM C1199 - 14 Standard Test Method for Measuring the Steady-State Thermal Transmittance of Fenestration Systems Using Hot Box Methods ASTM D6356 / D6356M - 98(2011)e1 Standard Test Method for Hydrogen Gas Generation of Aluminum Emulsified Asphalt Used as a Protective Coating for Roofing ASTM D6294 / D6294M - 13 Standard Test Method for Corrosion Resistance of Ferrous Metal Fastener Assemblies Used in Roofing and Waterproofing ASTM E1592 - 05(2012) Standard Test Method for Structural Performance of Sheet Metal Roof and Siding Systems by Uniform Static Air Pressure DifferenceASTM E1592 - 05(2012) Standard Test Method for Structural Performance of Sheet Metal Roof and Siding Systems by Uniform Static Air Pressure Difference ASTM D3468 / D3468M - 99(2013)e1 Standard Specification for Liquid-Applied Neoprene and Chlorosulfonated Polyethylene Used in Roofing and Waterproofing ASTM D3105 - 08 Standard Index of Methods for Testing Elastomeric and Plastomeric Roofing and Waterproofing Materials ASTM D2832 - 92(2016) Standard Guide for Determining Volatile and Nonvolatile Content of Paint and Related Coatings ASTM D2523 - 13 Standard Practice for Testing Load-Strain Properties of Roofing Membranes ASTM D451 / D451M - 91(2013)e1 Standard Test Method for Sieve Analysis of Granular Mineral Surfacing For Asphalt Roofing Products ASTM D450/D450M-07(2013)e1 Standard Specification for Coal-Tar Pitch Used in Roofing, Dampproofing, and Waterproofing ASTM D43 / D43M - 00(2012)e1 Standard Specification for Coal Tar Primer Used in Roofing, Dampproofing, and Waterproofing ASTM D41 / D41M - 11 Standard Specification for Asphalt Primer Used in Roofing, Dampproofing, and Waterproofing ASTM R0009 -Abbreviated Metric Practice Guide for the Roofing Industry (This is not an ASTM standard)) ASTM F1901 - 10 Standard Specification for Polyethylene (PE) Pipe and Fittings for Roof Drain Systems ASTM E455 - 16 Standard Test Method for Static Load Testing of Framed Floor or Roof Diaphragm Constructions for BuildingsBuildings ASTM D6381 / D6381M - 15 Standard Test Method for Measurement of Asphalt Shingle Mechanical Uplift Resistance ASTM D5081 / D5081M - 90(2011)e1 Standard Test Method for Aggregate Layer Hiding Power ASTM D3409 / D3409M - 93(2016)e1 Standard Test Method for Adhesion of Asphalt-Roof Cement to Damp, Wet, or Underwater Surfaces ASTM D727-96(2006) Standard Test Method for Kerosine Number of Roofing and Flooring Felt by the Vacuum Method (Withdrawn 2011)Method ASTM C1340 / C1340M - 10(2015) Standard Practice for Estimation of Heat Gain or Loss Through Ceilings Under Attics Containing Radiant Barriers by Use of a Computer Program ASTM C728 - 16 Standard Specification for Perlite Thermal Insulation Board ASTM C629 / C629M - 15 Standard Specification for Slate Dimension Stone ASTM C208 - 12 Standard Specification for Cellulosic Fiber Insulating Board ASTM C1302 - 04(2011) Standard Guide for Selection and Use of Keywords for Thermal Insulation Test Methods and Standards ASTM D5957 - 98(2013) Standard Guide for Flood Testing Horizontal Waterproofing Installations ASTM D4866 / D4866M - 88(2011)e1 Standard Performance Specification for Coal Tar Pitch Emulsion Pavement Sealer Mix Formulations Containing Mineral Aggregates and Optional Polymeric Admixtures ASTM D4070-15 Standard Specification for Adhesive Lubricant for Installation of Preformed Elastomeric Bridge Compression Seals in Concrete Structures ASTM D3745 / D3745M - 95(2015)e1 Standard Practice for Installation of Prefabricated Asphalt Reservoir, Pond, Canal, and Ditch Liner (Exposed Type) ASTM C956 - 04(2015) Standard Specification for Installation of Cast-In-Place Reinforced Gypsum Concrete ASTM C43-08 Standard Terminology of Structural Clay Products (Withdrawn 2009) ASTM B749 - 14 Standard Specification for Lead and Lead Alloy Strip, Sheet, and Plate Products ASTM B370 - 12 Standard Specification for Copper Sheet and Strip for Building Construction ASTM E2032 - 09(2013) Standard Guide for Extension of Data From Fire Resistance Tests Conducted in Accordance with ASTM E 119 ASTM E1803 - 14 Standard Test Methods for Determining Strength Capacities of Structural Insulated Panels ASTM D6455 - 11 Standard Guide for the Selection of Test Methods for Prefabricated Bituminous Geomembranes (PBGM) ASTM D6136 / D6136M - 15 Standard Test Method for Kerosine Number of Unsaturated (Dry) Felt by Vacuum Method ASTM D4799 / D4799M - 08(2013)e1 Standard Practice for Accelerated Weathering Test Conditions and Procedures for Bituminous Materials (Fluorescent UV, Water Spray, and Condensation Method) ASTM D4798 / D4798M - 11 Standard Practice for Accelerated Weathering Test Conditions and Procedures for Bituminous Materials (Xenon-Arc Method) ASTM D4435 - 13e1 Standard Test Method for Rock Bolt Anchor Pull Test ASTM D2939-03 Standard Test Methods for Emulsified Bitumens Used as Protective Coatings (Withdrawn 2012) ASTM D529-04 Standard Practice for Enclosed Carbon-Arc Exposures of Bituminous Materials (Withdrawn 2013) ASTM C1496 - 11 Standard Guide for Assessment and Maintenance of Exterior Dimension Stone Masonry Walls and Facades ASTM C1186 - 08(2012) Standard Specification for Flat Fiber-Cement Sheets ASTM C552 - 16 Standard Specification for Cellular Glass Thermal Insulation ASTM C398 - 98(2012) Standard Practice for Use of Hydraulic Cement Mortars in Chemical-Resistant Masonry ASTM C318 / C318M - 13 Standard Specification for Gypsum Formboard ASTM C140 / C140M - 15ae1 Standard Test Methods for Sampling and Testing Concrete Masonry Units and Related Units ASTM B882 - 10 Specification for Pre-Patinated Copper for Architectural Applications ASTM B101 - 12 Standard Specification for Lead-Coated Copper Sheet and Strip for Building Construction ASTM G84 - 89(2012) Standard Practice for Measurement of Time-of-Wetness on Surfaces Exposed to Wetting Conditions as in Atmospheric Corrosion Testing ASTM F1077-05 Standard Guide for Selection of Committee F16 Fastener Specifications (Withdrawn 2014) ASTM E1930 / E1930M - 12 Standard Practice for Examination of Liquid-Filled Atmospheric and Low-Pressure Metal Storage Tanks Using Acoustic Emission ASTM E1749-10 Standard Terminology Relating to Rigid Wall Relocatable Shelters ASTM E1677 - 11 Standard Specification for Air Barrier (AB) Material or System for Low-Rise Framed Building Walls ASTM E1643 - 11 Standard Practice for Selection, Design, Installation, and Inspection of Water Vapor Retarders Used in Contact with Earth or Granular Fill Under Concrete Slabs ASTM E1425 - 14 Standard Practice for Determining the Acoustical Performance of Windows, Doors, Skylight, and Glazed Wall Systems ASTM E1399 / E1399M - 97(2013)e1 Standard Test Method for Cyclic Movement and Measuring the Minimum and Maximum Joint Widths of Architectural Joint Systems ASTM E970 - 14 Standard Test Method for Critical Radiant Flux of Exposed Attic Floor Insulation Using a Radiant Heat Energy Source ASTM E760 / E760M - 92(2015)e1 Standard Test Method for Effect of Impact on Bonding of Sprayed Fire-Resistive Material Applied to Structural Members ASTM E575 - 05(2011) Standard Practice for Reporting Data from Structural Tests of Building Constructions, Elements, Connections, and Assemblies ASTM E241 - 09(2014)e1 Standard Guide for Limiting Water-Induced Damage to Buildings ASTM E119 - 16 Standard Test Methods for Fire Tests of Building Construction and Materials ASTM E102 / E102M - 93(2009) Standard Test Method for Saybolt Furol Viscosity of Bituminous Materials at High Temperatures ASTM E90 - 09 Standard Test Method for Laboratory Measurement of Airborne Sound Transmission Loss of Building Partitions and Elements ASTM E73 - 13 Standard Practice for Static Load Testing of Truss Assemblies ASTM D6769 / D6769M - 02(2010)e1 Standard Guide for Application of Fully Adhered, Cold-Applied, Prefabricated Reinforced Modified Bituminous Membrane Waterproofing Systems ASTM D6662 - 13 Standard Specification for Polyolefin-Based Plastic Lumber Decking Boards ASTM D6451 / D6451M - 99(2014)e1 Standard Guide for Application of Asphalt Based Protection Board ASTM D6153 - 15 Standard Specification for Materials for Bridge Deck Waterproofing Membrane Systems ASTM D6135-05 Standard Practice for Application of Self-Adhering Modified Bituminous Waterproofing (Withdrawn 2014) ASTM D6114 / D6114M - 09 Standard Specification for Asphalt-Rubber Binder ASTM D5898 / D5898M - 96(2013) Standard Guide for Standard Details for Adhered Sheet Waterproofing ASTM D5869 - 07a(2013) Standard Practice for Dark Oven Heat Exposure of Roofing and Waterproofing Materials ASTM D5854 - 96(2015) Standard Practice for Mixing and Handling of Liquid Samples of Petroleum and Petroleum Products ASTM D5843 / D5843M - 95(2014)e1 Standard Guide for Application of Fully Adhered Vulcanized Rubber Sheets Used in Waterproofing ASTM D5516 - 09 Standard Test Method for Evaluating the Flexural Properties of Fire-Retardant Treated Softwood Plywood Exposed to Elevated Temperatures ASTM D5385 / D5385M - 93(2014)e1 Standard Test Method for Hydrostatic Pressure Resistance of WaterAS 1478.2-2005 Chemical admixtures for concrete, mortar and grout - Methods of sampling and testing admixtures for concrete, mortar and groutproofing Membranes ASTM D5385 / D5385M - 93(2014)e1 Standard Test Method for Hydrostatic Pressure Resistance of Waterproofing MembranesASTM D5295 / D5295M - 14 Standard Guide for Preparation of Concrete Surfaces for Adhered (Bonded) Membrane Waterproofing Systems ASTM D5192 - 09(2015) Standard Practice for Collection of Coal Samples from Core ASTM D4096 - 91(2009) Standard Test Method for Determination of Total Suspended Particulate Matter in the Atmosphere (High-Volume Sampler Method) ASTM D3791 / D3791M - 11 Standard Practice for Evaluating the Effects of Heat on Asphalts ASTM D3161 / D3161M - 16 Standard Test Method for Wind-Resistance of Steep Slope Roofing Products (Fan-Induced Method)) ASTM D3141 / D3141M - 15 Standard Specification for Asphalt for Undersealing Portland-Cement Concrete Pavements ASTM D2962 - 10 Standard Practice for Calculating Volume-Temperature Correction For Coal-Tar Pitches D2898 - 10 Standard Practice for Accelerated Weathering of Fire-Retardant-Treated Wood for Fire Testing ASTM D2828-96(2003)Standard Specification for Nonbituminous Inserts for Contraction Joints in Portland Cement Concrete Airfield Pavements, Sawable Type (Withdrawn 2004) ASTM D2643 / D2643M - 08(2013)e1 Standard Specification for Prefabricated Bituminous Geomembrane Used as Canal and Ditch Liner (Exposed Type) ASTM D2493 / D2493M - 09 Standard Viscosity-Temperature Chart for Asphalts ASTM D2482-97(2007) Standard Test Method for Surface Strength of Paper (Wax Pick Method) (Withdrawn 2010) ASTM D1968 - 15 Standard Terminology Relating to Paper and Paper Products ASTM D1856 - 09(2015) Standard Test Method for Recovery of Asphalt From Solution by Abson Method ASTM C1485 - 13 Standard Test Method for Critical Radiant Flux of Exposed Attic Floor Insulation Using an Electric Radiant Heat Energy Source ASTM C1483-04 Standard Specification for Exterior Solar Radiation Control Coatings on Buildings ASTM C1452-00(2006) Standard Specification for Reinforced Autoclaved Aerated Concrete Elements (Withdrawn 2013) ASTM C1289 - 16 Standard Specification for Faced Rigid Cellular Polyisocyanurate Thermal Insulation Board ASTM C1288 - 14 Standard Specification for Discrete Non-Asbestos Fiber-Cement Interior Substrate Sheets ASTM C1262 - 10 Standard Test Method for Evaluating the Freeze-Thaw Durability of Dry-Cast Segmental Retaining Wall Units and Related Concrete Units ASTM C1242 - 15a Standard Guide for Selection, Design, and Installation of Dimension Stone Attachment Systems ASTM C1155 - 95(2013) Standard Practice for Determining Thermal Resistance of Building Envelope Components from the In-Situ Data ASTM C1154 - 06(2011) Standard Terminology for Non-Asbestos Fiber-Reinforced Cement Products ASTM C1126 - 15 Standard Specification for Faced or Unfaced Rigid Cellular Phenolic Thermal Insulation ASTM C1082 - 98(2014) Standard Specification for Asbestos-Cement Flat Sheet for Cooling Tower Fill ASTM C1081 - 98(2014) Standard Specification for Asbestos-Cement Corrugated Fill For Use in Cooling Towers ASTM C1080 - 98(2014) Standard Specification for Asbestos-Cement Products Other Than Fill For Cooling Towers ASTM C1060 - 11a(2015) Standard Practice for Thermographic Inspection of Insulation Installations in Envelope Cavities of Frame Buildings ASTM C1046 - 95(2013) Standard Practice for In-Situ Measurement of Heat Flux and Temperature on Building Envelope Components ASTM C991 - 15 Standard Specification for Flexible Fibrous Glass Insulation for Metal Buildings ASTM C717-14a Standard Terminology of Building Seals and Sealants ASTM C636 / C636M - 13 Standard Practice for Installation of Metal Ceiling Suspension Systems for Acoustical Tile and Lay-In Panels ASTM C551/C551M-07(2011)e1 Standard Specification for Asbestos-Cement Fiberboard Insulating Panels ASTM C459 / C459M - 97(2011)e1 Standard Test Methods for Asbestos-Cement Flat Products ASTM C317 / C317M - 00(2015) Standard Specification for Gypsum Concrete ASTM C240-08(2012) Standard Test Methods of Testing Cellular Glass Insulation Block ASTM C221 - 98(2014) Standard Specification for Corrugated Asbestos-Cement Sheets ASTM C120 / C120M - 15a Standard Test Methods for Flexure Testing of Structural and Roofing Slate ASTM C67 - 14 Standard Test Methods for Sampling and Testing Brick and Structural Clay Tile ASTM C56 - 13 Standard Specification for Structural Clay Nonloadbearing Tile ASTM A755/A755M-15 Standard Specification for Steel Sheet, Metallic Coated by the Hot-Dip Process and Prepainted by the Coil-Coating Process for Exterior Exposed Building Products ASTM A755/A755M-15 Standard Specification for Steel Sheet, Metallic Coated by the Hot-Dip Process and Prepainted by the Coil-Coating Process for Exterior Exposed Building Products ASTM D226/D226M-09 Standard Specification for Asphalt-Saturated Organic Felt Used in Roofing and Waterproofing / ASTM D227/D227M-03(2011)e1 Standard Specification for Coal-Tar-Saturated Organic Felt Used in Roofing and Waterproofing ASTM F432 - 13 Standard Specification for Roof and Rock Bolts and Accessories ASTM D4897 / D4897M - 01(2009) Standard Specification for Asphalt-Coated Glass-Fiber Venting Base Sheet Used in Roofing D3378 Specification for Asphalt-Saturated and Coated Asbestos Felt Base Sheet Used in ROOFing (Discontinued 1985), Replaced By No_Replacement D3158 Specification for Asphalt Saturated and Coated Organic Felt Used in ROOFing (Discontinued 1983), Replaced By No_Replacement D1866 Test Method for Translucency of Mineral Aggregate Used on Built-Up ROOFs (Discontinued 1989), Replaced By No_Replacement ASTM D2939-03 Standard Test Methods for Emulsified Bitumens Used as Protective Coatings (Withdrawn 2012) D1001 Specification for Sieve Analysis of Granular Mineral Surfacing for Asphalt ROOFing and Shingles (Discontinued 1960), Replaced By No_Replacement D655 Specification for Asphalt-Saturated and Coated Asbestos Felts for Use in Constructing Built-Up ROOFs (Discontinued 1970), Replaced By No_Replacement D654 Specification for Coal-Tar Pitch for Steep Built-Up ROOFs (Discontinued 1957), Replaced By No_Replacement ASTM D6380 / D6380M - 03(2013)e1 Standard Specification for Asphalt Roll Roofing (Organic Felt) D272 Methods of Analysis of ROOFing Felt for Fiber Composition (Discontinued 1940), Replaced By No_Replacement ASTM D450 / D450M - 07(2013)e1 Standard Specification for Coal-Tar Pitch Used in Roofing, Dampproofing, and Waterproofing D250 Specification for Asphalt-Saturated Asbestos Felt Used in ROOFing and Waterproofing (Discontinued 1991), Replaced By No_Replacement ASTM D6380 / D6380M - 03(2013)e1 Standard Specification for Asphalt Roll Roofing (Organic Felt) D248 Specification for Asphalt ROOFing Surfaced with Fine Mineral Granules (Discontinued 1942), Replaced By No_Replacement ASTM D6380 / D6380M - 03(2013)e1 Standard Specification for Asphalt Roll Roofing (Organic Felt) C1050 Standard Specification for Rigid Cellular Polystyrene-Cellulosic Fiber Composite ROOF Insulation (Discontinued 1999), Replaced By No_Replacement C1013 Specification for Faced Rigid Cellular Polyisocyanurate ROOF Insulation (Discontinued 1997), Replaced By No_Replacement C984 Specification for Perlite Board and Rigid Cellular Polyisocyanurate Composite ROOF Insulation (Discontinued 1997), Replaced By No_Replacement C855 Thermal Resistance Factors for Preformed Above-Deck ROOF Insulation (Discontinued 1983), Replaced By No_Replacement C707 Specification for Gypsum Board Substrate for Floor or ROOF Assemblies (Discontinued 1981), Replaced By No_Replacement ASTM A361/A361M-94 Specification for Steel Sheet, Zinc-Coated (Galvanized) by the Hot-Dip Process for Roofing and Siding (Withdrawn 01 Jul 1996) |
| AS | AS 1235-2000 Road vehicles - Roof load carriers - Roof bars AS 1562.1-1992 Design and installation of sheet roof and wall cladding - Metal AS 1562.1-1992/Amdt 1-1993 Design and installation of sheet roof and wall cladding - Metal AS 1562.1-1992/Amdt 2-1995 Design and installation of sheet roof and wall cladding - Metal AS/NZS 1562.2:1999 Design and installation of sheet roof and wall cladding - Corrugated fibre-reinforced cement AS 1562.3-2006 Design and installation of sheet roof and wall cladding - Plastic AS 2049-2002 (R2015) Roof tiles AS 2050-2002 Installation of roof tiles AS 2050-2002/Amdt 1-2005 Installation of roof tiles AS 2050-2002/Amdt 2-2012 Installation of roof tiles AS 2627.1-1993 Thermal insulation of dwellings - Thermal insulation of roof/ceilings and walls in dwellings (Withdrawn 13 Jan 2007) AS 2627.1-1993/Amdt 1-1995 Thermal insulation of dwellings - Thermal insulation of roof/ceilings and walls in dwellings (Withdrawn 13 Jan 2007) AS 3730.19-1993 Guide to the properties of paints for buildings - Solvent-borne - Roofing enamel AS 3730.20-1993 Guide to the properties of paints for buildings - Latex - Roofing paint (Withdrawn 27 Nov 2003) AS 4040.0-1992 Methods of testing sheet roof and wall cladding - Introduction, list of methods and general requirements AS 4040.1-1992 Methods of testing sheet roof and wall cladding - Resistance to concentrated loads AS 4040.2-1992 Methods of testing sheet roof and wall cladding - Resistance to wind pressures for non-cyclone regions AS 4040.3-1992 Methods of testing sheet roof and wall cladding - Resistance to wind pressures for cyclone regions AS 4040.4-2006 Methods of testing sheet roof and wall cladding - Resistance to impact (sandbag) - Sheet roof materials AS/NZS 4040.5:1996 Methods of testing sheet roof and wall cladding - Resistance to impact (sandbag) for wall boards AS 4046.0-2002 Methods of testing roof tiles - Introduction and list of methods AS 4046.1-2002 (R2015) Methods of testing roof tiles - Determination of distortion AS 4046.2-2002 Methods of testing roof tiles - Determination of batten lugs and squareness AS 4046.3-2002 (R2015) Methods of testing roof tiles - Determination of transverse strength AS 4046.4-2002 (R2015) Methods of testing roof tiles - Determination of water absorption AS 4046.5-2002 (R2015) Methods of testing roof tiles - Determination of permeability AS 4046.6-1992 Methods of testing roof tiles - Determination of resistance to freeze/thaw AS 4256.1-2006 Plastic roof and wall cladding materials - General requirements AS 4256.2-2006 Plastic roof and wall cladding materials - Unplasticized polyvinyl chloride (uPVC) building sheets AS 4256.3-2006 Plastic roof and wall cladding materials - Glass fibre reinforced polyester (GRP) AS 4256.4-2006 Plastic roof and wall cladding materials - Unplasticized polyvinyl chloride (uPVC) wall cladding boards AS 4256.5-2006 Plastic roof and wall cladding materials - Polycarbonate AS/NZS 4257.0:1994 Plastic roof and wall cladding materials - Methods of test - General introduction and list of methods AS/NZS 4257.1:1994 Plastic roof and wall cladding materials - Methods of test - Determination of dimensional properties AS/NZS 4257.1:1994 A1Plastic roof and wall cladding materials - Methods of test - Determination of dimensional properties: Amendment 1 AS/NZS 4257.10:1997 Plastic roof and wall cladding materials - Methods of test - Determination of surface distortion (oil canning) AS/NZS 4257.2:1994 Plastic roof and wall cladding materials - Methods of test - Determination of dimensional stability at 60 degrees Celsius AS/NZS 4257.3:1994 Plastic roof and wall cladding materials - Methods of test - Determination of mass per unit area of sheet AS/NZS 4257.4:1994 Plastic roof and wall cladding materials - Methods of test - Determination of diffuse light transmission AS/NZS 4257.5:1994 Plastic roof and wall cladding materials - Methods of test - Determination of glass fibre content AS/NZS 4257.6:1994 Plastic roof and wall cladding materials - Methods of test - Determination of impact resistance AS/NZS 4257.6:1994/Amdt 1:1995 Plastic roof and wall cladding materials - Methods of test - Determination of impact resistance AS/NZS 4257.7:1994 Plastic roof and wall cladding materials - Methods of test - Determination of colourfastness, light transmission and impact resistance following ultraviolet light exposure AS/NZS 4257.8:1994 Plastic roof and wall cladding materials - Methods of test - Determination of residual styrene AS/NZS 4257.9:1995 Plastic roof and wall cladding materials - Methods of test - Determination of transverse bending stiffness AS 4597-1999 (R2015) Installation of roof slates and shingles (Non-interlocking type) AS/NZS 60335.2.83:2002 Household and similar electrical appliances - Safety - Particular requirements for heated gullies for roof drainage (IEC 60335-2-83:2001, IDT) AS A99-1959 Bituminous felt roofing. Type 1(c) coated organic fibre felt roofing (Withdrawn 26 Nov 2003) AS 4654.1-2012 Waterproofing membranes for external above-ground use - Materials / AS 4654.2-2012 Waterproofing membranes for external above-ground use - Design and installation SA HB 39:2015 Installation code for metal roof and wall cladding HB 39 Supp 1-1997 (CD-ROM) Installation code for metal roof and wall cladding - Multimedia guide on CD-ROM (Supplement to SAA HB39-1997) (Withdrawn 15 Apr 2004) HB 44 Supp 1-1995 A Guide to the Timber Framing Code - Standard fixing and tie-down requirements 28 m/s sheet roof - Tie-down check sheet 1st edition HB 44 Supp 2-1995 A Guide to the Timber Framing Code - Standard fixing and tie-down requirements 28 m/s or 33 m/s tiled roof - Tie-down check sheet 1st edition HB 44 Supp 3-1995 A Guide to the Timber Framing Code - Standard fixing and tie-down requirements 33 m/s sheet or 41 m/s tiled roof material - Tie-down check sheet 1st edition HB 44 Supp 4-1995 A Guide to the Timber Framing Code - Standard fixing and tie-down requirements 41 m/s sheet roof - JD4 framing material - Tie-down check sheet 1st edition DR 02001-02002 Roof edge protection equipment AS 2049-2002 (R2015) Roof tiles / AS 2050-2002 InstALLATION OF ROOF TILES / AS 4046.0-2002 METHODS OF TESTING ROOF TILES - INTRODUCTION AND LIST OF METHODS / AS 4046.1-2002 (R2015) METH015) METHODS OF TESTING ROOF TILES - DETERMINATION OF DISTORTION / AS 4046.2-2002 OF TILES - DETERMINATION OF BATTEN LUGS AND SQUARENESS / AS 4046.3-2002 (R2015 METHODS OF TESTING ROOF TILES - DETERMINATION OF TRANSVERSE STRENGTH / AS 4046.4-2002 (R2015) METHODS OF TESTING ROOF TILES - DETERMINATION OF WATER ABSORPTION / AS 4046.5-2002 (R22 (R2015) METHODS OF TESTING ROOF TILES - DETERMINATION OF PERMEABILITY / AS 4046.6-2002 (R20115) METHODS OF TESTING ROOF TILES - DETERMINATION OF RESISTANCE TO FREEZE/THAW / AS 4046.7-2002 (R215) Methods of testing roof tiles - Determination of resistance to salt attack / AS 4046.8-2002 Methods of testing roof tiles - Adhesive mechanical fastener (flexible pointing) / AS 4046.9-2002 (R2015) Methods of testing roof tiles - Determination of dynamic weather resistance |
| SS | SS 525 : 2006 Code of practice for drainage of roofs CP 43 : 1988 Code of practice for the installation of concrete interlocking roofing tiles (Withdrawn - 07 Jul 2011) CP 82 : 1999 Code of practice for waterproofing of reinforced concrete buildings SS 70 : 2001Clay roofing tiles and fittings SS 133 : 1987 Bituminous emulsion for roof waterproofing SS 310 : 1986 Concrete interlocking roofing tiles (Withdrawn - 07 Jul 2011) SS 370 : 1994 Metal roofing SS 374 : 1994 Preformed waterproofing membranes for concealed roof CP 89 : 2001-Installation of clay roofing tiles CP 94 : 2002 Code of practice for installation of clay roofing tile |
| ISO | ISO/PAS 11154:2006 Road vehicles -- Roof load carriers ISO 393-1:1983 Asbestos-cement products -- Part 1: Corrugated sheets and fittings for roofing and cladding (Withdrawn ISO 393-2:1986 Asbestos-cement products -- Part 2: Asbestos-cement-cellulose corrugated sheets and fittings for roofing and cladding (Withdrawn) ISO 393-5:1987 Asbestos-cement products -- Part 5: Short corrugated and asymmetrical section sheets and ISO 393-4:1986 Asbestos-cement products -- Part 4: Trapezoidal section sheets for roofing and cladding (Withdrawn) fittings for roofing (Withdrawn) ISO 393-5:1987 Asbestos-cement products -- Part 5: Short corrugated and asymmetrical section sheets and fittings for roofing (Withdrawn) ISO 4355:2013 Bases for design of structures -- Determination of snow loads on roofs ISO 5019-4:1988 Refractory bricks -- Dimensions -- Part 4: Dome bricks for electric arc furnace roofs ISO 8108:1986 Directives for fixing asbestos-cement corrugated and asymmetrical section sheets and fittings for roofing ISO 8144-1:1995 Thermal insulation -- Mineral wool mats for ventilated roof spaces -- Part 1: Specification for applications with restricted ventilation ISO 8144-2:1995 Thermal insulation -- Mineral wool mats for ventilated roof spaces --Part 2: Specification for horizontal applications with unrestricted ventilatio ISO 8145:1994 Thermal insulation -- Mineral wool board for overdeck insulation of roofs -- Specification ISO 10904:2011 Fibre-cement corrugated sheets and fittings for roofing and cladding ISO 10904:2011 Fibre-cement corrugated sheets and fittings for roofing and cladding ISO 10904:2011 Fibre-cement corrugated sheets and fittings for roofing and cladding; |

# M&E Systems

## Water Leak at Pipe Penetration

## Under sizing of Pipe Outlet

| BS | BS EN 612:2005 Eaves gutters with bead stiffened fronts and rainwater pipes with seamed joints made of metal sheet BS EN 12056-3:2000 Gravity drainage systems inside buildings. Roof drainage, layout and calculation BS EN 12056-3:2000 Gravity drainage systems inside buildings. Roof drainage, layout and calculation BS EN 12056-3:2000 Gravity drainage systems inside buildings. Roof drainage, layout and calculation |
| --- | --- |
| ASTM | ASTM D2122 - 15 Standard Test Method for Determining Dimensions of Thermoplastic Pipe and Fittings ASTM D1599 - 14e1 Standard Test Method for Resistance to Short-Time Hydraulic Pressure of Plastic Pipe, Tubing, and Fittings ASTM E2128 - 12 Standard Guide for Evaluating Water Leakage of Building Walls |
| AS | AS 1012.12.2-1998 (R2014) Methods of testing concrete - Determination of mass per unit volume of hardened concrete - Water displacement method AS 1012.19.1-2000 (R2014) Methods of testing concrete - Accelerated curing of concrete compression test specimens -Hot water method AS 1012.19.2-2000 (R2014) Methods of testing concrete - Accelerated curing of concrete compression test specimens -Warm water method AS 1012.21-1999 (R2014) Methods of testing concrete - Determination of water absorption and apparent volume of permeable voids in hardened concrete AS 1012.4.3:2014 Methods of testing concrete - Determination of air content of freshly mixed concrete - Measuring air volume when concrete is dispersed in water AS 1273-1991 Unplasticized PVC (UPVC) downpipe and fittings for rainwater AS/NZS 2179.1:2014 Specifications for rainwater goods, accessories and fasteners - Metal shape or sheet rainwater goods, and metal accessories and fasteners AS/NZS 2179.2(Int):1998 Specifications for rainwater goods, accessories and fasteners - PVC rainwater goods and accessories (Withdrawn) AS 3500.3.1-1998 National plumbing and drainage -Stormwater drainage - Performance requirements / AS/NZS 3500.3:2015 Plumbing and drainage - Stormwater drainage |
| SS | SS 525 : 2006 Code of practice for drainage of roofs SS 363 : 2014 Specification for steel gratings for roads, drains and walkways SS 213 : 1998-Unplasticised PVC pipes and fittings for soil, waste and vent applications SS EN 10224 : 2013 Non-alloy steel tubes and fittings for the conveyance of water and other aqueous liquids – Technical delivery conditions SS 174 : 2014 Specification for joints and fittings for use with unplasticised PVC pressure pipes |
| ISO | ISO 4633:2015 Rubber seals -- Joint rings for water supply, drainage and sewerage pipelines -- Specification for materials ISO 6412-3:1993 Technical drawings -- Simplified representation of pipelines -- Part 3: Terminal features of ventilation and drainage systems ISO 6594:2006 Cast iron drainage pipes and fittings -- Spigot series ISO/TS 7024:2005 Plastics piping systems for soil and waste discharge (low and high temperature) inside buildings -- Thermoplastics -- Recommended practice for installation ISO/TR 7074:1986 Performance requirements for plastics pipes and fittings for use in underground drainage and sewage |

# Microbial Growth

## Fungus

EPA

Standards or Threshold Limit Values (TLVs) for airborne concentrations of mold, or mold spores, have not been set. Currently, there are no EPA regulations or standards for airborne mold contaminants.

http://www.epa.gov/iaq/molds/moldresources.html#Mold%20and%20Indoor%20Air%20Regulations

ASTM

ASTM D5791 - 95(2012)e1 Standard Guide for Using Probability Sampling Methods in Studies of Indoor Air Quality in Buildings

ASTM G21 - 15 Standard Practice for Determining Resistance of Synthetic Polymeric Materials to Fungi

ASTM E1971 - 05(2011) Standard Guide for Stewardship for the Cleaning of Commercial and Institutional Buildings

ASTM D2020-92(2003) Standard Test Methods for Mildew (Fungus) Resistance of Paper and Paperboard (Withdrawn 2009)

ASTM D3273 - 12e1 Standard Test Method for Resistance to Growth of Mold on the Surface of Interior Coatings in an Environmental Chamber

ASTM D3456 - 86(2012) Standard Practice for Determining by Exterior Exposure Tests the Susceptibility of Paint Films to Microbiological Attack

BS

BS EN 60068-2-10:2005 Environmental testing. Tests. Test J and guidance: Mould growth

ISO 16017-2:2003 Indoor, ambient and workplace air -- Sampling and analysis of volatile organic compounds by sorbent tube/thermal desorption/capillary gas chromatography -- Part 2: Diffusive sampling

BS 1982-1:1990 Fungal resistance of panel products made of or containing materials of organic origin. Method for determination of resistance to wood-rotting Basidiomycetes

BS 1982-2:1990 Fungal resistance of panel products made of or containing materials of organic origin. Method for determination of resistance to cellulose-decomposing microfungi

BS 1982-3:1990 Fungal resistance of panel products made of or containing materials of organic origin. Methods for determination of resistance to mould or mildew

AIHA

OSHA

There are currently no specific OSHA Standards or Directives for molds and fungi. However, Indoor Air Quality (IAQ) hazards are addressed in specific standards for general and construction industries. This page provides links to those standards as well as references related to OSHA enforcement policy such as federal registers. In addition, this page links to standards from industry, such as the American National Standards Institute (ANSI). Note: Some states have OSHA-approved State Plans and have adopted their own standards and enforcement policies.

OSHA Federal Registers

Indoor Air Quality. OSHA Federal Register Entry 59:15968-16039 (1994, April 5). By this notice, the Occupational Safety and Health Administration (OSHA) proposes to adopt standards addressing indoor air quality in indoor work environments.

Respiratory Protection. OSHA Federal Register Entry 63:1152-1300 (1998, January 8). This final rule justifies the use of respirators to prevent the inhalation of harmful airborne contaminants that are alive or were released from a living organism. Respirators protect against bacterial infections resulting from inhalation of bacteria and their products that cause a range of diseases.

General Industry

1910.94, Ventilation.

Construction Industry

1926.57, Ventilation.

ANSI

Standard 62-2001, Ventilation for Acceptable Indoor Air Quality. American National Standards Institute/American Society of Heating, Refrigerating and Air-Conditioning Engineers (ANSI/ASHRAE). This standard sets minimum ventilation rates and other requirements for commercial and institutional buildings.